## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Feb'21
Period: |  | 1st Jan'21 to 31st Jan'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 665
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2895 | 5 | 4740 | 2000014963
2 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 49 | 8 | 3420 | 2000071574
3 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1858 | 8 | 3360 | 2000071573
4 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1191 | 8 | 3360 | 2000071572
5 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1015 | 16 | 22500 | 2000003840
6 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2955 | 5 | 4680 | 2000003855
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2259 | 12 | 15600 | 2000003854
8 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1691 | 4 | 14160 | 2000003853
9 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2273 | 5 | 12420 | 2000003852
10 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1627 | 12 | 13500 | 2000003851
11 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 979 | 22 | 42060 | 2000003850
12 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 297 | 2 | 5580 | 2000003841
13 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2116 | 8 | 9960 | 2000003849
14 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 810 | 2 | 5940 | 2000003848
15 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 678 | 8 | 13920 | 2000076563
16 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1044 | 19 | 24780 | 2000076479
17 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 1221 | 16 | 17340 | 2000076478
18 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 389 | 19 | 26700 | 2000003847
19 | AMBIKAPUR TOWN | 11KV DCROAD | 2240 | 6 | 8340 | 2000014951
20 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 387 | 6 | 8400 | 2000014952
21 | AMBIKAPUR TOWN | 11KV SONPUR | 1133 | 6 | 8340 | 2000014954
22 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 20 | 7 | 5340 | 2000014957
23 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1483 | 3 | 30060 | 2000003842
24 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2059 | 8 | 13800 | 2000003846
25 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 592 | 12 | 15480 | 2000014959
26 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1286 | 17 | 24900 | 2000003845
27 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1722 | 6 | 5220 | 2000003843
28 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 514 | 5 | 12360 | 2000003844
29 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 331 | 6 | 16200 | 2000001005
30 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 315 | 4 | 22440 | 2000001007
31 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1505 | 20 | 6900 | 2000001010
32 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 752 | 6 | 2760 | 2000006347
33 | BHATAPARA TOWN | 11KV Rest House Fedeer | 1212 | 12 | 210540 | 2000075846
34 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 601 | 9 | 21000 | 2000004867
35 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2165 | 3 | 4260 | 2000004868
36 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2118 | 6 | 3360 | 2000004869
37 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 656 | 5 | 3420 | 2000004870
38 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1665 | 7 | 6060 | 2000004871
39 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2653 | 4 | 1800 | 2000004873
40 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1389 | 13 | 17040 | 2000004874
41 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 1205 | 10 | 7740 | 2000004876
42 | BILASPUR TOWN | 11KV DHEKA FEEDER | 356 | 8 | 37260 | 2000004877
43 | BILASPUR TOWN | 11KV DHUMA FEEDER | 981 | 1 | 960 | 2000004878
44 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 605 | 12 | 20760 | 2000004879
45 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1244 | 17 | 24360 | 2000004881
46 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2467 | 15 | 9180 | 2000004882
47 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 880 | 9 | 11100 | 2000004883
48 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1825 | 21 | 12300 | 2000004884
49 | BILASPUR TOWN | 11KV HARDIFEEDER | 1249 | 1 | 900 | 2000004885
50 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1075 | 14 | 10680 | 2000004886
51 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1939 | 4 | 8460 | 2000004888
52 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2343 | 8 | 7020 | 2000004889
53 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 6 | 3360 | 2000004890
54 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1247 | 30 | 22200 | 2000004891
55 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 775 | 2 | 3300 | 2000004892
56 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 716 | 18 | 17700 | 2000004893
57 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1625 | 7 | 6060 | 2000004896
58 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 548 | 19 | 32340 | 2000004897
59 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1322 | 1 | 960 | 2000004898
60 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1487 | 14 | 4980 | 2000004899
61 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1285 | 5 | 6600 | 2000004900
62 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2818 | 16 | 15000 | 2000004901
63 | BILASPUR TOWN | 11KV MANGLA FEEDER | 2213 | 10 | 14940 | 2000004902
64 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 173 | 5 | 6000 | 2000004903
65 | BILASPUR TOWN | 11KV MOPKA FEEDER | 1832 | 4 | 1800 | 2000004904
66 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2944 | 13 | 17100 | 2000004905
67 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3043 | 6 | 3420 | 2000004906
68 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2096 | 15 | 21300 | 2000004907
69 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 813 | 5 | 5160 | 2000004908
70 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4902 | 13 | 18240 | 2000004909
71 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2709 | 1 | 660 | 2000004910
72 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1464 | 15 | 21480 | 2000004911
73 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2413 | 6 | 9180 | 2000004912
74 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1833 | 12 | 10500 | 2000004913
75 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2567 | 14 | 10800 | 2000004914
76 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 269 | 15 | 11520 | 2000004915
77 | BILASPUR TOWN | 11KV RULER FEEDER | 1971 | 15 | 9420 | 2000004916
78 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2537 | 8 | 6480 | 2000004917
79 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2157 | 14 | 10800 | 2000004919
80 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3034 | 2 | 3300 | 2000004920
81 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 579 | 14 | 10860 | 2000004921
82 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1958 | 4 | 8520 | 2000004922
83 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 790 | 10 | 15000 | 2000004923
84 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 434 | 10 | 14880 | 2000004924
85 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1863 | 9 | 21000 | 2000004925
86 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1206 | 7 | 14220 | 2000004926
87 | BILASPUR TOWN | 11KV KONI FEEDER | 798 | 19 | 25440 | 2000006494
88 | BILASPUR TOWN | 11KV TV FEEDER | 2419 | 4 | 1740 | 2000016309
89 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1193 | 9 | 7680 | 2000016310
90 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 253 | 13 | 48360 | 2000016311
91 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 1003 | 14 | 18720 | 2000016312
92 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1406 | 15 | 20640 | 2000016314
93 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 323 | 16 | 20220 | 2000016315
94 | BILASPUR TOWN | 11KV NEW MOPKA | 1408 | 20 | 37620 | 2000017224
95 | BILASPUR TOWN | 11KV SHIVAM CITY | 2002 | 13 | 15120 | 2000017225
96 | BILASPUR TOWN | 11KV MAHAVEER CITY | 391 | 12 | 36300 | 2000017226
97 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 4 | 6540 | 2000017502
98 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 266 | 5 | 12600 | 2000017504
99 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2338 | 7 | 13740 | 2000017505
100 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1053 | 17 | 26400 | 2000017776
101 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 145 | 18 | 26520 | 2000017777
102 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 277 | 16 | 27780 | 2000017778
103 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 376 | 15 | 19140 | 2000017780
104 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 544 | 11 | 12540 | 2000017781
105 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 181 | 11 | 12480 | 2000017782
106 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1590 | 10 | 14820 | 2000018403
107 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1352 | 6 | 7920 | 2000018404
108 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1541 | 9 | 18600 | 2000018405
109 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 871 | 5 | 11280 | 2000018761
110 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1879 | 5 | 12540 | 2000018762
111 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 487 | 5 | 9300 | 2000018763
112 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 67 | 10 | 24840 | 2000020488
113 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 486 | 6 | 23580 | 2000020489
114 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1281 | 13 | 30240 | 2000020490
115 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1708 | 7 | 10920 | 2000020582
116 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1201 | 5 | 6900 | 2000020583
117 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 246 | 3 | 1920 | 2000020584
118 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 306 | 9 | 21120 | 2000022056
119 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1520 | 1 | 960 | 2000022059
120 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 2116 | 12 | 9720 | 2000022060
121 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1490 | 12 | 12000 | 2000022061
122 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 209 | 4 | 1680 | 2000022075
123 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1613 | 10 | 15240 | 2000023801
124 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1285 | 13 | 19500 | 2000023802
125 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1051 | 12 | 16500 | 2000023803
126 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 353 | 7 | 9900 | 2000024037
127 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 540 | 8 | 12960 | 2000024038
128 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2468 | 9 | 13620 | 2000024039
129 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1204 | 10 | 8820 | 2000027413
130 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 40 | 20 | 27300 | 2000076558
131 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 24 | 18 | 26940 | 2000076559
132 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 53 | 20 | 27240 | 2000076560
133 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 291 | 4 | 23400 | 2000076887
134 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 4 | 1 | 960 | 2000077336
135 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1237 | 15 | 9360 | 2000077337
136 | BILASPUR TOWN | 11KV Maa Harshiddhi Feeder | 64 | 4 | 1800 | 2000077612
137 | CHAMPA TOWN | 11KV KURDAFEEDER | 1648 | 32 | 86460 | 2000001807
138 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2362 | 62 | 151920 | 2000001808
139 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2261 | 6 | 12900 | 2000001809
140 | CHAMPA TOWN | 11KV SEONI(RURAL)FEEDER | 1 | 10 | 12600 | 2000001811
141 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2946 | 16 | 10500 | 2000001812
142 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1308 | 23 | 24420 | 2000001813
143 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 870 | 37 | 34560 | 2000001814
144 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 789 | 17 | 24120 | 2000001806
145 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 411 | 36 | 107640 | 2000001804
146 | CHAMPA TOWN | 11KV OM City Feeder | 812 | 5 | 8340 | 2000077502
147 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 109 | 10 | 13560 | 2000015492
148 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4473 | 26 | 39480 | 2000003144
149 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 545 | 6 | 7140 | 2000015252
150 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 289 | 38 | 32520 | 2000006348
151 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 382 | 9 | 7980 | 2000003193
152 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1680 | 9 | 8040 | 2000003194
153 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1305 | 10 | 9600 | 2000003195
154 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2053 | 6 | 7560 | 2000003196
155 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5679 | 18 | 15060 | 2000003197
156 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1380 | 5 | 2880 | 2000002574
157 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 989 | 24 | 13260 | 2000002575
158 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1306 | 7 | 3960 | 2000002576
159 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 30 | 9 | 4500 | 2000002577
160 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3798 | 14 | 9480 | 2000002578
161 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2933 | 5 | 2820 | 2000002579
162 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 107 | 2 | 1980 | 2000002573
163 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 986 | 6 | 3120 | 2000002572
164 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2095 | 10 | 9060 | 2000002571
165 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4424 | 2 | 2040 | 2000002570
166 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1608 | 2 | 2100 | 2000002569
167 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 545 | 2 | 1980 | 2000015505
168 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 11 | 5280 | 2000002567
169 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 41 | 6 | 3120 | 2000002566
170 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 402 | 6 | 9060 | 2000004308
171 | DHAMTARI TOWN | 11KV CHITOD1 | 4840 | 6 | 8640 | 2000004307
172 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 4139 | 4 | 9600 | 2000001301
173 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1933 | 12 | 7860 | 2000007686
174 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1730 | 5 | 28500 | 2000007687
175 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 121 | 34 | 653040 | 2000007688
176 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 631 | 3 | 480 | 2000007689
177 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4118 | 2 | 960 | 2000007696
178 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1102 | 4 | 1260 | 2000007702
179 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1139 | 4 | 1320 | 2000007703
180 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2446 | 4 | 900 | 2000007705
181 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1668 | 3 | 6420 | 2000007707
182 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1405 | 11 | 6480 | 2000007715
183 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1545 | 9 | 3000 | 2000007718
184 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1142 | 3 | 480 | 2000007720
185 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1412 | 4 | 42840 | 2000007721
186 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2219 | 10 | 32220 | 2000007723
187 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1495 | 16 | 4740 | 2000007724
188 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1746 | 12 | 4320 | 2000007725
189 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2518 | 7 | 1440 | 2000007726
190 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 750 | 2 | 1200 | 2000007729
191 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 742 | 7 | 5820 | 2000007733
192 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1631 | 11 | 5580 | 2000007737
193 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3232 | 13 | 19080 | 2000007742
194 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 913 | 11 | 2280 | 2000007744
195 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 727 | 6 | 16320 | 2000007747
196 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1315 | 6 | 1560 | 2000007750
197 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1976 | 2 | 2340 | 2000007754
198 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1363 | 7 | 4740 | 2000007756
199 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2063 | 2 | 1200 | 2000007757
200 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2266 | 14 | 4140 | 2000007758
201 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2222 | 5 | 4080 | 2000007759
202 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1025 | 3 | 3060 | 2000007761
203 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1059 | 5 | 2940 | 2000007762
204 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 571 | 4 | 1500 | 2000007769
205 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1538 | 3 | 1080 | 2000007773
206 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1565 | 3 | 960 | 2000007774
207 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1254 | 3 | 960 | 2000007775
208 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1227 | 2 | 4920 | 2000007776
209 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1189 | 19 | 34380 | 2000007779
210 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7619 | 4 | 22860 | 2000016889
211 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2969 | 6 | 2280 | 2000017000
212 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2646 | 6 | 23520 | 2000017052
213 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1327 | 6 | 37920 | 2000017054
214 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1193 | 4 | 4320 | 2000017055
215 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 962 | 2 | 2220 | 2000017056
216 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 824 | 2 | 1440 | 2000017057
217 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 826 | 2 | 1620 | 2000017058
218 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 1658 | 3 | 5700 | 2000017059
219 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 446 | 6 | 5160 | 2000017060
220 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1820 | 5 | 3480 | 2000017061
221 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 592 | 1 | 660 | 2000017062
222 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 752 | 2 | 12480 | 2000017063
223 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1539 | 2 | 780 | 2000017064
224 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1487 | 5 | 2940 | 2000017065
225 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 575 | 1 | 360 | 2000017067
226 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1300 | 2 | 2280 | 2000017068
227 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 968 | 5 | 2940 | 2000017069
228 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2120 | 5 | 3000 | 2000017071
229 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 270 | 2 | 540 | 2000017072
230 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 520 | 4 | 2160 | 2000017080
231 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2481 | 6 | 8640 | 2000018574
232 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 9 | 6900 | 2000018704
233 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1402 | 11 | 31980 | 2000018705
234 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1892 | 8 | 10800 | 2000018706
235 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 635 | 9 | 12540 | 2000018707
236 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2955 | 7 | 9060 | 2000018723
237 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 665 | 1 | 480 | 2000019819
238 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2784 | 13 | 9900 | 2000019876
239 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1096 | 7 | 10260 | 2000020519
240 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1667 | 6 | 3060 | 2000021263
241 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1328 | 6 | 4440 | 2000021264
242 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1163 | 3 | 4140 | 2000021357
243 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3134 | 4 | 2100 | 2000023773
244 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 4 | 1920 | 2000025794
245 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 4 | 5400 | 2000027337
246 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 2000 | 9 | 25740 | 2000029190
247 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1431 | 10 | 26520 | 2000029191
248 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 877 | 9 | 25740 | 2000029192
249 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 2160 | 7 | 4020 | 2000029193
250 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1950 | 3 | 4560 | 2000049757
251 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 2 | 33480 | 2000049820
252 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1400 | 1 | 480 | 2000075513
253 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 134 | 2 | 780 | 2000075565
254 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 793 | 3 | 2460 | 2000075566
255 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1834 | 2 | 660 | 2000075806
256 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1030 | 31 | 53700 | 2000075812
257 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 358 | 10 | 11880 | 2000075949
258 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2306 | 15 | 3660 | 2000075970
259 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1205 | 2 | 420 | 2000075971
260 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 759 | 13 | 5700 | 2000076270
261 | DURG BHILAI CHARODA TOWN | 11 KV Bhim Nagar Feeder | 1440 | 12 | 180780 | 2000078040
262 | JAGDALPUR TOWN | 11KV Green City Feeder | 528 | 11 | 18180 | 2000075215
263 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2559 | 6 | 8340 | 2000075216
264 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3617 | 9 | 9720 | 2000004338
265 | JAGDALPUR TOWN | 11KV Vargish Feeder | 856 | 3 | 4020 | 2000023847
266 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 380 | 9 | 12000 | 2000075799
267 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1771 | 14 | 11700 | 2000004337
268 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1220 | 14 | 12240 | 2000004349
269 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 175 | 7 | 8820 | 2000004347
270 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1988 | 9 | 10320 | 2000004344
271 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1830 | 17 | 23820 | 2000004342
272 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1920 | 7 | 8820 | 2000004341
273 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2103 | 5 | 14580 | 2000004340
274 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2436 | 13 | 11280 | 2000004339
275 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 341 | 7 | 8100 | 2000004329
276 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2196 | 3 | 4200 | 2000004330
277 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1251 | 6 | 6000 | 2000004332
278 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 293 | 8 | 9000 | 2000004333
279 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 929 | 8 | 10080 | 2000004334
280 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1519 | 6 | 4260 | 2000004335
281 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1785 | 14 | 14400 | 2000015850
282 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 392 | 4 | 27000 | 2000075551
283 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2101 | 4 | 27000 | 2000075552
284 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1883 | 4 | 27000 | 2000075553
285 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1971 | 7 | 4200 | 2000001055
286 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3330 | 3 | 3300 | 2000001054
287 | KAWARDHA TOWN | 11KV VIP FEEDER | 363 | 2 | 2640 | 2000001052
288 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 3404 | 10 | 5580 | 2000001051
289 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1871 | 6 | 3180 | 2000001048
290 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1399 | 2 | 2280 | 2000001045
291 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1690 | 7 | 6420 | 2000001047
292 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1765 | 2 | 2220 | 2000077495
293 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2379 | 11 | 7620 | 2000006795
294 | KORBA TOWN | 11KV DADAR FEEDER | 786 | 16 | 93360 | 2000006768
295 | KORBA TOWN | 11KV DEFR FEEDER | 1662 | 3 | 14880 | 2000006769
296 | KORBA TOWN | 11KV DUMARDIHFEEDER | 24 | 10 | 7680 | 2000006770
297 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 724 | 7 | 4920 | 2000006771
298 | KORBA TOWN | 11KV DARRI FEEDER | 1318 | 3 | 14160 | 2000006767
299 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 999 | 10 | 9960 | 2000006764
300 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1147 | 7 | 6240 | 2000006763
301 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 919 | 10 | 7620 | 2000006762
302 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3668 | 24 | 133320 | 2000006761
303 | KORBA TOWN | 11KV ABC FEEDER | 1354 | 3 | 14760 | 2000006759
304 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 5 | 3780 | 2000006490
305 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 841 | 26 | 42780 | 2000006773
306 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 922 | 7 | 26640 | 2000006775
307 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 306 | 12 | 11760 | 2000006776
308 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 225 | 4 | 18780 | 2000006778
309 | KORBA TOWN | 11KV KOSABADI FEEDER | 1349 | 2 | 1020 | 2000006780
310 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1274 | 7 | 4920 | 2000006782
311 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1555 | 8 | 93780 | 2000006783
312 | KORBA TOWN | 11KV NIHARIKA FEEDER | 705 | 9 | 84960 | 2000006784
313 | KORBA TOWN | 11KV P.HROAD FEEDER | 1387 | 7 | 20760 | 2000006785
314 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1230 | 7 | 4800 | 2000006787
315 | KORBA TOWN | 11KV POWERCITY FEEDER | 635 | 3 | 14220 | 2000006788
316 | KORBA TOWN | 11KV PARSABADA FEEDER | 955 | 24 | 24060 | 2000006789
317 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 661 | 8 | 58380 | 2000006790
318 | KORBA TOWN | 11KV RAMPUR FEEDER | 213 | 2 | 960 | 2000006791
319 | KORBA TOWN | 11KV RURAL FEEDER | 1608 | 4 | 4740 | 2000006792
320 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1071 | 51 | 75300 | 2000006794
321 | KORBA TOWN | 11KV SUMEDHA FEEDER | 414 | 2 | 2220 | 2000077493
322 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 939 | 11 | 7860 | 2000006796
323 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 65 | 2 | 1020 | 2000006797
324 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1496 | 10 | 7860 | 2000006798
325 | KORBA TOWN | 11KV SEMIPALI | 459 | 3 | 2700 | 2000015240
326 | KORBA TOWN | 11KV BUDHWARI FEEDER | 1012 | 5 | 3240 | 2000015220
327 | KORBA TOWN | 11KV DONDRO FEEDER | 38 | 11 | 7200 | 2000016028
328 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 1918 | 14 | 85980 | 2000016201
329 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2519 | 3 | 14280 | 2000016255
330 | KORBA TOWN | 11KV RPNAGAR FEEDER | 906 | 5 | 9600 | 2000016912
331 | KORBA TOWN | 11KV DINDAYAL AWAS | 426 | 1 | 1140 | 2000017789
332 | KORBA TOWN | 11KV OM SAI APPARTMENT | 362 | 3 | 1200 | 2000017791
333 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2468 | 11 | 12480 | 2000017804
334 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 405 | 11 | 21300 | 2000017805
335 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 689 | 3 | 9120 | 2000018988
336 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1981 | 1 | 2880 | 2000020065
337 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1467 | 1 | 360 | 2000020122
338 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 951 | 14 | 20400 | 2000021288
339 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 225 | 14 | 20340 | 2000021289
340 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1372 | 1 | 1320 | 2000021425
341 | KORBA TOWN | 11KV KOTWALI | 1783 | 6 | 5520 | 2000071531
342 | KORBA TOWN | 11KV SANJAY NAGAR | 2274 | 8 | 34380 | 2000071532
343 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 26 | 35520 | 2000071855
344 | KORBA TOWN | 11KV KOHADIYA | 1926 | 10 | 18840 | 2000071856
345 | KORBA TOWN | 11KV TINADAFAI FEEDER | 742 | 1 | 1320 | 2000075797
346 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 438 | 14 | 11220 | 2000075847
347 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 816 | 12 | 6720 | 2000075848
348 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 87 | 12 | 8640 | 2000075849
349 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2708 | 11 | 13440 | 2000075850
350 | KORBA TOWN | 11KV ITI FEEDER | 1132 | 8 | 7620 | 2000075851
351 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 760 | 13 | 48960 | 2000001425
352 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 835 | 5 | 31440 | 2000001426
353 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1875 | 5 | 20940 | 2000001427
354 | MAHASAMUND TOWN | 11KV Nehru Chowk Feeder | 1608 | 13 | 16200 | 2000077410
355 | MAHASAMUND TOWN | 11KV TOWN-2 FEEDER | 3508 | 1 | 660 | 2000001429
356 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1817 | 11 | 64620 | 2000069911
357 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 52 | 5 | 8160 | 2000069912
358 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 688 | 6 | 4500 | 2000069914
359 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1801 | 1 | 120 | 2000069913
360 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6175 | 18 | 30300 | 2000003057
361 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1250 | 6 | 4500 | 2000003055
362 | MUNGELI TOWN | 11KV COLECTER FEEDER | 782 | 3 | 3360 | 2000006460
363 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2124 | 4 | 3720 | 2000006458
364 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 171 | 2 | 1620 | 2000015467
365 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 21 | 33060 | 2000002458
366 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2644 | 22 | 29820 | 2000002462
367 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1368 | 16 | 25200 | 2000002463
368 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 566 | 15 | 19380 | 2000002464
369 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 2000 | 7 | 4440 | 2000055675
370 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 966 | 9 | 18960 | 2000068276
371 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER2 | 382 | 25 | 11100 | 2000017311
372 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 213 | 4 | 3600 | 2000018959
373 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 434 | 22 | 29520 | 2000001637
374 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1388 | 14 | 18060 | 2000001636
375 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2927 | 37 | 24840 | 2000001635
376 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 635 | 13 | 10080 | 2000001634
377 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 34 | 30 | 12780 | 2000001633
378 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 35 | 33 | 46260 | 2000001629
379 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1350 | 21 | 23340 | 2000001628
380 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6183 | 5 | 4560 | 2000001626
381 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 280 | 24 | 16860 | 2000001625
382 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1564 | 28 | 46620 | 2000076050
383 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 782 | 20 | 7740 | 2000076051
384 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 497 | 26 | 16740 | 2000076052
385 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 532 | 19 | 21000 | 2000076053
386 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 160 | 20 | 27180 | 2000076054
387 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 145 | 13 | 14940 | 2000001623
388 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1632 | 19 | 14340 | 2000001622
389 | NAILA JANJGIR TOWN | 11KV VIP-2 Feeder | 48 | 11 | 6000 | 2000077487
390 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 575 | 5 | 20040 | 2000016184
391 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 772 | 12 | 20520 | 2000016057
392 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 150 | 6 | 8280 | 2000016056
393 | RAIGARH TOWN | 11KV GERWANI FEEDER | 462 | 9 | 17460 | 2000016185
394 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1262 | 10 | 6300 | 2000073196
395 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1105 | 8 | 4320 | 2000073195
396 | RAIGARH TOWN | 11KV KHAIRPUR | 983 | 2 | 9360 | 2000073193
397 | RAIGARH TOWN | 11KV PATRAPALI | 1394 | 2 | 9360 | 2000073192
398 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 864 | 20 | 24900 | 2000017712
399 | RAIGARH TOWN | 11KV BOYIR-DADAR CHOWK FEEDER | 1665 | 8 | 21720 | 2000003300
400 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 583 | 7 | 5460 | 2000003320
401 | RAIGARH TOWN | 11KV STADIUM FEEDER | 332 | 6 | 10020 | 2000003323
402 | RAIGARH TOWN | 11KV STATION FEEDER | 703 | 11 | 15360 | 2000003324
403 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3306 | 40 | 92040 | 2000003325
404 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1460 | 7 | 5220 | 2000021639
405 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1305 | 9 | 7200 | 2000016055
406 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 126 | 5 | 29880 | 2000016054
407 | RAIGARH TOWN | 11KV STADIUM FEEDER | 1045 | 8 | 4860 | 2000022941
408 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1522 | 4 | 28500 | 2000016053
409 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1182 | 7 | 14280 | 2000016052
410 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 501 | 11 | 10740 | 2000029091
411 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 408 | 1 | 600 | 2000010583
412 | RAIPUR TOWN | 11KV KARBALA TALAB | 1307 | 1 | 1860 | 2000010585
413 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2924 | 2 | 39600 | 2000010587
414 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 889 | 1 | 360 | 2000010589
415 | RAIPUR TOWN | 11KV GAD FEEDER | 661 | 3 | 2460 | 2000010590
416 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 469 | 1 | 300 | 2000010591
417 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1161 | 3 | 1140 | 2000010592
418 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 65 | 6 | 5340 | 2000010596
419 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 840 | 1 | 1140 | 2000010598
420 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 614 | 1 | 420 | 2000010599
421 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1651 | 1 | 600 | 2000010600
422 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1357 | 4 | 1860 | 2000010601
423 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1598 | 1 | 840 | 2000010602
424 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 462 | 4 | 7140 | 2000010603
425 | RAIPUR TOWN | 11KV ATARI FEEDER | 857 | 10 | 11520 | 2000010604
426 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 322 | 2 | 840 | 2000010605
427 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 406 | 3 | 13440 | 2000010606
428 | RAIPUR TOWN | 11KV BANJARI FEEDER | 952 | 4 | 107820 | 2000010608
429 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 579 | 5 | 10320 | 2000010611
430 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 796 | 1 | 1800 | 2000010613
431 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1024 | 4 | 1560 | 2000010614
432 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 142 | 1 | 300 | 2000010615
433 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 3 | 7860 | 2000010616
434 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 136 | 1 | 9300 | 2000010617
435 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2001 | 2 | 840 | 2000010618
436 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 2047 | 1 | 840 | 2000010621
437 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3146 | 2 | 3240 | 2000010622
438 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 944 | 4 | 8640 | 2000010624
439 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 432 | 1 | 480 | 2000010626
440 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2564 | 2 | 840 | 2000010628
441 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1046 | 2 | 840 | 2000010630
442 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 3117 | 2 | 1200 | 2000010631
443 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2008 | 2 | 1260 | 2000010632
444 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1563 | 1 | 300 | 2000010634
445 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 909 | 2 | 900 | 2000010635
446 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1924 | 4 | 1920 | 2000010637
447 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 2945 | 2 | 11880 | 2000010639
448 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 130 | 1 | 420 | 2000010641
449 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 912 | 3 | 3120 | 2000010642
450 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1246 | 1 | 12180 | 2000010643
451 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 475 | 2 | 900 | 2000010645
452 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 847 | 1 | 360 | 2000010647
453 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1362 | 3 | 2940 | 2000010649
454 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1776 | 3 | 2760 | 2000010650
455 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2044 | 1 | 660 | 2000010652
456 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1644 | 2 | 2220 | 2000010653
457 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1453 | 5 | 2160 | 2000010654
458 | RAIPUR TOWN | 11KV MAHALAXMI | 383 | 1 | 420 | 2000010655
459 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2064 | 1 | 360 | 2000010656
460 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 353 | 5 | 7980 | 2000010657
461 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 404 | 6 | 11100 | 2000010658
462 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 924 | 2 | 900 | 2000010659
463 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1635 | 1 | 1920 | 2000010661
464 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2145 | 4 | 5460 | 2000010662
465 | RAIPUR TOWN | 11KV LIC FEEDER | 2164 | 1 | 360 | 2000010663
466 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 1932 | 1 | 420 | 2000010664
467 | RAIPUR TOWN | 11KV LALBAG FEEDER | 972 | 1 | 600 | 2000010665
468 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 814 | 6 | 6060 | 2000010666
469 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1606 | 2 | 840 | 2000010667
470 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1830 | 2 | 1260 | 2000010668
471 | RAIPUR TOWN | 11KV MINING FEEDER | 653 | 1 | 780 | 2000010669
472 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 930 | 1 | 660 | 2000010670
473 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 1023 | 4 | 1980 | 2000010671
474 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1304 | 1 | 660 | 2000010672
475 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3009 | 3 | 3600 | 2000010674
476 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1928 | 1 | 540 | 2000010675
477 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 610 | 3 | 3540 | 2000010677
478 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1330 | 6 | 11220 | 2000010681
479 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1112 | 1 | 1320 | 2000010683
480 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 704 | 5 | 17460 | 2000010685
481 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 446 | 7 | 5400 | 2000010686
482 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 366 | 3 | 7980 | 2000010688
483 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 424 | 2 | 840 | 2000010690
484 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 4 | 5 | 6360 | 2000010694
485 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1486 | 1 | 300 | 2000010695
486 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1694 | 1 | 420 | 2000010696
487 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1334 | 1 | 360 | 2000010699
488 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2668 | 1 | 420 | 2000010700
489 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1922 | 1 | 300 | 2000010701
490 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 107 | 2 | 5460 | 2000010702
491 | RAIPUR TOWN | 11KV RULAR FEEDER | 662 | 2 | 1440 | 2000010703
492 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 865 | 1 | 480 | 2000010704
493 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 1960 | 4 | 1860 | 2000010705
494 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1096 | 3 | 7860 | 2000010706
495 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 525 | 3 | 2400 | 2000010707
496 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 951 | 1 | 1860 | 2000010708
497 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2797 | 1 | 660 | 2000010709
498 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1619 | 4 | 3900 | 2000010711
499 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1058 | 3 | 1200 | 2000010712
500 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 458 | 1 | 420 | 2000010713
501 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1640 | 6 | 15660 | 2000010714
502 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2090 | 2 | 2400 | 2000010715
503 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1858 | 3 | 5280 | 2000010716
504 | RAIPUR TOWN | 11KV RDA FEEDER | 2097 | 1 | 660 | 2000010717
505 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1796 | 2 | 840 | 2000010718
506 | RAIPUR TOWN | 11KV SECTOR -5 | 275 | 1 | 540 | 2000010721
507 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2763 | 1 | 540 | 2000010722
508 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2487 | 3 | 6300 | 2000010723
509 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3349 | 4 | 8820 | 2000010724
510 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1237 | 3 | 2340 | 2000010725
511 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 961 | 2 | 2520 | 2000010726
512 | RAIPUR TOWN | 11KV TV FEEDER | 1810 | 13 | 6840 | 2000010728
513 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1069 | 11 | 6360 | 2000010729
514 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1422 | 2 | 2460 | 2000010731
515 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 565 | 1 | 420 | 2000010732
516 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 4 | 1560 | 2000010733
517 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2593 | 1 | 300 | 2000010735
518 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2423 | 1 | 780 | 2000010736
519 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 420 | 2 | 900 | 2000010737
520 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 65 | 4 | 7920 | 2000010738
521 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 411 | 2 | 840 | 2000010739
522 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1736 | 4 | 5220 | 2000010741
523 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 121 | 2 | 720 | 2000010742
524 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 63 | 2 | 660 | 2000010743
525 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 324 | 9 | 8340 | 2000010744
526 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1764 | 6 | 13740 | 2000017256
527 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2259 | 1 | 10440 | 2000017261
528 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1595 | 11 | 53220 | 2000017508
529 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 563 | 2 | 9360 | 2000017514
530 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2398 | 2 | 3720 | 2000017567
531 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 910 | 5 | 20220 | 2000017569
532 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 802 | 7 | 9540 | 2000017590
533 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1649 | 2 | 6900 | 2000017597
534 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 897 | 2 | 960 | 2000017599
535 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2335 | 2 | 1440 | 2000017600
536 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1597 | 3 | 2700 | 2000017602
537 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 13 | 1 | 420 | 2000017607
538 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2172 | 2 | 4080 | 2000017608
539 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 20 | 1 | 420 | 2000017613
540 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 1327 | 1 | 540 | 2000017615
541 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 362 | 10 | 4680 | 2000017617
542 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1703 | 1 | 480 | 2000017621
543 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 669 | 6 | 413280 | 2000017623
544 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 821 | 2 | 2520 | 2000017624
545 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 435 | 3 | 2040 | 2000017626
546 | RAIPUR TOWN | 11KV MIG FEEDER | 347 | 1 | 600 | 2000017671
547 | RAIPUR TOWN | 11KV G+10 FEEDER | 469 | 1 | 660 | 2000017673
548 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 261 | 4 | 8880 | 2000017674
549 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 908 | 1 | 480 | 2000017721
550 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 950 | 2 | 780 | 2000017755
551 | RAIPUR TOWN | 11KV MOTHER TERESA | 821 | 2 | 780 | 2000017756
552 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 644 | 2 | 780 | 2000017757
553 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1019 | 2 | 1440 | 2000017768
554 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1410 | 3 | 1440 | 2000017771
555 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1519 | 2 | 840 | 2000017772
556 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 714 | 6 | 4680 | 2000017773
557 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3509 | 1 | 300 | 2000017808
558 | RAIPUR TOWN | 11KV PURANI BASTI | 654 | 1 | 420 | 2000017817
559 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1154 | 1 | 420 | 2000017819
560 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1091 | 1 | 420 | 2000017867
561 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1787 | 1 | 480 | 2000017868
562 | RAIPUR TOWN | 11KV GANESH MANDIR | 229 | 1 | 420 | 2000017869
563 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1478 | 1 | 420 | 2000017870
564 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 260 | 1 | 420 | 2000017871
565 | RAIPUR TOWN | 11KV NAVEEN MARKET | 764 | 2 | 1200 | 2000017953
566 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2750 | 2 | 1140 | 2000017954
567 | RAIPUR TOWN | 11KV MG ROAD | 1901 | 2 | 1200 | 2000017955
568 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1461 | 10 | 9780 | 2000017962
569 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 386 | 2 | 3060 | 2000018004
570 | RAIPUR TOWN | 11KV SADDU FEEDER | 1000 | 3 | 3180 | 2000018005
571 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1054 | 6 | 7140 | 2000018006
572 | RAIPUR TOWN | 11KV MANDI | 718 | 1 | 480 | 2000018020
573 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 352 | 1 | 14340 | 2000018359
574 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1351 | 1 | 420 | 2000018361
575 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1115 | 1 | 480 | 2000018394
576 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 585 | 1 | 840 | 2000018396
577 | RAIPUR TOWN | 11KV IGVP | 440 | 1 | 360 | 2000018397
578 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 400 | 1 | 360 | 2000018398
579 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 353 | 6 | 3900 | 2000018406
580 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 385 | 1 | 9300 | 2000018416
581 | RAIPUR TOWN | 11KV Umiya Market Feeder | 348 | 1 | 900 | 2000018421
582 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2732 | 13 | 13920 | 2000018595
583 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 721 | 3 | 1200 | 2000018783
584 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2458 | 1 | 300 | 2000018949
585 | RAIPUR TOWN | 11KV VARUN FEEDER | 1355 | 2 | 2040 | 2000019179
586 | RAIPUR TOWN | 11KV HEERA FEEDER | 3304 | 4 | 10080 | 2000019180
587 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 460 | 1 | 960 | 2000019181
588 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1753 | 1 | 600 | 2000019184
589 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 743 | 1 | 660 | 2000019185
590 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1380 | 2 | 1020 | 2000019186
591 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1363 | 3 | 3960 | 2000019334
592 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1555 | 2 | 2520 | 2000019340
593 | RAIPUR TOWN | 11KV BSUP FEEDER | 179 | 2 | 3720 | 2000019341
594 | RAIPUR TOWN | 11KV CTI FEEDER | 337 | 1 | 420 | 2000019342
595 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1278 | 1 | 420 | 2000019485
596 | RAIPUR TOWN | 11KV PS CITY | 1181 | 1 | 300 | 2000019530
597 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1002 | 2 | 780 | 2000019697
598 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 304 | 1 | 360 | 2000019850
599 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 157 | 2 | 1500 | 2000019851
600 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1837 | 3 | 5280 | 2000019857
601 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1452 | 2 | 24840 | 2000019858
602 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2181 | 1 | 1140 | 2000020009
603 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1751 | 1 | 780 | 2000020119
604 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1857 | 2 | 1020 | 2000020120
605 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 5 | 3000 | 2000020123
606 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 237 | 2 | 7020 | 2000020130
607 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 519 | 2 | 600 | 2000020131
608 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 2 | 600 | 2000020132
609 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1669 | 1 | 6600 | 2000020153
610 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 511 | 1 | 300 | 2000020193
611 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 979 | 2 | 7560 | 2000020194
612 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2981 | 4 | 6240 | 2000020581
613 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1679 | 2 | 960 | 2000021219
614 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 607 | 6 | 3480 | 2000021286
615 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1693 | 6 | 3540 | 2000021287
616 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 71 | 2 | 780 | 2000021421
617 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1200 | 3 | 2880 | 2000021424
618 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1372 | 2 | 960 | 2000021615
619 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1514 | 5 | 3660 | 2000023680
620 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2557 | 1 | 360 | 2000023735
621 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 268 | 1 | 12360 | 2000023736
622 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1842 | 3 | 3060 | 2000023772
623 | RAIPUR TOWN | 11KV SBI FEEDER | 1524 | 1 | 360 | 2000023790
624 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 709 | 3 | 14160 | 2000023848
625 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 12 | 1 | 360 | 2000026462
626 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2124 | 2 | 1980 | 2000026575
627 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1490 | 1 | 420 | 2000026582
628 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1014 | 1 | 420 | 2000026583
629 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1081 | 1 | 420 | 2000026584
630 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1215 | 2 | 840 | 2000026586
631 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 289 | 1 | 420 | 2000029196
632 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1401 | 5 | 19680 | 2000034421
633 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 800 | 4 | 19380 | 2000034422
634 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 931 | 5 | 20100 | 2000034423
635 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 3301 | 2 | 3720 | 2000034760
636 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1295 | 2 | 3300 | 2000034761
637 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1034 | 1 | 420 | 2000034762
638 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 755 | 1 | 1380 | 2000046477
639 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 2 | 720 | 2000064021
640 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 526 | 2 | 840 | 2000069376
641 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 235 | 6 | 30480 | 2000070080
642 | RAIPUR TOWN | 11KV C&F FEEDER | 58 | 2 | 1500 | 2000070702
643 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 2 | 1440 | 2000070703
644 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 801 | 2 | 7320 | 2000070749
645 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 11 | 3 | 1020 | 2000071570
646 | RAIPUR TOWN | 11KV Shaphire Green Feeder | 11 | 2 | 2520 | 2000071754
647 | RAIPUR TOWN | 11KV Feeder I Feeder | 80 | 1 | 900 | 2000071756
648 | RAIPUR TOWN | 11KV Om Feeder | 11 | 2 | 2640 | 2000071757
649 | RAIPUR TOWN | 11KV Feeder II Feeder | 155 | 1 | 900 | 2000071758
650 | RAIPUR TOWN | 11KV Feeder III Feeder | 30 | 1 | 900 | 2000071760
651 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2900 | 3 | 1980 | 2000072091
652 | RAIPUR TOWN | 11KV Simran City Feeder | 1428 | 4 | 11880 | 2000074141
653 | RAIPUR TOWN | 11KV Park Side Feeder | 111 | 4 | 1680 | 2000075451
654 | RAIPUR TOWN | 11KV Sumet Feeder | 143 | 4 | 1800 | 2000075452
655 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1158 | 1 | 900 | 2000075643
656 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 925 | 2 | 1500 | 2000075796
657 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3341 | 1 | 600 | 2000075800
658 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 69 | 1 | 660 | 2000075801
659 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 348 | 1 | 600 | 2000075802
660 | RAIPUR TOWN | 11KV CM House Feeder | 3 | 5 | 8040 | 2000076123
661 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 62 | 1 | 420 | 2000078241
662 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 433 | 2 | 1140 | 2000076011
663 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 431 | 1 | 720 | 2000076217
664 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1837 | 3 | 1380 | 2000006488
665 | RAJNANDGAON TOWN | 11 KV Mahamaya Feeder | 2449 | 1 | 660 | 2000073902