## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Mar'20
Period: |  | 1st Feb'20 to 29th Feb'20
Number of Towns: |  | 20
Total nos. of Feeders: |  | 401
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 29 | 63720 | 2000015334
2 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 15 | 9960 | 2000071574
3 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2472 | 24 | 27000 | 2000071573
4 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1649 | 16 | 18540 | 2000003853
5 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1168 | 9 | 13920 | 2000003852
6 | AMBIKAPUR TOWN | 11KV DCROAD | 2121 | 10 | 15300 | 2000014951
7 | AMBIKAPUR TOWN | 11KV SONPUR | 181 | 12 | 17580 | 2000014954
8 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 18 | 31980 | 2000014959
9 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 33 | 34800 | 2000014957
10 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2931 | 15 | 11220 | 2000014963
11 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 294 | 15 | 10980 | 2000003841
12 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2563 | 25 | 20520 | 2000003850
13 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2600 | 26 | 27180 | 2000003849
14 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 736 | 15 | 11700 | 2000003848
15 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 512 | 9 | 13920 | 2000003844
16 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 765 | 19 | 20400 | 2000006347
17 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1366 | 17 | 20160 | 2000001009
18 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 273 | 20 | 17040 | 2000001007
19 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1976 | 7 | 11400 | 2000004869
20 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1704 | 2 | 1980 | 2000004871
21 | BILASPUR TOWN | 11KV DHEKA FEEDER | 351 | 7 | 6720 | 2000004877
22 | BILASPUR TOWN | 11KV DHUMA FEEDER | 993 | 1 | 1320 | 2000004878
23 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 559 | 8 | 6000 | 2000004879
24 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1248 | 8 | 12600 | 2000004881
25 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3485 | 12 | 17700 | 2000004882
26 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1350 | 8 | 11340 | 2000004883
27 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2643 | 12 | 15000 | 2000004889
28 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 7 | 11460 | 2000004890
29 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 602 | 6 | 38160 | 2000004892
30 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1 | 16 | 19680 | 2000004894
31 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2158 | 2 | 1980 | 2000004896
32 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 824 | 30 | 82140 | 2000004897
33 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1242 | 8 | 19620 | 2000004900
34 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3063 | 7 | 11340 | 2000004906
35 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4545 | 11 | 55500 | 2000004909
36 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3858 | 7 | 10020 | 2000004910
37 | BILASPUR TOWN | 11KV RULER FEEDER | 1885 | 13 | 10800 | 2000004916
38 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 793 | 11 | 11880 | 2000004924
39 | BILASPUR TOWN | 11KV TV FEEDER | 2633 | 3 | 6420 | 2000016309
40 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1199 | 20 | 35100 | 2000016310
41 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1112 | 16 | 41640 | 2000016311
42 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1195 | 23 | 34860 | 2000016314
43 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 192 | 2 | 1140 | 2000016315
44 | BILASPUR TOWN | 11KV NEW MOPKA | 1458 | 10 | 26460 | 2000017224
45 | BILASPUR TOWN | 11KV SHIVAM CITY | 1716 | 8 | 6660 | 2000017225
46 | BILASPUR TOWN | 11KV MAHAVEER CITY | 313 | 8 | 6420 | 2000017226
47 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 9 | 6540 | 2000017502
48 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2471 | 10 | 30780 | 2000017505
49 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1025 | 15 | 28080 | 2000017776
50 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 15 | 28260 | 2000017777
51 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 243 | 4 | 15360 | 2000017778
52 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 405 | 19 | 20400 | 2000017780
53 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 357 | 16 | 23700 | 2000017781
54 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1120 | 10 | 6060 | 2000018403
55 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2181 | 10 | 20760 | 2000018405
56 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 814 | 14 | 43560 | 2000018761
57 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1851 | 11 | 17520 | 2000018762
58 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 476 | 12 | 19200 | 2000018763
59 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 9 | 20220 | 2000020488
60 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1303 | 7 | 16860 | 2000020489
61 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1280 | 7 | 12120 | 2000020490
62 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 9 | 32040 | 2000020582
63 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1029 | 9 | 32160 | 2000020583
64 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1775 | 13 | 30060 | 2000022060
65 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 425 | 10 | 27180 | 2000022061
66 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 458 | 10 | 12780 | 2000023801
67 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 329 | 7 | 5460 | 2000023802
68 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 926 | 7 | 5520 | 2000023803
69 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 117 | 6 | 5760 | 2000027413
70 | CHIRMIRI TOWN | 11KV MAHARAJPUR | 25 | 28 | 24000 | 2000026864
71 | CHIRMIRI TOWN | 11KV SALKA | 27 | 30 | 23880 | 2000026867
72 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 217 | 19 | 37860 | 2000015252
73 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 730 | 11 | 11760 | 2000015251
74 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2060 | 12 | 24900 | 2000003196
75 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 361 | 3 | 1860 | 2000004308
76 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 25 | 25020 | 2000002567
77 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2167 | 9 | 14340 | 2000002571
78 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 963 | 13 | 9360 | 2000002572
79 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 4 | 3480 | 2000002573
80 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 14 | 11280 | 2000002577
81 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 503 | 2 | 1620 | 2000015505
82 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1598 | 4 | 7620 | 2000007687
83 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1367 | 8 | 4680 | 2000007691
84 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2509 | 3 | 2580 | 2000007698
85 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 2008 | 7 | 9660 | 2000007712
86 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1487 | 6 | 6360 | 2000007715
87 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 1082 | 5 | 6480 | 2000007716
88 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2144 | 5 | 14460 | 2000007723
89 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3427 | 24 | 22320 | 2000007728
90 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 650 | 11 | 40380 | 2000007731
91 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1053 | 7 | 7200 | 2000007732
92 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 728 | 7 | 7800 | 2000007733
93 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1857 | 9 | 8640 | 2000007734
94 | DURG BHILAI CHARODA TOWN | 11KV NEHRUNAGAR FEEDER | 891 | 3 | 2040 | 2000007740
95 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2428 | 17 | 49560 | 2000007742
96 | DURG BHILAI CHARODA TOWN | 11KV BHILAI SCAN FEEDER | 866 | 3 | 1980 | 2000007748
97 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1312 | 20 | 54120 | 2000007750
98 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1941 | 6 | 4980 | 2000007754
99 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 1620 | 6 | 20940 | 2000007761
100 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1035 | 4 | 4080 | 2000007762
101 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1220 | 6 | 4680 | 2000007776
102 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7498 | 17 | 17100 | 2000016889
103 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2444 | 13 | 14760 | 2000017052
104 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1290 | 17 | 25740 | 2000017054
105 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1172 | 4 | 10140 | 2000017055
106 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 932 | 4 | 31620 | 2000017056
107 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 774 | 5 | 4560 | 2000017057
108 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 920 | 3 | 3300 | 2000017058
109 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2107 | 5 | 5760 | 2000017059
110 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 521 | 5 | 5760 | 2000017060
111 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1061 | 3 | 2880 | 2000017061
112 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 589 | 8 | 15780 | 2000017062
113 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1749 | 8 | 11400 | 2000017063
114 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1530 | 5 | 5940 | 2000017064
115 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1354 | 16 | 9780 | 2000017065
116 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1193 | 5 | 7320 | 2000017066
117 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 569 | 7 | 3660 | 2000017067
118 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2194 | 9 | 5400 | 2000017068
119 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 888 | 16 | 9780 | 2000017069
120 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2014 | 16 | 9840 | 2000017071
121 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR | 267 | 10 | 8100 | 2000017072
122 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 482 | 4 | 5100 | 2000017080
123 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2455 | 7 | 7920 | 2000018574
124 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 300 | 9 | 10200 | 2000018704
125 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1387 | 10 | 14100 | 2000018705
126 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1828 | 7 | 5640 | 2000018706
127 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 645 | 10 | 13560 | 2000018707
128 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1732 | 11 | 7080 | 2000018723
129 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 73 | 12 | 19080 | 2000018987
130 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 733 | 7 | 5340 | 2000019819
131 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 495 | 23 | 180720 | 2000019876
132 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1071 | 4 | 53340 | 2000020519
133 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3118 | 8 | 7800 | 2000021263
134 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1330 | 8 | 13860 | 2000021264
135 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1132 | 5 | 3600 | 2000021357
136 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3182 | 4 | 4020 | 2000023773
137 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 356 | 3 | 2400 | 2000025794
138 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 3 | 2640 | 2000027337
139 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1177 | 11 | 12240 | 2000029191
140 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 677 | 8 | 8880 | 2000029192
141 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1640 | 15 | 42240 | 2000029193
142 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1663 | 1 | 1320 | 2000049757
143 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 61 | 15 | 30840 | 2000049820
144 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1419 | 2 | 1080 | 2000067876
145 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3502 | 2 | 1140 | 2000067877
146 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1701 | 4 | 21000 | 2000067878
147 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 13 | 2 | 3420 | 2000068108
148 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 30 | 2 | 3420 | 2000068109
149 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 2 | 3480 | 2000068110
150 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1601 | 6 | 22320 | 2000075513
151 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 147 | 5 | 5940 | 2000075565
152 | DURG BHILAI CHARODA TOWN | 11KV Mauhari Feeder | 764 | 3 | 3900 | 2000075566
153 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3833 | 10 | 36960 | 2000004348
154 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3632 | 4 | 48240 | 2000004346
155 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2367 | 3 | 22860 | 2000004336
156 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2032 | 9 | 6480 | 2000075216
157 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2474 | 7 | 9540 | 2000004343
158 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 366 | 6 | 7260 | 2000075799
159 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 2371 | 1 | 480 | 2000002905
160 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 3120 | 4 | 4020 | 2000002906
161 | KANKER TOWN | 11KV KESHKAL FEEDER | 203 | 7 | 4140 | 2000002907
162 | KANKER TOWN | 11KV BARDEBHATA FEEDER | 1751 | 4 | 1500 | 2000002908
163 | KANKER TOWN | 11KV PATOD FEEDER | 1270 | 4 | 1740 | 2000002909
164 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3273 | 3 | 1800 | 2000002910
165 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1693 | 1 | 600 | 2000015850
166 | KAWARDHA TOWN | 11KV TRANSPORT NAGAR FEEDER | 963 | 28 | 21060 | 2000015242
167 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 3277 | 10 | 7020 | 2000015241
168 | KORBA TOWN | 11KV AJGARBAHARFEEDER | 3668 | 4 | 7680 | 2000006761
169 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1895 | 23 | 51300 | 2000006763
170 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 15 | 91500 | 2000006768
171 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 20 | 77160 | 2000006770
172 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 790 | 35 | 116700 | 2000006773
173 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 915 | 17 | 59700 | 2000006775
174 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 255 | 18 | 23160 | 2000006776
175 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 3199 | 10 | 11820 | 2000006778
176 | KORBA TOWN | 11KV P.HROAD FEEDER | 1369 | 4 | 8280 | 2000006785
177 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1881 | 17 | 31440 | 2000006786
178 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 10 | 34980 | 2000075797
179 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 9 | 36240 | 2000021425
180 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 221 | 20 | 35100 | 2000021289
181 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1451 | 13 | 28440 | 2000020122
182 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 11 | 43140 | 2000020121
183 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1968 | 20 | 37800 | 2000020065
184 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 12 | 39840 | 2000018988
185 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 399 | 16 | 72000 | 2000017805
186 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2125 | 17 | 60300 | 2000017804
187 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1917 | 17 | 63660 | 2000016201
188 | KORBA TOWN | 11KV DONDROFEEDER | 31 | 34 | 81660 | 2000016028
189 | KORBA TOWN | 11KV SEMIPALI | 446 | 20 | 32940 | 2000015240
190 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1939 | 15 | 21060 | 2000006787
191 | KORBA TOWN | 11KV PARSABADA FEEDER | 1376 | 30 | 60720 | 2000006789
192 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1039 | 25 | 118800 | 2000006794
193 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 34 | 54060 | 2000006796
194 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1500 | 13 | 54420 | 2000006798
195 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 11 | 83220 | 2000001425
196 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 13 | 81660 | 2000001426
197 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1761 | 14 | 24600 | 2000001427
198 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 808 | 14 | 19260 | 2000003055
199 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6055 | 4 | 2700 | 2000003057
200 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 899 | 2 | 7800 | 2000068276
201 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1829 | 25 | 27480 | 2000055675
202 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 103 | 16 | 19200 | 2000002458
203 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 3961 | 7 | 57000 | 2000001636
204 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 9 | 8820 | 2000001629
205 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 8 | 5160 | 2000001625
206 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1181 | 1 | 600 | 2000003310
207 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2321 | 9 | 19980 | 2000003313
208 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 950 | 8 | 8700 | 2000003308
209 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2269 | 1 | 600 | 2000003315
210 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 613 | 14 | 10680 | 2000003320
211 | RAIGARH TOWN | 11KV STADIUM FEEDER | 300 | 8 | 11580 | 2000003323
212 | RAIGARH TOWN | 11KV STATION FEEDER | 1576 | 21 | 12840 | 2000003324
213 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3174 | 15 | 52260 | 2000003325
214 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1249 | 2 | 960 | 2000003305
215 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1459 | 1 | 600 | 2000003304
216 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1121 | 10 | 12840 | 2000016052
217 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1066 | 26 | 59820 | 2000016053
218 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 6 | 2460 | 2000016054
219 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1149 | 11 | 8640 | 2000016055
220 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 6 | 4800 | 2000016056
221 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 620 | 5 | 4500 | 2000016057
222 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 547 | 6 | 11160 | 2000016184
223 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1850 | 7 | 11100 | 2000016185
224 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1656 | 1 | 600 | 2000003303
225 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 797 | 19 | 22920 | 2000021639
226 | RAIGARH TOWN | 11KV STADIUM FEEDER | 669 | 13 | 19740 | 2000022941
227 | RAIPUR TOWN | 11KV ITI FEEDER | 297 | 4 | 354540 | 2000010581
228 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2701 | 2 | 660 | 2000010587
229 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1469 | 1 | 5520 | 2000010588
230 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 809 | 1 | 300 | 2000010591
231 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 405 | 5 | 6720 | 2000010592
232 | RAIPUR TOWN | 11KV MLA FEEDER | 1120 | 2 | 960 | 2000010595
233 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 9 | 16620 | 2000010596
234 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1042 | 6 | 15060 | 2000010603
235 | RAIPUR TOWN | 11KV ATARI FEEDER | 914 | 4 | 27600 | 2000010604
236 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1572 | 2 | 720 | 2000010611
237 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 145 | 2 | 1680 | 2000010615
238 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2650 | 4 | 1620 | 2000010631
239 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2321 | 4 | 1560 | 2000010632
240 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1016 | 1 | 840 | 2000010636
241 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2353 | 3 | 6660 | 2000010640
242 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 1 | 300 | 2000010641
243 | RAIPUR TOWN | 11KV KACHNA FEEDER | 250 | 12 | 16260 | 2000010646
244 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 778 | 1 | 540 | 2000010651
245 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 491 | 2 | 18360 | 2000010657
246 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 414 | 1 | 480 | 2000010658
247 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 2 | 19320 | 2000010660
248 | RAIPUR TOWN | 11KV LALBAG FEEDER | 936 | 1 | 1320 | 2000010665
249 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1812 | 2 | 1140 | 2000010668
250 | RAIPUR TOWN | 11KV SWARN BHOOMI FEEDER | 754 | 5 | 355440 | 2000010673
251 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3508 | 6 | 28620 | 2000010674
252 | RAIPUR TOWN | 11KV KBT FEEDER | 1247 | 6 | 10020 | 2000010682
253 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 438 | 8 | 15960 | 2000010686
254 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 637 | 2 | 1860 | 2000010687
255 | RAIPUR TOWN | 11KV RDA FEEDER | 852 | 2 | 8040 | 2000010689
256 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1323 | 1 | 300 | 2000010691
257 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3525 | 6 | 17700 | 2000010692
258 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1622 | 2 | 900 | 2000010695
259 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2641 | 3 | 23340 | 2000010698
260 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3460 | 7 | 5580 | 2000010702
261 | RAIPUR TOWN | 11KV RULAR FEEDER | 571 | 3 | 4980 | 2000010703
262 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 513 | 4 | 12300 | 2000010707
263 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1871 | 8 | 24600 | 2000010711
264 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 968 | 10 | 25860 | 2000010712
265 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 750 | 4 | 25380 | 2000010713
266 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1962 | 1 | 420 | 2000010715
267 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1 | 4 | 22620 | 2000010718
268 | RAIPUR TOWN | 11KV SARORA FEEDER | 976 | 2 | 600 | 2000010720
269 | RAIPUR TOWN | 11KV SECTOR -5 | 760 | 6 | 40200 | 2000010721
270 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3670 | 8 | 25380 | 2000010723
271 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 466 | 1 | 1680 | 2000010727
272 | RAIPUR TOWN | 11KV TOWN FEEDER | 2488 | 1 | 12240 | 2000010730
273 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 29 | 9 | 13200 | 2000010733
274 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 479 | 2 | 19080 | 2000010737
275 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2959 | 7 | 29340 | 2000010740
276 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 982 | 1 | 480 | 2000017256
277 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1246 | 2 | 1680 | 2000017508
278 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2495 | 2 | 23460 | 2000017567
279 | RAIPUR TOWN | 11KV WHITE HOUSE | 796 | 4 | 27240 | 2000017568
280 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 607 | 2 | 30240 | 2000017569
281 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 705 | 1 | 2040 | 2000017590
282 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1574 | 5 | 19080 | 2000017597
283 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 896 | 6 | 28440 | 2000017599
284 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2292 | 3 | 8040 | 2000017600
285 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1793 | 2 | 19380 | 2000017608
286 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 805 | 1 | 660 | 2000017609
287 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 2 | 1200 | 2000017613
288 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 850 | 5 | 28260 | 2000017615
289 | RAIPUR TOWN | 11KV COLONY FEEDER | 28 | 1 | 5880 | 2000017619
290 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2045 | 5 | 3900 | 2000017621
291 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 626 | 4 | 26460 | 2000017623
292 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 857 | 1 | 1980 | 2000017628
293 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1708 | 6 | 41220 | 2000017690
294 | RAIPUR TOWN | 11KV ROMAN SQUARE | 648 | 3 | 15720 | 2000017691
295 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 216 | 4 | 16140 | 2000017692
296 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 793 | 6 | 9060 | 2000017721
297 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1072 | 5 | 10380 | 2000017755
298 | RAIPUR TOWN | 11KV MOTHER TERESA | 821 | 6 | 27840 | 2000017756
299 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 512 | 3 | 2100 | 2000017757
300 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1175 | 4 | 23940 | 2000017768
301 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1191 | 11 | 55500 | 2000017771
302 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1447 | 7 | 15180 | 2000017772
303 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 670 | 7 | 15240 | 2000017773
304 | RAIPUR TOWN | 11KV PURANI BASTI | 712 | 2 | 1140 | 2000017817
305 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1187 | 5 | 3240 | 2000017819
306 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1153 | 11 | 28440 | 2000017867
307 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1949 | 10 | 38220 | 2000017868
308 | RAIPUR TOWN | 11KV GANESH MANDIR | 233 | 6 | 21000 | 2000017869
309 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1398 | 8 | 175620 | 2000017870
310 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 4 | 16260 | 2000017871
311 | RAIPUR TOWN | 11KV NAVEEN MARKET | 891 | 2 | 1260 | 2000017953
312 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2702 | 2 | 1260 | 2000017954
313 | RAIPUR TOWN | 11KV MG ROAD | 1620 | 9 | 41460 | 2000017955
314 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1147 | 27 | 31980 | 2000017962
315 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 331 | 1 | 420 | 2000018004
316 | RAIPUR TOWN | 11KV SADDU FEEDER | 305 | 6 | 5880 | 2000018005
317 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1563 | 1 | 420 | 2000018006
318 | RAIPUR TOWN | 11KV MANDI | 663 | 4 | 22740 | 2000018020
319 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 370 | 2 | 1140 | 2000018359
320 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1457 | 1 | 600 | 2000018361
321 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 3 | 6360 | 2000018378
322 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 990 | 4 | 2220 | 2000018394
323 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 4 | 12240 | 2000018416
324 | RAIPUR TOWN | 11KV Dhanlaxmi Nagar Feeder | 4040 | 4 | 1320 | 2000018417
325 | RAIPUR TOWN | 11KV VARUN FEEDER | 1132 | 15 | 37920 | 2000019179
326 | RAIPUR TOWN | 11KV HEERA FEEDER | 3038 | 3 | 4920 | 2000019180
327 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1634 | 2 | 1800 | 2000019184
328 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1333 | 7 | 29580 | 2000019186
329 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1190 | 4 | 17100 | 2000019334
330 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1249 | 1 | 360 | 2000019340
331 | RAIPUR TOWN | 11KV CTI FEEDER | 256 | 4 | 10020 | 2000019342
332 | RAIPUR TOWN | 11KV PS CITY | 1342 | 1 | 360 | 2000019530
333 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 718 | 8 | 15360 | 2000019697
334 | RAIPUR TOWN | 11KV BLOCK NO 5,6,7,8 FEEDER | 179 | 2 | 18720 | 2000019853
335 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1818 | 3 | 23040 | 2000019857
336 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1553 | 2 | 22620 | 2000019858
337 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2116 | 4 | 39720 | 2000020009
338 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1209 | 3 | 65160 | 2000020120
339 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 8 | 1 | 480 | 2000020123
340 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 4 | 11040 | 2000020130
341 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 174 | 3 | 10560 | 2000020131
342 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 3 | 10560 | 2000020132
343 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3521 | 8 | 29100 | 2000020153
344 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 355 | 2 | 960 | 2000020193
345 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1034 | 2 | 960 | 2000020194
346 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1711 | 4 | 2700 | 2000021219
347 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1401 | 3 | 2400 | 2000021220
348 | RAIPUR TOWN | 11KV TARUN NAGAR | 1821 | 3 | 2340 | 2000021221
349 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 746 | 2 | 23520 | 2000021286
350 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1390 | 3 | 2580 | 2000021287
351 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 61 | 4 | 3360 | 2000021421
352 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 2 | 8820 | 2000021615
353 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1364 | 2 | 19020 | 2000022077
354 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 805 | 5 | 18420 | 2000022078
355 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1347 | 7 | 27300 | 2000022079
356 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1409 | 7 | 43740 | 2000023680
357 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1581 | 2 | 14220 | 2000023735
358 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 134 | 1 | 660 | 2000023736
359 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1650 | 3 | 7260 | 2000023772
360 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1117 | 6 | 9420 | 2000024395
361 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 3 | 25680 | 2000026462
362 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2321 | 6 | 10860 | 2000026575
363 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1534 | 1 | 12840 | 2000026582
364 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 999 | 1 | 300 | 2000026583
365 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 629 | 6 | 10740 | 2000026585
366 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1265 | 7 | 11820 | 2000026586
367 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 330 | 1 | 420 | 2000029194
368 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 139 | 2 | 2100 | 2000029195
369 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1319 | 8 | 5640 | 2000034421
370 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 761 | 10 | 41580 | 2000034422
371 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 741 | 12 | 11460 | 2000034423
372 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2767 | 5 | 24000 | 2000034760
373 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 398 | 2 | 20220 | 2000034761
374 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1742 | 2 | 20220 | 2000034762
375 | RAIPUR TOWN | 11KV PRIDE FEEDER | 179 | 2 | 8100 | 2000039215
376 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 3 | 9060 | 2000046448
377 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 901 | 5 | 24420 | 2000046477
378 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 1597 | 1 | 12180 | 2000068159
379 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 7 | 8400 | 2000069376
380 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 1 | 1380 | 2000070080
381 | RAIPUR TOWN | 11KV C&F FEEDER | 27 | 3 | 1800 | 2000070702
382 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 3 | 1800 | 2000070703
383 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1027 | 2 | 1620 | 2000070747
384 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2498 | 4 | 4320 | 2000071570
385 | RAIPUR TOWN | 11KV KARA FEEDER | 404 | 7 | 29880 | 2000071634
386 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 126 | 2 | 1020 | 2000071639
387 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2582 | 2 | 4440 | 2000072091
388 | RAIPUR TOWN | 11KV Simran City Feeder | 1046 | 9 | 9840 | 2000074141
389 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 937 | 1 | 3660 | 2000075796
390 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3360 | 4 | 1800 | 2000075800
391 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 40 | 4 | 8100 | 2000075801
392 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 257 | 4 | 8100 | 2000075802
393 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2053 | 2 | 5040 | 2000069535
394 | RAJNANDGAON TOWN | 11KV MAHESHWARI | 902 | 3 | 1860 | 2000015448
395 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 870 | 4 | 11820 | 2000001955
396 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2124 | 3 | 3000 | 2000015449
397 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3284 | 10 | 42240 | 2000001956
398 | RAJNANDGAON TOWN | 11KV FARHAD(RURAL)FEEDER | 587 | 5 | 16500 | 2000001960
399 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3422 | 5 | 4080 | 2000001969
400 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1750 | 5 | 3240 | 2000001972
401 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2153 | 5 | 14580 | 2000001975