## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Aug'20
Period: |  | 1st July'20 to 31st July'20
Number of Towns: |  | 531
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) |  | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2736 | 13 | 13080 | 218 | 2000003855
2 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 34 | 88800 | 1480 | 2000014957
3 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 20 | 85260 | 1421 | 2000014959
4 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1666 | 28 | 43080 | 718 | 2000003853
5 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2942 | 20 | 19920 | 332 | 2000014963
6 | AMBIKAPUR TOWN | 11KV SONPUR | 180 | 18 | 25620 | 427 | 2000014954
7 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 1 | 18 | 25680 | 428 | 2000014952
8 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 175 | 61 | 101820 | 1697 | 2000015334
9 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 736 | 20 | 31500 | 525 | 2000003848
10 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 962 | 21 | 20940 | 349 | 2000003847
11 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 449 | 31 | 27720 | 462 | 2000071572
12 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2483 | 30 | 29520 | 492 | 2000071573
13 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 25 | 23160 | 386 | 2000071574
14 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 291 | 19 | 28920 | 482 | 2000003841
15 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 510 | 19 | 28200 | 470 | 2000003844
16 | AMBIKAPUR TOWN | 11KV DCROAD | 2123 | 13 | 15600 | 260 | 2000014951
17 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2626 | 6 | 11040 | 184 | 2000003850
18 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1204 | 19 | 27480 | 458 | 2000003852
19 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 358 | 12 | 18420 | 307 | 2000001005
20 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 271 | 26 | 33720 | 562 | 2000001007
21 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1390 | 51 | 53340 | 889 | 2000001009
22 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 553 | 2 | 1740 | 29 | 2000001011
23 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 761 | 32 | 46500 | 775 | 2000006347
24 | BHATAPARA TOWN | 11KV COLONY FEEDER | 31 | 17 | 20520 | 342 | 2000004255
25 | BHATAPARA TOWN | 11KV ATAL JYOTI | 55 | 6 | 8820 | 147 | 2000014962
26 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 722 | 17 | 27540 | 459 | 2000006377
27 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 611 | 8 | 19200 | 320 | 2000004867
28 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2040 | 13 | 41820 | 697 | 2000004868
29 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2036 | 18 | 25920 | 432 | 2000004869
30 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1913 | 21 | 33900 | 565 | 2000004870
31 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1721 | 10 | 18000 | 300 | 2000004871
32 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1957 | 22 | 25320 | 422 | 2000004874
33 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 189 | 25 | 44640 | 744 | 2000004875
34 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 868 | 14 | 25320 | 422 | 2000004876
35 | BILASPUR TOWN | 11KV DHEKA FEEDER | 351 | 30 | 56220 | 937 | 2000004877
36 | BILASPUR TOWN | 11KV DHUMA FEEDER | 991 | 18 | 24300 | 405 | 2000004878
37 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 564 | 40 | 80760 | 1346 | 2000004879
38 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1253 | 19 | 24180 | 403 | 2000004881
39 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3485 | 32 | 54240 | 904 | 2000004882
40 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1360 | 16 | 25500 | 425 | 2000004883
41 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1972 | 18 | 26400 | 440 | 2000004884
42 | BILASPUR TOWN | 11KV HARDIFEEDER | 1243 | 25 | 33720 | 562 | 2000004885
43 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2113 | 25 | 33120 | 552 | 2000004886
44 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2037 | 10 | 24000 | 400 | 2000004888
45 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2652 | 19 | 25860 | 431 | 2000004889
46 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 18 | 25800 | 430 | 2000004890
47 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1248 | 23 | 17160 | 286 | 2000004891
48 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 600 | 6 | 12840 | 214 | 2000004892
49 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3025 | 21 | 37680 | 628 | 2000004893
50 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 3 | 30 | 49380 | 823 | 2000004894
51 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2161 | 10 | 17940 | 299 | 2000004896
52 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 835 | 55 | 75240 | 1254 | 2000004897
53 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1286 | 32 | 38400 | 640 | 2000004898
54 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1186 | 20 | 38400 | 640 | 2000004899
55 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1259 | 33 | 48900 | 815 | 2000004900
56 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2775 | 13 | 8760 | 146 | 2000004901
57 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 159 | 7 | 5400 | 90 | 2000004903
58 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2840 | 22 | 25320 | 422 | 2000004905
59 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3075 | 18 | 25620 | 427 | 2000004906
60 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2090 | 18 | 38640 | 644 | 2000004907
61 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 825 | 6 | 4440 | 74 | 2000004908
62 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4734 | 16 | 17040 | 284 | 2000004909
63 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3844 | 17 | 23640 | 394 | 2000004910
64 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1255 | 17 | 38580 | 643 | 2000004911
65 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1764 | 16 | 25440 | 424 | 2000004912
66 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1958 | 21 | 25500 | 425 | 2000004913
67 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2553 | 19 | 35100 | 585 | 2000004914
68 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 652 | 25 | 32700 | 545 | 2000004915
69 | BILASPUR TOWN | 11KV RULER FEEDER | 1906 | 34 | 57960 | 966 | 2000004916
70 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1682 | 13 | 17100 | 285 | 2000004919
71 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3413 | 5 | 2700 | 45 | 2000004920
72 | BILASPUR TOWN | 11KV TORWA FEEDER | 2271 | 21 | 36600 | 610 | 2000004921
73 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 799 | 19 | 18360 | 306 | 2000004924
74 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2403 | 7 | 5640 | 94 | 2000004925
75 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2750 | 15 | 29400 | 490 | 2000004926
76 | BILASPUR TOWN | 11KV KONI FEEDER | 874 | 24 | 27240 | 454 | 2000006494
77 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1218 | 17 | 28980 | 483 | 2000016310
78 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 230 | 15 | 15180 | 253 | 2000016311
79 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 622 | 26 | 28560 | 476 | 2000016312
80 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1207 | 26 | 28620 | 477 | 2000016314
81 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 207 | 24 | 27900 | 465 | 2000016315
82 | BILASPUR TOWN | 11KV NEW MOPKA | 1450 | 18 | 28800 | 480 | 2000017224
83 | BILASPUR TOWN | 11KV SHIVAM CITY | 1911 | 11 | 16380 | 273 | 2000017225
84 | BILASPUR TOWN | 11KV MAHAVEER CITY | 314 | 11 | 23220 | 387 | 2000017226
85 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 12 | 28560 | 476 | 2000017502
86 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2461 | 16 | 28620 | 477 | 2000017505
87 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1035 | 50 | 69540 | 1159 | 2000017776
88 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 28 | 41 | 50340 | 839 | 2000017777
89 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 249 | 39 | 38580 | 643 | 2000017778
90 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 410 | 43 | 62340 | 1039 | 2000017780
91 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 375 | 43 | 51540 | 859 | 2000017781
92 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1137 | 5 | 5640 | 94 | 2000018403
93 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2176 | 17 | 29400 | 490 | 2000018405
94 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 816 | 10 | 23340 | 389 | 2000018761
95 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1867 | 15 | 21900 | 365 | 2000018762
96 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 479 | 8 | 9840 | 164 | 2000018763
97 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 4 | 4140 | 69 | 2000020488
98 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1310 | 5 | 4560 | 76 | 2000020489
99 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1279 | 11 | 13380 | 223 | 2000020490
100 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 944 | 8 | 10320 | 172 | 2000020582
101 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1025 | 11 | 13680 | 228 | 2000020583
102 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 134 | 7 | 5580 | 93 | 2000022056
103 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1743 | 22 | 25380 | 423 | 2000022059
104 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1760 | 24 | 43320 | 722 | 2000022060
105 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1494 | 25 | 44280 | 738 | 2000022061
106 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 951 | 25 | 40020 | 667 | 2000022135
107 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 457 | 26 | 45600 | 760 | 2000023801
108 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 327 | 17 | 21600 | 360 | 2000023802
109 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1043 | 13 | 18180 | 303 | 2000023803
110 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 118 | 14 | 25560 | 426 | 2000027413
111 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1768 | 17 | 17220 | 287 | 2000001809
112 | CHAMPA TOWN | 11KV KURDAFEEDER | 1643 | 25 | 33300 | 555 | 2000001807
113 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 735 | 14 | 16080 | 268 | 2000015251
114 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 225 | 39 | 85740 | 1429 | 2000015252
115 | DALLI RAJHARA TOWN | 11KV TOWN2 FEEDER | 2377 | 11 | 27960 | 466 | 2000003198
116 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5776 | 5 | 4260 | 71 | 2000003197
117 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2091 | 21 | 42840 | 714 | 2000003196
118 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1286 | 10 | 26520 | 442 | 2000003195
119 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 313 | 8 | 26940 | 449 | 2000003193
120 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1690 | 8 | 26880 | 448 | 2000003194
121 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 500 | 6 | 10140 | 169 | 2000015505
122 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 20 | 25260 | 421 | 2000002567
123 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2110 | 8 | 6060 | 101 | 2000002571
124 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 955 | 18 | 18780 | 313 | 2000002572
125 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 9 | 56460 | 941 | 2000002573
126 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 20 | 15180 | 253 | 2000002577
127 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 357 | 8 | 5820 | 97 | 2000004308
128 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 1392 | 1 | 1380 | 23 | 2000001298
129 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 833 | 16 | 16200 | 270 | 2000007685
130 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 1921 | 9 | 2580 | 43 | 2000007686
131 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1257 | 9 | 38460 | 641 | 2000007687
132 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 122 | 1 | 21960 | 366 | 2000007688
133 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 513 | 5 | 3000 | 50 | 2000007689
134 | DURG BHILAI CHARODA TOWN | 11KV BAIKUNDDHAM FEEDER | 2056 | 8 | 9180 | 153 | 2000007693
135 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 2310 | 7 | 6660 | 111 | 2000007694
136 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4375 | 3 | 480 | 8 | 2000007696
137 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2949 | 2 | 360 | 6 | 2000007701
138 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1070 | 9 | 4680 | 78 | 2000007702
139 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1158 | 4 | 1860 | 31 | 2000007703
140 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3054 | 7 | 12000 | 200 | 2000007705
141 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1636 | 25 | 61980 | 1033 | 2000007709
142 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1405 | 45 | 46740 | 779 | 2000007715
143 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 345 | 9 | 20820 | 347 | 2000007717
144 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1681 | 4 | 1920 | 32 | 2000007718
145 | DURG BHILAI CHARODA TOWN | 11KV ISPATNAGAR FEEDER | 1944 | 24 | 286080 | 4768 | 2000007719
146 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1018 | 5 | 3000 | 50 | 2000007720
147 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1625 | 1 | 960 | 16 | 2000007721
148 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2151 | 1 | 480 | 8 | 2000007723
149 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1480 | 19 | 18840 | 314 | 2000007724
150 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1719 | 13 | 2280 | 38 | 2000007725
151 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2322 | 7 | 2220 | 37 | 2000007726
152 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3432 | 1 | 120 | 2 | 2000007728
153 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 736 | 2 | 2460 | 41 | 2000007729
154 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 925 | 27 | 31080 | 518 | 2000007731
155 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1063 | 18 | 11640 | 194 | 2000007732
156 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1880 | 55 | 100380 | 1673 | 2000007734
157 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 763 | 6 | 28560 | 476 | 2000007735
158 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1621 | 7 | 2700 | 45 | 2000007737
159 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2449 | 26 | 40920 | 682 | 2000007742
160 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1436 | 11 | 3120 | 52 | 2000007744
161 | DURG BHILAI CHARODA TOWN | 11KV PRAGATINAGAR FEEDER | 1613 | 10 | 8700 | 145 | 2000007745
162 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 547 | 5 | 5100 | 85 | 2000007749
163 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1316 | 1 | 240 | 4 | 2000007750
164 | DURG BHILAI CHARODA TOWN | 11KV RAMNAGAR FEEDER | 3278 | 7 | 5100 | 85 | 2000007752
165 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1959 | 31 | 60540 | 1009 | 2000007754
166 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1334 | 3 | 780 | 13 | 2000007756
167 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2178 | 2 | 4740 | 79 | 2000007757
168 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3630 | 5 | 3720 | 62 | 2000007759
169 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHAROAD FEEDER | 2742 | 7 | 6420 | 107 | 2000007760
170 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 760 | 1 | 480 | 8 | 2000007761
171 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1043 | 11 | 14700 | 245 | 2000007762
172 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2276 | 7 | 8220 | 137 | 2000007769
173 | DURG BHILAI CHARODA TOWN | 11KV SHARDAPARA FEEDER | 1795 | 9 | 28320 | 472 | 2000007770
174 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1409 | 7 | 7140 | 119 | 2000007774
175 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 1248 | 2 | 1680 | 28 | 2000007775
176 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1221 | 5 | 20580 | 343 | 2000007776
177 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 660 | 2 | 240 | 4 | 2000007778
178 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1087 | 17 | 5580 | 93 | 2000007779
179 | DURG BHILAI CHARODA TOWN | 11KV VAISHALINAGAR FEEDER | 1758 | 8 | 7140 | 119 | 2000007783
180 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7541 | 22 | 56640 | 944 | 2000016889
181 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2365 | 32 | 16800 | 280 | 2000017000
182 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2488 | 7 | 14280 | 238 | 2000017052
183 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1303 | 8 | 7200 | 120 | 2000017054
184 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1173 | 18 | 31020 | 517 | 2000017055
185 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 940 | 12 | 30720 | 512 | 2000017056
186 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 777 | 8 | 6960 | 116 | 2000017057
187 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 920 | 9 | 32580 | 543 | 2000017058
188 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2125 | 8 | 10740 | 179 | 2000017059
189 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 524 | 5 | 6240 | 104 | 2000017060
190 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1068 | 8 | 10500 | 175 | 2000017061
191 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 6 | 8400 | 140 | 2000017062
192 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1771 | 10 | 16020 | 267 | 2000017063
193 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1533 | 9 | 19020 | 317 | 2000017064
194 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1370 | 21 | 36300 | 605 | 2000017065
195 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1214 | 4 | 7740 | 129 | 2000017066
196 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 562 | 3 | 22620 | 377 | 2000017067
197 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2211 | 7 | 31740 | 529 | 2000017068
198 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 913 | 21 | 36540 | 609 | 2000017069
199 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2032 | 21 | 36300 | 605 | 2000017071
200 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 6 | 11160 | 186 | 2000017072
201 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 454 | 1 | 180 | 3 | 2000017076
202 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 491 | 30 | 41280 | 688 | 2000017080
203 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2440 | 15 | 15000 | 250 | 2000018574
204 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 304 | 30 | 42600 | 710 | 2000018704
205 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1392 | 24 | 32100 | 535 | 2000018705
206 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1834 | 24 | 31140 | 519 | 2000018706
207 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 635 | 20 | 21420 | 357 | 2000018707
208 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1740 | 18 | 15000 | 250 | 2000018723
209 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 75 | 24 | 28140 | 469 | 2000018987
210 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 704 | 6 | 3600 | 60 | 2000019819
211 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1090 | 8 | 9360 | 156 | 2000020519
212 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3129 | 19 | 37680 | 628 | 2000021263
213 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1341 | 18 | 34680 | 578 | 2000021264
214 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1152 | 2 | 3780 | 63 | 2000021357
215 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3314 | 9 | 7320 | 122 | 2000023773
216 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 13 | 8160 | 136 | 2000025794
217 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 11 | 24000 | 400 | 2000027337
218 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1184 | 19 | 17040 | 284 | 2000029191
219 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 680 | 8 | 7380 | 123 | 2000029192
220 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1661 | 23 | 37380 | 623 | 2000029193
221 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1690 | 13 | 39540 | 659 | 2000049757
222 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 13 | 15600 | 260 | 2000049820
223 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1445 | 3 | 26040 | 434 | 2000067876
224 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2375 | 3 | 26100 | 435 | 2000067877
225 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1706 | 3 | 26040 | 434 | 2000067878
226 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 6 | 25380 | 423 | 2000068108
227 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 34 | 6 | 25380 | 423 | 2000068109
228 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 6 | 25380 | 423 | 2000068110
229 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 155 | 6 | 18120 | 302 | 2000075565
230 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 778 | 7 | 20100 | 335 | 2000075566
231 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1473 | 25 | 26640 | 444 | 2000075806
232 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1253 | 39 | 33000 | 550 | 2000075812
233 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1209 | 7 | 26580 | 443 | 2000075971
234 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2476 | 1 | 4200 | 70 | 2000004343
235 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2476 | 9 | 14640 | 244 | 2000004343
236 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3432 | 3 | 2760 | 46 | 2000004345
237 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3657 | 9 | 7680 | 128 | 2000004346
238 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2407 | 9 | 8820 | 147 | 2000004336
239 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1434 | 3 | 4680 | 78 | 2000004331
240 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3848 | 10 | 6060 | 101 | 2000004348
241 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2051 | 10 | 11160 | 186 | 2000075216
242 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 367 | 18 | 9300 | 155 | 2000075799
243 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1694 | 23 | 21900 | 365 | 2000015850
244 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3276 | 17 | 79980 | 1333 | 2000002910
245 | KANKER TOWN | 11KV PATOD FEEDER | 1294 | 11 | 38460 | 641 | 2000002909
246 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 3126 | 17 | 17640 | 294 | 2000002906
247 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 2376 | 3 | 1980 | 33 | 2000002905
248 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 3620 | 15 | 22140 | 369 | 2000001055
249 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 652 | 12 | 29700 | 495 | 2000001051
250 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 4420 | 10 | 8640 | 144 | 2000001048
251 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1250 | 6 | 3360 | 56 | 2000001047
252 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 13 | 1 | 176160 | 2936 | 2000001045
253 | KORBA TOWN | 11KV TINADAFAI FEEDER | 731 | 5 | 8760 | 146 | 2000075797
254 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1353 | 16 | 26220 | 437 | 2000021425
255 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 223 | 37 | 67380 | 1123 | 2000021289
256 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1450 | 35 | 50760 | 846 | 2000020122
257 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 22 | 31320 | 522 | 2000020121
258 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1960 | 27 | 40500 | 675 | 2000020065
259 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 22 | 47160 | 786 | 2000018988
260 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 397 | 38 | 67740 | 1129 | 2000017805
261 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2113 | 41 | 83100 | 1385 | 2000017804
262 | KORBA TOWN | 11KV ABC FEEDER | 1516 | 11 | 12900 | 215 | 2000006759
263 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3665 | 26 | 41880 | 698 | 2000006761
264 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1882 | 32 | 88800 | 1480 | 2000006763
265 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 38 | 75240 | 1254 | 2000006768
266 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 38 | 52020 | 867 | 2000006770
267 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 911 | 17 | 26700 | 445 | 2000006775
268 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 256 | 48 | 74400 | 1240 | 2000006776
269 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1875 | 18 | 35340 | 589 | 2000006786
270 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1203 | 30 | 180060 | 3001 | 2000006787
271 | KORBA TOWN | 11KV PARSABADA FEEDER | 1346 | 55 | 116640 | 1944 | 2000006789
272 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2335 | 12 | 16440 | 274 | 2000006795
273 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 12 | 16380 | 273 | 2000006796
274 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1498 | 20 | 30360 | 506 | 2000006798
275 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 65 | 22 | 50160 | 836 | 2000017790
276 | KORBA TOWN | 11KV BULGI FEEDER | 2436 | 9 | 9660 | 161 | 2000016255
277 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1915 | 28 | 51600 | 860 | 2000016201
278 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 70 | 166020 | 2767 | 2000016028
279 | KORBA TOWN | 11KV SEMIPALI | 443 | 21 | 21120 | 352 | 2000015240
280 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 799 | 42 | 119220 | 1987 | 2000006773
281 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 650 | 53 | 88680 | 1478 | 2000001425
282 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 768 | 53 | 141240 | 2354 | 2000001426
283 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1779 | 8 | 27720 | 462 | 2000001427
284 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6106 | 19 | 23820 | 397 | 2000003057
285 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 828 | 22 | 23280 | 388 | 2000003055
286 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 161 | 18 | 31320 | 522 | 2000015467
287 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 914 | 24 | 26280 | 438 | 2000068276
288 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1846 | 21 | 21180 | 353 | 2000055675
289 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2103 | 1 | 480 | 8 | 2000006458
290 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 102 | 32 | 74880 | 1248 | 2000002458
291 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 114 | 10 | 2280 | 38 | 2000001623
292 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1495 | 26 | 26160 | 436 | 2000076050
293 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 732 | 24 | 31020 | 517 | 2000076051
294 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 380 | 25 | 55020 | 917 | 2000076052
295 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 634 | 19 | 91380 | 1523 | 2000001634
296 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 584 | 123 | 114660 | 1911 | 2000001632
297 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1549 | 1 | 60 | 1 | 2000001628
298 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1115 | 58 | 117780 | 1963 | 2000016052
299 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1064 | 17 | 23520 | 392 | 2000016053
300 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 18 | 18420 | 307 | 2000016054
301 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1148 | 47 | 62700 | 1045 | 2000016055
302 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 32 | 39300 | 655 | 2000016056
303 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 618 | 39 | 49620 | 827 | 2000016057
304 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 546 | 17 | 31080 | 518 | 2000016184
305 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1858 | 18 | 42600 | 710 | 2000016185
306 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1654 | 1 | 1560 | 26 | 2000003303
307 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1242 | 1 | 1560 | 26 | 2000003305
308 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 665 | 24 | 42660 | 711 | 2000020756
309 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 948 | 30 | 41580 | 693 | 2000003308
310 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3182 | 68 | 156720 | 2612 | 2000003325
311 | RAIGARH TOWN | 11KV STATION FEEDER | 1574 | 38 | 35220 | 587 | 2000003324
312 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 16 | 27780 | 463 | 2000003323
313 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 611 | 49 | 73620 | 1227 | 2000003320
314 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2267 | 1 | 1500 | 25 | 2000003315
315 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2321 | 24 | 42900 | 715 | 2000003313
316 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 351 | 55 | 57840 | 964 | 2000029091
317 | RAIGARH TOWN | 11KV STADIUM FEEDER | 666 | 12 | 32820 | 547 | 2000022941
318 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1565 | 17 | 36540 | 609 | 2000021639
319 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1181 | 1 | 1560 | 26 | 2000003310
320 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1495 | 1 | 420 | 7 | 2000010588
321 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 906 | 2 | 4740 | 79 | 2000010589
322 | RAIPUR TOWN | 11KV GAD FEEDER | 765 | 2 | 3900 | 65 | 2000010590
323 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 441 | 2 | 4020 | 67 | 2000010592
324 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 41 | 2 | 3660 | 61 | 2000010596
325 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1036 | 1 | 1140 | 19 | 2000010603
326 | RAIPUR TOWN | 11KV ATARI FEEDER | 921 | 6 | 9540 | 159 | 2000010604
327 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 320 | 12 | 11640 | 194 | 2000010605
328 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 787 | 1 | 420 | 7 | 2000010614
329 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 158 | 12 | 14400 | 240 | 2000010615
330 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 177 | 2 | 6660 | 111 | 2000010617
331 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1896 | 4 | 3360 | 56 | 2000010618
332 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1518 | 3 | 1140 | 19 | 2000010621
333 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 104 | 6 | 10260 | 171 | 2000010625
334 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1953 | 6 | 2820 | 47 | 2000010628
335 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1167 | 2 | 780 | 13 | 2000010630
336 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2659 | 3 | 1440 | 24 | 2000010631
337 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2379 | 3 | 1440 | 24 | 2000010632
338 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 877 | 1 | 300 | 5 | 2000010635
339 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1046 | 2 | 840 | 14 | 2000010636
340 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1026 | 6 | 6480 | 108 | 2000010638
341 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 1821 | 5 | 20160 | 336 | 2000010640
342 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 4 | 3120 | 52 | 2000010641
343 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1049 | 2 | 3240 | 54 | 2000010643
344 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 378 | 1 | 300 | 5 | 2000010645
345 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1341 | 12 | 8100 | 135 | 2000010649
346 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 786 | 5 | 3180 | 53 | 2000010651
347 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2252 | 1 | 1140 | 19 | 2000010652
348 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 993 | 1 | 1200 | 20 | 2000010654
349 | RAIPUR TOWN | 11KV MAHALAXMI | 487 | 3 | 1500 | 25 | 2000010655
350 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 412 | 5 | 16680 | 278 | 2000010658
351 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 914 | 2 | 1800 | 30 | 2000010659
352 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 64 | 4 | 1620 | 27 | 2000010660
353 | RAIPUR TOWN | 11KV LALBAG FEEDER | 946 | 5 | 6720 | 112 | 2000010665
354 | RAIPUR TOWN | 11KV MINING FEEDER | 633 | 5 | 6300 | 105 | 2000010669
355 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 902 | 3 | 7380 | 123 | 2000010670
356 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1300 | 1 | 1260 | 21 | 2000010672
357 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3479 | 4 | 1560 | 26 | 2000010674
358 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1503 | 11 | 4800 | 80 | 2000010675
359 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 479 | 4 | 1920 | 32 | 2000010678
360 | RAIPUR TOWN | 11KV KBT FEEDER | 1248 | 1 | 1200 | 20 | 2000010682
361 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 442 | 2 | 3660 | 61 | 2000010686
362 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 653 | 2 | 840 | 14 | 2000010687
363 | RAIPUR TOWN | 11KV RDA FEEDER | 851 | 4 | 2340 | 39 | 2000010689
364 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 399 | 2 | 1800 | 30 | 2000010690
365 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1322 | 7 | 11820 | 197 | 2000010691
366 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3402 | 10 | 63240 | 1054 | 2000010692
367 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2594 | 4 | 9060 | 151 | 2000010693
368 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1799 | 3 | 2160 | 36 | 2000010696
369 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2912 | 4 | 20760 | 346 | 2000010698
370 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2276 | 3 | 1080 | 18 | 2000010700
371 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1637 | 7 | 4020 | 67 | 2000010701
372 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 107 | 16 | 17700 | 295 | 2000010702
373 | RAIPUR TOWN | 11KV RULAR FEEDER | 585 | 8 | 5340 | 89 | 2000010703
374 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 595 | 1 | 480 | 8 | 2000010704
375 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 514 | 7 | 9840 | 164 | 2000010707
376 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1870 | 1 | 360 | 6 | 2000010711
377 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 979 | 14 | 10020 | 167 | 2000010712
378 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 807 | 4 | 1560 | 26 | 2000010713
379 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1603 | 12 | 10200 | 170 | 2000010714
380 | RAIPUR TOWN | 11KV RDA FEEDER | 2090 | 9 | 4200 | 70 | 2000010717
381 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 2 | 1 | 360 | 6 | 2000010718
382 | RAIPUR TOWN | 11KV SARORA FEEDER | 984 | 2 | 900 | 15 | 2000010720
383 | RAIPUR TOWN | 11KV SECTOR -5 | 761 | 10 | 4980 | 83 | 2000010721
384 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3704 | 1 | 300 | 5 | 2000010723
385 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1408 | 4 | 5940 | 99 | 2000010725
386 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1311 | 1 | 420 | 7 | 2000010726
387 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1204 | 2 | 840 | 14 | 2000010729
388 | RAIPUR TOWN | 11KV TOWN FEEDER | 2509 | 5 | 15960 | 266 | 2000010730
389 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 30 | 1 | 360 | 6 | 2000010733
390 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2875 | 3 | 1800 | 30 | 2000010735
391 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 410 | 3 | 7980 | 133 | 2000010739
392 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3034 | 2 | 4200 | 70 | 2000010740
393 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 70 | 4 | 2820 | 47 | 2000010742
394 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 26 | 4 | 2820 | 47 | 2000010743
395 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1758 | 3 | 2400 | 40 | 2000017238
396 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2242 | 2 | 2940 | 49 | 2000017261
397 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1253 | 3 | 2940 | 49 | 2000017508
398 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2487 | 3 | 1920 | 32 | 2000017567
399 | RAIPUR TOWN | 11KV WHITE HOUSE | 798 | 6 | 5220 | 87 | 2000017568
400 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 611 | 4 | 1560 | 26 | 2000017569
401 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 707 | 3 | 2280 | 38 | 2000017590
402 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1606 | 5 | 7680 | 128 | 2000017597
403 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 898 | 1 | 360 | 6 | 2000017599
404 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2332 | 12 | 14340 | 239 | 2000017600
405 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 2588 | 5 | 2760 | 46 | 2000017602
406 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1818 | 5 | 5100 | 85 | 2000017608
407 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 805 | 10 | 14160 | 236 | 2000017609
408 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 4 | 6420 | 107 | 2000017613
409 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 854 | 12 | 10020 | 167 | 2000017615
410 | RAIPUR TOWN | 11KV COLONY FEEDER | 27 | 3 | 8700 | 145 | 2000017619
411 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2056 | 5 | 3480 | 58 | 2000017621
412 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 637 | 3 | 5220 | 87 | 2000017623
413 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCON | 789 | 13 | 6600 | 110 | 2000017624
414 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 408 | 1 | 900 | 15 | 2000017626
415 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 868 | 5 | 4980 | 83 | 2000017628
416 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 342 | 5 | 3420 | 57 | 2000017671
417 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 426 | 4 | 3000 | 50 | 2000017673
418 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 263 | 1 | 900 | 15 | 2000017674
419 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1780 | 4 | 10380 | 173 | 2000017690
420 | RAIPUR TOWN | 11KV ROMAN SQUARE | 665 | 3 | 15000 | 250 | 2000017691
421 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 213 | 4 | 14760 | 246 | 2000017692
422 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 822 | 2 | 1620 | 27 | 2000017721
423 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1074 | 4 | 2160 | 36 | 2000017755
424 | RAIPUR TOWN | 11KV MOTHER TERESA | 818 | 4 | 2160 | 36 | 2000017756
425 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 515 | 5 | 2580 | 43 | 2000017757
426 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1181 | 20 | 22560 | 376 | 2000017768
427 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1205 | 13 | 10560 | 176 | 2000017771
428 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1467 | 11 | 10080 | 168 | 2000017772
429 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 671 | 14 | 12480 | 208 | 2000017773
430 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3306 | 5 | 2880 | 48 | 2000017808
431 | RAIPUR TOWN | 11KV PURANI BASTI | 716 | 3 | 3600 | 60 | 2000017817
432 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1149 | 5 | 10500 | 175 | 2000017867
433 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1953 | 6 | 9480 | 158 | 2000017868
434 | RAIPUR TOWN | 11KV GANESH MANDIR | 234 | 4 | 7920 | 132 | 2000017869
435 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1401 | 4 | 6600 | 110 | 2000017870
436 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 3 | 6240 | 104 | 2000017871
437 | RAIPUR TOWN | 11KV NAVEEN MARKET | 890 | 6 | 6900 | 115 | 2000017953
438 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2772 | 6 | 14400 | 240 | 2000017954
439 | RAIPUR TOWN | 11KV MG ROAD | 1630 | 8 | 8940 | 149 | 2000017955
440 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1147 | 8 | 9420 | 157 | 2000017962
441 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 335 | 5 | 32760 | 546 | 2000018004
442 | RAIPUR TOWN | 11KV SADDU FEEDER | 308 | 10 | 40740 | 679 | 2000018005
443 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1697 | 7 | 36120 | 602 | 2000018006
444 | RAIPUR TOWN | 11KV MANDI | 664 | 10 | 4860 | 81 | 2000018020
445 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 361 | 3 | 3720 | 62 | 2000018359
446 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1454 | 3 | 1260 | 21 | 2000018361
447 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 5 | 3180 | 53 | 2000018378
448 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1013 | 9 | 12660 | 211 | 2000018394
449 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 618 | 3 | 1740 | 29 | 2000018396
450 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 227 | 18 | 32160 | 536 | 2000018406
451 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 458 | 6 | 11280 | 188 | 2000018416
452 | RAIPUR TOWN | 11KV Umiya Market Feeder | 473 | 22 | 57720 | 962 | 2000018421
453 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 770 | 1 | 960 | 16 | 2000018783
454 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2533 | 3 | 1800 | 30 | 2000018949
455 | RAIPUR TOWN | 11KV VARUN FEEDER | 1151 | 13 | 21660 | 361 | 2000019179
456 | RAIPUR TOWN | 11KV HEERA FEEDER | 3046 | 16 | 25260 | 421 | 2000019180
457 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 485 | 9 | 6720 | 112 | 2000019181
458 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1653 | 13 | 14820 | 247 | 2000019184
459 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1259 | 4 | 4920 | 82 | 2000019334
460 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1259 | 14 | 15240 | 254 | 2000019340
461 | RAIPUR TOWN | 11KV CTI FEEDER | 259 | 4 | 1500 | 25 | 2000019342
462 | RAIPUR TOWN | 11KV PS CITY | 1369 | 8 | 6240 | 104 | 2000019530
463 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 717 | 2 | 1680 | 28 | 2000019697
464 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 196 | 1 | 420 | 7 | 2000019850
465 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 128 | 2 | 9240 | 154 | 2000019851
466 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 176 | 2 | 1860 | 31 | 2000019853
467 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1837 | 3 | 9420 | 157 | 2000019857
468 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1570 | 1 | 420 | 7 | 2000019858
469 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1723 | 6 | 18360 | 306 | 2000020119
470 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1210 | 4 | 4620 | 77 | 2000020120
471 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 13 | 12 | 18480 | 308 | 2000020123
472 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 15 | 21240 | 354 | 2000020130
473 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 176 | 12 | 30420 | 507 | 2000020131
474 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 12 | 18660 | 311 | 2000020132
475 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1435 | 15 | 19680 | 328 | 2000020153
476 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 354 | 2 | 1020 | 17 | 2000020193
477 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2633 | 1 | 780 | 13 | 2000020581
478 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1715 | 7 | 22500 | 375 | 2000021219
479 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1403 | 12 | 13080 | 218 | 2000021220
480 | RAIPUR TOWN | 11KV TARUN NAGAR | 1843 | 13 | 11220 | 187 | 2000021221
481 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 757 | 11 | 9900 | 165 | 2000021286
482 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1393 | 7 | 6180 | 103 | 2000021287
483 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 63 | 1 | 600 | 10 | 2000021421
484 | RAIPUR TOWN | 11KV DUNDA FEEDER | 952 | 4 | 4140 | 69 | 2000021424
485 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1472 | 5 | 19860 | 331 | 2000021615
486 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1372 | 1 | 360 | 6 | 2000022077
487 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 805 | 1 | 300 | 5 | 2000022078
488 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1353 | 3 | 6360 | 106 | 2000022079
489 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1403 | 8 | 6840 | 114 | 2000023680
490 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1592 | 8 | 7680 | 128 | 2000023735
491 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 131 | 6 | 15960 | 266 | 2000023736
492 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1659 | 2 | 2040 | 34 | 2000023772
493 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1132 | 12 | 17520 | 292 | 2000024395
494 | RAIPUR TOWN | 11KV KACHNA FEEDER | 144 | 2 | 720 | 12 | 2000026462
495 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2322 | 11 | 10440 | 174 | 2000026575
496 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1542 | 2 | 720 | 12 | 2000026582
497 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1009 | 3 | 2400 | 40 | 2000026583
498 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1073 | 3 | 1200 | 20 | 2000026584
499 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 627 | 8 | 9060 | 151 | 2000026585
500 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1259 | 10 | 12300 | 205 | 2000026586
501 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 332 | 1 | 1260 | 21 | 2000029194
502 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1328 | 18 | 13680 | 228 | 2000034421
503 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 764 | 25 | 20760 | 346 | 2000034422
504 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 747 | 21 | 14580 | 243 | 2000034423
505 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2627 | 5 | 6360 | 106 | 2000034760
506 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 515 | 2 | 3660 | 61 | 2000034761
507 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1665 | 5 | 4500 | 75 | 2000034762
508 | RAIPUR TOWN | 11KV PRIDE FEEDER | 183 | 1 | 360 | 6 | 2000039215
509 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 5 | 7980 | 133 | 2000046448
510 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 901 | 1 | 360 | 6 | 2000046477
511 | RAIPUR TOWN | 11KV KACHNA FEEDER | 102 | 17 | 24120 | 402 | 2000063983
512 | RAIPUR TOWN | 11KV ITI FEEDER | 293 | 8 | 9540 | 159 | 2000063985
513 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 39 | 1 | 600 | 10 | 2000064021
514 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1675 | 4 | 8100 | 135 | 2000068159
515 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 6 | 5040 | 84 | 2000069376
516 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 201 | 19 | 23280 | 388 | 2000070080
517 | RAIPUR TOWN | 11KV C&F FEEDER | 31 | 7 | 4560 | 76 | 2000070702
518 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 30 | 7 | 4620 | 77 | 2000070703
519 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1033 | 2 | 900 | 15 | 2000070747
520 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2548 | 6 | 3300 | 55 | 2000071570
521 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 124 | 10 | 5100 | 85 | 2000071639
522 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2623 | 10 | 12720 | 212 | 2000072091
523 | RAIPUR TOWN | 11KV Simran City Feeder | 1097 | 11 | 12420 | 207 | 2000074141
524 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 950 | 8 | 5340 | 89 | 2000075796
525 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3422 | 15 | 8160 | 136 | 2000075800
526 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 42 | 8 | 4260 | 71 | 2000075801
527 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 281 | 8 | 4380 | 73 | 2000075802
528 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 618 | 18 | 14400 | 240 | 2000001976
529 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 225 | 2 | 600 | 10 | 2000001973
530 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 1998 | 13 | 7620 | 127 | 2000069535
531 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1791 | 17 | 12060 | 201 | 2000001972