## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: |  | D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Aug'21
Period: |  | 1st Jul'21 to 31st Jul'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 833
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 3158 | 13 | 9000 | 2000003855
2 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 655 | 11 | 7020 | 2000076563
3 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1328 | 32 | 29100 | 2000076479
4 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 641 | 20 | 20100 | 2000076478
5 | AMBIKAPUR TOWN | 11KV GANGAPARA SUBSTATION FEEDER | 1158 | 8 | 9600 | 2000006627
6 | AMBIKAPUR TOWN | 11KV DCROAD | 2220 | 13 | 11700 | 2000014951
7 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 314 | 19 | 14100 | 2000014952
8 | AMBIKAPUR TOWN | 11KV SONPUR | 913 | 19 | 14340 | 2000014954
9 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 565 | 43 | 59340 | 2000014959
10 | AMBIKAPUR TOWN | 11KV TV FEEDER | 3195 | 13 | 8820 | 2000014963
11 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2031 | 36 | 39540 | 2000003854
12 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1632 | 15 | 25920 | 2000003853
13 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2302 | 16 | 10620 | 2000003852
14 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1783 | 28 | 37800 | 2000003851
15 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1217 | 36 | 45420 | 2000003850
16 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2056 | 16 | 22380 | 2000003849
17 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 606 | 39 | 54360 | 2000003847
18 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2132 | 11 | 7080 | 2000003846
19 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1538 | 45 | 60300 | 2000003845
20 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 489 | 16 | 9840 | 2000003844
21 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1639 | 18 | 40440 | 2000003843
22 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1512 | 13 | 19500 | 2000003842
23 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 309 | 8 | 4080 | 2000003841
24 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1053 | 32 | 53580 | 2000003840
25 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 18 | 19 | 38940 | 2000014957
26 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 48 | 32 | 19320 | 2000071574
27 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1779 | 29 | 14940 | 2000071573
28 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1162 | 42 | 46860 | 2000071572
29 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 2144 | 25 | 41100 | 2000001012
30 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 474 | 23 | 34080 | 2000001013
31 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 470 | 19 | 61260 | 2000001011
32 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 991 | 22 | 29340 | 2000001006
33 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 2776 | 12 | 16080 | 2000001004
34 | BHATAPARA TOWN | 11KV MANDI FEEDER | 1967 | 22 | 29160 | 2000001003
35 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 176 | 42 | 61920 | 2000022031
36 | BHATAPARA TOWN | 11KV ATAL JYOTI | 61 | 20 | 73620 | 2000014962
37 | BHATAPARA TOWN | 11KV KHOKHLI FEEDER | 531 | 17 | 21540 | 2000006378
38 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 733 | 14 | 43200 | 2000006377
39 | BHATAPARA TOWN | 11KV HATARI BAZAR 11KV FEEDER | 1882 | 19 | 23280 | 2000006376
40 | BHATAPARA TOWN | 11KV COLONY FEEDER | 28 | 19 | 25800 | 2000004255
41 | BHATAPARA TOWN | 11KV REST HOUSE FEDEER | 1742 | 23 | 99240 | 2000075846
42 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1518 | 3 | 2520 | 2000001010
43 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 7 | 7 | 9600 | 2000001005
44 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 965 | 19 | 35820 | 2000006347
45 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 556 | 15 | 16680 | 2000004867
46 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2176 | 63 | 87480 | 2000004868
47 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2442 | 30 | 27180 | 2000004869
48 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 746 | 8 | 5760 | 2000004870
49 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1660 | 12 | 34680 | 2000004871
50 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 1312 | 21 | 20700 | 2000004873
51 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 692 | 12 | 11580 | 2000004876
52 | BILASPUR TOWN | 11KV DHEKA FEEDER | 441 | 31 | 67980 | 2000004877
53 | BILASPUR TOWN | 11KV DHUMA FEEDER | 897 | 27 | 44280 | 2000004878
54 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 610 | 21 | 49380 | 2000004879
55 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1168 | 18 | 27180 | 2000004881
56 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2355 | 39 | 37860 | 2000004882
57 | BILASPUR TOWN | 11KV HARDIFEEDER | 1236 | 27 | 44100 | 2000004885
58 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1119 | 15 | 14340 | 2000004886
59 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1462 | 15 | 18480 | 2000004888
60 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2713 | 26 | 57300 | 2000004889
61 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 30 | 27420 | 2000004890
62 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 1115 | 11 | 15720 | 2000004892
63 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1321 | 39 | 37740 | 2000004894
64 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1429 | 12 | 34500 | 2000004896
65 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 619 | 11 | 13140 | 2000004897
66 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1323 | 26 | 42600 | 2000004898
67 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1426 | 15 | 19920 | 2000004900
68 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2858 | 24 | 41280 | 2000004901
69 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1802 | 41 | 72300 | 2000004902
70 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2983 | 14 | 12180 | 2000004905
71 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 2301 | 30 | 27300 | 2000004906
72 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 1110 | 18 | 20460 | 2000004908
73 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 5023 | 27 | 30660 | 2000004909
74 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2379 | 5 | 15060 | 2000004910
75 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2245 | 32 | 51240 | 2000004912
76 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2727 | 15 | 14340 | 2000004914
77 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 81 | 36 | 35280 | 2000004915
78 | BILASPUR TOWN | 11KV RULER FEEDER | 2261 | 38 | 36480 | 2000004916
79 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2422 | 22 | 22980 | 2000004917
80 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2261 | 15 | 14460 | 2000004919
81 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3424 | 11 | 12960 | 2000004920
82 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 987 | 15 | 14700 | 2000004921
83 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 861 | 29 | 42060 | 2000004923
84 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 338 | 41 | 72480 | 2000004924
85 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1547 | 15 | 16980 | 2000004925
86 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1623 | 29 | 41880 | 2000004926
87 | BILASPUR TOWN | 11KV UNIVERSITY FEEDER | 2 | 23 | 49620 | 2000006495
88 | BILASPUR TOWN | 11KV TV FEEDER | 3353 | 22 | 22920 | 2000016309
89 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1013 | 43 | 64080 | 2000016310
90 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 303 | 12 | 27060 | 2000016311
91 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 581 | 11 | 13140 | 2000016312
92 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1759 | 11 | 13260 | 2000016314
93 | BILASPUR TOWN | 11KV NEW MOPKA | 1512 | 11 | 231540 | 2000017224
94 | BILASPUR TOWN | 11KV SHIVAM CITY | 2317 | 14 | 238320 | 2000017225
95 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 2 | 27 | 33720 | 2000017502
96 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 519 | 28 | 50280 | 2000017504
97 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2251 | 36 | 42960 | 2000017505
98 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1310 | 31 | 39240 | 2000017776
99 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 171 | 31 | 39360 | 2000017777
100 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 319 | 31 | 39240 | 2000017778
101 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 440 | 36 | 58020 | 2000017780
102 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 683 | 37 | 56040 | 2000017781
103 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 22 | 27 | 35340 | 2000017782
104 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1493 | 25 | 26160 | 2000018403
105 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1066 | 21 | 31260 | 2000018404
106 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 1148 | 26 | 52800 | 2000018761
107 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 2078 | 31 | 54960 | 2000018762
108 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 695 | 20 | 35760 | 2000018763
109 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 83 | 12 | 10200 | 2000020488
110 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 628 | 3 | 1440 | 2000020489
111 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1699 | 18 | 25680 | 2000020490
112 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1582 | 13 | 43020 | 2000020582
113 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 275 | 14 | 41520 | 2000020584
114 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 405 | 15 | 16680 | 2000022056
115 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1795 | 27 | 43800 | 2000022059
116 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1722 | 11 | 16560 | 2000022060
117 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 2204 | 8 | 10680 | 2000022061
118 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 214 | 23 | 25260 | 2000022075
119 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1872 | 45 | 72180 | 2000023801
120 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1081 | 51 | 73560 | 2000023802
121 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1032 | 45 | 69300 | 2000023803
122 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 336 | 22 | 29700 | 2000024037
123 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 652 | 26 | 30840 | 2000024038
124 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2467 | 26 | 30780 | 2000024039
125 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1175 | 13 | 15660 | 2000027413
126 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 63 | 39 | 295680 | 2000076558
127 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 30 | 33 | 61860 | 2000076559
128 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 112 | 44 | 86460 | 2000076560
129 | BILASPUR TOWN | 11KV JABDAPARA FEEDER | 1048 | 31 | 55080 | 2000076885
130 | BILASPUR TOWN | 11KV AUDITORIUM FEEDER | 1 | 13 | 162420 | 2000076886
131 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 305 | 16 | 13500 | 2000076887
132 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 18 | 27 | 44100 | 2000077336
133 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1188 | 40 | 37740 | 2000077337
134 | BILASPUR TOWN | 11KV MAA HARSHIDDHI FEEDER | 215 | 24 | 28860 | 2000077612
135 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1954 | 24 | 36480 | 2000004884
136 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1211 | 13 | 17400 | 2000004891
137 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 1283 | 26 | 33900 | 2000004893
138 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1205 | 7 | 6060 | 2000004899
139 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1401 | 13 | 10260 | 2000004911
140 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1873 | 18 | 25200 | 2000004913
141 | BILASPUR TOWN | 11KV KONI FEEDER | 996 | 31 | 58140 | 2000006494
142 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 233 | 17 | 31260 | 2000016315
143 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 415 | 73 | 155940 | 2000001804
144 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 787 | 7 | 12960 | 2000001806
145 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 112 | 35 | 98820 | 2000015492
146 | CHAMPA TOWN | 11KV KURDAFEEDER | 1670 | 86 | 152220 | 2000001807
147 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2381 | 81 | 155280 | 2000001808
148 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2287 | 58 | 66420 | 2000001809
149 | CHAMPA TOWN | 11KV SEONI(RURAL)FEEDER | 1 | 21 | 41160 | 2000001811
150 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1327 | 38 | 52500 | 2000001813
151 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 561 | 20 | 39900 | 2000015252
152 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4573 | 55 | 71820 | 2000003144
153 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1109 | 8 | 27720 | 2000015251
154 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2075 | 18 | 24540 | 2000003196
155 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 294 | 44 | 66900 | 2000006348
156 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5712 | 26 | 34620 | 2000003197
157 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1310 | 17 | 24840 | 2000003195
158 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1690 | 41 | 45180 | 2000003194
159 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 448 | 82 | 789540 | 2000003193
160 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 554 | 7 | 4980 | 2000015505
161 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 51 | 16 | 117300 | 2000002566
162 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 18 | 15780 | 2000002567
163 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 1313 | 17 | 41460 | 2000002568
164 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1690 | 7 | 4920 | 2000002569
165 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4509 | 7 | 4980 | 2000002570
166 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2133 | 13 | 16500 | 2000002571
167 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 109 | 7 | 8160 | 2000002573
168 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1410 | 17 | 13020 | 2000002574
169 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 987 | 33 | 32460 | 2000002575
170 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1331 | 13 | 8400 | 2000002576
171 | DHAMTARI TOWN | 11KV MAHALAKSHMI FEEDER | 30 | 16 | 10980 | 2000002577
172 | DHAMTARI TOWN | 11KV SHANTI COLONY FEEDER | 3864 | 14 | 6720 | 2000002578
173 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2967 | 15 | 10140 | 2000002579
174 | DHAMTARI TOWN | 11KV CHITOD1 | 5012 | 13 | 24780 | 2000004307
175 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 406 | 8 | 25620 | 2000004308
176 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 998 | 18 | 19380 | 2000002572
177 | DONGARGARH TOWN | 11KV INDUSTRIAL (RURAL) FEEDER | 2 | 6 | 4680 | 2000001297
178 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1800 | 7 | 22500 | 2000007687
179 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 119 | 35 | 671820 | 2000007688
180 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2981 | 9 | 23400 | 2000018723
181 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 750 | 16 | 20580 | 2000007733
182 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4209 | 5 | 3720 | 2000007696
183 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2317 | 10 | 23940 | 2000007759
184 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 729 | 20 | 22680 | 2000007708
185 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 2601 | 13 | 17100 | 2000007706
186 | DURG BHILAI CHARODA TOWN | 11KV DHACHABHAVAN FEEDER | 2442 | 21 | 23460 | 2000007704
187 | DURG BHILAI CHARODA TOWN | 11KV CHAUHAN FEEDER | 2232 | 19 | 19260 | 2000007700
188 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-2 FEEDER | 962 | 21 | 10200 | 2000007699
189 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 1270 | 5 | 6840 | 2000007697
190 | DURG BHILAI CHARODA TOWN | 11KV BALAJI NAGAR FEEDER | 2866 | 22 | 31320 | 2000007695
191 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3273 | 14 | 10380 | 2000007692
192 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1401 | 10 | 6060 | 2000007691
193 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR RISALI FEEDER | 1642 | 3 | 2100 | 2000007690
194 | DURG BHILAI CHARODA TOWN | 11KV KAILASHNAGAR FEEDER | 1549 | 16 | 20100 | 2000007727
195 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1605 | 14 | 16140 | 2000007709
196 | DURG BHILAI CHARODA TOWN | 11KV GOKULDHAM FEEDER | 2452 | 19 | 43860 | 2000007710
197 | DURG BHILAI CHARODA TOWN | 11KV MAHARAJA CHOWK FEEDER | 2064 | 9 | 7200 | 2000007711
198 | DURG BHILAI CHARODA TOWN | 11KV HANUMANNAGAR FEEDER | 1114 | 14 | 10740 | 2000007713
199 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 2009 | 7 | 3840 | 2000007714
200 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 1549 | 15 | 15660 | 2000007716
201 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 550 | 15 | 11640 | 2000007717
202 | DURG BHILAI CHARODA TOWN | 11KV ISPATNAGAR FEEDER | 2004 | 3 | 2160 | 2000007719
203 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1434 | 5 | 4620 | 2000007721
204 | DURG BHILAI CHARODA TOWN | 11KV JANJGIRI FEEDER | 1978 | 21 | 8820 | 2000007722
205 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2258 | 5 | 5940 | 2000007723
206 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 758 | 4 | 3660 | 2000007729
207 | DURG BHILAI CHARODA TOWN | 11KV AYYAPPANAGAR FEEDER | 1198 | 10 | 8100 | 2000007730
208 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 959 | 7 | 3780 | 2000007731
209 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1148 | 12 | 6840 | 2000007735
210 | DURG BHILAI CHARODA TOWN | 11KV MAITRIKUNJ FEEDER | 1571 | 9 | 8700 | 2000007736
211 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1833 | 21 | 29580 | 2000007738
212 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1011 | 21 | 9120 | 2000007739
213 | DURG BHILAI CHARODA TOWN | 11KV NEHRUNAGAR FEEDER | 893 | 14 | 14400 | 2000007740
214 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3237 | 17 | 24480 | 2000007742
215 | DURG BHILAI CHARODA TOWN | 11KV PRAGATINAGAR FEEDER | 1642 | 7 | 9540 | 2000007745
216 | DURG BHILAI CHARODA TOWN | 11KV BHILAI SCAN FEEDER | 895 | 8 | 10020 | 2000007748
217 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY PAR FEEDER | 1154 | 13 | 10980 | 2000007751
218 | DURG BHILAI CHARODA TOWN | 11KV BORSI BHATA FEEDER | 1700 | 9 | 8280 | 2000007753
219 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 2004 | 11 | 20400 | 2000007754
220 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUMPARK FEEDER | 528 | 18 | 12480 | 2000007755
221 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2098 | 5 | 5100 | 2000007757
222 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1048 | 8 | 16020 | 2000007761
223 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1169 | 15 | 13500 | 2000007762
224 | DURG BHILAI CHARODA TOWN | 11KV TALPURI1 FEEDER | 224 | 15 | 21540 | 2000007763
225 | DURG BHILAI CHARODA TOWN | 11KV TALPURI2 FEEDER | 376 | 7 | 8520 | 2000007764
226 | DURG BHILAI CHARODA TOWN | 11KV TALPURI3 FEEDER | 246 | 5 | 2160 | 2000007765
227 | DURG BHILAI CHARODA TOWN | 11KV TALPURI5 FEEDER | 781 | 7 | 9960 | 2000007767
228 | DURG BHILAI CHARODA TOWN | 11KV TALPURI6 FEEDER | 1454 | 7 | 9900 | 2000007768
229 | DURG BHILAI CHARODA TOWN | 11KV SURYAVIHAR FEEDER | 945 | 19 | 15000 | 2000007771
230 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1594 | 21 | 18480 | 2000007773
231 | DURG BHILAI CHARODA TOWN | 11KV GOL MARKET FEEDER | 1073 | 4 | 7860 | 2000077904
232 | DURG BHILAI CHARODA TOWN | 11 KV BHIM NAGAR FEEDER | 1451 | 19 | 18180 | 2000078040
233 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 920 | 13 | 12720 | 2000018707
234 | DURG BHILAI CHARODA TOWN | 11KV TRIVENINAGAR FEEDER | 1325 | 13 | 9720 | 2000007777
235 | DURG BHILAI CHARODA TOWN | 11KV VIRAT NAGAR FEEDER | 2559 | 9 | 6720 | 2000007780
236 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 2611 | 22 | 23460 | 2000007781
237 | DURG BHILAI CHARODA TOWN | 11KV VAISHALINAGAR FEEDER | 1719 | 17 | 20280 | 2000007783
238 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7775 | 27 | 25200 | 2000016889
239 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 3491 | 12 | 19860 | 2000016998
240 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FE | 861 | 16 | 16980 | 2000017044
241 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2613 | 19 | 15720 | 2000017052
242 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1332 | 16 | 15960 | 2000017054
243 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1221 | 11 | 22500 | 2000017055
244 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 986 | 9 | 18360 | 2000017056
245 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 898 | 7 | 12000 | 2000017058
246 | DURG BHILAI CHARODA TOWN | 11KV KATUL BOAD | 1687 | 7 | 12840 | 2000017059
247 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 456 | 6 | 5520 | 2000017060
248 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1849 | 8 | 16020 | 2000017061
249 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1864 | 12 | 17640 | 2000018706
250 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1416 | 6 | 5040 | 2000018705
251 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 310 | 7 | 5460 | 2000018704
252 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2638 | 9 | 24060 | 2000018574
253 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 270 | 16 | 16740 | 2000017072
254 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2205 | 10 | 7260 | 2000017071
255 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 976 | 10 | 7200 | 2000017069
256 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1358 | 6 | 4620 | 2000017068
257 | DURG BHILAI CHARODA TOWN | 11KV HANODA RURAL FEEDER | 617 | 2 | 1200 | 2000017067
258 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1180 | 3 | 5220 | 2000017066
259 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1524 | 10 | 7260 | 2000017065
260 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1548 | 1 | 2880 | 2000017064
261 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 549 | 2 | 4020 | 2000017062
262 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1240 | 9 | 8580 | 2000007776
263 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 77 | 15 | 16860 | 2000018987
264 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 663 | 14 | 33720 | 2000019819
265 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2824 | 59 | 153540 | 2000019876
266 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1114 | 13 | 25140 | 2000020519
267 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1686 | 32 | 48120 | 2000021263
268 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1337 | 33 | 61080 | 2000021264
269 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1203 | 4 | 3000 | 2000021357
270 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3201 | 15 | 16260 | 2000023773
271 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 8 | 6720 | 2000025794
272 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 2 | 1620 | 2000027337
273 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1940 | 15 | 17040 | 2000029190
274 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1424 | 17 | 19260 | 2000029191
275 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 885 | 14 | 10140 | 2000029192
276 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 2163 | 8 | 9060 | 2000029193
277 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1987 | 15 | 9060 | 2000049757
278 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 60 | 19 | 30780 | 2000049820
279 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 2065 | 2 | 780 | 2000067876
280 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2408 | 2 | 780 | 2000067877
281 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2202 | 2 | 660 | 2000067878
282 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 5 | 2220 | 2000068108
283 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 56 | 5 | 2160 | 2000068109
284 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 19 | 5 | 2220 | 2000068110
285 | DURG BHILAI CHARODA TOWN | 11KV SARASWATI KUNJ FEEDER | 137 | 1 | 1800 | 2000075565
286 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 834 | 8 | 12600 | 2000075566
287 | DURG BHILAI CHARODA TOWN | 11KV BAGHERA BASTI FEEDER | 794 | 9 | 8940 | 2000076270
288 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 365 | 4 | 10920 | 2000075949
289 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 947 | 4 | 3480 | 2000007744
290 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1673 | 4 | 5880 | 2000007707
291 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2486 | 21 | 18600 | 2000007705
292 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1150 | 20 | 26760 | 2000007703
293 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1103 | 21 | 20400 | 2000007702
294 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 634 | 13 | 7320 | 2000007689
295 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1337 | 11 | 7080 | 2000007715
296 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1579 | 3 | 2460 | 2000007718
297 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1147 | 12 | 7020 | 2000007720
298 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1527 | 7 | 8580 | 2000007724
299 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1754 | 3 | 3240 | 2000007725
300 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1660 | 24 | 31620 | 2000007737
301 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 733 | 4 | 6960 | 2000007747
302 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1383 | 8 | 5940 | 2000007756
303 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2335 | 13 | 8580 | 2000007758
304 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1576 | 11 | 14640 | 2000007774
305 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1267 | 7 | 6540 | 2000007775
306 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1302 | 9 | 16860 | 2000007779
307 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2581 | 14 | 18600 | 2000007726
308 | DURG BHILAI CHARODA TOWN | 11KV CM HOUSE FEEDER | 36 | 6 | 3000 | 2000075512
309 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1394 | 14 | 8340 | 2000075513
310 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1853 | 24 | 29280 | 2000075806
311 | DURG BHILAI CHARODA TOWN | 11KV LIMTARA FEEDER | 1050 | 26 | 20400 | 2000075812
312 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2334 | 11 | 10260 | 2000075970
313 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1216 | 2 | 660 | 2000075971
314 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1851 | 30 | 41760 | 2000004342
315 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2519 | 10 | 5280 | 2000004343
316 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2029 | 31 | 43740 | 2000004344
317 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 2997 | 2 | 1380 | 2000004345
318 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 4285 | 9 | 7320 | 2000004346
319 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 186 | 15 | 12360 | 2000004347
320 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3769 | 5 | 2760 | 2000004348
321 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1223 | 18 | 13200 | 2000004349
322 | JAGDALPUR TOWN | 11KV VARGISH FEEDER | 871 | 9 | 28800 | 2000023847
323 | JAGDALPUR TOWN | 11KV GREEN CITY FEEDER | 541 | 17 | 24840 | 2000075215
324 | JAGDALPUR TOWN | 11KV ANUPAMA CHOWK FEEDER | 2602 | 17 | 42720 | 2000075216
325 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 388 | 10 | 9600 | 2000075799
326 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 68 | 30 | 55560 | 2000078041
327 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 344 | 15 | 28260 | 2000004329
328 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2248 | 11 | 28320 | 2000004330
329 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1561 | 4 | 36780 | 2000004331
330 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1256 | 12 | 29340 | 2000004332
331 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 295 | 17 | 26340 | 2000004333
332 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 949 | 15 | 13620 | 2000004334
333 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1550 | 19 | 24120 | 2000004335
334 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2690 | 10 | 6840 | 2000004336
335 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1799 | 26 | 22380 | 2000004337
336 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3651 | 35 | 52800 | 2000004338
337 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2477 | 48 | 101520 | 2000004339
338 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2092 | 16 | 31860 | 2000004340
339 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1953 | 18 | 13020 | 2000004341
340 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 2403 | 4 | 1560 | 2000002905
341 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 3245 | 8 | 5340 | 2000002906
342 | KANKER TOWN | 11KV KESHKAL FEEDER | 237 | 17 | 11040 | 2000002907
343 | KANKER TOWN | 11KV PATOD FEEDER | 1320 | 21 | 17940 | 2000002909
344 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3398 | 23 | 13020 | 2000002910
345 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1804 | 20 | 18900 | 2000015850
346 | KAWARDHA TOWN | 11KV VIP FEEDER | 490 | 24 | 84120 | 2000001052
347 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1886 | 11 | 16620 | 2000075553
348 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2078 | 11 | 16680 | 2000075552
349 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 495 | 11 | 16740 | 2000075551
350 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1733 | 14 | 18900 | 2000001048
351 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 2850 | 15 | 29100 | 2000001051
352 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1525 | 19 | 48120 | 2000001045
353 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1752 | 18 | 20280 | 2000001055
354 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3561 | 17 | 25440 | 2000001054
355 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 2260 | 37 | 161640 | 2000016201
356 | KORBA TOWN | 11KV ITI FEEDER | 1523 | 45 | 63840 | 2000075851
357 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2810 | 44 | 75660 | 2000075850
358 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 937 | 17 | 17880 | 2000006762
359 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1102 | 23 | 48600 | 2000006763
360 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 116 | 54 | 56880 | 2000075849
361 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1001 | 30 | 71100 | 2000075848
362 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1155 | 23 | 35700 | 2000016912
363 | KORBA TOWN | 11KV DINDAYAL AWAS | 484 | 18 | 57840 | 2000017789
364 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 180 | 5 | 6120 | 2000006797
365 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 100 | 20 | 45360 | 2000017790
366 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 537 | 52 | 93660 | 2000006776
367 | KORBA TOWN | 11KV OM SAI APPARTMENT | 464 | 23 | 48060 | 2000017791
368 | KORBA TOWN | 11KV KOSABADI FEEDER | 1203 | 5 | 6000 | 2000006780
369 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1617 | 20 | 36360 | 2000006783
370 | KORBA TOWN | 11KV NIHARIKA FEEDER | 862 | 32 | 59280 | 2000006784
371 | KORBA TOWN | 11KV RAMPUR FEEDER | 217 | 5 | 6060 | 2000006791
372 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 995 | 19 | 62220 | 2000018988
373 | KORBA TOWN | 11KV PARSABADA FEEDER | 940 | 48 | 100800 | 2000006789
374 | KORBA TOWN | 11KV DEFR FEEDER | 1624 | 4 | 5460 | 2000006769
375 | KORBA TOWN | 11KV DUMARDIHFEEDER | 9 | 31 | 35280 | 2000006770
376 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 735 | 23 | 64920 | 2000006771
377 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 874 | 28 | 70980 | 2000006773
378 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 409 | 16 | 25380 | 2000006778
379 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1210 | 48 | 56820 | 2000006782
380 | KORBA TOWN | 11KV P.HROAD FEEDER | 1328 | 23 | 37260 | 2000006785
381 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1359 | 48 | 56820 | 2000006787
382 | KORBA TOWN | 11KV POWERCITY FEEDER | 661 | 8 | 9000 | 2000006788
383 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 637 | 15 | 18240 | 2000006790
384 | KORBA TOWN | 11KV RURAL FEEDER | 1624 | 77 | 87780 | 2000006792
385 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1129 | 62 | 145920 | 2000006794
386 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2410 | 42 | 57000 | 2000006795
387 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 942 | 42 | 56820 | 2000006796
388 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1443 | 11 | 9900 | 2000006798
389 | KORBA TOWN | 11KV BUDHWARI FEEDER | 870 | 3 | 9000 | 2000015220
390 | KORBA TOWN | 11KV SEMIPALI | 477 | 19 | 53340 | 2000015240
391 | KORBA TOWN | 11KV DONDRO FEEDER | 35 | 17 | 36360 | 2000016028
392 | KORBA TOWN | 11KV DARRI FEEDER | 1328 | 8 | 9000 | 2000006767
393 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1009 | 77 | 150900 | 2000006764
394 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3668 | 108 | 388560 | 2000006761
395 | KORBA TOWN | 11KV AB TYPE COLONY FEEDER | 295 | 48 | 56820 | 2000006760
396 | KORBA TOWN | 11KV ABC FEEDER | 1319 | 4 | 5460 | 2000006759
397 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 19 | 45 | 48240 | 2000006490
398 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1790 | 17 | 47040 | 2000077495
399 | KORBA TOWN | 11KV SUMEDHA FEEDER | 415 | 10 | 42240 | 2000077493
400 | KORBA TOWN | 11KV TINADAFAI FEEDER | 828 | 11 | 10200 | 2000075797
401 | KORBA TOWN | 11KV KOHADIYA | 1954 | 12 | 37080 | 2000071856
402 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 12 | 37200 | 2000071855
403 | KORBA TOWN | 11KV SANJAY NAGAR | 2179 | 29 | 41940 | 2000071532
404 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1419 | 11 | 9720 | 2000021425
405 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 229 | 15 | 72720 | 2000021289
406 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 954 | 15 | 75000 | 2000021288
407 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 130 | 10 | 13380 | 2000020121
408 | KORBA TOWN | 11KV MUDAPAR FEEDER | 2537 | 34 | 40320 | 2000020065
409 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2699 | 8 | 9120 | 2000016255
410 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 685 | 18 | 22680 | 2000017805
411 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2366 | 26 | 34440 | 2000017804
412 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 430 | 37 | 91860 | 2000075847
413 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 1150 | 21 | 461760 | 2000006775
414 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA | 1169 | 4 | 23580 | 2000001430
415 | MAHASAMUND TOWN | 11KV TOWN-2 FEEDER | 3570 | 10 | 40560 | 2000001429
416 | MAHASAMUND TOWN | 11KV TOWN-1 FEEDER | 769 | 3 | 15660 | 2000001428
417 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1822 | 19 | 44340 | 2000001427
418 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 838 | 27 | 69180 | 2000001426
419 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 773 | 30 | 72480 | 2000001425
420 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 3177 | 14 | 34860 | 2000001424
421 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2373 | 11 | 16200 | 2000001423
422 | MAHASAMUND TOWN | 11KV TRIMURTI FEEDER | 193 | 2 | 10080 | 2000077409
423 | MAHASAMUND TOWN | 11KV NEHRU CHOWK FEEDER | 1617 | 12 | 35400 | 2000077410
424 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1824 | 11 | 35700 | 2000069911
425 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 54 | 2 | 10080 | 2000069912
426 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1819 | 12 | 41340 | 2000069913
427 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 688 | 7 | 34440 | 2000069914
428 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1298 | 24 | 35340 | 2000003055
429 | MANENDRAGARH TOWN | 11KV RAILWAY FEEDER | 5524 | 20 | 36780 | 2000003056
430 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6273 | 36 | 59700 | 2000003057
431 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1435 | 17 | 24900 | 2000002463
432 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 187 | 18 | 32640 | 2000015467
433 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 101 | 242400 | 2000002458
434 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1974 | 6 | 10740 | 2000055675
435 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 1081 | 33 | 31560 | 2000068276
436 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2118 | 6 | 5700 | 2000006458
437 | MUNGELI TOWN | 11KV COLECTER FEEDER | 855 | 17 | 23700 | 2000006460
438 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 663 | 50 | 60300 | 2000002464
439 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1175 | 22 | 32700 | 2000001636
440 | NAILA JANJGIR TOWN | 11KV VIP-2 FEEDER | 422 | 24 | 23400 | 2000077487
441 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 653 | 50 | 72120 | 2000001634
442 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6207 | 50 | 49860 | 2000001626
443 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 450 | 25 | 18480 | 2000001637
444 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2949 | 16 | 225360 | 2000001635
445 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 296 | 43 | 78840 | 2000077488
446 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 171 | 31 | 65940 | 2000076054
447 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 424 | 28 | 33120 | 2000076053
448 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 506 | 40 | 50940 | 2000076052
449 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 37 | 58 | 82500 | 2000001633
450 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1167 | 38 | 57480 | 2000001628
451 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1583 | 50 | 49620 | 2000076050
452 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1770 | 29 | 38880 | 2000001622
453 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 149 | 15 | 23040 | 2000001623
454 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 809 | 42 | 39060 | 2000076051
455 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 282 | 38 | 49020 | 2000001625
456 | RAIGARH TOWN | 11KV PARK AVENUE | 169 | 37 | 32280 | 2000073194
457 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 172 | 39 | 39360 | 2000016056
458 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1235 | 38 | 33060 | 2000016055
459 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1275 | 39 | 66600 | 2000016052
460 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1697 | 24 | 24360 | 2000016051
461 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 828 | 24 | 35520 | 2000016050
462 | RAIGARH TOWN | 11KV PARKCITY FEEDER | 1556 | 22 | 34500 | 2000003318
463 | RAIGARH TOWN | 11KV BOYIR-DADAR CHOWK FEEDER | 1700 | 21 | 23040 | 2000003300
464 | RAIGARH TOWN | 11KV KOTWALI FEEDER | 1260 | 16 | 14820 | 2000003317
465 | RAIGARH TOWN | 11KV CARMEL SCHOOL FEEDER | 785 | 22 | 26340 | 2000003316
466 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1927 | 21 | 23220 | 2000003314
467 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 993 | 18 | 17100 | 2000003301
468 | RAIGARH TOWN | 11KV FRIENDS COLONY FEEDER | 2379 | 29 | 34140 | 2000003313
469 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 293 | 12 | 14880 | 2000003312
470 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1321 | 17 | 19560 | 2000003311
471 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 939 | 2 | 1560 | 2000003302
472 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 884 | 17 | 45780 | 2000003309
473 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1450 | 23 | 19140 | 2000003307
474 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 781 | 32 | 28200 | 2000016057
475 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 613 | 26 | 34380 | 2000016184
476 | RAIGARH TOWN | 11KV GERWANI FEEDER | 709 | 6 | 9180 | 2000016185
477 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1395 | 28 | 50880 | 2000021639
478 | RAIGARH TOWN | 11KV PAKKIKHOLI FEEDER | 870 | 21 | 22980 | 2000003319
479 | RAIGARH TOWN | 11KV STADIUM FEEDER | 922 | 28 | 48720 | 2000022941
480 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 602 | 32 | 40080 | 2000029091
481 | RAIGARH TOWN | 11KV MEDICAL COLLEGE FEEDER | 694 | 22 | 20160 | 2000003320
482 | RAIGARH TOWN | 11KV OFFICE CAMPUS FEEDER | 22 | 3 | 2580 | 2000067367
483 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 349 | 14 | 20640 | 2000003322
484 | RAIGARH TOWN | 11KV KIT FEEDER | 246 | 16 | 30720 | 2000069514
485 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1088 | 39 | 55200 | 2000073196
486 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3337 | 92 | 146100 | 2000003325
487 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1191 | 31 | 30720 | 2000073195
488 | RAIGARH TOWN | 11KV CENTRAL SCHOOL FEEDER | 318 | 21 | 20460 | 2000003323
489 | RAIGARH TOWN | 11KV PATRAPALI | 447 | 30 | 71520 | 2000073192
490 | RAIGARH TOWN | 11KV KHAIRPUR | 942 | 24 | 47880 | 2000073193
491 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1598 | 17 | 51900 | 2000016053
492 | RAIGARH TOWN | 11KV GANDHI PUTLA FEEDER | 767 | 19 | 21360 | 2000067368
493 | RAIGARH TOWN | 11KV STATION FEEDER | 798 | 19 | 24600 | 2000003324
494 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1169 | 12 | 17640 | 2000010681
495 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1372 | 5 | 11820 | 2000021615
496 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 819 | 8 | 24240 | 2000010685
497 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1332 | 13 | 16080 | 2000019485
498 | RAIPUR TOWN | 11KV MOTIBAGH | 780 | 11 | 10320 | 2000021115
499 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1783 | 6 | 11160 | 2000010696
500 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2444 | 3 | 4020 | 2000010700
501 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1931 | 6 | 4920 | 2000017567
502 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1342 | 18 | 33420 | 2000017755
503 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 779 | 9 | 6180 | 2000010583
504 | RAIPUR TOWN | 11KV MOTHER TERESA | 713 | 14 | 12660 | 2000017756
505 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 573 | 16 | 26280 | 2000017757
506 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 933 | 2 | 1320 | 2000017768
507 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 933 | 7 | 16020 | 2000017628
508 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 830 | 2 | 1380 | 2000017615
509 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 690 | 7 | 9060 | 2000010606
510 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1505 | 9 | 9660 | 2000017611
511 | RAIPUR TOWN | 11KV BASTAL FEEDER | 911 | 14 | 12720 | 2000010610
512 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 11 | 6 | 5100 | 2000017607
513 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 779 | 6 | 5460 | 2000017569
514 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 874 | 9 | 16380 | 2000017576
515 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 738 | 9 | 21360 | 2000017590
516 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1635 | 3 | 4020 | 2000010621
517 | RAIPUR TOWN | 11KV WHITE HOUSE | 547 | 7 | 35280 | 2000017568
518 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 541 | 3 | 1860 | 2000010677
519 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 524 | 9 | 24360 | 2000017514
520 | RAIPUR TOWN | 11KV MANDI | 583 | 2 | 1380 | 2000018020
521 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 132 | 17 | 33360 | 2000018378
522 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 586 | 6 | 13200 | 2000018396
523 | RAIPUR TOWN | 11KV IGVP | 436 | 13 | 23160 | 2000018397
524 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 379 | 10 | 16140 | 2000018398
525 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 122 | 6 | 11280 | 2000010641
526 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 909 | 7 | 7560 | 2000010642
527 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 713 | 8 | 6420 | 2000010647
528 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1807 | 10 | 11040 | 2000010650
529 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 903 | 9 | 9420 | 2000010651
530 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1343 | 17 | 20820 | 2000010653
531 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 13 | 9 | 9660 | 2000010676
532 | RAIPUR TOWN | 11KV SECTOR -5 | 276 | 4 | 4620 | 2000010721
533 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1656 | 1 | 720 | 2000023680
534 | RAIPUR TOWN | 11KV SBI FEEDER | 991 | 9 | 13800 | 2000023790
535 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 681 | 5 | 8640 | 2000023848
536 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 860 | 1 | 720 | 2000010666
537 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 268 | 15 | 23160 | 2000029196
538 | RAIPUR TOWN | 11KV MAHALAXMI | 403 | 3 | 2040 | 2000010655
539 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 545 | 3 | 4020 | 2000010732
540 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1197 | 4 | 8760 | 2000010725
541 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2003 | 14 | 29040 | 2000010664
542 | RAIPUR TOWN | 11KV LIC FEEDER | 2179 | 13 | 27540 | 2000010663
543 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 268 | 3 | 5340 | 2000010607
544 | RAIPUR TOWN | 11KV BANJARI FEEDER | 939 | 4 | 4020 | 2000010608
545 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 263 | 7 | 3180 | 2000010605
546 | RAIPUR TOWN | 11KV ATARI FEEDER | 527 | 14 | 23220 | 2000010604
547 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 673 | 3 | 2400 | 2000010611
548 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 730 | 3 | 1680 | 2000010613
549 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1036 | 20 | 17340 | 2000010614
550 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 252 | 17 | 28260 | 2000010615
551 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 683 | 4 | 3900 | 2000010603
552 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1894 | 7 | 8640 | 2000010602
553 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1315 | 5 | 2820 | 2000010601
554 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1602 | 6 | 4440 | 2000010600
555 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 567 | 4 | 9300 | 2000010599
556 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 1281 | 2 | 1440 | 2000010598
557 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 150 | 23 | 28200 | 2000010596
558 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 533 | 4 | 2880 | 2000010591
559 | RAIPUR TOWN | 11KV COLONY FEEDER | 51 | 3 | 2580 | 2000010616
560 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 235 | 6 | 11580 | 2000010617
561 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1927 | 5 | 5040 | 2000010618
562 | RAIPUR TOWN | 11KV AGRASEN CHAOK | 413 | 5 | 18900 | 2000010619
563 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 2936 | 6 | 11880 | 2000010622
564 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 835 | 11 | 42000 | 2000010624
565 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 80 | 6 | 12060 | 2000010625
566 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 403 | 8 | 7080 | 2000010626
567 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1001 | 8 | 5760 | 2000010630
568 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2484 | 3 | 1320 | 2000010631
569 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 3 | 2 | 840 | 2000010633
570 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1458 | 2 | 2220 | 2000010634
571 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 509 | 7 | 3420 | 2000010690
572 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 3023 | 7 | 9000 | 2000010735
573 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2368 | 8 | 6660 | 2000010736
574 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 495 | 7 | 6420 | 2000010737
575 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1303 | 7 | 22020 | 2000010649
576 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2289 | 9 | 8460 | 2000010652
577 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1486 | 4 | 3960 | 2000010654
578 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2231 | 5 | 9780 | 2000010656
579 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 368 | 2 | 960 | 2000010657
580 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 418 | 5 | 4440 | 2000010658
581 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1009 | 7 | 3240 | 2000010659
582 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 71 | 8 | 9120 | 2000010660
583 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1597 | 2 | 3480 | 2000010661
584 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 1896 | 12 | 43920 | 2000010662
585 | RAIPUR TOWN | 11KV LALBAG FEEDER | 959 | 6 | 4620 | 2000010665
586 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1772 | 5 | 4980 | 2000010667
587 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1960 | 4 | 4440 | 2000010668
588 | RAIPUR TOWN | 11KV MINING FEEDER | 525 | 3 | 2760 | 2000010669
589 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 942 | 6 | 4920 | 2000010670
590 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 983 | 1 | 720 | 2000010671
591 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 623 | 3 | 2340 | 2000010672
592 | RAIPUR TOWN | 11KV MARUTI FEEDER | 2955 | 12 | 10560 | 2000010674
593 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1679 | 13 | 22380 | 2000010675
594 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 362 | 5 | 6660 | 2000010678
595 | RAIPUR TOWN | 11KV KBT FEEDER | 713 | 7 | 9240 | 2000010682
596 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1124 | 8 | 18120 | 2000010683
597 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 424 | 23 | 26340 | 2000010686
598 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 987 | 2 | 3660 | 2000010687
599 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 392 | 4 | 4500 | 2000010688
600 | RAIPUR TOWN | 11KV RDA FEEDER | 766 | 2 | 2400 | 2000010689
601 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2335 | 3 | 2640 | 2000010582
602 | RAIPUR TOWN | 11KV KARBALA TALAB | 1439 | 2 | 12000 | 2000010585
603 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 3040 | 6 | 6360 | 2000010587
604 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 552 | 12 | 18660 | 2000010588
605 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 897 | 6 | 4140 | 2000010589
606 | RAIPUR TOWN | 11KV GAD FEEDER | 793 | 10 | 14280 | 2000010590
607 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 791 | 3 | 2640 | 2000010738
608 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 12 | 2 | 900 | 2000010694
609 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1574 | 3 | 4980 | 2000010695
610 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2782 | 4 | 6600 | 2000010698
611 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1355 | 4 | 3540 | 2000010699
612 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1926 | 3 | 5040 | 2000010701
613 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 92 | 16 | 27000 | 2000010702
614 | RAIPUR TOWN | 11KV RULAR FEEDER | 597 | 18 | 17940 | 2000010703
615 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 678 | 5 | 6660 | 2000010704
616 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2217 | 7 | 6180 | 2000010705
617 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1213 | 4 | 2940 | 2000010706
618 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 365 | 8 | 10020 | 2000010707
619 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 896 | 5 | 4920 | 2000010708
620 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2673 | 3 | 2640 | 2000010709
621 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1642 | 10 | 10200 | 2000010711
622 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1086 | 10 | 10500 | 2000010712
623 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 969 | 9 | 7500 | 2000010713
624 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 2069 | 9 | 20220 | 2000010714
625 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2188 | 1 | 660 | 2000010715
626 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1876 | 10 | 15420 | 2000010716
627 | RAIPUR TOWN | 11KV RDA FEEDER | 2189 | 11 | 36960 | 2000010717
628 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1979 | 11 | 18840 | 2000010718
629 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 387 | 3 | 2880 | 2000010719
630 | RAIPUR TOWN | 11KV SARORA FEEDER | 712 | 2 | 720 | 2000010720
631 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 3031 | 12 | 18120 | 2000010722
632 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2515 | 10 | 10020 | 2000010723
633 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3341 | 7 | 13380 | 2000010724
634 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 996 | 7 | 26760 | 2000010726
635 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 758 | 9 | 15540 | 2000010727
636 | RAIPUR TOWN | 11KV TV FEEDER | 1851 | 9 | 37140 | 2000010728
637 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1148 | 9 | 18600 | 2000010729
638 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1373 | 4 | 2460 | 2000010731
639 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 33 | 17 | 13680 | 2000010733
640 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 386 | 7 | 11460 | 2000010739
641 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3150 | 15 | 33180 | 2000010740
642 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1579 | 8 | 8220 | 2000010741
643 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 111 | 8 | 7860 | 2000010742
644 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 79 | 7 | 4800 | 2000010743
645 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 360 | 16 | 19320 | 2000010744
646 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1714 | 7 | 7680 | 2000017238
647 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1175 | 5 | 10920 | 2000017256
648 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2349 | 2 | 1620 | 2000017261
649 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1686 | 14 | 32760 | 2000017508
650 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1670 | 7 | 8100 | 2000017597
651 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 914 | 7 | 3300 | 2000017599
652 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1939 | 1 | 2520 | 2000017600
653 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1534 | 13 | 20760 | 2000017602
654 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2129 | 15 | 30060 | 2000017608
655 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 602 | 5 | 5400 | 2000017609
656 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 417 | 4 | 5160 | 2000017612
657 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 24 | 1 | 1380 | 2000017613
658 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 428 | 13 | 40500 | 2000017617
659 | RAIPUR TOWN | 11KV COLONY FEEDER | 14 | 2 | 3960 | 2000017619
660 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1990 | 12 | 13260 | 2000017621
661 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 470 | 8 | 15420 | 2000017623
662 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 894 | 14 | 28500 | 2000017624
663 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 431 | 9 | 18720 | 2000017626
664 | RAIPUR TOWN | 11KV MIG FEEDER | 346 | 11 | 11160 | 2000017671
665 | RAIPUR TOWN | 11KV G+10 FEEDER | 465 | 10 | 9540 | 2000017673
666 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 280 | 8 | 33720 | 2000017674
667 | RAIPUR TOWN | 11KV SURAJ NAGAR | 2042 | 2 | 1500 | 2000017690
668 | RAIPUR TOWN | 11KV ROMAN SQUARE | 358 | 4 | 2520 | 2000017691
669 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 1039 | 15 | 15420 | 2000017721
670 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1305 | 3 | 12120 | 2000010691
671 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2407 | 2 | 3900 | 2000010693
672 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 490 | 14 | 12840 | 2000010645
673 | RAIPUR TOWN | 11KV UMIYA MARKET FEEDER | 285 | 7 | 6900 | 2000018421
674 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 183 | 3 | 7200 | 2000017871
675 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2374 | 22 | 25740 | 2000018595
676 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 852 | 9 | 9780 | 2000018394
677 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 833 | 8 | 34740 | 2000018783
678 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2455 | 6 | 6900 | 2000018949
679 | RAIPUR TOWN | 11KV HEERA FEEDER | 3514 | 7 | 12060 | 2000019180
680 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 713 | 15 | 29340 | 2000019181
681 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 758 | 9 | 9120 | 2000019184
682 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1496 | 8 | 12660 | 2000017870
683 | RAIPUR TOWN | 11KV GANESH MANDIR | 331 | 1 | 960 | 2000017869
684 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1787 | 2 | 4200 | 2000017868
685 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1131 | 3 | 6900 | 2000017867
686 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1245 | 4 | 7080 | 2000017819
687 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 583 | 11 | 13440 | 2000019185
688 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1251 | 9 | 10680 | 2000019186
689 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1384 | 28 | 46020 | 2000019334
690 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 1117 | 5 | 3180 | 2000046477
691 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 19 | 16440 | 2000064021
692 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1523 | 3 | 4320 | 2000068159
693 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 593 | 5 | 2100 | 2000069376
694 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 222 | 11 | 33840 | 2000070080
695 | RAIPUR TOWN | 11KV C&F FEEDER | 59 | 8 | 12300 | 2000070702
696 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 8 | 12300 | 2000070703
697 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1128 | 10 | 12240 | 2000070747
698 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 565 | 10 | 12240 | 2000070748
699 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1090 | 11 | 13320 | 2000070749
700 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 221 | 9 | 10860 | 2000071570
701 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 402 | 1 | 4380 | 2000071639
702 | RAIPUR TOWN | 11KV SHAPHIRE GREEN FEEDER | 15 | 10 | 30060 | 2000071754
703 | RAIPUR TOWN | 11KV FEEDER I FEEDER | 49 | 8 | 6780 | 2000071756
704 | RAIPUR TOWN | 11KV OM FEEDER | 15 | 9 | 11400 | 2000071757
705 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1938 | 10 | 12480 | 2000019340
706 | RAIPUR TOWN | 11KV CTI FEEDER | 342 | 9 | 7320 | 2000019342
707 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 412 | 4 | 6180 | 2000018359
708 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3187 | 12 | 19740 | 2000017808
709 | RAIPUR TOWN | 11KV PS CITY | 1604 | 10 | 12000 | 2000019530
710 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 610 | 17 | 16320 | 2000017773
711 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1686 | 18 | 23400 | 2000017771
712 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1706 | 12 | 11880 | 2000017772
713 | RAIPUR TOWN | 11KV BSUP FEEDER | 1049 | 12 | 15600 | 2000019341
714 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1533 | 3 | 5100 | 2000018361
715 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 947 | 5 | 2100 | 2000019697
716 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 314 | 6 | 7020 | 2000019850
717 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 159 | 6 | 4260 | 2000019851
718 | RAIPUR TOWN | 11KV BLOCK NO 1 2 3 4 FEEDER | 199 | 6 | 3900 | 2000019853
719 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1913 | 18 | 37860 | 2000019857
720 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1572 | 6 | 19920 | 2000019858
721 | RAIPUR TOWN | 11KV SADDU FEEDER | 610 | 19 | 49020 | 2000018005
722 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2154 | 5 | 11580 | 2000020009
723 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1937 | 7 | 9300 | 2000020119
724 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1944 | 13 | 15540 | 2000020120
725 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 67 | 19 | 38640 | 2000020123
726 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 353 | 6 | 13140 | 2000020130
727 | RAIPUR TOWN | 11KV PURANI BASTI | 719 | 2 | 2400 | 2000017817
728 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1870 | 31 | 34140 | 2000017962
729 | RAIPUR TOWN | 11KV MG ROAD | 1646 | 6 | 16620 | 2000017955
730 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 731 | 30 | 68220 | 2000018406
731 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 401 | 5 | 15720 | 2000018416
732 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2670 | 5 | 3840 | 2000017954
733 | RAIPUR TOWN | 11KV DHANLAXMI NAGAR FEEDER | 3850 | 16 | 24960 | 2000018417
734 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 256 | 6 | 15720 | 2000018004
735 | RAIPUR TOWN | 11KV NAVEEN MARKET | 891 | 6 | 5220 | 2000017953
736 | RAIPUR TOWN | 11KV FEEDER II FEEDER | 98 | 8 | 6780 | 2000071758
737 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 72 | 19 | 20220 | 2000021421
738 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1383 | 20 | 21240 | 2000021424
739 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1246 | 4 | 3360 | 2000022077
740 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 704 | 4 | 3960 | 2000022078
741 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1576 | 2 | 1260 | 2000022079
742 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2049 | 7 | 6120 | 2000023735
743 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 215 | 2 | 1620 | 2000023736
744 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1823 | 2 | 2100 | 2000023772
745 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1422 | 7 | 9300 | 2000024395
746 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 237 | 2 | 4740 | 2000026462
747 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 1865 | 11 | 9660 | 2000026575
748 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1392 | 8 | 11460 | 2000026582
749 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1018 | 6 | 5520 | 2000026583
750 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1122 | 5 | 5160 | 2000026584
751 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 224 | 2 | 1560 | 2000029194
752 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 143 | 1 | 840 | 2000029195
753 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1425 | 8 | 31380 | 2000034421
754 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 904 | 18 | 49320 | 2000034422
755 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 969 | 8 | 37620 | 2000034423
756 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2795 | 6 | 4740 | 2000034760
757 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1252 | 8 | 6660 | 2000034761
758 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1061 | 7 | 9660 | 2000034762
759 | RAIPUR TOWN | 11KV PRIDE FEEDER | 376 | 1 | 1200 | 2000039215
760 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 659 | 14 | 16200 | 2000046448
761 | RAIPUR TOWN | 11KV MOVA ESTATE FEEDER | 149 | 8 | 7920 | 2000017722
762 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 782 | 10 | 13380 | 2000010635
763 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1262 | 1 | 840 | 2000010636
764 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1822 | 5 | 2880 | 2000010637
765 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1047 | 8 | 10800 | 2000010638
766 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3372 | 4 | 4680 | 2000010639
767 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2665 | 8 | 21180 | 2000010640
768 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1416 | 10 | 12240 | 2000010643
769 | RAIPUR TOWN | 11KV FEEDER SWARNABHOOMI III FEEDER | 175 | 8 | 6900 | 2000071760
770 | RAIPUR TOWN | 11KV OAK VILLA FEEDER | 262 | 10 | 11880 | 2000071761
771 | RAIPUR TOWN | 11KV GOKUL NAGAR FEEDER | 2925 | 10 | 27180 | 2000072091
772 | RAIPUR TOWN | 11KV SIMRAN CITY FEEDER | 1390 | 5 | 17880 | 2000074141
773 | RAIPUR TOWN | 11KV PARK SIDE FEEDER | 157 | 5 | 2460 | 2000075451
774 | RAIPUR TOWN | 11KV SUMET FEEDER | 102 | 5 | 2400 | 2000075452
775 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1311 | 14 | 15660 | 2000075643
776 | RAIPUR TOWN | 11KV SHRADDHA VIHAR FEEDER | 1019 | 7 | 20040 | 2000075796
777 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3513 | 13 | 22140 | 2000075800
778 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 67 | 1 | 360 | 2000075801
779 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 344 | 9 | 9000 | 2000075802
780 | RAIPUR TOWN | 11KV VILLA (MARUTI LIFESTYLE)​ FEEDER | 31 | 7 | 7680 | 2000075947
781 | RAIPUR TOWN | 11KV CM HOUSE FEEDER | 4 | 2 | 1020 | 2000076123
782 | RAIPUR TOWN | 11KV JAGRITI SCHOOL FEEDER | 3051 | 11 | 12120 | 2000077965
783 | RAIPUR TOWN | 11KV ROSE WOOD FEEDER | 10 | 10 | 11520 | 2000078240
784 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 55 | 11 | 12540 | 2000078241
785 | RAIPUR TOWN | 11KV PHQ1 FEEDER | 103 | 14 | 19860 | 2000081693
786 | RAIPUR TOWN | 11KV PHQ2 FEEDER | 356 | 1 | 720 | 2000081694
787 | RAIPUR TOWN | 11KV NGO FEEDER | 532 | 14 | 20100 | 2000081695
788 | RAIPUR TOWN | 11KV BARDIYA VIHAR FEEDER | 1673 | 16 | 33180 | 2000081696
789 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 530 | 5 | 5760 | 2000020131
790 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 5 | 5640 | 2000020132
791 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1603 | 7 | 15000 | 2000020153
792 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 496 | 3 | 2400 | 2000020193
793 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1114 | 10 | 10020 | 2000020194
794 | RAIPUR TOWN | 11KV PADAW FEEDER | 2140 | 8 | 24900 | 2000020227
795 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2730 | 5 | 5820 | 2000020581
796 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1744 | 11 | 44580 | 2000021219
797 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1483 | 4 | 4620 | 2000021220
798 | RAIPUR TOWN | 11KV TARUN NAGAR | 1877 | 5 | 4740 | 2000021221
799 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1304 | 13 | 9840 | 2000021286
800 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1860 | 8 | 4260 | 2000021287
801 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1428 | 10 | 21840 | 2000018006
802 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1209 | 11 | 19860 | 2000001968
803 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3207 | 11 | 20040 | 2000001969
804 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 1581 | 10 | 17280 | 2000001970
805 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1710 | 19 | 18720 | 2000006488
806 | RAJNANDGAON TOWN | 11KV LITIYAFEEDER | 269 | 22 | 32400 | 2000014955
807 | RAJNANDGAON TOWN | 11KV MOTHIPUR FEEDER | 3245 | 22 | 43920 | 2000014956
808 | RAJNANDGAON TOWN | 11KV RAM DARBAR FEEDER | 317 | 10 | 16260 | 2000015445
809 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 97 | 7 | 18660 | 2000015446
810 | RAJNANDGAON TOWN | 11KV MAHESH NAGAR FEEDER | 973 | 18 | 24360 | 2000015448
811 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2393 | 4 | 6480 | 2000015449
812 | RAJNANDGAON TOWN | 11KV R K NAGAR | 572 | 17 | 23940 | 2000015478
813 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 3854 | 16 | 24600 | 2000001979
814 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 1049 | 12 | 17640 | 2000001978
815 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2215 | 16 | 13800 | 2000069535
816 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1860 | 14 | 17580 | 2000069844
817 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 596 | 13 | 17940 | 2000001977
818 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 2539 | 11 | 16080 | 2000001966
819 | RAJNANDGAON TOWN | 11KV PENDRI FEEDER | 1183 | 20 | 21240 | 2000001965
820 | RAJNANDGAON TOWN | 11KV HALDIFEEDER | 821 | 14 | 21540 | 2000001964
821 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 2893 | 18 | 22920 | 2000001956
822 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1754 | 8 | 15960 | 2000001957
823 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2154 | 10 | 20160 | 2000001958
824 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 102 | 23 | 28500 | 2000001959
825 | RAJNANDGAON TOWN | 11KV FARHAD(RURAL)FEEDER | 333 | 18 | 41520 | 2000001960
826 | RAJNANDGAON TOWN | 11KV RAILWAY FEEDER | 3709 | 13 | 17340 | 2000001963
827 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 614 | 15 | 19200 | 2000001976
828 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 1254 | 11 | 19740 | 2000001974
829 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 666 | 23 | 27120 | 2000001973
830 | RAJNANDGAON TOWN | 11 KV MAHAMAYA FEEDER | 2122 | 12 | 13560 | 2000073902
831 | RAJNANDGAON TOWN | 11KV MOHARAFEEDER | 1880 | 15 | 21840 | 2000001971
832 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 286 | 11 | 19920 | 2000076011
833 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 369 | 15 | 22020 | 2000076217