## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Nov'20
Period: |  | 1st Oct'20 to 31st Oct'20
Number of Towns: |  | 20
Total nos. of Feeders: |  | 674
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 45 | 49 | 27720 | 2000071574
2 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2508 | 43 | 17160 | 2000071573
3 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 451 | 43 | 67920 | 2000071572
4 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2938 | 8 | 9300 | 2000014963
5 | AMBIKAPUR TOWN | 11KV BABUPARA SUBSTAION FEEDER | 1655 | 4 | 8580 | 2000014960
6 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 663 | 27 | 35940 | 2000014959
7 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 23 | 13560 | 2000014957
8 | AMBIKAPUR TOWN | 11KV SONPUR | 195 | 21 | 32400 | 2000014954
9 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 324 | 21 | 32520 | 2000014952
10 | AMBIKAPUR TOWN | 11KV DCROAD | 2163 | 13 | 12840 | 2000014951
11 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2741 | 8 | 9420 | 2000003855
12 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1950 | 29 | 41100 | 2000003854
13 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1673 | 4 | 23340 | 2000003853
14 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2244 | 23 | 31740 | 2000003852
15 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1571 | 22 | 18780 | 2000003851
16 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2681 | 30 | 61260 | 2000003849
17 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 790 | 13 | 17580 | 2000003848
18 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 565 | 32 | 42000 | 2000003847
19 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1993 | 24 | 26520 | 2000003846
20 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1347 | 34 | 70260 | 2000003845
21 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 513 | 23 | 31560 | 2000003844
22 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 2278 | 7 | 10620 | 2000003843
23 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1480 | 6 | 20820 | 2000003842
24 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 295 | 12 | 17040 | 2000003841
25 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1993 | 32 | 31920 | 2000003840
26 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 357 | 15 | 32760 | 2000001005
27 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 269 | 22 | 39900 | 2000001007
28 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1400 | 22 | 22800 | 2000001009
29 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1483 | 35 | 26820 | 2000001010
30 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 720 | 4 | 8100 | 2000006377
31 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 754 | 20 | 19740 | 2000006347
32 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 621 | 18 | 29280 | 2000004867
33 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2127 | 11 | 12960 | 2000004868
34 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2066 | 9 | 19800 | 2000004869
35 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1742 | 11 | 19680 | 2000004871
36 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2511 | 6 | 3420 | 2000004873
37 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1975 | 1 | 480 | 2000004874
38 | BILASPUR TOWN | 11KV TORWA FEEDER | 189 | 3 | 540 | 2000004875
39 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 882 | 10 | 8040 | 2000004876
40 | BILASPUR TOWN | 11KV DHEKA FEEDER | 355 | 12 | 16920 | 2000004877
41 | BILASPUR TOWN | 11KV DHUMA FEEDER | 977 | 2 | 1020 | 2000004878
42 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 565 | 21 | 40140 | 2000004879
43 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1255 | 12 | 28920 | 2000004881
44 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 3479 | 19 | 35820 | 2000004882
45 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1369 | 13 | 27780 | 2000004883
46 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 2002 | 9 | 16500 | 2000004884
47 | BILASPUR TOWN | 11KV HARDIFEEDER | 1250 | 2 | 1020 | 2000004885
48 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2100 | 7 | 10620 | 2000004886
49 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2058 | 16 | 29160 | 2000004888
50 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2666 | 13 | 26400 | 2000004889
51 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 9 | 19800 | 2000004890
52 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1249 | 8 | 2400 | 2000004891
53 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 597 | 7 | 5160 | 2000004892
54 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3043 | 8 | 22020 | 2000004893
55 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 3 | 22 | 48300 | 2000004894
56 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2190 | 11 | 19740 | 2000004896
57 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 806 | 25 | 43380 | 2000004897
58 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1304 | 2 | 1020 | 2000004898
59 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1206 | 3 | 720 | 2000004899
60 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1271 | 22 | 33240 | 2000004900
61 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2787 | 6 | 19620 | 2000004901
62 | BILASPUR TOWN | 11KV MANGLA FEEDER | 2447 | 22 | 36300 | 2000004902
63 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 161 | 7 | 5100 | 2000004903
64 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2956 | 18 | 27300 | 2000004904
65 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3076 | 9 | 19860 | 2000004906
66 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2092 | 13 | 16860 | 2000004907
67 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 829 | 9 | 21960 | 2000004908
68 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4824 | 11 | 9180 | 2000004909
69 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3848 | 6 | 7140 | 2000004910
70 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1260 | 13 | 16860 | 2000004911
71 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1766 | 11 | 26880 | 2000004912
72 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1973 | 8 | 7860 | 2000004913
73 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2558 | 9 | 12360 | 2000004914
74 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 645 | 4 | 8220 | 2000004915
75 | BILASPUR TOWN | 11KV RULER FEEDER | 1959 | 21 | 43560 | 2000004916
76 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2678 | 13 | 12780 | 2000004917
77 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 1718 | 5 | 5940 | 2000004919
78 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3421 | 7 | 5220 | 2000004920
79 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 2265 | 8 | 10020 | 2000004921
80 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1875 | 16 | 29100 | 2000004922
81 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 410 | 4 | 5880 | 2000004923
82 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 805 | 22 | 36240 | 2000004924
83 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2428 | 14 | 24180 | 2000004925
84 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2787 | 10 | 29040 | 2000004926
85 | BILASPUR TOWN | 11KV KONI FEEDER | 883 | 5 | 6120 | 2000006494
86 | BILASPUR TOWN | 11KV TV FEEDER | 2666 | 14 | 19560 | 2000016309
87 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1208 | 13 | 22620 | 2000016310
88 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 105 | 9 | 21480 | 2000016311
89 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 731 | 16 | 18120 | 2000016312
90 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1257 | 16 | 23100 | 2000016314
91 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 226 | 1 | 180 | 2000016315
92 | BILASPUR TOWN | 11KV NEW MOPKA | 1428 | 7 | 28740 | 2000017224
93 | BILASPUR TOWN | 11KV SHIVAM CITY | 1958 | 15 | 46620 | 2000017225
94 | BILASPUR TOWN | 11KV MAHAVEER CITY | 342 | 7 | 17760 | 2000017226
95 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 7 | 12060 | 2000017502
96 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2481 | 14 | 16860 | 2000017505
97 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1050 | 27 | 44280 | 2000017776
98 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 105 | 24 | 32340 | 2000017777
99 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 255 | 25 | 32280 | 2000017778
100 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 21 | 29880 | 2000017780
101 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 383 | 24 | 31920 | 2000017781
102 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1601 | 4 | 2640 | 2000018403
103 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2178 | 14 | 18060 | 2000018405
104 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 868 | 27 | 50040 | 2000018761
105 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1892 | 31 | 38520 | 2000018762
106 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 485 | 24 | 44820 | 2000018763
107 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 404 | 7 | 20520 | 2000020488
108 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1318 | 12 | 27720 | 2000020489
109 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1282 | 10 | 13020 | 2000020490
110 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 956 | 20 | 54540 | 2000020582
111 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1033 | 15 | 35580 | 2000020583
112 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 141 | 14 | 24120 | 2000022056
113 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1771 | 2 | 1020 | 2000022059
114 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1745 | 11 | 19200 | 2000022060
115 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1493 | 14 | 18180 | 2000022061
116 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1620 | 11 | 16920 | 2000023801
117 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 322 | 2 | 1320 | 2000023802
118 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1044 | 5 | 7620 | 2000023803
119 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 347 | 7 | 6180 | 2000024037
120 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 535 | 11 | 16080 | 2000024038
121 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2479 | 12 | 21540 | 2000024039
122 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 117 | 10 | 8040 | 2000027413
123 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 27 | 35880 | 2000015492
124 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 278 | 64 | 119400 | 2000001804
125 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 539 | 30 | 27840 | 2000001806
126 | CHAMPA TOWN | 11KV KURDAFEEDER | 1648 | 39 | 69840 | 2000001807
127 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2491 | 74 | 119280 | 2000001808
128 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1778 | 12 | 31560 | 2000001809
129 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3868 | 39 | 37500 | 2000001812
130 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 972 | 15 | 27240 | 2000015251
131 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 532 | 24 | 51780 | 2000015252
132 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4407 | 27 | 30240 | 2000003144
133 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5785 | 44 | 58320 | 2000003197
134 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2091 | 7 | 7320 | 2000003196
135 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1301 | 18 | 7380 | 2000003195
136 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1684 | 20 | 9360 | 2000003194
137 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 351 | 20 | 9180 | 2000003193
138 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 375 | 5 | 10020 | 2000004308
139 | DHAMTARI TOWN | 11KV CHITOD1 | 4687 | 9 | 22800 | 2000004307
140 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 41 | 5 | 2340 | 2000002566
141 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 33 | 59160 | 2000002567
142 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1708 | 3 | 1200 | 2000002569
143 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4330 | 1 | 300 | 2000002570
144 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 963 | 9 | 23700 | 2000002572
145 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 50 | 4 | 1560 | 2000002573
146 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 511 | 5 | 2160 | 2000015505
147 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1336 | 3 | 2340 | 2000002574
148 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 990 | 14 | 25680 | 2000002575
149 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1348 | 4 | 8700 | 2000002576
150 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2914 | 2 | 12360 | 2000002579
151 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3721 | 11 | 24960 | 2000002578
152 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 18 | 120720 | 2000002577
153 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 855 | 15 | 30180 | 2000007685
154 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 1934 | 28 | 28260 | 2000007686
155 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1269 | 9 | 21900 | 2000007687
156 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 121 | 33 | 631440 | 2000007688
157 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 512 | 10 | 4020 | 2000007689
158 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1376 | 1 | 300 | 2000007691
159 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3200 | 1 | 300 | 2000007692
160 | DURG BHILAI CHARODA TOWN | 11KV BAIKUNDDHAM FEEDER | 2069 | 2 | 1020 | 2000007693
161 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4392 | 5 | 6180 | 2000007696
162 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1097 | 29 | 40980 | 2000007702
163 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1158 | 19 | 36180 | 2000007703
164 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3069 | 17 | 21780 | 2000007705
165 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1699 | 12 | 22200 | 2000007707
166 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 944 | 14 | 36060 | 2000007708
167 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1784 | 4 | 75540 | 2000007714
168 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1417 | 33 | 18900 | 2000007715
169 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1669 | 18 | 23760 | 2000007718
170 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1021 | 10 | 4200 | 2000007720
171 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1660 | 9 | 19800 | 2000007721
172 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2168 | 11 | 7740 | 2000007723
173 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1480 | 23 | 43020 | 2000007724
174 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1731 | 20 | 6960 | 2000007725
175 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2332 | 13 | 7920 | 2000007726
176 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3483 | 1 | 60 | 2000007728
177 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 741 | 6 | 11220 | 2000007729
178 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 927 | 2 | 4320 | 2000007731
179 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1091 | 9 | 10320 | 2000007732
180 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 742 | 11 | 27120 | 2000007733
181 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 765 | 5 | 18780 | 2000007735
182 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1620 | 20 | 27720 | 2000007737
183 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2468 | 11 | 17340 | 2000007742
184 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1380 | 19 | 9060 | 2000007744
185 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 720 | 8 | 17700 | 2000007747
186 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1322 | 16 | 10560 | 2000007750
187 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1971 | 8 | 25680 | 2000007754
188 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1347 | 15 | 5700 | 2000007756
189 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2195 | 6 | 5400 | 2000007757
190 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1835 | 26 | 17040 | 2000007758
191 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 760 | 6 | 12780 | 2000007761
192 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1052 | 14 | 22080 | 2000007762
193 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2278 | 9 | 18660 | 2000007769
194 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 4082 | 29 | 44160 | 2000007772
195 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1943 | 24 | 43560 | 2000007773
196 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1437 | 19 | 23100 | 2000007774
197 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 1251 | 12 | 10140 | 2000007775
198 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1231 | 8 | 8400 | 2000007776
199 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1114 | 28 | 14400 | 2000007779
200 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7571 | 21 | 65220 | 2000016889
201 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2374 | 20 | 12780 | 2000017000
202 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 2804 | 23 | 35280 | 2000017001
203 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2521 | 21 | 31140 | 2000017052
204 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1312 | 9 | 3780 | 2000017054
205 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1180 | 15 | 13680 | 2000017055
206 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 944 | 16 | 31260 | 2000017056
207 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 779 | 5 | 26520 | 2000017057
208 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 932 | 6 | 31020 | 2000017058
209 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2142 | 5 | 20640 | 2000017059
210 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 527 | 7 | 38820 | 2000017060
211 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1071 | 3 | 12840 | 2000017061
212 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 590 | 4 | 8940 | 2000017062
213 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1533 | 7 | 25140 | 2000017064
214 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1398 | 13 | 8400 | 2000017065
215 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1215 | 2 | 1380 | 2000017066
216 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 568 | 4 | 2760 | 2000017067
217 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2284 | 6 | 8880 | 2000017068
218 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 1030 | 11 | 7920 | 2000017069
219 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2091 | 12 | 8160 | 2000017071
220 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 268 | 14 | 30780 | 2000017072
221 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 498 | 21 | 23220 | 2000017080
222 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2473 | 8 | 46860 | 2000018574
223 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 16 | 434700 | 2000018704
224 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1402 | 15 | 42360 | 2000018705
225 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1844 | 10 | 37740 | 2000018706
226 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 637 | 13 | 40860 | 2000018707
227 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2697 | 15 | 58440 | 2000018723
228 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 683 | 10 | 23820 | 2000019819
229 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 518 | 26 | 27660 | 2000019876
230 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1095 | 9 | 5280 | 2000020519
231 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3140 | 20 | 27720 | 2000021263
232 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1338 | 24 | 37320 | 2000021264
233 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1157 | 11 | 10740 | 2000021357
234 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3366 | 8 | 10800 | 2000023773
235 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 359 | 4 | 17760 | 2000025794
236 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 8 | 30480 | 2000027337
237 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1987 | 13 | 27360 | 2000029190
238 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1194 | 14 | 33360 | 2000029191
239 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 863 | 13 | 27300 | 2000029192
240 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1673 | 6 | 9360 | 2000029193
241 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1706 | 12 | 42300 | 2000049757
242 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 67 | 9 | 8580 | 2000049820
243 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1484 | 3 | 18960 | 2000067876
244 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2380 | 3 | 18900 | 2000067877
245 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1708 | 3 | 13680 | 2000067878
246 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 6 | 8640 | 2000068108
247 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 38 | 6 | 8640 | 2000068109
248 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 17 | 6 | 8580 | 2000068110
249 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1650 | 11 | 19860 | 2000075513
250 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 176 | 7 | 25260 | 2000075565
251 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 781 | 11 | 29160 | 2000075566
252 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1478 | 17 | 20700 | 2000075806
253 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1260 | 37 | 71820 | 2000075812
254 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 359 | 30 | 37680 | 2000075949
255 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 951 | 25 | 45840 | 2000075970
256 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1203 | 11 | 14640 | 2000075971
257 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 550 | 28 | 33660 | 2000076270
258 | JAGDALPUR TOWN | 11KV Vargish Feeder | 837 | 9 | 11040 | 2000023847
259 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2075 | 9 | 4440 | 2000075216
260 | JAGDALPUR TOWN | 11KV Green City Feeder | 507 | 9 | 6660 | 2000075215
261 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 372 | 15 | 11280 | 2000075799
262 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 2266 | 4 | 18000 | 2000017872
263 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1399 | 12 | 38400 | 2000004349
264 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 11 | 25020 | 2000004347
265 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1783 | 19 | 44820 | 2000004344
266 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1859 | 16 | 44040 | 2000004342
267 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2134 | 15 | 34920 | 2000004341
268 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2116 | 37 | 42660 | 2000004340
269 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2518 | 26 | 86580 | 2000004339
270 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3586 | 20 | 45480 | 2000004338
271 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1798 | 14 | 38940 | 2000004337
272 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1531 | 12 | 26040 | 2000004335
273 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 934 | 11 | 24900 | 2000004334
274 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 288 | 3 | 2400 | 2000004333
275 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1246 | 9 | 10980 | 2000004332
276 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2085 | 13 | 14400 | 2000004330
277 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 334 | 18 | 16860 | 2000004329
278 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1710 | 10 | 4920 | 2000015850
279 | KANKER TOWN | 11KV PATOD FEEDER | 1303 | 11 | 9000 | 2000002909
280 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3307 | 18 | 7380 | 2000002910
281 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 3634 | 14 | 277020 | 2000001055
282 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 312 | 3 | 1440 | 2000075551
283 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2817 | 3 | 1500 | 2000075552
284 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1639 | 3 | 1440 | 2000075553
285 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 3751 | 13 | 238740 | 2000001051
286 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 3329 | 3 | 252480 | 2000001045
287 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1201 | 12 | 10200 | 2000001047
288 | KAWARDHA TOWN | 11KV VIP FEEDER | 165 | 7 | 12660 | 2000001052
289 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3959 | 7 | 12240 | 2000001054
290 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 223 | 12 | 30900 | 2000021289
291 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1355 | 32 | 39900 | 2000021425
292 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 11 | 8460 | 2000075797
293 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 86 | 32 | 34980 | 2000075849
294 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 20 | 19560 | 2000006490
295 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3667 | 22 | 29700 | 2000006761
296 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 846 | 31 | 34560 | 2000006762
297 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1908 | 10 | 23040 | 2000006763
298 | KORBA TOWN | 11KV BULGI FEEDER | 999 | 21 | 23820 | 2000006764
299 | KORBA TOWN | 11KV DARRI FEEDER | 2257 | 2 | 9960 | 2000006767
300 | KORBA TOWN | 11KV DADAR FEEDER | 712 | 47 | 67560 | 2000006768
301 | KORBA TOWN | 11KV DEFR FEEDER | 2692 | 2 | 10380 | 2000006769
302 | KORBA TOWN | 11KV DUMARDIHFEEDER | 20 | 31 | 34440 | 2000006770
303 | KORBA TOWN | 11KV DARRI-1 FEEDER | 712 | 10 | 14880 | 2000006771
304 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 798 | 48 | 85080 | 2000006773
305 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 915 | 24 | 32280 | 2000006775
306 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 256 | 29 | 47160 | 2000006776
307 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 224 | 17 | 20100 | 2000006778
308 | KORBA TOWN | 11KV KOSABADI FEEDER | 1331 | 9 | 10800 | 2000006780
309 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1233 | 22 | 20700 | 2000006782
310 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1696 | 12 | 17520 | 2000006783
311 | KORBA TOWN | 11KV NIHARIKA FEEDER | 702 | 20 | 55200 | 2000006784
312 | KORBA TOWN | 11KV P.HROAD FEEDER | 1380 | 19 | 20220 | 2000006785
313 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1452 | 10 | 26520 | 2000020122
314 | KORBA TOWN | 11KV POWERCITY FEEDER | 1937 | 2 | 9900 | 2000006788
315 | KORBA TOWN | 11KV PARSABADA FEEDER | 1368 | 21 | 88620 | 2000006789
316 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 18 | 510360 | 2000006790
317 | KORBA TOWN | 11KV RAMPUR FEEDER | 807 | 9 | 10860 | 2000006791
318 | KORBA TOWN | 11KV RURAL FEEDER | 3766 | 18 | 33420 | 2000006792
319 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1050 | 61 | 104220 | 2000006794
320 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1206 | 22 | 20820 | 2000006787
321 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2360 | 26 | 35460 | 2000006795
322 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 941 | 26 | 35460 | 2000006796
323 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 65 | 9 | 10860 | 2000006797
324 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1885 | 13 | 25560 | 2000006786
325 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1495 | 23 | 24000 | 2000006798
326 | KORBA TOWN | 11KV BUDHWARI FEEDER | 740 | 13 | 19500 | 2000015220
327 | KORBA TOWN | 11KV SEMIPALI | 444 | 4 | 10860 | 2000015240
328 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 25 | 1384620 | 2000016028
329 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1919 | 18 | 49860 | 2000016201
330 | KORBA TOWN | 11KV BULGI FEEDER | 2475 | 2 | 9900 | 2000016255
331 | KORBA TOWN | 11KV RPNAGAR FEEDER | 868 | 15 | 26820 | 2000016912
332 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2112 | 17 | 38580 | 2000017804
333 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 398 | 15 | 69660 | 2000017805
334 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 14 | 32760 | 2000018988
335 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1966 | 11 | 25920 | 2000020065
336 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 746 | 37 | 56220 | 2000001425
337 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 829 | 12 | 16800 | 2000001426
338 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1787 | 18 | 32340 | 2000001427
339 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 1217 | 22 | 42660 | 2000003055
340 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6158 | 27 | 52560 | 2000003057
341 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1852 | 11 | 8040 | 2000055675
342 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 922 | 15 | 20640 | 2000068276
343 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 619 | 10 | 8820 | 2000002464
344 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1488 | 12 | 9060 | 2000002463
345 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2619 | 17 | 11700 | 2000002462
346 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 16 | 32640 | 2000002458
347 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2108 | 3 | 2460 | 2000006458
348 | MUNGELI TOWN | 11KV COLECTER FEEDER | 769 | 13 | 11820 | 2000006460
349 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1556 | 20 | 40320 | 2000001628
350 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 46 | 70020 | 2000001625
351 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 65 | 51900 | 2000001629
352 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 1665 | 5 | 4680 | 2000001630
353 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 116 | 17 | 37740 | 2000001623
354 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 1165 | 77 | 60540 | 2000001632
355 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3085 | 48 | 45000 | 2000001635
356 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 477 | 39 | 71040 | 2000001637
357 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 33 | 45 | 53340 | 2000076054
358 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 374 | 48 | 54840 | 2000076053
359 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 381 | 40 | 36360 | 2000076052
360 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 740 | 37 | 26220 | 2000076051
361 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1497 | 40 | 29940 | 2000076050
362 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 797 | 16 | 620040 | 2000017712
363 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3285 | 12 | 378060 | 2000003325
364 | RAIGARH TOWN | 11KV STATION FEEDER | 1567 | 37 | 46680 | 2000003324
365 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 22 | 174180 | 2000003323
366 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 864 | 21 | 23760 | 2000003321
367 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 670 | 21 | 29880 | 2000020756
368 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 626 | 22 | 24600 | 2000003320
369 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2276 | 2 | 6900 | 2000003315
370 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1544 | 21 | 31080 | 2000021639
371 | RAIGARH TOWN | 11KV STADIUM FEEDER | 779 | 16 | 22380 | 2000022941
372 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1460 | 2 | 6780 | 2000003304
373 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 353 | 31 | 34980 | 2000029091
374 | RAIGARH TOWN | 11KV KIT FEEDER | 38 | 21 | 27060 | 2000069514
375 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 553 | 23 | 21960 | 2000016184
376 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 626 | 25 | 40320 | 2000016057
377 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 103 | 18 | 15180 | 2000016056
378 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1146 | 27 | 28560 | 2000016055
379 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 14 | 50760 | 2000016054
380 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1065 | 14 | 54240 | 2000016053
381 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1415 | 55 | 86520 | 2000016052
382 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 618 | 3 | 7620 | 2000010599
383 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 2356 | 5 | 167700 | 2000010600
384 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 835 | 2 | 18600 | 2000010598
385 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 43 | 18 | 14040 | 2000010596
386 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 990 | 4 | 9360 | 2000010601
387 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1487 | 4 | 12780 | 2000010602
388 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1041 | 1 | 480 | 2000010603
389 | RAIPUR TOWN | 11KV ATARI FEEDER | 950 | 16 | 57900 | 2000010604
390 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 318 | 5 | 5220 | 2000010605
391 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 493 | 2 | 840 | 2000010592
392 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 811 | 3 | 22620 | 2000010591
393 | RAIPUR TOWN | 11KV GAD FEEDER | 776 | 3 | 25800 | 2000010590
394 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 907 | 5 | 27480 | 2000010589
395 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1515 | 4 | 22500 | 2000010588
396 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2764 | 6 | 29580 | 2000010587
397 | RAIPUR TOWN | 11KV KARBALA TALAB | 1300 | 6 | 10260 | 2000010585
398 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 280 | 9 | 8880 | 2000010583
399 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1617 | 4 | 4260 | 2000010582
400 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 564 | 1 | 420 | 2000010606
401 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 245 | 6 | 25440 | 2000010607
402 | RAIPUR TOWN | 11KV BANJARI FEEDER | 903 | 6 | 3240 | 2000010608
403 | RAIPUR TOWN | 11KV BASTAL FEEDER | 624 | 3 | 1260 | 2000010610
404 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1573 | 3 | 1920 | 2000010611
405 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 796 | 2 | 1260 | 2000010613
406 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 793 | 13 | 9480 | 2000010614
407 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 161 | 4 | 8880 | 2000010615
408 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 3 | 7380 | 2000010616
409 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 188 | 4 | 16980 | 2000010617
410 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1903 | 5 | 5400 | 2000010618
411 | RAIPUR TOWN | 11KV AGRASEN CHAOK | 472 | 4 | 18720 | 2000010619
412 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1548 | 4 | 28680 | 2000010621
413 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3011 | 1 | 360 | 2000010622
414 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 938 | 10 | 61740 | 2000010624
415 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 102 | 6 | 12300 | 2000010625
416 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 520 | 6 | 12360 | 2000010626
417 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1977 | 10 | 28800 | 2000010628
418 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1171 | 7 | 22380 | 2000010630
419 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2703 | 3 | 3780 | 2000010631
420 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2433 | 2 | 2340 | 2000010632
421 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEED | 1827 | 3 | 3720 | 2000010634
422 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 875 | 8 | 17280 | 2000010635
423 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1061 | 4 | 22020 | 2000010636
424 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1105 | 4 | 9300 | 2000010637
425 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1038 | 5 | 715560 | 2000010638
426 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3200 | 11 | 29640 | 2000010639
427 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 1 | 420 | 2000010641
428 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 764 | 9 | 18180 | 2000010642
429 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1047 | 7 | 36480 | 2000010643
430 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 377 | 7 | 24300 | 2000010645
431 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 616 | 9 | 10200 | 2000010647
432 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1390 | 4 | 715320 | 2000010649
433 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1511 | 2 | 15840 | 2000010650
434 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 786 | 9 | 13020 | 2000010651
435 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2281 | 5 | 19020 | 2000010652
436 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1310 | 4 | 1620 | 2000010653
437 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 995 | 3 | 1740 | 2000010654
438 | RAIPUR TOWN | 11KV MAHALAXMI | 488 | 4 | 6120 | 2000010655
439 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2095 | 4 | 49680 | 2000010656
440 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 490 | 4 | 24540 | 2000010657
441 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 408 | 3 | 1980 | 2000010658
442 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 915 | 5 | 26640 | 2000010659
443 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 62 | 2 | 5160 | 2000010660
444 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1623 | 1 | 5160 | 2000010661
445 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2297 | 11 | 24720 | 2000010662
446 | RAIPUR TOWN | 11KV LIC FEEDER | 1981 | 10 | 10380 | 2000010663
447 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2046 | 3 | 1140 | 2000010664
448 | RAIPUR TOWN | 11KV LALBAG FEEDER | 957 | 7 | 7680 | 2000010665
449 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 788 | 2 | 2400 | 2000010666
450 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1678 | 5 | 5400 | 2000010667
451 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1834 | 3 | 13500 | 2000010668
452 | RAIPUR TOWN | 11KV MINING FEEDER | 639 | 7 | 445920 | 2000010669
453 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 920 | 6 | 49140 | 2000010670
454 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 940 | 1 | 360 | 2000010671
455 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1301 | 6 | 27540 | 2000010672
456 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3392 | 5 | 17160 | 2000010674
457 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1516 | 11 | 24480 | 2000010675
458 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 15 | 5 | 4560 | 2000010676
459 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 645 | 6 | 5640 | 2000010677
460 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 480 | 4 | 6000 | 2000010678
461 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2311 | 2 | 1020 | 2000010680
462 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1182 | 4 | 2460 | 2000010681
463 | RAIPUR TOWN | 11KV KBT FEEDER | 1253 | 5 | 6060 | 2000010682
464 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1051 | 1 | 1080 | 2000010683
465 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 716 | 4 | 2460 | 2000010685
466 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 443 | 15 | 9240 | 2000010686
467 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 651 | 4 | 22200 | 2000010687
468 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 235 | 3 | 6960 | 2000010688
469 | RAIPUR TOWN | 11KV RDA FEEDER | 850 | 3 | 21960 | 2000010689
470 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 407 | 3 | 1980 | 2000010690
471 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1321 | 4 | 17040 | 2000010691
472 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3429 | 2 | 5220 | 2000010692
473 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 4 | 3 | 1800 | 2000010694
474 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1656 | 2 | 12360 | 2000010695
475 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1807 | 1 | 420 | 2000010696
476 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1319 | 3 | 47820 | 2000010699
477 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2295 | 4 | 5580 | 2000010700
478 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1652 | 4 | 714480 | 2000010701
479 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 108 | 13 | 30780 | 2000010702
480 | RAIPUR TOWN | 11KV RULAR FEEDER | 600 | 8 | 17280 | 2000010703
481 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 597 | 2 | 7800 | 2000010704
482 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2963 | 5 | 25860 | 2000010705
483 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1184 | 5 | 13860 | 2000010706
484 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 514 | 7 | 24180 | 2000010707
485 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 946 | 2 | 5640 | 2000010708
486 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2592 | 4 | 15840 | 2000010709
487 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1894 | 10 | 26040 | 2000010711
488 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 993 | 12 | 27120 | 2000010712
489 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 709 | 3 | 2220 | 2000010713
490 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1666 | 8 | 38280 | 2000010714
491 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1994 | 3 | 16020 | 2000010715
492 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 2093 | 3 | 17280 | 2000010716
493 | RAIPUR TOWN | 11KV RDA FEEDER | 2091 | 4 | 16140 | 2000010717
494 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1492 | 11 | 26160 | 2000010718
495 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 408 | 4 | 2040 | 2000010719
496 | RAIPUR TOWN | 11KV SARORA FEEDER | 996 | 5 | 22440 | 2000010720
497 | RAIPUR TOWN | 11KV SECTOR -5 | 768 | 2 | 1380 | 2000010721
498 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2781 | 16 | 44820 | 2000010722
499 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2301 | 14 | 32460 | 2000010723
500 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1398 | 5 | 7920 | 2000010725
501 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1313 | 7 | 34380 | 2000010726
502 | RAIPUR TOWN | 11KV TV FEEDER | 1686 | 7 | 15780 | 2000010728
503 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1205 | 9 | 18960 | 2000010729
504 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1391 | 3 | 10740 | 2000010731
505 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 12 | 7380 | 2000010733
506 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2896 | 9 | 21900 | 2000010735
507 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2199 | 6 | 22500 | 2000010736
508 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 479 | 10 | 14760 | 2000010737
509 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 64 | 6 | 45360 | 2000010738
510 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3068 | 4 | 52020 | 2000010740
511 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2388 | 8 | 15360 | 2000010741
512 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 70 | 7 | 3840 | 2000010742
513 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 26 | 7 | 3900 | 2000010743
514 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 368 | 11 | 13680 | 2000010744
515 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1779 | 4 | 23580 | 2000017238
516 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 987 | 3 | 1920 | 2000017256
517 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2246 | 2 | 127500 | 2000017261
518 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1279 | 28 | 48840 | 2000017508
519 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 632 | 2 | 1980 | 2000017514
520 | RAIPUR TOWN | 11KV WHITE HOUSE | 794 | 3 | 1068720 | 2000017568
521 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 607 | 4 | 1920 | 2000017569
522 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 1007 | 7 | 24720 | 2000017576
523 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 708 | 4 | 2340 | 2000017590
524 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1621 | 3 | 14820 | 2000017597
525 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 896 | 5 | 15300 | 2000017599
526 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2360 | 5 | 3660 | 2000017600
527 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 2615 | 4 | 16440 | 2000017602
528 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 17 | 5 | 5940 | 2000017607
529 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1095 | 6 | 14640 | 2000017608
530 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1567 | 7 | 6000 | 2000017611
531 | RAIPUR TOWN | 11KV TURCHEGUDA FEEDER | 456 | 4 | 15240 | 2000017612
532 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 3 | 10500 | 2000017613
533 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 859 | 2 | 1380 | 2000017615
534 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 342 | 8 | 17100 | 2000017617
535 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2069 | 8 | 19260 | 2000017621
536 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 638 | 12 | 88680 | 2000017623
537 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 797 | 12 | 44760 | 2000017624
538 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 418 | 11 | 18900 | 2000017626
539 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 865 | 4 | 2280 | 2000017628
540 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 345 | 7 | 29400 | 2000017671
541 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 427 | 6 | 20760 | 2000017673
542 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 268 | 5 | 20580 | 2000017674
543 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1868 | 5 | 12840 | 2000017690
544 | RAIPUR TOWN | 11KV ROMAN SQUARE | 666 | 2 | 8940 | 2000017691
545 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 218 | 3 | 12960 | 2000017692
546 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 844 | 9 | 26040 | 2000017721
547 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1087 | 5 | 7500 | 2000017755
548 | RAIPUR TOWN | 11KV MOTHER TERESA | 820 | 5 | 2400 | 2000017756
549 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 514 | 5 | 11700 | 2000017757
550 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1185 | 3 | 1740 | 2000017768
551 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1264 | 11 | 33660 | 2000017771
552 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1485 | 11 | 8760 | 2000017772
553 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 679 | 9 | 6180 | 2000017773
554 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3324 | 9 | 21960 | 2000017808
555 | RAIPUR TOWN | 11KV PURANI BASTI | 712 | 5 | 22620 | 2000017817
556 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1197 | 5 | 50100 | 2000017819
557 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1141 | 7 | 37080 | 2000017867
558 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1966 | 6 | 46140 | 2000017868
559 | RAIPUR TOWN | 11KV GANESH MANDIR | 234 | 4 | 21480 | 2000017869
560 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1404 | 3 | 14160 | 2000017870
561 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 10 | 13440 | 2000018378
562 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1018 | 5 | 15840 | 2000018394
563 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1459 | 6 | 22740 | 2000018361
564 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 355 | 3 | 21840 | 2000018359
565 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 617 | 10 | 18660 | 2000018396
566 | RAIPUR TOWN | 11KV IGVP | 377 | 10 | 10680 | 2000018397
567 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 350 | 11 | 27120 | 2000018398
568 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 457 | 6 | 20100 | 2000018416
569 | RAIPUR TOWN | 11KV Dhanlaxmi Nagar Feeder | 4080 | 7 | 21420 | 2000018417
570 | RAIPUR TOWN | 11KV MANDI | 676 | 2 | 1320 | 2000018020
571 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1631 | 6 | 41400 | 2000018006
572 | RAIPUR TOWN | 11KV SADDU FEEDER | 311 | 11 | 28980 | 2000018005
573 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 336 | 5 | 20820 | 2000018004
574 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1163 | 20 | 19380 | 2000017962
575 | RAIPUR TOWN | 11KV MG ROAD | 1633 | 3 | 3780 | 2000017955
576 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2739 | 6 | 59520 | 2000017954
577 | RAIPUR TOWN | 11KV NAVEEN MARKET | 893 | 6 | 59400 | 2000017953
578 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 260 | 4 | 22860 | 2000017871
579 | RAIPUR TOWN | 11KV Umiya Market Feeder | 484 | 6 | 28320 | 2000018421
580 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 782 | 7 | 31320 | 2000018783
581 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2574 | 7 | 11340 | 2000018949
582 | RAIPUR TOWN | 11KV VARUN FEEDER | 1316 | 12 | 42480 | 2000019179
583 | RAIPUR TOWN | 11KV HEERA FEEDER | 3071 | 7 | 34020 | 2000019180
584 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 506 | 6 | 27900 | 2000019181
585 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1671 | 10 | 20100 | 2000019184
586 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 674 | 8 | 19680 | 2000019185
587 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1367 | 12 | 35160 | 2000019186
588 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1302 | 7 | 18180 | 2000019334
589 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1270 | 5 | 5040 | 2000019340
590 | RAIPUR TOWN | 11KV BSUP FEEDER | 111 | 3 | 12120 | 2000019341
591 | RAIPUR TOWN | 11KV CTI FEEDER | 260 | 2 | 1440 | 2000019342
592 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 982 | 9 | 18600 | 2000019485
593 | RAIPUR TOWN | 11KV PS CITY | 1389 | 11 | 15120 | 2000019530
594 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 695 | 4 | 4320 | 2000019697
595 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 288 | 5 | 23520 | 2000019850
596 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 129 | 4 | 13560 | 2000019851
597 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 173 | 2 | 3780 | 2000019853
598 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1861 | 7 | 26640 | 2000019857
599 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1582 | 6 | 16020 | 2000019858
600 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2162 | 6 | 27360 | 2000020009
601 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1742 | 7 | 445800 | 2000020119
602 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1189 | 4 | 30900 | 2000020120
603 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 10 | 17220 | 2000020123
604 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 17 | 2 | 11340 | 2000020130
605 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 176 | 1 | 420 | 2000020131
606 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 1 | 420 | 2000020132
607 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1439 | 3 | 13980 | 2000020153
608 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1059 | 1 | 1620 | 2000020194
609 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2637 | 6 | 27000 | 2000020581
610 | RAIPUR TOWN | 11KV MOTIBAGH | 741 | 4 | 9360 | 2000021115
611 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1725 | 7 | 54780 | 2000021219
612 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1408 | 2 | 3900 | 2000021220
613 | RAIPUR TOWN | 11KV TARUN NAGAR | 1856 | 3 | 20100 | 2000021221
614 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 771 | 4 | 4380 | 2000021286
615 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1502 | 6 | 20460 | 2000021287
616 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 63 | 13 | 23100 | 2000021421
617 | RAIPUR TOWN | 11KV DUNDA FEEDER | 961 | 15 | 25860 | 2000021424
618 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1478 | 5 | 12600 | 2000021615
619 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1385 | 4 | 24780 | 2000022077
620 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 809 | 3 | 12300 | 2000022078
621 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1358 | 5 | 51540 | 2000022079
622 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1414 | 3 | 15000 | 2000023680
623 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1600 | 5 | 25980 | 2000023735
624 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 131 | 4 | 18540 | 2000023736
625 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1667 | 3 | 12360 | 2000023772
626 | RAIPUR TOWN | 11KV SBI FEEDER | 1309 | 12 | 11280 | 2000023790
627 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 469 | 2 | 1380 | 2000023848
628 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1135 | 5 | 30120 | 2000024395
629 | RAIPUR TOWN | 11KV KACHNA FEEDER | 147 | 3 | 3780 | 2000026462
630 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2329 | 5 | 2880 | 2000026575
631 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1548 | 2 | 9420 | 2000026582
632 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1013 | 7 | 387240 | 2000026583
633 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1078 | 3 | 17820 | 2000026584
634 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 630 | 4 | 1980 | 2000026585
635 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1265 | 6 | 11160 | 2000026586
636 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 341 | 7 | 50700 | 2000029194
637 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 148 | 9 | 53040 | 2000029195
638 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 310 | 3 | 1260 | 2000029196
639 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1353 | 14 | 48960 | 2000034421
640 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 773 | 14 | 28320 | 2000034422
641 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 751 | 11 | 27480 | 2000034423
642 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2536 | 4 | 20880 | 2000034760
643 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 674 | 4 | 13080 | 2000034761
644 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1546 | 5 | 13380 | 2000034762
645 | RAIPUR TOWN | 11KV PRIDE FEEDER | 185 | 4 | 23040 | 2000039215
646 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 4 | 23160 | 2000046448
647 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 898 | 15 | 78600 | 2000046477
648 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 39 | 11 | 9060 | 2000064021
649 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 396 | 4 | 4380 | 2000069376
650 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 203 | 19 | 31920 | 2000070080
651 | RAIPUR TOWN | 11KV C&F FEEDER | 32 | 6 | 8580 | 2000070702
652 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 30 | 6 | 8580 | 2000070703
653 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1037 | 5 | 53040 | 2000070747
654 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 727 | 6 | 30900 | 2000070748
655 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2572 | 9 | 908280 | 2000071570
656 | RAIPUR TOWN | 11KV Feeder I Feeder | 80 | 6 | 13320 | 2000071756
657 | RAIPUR TOWN | 11KV Feeder II Feeder | 155 | 6 | 13440 | 2000071758
658 | RAIPUR TOWN | 11KV Feeder III Feeder | 31 | 5 | 12780 | 2000071760
659 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2657 | 1 | 420 | 2000072091
660 | RAIPUR TOWN | 11KV Simran City Feeder | 1170 | 7 | 28860 | 2000074141
661 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 698 | 12 | 34320 | 2000075643
662 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 960 | 5 | 15900 | 2000075796
663 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3449 | 12 | 9240 | 2000075800
664 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 45 | 5 | 10860 | 2000075801
665 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 294 | 5 | 10920 | 2000075802
666 | RAIPUR TOWN | 11KV CM House Feeder | 3 | 4 | 24600 | 2000076123
667 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2905 | 1 | 187620 | 2000001979
668 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 1121 | 1 | 187560 | 2000001974
669 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3620 | 1 | 187560 | 2000001969
670 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1804 | 1 | 187620 | 2000001968
671 | RAJNANDGAON TOWN | 11KV HALDIFEEDER | 1998 | 1 | 300 | 2000001964
672 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2170 | 4 | 37440 | 2000015449
673 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1529 | 7 | 16020 | 2000006488
674 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 2641 | 6 | 24480 | 2000076217