## Final D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Mar'18
Period: |  | 1st Feb'18 to 28th Feb'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 462
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1224 | 24 | 71340 | 2000003854
2 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 286 | 80 | 144960 | 2000003852
3 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1383 | 39 | 608640 | 2000003846
4 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 37 | 92280 | 2000003845
5 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1901 | 37 | 74640 | 2000003843
6 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 999 | 19 | 44580 | 2000003842
7 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 9 | 3840 | 2000003841
8 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 125 | 127 | 297000 | 2000015334
9 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 332 | 30 | 44640 | 2000014961
10 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1226 | 38 | 81780 | 2000003840
11 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1219 | 38 | 55020 | 2000014960
12 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 457 | 42 | 71880 | 2000006627
13 | AMBIKAPUR TOWN | 11 KV DC Road | 1497 | 64 | 91560 | 2000014951
14 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 37 | 122100 | 2000014959
15 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 44 | 39 | 98820 | 2000006378
16 | BHATAPARA TOWN | Mayur School 11KV Feeder | 399 | 15 | 41040 | 2000006377
17 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1432 | 24 | 21660 | 2000006376
18 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 637 | 15 | 533400 | 2000006347
19 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 32 | 48960 | 2000001013
20 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 82 | 591300 | 2000014962
21 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1859 | 31 | 48180 | 2000001012
22 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 384 | 57 | 46980 | 2000001011
23 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1199 | 15 | 74400 | 2000001009
24 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 299 | 33 | 252600 | 2000001008
25 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 112 | 9 | 11940 | 2000001007
26 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 48 | 225660 | 2000001006
27 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 21 | 22020 | 2000001005
28 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3158 | 19 | 21120 | 2000001004
29 | BHATAPARA TOWN | 11KV Colony Feeder | 34 | 55 | 47460 | 2000004255
30 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1528 | 50 | 152460 | 2000004868
31 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1553 | 26 | 35340 | 2000004871
32 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1815 | 13 | 15240 | 2000004874
33 | BILASPUR TOWN | 11KV DHEKA FEEDER | 284 | 41 | 196500 | 2000004877
34 | BILASPUR TOWN | 11KV DHUMA FEEDER | 692 | 36 | 84780 | 2000004878
35 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 436 | 41 | 162300 | 2000004879
36 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2801 | 13 | 31920 | 2000004882
37 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1249 | 16 | 15240 | 2000004883
38 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1693 | 20 | 48720 | 2000004884
39 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1955 | 14 | 38700 | 2000004888
40 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2535 | 23 | 65940 | 2000004889
41 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1226 | 31 | 54120 | 2000004891
42 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 592 | 14 | 40200 | 2000004892
43 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2714 | 20 | 49440 | 2000004893
44 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2044 | 26 | 27000 | 2000004896
45 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 6 | 91 | 268380 | 2000004897
46 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 870 | 40 | 180000 | 2000004898
47 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1122 | 32 | 112560 | 2000004900
48 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2299 | 34 | 46500 | 2000004901
49 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 16 | 34920 | 2000004903
50 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2325 | 25 | 39000 | 2000004904
51 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2344 | 15 | 11700 | 2000004905
52 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 739 | 15 | 41460 | 2000004908
53 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3330 | 18 | 52020 | 2000004909
54 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1075 | 24 | 56640 | 2000004911
55 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1588 | 17 | 30060 | 2000004912
56 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1811 | 24 | 77640 | 2000004913
57 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2380 | 9 | 15780 | 2000004914
58 | BILASPUR TOWN | 11KV RULER FEEDER | 1566 | 4 | 4980 | 2000004916
59 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2022 | 52 | 77280 | 2000004917
60 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1341 | 9 | 15480 | 2000004919
61 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1828 | 9 | 37080 | 2000004922
62 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 44 | 46500 | 2000004923
63 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3840 | 16 | 20880 | 2000004926
64 | BILASPUR TOWN | 11KV Imlibhata Feeder | 724 | 36 | 52440 | 2000016310
65 | BILASPUR TOWN | 11KV Birkona Feeder | 760 | 26 | 140100 | 2000016311
66 | BILASPUR TOWN | 11 KV New Mopka | 846 | 25 | 34560 | 2000017224
67 | BILASPUR TOWN | 11 KV Shivam City | 1296 | 29 | 35100 | 2000017225
68 | BILASPUR TOWN | 11 KV Mahaveer City | 226 | 23 | 41700 | 2000017226
69 | BILASPUR TOWN | 11KV Lingyadih Feeder | 172 | 21 | 134940 | 2000017505
70 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 34 | 144660 | 2000017776
71 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 75 | 146940 | 2000017777
72 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 300 | 32 | 58560 | 2000017780
73 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 35 | 71460 | 2000017781
74 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 1007 | 33 | 25500 | 2000018403
75 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 760 | 40 | 227880 | 2000018761
76 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1658 | 15 | 109320 | 2000018762
77 | BILASPUR TOWN | 11KV Katiyapara Feeder | 429 | 22 | 45660 | 2000018763
78 | BILASPUR TOWN | 11KV Jail Road Feeder | 382 | 19 | 39960 | 2000020488
79 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1225 | 19 | 928140 | 2000020489
80 | BILASPUR TOWN | 11KV Telephone Exchange Feeder | 1117 | 16 | 42600 | 2000020490
81 | BILASPUR TOWN | 11KV CMD College Feeder | 924 | 11 | 25800 | 2000020582
82 | BILASPUR TOWN | 11KV Housing Board Feeder | 308 | 9 | 68040 | 2000022061
83 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 337 | 21 | 31680 | 2000023801
84 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 276 | 8 | 12900 | 2000023802
85 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 179 | 14 | 65460 | 2000006348
86 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 969 | 21 | 27840 | 2000003195
87 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1970 | 17 | 86460 | 2000003196
88 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5499 | 32 | 38820 | 2000003197
89 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 35 | 80100 | 2000002566
90 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 76 | 1241220 | 2000002567
91 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 2239 | 42 | 152880 | 2000002568
92 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1518 | 34 | 42840 | 2000002569
93 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3763 | 18 | 45360 | 2000002570
94 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 10 | 42540 | 2000002573
95 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 978 | 33 | 27180 | 2000002574
96 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3806 | 41 | 35640 | 2000002576
97 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 403 | 23 | 32940 | 2000002578
98 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2547 | 30 | 30780 | 2000002579
99 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1079 | 3 | 2520 | 2000001299
100 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 950 | 10 | 28680 | 2000001301
101 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 736 | 21 | 26700 | 2000001298
102 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2441 | 21 | 34080 | 2000001302
103 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 712 | 2 | 5400 | 2000007685
104 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2208 | 11 | 22500 | 2000007686
105 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 655 | 48 | 47700 | 2000007687
106 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 112 | 14 | 26820 | 2000007688
107 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1034 | 52 | 131640 | 2000007689
108 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1766 | 7 | 13740 | 2000007694
109 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3315 | 8 | 2700 | 2000007696
110 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 861 | 12 | 23880 | 2000007697
111 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2452 | 11 | 8640 | 2000007698
112 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2936 | 27 | 17760 | 2000007701
113 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 990 | 4 | 7800 | 2000007702
114 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1015 | 8 | 15600 | 2000007703
115 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2054 | 58 | 129780 | 2000007705
116 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 952 | 30 | 48540 | 2000007708
117 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1515 | 23 | 33660 | 2000007709
118 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1850 | 27 | 39600 | 2000007711
119 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 4042 | 16 | 25140 | 2000007712
120 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 606 | 16 | 9060 | 2000007713
121 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1323 | 27 | 67680 | 2000007714
122 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 975 | 26 | 143880 | 2000007715
123 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 663 | 32 | 78780 | 2000007716
124 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 628 | 16 | 19200 | 2000007717
125 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1446 | 29 | 14040 | 2000007718
126 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1848 | 21 | 16980 | 2000007719
127 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3169 | 12 | 20820 | 2000007721
128 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1841 | 21 | 11880 | 2000007723
129 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 2086 | 13 | 684960 | 2000007724
130 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1151 | 71 | 84900 | 2000007728
131 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 1881 | 26 | 9780 | 2000007729
132 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 495 | 32 | 60000 | 2000007731
133 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 531 | 12 | 5580 | 2000007733
134 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 451 | 20 | 27840 | 2000007735
135 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1246 | 55 | 143400 | 2000007738
136 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 1214 | 28 | 20700 | 2000007739
137 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 846 | 9 | 16920 | 2000007740
138 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1486 | 9 | 10020 | 2000007741
139 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2405 | 28 | 65340 | 2000007742
140 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1147 | 24 | 62280 | 2000007743
141 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 790 | 16 | 12180 | 2000007744
142 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2323 | 37 | 109500 | 2000007747
143 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1067 | 12 | 27900 | 2000007748
144 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 509 | 13 | 20880 | 2000007749
145 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 9 | 6720 | 2000007751
146 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3078 | 27 | 9960 | 2000007752
147 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1788 | 13 | 28860 | 2000007754
148 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 245 | 20 | 33300 | 2000007755
149 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2684 | 24 | 14100 | 2000007756
150 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2337 | 17 | 9120 | 2000007757
151 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1040 | 21 | 23580 | 2000007758
152 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4383 | 12 | 5880 | 2000007759
153 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2492 | 29 | 18120 | 2000007760
154 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1262 | 53 | 74400 | 2000007762
155 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 179 | 10 | 7860 | 2000007763
156 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 10 | 7680 | 2000007764
157 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 177 | 9 | 4680 | 2000007765
158 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 9 | 7500 | 2000007766
159 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 606 | 11 | 11100 | 2000007767
160 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1252 | 10 | 13020 | 2000007768
161 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2169 | 30 | 76560 | 2000007769
162 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1790 | 19 | 13020 | 2000007770
163 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1165 | 25 | 351840 | 2000007771
164 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 933 | 35 | 32880 | 2000007773
165 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1304 | 27 | 15720 | 2000007776
166 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1237 | 13 | 12240 | 2000007777
167 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 364 | 32 | 32640 | 2000007778
168 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 750 | 21 | 176520 | 2000007779
169 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1199 | 13 | 7560 | 2000007780
170 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1778 | 26 | 33600 | 2000007781
171 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1585 | 16 | 36360 | 2000007782
172 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 240 | 19 | 20400 | 2000007783
173 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 3420 | 17 | 17160 | 2000016998
174 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1507 | 15 | 18780 | 2000017001
175 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 26 | 31380 | 2000017044
176 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 19 | 29400 | 2000017045
177 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1998 | 33 | 86520 | 2000017052
178 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1191 | 29 | 53580 | 2000017054
179 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 949 | 17 | 19620 | 2000017055
180 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 937 | 3 | 17280 | 2000017056
181 | DURG BHILAI CHARODA TOWN | 11 KV SAF Batalian | 386 | 14 | 9300 | 2000017057
182 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 986 | 20 | 28020 | 2000017058
183 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 355 | 15 | 11520 | 2000017059
184 | DURG BHILAI CHARODA TOWN | 11 KV Green Chowk | 544 | 10 | 5280 | 2000017060
185 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 568 | 15 | 15780 | 2000017062
186 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1642 | 8 | 20580 | 2000017064
187 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1024 | 21 | 36900 | 2000017065
188 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1062 | 14 | 10020 | 2000017066
189 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 393 | 22 | 31140 | 2000017069
190 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 7 | 19 | 57060 | 2000017071
191 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 329 | 28 | 26760 | 2000017076
192 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 691 | 21 | 154800 | 2000018574
193 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 276 | 19 | 29040 | 2000018704
194 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1290 | 7 | 9300 | 2000018705
195 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1703 | 9 | 10500 | 2000018706
196 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2313 | 26 | 46260 | 2000018707
197 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 28 | 24 | 26460 | 2000018987
198 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 229 | 34 | 19500 | 2000019819
199 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 1033 | 11 | 22620 | 2000020519
200 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 2897 | 7 | 90720 | 2000021263
201 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 1175 | 7 | 244320 | 2000021264
202 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1921 | 51 | 82860 | 2000023773
203 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 17 | 152460 | 2000025794
204 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1655 | 35 | 47760 | 2000029193
205 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1203 | 11 | 4560 | 2000004349
206 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 2 | 240 | 2000004347
207 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1544 | 7 | 5280 | 2000004344
208 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1045 | 18 | 24180 | 2000004339
209 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2160 | 5 | 3480 | 2000004338
210 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1533 | 8 | 3960 | 2000004337
211 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1950 | 1 | 300 | 2000017872
212 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 4 | 1260 | 2000004336
213 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1266 | 5 | 2460 | 2000004335
214 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 848 | 2 | 180 | 2000004334
215 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1763 | 3 | 5820 | 2000004332
216 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 783 | 3 | 1200 | 2000004331
217 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1547 | 5 | 10860 | 2000004330
218 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1128 | 6 | 11280 | 2000015850
219 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2914 | 15 | 16920 | 2000002910
220 | KANKER TOWN | 11KV PATOD FEEDER | 686 | 31 | 73440 | 2000002909
221 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 17 | 49140 | 2000002907
222 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 420 | 69 | 183960 | 2000001047
223 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1039 | 17 | 24240 | 2000001051
224 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2949 | 14 | 8520 | 2000001055
225 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 30 | 51780 | 2000006759
226 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2379 | 62 | 340740 | 2000006761
227 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 770 | 56 | 92160 | 2000006762
228 | KORBA TOWN | 11KV BULGI FEEDER | 945 | 81 | 78720 | 2000006764
229 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 71 | 128400 | 2000006770
230 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 781 | 107 | 1031940 | 2000006773
231 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2803 | 26 | 82260 | 2000006778
232 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 770 | 18 | 66420 | 2000006782
233 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1301 | 21 | 16260 | 2000006783
234 | KORBA TOWN | 11KV NIHARIKA FEEDER | 711 | 26 | 42840 | 2000006784
235 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1252 | 60 | 157800 | 2000006786
236 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 694 | 22 | 92700 | 2000006787
237 | KORBA TOWN | 11KV PARSABADA FEEDER | 1413 | 46 | 98220 | 2000006789
238 | KORBA TOWN | 11KV PATRAKAR FEEDER | 298 | 20 | 62940 | 2000006790
239 | KORBA TOWN | 11KV RAMPUR FEEDER | 813 | 8 | 6000 | 2000006791
240 | KORBA TOWN | 11KV RURAL FEEDER | 2334 | 43 | 71820 | 2000006792
241 | KORBA TOWN | 11KV SARMANGLA FEEDER | 753 | 32 | 44340 | 2000006794
242 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 804 | 149 | 237120 | 2000006796
243 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1157 | 37 | 112440 | 2000006798
244 | KORBA TOWN | 11KV Town-1 Feeder | 706 | 7 | 95880 | 2000015220
245 | KORBA TOWN | 11KV RP Nagar Feeder | 812 | 20 | 25140 | 2000016912
246 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 71 | 25 | 47940 | 2000017790
247 | KORBA TOWN | 11KV BAIKUND NAGAR FEEDER | 374 | 52 | 64500 | 2000017805
248 | KORBA TOWN | 11KV Mudapar Feeder | 1034 | 2 | 840 | 2000020065
249 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1096 | 62 | 671580 | 2000020122
250 | KORBA TOWN | 11KV Ratakhar Mission Road Feeder | 1058 | 90 | 1938360 | 2000021425
251 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2101 | 8 | 19860 | 2000001430
252 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1326 | 10 | 49800 | 2000001427
253 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 12 | 17400 | 2000001424
254 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 28 | 23880 | 2000001423
255 | MUNGELI TOWN | 11 KV Colecter Feeder | 268 | 37 | 59940 | 2000006460
256 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1385 | 39 | 231180 | 2000006458
257 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 955 | 14 | 7080 | 2000002464
258 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1020 | 9 | 6180 | 2000002463
259 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2070 | 11 | 7500 | 2000002462
260 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1031 | 20 | 29820 | 2000003322
261 | RAIGARH TOWN | 11KV KOTWALI FEEDER | 1142 | 22 | 31260 | 2000003317
262 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1559 | 25 | 38520 | 2000003314
263 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 221 | 22 | 33540 | 2000003312
264 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1249 | 25 | 42000 | 2000003311
265 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 718 | 29 | 58440 | 2000003309
266 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1058 | 17 | 31620 | 2000003307
267 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1035 | 16 | 39000 | 2000003306
268 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 791 | 20 | 64440 | 2000003302
269 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1271 | 22 | 71400 | 2000003301
270 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 585 | 16 | 35640 | 2000016050
271 | RAIGARH TOWN | 11KV Baba Dham Feeder | 841 | 16 | 45420 | 2000016052
272 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 801 | 32 | 98880 | 2000016053
273 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 96 | 43 | 57360 | 2000016054
274 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 980 | 18 | 33000 | 2000016055
275 | RAIGARH TOWN | 11kv Collectred Feeder | 81 | 30 | 57420 | 2000016056
276 | RAIGARH TOWN | 11 KV Gerwani feeder | 1662 | 34 | 110580 | 2000016185
277 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 377 | 19 | 59100 | 2000017956
278 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1644 | 1 | 2760 | 2000017958
279 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 339 | 15 | 30960 | 2000020754
280 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 901 | 15 | 32820 | 2000020755
281 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 622 | 15 | 31140 | 2000020756
282 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 682 | 14 | 21060 | 2000021639
283 | RAIGARH TOWN | 11 KV Shriram feeder | 819 | 8 | 10320 | 2000022940
284 | RAIGARH TOWN | 11 KV Stadium feeder | 593 | 16 | 23640 | 2000022941
285 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 342 | 32 | 44460 | 2000010583
286 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1057 | 10 | 18540 | 2000010585
287 | RAIPUR TOWN | 11KV CITY FEEDER | 2267 | 15 | 4740 | 2000010587
288 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1355 | 21 | 24360 | 2000010588
289 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 947 | 18 | 21180 | 2000010589
290 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 764 | 18 | 17580 | 2000010591
291 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 269 | 21 | 14400 | 2000010592
292 | RAIPUR TOWN | 11KV MLA FEEDER | 1057 | 27 | 31560 | 2000010595
293 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 10 | 13500 | 2000010596
294 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 765 | 13 | 17280 | 2000010598
295 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 825 | 7 | 14280 | 2000010601
296 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1042 | 11 | 18660 | 2000010603
297 | RAIPUR TOWN | 11KV ATARI FEEDER | 751 | 21 | 32400 | 2000010604
298 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 277 | 24 | 43560 | 2000010605
299 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 730 | 10 | 4620 | 2000010606
300 | RAIPUR TOWN | 11KV BASTAL FEEDER | 602 | 43 | 68760 | 2000010610
301 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1559 | 15 | 22860 | 2000010611
302 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 963 | 8 | 9240 | 2000010613
303 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 134 | 17 | 63540 | 2000010615
304 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 11 | 5940 | 2000010616
305 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1822 | 14 | 24900 | 2000010618
306 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1603 | 17 | 11160 | 2000010622
307 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 839 | 27 | 32100 | 2000010624
308 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 87 | 18 | 10620 | 2000010625
309 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1678 | 31 | 33780 | 2000010628
310 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2282 | 10 | 21360 | 2000010631
311 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1851 | 13 | 6000 | 2000010632
312 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1629 | 18 | 37140 | 2000010634
313 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 741 | 30 | 23640 | 2000010638
314 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 18 | 9540 | 2000010641
315 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 728 | 30 | 33300 | 2000010642
316 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 481 | 11 | 4560 | 2000010647
317 | RAIPUR TOWN | 11KV KHARUN FEEDER | 985 | 31 | 22080 | 2000010649
318 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1463 | 23 | 40080 | 2000010650
319 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1115 | 18 | 12900 | 2000010653
320 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1981 | 19 | 15420 | 2000010656
321 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 446 | 21 | 23460 | 2000010657
322 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 534 | 21 | 29220 | 2000010658
323 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 49 | 18 | 14520 | 2000010660
324 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1576 | 13 | 6960 | 2000010661
325 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 770 | 15 | 21720 | 2000010666
326 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1735 | 18 | 14460 | 2000010668
327 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 531 | 19 | 11400 | 2000010670
328 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 906 | 15 | 21660 | 2000010671
329 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1252 | 22 | 11220 | 2000010672
330 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5375 | 26 | 28140 | 2000010674
331 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4057 | 16 | 16920 | 2000010675
332 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 17 | 10860 | 2000010676
333 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 525 | 21 | 36420 | 2000010677
334 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2077 | 22 | 9720 | 2000010680
335 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 388 | 14 | 11160 | 2000010686
336 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 251 | 13 | 18300 | 2000010688
337 | RAIPUR TOWN | 11KV RDA FEEDER | 839 | 16 | 23100 | 2000010689
338 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 350 | 13 | 17580 | 2000010690
339 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 18 | 11100 | 2000010694
340 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1566 | 13 | 19560 | 2000010695
341 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1804 | 21 | 22080 | 2000010696
342 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1319 | 22 | 23340 | 2000010699
343 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2521 | 14 | 8760 | 2000010700
344 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 807 | 25 | 25320 | 2000010701
345 | RAIPUR TOWN | 11KV SAMTA FEEDER | 544 | 8 | 11760 | 2000010704
346 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 379 | 12 | 16380 | 2000010706
347 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 484 | 23 | 16500 | 2000010707
348 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 892 | 16 | 15960 | 2000010708
349 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2386 | 22 | 20340 | 2000010709
350 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 295 | 37 | 41220 | 2000010713
351 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 976 | 31 | 55260 | 2000010714
352 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1419 | 18 | 93960 | 2000010717
353 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2641 | 38 | 45780 | 2000010722
354 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 704 | 13 | 8040 | 2000010725
355 | RAIPUR TOWN | 11KV TV FEEDER | 2879 | 17 | 30480 | 2000010728
356 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1166 | 24 | 26700 | 2000010729
357 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 423 | 14 | 9000 | 2000010732
358 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 21 | 11 | 8160 | 2000010733
359 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 507 | 32 | 55020 | 2000010739
360 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2086 | 19 | 14460 | 2000010741
361 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 18 | 16860 | 2000010742
362 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 19 | 15420 | 2000010743
363 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2063 | 11 | 594840 | 2000017238
364 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 901 | 30 | 123900 | 2000017256
365 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2193 | 43 | 37680 | 2000017261
366 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1037 | 13 | 52440 | 2000017508
367 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2415 | 34 | 281760 | 2000017567
368 | RAIPUR TOWN | 11KV WHITE HOUSE | 556 | 9 | 138120 | 2000017568
369 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 591 | 6 | 17880 | 2000017569
370 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 978 | 19 | 26700 | 2000017576
371 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 637 | 19 | 30240 | 2000017590
372 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1908 | 23 | 42780 | 2000017600
373 | RAIPUR TOWN | 11KV Medical College Feeder | 15 | 29 | 41460 | 2000017607
374 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1690 | 18 | 15240 | 2000017608
375 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1510 | 16 | 104880 | 2000017611
376 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 7 | 4080 | 2000017613
377 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 322 | 14 | 30000 | 2000017617
378 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1785 | 27 | 32340 | 2000017621
379 | RAIPUR TOWN | 11KV Chandadih Feeder | 632 | 13 | 174780 | 2000017623
380 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 590 | 18 | 25860 | 2000017624
381 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 864 | 5 | 2160 | 2000017628
382 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 651 | 21 | 13800 | 2000017671
383 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 178 | 20 | 11520 | 2000017673
384 | RAIPUR TOWN | 11KV Suraj Nagar | 1095 | 23 | 79020 | 2000017690
385 | RAIPUR TOWN | 11KV Roman Square | 461 | 20 | 30900 | 2000017691
386 | RAIPUR TOWN | 11KV Krishak Nagar | 173 | 11 | 20460 | 2000017692
387 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 918 | 1 | 960 | 2000017771
388 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1271 | 13 | 25920 | 2000017772
389 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 611 | 13 | 19200 | 2000017773
390 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2838 | 28 | 22860 | 2000017808
391 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 396 | 23 | 39120 | 2000017817
392 | RAIPUR TOWN | 11 KV Station Road Feeder | 838 | 30 | 76620 | 2000017867
393 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1923 | 2 | 10680 | 2000017868
394 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1366 | 31 | 38280 | 2000017870
395 | RAIPUR TOWN | 11 KV Acre PlotFeeder | 253 | 3 | 6600 | 2000017871
396 | RAIPUR TOWN | 11KV NAVEEN MARKET | 861 | 28 | 198060 | 2000017953
397 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2677 | 14 | 83160 | 2000017954
398 | RAIPUR TOWN | 11KV MG ROAD | 1575 | 16 | 16860 | 2000017955
399 | RAIPUR TOWN | 11KV Son Dongari Feeder | 952 | 8 | 7380 | 2000017962
400 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 293 | 32 | 28620 | 2000018004
401 | RAIPUR TOWN | 11KV Saddu Feeder | 290 | 42 | 31680 | 2000018005
402 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1184 | 43 | 31320 | 2000018006
403 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 40 | 29640 | 2000018359
404 | RAIPUR TOWN | 11KV Dental College Feeder | 33 | 24 | 10680 | 2000018378
405 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 952 | 16 | 27240 | 2000018394
406 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 587 | 12 | 6360 | 2000018396
407 | RAIPUR TOWN | 11KV IGVP | 357 | 16 | 12000 | 2000018397
408 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 337 | 16 | 65100 | 2000018416
409 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2512 | 28 | 18240 | 2000018949
410 | RAIPUR TOWN | 11KV Gondwara Feeder | 420 | 64 | 125940 | 2000019179
411 | RAIPUR TOWN | 11KV Gogaon Feeder | 2981 | 21 | 51660 | 2000019180
412 | RAIPUR TOWN | 11KV Jivnani Feeder | 461 | 21 | 12180 | 2000019185
413 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1830 | 23 | 15300 | 2000019186
414 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1933 | 60 | 69420 | 2000019334
415 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 295 | 19 | 32760 | 2000019340
416 | RAIPUR TOWN | 11KV SapreSala Feeder | 893 | 19 | 11460 | 2000019485
417 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1072 | 40 | 40740 | 2000019530
418 | RAIPUR TOWN | 11KV Ashiyana Feeder | 647 | 13 | 34200 | 2000019697
419 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 61 | 12 | 89760 | 2000019852
420 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1691 | 17 | 18540 | 2000019857
421 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1908 | 15 | 19500 | 2000020009
422 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2628 | 32 | 64320 | 2000020119
423 | RAIPUR TOWN | 11KV Station Road Feeder | 327 | 17 | 53100 | 2000020130
424 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 102 | 16 | 35220 | 2000020131
425 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 6 | 13620 | 2000020132
426 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 347 | 7 | 5400 | 2000020193
427 | RAIPUR TOWN | 11KV Medishine Feeder | 969 | 17 | 12120 | 2000020194
428 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2418 | 35 | 38340 | 2000020581
429 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1565 | 28 | 52680 | 2000021219
430 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1228 | 35 | 43620 | 2000021220
431 | RAIPUR TOWN | 11KV Parsuram Feeder | 1345 | 21 | 41760 | 2000021221
432 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 623 | 12 | 16200 | 2000021286
433 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1107 | 10 | 22080 | 2000021287
434 | RAIPUR TOWN | 11KV BORIYA Feeder | 784 | 33 | 33420 | 2000021424
435 | RAIPUR TOWN | 11KV OM Complex Feeder | 1317 | 12 | 37560 | 2000021615
436 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 2053 | 34 | 80520 | 2000022077
437 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 816 | 26 | 55980 | 2000022078
438 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1309 | 26 | 41220 | 2000022079
439 | RAIPUR TOWN | 11KV Naharpara Feeder | 1385 | 24 | 90540 | 2000023680
440 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1368 | 5 | 6360 | 2000023735
441 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 125 | 13 | 26760 | 2000023736
442 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1533 | 13 | 24420 | 2000023772
443 | RAIPUR TOWN | 11KV Amar Palace Feeder | 434 | 4 | 5280 | 2000023848
444 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1400 | 10 | 63060 | 2000026582
445 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 927 | 4 | 47820 | 2000026583
446 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 980 | 10 | 81780 | 2000026584
447 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 255 | 19 | 22860 | 2000026586
448 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 668 | 16 | 31500 | 2000034423
449 | RAIPUR TOWN | 11KV Pride Feeder | 54 | 17 | 21780 | 2000039215
450 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 801 | 31 | 16920 | 2000001955
451 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4284 | 14 | 13140 | 2000001956
452 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 25 | 24 | 27060 | 2000001960
453 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 783 | 17 | 13800 | 2000001962
454 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2709 | 15 | 8520 | 2000001963
455 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 220 | 44 | 36600 | 2000001965
456 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2627 | 10 | 5640 | 2000001967
457 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 962 | 4 | 1140 | 2000001968
458 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 935 | 16 | 7800 | 2000001978
459 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2256 | 31 | 33780 | 2000001979
460 | RAJNANDGAON TOWN | 11 KV Litiya Feeder | 1 | 37 | 38640 | 2000014955
461 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 3375 | 22 | 13860 | 2000006488
462 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 674 | 9 | 11580 | 2000015448