## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jan'20
Period: |  | 1st Dec'19 to 31st Dec'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 324
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 16 | 32880 | 2000015334
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 290 | 6 | 8700 | 2000003841
3 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 31 | 13 | 19920 | 2000014959
4 | AMBIKAPUR TOWN | 11KV DCROAD | 2087 | 8 | 9120 | 2000014951
5 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 716 | 9 | 104160 | 2000003848
6 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1978 | 12 | 20700 | 2000003850
7 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1624 | 10 | 10080 | 2000003853
8 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 281 | 22 | 15300 | 2000001007
9 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1371 | 1 | 0 | 2000001008
10 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1371 | 32 | 9720 | 2000001009
11 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 2302 | 6 | 9540 | 2000001012
12 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 648 | 3 | 1680 | 2000001013
13 | BHATAPARA TOWN | 11KV KHOKHLI FEEDER | 616 | 3 | 4920 | 2000006378
14 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 571 | 9 | 10920 | 2000006377
15 | BHATAPARA TOWN | 11KV HATARI BAZAR 11KV FEEDER | 1907 | 7 | 17700 | 2000006376
16 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 775 | 12 | 11880 | 2000006347
17 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 180 | 7 | 10680 | 2000022031
18 | BHATAPARA TOWN | 11KV COLONY FEEDER | 34 | 20 | 56640 | 2000004255
19 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1931 | 4 | 2580 | 2000004869
20 | BILASPUR TOWN | 11KV DHEKA FEEDER | 363 | 6 | 19440 | 2000004877
21 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 558 | 7 | 17520 | 2000004879
22 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1239 | 12 | 15300 | 2000004881
23 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3491 | 9 | 11880 | 2000004882
24 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1348 | 8 | 7800 | 2000004883
25 | BILASPUR TOWN | 11KV HARDIFEEDER | 1246 | 26 | 29640 | 2000004885
26 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2641 | 9 | 15240 | 2000004889
27 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 3 | 161220 | 2000004890
28 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 607 | 5 | 4920 | 2000004892
29 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1 | 8 | 5820 | 2000004894
30 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 2 | 26 | 82980 | 2000004897
31 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1256 | 9 | 17400 | 2000004900
32 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2717 | 21 | 27360 | 2000004901
33 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4527 | 8 | 8040 | 2000004909
34 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1221 | 14 | 16920 | 2000004911
35 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1760 | 7 | 4140 | 2000004912
36 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1951 | 20 | 43500 | 2000004913
37 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2542 | 6 | 21480 | 2000004914
38 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3416 | 15 | 21480 | 2000004920
39 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 386 | 4 | 2280 | 2000004923
40 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 768 | 10 | 7080 | 2000004924
41 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1173 | 6 | 12480 | 2000016310
42 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1157 | 23 | 21120 | 2000016311
43 | BILASPUR TOWN | 11KV NEW MOPKA | 1480 | 8 | 17520 | 2000017224
44 | BILASPUR TOWN | 11KV SHIVAM CITY | 1750 | 4 | 9780 | 2000017225
45 | BILASPUR TOWN | 11KV MAHAVEER CITY | 331 | 6 | 9420 | 2000017226
46 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 1 | 1080 | 2000017502
47 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2564 | 1 | 2280 | 2000017505
48 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 967 | 11 | 19860 | 2000017776
49 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 13 | 8340 | 2000017777
50 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 347 | 20 | 29880 | 2000017781
51 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1108 | 6 | 5700 | 2000018403
52 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2159 | 6 | 6000 | 2000018405
53 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 802 | 11 | 15840 | 2000018761
54 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1963 | 15 | 39060 | 2000018762
55 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 475 | 13 | 27840 | 2000018763
56 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 396 | 10 | 20580 | 2000020488
57 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1288 | 6 | 22500 | 2000020489
58 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1279 | 8 | 13860 | 2000020490
59 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 9 | 7560 | 2000020582
60 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 290 | 8 | 13560 | 2000022060
61 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 425 | 5 | 5340 | 2000022061
62 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 460 | 7 | 2700 | 2000023801
63 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 329 | 10 | 15300 | 2000023802
64 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 267 | 10 | 17760 | 2000001804
65 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 521 | 13 | 21300 | 2000001806
66 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2409 | 13 | 22320 | 2000001808
67 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1747 | 16 | 26580 | 2000001809
68 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 214 | 20 | 117720 | 2000015252
69 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 193 | 10 | 31320 | 2000006348
70 | DALLI RAJHARA TOWN | 11KV TOWN2 FEEDER | 2347 | 4 | 3120 | 2000003198
71 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5676 | 9 | 5940 | 2000003197
72 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2065 | 10 | 37740 | 2000003196
73 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1255 | 2 | 1500 | 2000003195
74 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1683 | 14 | 16620 | 2000003194
75 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 444 | 3 | 5160 | 2000015505
76 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 7 | 6120 | 2000002577
77 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 2 | 6480 | 2000002573
78 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2072 | 2 | 1020 | 2000002571
79 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 38 | 119160 | 2000002567
80 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 351 | 9 | 18300 | 2000004308
81 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1591 | 9 | 28080 | 2000007687
82 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 2286 | 6 | 33000 | 2000007694
83 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 1997 | 5 | 15120 | 2000007712
84 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 784 | 3 | 7740 | 2000007717
85 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3438 | 10 | 48720 | 2000007728
86 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 651 | 10 | 1380 | 2000007731
87 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1853 | 2 | 1440 | 2000007734
88 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 778 | 6 | 3360 | 2000007735
89 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2427 | 4 | 10140 | 2000007742
90 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1316 | 1 | 420 | 2000007750
91 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1939 | 9 | 6180 | 2000007754
92 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2172 | 2 | 1920 | 2000007757
93 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1435 | 7 | 22020 | 2000007762
94 | DURG BHILAI CHARODA TOWN | 11KV TALPURI1 FEEDER | 227 | 3 | 2220 | 2000007763
95 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1219 | 1 | 2280 | 2000007776
96 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 2116 | 1 | 600 | 2000007780
97 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1170 | 7 | 6060 | 2000017055
98 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1066 | 9 | 10320 | 2000017056
99 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 780 | 3 | 2160 | 2000017057
100 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 927 | 3 | 2160 | 2000017058
101 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2098 | 6 | 9240 | 2000017059
102 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 521 | 3 | 2100 | 2000017060
103 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1063 | 5 | 3660 | 2000017061
104 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 589 | 1 | 420 | 2000017062
105 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1750 | 3 | 3180 | 2000017063
106 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2297 | 6 | 5460 | 2000017064
107 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1338 | 14 | 31260 | 2000017065
108 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1197 | 6 | 6900 | 2000017066
109 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 575 | 5 | 3780 | 2000017067
110 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2188 | 12 | 112620 | 2000017068
111 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 859 | 14 | 9960 | 2000017069
112 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2008 | 14 | 31080 | 2000017071
113 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2459 | 6 | 16800 | 2000018574
114 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 6 | 4380 | 2000018704
115 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1399 | 5 | 7140 | 2000018705
116 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1834 | 6 | 4260 | 2000018706
117 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 637 | 7 | 17880 | 2000018707
118 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 748 | 1 | 1380 | 2000019819
119 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1067 | 5 | 3660 | 2000020519
120 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3119 | 12 | 10140 | 2000021263
121 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1118 | 1 | 15180 | 2000021357
122 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3237 | 9 | 5160 | 2000023773
123 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 355 | 6 | 41040 | 2000025794
124 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 2 | 2880 | 2000027337
125 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1176 | 5 | 4200 | 2000029191
126 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1632 | 3 | 12660 | 2000029193
127 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1659 | 10 | 33840 | 2000049757
128 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 71 | 3 | 2760 | 2000049820
129 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1392 | 1 | 360 | 2000067876
130 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3510 | 1 | 360 | 2000067877
131 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 13 | 1 | 4080 | 2000068108
132 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 31 | 1 | 4080 | 2000068109
133 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 1 | 4020 | 2000068110
134 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2306 | 8 | 12600 | 2000004336
135 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2466 | 10 | 7680 | 2000004343
136 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3394 | 1 | 1860 | 2000004345
137 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3582 | 11 | 13560 | 2000004346
138 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3824 | 5 | 32040 | 2000004348
139 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1688 | 4 | 19500 | 2000015850
140 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1858 | 13 | 28680 | 2000006763
141 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 917 | 15 | 46680 | 2000006775
142 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1512 | 7 | 22260 | 2000006798
143 | KORBA TOWN | 11KV SEMIPALI | 446 | 20 | 27900 | 2000015240
144 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2162 | 14 | 26940 | 2000017804
145 | KORBA TOWN | 11KV MUDAPAR FEEDER | 983 | 11 | 20880 | 2000020065
146 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1077 | 14 | 34980 | 2000020122
147 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 8 | 24840 | 2000001425
148 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 13 | 72900 | 2000001426
149 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1772 | 2 | 6420 | 2000001427
150 | MAHASAMUND TOWN | 11KV TOWN-2 FEEDER | 4196 | 1 | 420 | 2000001429
151 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 779 | 6 | 147420 | 2000003055
152 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6032 | 7 | 9480 | 2000003057
153 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1461 | 1 | 1680 | 2000002463
154 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 908 | 3 | 9720 | 2000068276
155 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1832 | 14 | 16980 | 2000055675
156 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 149 | 9 | 7860 | 2000015467
157 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 104 | 23 | 37680 | 2000002458
158 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1858 | 6 | 11640 | 2000001622
159 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 109 | 8 | 17040 | 2000001623
160 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 198 | 3 | 960 | 2000001625
161 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 13 | 7020 | 2000001629
162 | NAILA JANJGIR TOWN | 11KV HOUSINGBOARD FEEDER2 | 677 | 3 | 960 | 2000018959
163 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1626 | 3 | 6540 | 2000003303
164 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1460 | 3 | 6420 | 2000003304
165 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1171 | 3 | 6480 | 2000003310
166 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2295 | 1 | 3660 | 2000003315
167 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1112 | 15 | 23160 | 2000016052
168 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 6 | 27480 | 2000016054
169 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1115 | 18 | 18660 | 2000016055
170 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 12 | 13500 | 2000016056
171 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 612 | 11 | 13020 | 2000016057
172 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 802 | 5 | 12060 | 2000021639
173 | RAIGARH TOWN | 11KV STADIUM FEEDER | 672 | 8 | 15600 | 2000022941
174 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 549 | 11 | 19440 | 2000016184
175 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1809 | 11 | 19440 | 2000016185
176 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 420 | 1 | 22800 | 2000017956
177 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1772 | 1 | 22080 | 2000017958
178 | RAIPUR TOWN | 11KV ITI FEEDER | 300 | 7 | 33660 | 2000010581
179 | RAIPUR TOWN | 11KV KARBALA TALAB | 1297 | 2 | 1380 | 2000010585
180 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1445 | 2 | 18600 | 2000010588
181 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 914 | 7 | 3720 | 2000010589
182 | RAIPUR TOWN | 11KV GAD FEEDER | 769 | 12 | 9480 | 2000010590
183 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 811 | 7 | 4740 | 2000010591
184 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 387 | 7 | 13620 | 2000010592
185 | RAIPUR TOWN | 11KV MLA FEEDER | 1129 | 1 | 300 | 2000010595
186 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 2389 | 9 | 11820 | 2000010600
187 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1043 | 6 | 21960 | 2000010603
188 | RAIPUR TOWN | 11KV ATARI FEEDER | 893 | 5 | 6900 | 2000010604
189 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 142 | 4 | 18600 | 2000010615
190 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1521 | 1 | 2280 | 2000010621
191 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 912 | 3 | 2280 | 2000010624
192 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2287 | 1 | 1260 | 2000010632
193 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2344 | 2 | 1500 | 2000010640
194 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 757 | 2 | 4260 | 2000010642
195 | RAIPUR TOWN | 11KV KACHNA FEEDER | 252 | 6 | 44040 | 2000010646
196 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 778 | 2 | 1740 | 2000010651
197 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 922 | 1 | 420 | 2000010659
198 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 1 | 540 | 2000010660
199 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2277 | 9 | 14340 | 2000010662
200 | RAIPUR TOWN | 11KV LALBAG FEEDER | 929 | 5 | 12120 | 2000010665
201 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 786 | 4 | 1860 | 2000010666
202 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1604 | 2 | 660 | 2000010667
203 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 878 | 2 | 2580 | 2000010670
204 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 947 | 6 | 5940 | 2000010671
205 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3520 | 6 | 15660 | 2000010674
206 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 604 | 3 | 600 | 2000010677
207 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 475 | 1 | 480 | 2000010678
208 | RAIPUR TOWN | 11KV KBT FEEDER | 1259 | 7 | 23640 | 2000010682
209 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 434 | 8 | 12600 | 2000010686
210 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 637 | 1 | 360 | 2000010687
211 | RAIPUR TOWN | 11KV RDA FEEDER | 852 | 2 | 2820 | 2000010689
212 | RAIPUR TOWN | 11KV RING 2 FEEDER | 4045 | 1 | 780 | 2000010693
213 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2617 | 2 | 1560 | 2000010698
214 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3339 | 1 | 360 | 2000010702
215 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 500 | 1 | 2700 | 2000010707
216 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 971 | 2 | 660 | 2000010712
217 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 677 | 7 | 18480 | 2000010713
218 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1499 | 4 | 3360 | 2000010714
219 | RAIPUR TOWN | 11KV RDA FEEDER | 1867 | 3 | 2700 | 2000010717
220 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1 | 2 | 1860 | 2000010718
221 | RAIPUR TOWN | 11KV SARORA FEEDER | 975 | 2 | 660 | 2000010720
222 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 3660 | 1 | 840 | 2000010723
223 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1400 | 1 | 360 | 2000010725
224 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1317 | 9 | 13680 | 2000010726
225 | RAIPUR TOWN | 11KV TRANSPORT NAGAR FEEDER | 466 | 2 | 4440 | 2000010727
226 | RAIPUR TOWN | 11KV TOWN FEEDER | 2463 | 3 | 2220 | 2000010730
227 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2802 | 7 | 10800 | 2000010735
228 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2223 | 2 | 2700 | 2000010736
229 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2941 | 5 | 6240 | 2000010740
230 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 2713 | 6 | 27960 | 2000010744
231 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1242 | 2 | 780 | 2000017508
232 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 707 | 2 | 2040 | 2000017590
233 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1555 | 1 | 2700 | 2000017597
234 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2273 | 2 | 14580 | 2000017600
235 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1773 | 1 | 480 | 2000017608
236 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 788 | 5 | 8700 | 2000017609
237 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 2 | 15300 | 2000017613
238 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 858 | 3 | 1800 | 2000017628
239 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 801 | 1 | 480 | 2000017671
240 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1739 | 3 | 23820 | 2000017690
241 | RAIPUR TOWN | 11KV ROMAN SQUARE | 579 | 5 | 27720 | 2000017691
242 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 178 | 6 | 33720 | 2000017692
243 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 797 | 2 | 720 | 2000017721
244 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1077 | 1 | 300 | 2000017755
245 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1179 | 3 | 1680 | 2000017768
246 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1158 | 6 | 20940 | 2000017771
247 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1429 | 5 | 4800 | 2000017772
248 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 660 | 4 | 1800 | 2000017773
249 | RAIPUR TOWN | 11KV PURANI BASTI | 721 | 1 | 900 | 2000017817
250 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1154 | 2 | 2820 | 2000017867
251 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1952 | 1 | 960 | 2000017868
252 | RAIPUR TOWN | 11KV GANESH MANDIR | 229 | 1 | 960 | 2000017869
253 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1401 | 2 | 2820 | 2000017870
254 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 1 | 960 | 2000017871
255 | RAIPUR TOWN | 11KV NAVEEN MARKET | 883 | 1 | 900 | 2000017953
256 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2715 | 1 | 900 | 2000017954
257 | RAIPUR TOWN | 11KV MG ROAD | 1627 | 2 | 3780 | 2000017955
258 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1123 | 20 | 27720 | 2000017962
259 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 335 | 1 | 720 | 2000018004
260 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 2 | 1500 | 2000018005
261 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1465 | 2 | 1680 | 2000018006
262 | RAIPUR TOWN | 11KV MANDI | 650 | 2 | 1140 | 2000018020
263 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 370 | 3 | 23820 | 2000018359
264 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1459 | 3 | 960 | 2000018361
265 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 3 | 2880 | 2000018378
266 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 359 | 2 | 1200 | 2000018398
267 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 474 | 2 | 720 | 2000018416
268 | RAIPUR TOWN | 11KV VARUN FEEDER | 1124 | 6 | 4920 | 2000019179
269 | RAIPUR TOWN | 11KV HEERA FEEDER | 3030 | 6 | 6180 | 2000019180
270 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 642 | 3 | 1620 | 2000019181
271 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1331 | 8 | 6480 | 2000019186
272 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1243 | 3 | 7200 | 2000019340
273 | RAIPUR TOWN | 11KV CTI FEEDER | 255 | 3 | 2040 | 2000019342
274 | RAIPUR TOWN | 11KV PS CITY | 1289 | 9 | 13500 | 2000019530
275 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 722 | 3 | 6660 | 2000019697
276 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1806 | 2 | 3600 | 2000019857
277 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2106 | 2 | 2460 | 2000020009
278 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1668 | 6 | 7860 | 2000020119
279 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1215 | 3 | 7200 | 2000020120
280 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 2 | 9900 | 2000020123
281 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 19 | 3 | 14160 | 2000020130
282 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 176 | 2 | 1560 | 2000020131
283 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 2 | 1620 | 2000020132
284 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3507 | 3 | 1920 | 2000020153
285 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1033 | 4 | 21240 | 2000020194
286 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1714 | 2 | 1200 | 2000021219
287 | RAIPUR TOWN | 11KV TARUN NAGAR | 1776 | 2 | 2040 | 2000021221
288 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 753 | 2 | 1920 | 2000021286
289 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1395 | 1 | 1020 | 2000021287
290 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1466 | 5 | 6240 | 2000021615
291 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1372 | 1 | 960 | 2000022077
292 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 813 | 1 | 900 | 2000022078
293 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1360 | 1 | 900 | 2000022079
294 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1418 | 3 | 1560 | 2000023680
295 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 135 | 2 | 720 | 2000023736
296 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1645 | 6 | 7380 | 2000023772
297 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1115 | 1 | 3720 | 2000024395
298 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 1 | 1860 | 2000026462
299 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1067 | 1 | 300 | 2000026584
300 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1270 | 1 | 600 | 2000026586
301 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 138 | 2 | 2820 | 2000029195
302 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1318 | 5 | 6960 | 2000034421
303 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 744 | 4 | 7200 | 2000034423
304 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2573 | 4 | 2460 | 2000034760
305 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 339 | 5 | 5820 | 2000034761
306 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1731 | 7 | 6000 | 2000034762
307 | RAIPUR TOWN | 11KV PRIDE FEEDER | 174 | 2 | 720 | 2000039215
308 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 21 | 1 | 4740 | 2000046448
309 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 898 | 1 | 900 | 2000046477
310 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 141 | 1 | 1080 | 2000068159
311 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 199 | 3 | 4200 | 2000070080
312 | RAIPUR TOWN | 11KV C&F FEEDER | 24 | 4 | 4680 | 2000070702
313 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 26 | 4 | 4740 | 2000070703
314 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1025 | 2 | 1440 | 2000070747
315 | RAIPUR TOWN | 11KV BANA FEEDER | 1080 | 6 | 12540 | 2000071633
316 | RAIPUR TOWN | 11KV KARA FEEDER | 401 | 8 | 10740 | 2000071634
317 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 547 | 2 | 1740 | 2000001977
318 | RAJNANDGAON TOWN | 11KV PST FEEDER | 1920 | 1 | 360 | 2000001975
319 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1714 | 1 | 300 | 2000001972
320 | RAJNANDGAON TOWN | 11KV INDHAMARA(RURAL)FEEDER | 901 | 3 | 4860 | 2000001965
321 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2341 | 1 | 300 | 2000001962
322 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 820 | 2 | 4800 | 2000001959
323 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 1999 | 5 | 5220 | 2000069535
324 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1762 | 2 | 4800 | 2000069844