## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Mar'19
Period: |  | 1st Feb'19 to 28th Feb'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 462
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 133 | 37 | 82980 | 2000015334
2 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 332 | 7 | 7140 | 2000014961
3 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1198 | 20 | 22560 | 2000014960
4 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 14 | 112260 | 2000014959
5 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1476 | 15 | 19500 | 2000014951
6 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 731 | 10 | 15120 | 2000006627
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1216 | 20 | 44280 | 2000003854
8 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2524 | 12 | 121440 | 2000003848
9 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 199 | 18 | 25080 | 2000003845
10 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 220 | 7 | 6600 | 2000003841
11 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1215 | 18 | 22260 | 2000003840
12 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 255 | 10 | 5760 | 2000001013
13 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1851 | 7 | 3840 | 2000001012
14 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 556 | 13 | 4860 | 2000001011
15 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1185 | 10 | 4380 | 2000001009
16 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1056 | 37 | 101040 | 2000001008
17 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 928 | 23 | 114540 | 2000001006
18 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 6 | 49200 | 2000001005
19 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3132 | 9 | 73920 | 2000001004
20 | BHATAPARA TOWN | 11KV MANDI FEEDER | 1482 | 1 | 2760 | 2000001003
21 | BHATAPARA TOWN | 11KV COLONY FEEDER | 32 | 12 | 4560 | 2000004255
22 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 635 | 11 | 16260 | 2000006347
23 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1417 | 3 | 6300 | 2000006376
24 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 398 | 7 | 10380 | 2000006377
25 | BHATAPARA TOWN | 11KV ATAL JYOTI | 37 | 35 | 569280 | 2000014962
26 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 183 | 12 | 6240 | 2000022031
27 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1521 | 44 | 64500 | 2000004868
28 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1823 | 1 | 27480 | 2000004870
29 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1584 | 37 | 33780 | 2000004871
30 | BILASPUR TOWN | 11KV DHEKA FEEDER | 269 | 9 | 33540 | 2000004877
31 | BILASPUR TOWN | 11KV DHUMA FEEDER | 657 | 75 | 108120 | 2000004878
32 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 367 | 10 | 34860 | 2000004879
33 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2778 | 24 | 52200 | 2000004882
34 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1274 | 31 | 27840 | 2000004883
35 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1671 | 19 | 20940 | 2000004884
36 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2542 | 38 | 54540 | 2000004889
37 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1208 | 22 | 149760 | 2000004891
38 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 578 | 18 | 51420 | 2000004892
39 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2686 | 18 | 15180 | 2000004893
40 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2066 | 31 | 43620 | 2000004896
41 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 42 | 79920 | 2000004897
42 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1044 | 19 | 55560 | 2000004900
43 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 137 | 9 | 24840 | 2000004903
44 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2301 | 7 | 7500 | 2000004904
45 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 742 | 5 | 22920 | 2000004908
46 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3696 | 8 | 9480 | 2000004909
47 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1060 | 32 | 35220 | 2000004911
48 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1556 | 1 | 3660 | 2000004912
49 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1794 | 17 | 18540 | 2000004913
50 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2349 | 10 | 4920 | 2000004914
51 | BILASPUR TOWN | 11KV RULER FEEDER | 1512 | 11 | 40140 | 2000004916
52 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2020 | 7 | 5460 | 2000004917
53 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1337 | 9 | 4680 | 2000004919
54 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 50 | 39060 | 2000004923
55 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3805 | 13 | 21480 | 2000004926
56 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 705 | 20 | 49380 | 2000016310
57 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 756 | 26 | 59700 | 2000016311
58 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 842 | 15 | 17340 | 2000016314
59 | BILASPUR TOWN | 11 KV NEW MOPKA | 819 | 34 | 47940 | 2000017224
60 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1236 | 15 | 21120 | 2000017225
61 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 208 | 13 | 21900 | 2000017226
62 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 168 | 30 | 51480 | 2000017505
63 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 1 | 19 | 34140 | 2000017776
64 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 312 | 39 | 51360 | 2000017780
65 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 37 | 35940 | 2000017781
66 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1001 | 26 | 23640 | 2000018403
67 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 774 | 25 | 46560 | 2000018761
68 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1670 | 12 | 32640 | 2000018762
69 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 433 | 21 | 14760 | 2000018763
70 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 379 | 34 | 28980 | 2000020488
71 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1200 | 35 | 154200 | 2000020489
72 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1106 | 39 | 433920 | 2000020490
73 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 919 | 32 | 53820 | 2000020582
74 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 198 | 16 | 34740 | 2000022060
75 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 337 | 34 | 77880 | 2000023801
76 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 273 | 2 | 3360 | 2000023802
77 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 330 | 1 | 960 | 2000001806
78 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 901 | 7 | 22200 | 2000001813
79 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5535 | 25 | 42480 | 2000003197
80 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1985 | 6 | 38940 | 2000003196
81 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 966 | 20 | 23520 | 2000003195
82 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 18 | 29700 | 2000002566
83 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1337 | 8 | 24600 | 2000002569
84 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3931 | 5 | 29220 | 2000002570
85 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 12 | 22260 | 2000002573
86 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 996 | 21 | 15780 | 2000002574
87 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1024 | 17 | 11580 | 2000002576
88 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3179 | 44 | 35100 | 2000002578
89 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2536 | 26 | 13380 | 2000002579
90 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1669 | 9 | 13800 | 2000001295
91 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 732 | 18 | 13800 | 2000001298
92 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1077 | 6 | 5220 | 2000001299
93 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 942 | 22 | 17520 | 2000001301
94 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2426 | 6 | 5520 | 2000001302
95 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3457 | 10 | 4800 | 2000001303
96 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 733 | 11 | 4200 | 2000007685
97 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2338 | 11 | 8460 | 2000007686
98 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 700 | 37 | 82380 | 2000007687
99 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 11 | 3600 | 2000007688
100 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1038 | 17 | 29580 | 2000007689
101 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1758 | 10 | 17340 | 2000007694
102 | DURG BHILAI CHARODA TOWN | 11KV BALAJI NAGAR FEEDER | 1094 | 1 | 9900 | 2000007695
103 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3351 | 6 | 2280 | 2000007696
104 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 849 | 12 | 7920 | 2000007697
105 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2881 | 20 | 17820 | 2000007701
106 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 987 | 10 | 3960 | 2000007702
107 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1030 | 10 | 3540 | 2000007703
108 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3937 | 14 | 34740 | 2000007705
109 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 956 | 16 | 19200 | 2000007708
110 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1545 | 21 | 41220 | 2000007709
111 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1810 | 6 | 2040 | 2000007711
112 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 453 | 8 | 2280 | 2000007712
113 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 636 | 11 | 39120 | 2000007713
114 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1317 | 18 | 17100 | 2000007714
115 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 965 | 20 | 37260 | 2000007715
116 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 662 | 16 | 9420 | 2000007716
117 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 616 | 12 | 36360 | 2000007717
118 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1475 | 8 | 19500 | 2000007718
119 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1836 | 13 | 86460 | 2000007719
120 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 819 | 8 | 13560 | 2000007720
121 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1540 | 2 | 1500 | 2000007721
122 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1884 | 8 | 3360 | 2000007723
123 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1313 | 8 | 6300 | 2000007724
124 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1141 | 42 | 42000 | 2000007728
125 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 712 | 12 | 5760 | 2000007729
126 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 499 | 6 | 540 | 2000007731
127 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 6 | 2820 | 2000007733
128 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 593 | 9 | 28920 | 2000007735
129 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1242 | 19 | 48780 | 2000007738
130 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 738 | 17 | 7740 | 2000007739
131 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 880 | 7 | 33240 | 2000007740
132 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1506 | 8 | 4800 | 2000007741
133 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1113 | 12 | 5580 | 2000007744
134 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 501 | 19 | 35280 | 2000007747
135 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1089 | 13 | 75960 | 2000007748
136 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 518 | 6 | 5040 | 2000007749
137 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1122 | 20 | 31560 | 2000007751
138 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3177 | 9 | 30960 | 2000007752
139 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1891 | 12 | 4020 | 2000007754
140 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 260 | 12 | 47400 | 2000007755
141 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 411 | 7 | 19800 | 2000007756
142 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1664 | 13 | 2820 | 2000007757
143 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1146 | 15 | 6180 | 2000007758
144 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3158 | 19 | 26640 | 2000007759
145 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2527 | 15 | 25080 | 2000007760
146 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1343 | 48 | 137820 | 2000007762
147 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 213 | 6 | 1500 | 2000007763
148 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 349 | 2 | 660 | 2000007764
149 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 230 | 2 | 660 | 2000007765
150 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 266 | 2 | 660 | 2000007766
151 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 737 | 2 | 660 | 2000007767
152 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1341 | 2 | 900 | 2000007768
153 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2198 | 20 | 41460 | 2000007769
154 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1788 | 32 | 20340 | 2000007770
155 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1218 | 14 | 11820 | 2000007771
156 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1271 | 26 | 17640 | 2000007773
157 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1314 | 23 | 122400 | 2000007776
158 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1283 | 16 | 57480 | 2000007777
159 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 365 | 15 | 7260 | 2000007778
160 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 801 | 9 | 6120 | 2000007779
161 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1434 | 5 | 4140 | 2000007780
162 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1789 | 19 | 29220 | 2000007781
163 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1513 | 16 | 14940 | 2000007782
164 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2580 | 17 | 81000 | 2000016998
165 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1518 | 16 | 33360 | 2000017001
166 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 457 | 14 | 12360 | 2000017044
167 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 22 | 13500 | 2000017045
168 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1241 | 36 | 307020 | 2000017054
169 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1053 | 13 | 6420 | 2000017055
170 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 935 | 4 | 4320 | 2000017056
171 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 476 | 14 | 88500 | 2000017057
172 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1053 | 19 | 114000 | 2000017058
173 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1891 | 19 | 73740 | 2000017059
174 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 569 | 5 | 52740 | 2000017060
175 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 1011 | 8 | 27780 | 2000017061
176 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 571 | 19 | 16620 | 2000017062
177 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1696 | 2 | 2340 | 2000017064
178 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1099 | 47 | 29340 | 2000017065
179 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1073 | 32 | 136560 | 2000017066
180 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 625 | 42 | 23040 | 2000017069
181 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1928 | 46 | 28500 | 2000017071
182 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 391 | 21 | 12720 | 2000017076
183 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2435 | 34 | 38520 | 2000018574
184 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 294 | 41 | 40680 | 2000018704
185 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1355 | 12 | 14460 | 2000018705
186 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1760 | 16 | 16620 | 2000018706
187 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 619 | 35 | 34440 | 2000018707
188 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1401 | 8 | 38940 | 2000018723
189 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 49 | 19 | 42180 | 2000018987
190 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 220 | 17 | 186000 | 2000019819
191 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 966 | 12 | 9720 | 2000020519
192 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3261 | 8 | 9780 | 2000021263
193 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1218 | 9 | 6840 | 2000021264
194 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1028 | 6 | 59580 | 2000021357
195 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2737 | 27 | 41760 | 2000023773
196 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 340 | 26 | 36180 | 2000025794
197 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 42 | 122880 | 2000027337
198 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1661 | 48 | 59040 | 2000029193
199 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 162 | 18 | 13740 | 2000004329
200 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1544 | 11 | 14580 | 2000004330
201 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 2 | 960 | 2000004331
202 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1964 | 5 | 29700 | 2000017872
203 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 6 | 31440 | 2000004347
204 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1581 | 12 | 7620 | 2000004344
205 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1764 | 8 | 7320 | 2000004332
206 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 301 | 5 | 2580 | 2000004333
207 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 855 | 5 | 29880 | 2000004334
208 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1037 | 25 | 21600 | 2000004339
209 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2202 | 11 | 7620 | 2000004338
210 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1363 | 6 | 2460 | 2000004336
211 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1271 | 9 | 34500 | 2000004335
212 | KANKER TOWN | 11KV KESHKAL FEEDER | 202 | 12 | 23280 | 2000002907
213 | KANKER TOWN | 11KV PATOD FEEDER | 1789 | 4 | 7380 | 2000002909
214 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2808 | 8 | 4860 | 2000002910
215 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1517 | 3 | 2760 | 2000015850
216 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1025 | 11 | 25800 | 2000001051
217 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2956 | 18 | 21720 | 2000001055
218 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 20 | 87960 | 2000006490
219 | KORBA TOWN | 11KV ABC FEEDER | 1532 | 3 | 22740 | 2000006759
220 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2377 | 60 | 1080180 | 2000006761
221 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 35 | 96780 | 2000006762
222 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 82 | 163200 | 2000006764
223 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 66 | 1034400 | 2000006770
224 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2804 | 25 | 63420 | 2000006778
225 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 770 | 20 | 94320 | 2000006782
226 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1299 | 9 | 28800 | 2000006783
227 | KORBA TOWN | 11KV NIHARIKA FEEDER | 710 | 9 | 90900 | 2000006784
228 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 706 | 42 | 197940 | 2000006787
229 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1152 | 38 | 141360 | 2000020122
230 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 372 | 34 | 158580 | 2000017805
231 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 68 | 20 | 70440 | 2000017790
232 | KORBA TOWN | 11KV PARSABADA FEEDER | 1386 | 39 | 82380 | 2000006789
233 | KORBA TOWN | 11KV SARMANGLA FEEDER | 712 | 35 | 186900 | 2000006794
234 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1177 | 21 | 84960 | 2000006798
235 | KORBA TOWN | 11KV TOWN-1 FEEDER | 710 | 5 | 24420 | 2000015220
236 | KORBA TOWN | 11KV RP NAGAR FEEDER | 811 | 14 | 36120 | 2000016912
237 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2112 | 24 | 14700 | 2000001423
238 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2100 | 13 | 201240 | 2000001430
239 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1314 | 5 | 9420 | 2000001427
240 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 770 | 22 | 70920 | 2000001426
241 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 644 | 12 | 12540 | 2000001425
242 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2347 | 11 | 12360 | 2000001424
243 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 581 | 18 | 28740 | 2000006460
244 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1821 | 15 | 10140 | 2000006458
245 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 1304 | 28 | 18420 | 2000002464
246 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1416 | 25 | 14580 | 2000002463
247 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2432 | 40 | 37260 | 2000002462
248 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1288 | 35 | 34080 | 2000003301
249 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 787 | 34 | 25080 | 2000003302
250 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1030 | 15 | 28860 | 2000003306
251 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1022 | 26 | 55920 | 2000003322
252 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1584 | 34 | 37200 | 2000017958
253 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 372 | 33 | 29340 | 2000017956
254 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 676 | 16 | 50880 | 2000021639
255 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 13 | 15780 | 2000020754
256 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 899 | 17 | 27180 | 2000020755
257 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1054 | 20 | 24720 | 2000003307
258 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 619 | 12 | 17460 | 2000020756
259 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 592 | 35 | 91680 | 2000022941
260 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 39 | 35040 | 2000003314
261 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 24 | 33360 | 2000003312
262 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1242 | 27 | 24900 | 2000003311
263 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1651 | 28 | 44340 | 2000016185
264 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 80 | 10 | 26100 | 2000016056
265 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 968 | 17 | 45120 | 2000016055
266 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 24 | 19200 | 2000016054
267 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 791 | 24 | 43680 | 2000016053
268 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 835 | 24 | 51960 | 2000016052
269 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1017 | 22 | 24720 | 2000016051
270 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 585 | 24 | 19860 | 2000016050
271 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 716 | 17 | 48120 | 2000003309
272 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1406 | 1 | 900 | 2000010582
273 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 357 | 15 | 47160 | 2000010583
274 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1227 | 12 | 6300 | 2000010585
275 | RAIPUR TOWN | 11KV CITY FEEDER | 2501 | 13 | 28200 | 2000010587
276 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1376 | 7 | 27240 | 2000010588
277 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 919 | 10 | 45900 | 2000010589
278 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 4 | 21660 | 2000010591
279 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 331 | 4 | 2400 | 2000010592
280 | RAIPUR TOWN | 11KV MLA FEEDER | 1113 | 11 | 31140 | 2000010595
281 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 14 | 21240 | 2000010596
282 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 791 | 8 | 5160 | 2000010598
283 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1035 | 4 | 2220 | 2000010603
284 | RAIPUR TOWN | 11KV ATARI FEEDER | 823 | 14 | 45600 | 2000010604
285 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 282 | 4 | 99180 | 2000010605
286 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 747 | 6 | 3420 | 2000010606
287 | RAIPUR TOWN | 11KV BANJARI FEEDER | 963 | 11 | 17700 | 2000010608
288 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1569 | 1 | 420 | 2000010611
289 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 780 | 11 | 8940 | 2000010613
290 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 717 | 6 | 16200 | 2000010614
291 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 9 | 12900 | 2000010615
292 | RAIPUR TOWN | 11KV COLONY FEEDER | 81 | 12 | 79740 | 2000010616
293 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2498 | 16 | 20220 | 2000010618
294 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1657 | 21 | 20040 | 2000010622
295 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 873 | 16 | 46800 | 2000010624
296 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 93 | 13 | 45060 | 2000010625
297 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 1244 | 1 | 780 | 2000010626
298 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1670 | 14 | 6900 | 2000010628
299 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2359 | 14 | 13980 | 2000010631
300 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2020 | 13 | 14940 | 2000010632
301 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1687 | 12 | 12240 | 2000010634
302 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 885 | 1 | 4980 | 2000010635
303 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 746 | 24 | 8100 | 2000010638
304 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 85 | 12 | 3540 | 2000010641
305 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 739 | 23 | 41760 | 2000010642
306 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 308 | 5 | 21720 | 2000010645
307 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 500 | 13 | 26040 | 2000010647
308 | RAIPUR TOWN | 11KV KHARUN FEEDER | 982 | 20 | 21960 | 2000010649
309 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1480 | 12 | 5520 | 2000010650
310 | RAIPUR TOWN | 11KV KALIBADI FEEDER | 2145 | 13 | 51540 | 2000010652
311 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1216 | 6 | 5580 | 2000010653
312 | RAIPUR TOWN | 11KV MAHALAXMI | 568 | 16 | 9900 | 2000010655
313 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2013 | 10 | 16020 | 2000010656
314 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 446 | 2 | 600 | 2000010657
315 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 525 | 3 | 2880 | 2000010658
316 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 856 | 4 | 20520 | 2000010659
317 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 51 | 19 | 25560 | 2000010660
318 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1590 | 4 | 15300 | 2000010661
319 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2420 | 23 | 23640 | 2000010662
320 | RAIPUR TOWN | 11KV LIC FEEDER | 1905 | 2 | 720 | 2000010663
321 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 794 | 20 | 12480 | 2000010666
322 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1749 | 15 | 8160 | 2000010668
323 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 527 | 21 | 59940 | 2000010670
324 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 919 | 8 | 3300 | 2000010671
325 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1276 | 11 | 24720 | 2000010672
326 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5182 | 7 | 20520 | 2000010674
327 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4240 | 10 | 4500 | 2000010675
328 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 548 | 17 | 12540 | 2000010677
329 | RAIPUR TOWN | 11KV NIT FEEDER FEEDER | 158 | 1 | 420 | 2000010679
330 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2120 | 20 | 28020 | 2000010680
331 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 409 | 21 | 24060 | 2000010686
332 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 207 | 12 | 32940 | 2000010688
333 | RAIPUR TOWN | 11KV RDA FEEDER | 836 | 2 | 540 | 2000010689
334 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 383 | 8 | 19260 | 2000010690
335 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 5 | 12060 | 2000010694
336 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1825 | 12 | 3540 | 2000010696
337 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1291 | 19 | 9900 | 2000010699
338 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2456 | 12 | 5220 | 2000010700
339 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 797 | 16 | 18840 | 2000010701
340 | RAIPUR TOWN | 11KV SAMTA FEEDER | 554 | 8 | 3900 | 2000010704
341 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2690 | 10 | 6480 | 2000010705
342 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 396 | 13 | 41160 | 2000010706
343 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 494 | 11 | 16320 | 2000010707
344 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 900 | 7 | 14100 | 2000010708
345 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2511 | 11 | 26820 | 2000010709
346 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2358 | 10 | 5400 | 2000010711
347 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 943 | 8 | 12120 | 2000010712
348 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 301 | 11 | 21660 | 2000010713
349 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 984 | 20 | 33120 | 2000010714
350 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1908 | 1 | 8820 | 2000010715
351 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1366 | 15 | 22260 | 2000010717
352 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2679 | 15 | 44100 | 2000010722
353 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 850 | 14 | 5220 | 2000010725
354 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1285 | 3 | 1380 | 2000010726
355 | RAIPUR TOWN | 11KV TV FEEDER | 2935 | 23 | 21060 | 2000010728
356 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1177 | 18 | 19440 | 2000010729
357 | RAIPUR TOWN | 11KV UNIVERCITY FEEDER | 1312 | 1 | 8820 | 2000010731
358 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 441 | 12 | 5160 | 2000010732
359 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 13 | 19260 | 2000010733
360 | RAIPUR TOWN | 11KV VIVEKANAND NAGAR FEEDER | 2265 | 1 | 360 | 2000010736
361 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 456 | 2 | 2760 | 2000010737
362 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 510 | 21 | 38100 | 2000010739
363 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2173 | 17 | 6600 | 2000010741
364 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 6 | 2040 | 2000010742
365 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 6 | 1980 | 2000010743
366 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2130 | 12 | 223500 | 2000017238
367 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 896 | 6 | 12720 | 2000017256
368 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2217 | 16 | 38280 | 2000017261
369 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1068 | 7 | 27840 | 2000017508
370 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2432 | 11 | 76200 | 2000017567
371 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 591 | 2 | 23760 | 2000017569
372 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 983 | 12 | 5220 | 2000017576
373 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 879 | 4 | 20040 | 2000017599
374 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2022 | 9 | 17820 | 2000017600
375 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 17 | 10080 | 2000017607
376 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1747 | 33 | 83400 | 2000017608
377 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1550 | 1 | 360 | 2000017611
378 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 66 | 6 | 14220 | 2000017613
379 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 325 | 17 | 39300 | 2000017617
380 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1896 | 18 | 37680 | 2000017621
381 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 596 | 12 | 45480 | 2000017623
382 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 688 | 15 | 8640 | 2000017624
383 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 868 | 3 | 12300 | 2000017628
384 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 708 | 18 | 11040 | 2000017671
385 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 215 | 2 | 1560 | 2000017673
386 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1196 | 21 | 60900 | 2000017690
387 | RAIPUR TOWN | 11KV ROMAN SQUARE | 537 | 23 | 73980 | 2000017691
388 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 16 | 32400 | 2000017692
389 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1042 | 3 | 1560 | 2000017771
390 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1352 | 14 | 121560 | 2000017772
391 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 631 | 14 | 103440 | 2000017773
392 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2832 | 13 | 7200 | 2000017808
393 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 687 | 13 | 11640 | 2000017817
394 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1118 | 23 | 140460 | 2000017867
395 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 3 | 30300 | 2000017869
396 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1387 | 15 | 126480 | 2000017870
397 | RAIPUR TOWN | 11 KV ACRE PLOTFEEDER | 251 | 1 | 360 | 2000017871
398 | RAIPUR TOWN | 11KV NAVEEN MARKET | 861 | 16 | 17280 | 2000017953
399 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2616 | 15 | 14460 | 2000017954
400 | RAIPUR TOWN | 11KV MG ROAD | 1600 | 27 | 117960 | 2000017955
401 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 926 | 29 | 61140 | 2000017962
402 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 312 | 17 | 6360 | 2000018004
403 | RAIPUR TOWN | 11KV SADDU FEEDER | 294 | 25 | 68460 | 2000018005
404 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1299 | 41 | 22320 | 2000018006
405 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 379 | 23 | 76320 | 2000018359
406 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 5 | 12180 | 2000018378
407 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 971 | 20 | 14160 | 2000018394
408 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 605 | 18 | 5520 | 2000018396
409 | RAIPUR TOWN | 11KV IGVP | 371 | 17 | 29160 | 2000018397
410 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 345 | 7 | 29880 | 2000018398
411 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 338 | 17 | 42900 | 2000018416
412 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2491 | 17 | 11160 | 2000018949
413 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 594 | 25 | 6840 | 2000019179
414 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3224 | 5 | 5820 | 2000019180
415 | RAIPUR TOWN | 11KV SPARE1 FEEDER | 601 | 3 | 3000 | 2000019184
416 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 496 | 19 | 11880 | 2000019185
417 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1945 | 22 | 13440 | 2000019186
418 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2442 | 19 | 17460 | 2000019334
419 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 427 | 31 | 823680 | 2000019340
420 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 901 | 5 | 2820 | 2000019485
421 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1184 | 25 | 43440 | 2000019530
422 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 9 | 8100 | 2000019852
423 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1678 | 12 | 4680 | 2000019857
424 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1964 | 7 | 9540 | 2000020009
425 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2685 | 14 | 13860 | 2000020119
426 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 308 | 12 | 55980 | 2000020130
427 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 98 | 12 | 25920 | 2000020131
428 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 3 | 12360 | 2000020132
429 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 979 | 8 | 10920 | 2000020194
430 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2560 | 15 | 25140 | 2000020581
431 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1677 | 16 | 13560 | 2000021219
432 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1352 | 15 | 13260 | 2000021220
433 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1597 | 11 | 7320 | 2000021221
434 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 679 | 23 | 31080 | 2000021286
435 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1182 | 22 | 16440 | 2000021287
436 | RAIPUR TOWN | 11KV BORIYA FEEDER | 889 | 16 | 35100 | 2000021424
437 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1339 | 2 | 1500 | 2000021615
438 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 790 | 12 | 9900 | 2000022078
439 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1330 | 10 | 441660 | 2000022079
440 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1402 | 23 | 17580 | 2000023680
441 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1469 | 5 | 12300 | 2000023735
442 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 129 | 13 | 6000 | 2000023736
443 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1580 | 2 | 2220 | 2000023772
444 | RAIPUR TOWN | 11KV SBI FEEDER | 1226 | 3 | 11160 | 2000023790
445 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 445 | 7 | 15540 | 2000023848
446 | RAIPUR TOWN | 11KV FEEDER-1 | 1051 | 4 | 6120 | 2000024395
447 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1449 | 10 | 59940 | 2000026582
448 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 963 | 3 | 5640 | 2000026583
449 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1029 | 4 | 3540 | 2000026584
450 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 253 | 15 | 29280 | 2000026586
451 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 716 | 7 | 4020 | 2000034423
452 | RAIPUR TOWN | 11KV PRIDE FEEDER | 82 | 1 | 300 | 2000039215
453 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 138 | 5 | 3660 | 2000015446
454 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4332 | 10 | 2340 | 2000001956
455 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 539 | 26 | 25020 | 2000014955
456 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 233 | 28 | 41460 | 2000001960
457 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2288 | 30 | 21240 | 2000001979
458 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 934 | 1 | 240 | 2000001978
459 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2627 | 1 | 240 | 2000001967
460 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 38 | 45120 | 2000001965
461 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3401 | 29 | 14400 | 2000006488
462 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 808 | 26 | 30300 | 2000001962