## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | May'19
Period: |  | 1st Apr'19 to 30th Apr'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 444
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 176 | 54 | 93420 | 2000015334
2 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 354 | 16 | 17700 | 2000014961
3 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1473 | 16 | 22860 | 2000014960
4 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 31 | 62 | 167940 | 2000014959
5 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1919 | 13 | 17520 | 2000014951
6 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 769 | 15 | 21900 | 2000006627
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1630 | 40 | 88440 | 2000003854
8 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1592 | 27 | 52020 | 2000003850
9 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 3154 | 33 | 243840 | 2000003848
10 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 389 | 45 | 53100 | 2000003845
11 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 256 | 25 | 26280 | 2000003841
12 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1874 | 36 | 52380 | 2000003840
13 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 255 | 25 | 21000 | 2000001013
14 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1848 | 27 | 15060 | 2000001012
15 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 559 | 64 | 54240 | 2000001011
16 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1302 | 18 | 12420 | 2000001009
17 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1086 | 40 | 103380 | 2000001008
18 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 929 | 45 | 80340 | 2000001006
19 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 243 | 15 | 13980 | 2000001005
20 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3367 | 26 | 37980 | 2000001004
21 | BHATAPARA TOWN | 11KV COLONY FEEDER | 30 | 52 | 18780 | 2000004255
22 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1416 | 21 | 26460 | 2000006376
23 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 398 | 23 | 28500 | 2000006377
24 | BHATAPARA TOWN | 11KV ATAL JYOTI | 38 | 69 | 314640 | 2000014962
25 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 183 | 26 | 17760 | 2000022031
26 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1531 | 45 | 42420 | 2000004868
27 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1593 | 18 | 6060 | 2000004871
28 | BILASPUR TOWN | 11KV DHEKA FEEDER | 269 | 19 | 36600 | 2000004877
29 | BILASPUR TOWN | 11KV DHUMA FEEDER | 652 | 17 | 12000 | 2000004878
30 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 367 | 23 | 20220 | 2000004879
31 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2776 | 39 | 45840 | 2000004882
32 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1280 | 10 | 5220 | 2000004883
33 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1659 | 37 | 40800 | 2000004884
34 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2552 | 25 | 21540 | 2000004889
35 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1166 | 25 | 22800 | 2000004891
36 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 578 | 28 | 19320 | 2000004892
37 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2681 | 36 | 26220 | 2000004893
38 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2071 | 20 | 60840 | 2000004896
39 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 16 | 17580 | 2000004897
40 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1038 | 36 | 44460 | 2000004900
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 138 | 25 | 14940 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2303 | 20 | 10380 | 2000004904
43 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 753 | 24 | 24660 | 2000004908
44 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3669 | 25 | 67920 | 2000004909
45 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1060 | 31 | 17580 | 2000004911
46 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1783 | 34 | 42060 | 2000004913
47 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2357 | 28 | 23940 | 2000004914
48 | BILASPUR TOWN | 11KV RULER FEEDER | 1512 | 24 | 39300 | 2000004916
49 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2035 | 19 | 9780 | 2000004917
50 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1382 | 25 | 23400 | 2000004919
51 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 339 | 41 | 18240 | 2000004923
52 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3850 | 13 | 15420 | 2000004926
53 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 708 | 27 | 27300 | 2000016310
54 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 770 | 50 | 54660 | 2000016311
55 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 844 | 48 | 41400 | 2000016314
56 | BILASPUR TOWN | 11 KV NEW MOPKA | 815 | 19 | 9000 | 2000017224
57 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1311 | 21 | 11340 | 2000017225
58 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 208 | 25 | 25080 | 2000017226
59 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 198 | 47 | 51000 | 2000017505
60 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 2 | 21 | 20160 | 2000017776
61 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 67 | 414120 | 2000017777
62 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 312 | 51 | 55500 | 2000017780
63 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 269 | 55 | 69720 | 2000017781
64 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 996 | 21 | 19620 | 2000018403
65 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1807 | 10 | 8880 | 2000018405
66 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 766 | 17 | 4440 | 2000018761
67 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1669 | 8 | 16260 | 2000018762
68 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 439 | 18 | 4560 | 2000018763
69 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 354 | 23 | 8100 | 2000020488
70 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1235 | 21 | 12000 | 2000020489
71 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 924 | 20 | 9660 | 2000020582
72 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1256 | 1 | 2040 | 2000022059
73 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 195 | 1 | 2460 | 2000022060
74 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 335 | 11 | 8160 | 2000023801
75 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5515 | 75 | 47940 | 2000003197
76 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1977 | 24 | 31920 | 2000003196
77 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 965 | 74 | 37680 | 2000003195
78 | DALLI RAJHARA TOWN | 11KV KUSUMKASA FEEDER | 1440 | 2 | 53400 | 2000003194
79 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 2 | 10 | 23220 | 2000015505
80 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 28 | 91440 | 2000002566
81 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 10 | 33780 | 2000002567
82 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 935 | 5 | 104880 | 2000002568
83 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1348 | 29 | 12480 | 2000002569
84 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3935 | 19 | 9360 | 2000002570
85 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 7 | 6180 | 2000002573
86 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 997 | 30 | 24900 | 2000002574
87 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1025 | 26 | 40920 | 2000002576
88 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2538 | 29 | 21420 | 2000002579
89 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3466 | 9 | 11940 | 2000001303
90 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2467 | 15 | 23700 | 2000001302
91 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 956 | 33 | 31920 | 2000001301
92 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1113 | 15 | 19140 | 2000001299
93 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 739 | 45 | 29820 | 2000001298
94 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1671 | 13 | 20880 | 2000001295
95 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 728 | 18 | 14220 | 2000007685
96 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2343 | 27 | 14100 | 2000007686
97 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 839 | 56 | 55620 | 2000007687
98 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 51 | 612900 | 2000007688
99 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1029 | 59 | 143400 | 2000007689
100 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1760 | 21 | 34380 | 2000007694
101 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3696 | 26 | 19380 | 2000007696
102 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 846 | 11 | 27720 | 2000007697
103 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2884 | 58 | 127020 | 2000007701
104 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 984 | 17 | 9780 | 2000007702
105 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1035 | 18 | 8820 | 2000007703
106 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3932 | 67 | 154860 | 2000007705
107 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 941 | 46 | 130740 | 2000007708
108 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1551 | 62 | 165660 | 2000007709
109 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1825 | 17 | 7440 | 2000007711
110 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 455 | 15 | 8580 | 2000007712
111 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 645 | 55 | 116700 | 2000007713
112 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1301 | 50 | 148800 | 2000007714
113 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 961 | 54 | 179880 | 2000007715
114 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 660 | 68 | 150840 | 2000007716
115 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 615 | 80 | 146640 | 2000007717
116 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 817 | 31 | 27180 | 2000007720
117 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1548 | 24 | 10560 | 2000007721
118 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2019 | 16 | 16140 | 2000007723
119 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1137 | 47 | 87720 | 2000007728
120 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 721 | 20 | 7440 | 2000007729
121 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 499 | 49 | 144600 | 2000007731
122 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 525 | 34 | 38580 | 2000007733
123 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 598 | 38 | 40920 | 2000007735
124 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1255 | 48 | 137400 | 2000007738
125 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 740 | 68 | 32940 | 2000007739
126 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 882 | 39 | 117960 | 2000007740
127 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1463 | 17 | 10200 | 2000007741
128 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1237 | 34 | 31980 | 2000007744
129 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 500 | 34 | 94080 | 2000007747
130 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1089 | 42 | 124500 | 2000007748
131 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 515 | 23 | 10440 | 2000007749
132 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1129 | 50 | 122880 | 2000007751
133 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3205 | 38 | 100860 | 2000007752
134 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1897 | 90 | 217020 | 2000007754
135 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 271 | 53 | 114480 | 2000007755
136 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 413 | 30 | 10500 | 2000007756
137 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1689 | 19 | 12480 | 2000007757
138 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1327 | 40 | 40200 | 2000007758
139 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3762 | 34 | 24900 | 2000007759
140 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2530 | 52 | 124260 | 2000007760
141 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1344 | 99 | 229500 | 2000007762
142 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 222 | 14 | 5940 | 2000007763
143 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 361 | 10 | 6000 | 2000007764
144 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 244 | 11 | 6300 | 2000007765
145 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 266 | 10 | 6480 | 2000007766
146 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 762 | 10 | 6120 | 2000007767
147 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1422 | 9 | 5580 | 2000007768
148 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2206 | 52 | 136140 | 2000007769
149 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1783 | 50 | 122760 | 2000007770
150 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1219 | 50 | 129300 | 2000007771
151 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1429 | 54 | 35700 | 2000007773
152 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1312 | 23 | 202740 | 2000007776
153 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1284 | 59 | 125040 | 2000007777
154 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 365 | 40 | 51660 | 2000007778
155 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 960 | 21 | 24420 | 2000007779
156 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1656 | 25 | 220200 | 2000007780
157 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1785 | 41 | 133680 | 2000007781
158 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1515 | 70 | 144060 | 2000007782
159 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 242 | 51 | 133260 | 2000007783
160 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2571 | 68 | 145080 | 2000016998
161 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 2129 | 30 | 44400 | 2000017001
162 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 454 | 20 | 26820 | 2000017044
163 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 18 | 20160 | 2000017045
164 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2277 | 66 | 1064820 | 2000017052
165 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1243 | 147 | 1416240 | 2000017054
166 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1118 | 81 | 215520 | 2000017055
167 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 1058 | 28 | 80760 | 2000017056
168 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 529 | 23 | 20160 | 2000017057
169 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1062 | 35 | 24900 | 2000017058
170 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1896 | 29 | 30420 | 2000017059
171 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 569 | 15 | 10920 | 2000017060
172 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 1042 | 16 | 10980 | 2000017061
173 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 570 | 79 | 242280 | 2000017062
174 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1723 | 3 | 9660 | 2000017063
175 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 2254 | 11 | 80040 | 2000017064
176 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1105 | 164 | 60240 | 2000017065
177 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1076 | 80 | 245820 | 2000017066
178 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 678 | 165 | 60540 | 2000017069
179 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1942 | 159 | 58200 | 2000017071
180 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 396 | 40 | 33840 | 2000017076
181 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2443 | 105 | 325140 | 2000018574
182 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 295 | 97 | 251580 | 2000018704
183 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1358 | 39 | 102600 | 2000018705
184 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1755 | 28 | 85140 | 2000018706
185 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 619 | 84 | 196920 | 2000018707
186 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1515 | 42 | 788340 | 2000018723
187 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 49 | 57 | 145080 | 2000018987
188 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 221 | 18 | 6000 | 2000019819
189 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 970 | 40 | 36360 | 2000020519
190 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3411 | 20 | 40260 | 2000021263
191 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1229 | 17 | 65040 | 2000021264
192 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1031 | 10 | 9180 | 2000021357
193 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2757 | 2 | 7200 | 2000023773
194 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 345 | 53 | 111840 | 2000025794
195 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 1 | 18 | 26820 | 2000027337
196 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1654 | 101 | 257100 | 2000029193
197 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 312 | 18 | 21240 | 2000004333
198 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 861 | 14 | 15660 | 2000004334
199 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1270 | 21 | 22620 | 2000004335
200 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1357 | 18 | 19500 | 2000004336
201 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2197 | 34 | 32820 | 2000004338
202 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1038 | 62 | 77280 | 2000004339
203 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1582 | 37 | 50640 | 2000004344
204 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1763 | 19 | 31860 | 2000004332
205 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 8 | 6840 | 2000004331
206 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1560 | 14 | 21660 | 2000004330
207 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 254 | 11 | 12480 | 2000004347
208 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3533 | 2 | 17520 | 2000004348
209 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1962 | 29 | 33660 | 2000017872
210 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 161 | 29 | 36120 | 2000004329
211 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1504 | 24 | 25920 | 2000015850
212 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2744 | 37 | 22140 | 2000002910
213 | KANKER TOWN | 11KV PATOD FEEDER | 1260 | 28 | 55320 | 2000002909
214 | KANKER TOWN | 11KV KESHKAL FEEDER | 199 | 43 | 51960 | 2000002907
215 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2954 | 25 | 8820 | 2000001055
216 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1029 | 32 | 22560 | 2000001051
217 | KAWARDHA TOWN | 11KV BARBASPUR (RURAL) FEEDER | 1 | 26 | 4800 | 2000001045
218 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 31 | 42900 | 2000006490
219 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1151 | 34 | 38100 | 2000020122
220 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1044 | 10 | 15180 | 2000020065
221 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 367 | 33 | 49920 | 2000017805
222 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 68 | 29 | 44340 | 2000017790
223 | KORBA TOWN | 11KV TOWN-1 FEEDER | 815 | 11 | 18900 | 2000015220
224 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1178 | 37 | 148500 | 2000006798
225 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 795 | 32 | 33600 | 2000006796
226 | KORBA TOWN | 11KV BANKIMONGRA TOWN-1 FEEDER | 1961 | 1 | 55140 | 2000006795
227 | KORBA TOWN | 11KV SARMANGLA FEEDER | 712 | 36 | 106380 | 2000006794
228 | KORBA TOWN | 11KV RAMPUR FEEDER | 810 | 21 | 1012440 | 2000006791
229 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 288 | 2 | 52920 | 2000006790
230 | KORBA TOWN | 11KV PARSABADA FEEDER | 1384 | 66 | 109140 | 2000006789
231 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 702 | 66 | 109860 | 2000006787
232 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1302 | 28 | 82020 | 2000006783
233 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 768 | 39 | 55200 | 2000006782
234 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2809 | 26 | 23820 | 2000006778
235 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 57 | 54780 | 2000006770
236 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 113 | 205620 | 2000006764
237 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 42 | 31980 | 2000006762
238 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2377 | 118 | 825300 | 2000006761
239 | KORBA TOWN | 11KV ABC FEEDER | 1530 | 8 | 42600 | 2000006759
240 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2347 | 18 | 16800 | 2000001424
241 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2100 | 11 | 5880 | 2000001430
242 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1315 | 6 | 9180 | 2000001427
243 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 771 | 28 | 179460 | 2000001426
244 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 30 | 60240 | 2000001425
245 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 2110 | 25 | 13560 | 2000001423
246 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 590 | 40 | 35760 | 2000006460
247 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1835 | 49 | 33540 | 2000006458
248 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2485 | 52 | 34440 | 2000002462
249 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1427 | 38 | 29700 | 2000002463
250 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 539 | 38 | 25860 | 2000002464
251 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1327 | 68 | 39480 | 2000003301
252 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 769 | 66 | 36660 | 2000003302
253 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1056 | 25 | 50520 | 2000003306
254 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1117 | 37 | 30060 | 2000003307
255 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 716 | 23 | 19320 | 2000003309
256 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 607 | 32 | 33240 | 2000016050
257 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1110 | 37 | 24840 | 2000016051
258 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 602 | 46 | 37440 | 2000022941
259 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 687 | 20 | 17820 | 2000021639
260 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 635 | 26 | 19620 | 2000020756
261 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 921 | 25 | 21960 | 2000020755
262 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 368 | 16 | 12600 | 2000020754
263 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1626 | 42 | 19500 | 2000003314
264 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1044 | 25 | 15120 | 2000003322
265 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1623 | 26 | 14460 | 2000017958
266 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 377 | 23 | 11700 | 2000017956
267 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 225 | 21 | 16920 | 2000003312
268 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1282 | 25 | 16620 | 2000003311
269 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1692 | 64 | 66600 | 2000016185
270 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 84 | 22 | 12600 | 2000016056
271 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1004 | 25 | 19140 | 2000016055
272 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 97 | 32 | 29160 | 2000016054
273 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 812 | 32 | 25800 | 2000016053
274 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 876 | 32 | 28860 | 2000016052
275 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 360 | 24 | 14100 | 2000010583
276 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1239 | 18 | 9240 | 2000010585
277 | RAIPUR TOWN | 11KV CITY FEEDER | 2531 | 7 | 2640 | 2000010587
278 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1377 | 14 | 18300 | 2000010588
279 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 916 | 6 | 10440 | 2000010589
280 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 775 | 6 | 5880 | 2000010591
281 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 331 | 10 | 18180 | 2000010592
282 | RAIPUR TOWN | 11KV MLA FEEDER | 1115 | 14 | 6420 | 2000010595
283 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 40 | 17 | 10500 | 2000010596
284 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 796 | 13 | 6480 | 2000010598
285 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1033 | 11 | 20340 | 2000010603
286 | RAIPUR TOWN | 11KV ATARI FEEDER | 822 | 11 | 16080 | 2000010604
287 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 283 | 22 | 9600 | 2000010605
288 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 581 | 21 | 11640 | 2000010606
289 | RAIPUR TOWN | 11KV BANJARI FEEDER | 966 | 11 | 7620 | 2000010608
290 | RAIPUR TOWN | 11KV BASTAL FEEDER | 607 | 21 | 249000 | 2000010610
291 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1568 | 14 | 6120 | 2000010611
292 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 781 | 10 | 6180 | 2000010613
293 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 726 | 3 | 780 | 2000010614
294 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 10 | 11820 | 2000010615
295 | RAIPUR TOWN | 11KV COLONY FEEDER | 80 | 5 | 9360 | 2000010616
296 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1814 | 7 | 6180 | 2000010618
297 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1670 | 11 | 4800 | 2000010622
298 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 898 | 23 | 25080 | 2000010624
299 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 93 | 13 | 16260 | 2000010625
300 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1683 | 19 | 9660 | 2000010628
301 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2391 | 22 | 13680 | 2000010631
302 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2037 | 15 | 9840 | 2000010632
303 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1695 | 16 | 7080 | 2000010634
304 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 747 | 27 | 17220 | 2000010638
305 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 86 | 12 | 5220 | 2000010641
306 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 741 | 19 | 11820 | 2000010642
307 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 506 | 10 | 4860 | 2000010647
308 | RAIPUR TOWN | 11KV KHARUN FEEDER | 985 | 31 | 17880 | 2000010649
309 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1483 | 21 | 11400 | 2000010650
310 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1222 | 23 | 8880 | 2000010653
311 | RAIPUR TOWN | 11KV MAHALAXMI | 424 | 17 | 9360 | 2000010655
312 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1994 | 14 | 7380 | 2000010656
313 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 452 | 13 | 5820 | 2000010657
314 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 521 | 13 | 9960 | 2000010658
315 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 53 | 11 | 9420 | 2000010660
316 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2457 | 21 | 24840 | 2000010662
317 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 802 | 17 | 18900 | 2000010666
318 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1750 | 20 | 8100 | 2000010668
319 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 533 | 21 | 9900 | 2000010670
320 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1284 | 22 | 13680 | 2000010672
321 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5215 | 17 | 34200 | 2000010674
322 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4289 | 17 | 9960 | 2000010675
323 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 552 | 16 | 6240 | 2000010677
324 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2157 | 22 | 24060 | 2000010680
325 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 412 | 29 | 50640 | 2000010686
326 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 208 | 9 | 5580 | 2000010688
327 | RAIPUR TOWN | 11KV RDA FEEDER | 837 | 5 | 6180 | 2000010689
328 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 390 | 16 | 10620 | 2000010690
329 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1292 | 19 | 21960 | 2000010699
330 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2462 | 9 | 3960 | 2000010700
331 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 798 | 24 | 16500 | 2000010701
332 | RAIPUR TOWN | 11KV SAMTA FEEDER | 557 | 7 | 5100 | 2000010704
333 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2699 | 18 | 12180 | 2000010705
334 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1100 | 8 | 28380 | 2000010706
335 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 497 | 34 | 25680 | 2000010707
336 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 916 | 8 | 4020 | 2000010708
337 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2504 | 9 | 17280 | 2000010709
338 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2362 | 15 | 8700 | 2000010711
339 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 947 | 13 | 10800 | 2000010712
340 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 303 | 24 | 30300 | 2000010713
341 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 987 | 18 | 16680 | 2000010714
342 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1370 | 13 | 13440 | 2000010717
343 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2688 | 5 | 20580 | 2000010722
344 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 3282 | 1 | 780 | 2000010724
345 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1179 | 13 | 14520 | 2000010725
346 | RAIPUR TOWN | 11KV TV FEEDER | 2964 | 32 | 14880 | 2000010728
347 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1180 | 30 | 16140 | 2000010729
348 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 25 | 15 | 10080 | 2000010733
349 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 506 | 17 | 63900 | 2000010739
350 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2186 | 42 | 19440 | 2000010741
351 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 18 | 10860 | 2000010742
352 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 18 | 10860 | 2000010743
353 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 901 | 23 | 9840 | 2000017256
354 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2223 | 17 | 6600 | 2000017261
355 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1070 | 21 | 21240 | 2000017508
356 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2441 | 18 | 7620 | 2000017567
357 | RAIPUR TOWN | 11KV WHITE HOUSE | 751 | 6 | 38340 | 2000017568
358 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 589 | 7 | 4560 | 2000017569
359 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 983 | 20 | 32520 | 2000017576
360 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 653 | 9 | 111120 | 2000017590
361 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2053 | 18 | 27780 | 2000017600
362 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 10 | 4500 | 2000017607
363 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1749 | 25 | 18960 | 2000017608
364 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1557 | 18 | 84420 | 2000017611
365 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 66 | 1 | 600 | 2000017613
366 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 326 | 28 | 20220 | 2000017617
367 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1914 | 6 | 2460 | 2000017621
368 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 594 | 17 | 12540 | 2000017623
369 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 716 | 20 | 11760 | 2000017624
370 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 716 | 13 | 8100 | 2000017671
371 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1318 | 21 | 11100 | 2000017690
372 | RAIPUR TOWN | 11KV ROMAN SQUARE | 540 | 28 | 26700 | 2000017691
373 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 179 | 19 | 14820 | 2000017692
374 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1043 | 15 | 19860 | 2000017771
375 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1356 | 9 | 7860 | 2000017772
376 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 630 | 8 | 7620 | 2000017773
377 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2844 | 21 | 15060 | 2000017808
378 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1121 | 18 | 53880 | 2000017867
379 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1392 | 12 | 9960 | 2000017870
380 | RAIPUR TOWN | 11KV NAVEEN MARKET | 869 | 15 | 18420 | 2000017953
381 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2622 | 14 | 13380 | 2000017954
382 | RAIPUR TOWN | 11KV MG ROAD | 1606 | 15 | 23280 | 2000017955
383 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 919 | 47 | 49860 | 2000017962
384 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 316 | 31 | 14460 | 2000018004
385 | RAIPUR TOWN | 11KV SADDU FEEDER | 294 | 38 | 16080 | 2000018005
386 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1316 | 47 | 25320 | 2000018006
387 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 374 | 23 | 45780 | 2000018359
388 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 972 | 33 | 14040 | 2000018394
389 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 606 | 12 | 5040 | 2000018396
390 | RAIPUR TOWN | 11KV IGVP | 370 | 12 | 6720 | 2000018397
391 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 349 | 32 | 22320 | 2000018398
392 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 339 | 16 | 9300 | 2000018416
393 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2491 | 13 | 8820 | 2000018949
394 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 624 | 86 | 81120 | 2000019179
395 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3249 | 15 | 62760 | 2000019180
396 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 501 | 16 | 7860 | 2000019185
397 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1967 | 26 | 14040 | 2000019186
398 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2545 | 41 | 26700 | 2000019334
399 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 433 | 45 | 16200 | 2000019340
400 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 901 | 20 | 35340 | 2000019485
401 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1193 | 20 | 9480 | 2000019530
402 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 7 | 6120 | 2000019852
403 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2004 | 6 | 4680 | 2000020009
404 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2702 | 15 | 7920 | 2000020119
405 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 5 | 36 | 33540 | 2000020123
406 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 309 | 17 | 36120 | 2000020130
407 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 99 | 20 | 26340 | 2000020131
408 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 16 | 294840 | 2000020132
409 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 996 | 9 | 3060 | 2000020194
410 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2560 | 9 | 12120 | 2000020581
411 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1675 | 30 | 42060 | 2000021219
412 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1340 | 16 | 20880 | 2000021220
413 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1614 | 12 | 12720 | 2000021221
414 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 678 | 42 | 19260 | 2000021286
415 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1188 | 47 | 28560 | 2000021287
416 | RAIPUR TOWN | 11KV BORIYA FEEDER | 891 | 24 | 11640 | 2000021424
417 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1340 | 6 | 5820 | 2000021615
418 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1327 | 10 | 10320 | 2000022077
419 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 789 | 11 | 10920 | 2000022078
420 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1331 | 13 | 17220 | 2000022079
421 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1404 | 11 | 5460 | 2000023680
422 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1589 | 5 | 3780 | 2000023772
423 | RAIPUR TOWN | 11KV SBI FEEDER | 1223 | 42 | 1284180 | 2000023790
424 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 447 | 6 | 19740 | 2000023848
425 | RAIPUR TOWN | 11KV FEEDER-1 | 1049 | 12 | 11760 | 2000024395
426 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1449 | 11 | 40260 | 2000026582
427 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 968 | 6 | 21420 | 2000026583
428 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1027 | 9 | 19560 | 2000026584
429 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 257 | 23 | 11520 | 2000026586
430 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 720 | 14 | 18240 | 2000034423
431 | RAIPUR TOWN | 11KV PRIDE FEEDER | 82 | 3 | 2280 | 2000039215
432 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 817 | 34 | 24960 | 2000001962
433 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3457 | 52 | 388860 | 2000006488
434 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2775 | 6 | 21600 | 2000001963
435 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 79 | 53400 | 2000001965
436 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2671 | 16 | 25260 | 2000001967
437 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2363 | 5 | 11160 | 2000001975
438 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 938 | 15 | 16140 | 2000001978
439 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2327 | 42 | 40560 | 2000001979
440 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 233 | 31 | 16020 | 2000001960
441 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 47 | 29040 | 2000014955
442 | RAJNANDGAON TOWN | 11 KV MOTHIPUR FEEDER | 1922 | 1 | 60 | 2000014956
443 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 498 | 8 | 14040 | 2000001957
444 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4401 | 33 | 11220 | 2000001956