## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Dec'20
Period: |  | 1st Nov'20 to 30th Nov'20
Number of Towns: |  | 581
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 1123 | 15 | 17700 | 2000076478
2 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2912 | 5 | 7140 | 2000014963
3 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 660 | 14 | 25260 | 2000014959
4 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 11 | 10260 | 2000014957
5 | AMBIKAPUR TOWN | 11KV SONPUR | 1328 | 5 | 7620 | 2000014954
6 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 343 | 5 | 7680 | 2000014952
7 | AMBIKAPUR TOWN | 11KV DCROAD | 1860 | 5 | 7380 | 2000014951
8 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2698 | 5 | 7080 | 2000003855
9 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1957 | 15 | 16380 | 2000003854
10 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1682 | 9 | 14100 | 2000003853
11 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2259 | 6 | 8640 | 2000003852
12 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1575 | 8 | 10860 | 2000003851
13 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 996 | 21 | 27600 | 2000003850
14 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2710 | 16 | 17400 | 2000003849
15 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 796 | 7 | 7440 | 2000003848
16 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 536 | 13 | 15240 | 2000003847
17 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2026 | 5 | 7500 | 2000003846
18 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1189 | 14 | 17220 | 2000003845
19 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 512 | 6 | 8700 | 2000003844
20 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 2279 | 7 | 9840 | 2000003843
21 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1479 | 7 | 8040 | 2000003842
22 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 298 | 11 | 9840 | 2000003841
23 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1996 | 13 | 15900 | 2000003840
24 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 459 | 27 | 20340 | 2000071572
25 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2524 | 23 | 17400 | 2000071573
26 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 45 | 24 | 19140 | 2000071574
27 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 269 | 4 | 2220 | 2000001007
28 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1405 | 4 | 420 | 2000001009
29 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1484 | 37 | 35520 | 2000001010
30 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 356 | 3 | 840 | 2000001005
31 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 754 | 2 | 240 | 2000006347
32 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2141 | 5 | 3540 | 2000004868
33 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2074 | 1 | 360 | 2000004869
34 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1801 | 3 | 5460 | 2000004871
35 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2463 | 4 | 3120 | 2000004873
36 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1450 | 6 | 2700 | 2000004874
37 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 879 | 7 | 9120 | 2000004876
38 | BILASPUR TOWN | 11KV DHEKA FEEDER | 356 | 3 | 22740 | 2000004877
39 | BILASPUR TOWN | 11KV DHUMA FEEDER | 978 | 2 | 3660 | 2000004878
40 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 566 | 5 | 37620 | 2000004879
41 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 3478 | 5 | 2880 | 2000004882
42 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1370 | 6 | 8100 | 2000004883
43 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 2008 | 10 | 5160 | 2000004884
44 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2095 | 5 | 12120 | 2000004886
45 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2062 | 1 | 300 | 2000004888
46 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2673 | 9 | 8460 | 2000004889
47 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 72 | 1 | 360 | 2000004890
48 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1249 | 12 | 3240 | 2000004891
49 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 597 | 4 | 13320 | 2000004892
50 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 538 | 10 | 6120 | 2000004893
51 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 3 | 5 | 2820 | 2000004894
52 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2198 | 3 | 5400 | 2000004896
53 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 562 | 5 | 4140 | 2000004897
54 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1314 | 2 | 3660 | 2000004898
55 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1212 | 7 | 960 | 2000004899
56 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1273 | 7 | 31680 | 2000004900
57 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2795 | 7 | 5760 | 2000004901
58 | BILASPUR TOWN | 11KV MANGLA FEEDER | 2458 | 5 | 6600 | 2000004902
59 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 162 | 3 | 14880 | 2000004903
60 | BILASPUR TOWN | 11KV MOPKA FEEDER | 1788 | 1 | 2820 | 2000004904
61 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3078 | 1 | 360 | 2000004906
62 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2092 | 13 | 519960 | 2000004907
63 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 829 | 1 | 420 | 2000004908
64 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4859 | 6 | 18840 | 2000004909
65 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3848 | 3 | 2820 | 2000004910
66 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1260 | 12 | 519900 | 2000004911
67 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1765 | 11 | 16560 | 2000004912
68 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1979 | 10 | 12000 | 2000004913
69 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2559 | 6 | 13260 | 2000004914
70 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 644 | 5 | 2820 | 2000004915
71 | BILASPUR TOWN | 11KV RULER FEEDER | 1966 | 5 | 2820 | 2000004916
72 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2647 | 2 | 1620 | 2000004917
73 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 1725 | 5 | 12000 | 2000004919
74 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3419 | 4 | 13440 | 2000004920
75 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 2265 | 5 | 12180 | 2000004921
76 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1879 | 1 | 300 | 2000004922
77 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 409 | 5 | 6660 | 2000004923
78 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 809 | 5 | 6480 | 2000004924
79 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2427 | 1 | 1320 | 2000004925
80 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2813 | 7 | 7740 | 2000004926
81 | BILASPUR TOWN | 11KV KONI FEEDER | 888 | 12 | 9240 | 2000006494
82 | BILASPUR TOWN | 11KV TV FEEDER | 2674 | 6 | 10020 | 2000016309
83 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1205 | 7 | 23760 | 2000016310
84 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 106 | 8 | 9780 | 2000016311
85 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 730 | 9 | 7560 | 2000016312
86 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1411 | 11 | 8820 | 2000016314
87 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 227 | 11 | 4140 | 2000016315
88 | BILASPUR TOWN | 11KV NEW MOPKA | 1417 | 8 | 12420 | 2000017224
89 | BILASPUR TOWN | 11KV SHIVAM CITY | 1967 | 3 | 2340 | 2000017225
90 | BILASPUR TOWN | 11KV MAHAVEER CITY | 341 | 3 | 2220 | 2000017226
91 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 8 | 18240 | 2000017502
92 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2505 | 12 | 38040 | 2000017505
93 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1050 | 13 | 14700 | 2000017776
94 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 106 | 10 | 9900 | 2000017777
95 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 257 | 10 | 9960 | 2000017778
96 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 12 | 13500 | 2000017780
97 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 384 | 10 | 14880 | 2000017781
98 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1608 | 6 | 23340 | 2000018403
99 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2179 | 6 | 25440 | 2000018405
100 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 869 | 5 | 8580 | 2000018761
101 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1879 | 11 | 27780 | 2000018762
102 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 489 | 6 | 10320 | 2000018763
103 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 994 | 3 | 4020 | 2000020489
104 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1285 | 5 | 9060 | 2000020490
105 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 957 | 1 | 900 | 2000020582
106 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 141 | 1 | 1380 | 2000022056
107 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1771 | 2 | 3660 | 2000022059
108 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1741 | 3 | 2640 | 2000022060
109 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1493 | 8 | 7920 | 2000022061
110 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1614 | 12 | 13980 | 2000023801
111 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 322 | 12 | 12780 | 2000023802
112 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1046 | 11 | 8400 | 2000023803
113 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 536 | 2 | 8460 | 2000024038
114 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2479 | 3 | 1860 | 2000024039
115 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 117 | 7 | 9180 | 2000027413
116 | CHAMPA TOWN | 11KV KURDAFEEDER | 1647 | 29 | 64080 | 2000001807
117 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2498 | 43 | 45660 | 2000001808
118 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 1784 | 15 | 33480 | 2000001809
119 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3885 | 17 | 24120 | 2000001812
120 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 541 | 15 | 30960 | 2000001806
121 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 279 | 58 | 65220 | 2000001804
122 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 13 | 25380 | 2000015492
123 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 535 | 7 | 8700 | 2000015252
124 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 977 | 6 | 6960 | 2000015251
125 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4439 | 12 | 15060 | 2000003144
126 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 197 | 21 | 13980 | 2000006348
127 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5782 | 10 | 10680 | 2000003197
128 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2098 | 4 | 8640 | 2000003196
129 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1303 | 6 | 8880 | 2000003195
130 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1681 | 7 | 9360 | 2000003194
131 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 378 | 7 | 9240 | 2000003193
132 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 41 | 5 | 20520 | 2000002566
133 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 404 | 3 | 5100 | 2000004308
134 | DHAMTARI TOWN | 11KV CHITOD1 | 4943 | 4 | 3840 | 2000004307
135 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 8 | 6840 | 2000002567
136 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4635 | 1 | 2640 | 2000002570
137 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2197 | 3 | 2640 | 2000002571
138 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 1007 | 5 | 5580 | 2000002572
139 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 117 | 1 | 3360 | 2000002573
140 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1426 | 2 | 600 | 2000002574
141 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 990 | 13 | 12720 | 2000002575
142 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1365 | 3 | 3300 | 2000002576
143 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 4 | 7680 | 2000002577
144 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3831 | 13 | 40980 | 2000002578
145 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2998 | 3 | 1020 | 2000002579
146 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 1941 | 10 | 3420 | 2000007686
147 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1269 | 2 | 28500 | 2000007687
148 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 120 | 23 | 468000 | 2000007688
149 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 514 | 4 | 7920 | 2000007689
150 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4397 | 3 | 19380 | 2000007696
151 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1101 | 11 | 4620 | 2000007702
152 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1159 | 6 | 2880 | 2000007703
153 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3078 | 7 | 18300 | 2000007705
154 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1705 | 3 | 2580 | 2000007707
155 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1406 | 7 | 3240 | 2000007715
156 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1671 | 5 | 780 | 2000007718
157 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1021 | 4 | 7860 | 2000007720
158 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1582 | 4 | 22320 | 2000007721
159 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2181 | 4 | 21720 | 2000007723
160 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1490 | 9 | 9900 | 2000007724
161 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1740 | 3 | 1860 | 2000007725
162 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2325 | 9 | 5820 | 2000007726
163 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 743 | 4 | 24540 | 2000007729
164 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 927 | 3 | 2400 | 2000007731
165 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 741 | 3 | 20400 | 2000007733
166 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 773 | 2 | 2100 | 2000007735
167 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1627 | 6 | 2460 | 2000007737
168 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2476 | 5 | 7740 | 2000007742
169 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1381 | 6 | 20040 | 2000007744
170 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 722 | 3 | 2580 | 2000007747
171 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1321 | 6 | 960 | 2000007750
172 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1973 | 5 | 4440 | 2000007754
173 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 1353 | 3 | 5400 | 2000007756
174 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2204 | 4 | 26820 | 2000007757
175 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1842 | 8 | 10200 | 2000007758
176 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 758 | 4 | 24900 | 2000007761
177 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1054 | 5 | 8280 | 2000007762
178 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 840 | 2 | 720 | 2000007769
179 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 4117 | 13 | 18180 | 2000007772
180 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1953 | 3 | 7800 | 2000007773
181 | DURG BHILAI CHARODA TOWN | 11KV SHIVNATH FEEDER | 1443 | 2 | 360 | 2000007774
182 | DURG BHILAI CHARODA TOWN | 11KV TOWN-A FEEDER | 1253 | 2 | 600 | 2000007775
183 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1231 | 2 | 3720 | 2000007776
184 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 1124 | 9 | 22260 | 2000007779
185 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7583 | 7 | 6660 | 2000016889
186 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2377 | 5 | 3360 | 2000017000
187 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2523 | 1 | 2700 | 2000017052
188 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1317 | 3 | 6240 | 2000017054
189 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1182 | 4 | 4320 | 2000017055
190 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 948 | 3 | 1980 | 2000017056
191 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 779 | 3 | 2520 | 2000017057
192 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 935 | 5 | 3300 | 2000017058
193 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2145 | 3 | 2640 | 2000017059
194 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 530 | 2 | 4260 | 2000017060
195 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1073 | 3 | 5820 | 2000017061
196 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 3 | 7020 | 2000017062
197 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 751 | 1 | 2760 | 2000017063
198 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1533 | 2 | 1320 | 2000017064
199 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1400 | 5 | 3660 | 2000017065
200 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1180 | 4 | 8940 | 2000017066
201 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 568 | 1 | 4260 | 2000017067
202 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2267 | 2 | 3000 | 2000017068
203 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 953 | 6 | 7920 | 2000017069
204 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2095 | 5 | 3660 | 2000017071
205 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 3 | 5640 | 2000017072
206 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 500 | 3 | 2340 | 2000017080
207 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2471 | 3 | 4740 | 2000018574
208 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 6 | 8220 | 2000018704
209 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1401 | 6 | 23280 | 2000018705
210 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1847 | 5 | 9180 | 2000018706
211 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 637 | 3 | 4500 | 2000018707
212 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2703 | 5 | 26580 | 2000018723
213 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 522 | 23 | 61140 | 2000019876
214 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1097 | 2 | 1860 | 2000020519
215 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3150 | 5 | 25800 | 2000021263
216 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1339 | 4 | 18060 | 2000021264
217 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3090 | 3 | 2100 | 2000023773
218 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 358 | 2 | 2340 | 2000025794
219 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 4 | 7080 | 2000027337
220 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1989 | 5 | 8940 | 2000029190
221 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1201 | 5 | 9000 | 2000029191
222 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 868 | 5 | 9000 | 2000029192
223 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1678 | 5 | 7680 | 2000029193
224 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1712 | 4 | 4080 | 2000049757
225 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 62 | 2 | 4380 | 2000049820
226 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 3 | 2280 | 2000068108
227 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 38 | 3 | 2280 | 2000068109
228 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 17 | 3 | 2280 | 2000068110
229 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1659 | 2 | 2100 | 2000075513
230 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 784 | 6 | 4560 | 2000075566
231 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1482 | 5 | 8760 | 2000075806
232 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1268 | 11 | 5820 | 2000075812
233 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 361 | 4 | 26400 | 2000075949
234 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 954 | 11 | 10980 | 2000075970
235 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1199 | 2 | 300 | 2000075971
236 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 550 | 6 | 47400 | 2000076270
237 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 379 | 3 | 4020 | 2000075799
238 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2081 | 2 | 2640 | 2000075216
239 | JAGDALPUR TOWN | 11KV Vargish Feeder | 841 | 4 | 6540 | 2000023847
240 | JAGDALPUR TOWN | 11KV Green City Feeder | 516 | 3 | 3960 | 2000075215
241 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1423 | 5 | 9960 | 2000004349
242 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 185 | 4 | 4740 | 2000004347
243 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2024 | 8 | 3420 | 2000004344
244 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1865 | 11 | 11880 | 2000004342
245 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1939 | 13 | 9000 | 2000004341
246 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2111 | 6 | 7740 | 2000004340
247 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2515 | 10 | 12240 | 2000004339
248 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3619 | 8 | 3960 | 2000004338
249 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1810 | 3 | 4740 | 2000004337
250 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1545 | 9 | 13860 | 2000004335
251 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 943 | 4 | 4560 | 2000004334
252 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1249 | 11 | 7920 | 2000004332
253 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2085 | 3 | 2400 | 2000004330
254 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 334 | 3 | 3540 | 2000004329
255 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1730 | 13 | 14880 | 2000015850
256 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 3439 | 8 | 8640 | 2000001051
257 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 2023 | 4 | 99960 | 2000001048
258 | KAWARDHA TOWN | 11KV VIP FEEDER | 345 | 4 | 2280 | 2000001052
259 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3353 | 6 | 17460 | 2000001054
260 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 390 | 4 | 3180 | 2000075551
261 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2089 | 4 | 3180 | 2000075552
262 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1875 | 4 | 3180 | 2000075553
263 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 279 | 5 | 2760 | 2000001055
264 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 3070 | 3 | 177780 | 2000001045
265 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1578 | 7 | 7500 | 2000001047
266 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1697 | 3 | 3360 | 2000006783
267 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 225 | 9 | 17040 | 2000021289
268 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 948 | 9 | 17100 | 2000021288
269 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1452 | 6 | 6480 | 2000020122
270 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 10 | 11520 | 2000021425
271 | KORBA TOWN | 11KV TINADAFAI FEEDER | 735 | 3 | 2220 | 2000075797
272 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 3 | 2400 | 2000006490
273 | KORBA TOWN | 11KV ABC FEEDER | 1476 | 5 | 6420 | 2000006759
274 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 87 | 12 | 8100 | 2000075849
275 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3667 | 18 | 32040 | 2000006761
276 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 858 | 10 | 6780 | 2000006762
277 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1916 | 15 | 25620 | 2000006763
278 | KORBA TOWN | 11KV BULGI FEEDER | 999 | 11 | 8700 | 2000006764
279 | KORBA TOWN | 11KV DARRI FEEDER | 1311 | 4 | 5340 | 2000006767
280 | KORBA TOWN | 11KV DADAR FEEDER | 716 | 7 | 8880 | 2000006768
281 | KORBA TOWN | 11KV DEFR FEEDER | 1741 | 5 | 6420 | 2000006769
282 | KORBA TOWN | 11KV DUMARDIHFEEDER | 20 | 10 | 6840 | 2000006770
283 | KORBA TOWN | 11KV DARRI-1 FEEDER | 718 | 8 | 9480 | 2000006771
284 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 798 | 21 | 27780 | 2000006773
285 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 920 | 11 | 10380 | 2000006775
286 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 262 | 9 | 8040 | 2000006776
287 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 223 | 7 | 6360 | 2000006778
288 | KORBA TOWN | 11KV KOSABADI FEEDER | 1331 | 4 | 1560 | 2000006780
289 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1236 | 6 | 4560 | 2000006782
290 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 65 | 4 | 1500 | 2000006797
291 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 941 | 4 | 4680 | 2000006796
292 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2365 | 4 | 4740 | 2000006795
293 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1051 | 17 | 31080 | 2000006794
294 | KORBA TOWN | 11KV RURAL FEEDER | 3777 | 3 | 4260 | 2000006792
295 | KORBA TOWN | 11KV RAMPUR FEEDER | 809 | 4 | 1500 | 2000006791
296 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 11 | 11820 | 2000006790
297 | KORBA TOWN | 11KV PARSABADA FEEDER | 1369 | 5 | 12300 | 2000006789
298 | KORBA TOWN | 11KV POWERCITY FEEDER | 631 | 4 | 5280 | 2000006788
299 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1207 | 6 | 4560 | 2000006787
300 | KORBA TOWN | 11KV P.HROAD FEEDER | 1379 | 13 | 10800 | 2000006785
301 | KORBA TOWN | 11KV NIHARIKA FEEDER | 702 | 7 | 5640 | 2000006784
302 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1493 | 8 | 7500 | 2000006798
303 | KORBA TOWN | 11KV BUDHWARI FEEDER | 750 | 4 | 2040 | 2000015220
304 | KORBA TOWN | 11KV SEMIPALI | 446 | 5 | 5280 | 2000015240
305 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 192 | 3 | 1140 | 2000020121
306 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 17 | 20040 | 2000016028
307 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1968 | 5 | 4500 | 2000020065
308 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 8 | 27240 | 2000018988
309 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 398 | 3 | 1680 | 2000017805
310 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2111 | 6 | 5640 | 2000017804
311 | KORBA TOWN | 11KV RPNAGAR FEEDER | 870 | 4 | 4380 | 2000016912
312 | KORBA TOWN | 11KV BULGI FEEDER | 2481 | 4 | 5400 | 2000016255
313 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1920 | 10 | 9180 | 2000016201
314 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1812 | 7 | 2220 | 2000069911
315 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 52 | 4 | 3960 | 2000069912
316 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1794 | 2 | 360 | 2000069913
317 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 682 | 2 | 420 | 2000069914
318 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1796 | 2 | 960 | 2000001427
319 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 829 | 4 | 1860 | 2000001426
320 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 756 | 3 | 1380 | 2000001425
321 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 1235 | 3 | 6540 | 2000003055
322 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6161 | 3 | 6000 | 2000003057
323 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 169 | 11 | 12600 | 2000015467
324 | MUNGELI TOWN | 11KV COLECTER FEEDER | 773 | 9 | 7920 | 2000006460
325 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2112 | 3 | 2040 | 2000006458
326 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 15 | 55500 | 2000002458
327 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2630 | 9 | 10740 | 2000002462
328 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1492 | 7 | 9240 | 2000002463
329 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 622 | 11 | 12300 | 2000002464
330 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1865 | 15 | 20460 | 2000055675
331 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 922 | 14 | 17940 | 2000068276
332 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 116 | 15 | 8700 | 2000001623
333 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 33 | 14 | 8280 | 2000076054
334 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 375 | 16 | 7500 | 2000076053
335 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 381 | 20 | 8880 | 2000076052
336 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 743 | 25 | 11100 | 2000076051
337 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1500 | 23 | 25800 | 2000076050
338 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 15 | 8400 | 2000001625
339 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1514 | 11 | 3360 | 2000001628
340 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 32 | 15300 | 2000001629
341 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 1669 | 4 | 4860 | 2000001630
342 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 2343 | 30 | 26340 | 2000001631
343 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 1165 | 59 | 68280 | 2000001632
344 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3086 | 11 | 7740 | 2000001635
345 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 479 | 10 | 3000 | 2000001637
346 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1869 | 8 | 9720 | 2000016185
347 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 558 | 8 | 8520 | 2000016184
348 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 622 | 22 | 32700 | 2000016057
349 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 103 | 17 | 15360 | 2000016056
350 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 794 | 18 | 14940 | 2000017712
351 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1141 | 16 | 9060 | 2000016055
352 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 4 | 8400 | 2000016054
353 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1067 | 5 | 8940 | 2000016053
354 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1105 | 13 | 21780 | 2000016052
355 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 671 | 22 | 25560 | 2000020756
356 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3283 | 20 | 31980 | 2000003325
357 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1545 | 1 | 1740 | 2000021639
358 | RAIGARH TOWN | 11KV STADIUM FEEDER | 778 | 2 | 2100 | 2000022941
359 | RAIGARH TOWN | 11KV STATION FEEDER | 1569 | 12 | 9660 | 2000003324
360 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 348 | 20 | 15420 | 2000029091
361 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 6 | 7200 | 2000003323
362 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 868 | 9 | 8160 | 2000003321
363 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 625 | 19 | 15480 | 2000003320
364 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 241 | 6 | 8580 | 2000003312
365 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1389 | 6 | 7200 | 2000003301
366 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 1618 | 1 | 300 | 2000010582
367 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 252 | 2 | 2040 | 2000010583
368 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2787 | 2 | 11280 | 2000010587
369 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 556 | 3 | 3180 | 2000010588
370 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 907 | 2 | 2040 | 2000010589
371 | RAIPUR TOWN | 11KV GAD FEEDER | 776 | 3 | 2040 | 2000010590
372 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 811 | 2 | 1980 | 2000010591
373 | RAIPUR TOWN | 11KV MLA FEEDER | 1643 | 1 | 300 | 2000010595
374 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 64 | 8 | 3840 | 2000010596
375 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 618 | 1 | 12720 | 2000010599
376 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1646 | 4 | 270120 | 2000010600
377 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 994 | 2 | 720 | 2000010601
378 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1527 | 2 | 660 | 2000010602
379 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1543 | 4 | 6240 | 2000010603
380 | RAIPUR TOWN | 11KV ATARI FEEDER | 869 | 11 | 13080 | 2000010604
381 | RAIPUR TOWN | 11KV BANJARI FEEDER | 947 | 1 | 1140 | 2000010608
382 | RAIPUR TOWN | 11KV BASTAL FEEDER | 625 | 1 | 300 | 2000010610
383 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 714 | 3 | 1320 | 2000010611
384 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1036 | 6 | 3240 | 2000010614
385 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 1 | 3060 | 2000010616
386 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 183 | 2 | 3840 | 2000010617
387 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1904 | 2 | 2100 | 2000010618
388 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1550 | 1 | 1380 | 2000010621
389 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3131 | 1 | 1140 | 2000010622
390 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 941 | 2 | 19080 | 2000010624
391 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 79 | 1 | 780 | 2000010625
392 | RAIPUR TOWN | 11KV VIP CLUB FEEDER | 520 | 1 | 300 | 2000010626
393 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1979 | 2 | 1140 | 2000010628
394 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2729 | 1 | 360 | 2000010631
395 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2454 | 1 | 360 | 2000010632
396 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEED | 1837 | 1 | 300 | 2000010634
397 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 876 | 1 | 300 | 2000010635
398 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1037 | 2 | 1380 | 2000010636
399 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1107 | 2 | 660 | 2000010637
400 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1057 | 3 | 960 | 2000010638
401 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3201 | 2 | 3960 | 2000010639
402 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 770 | 4 | 7320 | 2000010642
403 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1239 | 2 | 1020 | 2000010643
404 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 408 | 1 | 360 | 2000010645
405 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1415 | 3 | 960 | 2000010649
406 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1515 | 2 | 660 | 2000010650
407 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 789 | 2 | 5820 | 2000010651
408 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2287 | 1 | 840 | 2000010652
409 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 492 | 4 | 253620 | 2000010654
410 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 418 | 2 | 720 | 2000010657
411 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 409 | 3 | 3180 | 2000010658
412 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 917 | 1 | 360 | 2000010659
413 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2310 | 3 | 2940 | 2000010662
414 | RAIPUR TOWN | 11KV LIC FEEDER | 1984 | 1 | 12300 | 2000010663
415 | RAIPUR TOWN | 11KV LALBAG FEEDER | 962 | 2 | 840 | 2000010665
416 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1737 | 2 | 2160 | 2000010667
417 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1302 | 1 | 18120 | 2000010672
418 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 15 | 2 | 780 | 2000010676
419 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 642 | 1 | 1320 | 2000010677
420 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1514 | 1 | 480 | 2000010680
421 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1181 | 4 | 8820 | 2000010681
422 | RAIPUR TOWN | 11KV KBT FEEDER | 1254 | 2 | 1800 | 2000010682
423 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 721 | 4 | 13080 | 2000010685
424 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 444 | 7 | 4500 | 2000010686
425 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 1084 | 2 | 1380 | 2000010687
426 | RAIPUR TOWN | 11KV RDA FEEDER | 849 | 2 | 2340 | 2000010689
427 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 414 | 1 | 300 | 2000010690
428 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 4 | 2 | 720 | 2000010694
429 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1662 | 3 | 960 | 2000010701
430 | RAIPUR TOWN | 11KV RULAR FEEDER | 606 | 2 | 5100 | 2000010703
431 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2966 | 2 | 720 | 2000010705
432 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 515 | 1 | 1080 | 2000010707
433 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2618 | 1 | 840 | 2000010709
434 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1900 | 1 | 1320 | 2000010711
435 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 996 | 1 | 660 | 2000010712
436 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 721 | 1 | 360 | 2000010713
437 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1697 | 1 | 1260 | 2000010714
438 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 1999 | 2 | 2880 | 2000010715
439 | RAIPUR TOWN | 11KV RDA FEEDER | 2093 | 2 | 3900 | 2000010717
440 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1500 | 1 | 1800 | 2000010718
441 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 408 | 1 | 1200 | 2000010719
442 | RAIPUR TOWN | 11KV SARORA FEEDER | 565 | 3 | 1800 | 2000010720
443 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2792 | 1 | 960 | 2000010722
444 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2313 | 2 | 2280 | 2000010723
445 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1406 | 1 | 1200 | 2000010725
446 | RAIPUR TOWN | 11KV TV FEEDER | 1687 | 4 | 2940 | 2000010728
447 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1207 | 2 | 1320 | 2000010729
448 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1393 | 1 | 3180 | 2000010731
449 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 6 | 3240 | 2000010733
450 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2844 | 3 | 2280 | 2000010735
451 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 479 | 1 | 300 | 2000010737
452 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 65 | 2 | 2460 | 2000010738
453 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 411 | 2 | 900 | 2000010739
454 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2723 | 2 | 2460 | 2000010740
455 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2398 | 3 | 3660 | 2000010741
456 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 73 | 3 | 5280 | 2000010742
457 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 26 | 3 | 5280 | 2000010743
458 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 371 | 3 | 5280 | 2000010744
459 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1781 | 3 | 4800 | 2000017238
460 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 921 | 2 | 720 | 2000017256
461 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2279 | 2 | 2220 | 2000017261
462 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1355 | 6 | 8340 | 2000017508
463 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2485 | 2 | 780 | 2000017567
464 | RAIPUR TOWN | 11KV WHITE HOUSE | 795 | 5 | 59340 | 2000017568
465 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 613 | 8 | 5400 | 2000017569
466 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 708 | 4 | 6600 | 2000017590
467 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1626 | 2 | 2220 | 2000017597
468 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 895 | 1 | 300 | 2000017599
469 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1576 | 3 | 2820 | 2000017611
470 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 455 | 1 | 1080 | 2000017612
471 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 869 | 1 | 360 | 2000017615
472 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 342 | 2 | 1320 | 2000017617
473 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2070 | 1 | 300 | 2000017621
474 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 646 | 6 | 143280 | 2000017623
475 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 801 | 2 | 3900 | 2000017624
476 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 419 | 5 | 3060 | 2000017626
477 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 936 | 4 | 6600 | 2000017628
478 | RAIPUR TOWN | 11KV MIG FEEDER | 347 | 1 | 600 | 2000017671
479 | RAIPUR TOWN | 11KV G+10 FEEDER | 428 | 1 | 600 | 2000017673
480 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 267 | 3 | 1800 | 2000017674
481 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1885 | 1 | 1200 | 2000017690
482 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 859 | 1 | 300 | 2000017721
483 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1087 | 1 | 360 | 2000017755
484 | RAIPUR TOWN | 11KV MOTHER TERESA | 823 | 1 | 300 | 2000017756
485 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 513 | 2 | 13500 | 2000017757
486 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1299 | 6 | 25620 | 2000017771
487 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1497 | 4 | 2100 | 2000017772
488 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 682 | 4 | 2160 | 2000017773
489 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3342 | 4 | 9960 | 2000017808
490 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1193 | 1 | 4560 | 2000017819
491 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1143 | 4 | 34320 | 2000017867
492 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1970 | 2 | 28620 | 2000017868
493 | RAIPUR TOWN | 11KV GANESH MANDIR | 234 | 2 | 23100 | 2000017869
494 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1401 | 1 | 30180 | 2000017870
495 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 260 | 2 | 2700 | 2000017871
496 | RAIPUR TOWN | 11KV NAVEEN MARKET | 894 | 3 | 33900 | 2000017953
497 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2754 | 2 | 30120 | 2000017954
498 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1162 | 7 | 8280 | 2000017962
499 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 336 | 2 | 780 | 2000018004
500 | RAIPUR TOWN | 11KV SADDU FEEDER | 312 | 5 | 3660 | 2000018005
501 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1570 | 2 | 780 | 2000018006
502 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 356 | 2 | 2340 | 2000018359
503 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1423 | 2 | 1500 | 2000018361
504 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 2 | 5820 | 2000018378
505 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1030 | 1 | 300 | 2000018394
506 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 619 | 1 | 480 | 2000018396
507 | RAIPUR TOWN | 11KV IGVP | 376 | 2 | 840 | 2000018397
508 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 350 | 1 | 360 | 2000018398
509 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 1 | 1320 | 2000018416
510 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 753 | 5 | 4800 | 2000018783
511 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2575 | 2 | 1200 | 2000018949
512 | RAIPUR TOWN | 11KV HEERA FEEDER | 3102 | 3 | 1800 | 2000019180
513 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 509 | 3 | 3960 | 2000019181
514 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1692 | 5 | 10080 | 2000019184
515 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 681 | 4 | 1680 | 2000019185
516 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1370 | 4 | 1680 | 2000019186
517 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1316 | 2 | 1980 | 2000019334
518 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1276 | 1 | 300 | 2000019340
519 | RAIPUR TOWN | 11KV BSUP FEEDER | 111 | 1 | 300 | 2000019341
520 | RAIPUR TOWN | 11KV CTI FEEDER | 261 | 1 | 300 | 2000019342
521 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 986 | 1 | 1740 | 2000019485
522 | RAIPUR TOWN | 11KV PS CITY | 1398 | 3 | 9660 | 2000019530
523 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 288 | 1 | 2040 | 2000019850
524 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 129 | 1 | 2040 | 2000019851
525 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 173 | 1 | 1620 | 2000019853
526 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1867 | 1 | 960 | 2000019857
527 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1585 | 3 | 5220 | 2000019858
528 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1898 | 4 | 1860 | 2000020120
529 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 2 | 1260 | 2000020123
530 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 17 | 3 | 3480 | 2000020130
531 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 282 | 2 | 5160 | 2000020131
532 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 1 | 360 | 2000020132
533 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1437 | 2 | 720 | 2000020153
534 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2637 | 1 | 780 | 2000020581
535 | RAIPUR TOWN | 11KV MOTIBAGH | 741 | 1 | 300 | 2000021115
536 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1412 | 2 | 1920 | 2000021220
537 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 779 | 3 | 2820 | 2000021286
538 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1502 | 2 | 1260 | 2000021287
539 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 65 | 2 | 1380 | 2000021421
540 | RAIPUR TOWN | 11KV DUNDA FEEDER | 964 | 2 | 1440 | 2000021424
541 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1425 | 1 | 420 | 2000023680
542 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1605 | 2 | 660 | 2000023735
543 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 131 | 1 | 1320 | 2000023736
544 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1668 | 1 | 1140 | 2000023772
545 | RAIPUR TOWN | 11KV SBI FEEDER | 1306 | 2 | 2460 | 2000023790
546 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 471 | 1 | 1740 | 2000023848
547 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1300 | 1 | 1140 | 2000024395
548 | RAIPUR TOWN | 11KV KACHNA FEEDER | 152 | 1 | 300 | 2000026462
549 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2334 | 1 | 900 | 2000026575
550 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1549 | 1 | 540 | 2000026582
551 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1013 | 1 | 540 | 2000026583
552 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1080 | 1 | 540 | 2000026584
553 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1266 | 1 | 840 | 2000026586
554 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 252 | 3 | 2820 | 2000029194
555 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 188 | 2 | 1680 | 2000029195
556 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 310 | 1 | 300 | 2000029196
557 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 775 | 4 | 6300 | 2000034422
558 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2535 | 3 | 3360 | 2000034760
559 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 672 | 3 | 3420 | 2000034761
560 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1548 | 3 | 3360 | 2000034762
561 | RAIPUR TOWN | 11KV PRIDE FEEDER | 186 | 3 | 3420 | 2000039215
562 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 1006 | 3 | 4800 | 2000046448
563 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 39 | 2 | 1440 | 2000064021
564 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 202 | 6 | 7200 | 2000070080
565 | RAIPUR TOWN | 11KV C&F FEEDER | 79 | 4 | 2880 | 2000070702
566 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 112 | 4 | 4260 | 2000070703
567 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 731 | 1 | 13440 | 2000070748
568 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2610 | 1 | 300 | 2000071570
569 | RAIPUR TOWN | 11KV Feeder I Feeder | 80 | 2 | 1200 | 2000071756
570 | RAIPUR TOWN | 11KV Feeder II Feeder | 155 | 2 | 1200 | 2000071758
571 | RAIPUR TOWN | 11KV Feeder III Feeder | 30 | 2 | 1200 | 2000071760
572 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2671 | 3 | 1140 | 2000072091
573 | RAIPUR TOWN | 11KV Simran City Feeder | 1193 | 3 | 1260 | 2000074141
574 | RAIPUR TOWN | 11KV Park Side Feeder | 111 | 1 | 300 | 2000075451
575 | RAIPUR TOWN | 11KV Sumet Feeder | 98 | 1 | 360 | 2000075452
576 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 702 | 13 | 23280 | 2000075643
577 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 961 | 3 | 1260 | 2000075796
578 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 46 | 1 | 540 | 2000075801
579 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 296 | 1 | 600 | 2000075802
580 | RAIPUR TOWN | 11KV CM House Feeder | 3 | 2 | 720 | 2000076123
581 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1534 | 3 | 1920 | 2000006488