## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Sept'19
Period: |  | 1st Aug'19 to 31st Aug'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 219
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 31 | 26 | 29700 | 2000014959
2 | AMBIKAPUR TOWN | 11KV LAXMIPURFEEDER | 1778 | 44 | 489360 | 2000003850
3 | AMBIKAPUR TOWN | 11KV GANDHINAGARFEEDER | 3453 | 26 | 1033260 | 2000003848
4 | AMBIKAPUR TOWN | 11KV COLONYFEEDER | 280 | 10 | 13920 | 2000003841
5 | BILASPUR TOWN | 11KV DHEKAFEEDER | 332 | 28 | 67200 | 2000004877
6 | BILASPUR TOWN | 11KV DOMUHANIFEEDER | 547 | 15 | 39060 | 2000004879
7 | BILASPUR TOWN | 11KV GANESHNAGARFEEDER | 3271 | 21 | 24960 | 2000004882
8 | BILASPUR TOWN | 11KV GOALBAZARFEEDER | 1332 | 6 | 3660 | 2000004883
9 | BILASPUR TOWN | 11KV INDIRACHOWKFEEDER | 2622 | 17 | 14160 | 2000004889
10 | BILASPUR TOWN | 11KV JUNABILASPURFEEDER | 575 | 17 | 21960 | 2000004892
11 | BILASPUR TOWN | 11KV LOKHANDIFEEDER | 4 | 42 | 101820 | 2000004897
12 | BILASPUR TOWN | 11KV MAHMANDLALKHADANFEEDER | 1221 | 17 | 34560 | 2000004900
13 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4276 | 19 | 37020 | 2000004909
14 | BILASPUR TOWN | 11KV RULERFEEDER | 1746 | 25 | 42840 | 2000004916
15 | BILASPUR TOWN | 11KV TUNKI-1FEEDER | 348 | 19 | 22320 | 2000004923
16 | BILASPUR TOWN | 11KV IMLIBHATAFEEDER | 731 | 21 | 30720 | 2000016310
17 | BILASPUR TOWN | 11KV BIRKONAFEEDER | 832 | 26 | 30000 | 2000016311
18 | BILASPUR TOWN | 11KV LODHIPARAFEEDER | 1010 | 36 | 1312680 | 2000016314
19 | BILASPUR TOWN | 11KV NEWMOPKA | 1355 | 8 | 11160 | 2000017224
20 | BILASPUR TOWN | 11KV MAHAVEERCITY | 287 | 8 | 5760 | 2000017226
21 | BILASPUR TOWN | 11KV LINGYADIHFEEDER | 2400 | 19 | 36840 | 2000017505
22 | BILASPUR TOWN | 11KV ALKAAVENUECOLONYFEEDER | 4 | 1 | 600 | 2000017776
23 | BILASPUR TOWN | 11KV ALKAAVENUECOLONY2 | 2 | 15 | 28800 | 2000017777
24 | BILASPUR TOWN | 11KV USLAPUROVERBRIDGEFEEDER | 316 | 47 | 83700 | 2000017780
25 | BILASPUR TOWN | 11KV ABHISHEKVIHARFEEDER | 277 | 16 | 25860 | 2000017781
26 | BILASPUR TOWN | 11KV NARIALKOTHIFEEDER | 799 | 15 | 19560 | 2000018761
27 | BILASPUR TOWN | 11KV GANDHICHOWKFEEDER | 1776 | 11 | 15360 | 2000018762
28 | BILASPUR TOWN | 11KV KATIYAPARAFEEDER | 472 | 13 | 15660 | 2000018763
29 | BILASPUR TOWN | 11KV JAILROADFEEDER | 354 | 8 | 12120 | 2000020488
30 | BILASPUR TOWN | 11KV NEHRUCHOWKFEEDER | 1231 | 13 | 420600 | 2000020489
31 | BILASPUR TOWN | 11KV TELEPHONEEXCHANGEFEEDER | 1193 | 4 | 1560 | 2000020490
32 | BILASPUR TOWN | 11KV CMDCOLLEGEFEEDER | 944 | 20 | 18480 | 2000020582
33 | BILASPUR TOWN | 11KV VIJAYNAGARFEEDER | 261 | 2 | 8460 | 2000022060
34 | BILASPUR TOWN | 11KV HOUSINGBOARDFEEDER | 416 | 18 | 19860 | 2000022061
35 | DALLI RAJHARA TOWN | 11KV RAJHARABABAFEEDER | 2046 | 17 | 46800 | 2000003196
36 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 2 | 12 | 16980 | 2000015505
37 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 963 | 17 | 1701240 | 2000002568
38 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 11 | 10200 | 2000002573
39 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 1405 | 1 | 3420 | 2000001298
40 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 849 | 18 | 12840 | 2000007687
41 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1034 | 1 | 2880 | 2000007689
42 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3942 | 1 | 3540 | 2000007705
43 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 815 | 1 | 3660 | 2000007720
44 | DURG BHILAI CHARODA TOWN | 11KV RAILWAYFEEDER | 1140 | 1 | 2040 | 2000007751
45 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHAFEEDER | 1938 | 13 | 12540 | 2000007754
46 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGARFEEDER | 1398 | 10 | 7320 | 2000007762
47 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1480 | 9 | 50700 | 2000007776
48 | DURG BHILAI CHARODA TOWN | 11KV VANDEMATARAM | 1267 | 40 | 1436820 | 2000017054
49 | DURG BHILAI CHARODA TOWN | 11KV CHURCHFEEDER | 1127 | 2 | 720 | 2000017055
50 | DURG BHILAI CHARODA TOWN | 11KV RISALIBASTIFEEDER | 1058 | 7 | 3960 | 2000017056
51 | DURG BHILAI CHARODA TOWN | 11KV SAFBATALIAN | 759 | 4 | 2400 | 2000017057
52 | DURG BHILAI CHARODA TOWN | 11KV STEELCOLONY | 923 | 11 | 6360 | 2000017058
53 | DURG BHILAI CHARODA TOWN | 11KV KATUNBOAD | 2027 | 6 | 10440 | 2000017059
54 | DURG BHILAI CHARODA TOWN | 11KV GREENCHOWK | 514 | 10 | 13440 | 2000017060
55 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1099 | 6 | 4020 | 2000017061
56 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAKFEEDER | 574 | 8 | 8100 | 2000017062
57 | DURG BHILAI CHARODA TOWN | 11KV MAUHARIFEEDER | 2291 | 2 | 3360 | 2000017064
58 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1325 | 9 | 5880 | 2000017065
59 | DURG BHILAI CHARODA TOWN | 11KV SHANTINAGARFEEDER | 1095 | 5 | 2640 | 2000017066
60 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 576 | 2 | 1500 | 2000017067
61 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 846 | 6 | 3660 | 2000017069
62 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 1992 | 9 | 5940 | 2000017071
63 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 451 | 3 | 4080 | 2000017076
64 | DURG BHILAI CHARODA TOWN | 11KV SANJAYNAGARFEEDER | 2471 | 14 | 15420 | 2000018574
65 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANIPARISARFEEDER | 299 | 12 | 10140 | 2000018704
66 | DURG BHILAI CHARODA TOWN | 11KV KOSANAGARFEEDER | 1378 | 1 | 2520 | 2000018705
67 | DURG BHILAI CHARODA TOWN | 11KV SUPELATHANAFEEDER | 1806 | 17 | 17520 | 2000018706
68 | DURG BHILAI CHARODA TOWN | 11KV Rajiv Nagar Feeder | 1529 | 80 | 1954740 | 2000018723
69 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 764 | 5 | 41700 | 2000019819
70 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 1058 | 5 | 2040 | 2000020519
71 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 3120 | 16 | 10620 | 2000021263
72 | DURG BHILAI CHARODA TOWN | 11KV Khandelwal Feeder | 1103 | 6 | 42000 | 2000021357
73 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWKFEEDER | 355 | 7 | 23280 | 2000025794
74 | DURG BHILAI CHARODA TOWN | 11KV SCADAFEEDER | 1 | 1 | 1620 | 2000027337
75 | DURG BHILAI CHARODA TOWN | 11KV KRISHNANAGARFEEDER | 1954 | 14 | 21180 | 2000029190
76 | DURG BHILAI CHARODA TOWN | 11KV NIZAMCHOWKFEEDER | 1153 | 19 | 27780 | 2000029191
77 | DURG BHILAI CHARODA TOWN | 11KV AVANTIBAICHOWKFEEDER | 685 | 14 | 2210040 | 2000029192
78 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1657 | 14 | 26220 | 2000029193
79 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FEEDER | 56 | 15 | 24060 | 2000049820
80 | DURG BHILAI CHARODA TOWN | 11KV KUNDRAPARAFEEDER | 1365 | 4 | 19500 | 2000067876
81 | DURG BHILAI CHARODA TOWN | 11KV Mawle Feeder | 3 | 2 | 1380 | 2000068108
82 | DURG BHILAI CHARODA TOWN | 11KV Umda Road Feeder | 4 | 3 | 2100 | 2000068109
83 | DURG BHILAI CHARODA TOWN | 11KV Rajaram Feeder | 1 | 3 | 2040 | 2000068110
84 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3555 | 10 | 2940 | 2000004348
85 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3027 | 4 | 3120 | 2000004345
86 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 1882 | 10 | 9540 | 2000004343
87 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1353 | 5 | 6780 | 2000004336
88 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 5 | 77160 | 2000006770
89 | KORBA TOWN | 11KV PUMPHOUSEFEEDER | 688 | 34 | 55920 | 2000006787
90 | KORBA TOWN | 11KV SARMANGLAFEEDER | 711 | 1 | 6240 | 2000006794
91 | KORBA TOWN | 11KV T.PNAGARFEEDER | 1173 | 17 | 250200 | 2000006798
92 | KORBA TOWN | 11KV SARASWATISHISHUMANDIRFEEDER | 355 | 4 | 10320 | 2000017805
93 | KORBA TOWN | 11KV SHARDAVIHARFEEDER | 1100 | 57 | 891480 | 2000020122
94 | KORBA TOWN | 11KV RATAKHARMISSIONROADFEEDER | 1055 | 42 | 816240 | 2000021425
95 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 24 | 35460 | 2000001426
96 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 8 | 21180 | 2000001425
97 | MUNGELI TOWN | 11KV TOWN-4TEMRIFEEDER | 141 | 20 | 70560 | 2000015467
98 | MUNGELI TOWN | 11KV KHARAGHATFEEDER | 1856 | 1 | 1358040 | 2000006458
99 | MUNGELI TOWN | 11KV RAMGARHFEEDER | 1785 | 19 | 23340 | 2000055675
100 | MUNGELI TOWN | 11KV TOWN-5FEEDER | 830 | 17 | 47460 | 2000068276
101 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 734 | 19 | 287040 | 2000002458
102 | RAIGARH TOWN | 11KV GARGHORAFEEDER | 1037 | 3 | 5940 | 2000003310
103 | RAIGARH TOWN | 11KV CITY-2FEEDER | 1443 | 3 | 5940 | 2000003304
104 | RAIGARH TOWN | 11KV CITY-1FEEDER | 1601 | 3 | 5940 | 2000003303
105 | RAIGARH TOWN | 11KV STADIUMFEEDER | 616 | 24 | 31020 | 2000022941
106 | RAIGARH TOWN | 11KV GOWARDHANPURFEEDER | 401 | 7 | 9720 | 2000016184
107 | RAIGARH TOWN | 11KV KELOVIHARCOLONYFEEDER | 506 | 45 | 76140 | 2000016057
108 | RAIGARH TOWN | 11KV PANJARIPLANTFEEDER | 1015 | 43 | 81360 | 2000016055
109 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1033 | 2 | 30600 | 2000010603
110 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 320 | 1 | 6480 | 2000010605
111 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 567 | 1 | 8340 | 2000010606
112 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1596 | 1 | 600 | 2000010611
113 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 FEEDER | 1511 | 2 | 900 | 2000010621
114 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2597 | 8 | 4920 | 2000010631
115 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2214 | 8 | 8820 | 2000010632
116 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 364 | 1 | 609000 | 2000010645
117 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 781 | 9 | 4140 | 2000010651
118 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2050 | 1 | 18180 | 2000010656
119 | RAIPUR TOWN | 11KV LORDCITYFEEDER | 61 | 2 | 1500 | 2000010660
120 | RAIPUR TOWN | 11KV Sale Tax Coloney Feeder | 3004 | 3 | 43740 | 2000010662
121 | RAIPUR TOWN | 11KV LALBAG FEEDER | 927 | 3 | 7800 | 2000010665
122 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1784 | 1 | 18060 | 2000010668
123 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 711 | 3 | 632100 | 2000010685
124 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 600 | 1 | 2820 | 2000010687
125 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3283 | 3 | 1080 | 2000010702
126 | RAIPUR TOWN | 11KV SAMTA FEEDER | 565 | 1 | 1217340 | 2000010704
127 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 499 | 4 | 19620 | 2000010707
128 | RAIPUR TOWN | 11KV GANESHMANDIRFEEDER | 965 | 6 | 4440 | 2000010712
129 | RAIPUR TOWN | 11KV Sector -5 | 745 | 7 | 11400 | 2000010721
130 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2737 | 1 | 1440 | 2000010722
131 | RAIPUR TOWN | 11KV Gayatri Nagar Feeder | 1309 | 4 | 70740 | 2000010726
132 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2176 | 2 | 88620 | 2000017238
133 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 1007 | 6 | 6780 | 2000017256
134 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2506 | 7 | 18360 | 2000017567
135 | RAIPUR TOWN | 11KV WHITE HOUSE | 797 | 7 | 60900 | 2000017568
136 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 604 | 6 | 5460 | 2000017569
137 | RAIPUR TOWN | 11KV MMIKRISHNANAGARFEEDER | 1799 | 5 | 9180 | 2000017608
138 | RAIPUR TOWN | 11KV VIDYABHAWANFEEDER | 69 | 1 | 720 | 2000017613
139 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 786 | 9 | 7740 | 2000017671
140 | RAIPUR TOWN | 11KV Wholesale Market Feeder | 258 | 1 | 2940 | 2000017674
141 | RAIPUR TOWN | 11KV Suraj Nagar | 1513 | 11 | 51720 | 2000017690
142 | RAIPUR TOWN | 11KV Roman Square | 579 | 8 | 40740 | 2000017691
143 | RAIPUR TOWN | 11KV Krishak Nagar | 179 | 8 | 38940 | 2000017692
144 | RAIPUR TOWN | 11KV Shailendra Nagar Feeder | 1123 | 7 | 3780 | 2000017755
145 | RAIPUR TOWN | 11KV MOTHER TERESA | 838 | 7 | 5340 | 2000017756
146 | RAIPUR TOWN | 11KV Sangwari Feeder | 510 | 7 | 4620 | 2000017757
147 | RAIPUR TOWN | 11KV GODHLIWALAFEEDER | 1102 | 11 | 21840 | 2000017771
148 | RAIPUR TOWN | 11KV HARSHVIHARFEEDER | 1416 | 13 | 10140 | 2000017772
149 | RAIPUR TOWN | 11KV GAUTAMVIHARFEEDER | 649 | 5 | 3180 | 2000017773
150 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 720 | 4 | 15480 | 2000017817
151 | RAIPUR TOWN | 11KV STATIONROADFEEDER | 1156 | 15 | 27240 | 2000017867
152 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1944 | 10 | 12180 | 2000017868
153 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 212 | 10 | 23400 | 2000017869
154 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1398 | 16 | 635400 | 2000017870
155 | RAIPUR TOWN | 11KV ACREPLOTFEEDER | 257 | 12 | 628440 | 2000017871
156 | RAIPUR TOWN | 11KV NAVEEN MARKET | 876 | 7 | 16380 | 2000017953
157 | RAIPUR TOWN | 11KV AZADCHOWKFEEDER | 2707 | 10 | 29220 | 2000017954
158 | RAIPUR TOWN | 11KV MG ROAD | 1620 | 9 | 19440 | 2000017955
159 | RAIPUR TOWN | 11KV Son Dongari Feeder | 919 | 1 | 4080 | 2000017962
160 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 336 | 6 | 22020 | 2000018004
161 | RAIPUR TOWN | 11KV Saddu Feeder | 303 | 9 | 31680 | 2000018005
162 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1374 | 18 | 34380 | 2000018006
163 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 374 | 13 | 637860 | 2000018359
164 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 462 | 6 | 13860 | 2000018416
165 | RAIPUR TOWN | 11KV Dumartarai Feeder | 761 | 1 | 7320 | 2000018783
166 | RAIPUR TOWN | 11KV HEERA FEEDER | 3347 | 14 | 10080 | 2000019180
167 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2811 | 5 | 4380 | 2000019334
168 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 452 | 2 | 1500 | 2000019340
169 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1265 | 3 | 4140 | 2000019530
170 | RAIPUR TOWN | 11KV Ashiyana Feeder | 720 | 11 | 24420 | 2000019697
171 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 2067 | 7 | 4380 | 2000020009
172 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2795 | 5 | 3420 | 2000020119
173 | RAIPUR TOWN | 11KV Sun City Feeder | 5 | 15 | 394200 | 2000020123
174 | RAIPUR TOWN | 11KV Station Road Feeder | 2504 | 6 | 11040 | 2000020130
175 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 104 | 6 | 9960 | 2000020131
176 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 4 | 5460 | 2000020132
177 | RAIPUR TOWN | 11KV Khalwada Feeder | 3516 | 11 | 7800 | 2000020153
178 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 357 | 8 | 1994520 | 2000020193
179 | RAIPUR TOWN | 11KV Medishine Feeder | 1007 | 7 | 13740 | 2000020194
180 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1703 | 10 | 29700 | 2000021219
181 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1382 | 4 | 2940 | 2000021220
182 | RAIPUR TOWN | 11KV Parsuram Feeder | 1764 | 4 | 3000 | 2000021221
183 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 762 | 14 | 11160 | 2000021286
184 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1351 | 9 | 4200 | 2000021287
185 | RAIPUR TOWN | 11KV OM Complex Feeder | 1460 | 7 | 8220 | 2000021615
186 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 1376 | 2 | 2220 | 2000022077
187 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 814 | 1 | 1260 | 2000022078
188 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1358 | 3 | 17340 | 2000022079
189 | RAIPUR TOWN | 11KV Naharpara Feeder | 1421 | 10 | 133440 | 2000023680
190 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1541 | 9 | 4080 | 2000023735
191 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1693 | 10 | 14160 | 2000023772
192 | RAIPUR TOWN | 11KV SBI FEEDER | 1306 | 9 | 557520 | 2000023790
193 | RAIPUR TOWN | 11KV SHRIRAM LOTUS VALLEY | 1057 | 5 | 3120 | 2000024395
194 | RAIPUR TOWN | 11KV NIRKAMALFURNITUREFEEDER | 2305 | 3 | 10740 | 2000026575
195 | RAIPUR TOWN | 11KV ADIWASICOLONYFEEDER | 1483 | 2 | 660 | 2000026582
196 | RAIPUR TOWN | 11KV BHEEMNAGARFEEDER | 977 | 2 | 660 | 2000026583
197 | RAIPUR TOWN | 11KV GIRIRAJTOWERFEEDER | 1033 | 4 | 7860 | 2000026584
198 | RAIPUR TOWN | 11KV Jivan Parisar Feeder | 619 | 4 | 12840 | 2000026585
199 | RAIPUR TOWN | 11KV PANITANKIZONENO.3FEEDER | 275 | 8 | 18060 | 2000026586
200 | RAIPUR TOWN | 11KV FEEDER3 | 324 | 13 | 45000 | 2000029194
201 | RAIPUR TOWN | 11KV FEEDER2 | 133 | 6 | 3540 | 2000029195
202 | RAIPUR TOWN | 11KV Bazar Chowk Feeder | 1302 | 2 | 16740 | 2000034421
203 | RAIPUR TOWN | 11KV Over Bridge Feeder | 236 | 4 | 25740 | 2000034422
204 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 741 | 3 | 17940 | 2000034423
205 | RAIPUR TOWN | 11KV Vikas Nagar Feeder | 2442 | 5 | 15360 | 2000034760
206 | RAIPUR TOWN | 11KV Teacher Colony Feeder | 420 | 3 | 8460 | 2000034761
207 | RAIPUR TOWN | 11KV Sainath Feeder | 1728 | 3 | 13740 | 2000034762
208 | RAIPUR TOWN | 11KV SIB COLONY Feeder | 38 | 1 | 4860 | 2000064021
209 | RAIPUR TOWN | 11KV Happy Daba Feeder | 160 | 6 | 7680 | 2000070080
210 | RAIPUR TOWN | 11KV KARA FEEDER | 24 | 15 | 54360 | 2000071634
211 | RAJNANDGAON TOWN | 11KV HOSPITALFEEDER | 879 | 53 | 146880 | 2000069535
212 | RAJNANDGAON TOWN | 11KV R K Nagar | 485 | 2 | 1920 | 2000015478
213 | RAJNANDGAON TOWN | 11KV MOTHIPURFEEDER | 2413 | 1 | 300 | 2000014956
214 | RAJNANDGAON TOWN | 11KV LITIYAFEEDER | 2368 | 1 | 3120 | 2000014955
215 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 2630 | 25 | 77340 | 2000006488
216 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3193 | 12 | 6720 | 2000001956
217 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2082 | 11 | 5040 | 2000001958
218 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 852 | 17 | 15240 | 2000001959
219 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 2477 | 2 | 1620 | 2000001970