## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 30/04/2022
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 30 | 30 | 30
2 | BHATAPARA TOWN | 12 | 12 | 12
3 | BILASPUR TOWN | 87 | 87 | 87
4 | CHAMPA TOWN | 12 | 12 | 10
5 | CHIRMIRI TOWN | 3 | 3 | 3
6 | DALLI RAJHARA TOWN | 1 | 1 | 1
7 | DHAMTARI TOWN | 15 | 15 | 14
8 | DONGARGARH TOWN | 5 | 5 | 5
9 | DURG BHILAI CHARODA TOWN | 165 | 165 | 163
10 | JAGDALPUR TOWN | 26 | 26 | 23
11 | KANKER TOWN | 5 | 5 | 5
12 | KAWARDHA TOWN | 10 | 10 | 10
13 | KORBA TOWN | 67 | 67 | 67
14 | MAHASAMUND TOWN | 11 | 11 | 11
15 | MANENDRAGARH TOWN | 5 | 5 | 4
16 | MUNGELI TOWN | 8 | 8 | 8
17 | NAILA JANJGIR TOWN | 21 | 21 | 20
18 | RAIGARH TOWN | 56 | 56 | 55
19 | RAIPUR TOWN | 332 | 332 | 332
20 | RAJNANDGAON TOWN | 40 | 40 | 40
21 | AAMADI (NP) | 4 | 4 | 4
22 | ABHANPUR (NP) | 8 | 8 | 7
23 | ADBHAR (NP) | 1 | 1 | 1
24 | AHIWARA (NP) | 6 | 6 | 4
25 | AKALTARA (M) | 7 | 7 | 5
26 | AMBAGARH CHOWKI (NP) | 2 | 2 | 1
27 | ANTAGARH (NP) | 1 | 1 | 1
28 | ARANG (NP) | 7 | 7 | 5
29 | ARJUNDA (NP) | 2 | 2 | 1
30 | BADE BACHELI (M) | 4 | 4 | 1
31 | BAGICHA (NP) | 1 | 1 | 0
32 | BAIKUNTHPUR (M) | 3 | 3 | 2
33 | BALOD (M) | 6 | 6 | 6
34 | BALODA (NP) | 2 | 2 | 1
35 | BALODA BAZAR (M) | 7 | 7 | 5
36 | BALRAMPUR (NP) | 2 | 2 | 1
37 | BARAMKELA (NP) | 2 | 2 | 1
38 | BARSUR (NP) | 1 | 1 | 1
39 | BASNA (NP) | 4 | 4 | 4
40 | BASTAR (NP) | 3 | 3 | 3
41 | BEMETARA (M) | 9 | 9 | 6
42 | BERLA (NP) | 5 | 5 | 4
43 | BHAIRAMGARH (NP) | 5 | 5 | 2
44 | BHAKHARA (NP) | 3 | 3 | 3
45 | BHANUPRATAPPUR (NP) | 1 | 1 | 0
46 | BHATGAON (NP) | 3 | 2 | 2
47 | BHOPALPATTANAM (NP) | 1 | 1 | 0
48 | BIJAPUR (NP) | 5 | 5 | 2
49 | BILHA (NP) | 3 | 3 | 2
50 | BIRGAON (M) | 26 | 26 | 15
51 | BODRI (NP) | 10 | 10 | 9
52 | CHANDRAPUR (NP) | 1 | 1 | 1
53 | CHARAMA (NP) | 2 | 2 | 2
54 | CHHUIKHADAN (NP) | 2 | 2 | 1
55 | CHHURA (NP) | 1 | 1 | 1
56 | CHHURIKALA (NP) | 1 | 1 | 1
57 | CHHURIYA (NP) | 1 | 1 | 0
58 | CHIKHALAKASA (NP) | 3 | 3 | 3
59 | DABHRA (NP) | 1 | 1 | 0
60 | DANTEWADA (NP) | 9 | 9 | 0
61 | DAUNDI LOHARA (NP) | 1 | 1 | 0
62 | DEORIKHURD | 3 | 3 | 3
63 | DEVKAR (NP) | 2 | 2 | 2
64 | DHAMDHA (NP) | 2 | 2 | 1
65 | DHARAMJAIGARH (NP) | 3 | 3 | 1
66 | DHURENA | 3 | 3 | 2
67 | DIPKA (M) | 4 | 4 | 4
68 | DONGARGAON (NP) | 6 | 6 | 2
69 | DORNAPAL (NP) | 1 | 1 | 0
70 | DOUNDI (NP) | 2 | 2 | 1
71 | FARASGAON (NP) | 1 | 1 | 1
72 | FINGESHWAR (NP) | 1 | 1 | 1
73 | GANDAI (NP) | 3 | 3 | 1
74 | GARIYABAND (NP) | 4 | 4 | 1
75 | GAURELLA (NP) | 5 | 5 | 5
76 | GEEDAM (NP) | 4 | 4 | 3
77 | GHARGHODA (NP) | 2 | 2 | 2
78 | GOBRA NAWAPARA (M) | 6 | 6 | 6
79 | GUNDERDEHI (NP) | 4 | 4 | 3
80 | GURUR (NP) | 2 | 2 | 2
81 | HIRMI | 2 | 2 | 1
82 | JAIJEPUR (NP) | 1 | 1 | 1
83 | JAMUL (M) (PART) | 3 | 2 | 0
84 | JARHI (NP) | 1 | 0 | 0
85 | JASHPURNAGAR (M + OG) | 4 | 4 | 3
86 | KASDOL (NP) | 4 | 4 | 3
87 | KATGHORA (NP) | 3 | 3 | 3
88 | KATKONA | 1 | 0 | 0
89 | KESKAL (NP) | 4 | 4 | 4
90 | KHAIRAGARH (M) | 3 | 3 | 3
91 | KHAROD (NP) | 1 | 1 | 1
92 | KHARORA (NP) | 3 | 3 | 3
93 | KHARSIA (M) | 9 | 9 | 2
94 | KHONGAPANI (NP) | 1 | 0 | 0
95 | KIRANDUL (M) | 2 | 2 | 2
96 | KIRODIMALNAGAR (NP) | 3 | 3 | 1
97 | KONDAGAON (M) | 4 | 4 | 2
98 | KONI | 6 | 6 | 6
99 | KONTA (NP) | 2 | 2 | 1
100 | KOORA (NP) | 1 | 1 | 1
101 | KOTA (NP) | 6 | 6 | 6
102 | KOTBA (NP) | 1 | 1 | 1
103 | KUMHARI (M) (PART) | 9 | 9 | 5
104 | KUNKURI | 1 | 1 | 0
105 | KURUD (NP) | 5 | 5 | 5
106 | KUSMI (NP) | 3 | 3 | 2
107 | LAILUNGA (NP) | 2 | 2 | 2
108 | LAKHANPUR (NP) | 1 | 1 | 0
109 | LAWAN (NP) | 3 | 3 | 1
110 | LINGYADIH | 5 | 5 | 5
111 | LORMI (NP) | 5 | 5 | 4
112 | MAGARLOD (NP) | 3 | 3 | 1
113 | MAHMAND | 1 | 1 | 1
114 | MALHAR (NP) | 3 | 3 | 2
115 | MANA-CAMP (NP) | 6 | 6 | 4
116 | MANDIRHASOD | 4 | 4 | 4
117 | MARO (NP) | 4 | 4 | 4
118 | NAGARI (NP) | 4 | 4 | 3
119 | NAI-LEDRI (NP) | 1 | 0 | 0
120 | NARAYANPUR (NP) | 2 | 1 | 0
121 | NARHARPUR (NP) | 1 | 1 | 1
122 | NAWAGARH (NP) | 3 | 3 | 2
123 | NAYA BARADWAR (NP) | 2 | 2 | 1
124 | PAKHANJUR (NP) | 2 | 2 | 1
125 | PALARI (NP) | 3 | 3 | 3
126 | PALI (NP) | 1 | 1 | 0
127 | PANDARIYA (NP) | 4 | 4 | 2
128 | PARPONDI (NP) | 3 | 3 | 2
129 | PATAN (NP) | 3 | 3 | 2
130 | PATHALGAON (NP) | 3 | 3 | 0
131 | PATHARIYA (NP) | 1 | 1 | 1
132 | PENDRA TOWN | 2 | 2 | 0
133 | PIPARIYA (NP) | 1 | 1 | 1
134 | PITHORA (NP) | 3 | 3 | 3
135 | PRATAPPUR (NP) | 1 | 1 | 1
136 | PREMNAGAR (NP) | 3 | 3 | 1
137 | PUSAUR (NP) | 1 | 1 | 0
138 | RAHAUD (NP) | 1 | 1 | 0
139 | RAJGAMAR | 2 | 2 | 2
140 | RAJIM (NP) | 6 | 6 | 4
141 | RAJPUR (NP) | 2 | 2 | 1
142 | RAMANUJGANJ (NP) | 2 | 2 | 2
143 | RATANPUR (NP) | 5 | 5 | 3
144 | RAVAN (M) | 2 | 2 | 2
145 | SAHASPUR-LOHARA (NP) | 1 | 1 | 0
146 | SAJA (NP) | 2 | 2 | 2
147 | SAKARI (NP) | 5 | 5 | 3
148 | SAKTI (M) | 6 | 6 | 5
149 | SARAGAON (NP) | 4 | 3 | 2
150 | SARAIPALI (NP) | 4 | 4 | 2
151 | SARANGARH (NP) | 3 | 3 | 0
152 | SARGAON (NP) | 1 | 1 | 1
153 | SARIYA (NP) | 1 | 1 | 0
154 | SHIVANADPUR | 1 | 1 | 1
155 | SHIVPUR CHARCHA (M) | 2 | 0 | 0
156 | SHIVRINARAYAN (NP) | 1 | 1 | 1
157 | SILTARA | 7 | 7 | 2
158 | SIMGA (NP) | 1 | 1 | 0
159 | SIRGITTI (NP) | 8 | 8 | 8
160 | SITAPUR (NP) | 1 | 1 | 1
161 | SUKMA (NP) | 2 | 2 | 0
162 | SURAJPUR (M) | 5 | 5 | 4
163 | TAKHATPUR (NP) | 6 | 6 | 5
164 | THAN-KHAMHARIA (NP) | 3 | 3 | 2
165 | TIFRA (NP) | 13 | 13 | 10
166 | TILDA NEWRA (M + OG) | 4 | 4 | 2
167 | TUMGAON (NP) | 1 | 1 | 1
168 | TUNDRA (NP) | 2 | 2 | 0
169 | UTAI (NP) | 3 | 3 | 3
170 | WADRAFNAGAR (NP) | 1 | 1 | 0
Grand Total |  | 1407 | 1397 | 1226