## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Sep'18
Period: |  | 1st Aug'18 to 31th Aug'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 458
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1220 | 31 | 2490000 | 2000003854
2 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2462 | 85 | 2487540 | 2000003848
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 203 | 37 | 2478420 | 2000003845
4 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 217 | 43 | 2042460 | 2000003841
5 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1225 | 38 | 2472000 | 2000003840
6 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 640 | 82 | 2354100 | 2000006627
7 | AMBIKAPUR TOWN | 11 KV DC Road | 1495 | 93 | 2533800 | 2000014951
8 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 62 | 2536500 | 2000014959
9 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1199 | 78 | 2305020 | 2000014960
10 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 333 | 73 | 2316420 | 2000014961
11 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 133 | 130 | 2391780 | 2000015334
12 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 69 | 1400640 | 2000014962
13 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 34 | 2466540 | 2000001013
14 | BHATAPARA TOWN | Mayur School 11KV Feeder | 399 | 27 | 2579640 | 2000006377
15 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 383 | 25 | 2036220 | 2000001011
16 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 295 | 65 | 2476860 | 2000001008
17 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 29 | 2380560 | 2000001006
18 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 241 | 21 | 2308200 | 2000001005
19 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3149 | 28 | 2344440 | 2000001004
20 | BHATAPARA TOWN | 11KV Colony Feeder | 33 | 25 | 2036700 | 2000004255
21 | BHATAPARA TOWN | 11KV Hatari Bazar Feeder | 1426 | 29 | 2624880 | 2000006376
22 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 636 | 42 | 2299200 | 2000006347
23 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 338 | 72 | 2372580 | 2000023801
24 | BILASPUR TOWN | 11KV Agrasen Chowk Feeder | 967 | 27 | 763980 | 2000020583
25 | BILASPUR TOWN | 11KV CMD College Feeder | 920 | 26 | 2075820 | 2000020582
26 | BILASPUR TOWN | 11 KV Shivam City | 1258 | 49 | 2521080 | 2000017225
27 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1210 | 73 | 3273540 | 2000020489
28 | BILASPUR TOWN | 11KV Imlibhata Feeder | 718 | 77 | 2402940 | 2000016310
29 | BILASPUR TOWN | 11KV Birkona Feeder | 762 | 57 | 2387760 | 2000016311
30 | BILASPUR TOWN | 11 KV New Mopka | 834 | 42 | 2543220 | 2000017224
31 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1479 | 74 | 2474280 | 2000004868
32 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1581 | 36 | 2005680 | 2000004871
33 | BILASPUR TOWN | 11KV DHEKA FEEDER | 279 | 50 | 2365200 | 2000004877
34 | BILASPUR TOWN | 11KV DHUMA FEEDER | 680 | 46 | 2388240 | 2000004878
35 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 441 | 51 | 2265180 | 2000004879
36 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2812 | 58 | 2262360 | 2000004882
37 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1254 | 29 | 2263800 | 2000004883
38 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1681 | 33 | 2524200 | 2000004884
39 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1958 | 22 | 1930260 | 2000004888
40 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2527 | 47 | 2532120 | 2000004889
41 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 38 | 2615700 | 2000004891
42 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 590 | 23 | 2538480 | 2000004892
43 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2707 | 35 | 2517300 | 2000004893
44 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2073 | 30 | 2014140 | 2000004896
45 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 98 | 2403480 | 2000004897
46 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 855 | 45 | 2375940 | 2000004898
47 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1119 | 65 | 2555940 | 2000004900
48 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 274 | 33 | 59220 | 2000023802
49 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 40 | 2615100 | 2000004901
50 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 21 | 2541900 | 2000004903
51 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2312 | 53 | 2588760 | 2000004904
52 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2041 | 36 | 2515800 | 2000004907
53 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 739 | 20 | 2537520 | 2000004908
54 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3189 | 30 | 65520 | 2000004909
55 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1074 | 46 | 2508360 | 2000004911
56 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1561 | 35 | 2246880 | 2000004912
57 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1800 | 25 | 2539320 | 2000004913
58 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2365 | 31 | 2139900 | 2000004914
59 | BILASPUR TOWN | 11KV RULER FEEDER | 1556 | 31 | 46140 | 2000004916
60 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2020 | 63 | 2523720 | 2000004917
61 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1341 | 28 | 1995840 | 2000004919
62 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 65 | 2618340 | 2000004923
63 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3835 | 36 | 2248260 | 2000004926
64 | BILASPUR TOWN | 11KV Jail Road Feeder | 380 | 51 | 2286300 | 2000020488
65 | BILASPUR TOWN | 11KV Katiyapara Feeder | 429 | 28 | 2038020 | 2000018763
66 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1674 | 11 | 9180 | 2000018762
67 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 773 | 24 | 2029860 | 2000018761
68 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 1005 | 63 | 2633100 | 2000018403
69 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 72 | 2336160 | 2000017781
70 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 314 | 77 | 2361480 | 2000017780
71 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 31 | 40560 | 2000017776
72 | BILASPUR TOWN | 11KV Lingyadih Feeder | 168 | 43 | 2443380 | 2000017505
73 | BILASPUR TOWN | 11 KV Mahaveer City | 213 | 43 | 2564100 | 2000017226
74 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 54 | 2380980 | 2000003195
75 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2001 | 38 | 81960 | 2000003196
76 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5565 | 76 | 2536020 | 2000003197
77 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 14 | 18180 | 2000002573
78 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 977 | 28 | 2421000 | 2000002574
79 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3805 | 41 | 2406300 | 2000002576
80 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 47 | 2429880 | 2000002566
81 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1516 | 41 | 2631780 | 2000002569
82 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2545 | 31 | 2374200 | 2000002579
83 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 402 | 36 | 2576820 | 2000002578
84 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3761 | 54 | 2626080 | 2000002570
85 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2429 | 15 | 702840 | 2000001302
86 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 948 | 5 | 539340 | 2000001301
87 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 15 | 2583420 | 2000001299
88 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2961 | 55 | 2521620 | 2000002910
89 | KANKER TOWN | 11KV PATOD FEEDER | 555 | 42 | 2398140 | 2000002909
90 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 91 | 2278380 | 2000002907
91 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1116 | 18 | 2427240 | 2000015850
92 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2972 | 52 | 2615460 | 2000001055
93 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1029 | 32 | 2555100 | 2000001051
94 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 417 | 128 | 2401740 | 2000001047
95 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2102 | 12 | 2231520 | 2000001430
96 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1320 | 23 | 169800 | 2000001427
97 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 29 | 2343600 | 2000001424
98 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 34 | 2514600 | 2000001423
99 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 986 | 11 | 1141320 | 2000002464
100 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1050 | 40 | 2599020 | 2000002463
101 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2124 | 36 | 2619240 | 2000002462
102 | MUNGELI TOWN | 11 KV Colecter Feeder | 426 | 48 | 2546100 | 2000006460
103 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1404 | 73 | 2547060 | 2000006458
104 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 20 | 1927920 | 2000007688
105 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1037 | 29 | 2146980 | 2000007689
106 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1761 | 13 | 2245500 | 2000007694
107 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3316 | 9 | 1905840 | 2000007696
108 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 857 | 16 | 2060640 | 2000007697
109 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2864 | 27 | 2216160 | 2000007701
110 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 987 | 14 | 1421460 | 2000007702
111 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1007 | 21 | 2576340 | 2000007703
112 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3933 | 43 | 2512620 | 2000007705
113 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 956 | 29 | 2590740 | 2000007708
114 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1537 | 31 | 2547600 | 2000007709
115 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 811 | 13 | 2215800 | 2000007711
116 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 31 | 2451300 | 2000007712
117 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 613 | 23 | 2368440 | 2000007713
118 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1325 | 13 | 1420020 | 2000007714
119 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 976 | 11 | 2490600 | 2000007715
120 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 28 | 2635920 | 2000007716
121 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 624 | 18 | 2794200 | 2000007717
122 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1444 | 27 | 2483700 | 2000007718
123 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1840 | 12 | 2399400 | 2000007719
124 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2831 | 31 | 2189640 | 2000007756
125 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 949 | 37 | 2437920 | 2000017055
126 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 935 | 12 | 11700 | 2000017056
127 | DURG BHILAI CHARODA TOWN | 11 KV SAF Batalian | 384 | 23 | 1994400 | 2000017057
128 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 1000 | 24 | 1922940 | 2000017058
129 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 1713 | 32 | 2194800 | 2000017059
130 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 827 | 17 | 2116200 | 2000007720
131 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3214 | 12 | 2128200 | 2000007721
132 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1859 | 28 | 2448960 | 2000007723
133 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1184 | 28 | 2558220 | 2000007724
134 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 1240 | 1 | 24000 | 2000007727
135 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1149 | 73 | 2486520 | 2000007728
136 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 607 | 32 | 2288340 | 2000007729
137 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 497 | 44 | 2441700 | 2000007731
138 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 529 | 15 | 1835340 | 2000007733
139 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 455 | 46 | 2551380 | 2000007735
140 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1241 | 22 | 2546160 | 2000007738
141 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 740 | 42 | 2584440 | 2000007739
142 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 851 | 14 | 1958400 | 2000007740
143 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1480 | 11 | 1193940 | 2000007741
144 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1149 | 30 | 2595480 | 2000007743
145 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1081 | 30 | 2270940 | 2000007744
146 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2368 | 42 | 2478600 | 2000007747
147 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1077 | 18 | 1949160 | 2000007748
148 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 507 | 16 | 2265960 | 2000007749
149 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 20 | 2009460 | 2000007751
150 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3162 | 18 | 1694520 | 2000007752
151 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1787 | 31 | 2581020 | 2000007754
152 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 244 | 26 | 2264340 | 2000007755
153 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 708 | 12 | 1347900 | 2000007685
154 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2194 | 21 | 2564160 | 2000007686
155 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 660 | 71 | 2530680 | 2000007687
156 | DURG BHILAI CHARODA TOWN | 11 KV Green Chowk | 542 | 14 | 2128020 | 2000017060
157 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2507 | 33 | 2580060 | 2000007760
158 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1272 | 35 | 2608560 | 2000007762
159 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 15 | 1908600 | 2000007763
160 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 15 | 1908480 | 2000007764
161 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 15 | 1908600 | 2000007765
162 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 7 | 1674120 | 2000007766
163 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 603 | 7 | 1674240 | 2000007767
164 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1245 | 7 | 1674240 | 2000007768
165 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2183 | 28 | 2504400 | 2000007769
166 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1792 | 16 | 2605800 | 2000007770
167 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1176 | 24 | 2216700 | 2000007771
168 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1218 | 46 | 2546520 | 2000007773
169 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1297 | 32 | 2282400 | 2000007776
170 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1224 | 23 | 2241900 | 2000007777
171 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 367 | 30 | 2521200 | 2000007778
172 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 783 | 22 | 2167140 | 2000007779
173 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1265 | 12 | 2235480 | 2000007780
174 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1786 | 12 | 2187660 | 2000007781
175 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1484 | 21 | 2479140 | 2000007782
176 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 241 | 20 | 1732740 | 2000007783
177 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 2598 | 27 | 2467620 | 2000016998
178 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1530 | 19 | 529560 | 2000017001
179 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 34 | 2903880 | 2000017044
180 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 60 | 20 | 1785960 | 2000017045
181 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 2037 | 60 | 2544120 | 2000017052
182 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1200 | 57 | 2731020 | 2000017054
183 | DURG BHILAI CHARODA TOWN | 11 KV Titurdih | 899 | 20 | 2280480 | 2000017061
184 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 574 | 19 | 2188920 | 2000017062
185 | DURG BHILAI CHARODA TOWN | 11KV Sunder Nagar Feeder | 1723 | 11 | 14820 | 2000017063
186 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1647 | 16 | 13020 | 2000017064
187 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1037 | 80 | 2625180 | 2000017065
188 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1071 | 29 | 2523240 | 2000017066
189 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 401 | 82 | 2634060 | 2000017069
190 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 1058 | 81 | 2634300 | 2000017071
191 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 332 | 39 | 2562600 | 2000017076
192 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 698 | 36 | 2240640 | 2000018574
193 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 283 | 42 | 2504220 | 2000018704
194 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1304 | 13 | 15420 | 2000018705
195 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1716 | 17 | 17940 | 2000018706
196 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2334 | 32 | 2405100 | 2000018707
197 | DURG BHILAI CHARODA TOWN | 11KV Rajiv Nagar Feeder | 1389 | 2 | 2460 | 2000018723
198 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 29 | 27 | 2525280 | 2000018987
199 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 223 | 34 | 2392020 | 2000019819
200 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 950 | 22 | 2584860 | 2000020519
201 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 3011 | 8 | 13500 | 2000021263
202 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 1177 | 18 | 2368560 | 2000021264
203 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2110 | 54 | 2524740 | 2000023773
204 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 22 | 1796400 | 2000025794
205 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1659 | 49 | 2560500 | 2000029193
206 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1475 | 40 | 2364780 | 2000007757
207 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1081 | 42 | 2552280 | 2000007758
208 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3009 | 31 | 2418120 | 2000007759
209 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1954 | 17 | 2376780 | 2000017872
210 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1205 | 18 | 2400060 | 2000004349
211 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 18 | 2009940 | 2000004347
212 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1567 | 29 | 2452980 | 2000004344
213 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1043 | 30 | 2364480 | 2000004339
214 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2186 | 23 | 2388600 | 2000004338
215 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1540 | 15 | 2282940 | 2000004337
216 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 17 | 2330820 | 2000004336
217 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1266 | 18 | 2284200 | 2000004335
218 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 847 | 26 | 2105640 | 2000004334
219 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1762 | 17 | 2143740 | 2000004332
220 | JAGDALPUR TOWN | 11KV Vargish Feeder | 1436 | 1 | 420 | 2000023847
221 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 783 | 3 | 2138400 | 2000004331
222 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1546 | 35 | 2372940 | 2000004330
223 | KORBA TOWN | 11 KV Russian Hostel | 8 | 56 | 2476380 | 2000006490
224 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 47 | 2443200 | 2000006759
225 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 768 | 140 | 2346360 | 2000006762
226 | KORBA TOWN | 11KV BULGI FEEDER | 942 | 126 | 2429160 | 2000006764
227 | KORBA TOWN | 11KV Ratakhar Mission Road Feeder | 1057 | 84 | 1913340 | 2000021425
228 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1137 | 84 | 2543280 | 2000020122
229 | KORBA TOWN | 11KV Mudapar Feeder | 1046 | 61 | 758820 | 2000020065
230 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 374 | 93 | 2565840 | 2000017805
231 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 70 | 39 | 2451360 | 2000017790
232 | KORBA TOWN | 11KV RP Nagar Feeder | 812 | 38 | 2440380 | 2000016912
233 | KORBA TOWN | 11KV Town-1 Feeder | 709 | 28 | 1679160 | 2000015220
234 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1171 | 84 | 2730720 | 2000006798
235 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 801 | 3 | 16500 | 2000006796
236 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 107 | 2429520 | 2000006770
237 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 775 | 49 | 342900 | 2000006773
238 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2807 | 33 | 1873560 | 2000006778
239 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 768 | 67 | 2461500 | 2000006782
240 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1299 | 60 | 2530920 | 2000006783
241 | KORBA TOWN | 11KV NIHARIKA FEEDER | 711 | 37 | 2449080 | 2000006784
242 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1248 | 18 | 2370300 | 2000006786
243 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 704 | 157 | 2515080 | 2000006787
244 | KORBA TOWN | 11KV PARSABADA FEEDER | 1398 | 109 | 2474700 | 2000006789
245 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 294 | 32 | 2488260 | 2000006790
246 | KORBA TOWN | 11KV RAMPUR FEEDER | 812 | 28 | 1600800 | 2000006791
247 | KORBA TOWN | 11KV RURAL FEEDER | 2289 | 31 | 858840 | 2000006792
248 | KORBA TOWN | 11KV SARMANGLA FEEDER | 744 | 49 | 2334240 | 2000006794
249 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1055 | 60 | 2557200 | 2000003307
250 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 717 | 87 | 2483580 | 2000003309
251 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1031 | 68 | 2534820 | 2000003306
252 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 788 | 68 | 2532960 | 2000003302
253 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1291 | 71 | 2522400 | 2000003301
254 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1245 | 41 | 2588040 | 2000003311
255 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 33 | 2572500 | 2000003312
256 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 117 | 2463480 | 2000003314
257 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1028 | 38 | 2581200 | 2000003322
258 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 587 | 98 | 2467320 | 2000016050
259 | RAIGARH TOWN | 11KV Savitri Nagar Feeder | 1019 | 109 | 2519400 | 2000016051
260 | RAIGARH TOWN | 11KV Baba Dham Feeder | 836 | 94 | 2506140 | 2000016052
261 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 795 | 116 | 2425020 | 2000016053
262 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 96 | 131 | 2461920 | 2000016054
263 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 973 | 63 | 2568000 | 2000016055
264 | RAIGARH TOWN | 11 KV Gowardhanpur feeder | 387 | 58 | 82080 | 2000016184
265 | RAIGARH TOWN | 11 KV Gerwani feeder | 1656 | 82 | 2485020 | 2000016185
266 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 376 | 44 | 2570580 | 2000017956
267 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1588 | 45 | 2559600 | 2000017958
268 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 338 | 55 | 2586360 | 2000020754
269 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 900 | 60 | 2575860 | 2000020755
270 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 620 | 56 | 2574180 | 2000020756
271 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 677 | 37 | 2446980 | 2000021639
272 | RAIGARH TOWN | 11 KV Stadium feeder | 592 | 87 | 2503080 | 2000022941
273 | RAJNANDGAON TOWN | 11KV R K Nagar | 420 | 17 | 2556840 | 2000015478
274 | RAJNANDGAON TOWN | 11 KV KAMLA COLLEGE | 1500 | 15 | 2557860 | 2000015449
275 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 137 | 18 | 2513880 | 2000015446
276 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 937 | 7 | 2069220 | 2000001978
277 | RAJNANDGAON TOWN | 11 KV Litiya Feeder | 547 | 122 | 2435220 | 2000014955
278 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2283 | 40 | 2487720 | 2000001979
279 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1002 | 3 | 577020 | 2000001968
280 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2625 | 6 | 1716600 | 2000001967
281 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 81 | 2567400 | 2000001965
282 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 807 | 32 | 2570400 | 2000001962
283 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 37 | 2551800 | 2000001960
284 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4333 | 45 | 2605380 | 2000001956
285 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 3419 | 30 | 2418240 | 2000006488
286 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 351 | 28 | 2250240 | 2000010583
287 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1212 | 39 | 1883880 | 2000010585
288 | RAIPUR TOWN | 11KV CITY FEEDER | 2449 | 25 | 2572140 | 2000010587
289 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1382 | 24 | 2275680 | 2000010588
290 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 944 | 21 | 2418960 | 2000010589
291 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 777 | 16 | 2417640 | 2000010591
292 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 334 | 14 | 2549700 | 2000010592
293 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 24 | 2577360 | 2000010595
294 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 29 | 2494500 | 2000010596
295 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 790 | 10 | 2240220 | 2000010598
296 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 856 | 33 | 2322780 | 2000010601
297 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1043 | 11 | 1397760 | 2000010603
298 | RAIPUR TOWN | 11KV ATARI FEEDER | 833 | 64 | 2516340 | 2000010604
299 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 278 | 42 | 1965240 | 2000010605
300 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 745 | 18 | 2582460 | 2000010606
301 | RAIPUR TOWN | 11KV BANJARI FEEDER | 950 | 22 | 1733340 | 2000010608
302 | RAIPUR TOWN | 11KV BASTAL FEEDER | 603 | 17 | 2353260 | 2000010610
303 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1570 | 22 | 2127480 | 2000010611
304 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 778 | 19 | 1947900 | 2000010613
305 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 137 | 14 | 1981800 | 2000010615
306 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 6 | 1705500 | 2000010616
307 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1854 | 20 | 2297760 | 2000010618
308 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1633 | 37 | 2461860 | 2000010622
309 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 863 | 62 | 2608980 | 2000010624
310 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 88 | 34 | 2435520 | 2000010625
311 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1684 | 22 | 2615460 | 2000010628
312 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2356 | 40 | 2167320 | 2000010631
313 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1961 | 43 | 2177340 | 2000010632
314 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1669 | 28 | 2329860 | 2000010634
315 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 750 | 28 | 2629980 | 2000010638
316 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 13 | 2318640 | 2000010641
317 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 734 | 36 | 2448420 | 2000010642
318 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 494 | 13 | 1967820 | 2000010647
319 | RAIPUR TOWN | 11KV KHARUN FEEDER | 990 | 24 | 2598240 | 2000010649
320 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1474 | 22 | 2471340 | 2000010650
321 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1209 | 18 | 2482740 | 2000010653
322 | RAIPUR TOWN | 11KV MAHALAXMI | 560 | 34 | 2059560 | 2000010655
323 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2002 | 37 | 2554260 | 2000010656
324 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 448 | 25 | 2117460 | 2000010657
325 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 549 | 28 | 2169540 | 2000010658
326 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 48 | 37 | 2588940 | 2000010660
327 | RAIPUR TOWN | 11KV Sale Tax Coloney Feeder | 2293 | 27 | 2451360 | 2000010662
328 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 776 | 15 | 2518920 | 2000010666
329 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1746 | 28 | 2352000 | 2000010668
330 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 534 | 47 | 2613000 | 2000010670
331 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 913 | 11 | 2322240 | 2000010671
332 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1271 | 41 | 2635440 | 2000010672
333 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5169 | 14 | 2303400 | 2000010674
334 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4179 | 16 | 1902540 | 2000010675
335 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 16 | 2150760 | 2000010676
336 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 539 | 19 | 2316060 | 2000010677
337 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2102 | 25 | 2575800 | 2000010680
338 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 406 | 40 | 2455200 | 2000010686
339 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 207 | 15 | 1957620 | 2000010688
340 | RAIPUR TOWN | 11KV RDA FEEDER | 844 | 7 | 2250600 | 2000010689
341 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 369 | 12 | 2495580 | 2000010690
342 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 14 | 2137140 | 2000010694
343 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1823 | 22 | 2378460 | 2000010696
344 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1289 | 32 | 2347500 | 2000010699
345 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2565 | 18 | 1890420 | 2000010700
346 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 807 | 27 | 2632740 | 2000010701
347 | RAIPUR TOWN | 11KV SAMTA FEEDER | 551 | 9 | 2033340 | 2000010704
348 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 391 | 10 | 1462680 | 2000010706
349 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 489 | 26 | 2490240 | 2000010707
350 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 902 | 20 | 2334120 | 2000010708
351 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2493 | 22 | 2483640 | 2000010709
352 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2347 | 20 | 2441220 | 2000010711
353 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 920 | 9 | 18840 | 2000010712
354 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 295 | 15 | 2327640 | 2000010713
355 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 995 | 56 | 2581800 | 2000010714
356 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1420 | 20 | 2579640 | 2000010717
357 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2660 | 25 | 2527260 | 2000010722
358 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 713 | 27 | 2070060 | 2000010725
359 | RAIPUR TOWN | 11KV TV FEEDER | 2919 | 41 | 2559000 | 2000010728
360 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1171 | 26 | 2562300 | 2000010729
361 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 429 | 18 | 1890240 | 2000010732
362 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 27 | 2500080 | 2000010733
363 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 508 | 41 | 1724040 | 2000010739
364 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2138 | 24 | 2124600 | 2000010741
365 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 20 | 2582280 | 2000010742
366 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 20 | 2582580 | 2000010743
367 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2111 | 30 | 2281020 | 2000017238
368 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 895 | 6 | 18300 | 2000017256
369 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2220 | 14 | 2095560 | 2000017261
370 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1062 | 27 | 1571100 | 2000017508
371 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2423 | 29 | 2550720 | 2000017567
372 | RAIPUR TOWN | 11KV WHITE HOUSE | 564 | 15 | 141900 | 2000017568
373 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 590 | 7 | 23940 | 2000017569
374 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 980 | 10 | 1892940 | 2000017576
375 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1982 | 24 | 2489220 | 2000017600
376 | RAIPUR TOWN | 11 KV Jainam Vihar Feeder | 2411 | 2 | 1560 | 2000017602
377 | RAIPUR TOWN | 11KV Medical College Feeder | 14 | 30 | 2480520 | 2000017607
378 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1731 | 54 | 2615940 | 2000017608
379 | RAIPUR TOWN | 11KV M.P.Dhaba (New Feeder) | 756 | 5 | 18600 | 2000017609
380 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1552 | 22 | 2148780 | 2000017611
381 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 11 | 936540 | 2000017613
382 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 324 | 23 | 2569260 | 2000017617
383 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1845 | 36 | 1792020 | 2000017621
384 | RAIPUR TOWN | 11KV Chandadih Feeder | 635 | 17 | 1549500 | 2000017623
385 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 612 | 25 | 2412540 | 2000017624
386 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 867 | 7 | 322320 | 2000017628
387 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 669 | 21 | 2584320 | 2000017671
388 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 202 | 22 | 2593440 | 2000017673
389 | RAIPUR TOWN | 11KV Suraj Nagar | 1136 | 22 | 2419320 | 2000017690
390 | RAIPUR TOWN | 11KV Roman Square | 515 | 25 | 2529480 | 2000017691
391 | RAIPUR TOWN | 11KV Krishak Nagar | 176 | 34 | 2544840 | 2000017692
392 | RAIPUR TOWN | 11KV Marling Complex Feeder | 959 | 1 | 420 | 2000017768
393 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 1018 | 13 | 45480 | 2000017771
394 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1324 | 12 | 24540 | 2000017772
395 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 619 | 10 | 9060 | 2000017773
396 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2846 | 23 | 2603220 | 2000017808
397 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 684 | 17 | 1897800 | 2000017817
398 | RAIPUR TOWN | 11 KV Station Road Feeder | 842 | 42 | 2613120 | 2000017867
399 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 11 | 17820 | 2000017869
400 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1382 | 37 | 3266640 | 2000017870
401 | RAIPUR TOWN | 11KV NAVEEN MARKET | 864 | 18 | 2388720 | 2000017953
402 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2624 | 19 | 2386380 | 2000017954
403 | RAIPUR TOWN | 11KV MG ROAD | 1599 | 36 | 2534880 | 2000017955
404 | RAIPUR TOWN | 11KV Son Dongari Feeder | 935 | 31 | 2396460 | 2000017962
405 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 300 | 25 | 1974180 | 2000018004
406 | RAIPUR TOWN | 11KV Saddu Feeder | 297 | 37 | 2069220 | 2000018005
407 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1266 | 42 | 2503920 | 2000018006
408 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 12 | 2087340 | 2000018359
409 | RAIPUR TOWN | 11KV Dental College Feeder | 34 | 29 | 2613660 | 2000018378
410 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 969 | 45 | 2003760 | 2000018394
411 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 602 | 23 | 2323920 | 2000018396
412 | RAIPUR TOWN | 11KV IGVP | 363 | 15 | 2304480 | 2000018397
413 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 345 | 22 | 2614800 | 2000018398
414 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 335 | 18 | 2207640 | 2000018416
415 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2505 | 14 | 2577000 | 2000018949
416 | RAIPUR TOWN | 11KV Gondwara Feeder | 495 | 61 | 2572800 | 2000019179
417 | RAIPUR TOWN | 11KV Gogaon Feeder | 3138 | 8 | 10260 | 2000019180
418 | RAIPUR TOWN | 11KV Jivnani Feeder | 490 | 26 | 2499180 | 2000019185
419 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1918 | 31 | 2468160 | 2000019186
420 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2116 | 31 | 2569500 | 2000019334
421 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 415 | 40 | 2118600 | 2000019340
422 | RAIPUR TOWN | 11KV SapreSala Feeder | 899 | 26 | 2493180 | 2000019485
423 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1153 | 32 | 2623740 | 2000019530
424 | RAIPUR TOWN | 11KV Ashiyana Feeder | 654 | 22 | 42420 | 2000019697
425 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 131 | 14 | 2378520 | 2000019852
426 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1707 | 5 | 2569380 | 2000019857
427 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1944 | 17 | 2296860 | 2000020009
428 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2685 | 30 | 2546280 | 2000020119
429 | RAIPUR TOWN | 11KV Station Road Feeder | 322 | 12 | 2027340 | 2000020130
430 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 100 | 23 | 2022960 | 2000020131
431 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 5 | 8100 | 2000020132
432 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 342 | 3 | 1260 | 2000020193
433 | RAIPUR TOWN | 11KV Medishine Feeder | 984 | 39 | 2706960 | 2000020194
434 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2540 | 12 | 1831800 | 2000020581
435 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1676 | 41 | 2119500 | 2000021219
436 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1337 | 18 | 2122680 | 2000021220
437 | RAIPUR TOWN | 11KV Parsuram Feeder | 1578 | 31 | 2122020 | 2000021221
438 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 674 | 44 | 2262300 | 2000021286
439 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1165 | 55 | 2158440 | 2000021287
440 | RAIPUR TOWN | 11KV BORIYA Feeder | 872 | 12 | 2568240 | 2000021424
441 | RAIPUR TOWN | 11KV OM Complex Feeder | 1328 | 6 | 5700 | 2000021615
442 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 1311 | 14 | 2586900 | 2000022077
443 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 791 | 13 | 1938540 | 2000022078
444 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1318 | 18 | 2367540 | 2000022079
445 | RAIPUR TOWN | 11KV Naharpara Feeder | 1403 | 21 | 2316840 | 2000023680
446 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1418 | 4 | 17160 | 2000023735
447 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 128 | 12 | 1610460 | 2000023736
448 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1569 | 4 | 2340 | 2000023772
449 | RAIPUR TOWN | 11KV SBI FEEDER | 1232 | 6 | 7080 | 2000023790
450 | RAIPUR TOWN | 11KV Amar Palace Feeder | 437 | 16 | 2100960 | 2000023848
451 | RAIPUR TOWN | 11KV FEEDER-1 | 1053 | 10 | 2414460 | 2000024395
452 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1454 | 36 | 1696260 | 2000026582
453 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 940 | 18 | 30960 | 2000026583
454 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 1132 | 14 | 2007060 | 2000026584
455 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 253 | 16 | 2502600 | 2000026586
456 | RAIPUR TOWN | 11KV Bazar Chowk Feeder | 1254 | 8 | 111780 | 2000034421
457 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 697 | 26 | 2638440 | 2000034423
458 | RAIPUR TOWN | 11KV Pride Feeder | 83 | 7 | 2250600 | 2000039215