## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 30/04/2021
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 33 | 33 | 33
2 | BHATAPARA TOWN | 19 | 19 | 19
3 | BILASPUR TOWN | 111 | 111 | 109
4 | CHAMPA TOWN | 14 | 13 | 10
5 | CHIRMIRI TOWN | 3 | 3 | 3
6 | DALLI RAJHARA TOWN | 7 | 7 | 7
7 | DHAMTARI TOWN | 17 | 17 | 17
8 | DONGARGARH TOWN | 9 | 9 | 9
9 | DURG BHILAI CHARODA TOWN | 167 | 167 | 167
10 | JAGDALPUR TOWN | 30 | 28 | 27
11 | KANKER TOWN | 7 | 7 | 7
12 | KAWARDHA TOWN | 12 | 12 | 12
13 | KORBA TOWN | 71 | 70 | 69
14 | MAHASAMUND TOWN | 14 | 14 | 14
15 | MANENDRAGARH TOWN | 6 | 6 | 4
16 | MUNGELI TOWN | 10 | 10 | 10
17 | NAILA JANJGIR TOWN | 25 | 25 | 23
18 | RAIGARH TOWN | 57 | 56 | 54
19 | RAIPUR TOWN | 328 | 327 | 324
20 | RAJNANDGAON TOWN | 37 | 37 | 36
Total |  | 977 | 971 | 954