## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….Jan'19
Input Energy Period: ……..Nov'18 to Oct'19
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 11 | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 42.23 | 100 | 57.77 | 11KV PATPAR FEEDER | 51.2 | 96.19 | 50.75
2 | KAWARDHA TOWN | 10 | 11KV MAHARAJPUR (RURAL) FEEDER | 7.48 | 99.81 | 92.53
3 | MAHASAMUND TOWN | 9 | 11KV NAYAPARA FEEDER | 49.82 | 90.58 | 54.87
4 | KANKER TOWN | 5 | 11KV BARDEBHATA FEEDER | 59.52 | 98.75 | 41.22
5 | RAJNANDGAON TOWN | 25 | 11KV LALBAG FEEDER | 24.51 | 100 | 75.49 | 11KV KANCHAN BAG FEEDER | 56.45 | 100 | 43.55 | 11KV R K Nagar | 68.12 | 100 | 31.88
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 48.32 | 95.23 | 53.98
7 | MUNGELI TOWN | 8 | 11KV COLECTER FEEDER | 57.83 | 91.18 | 47.27
8 | CHAMPA TOWN | 10 | 11 KV Brighani Feeder | 16.46 | 88.58 | 85.42
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 16.92 | 52.35 | 91.14 | 11KV NEW COURT FEEDER | 83.78 | 100 | 16.22
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 23.76 | 65.62 | 84.41
11 | MANENDRAGARH TOWN | 4 | 11KV KAILARI FEEDER | 39.08 | 91.8 | 64.12
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN 2 FEEDER | 71.84 | 100 | 28.16
13 | AMBIKAPUR TOWN | 27 | 11KV FILTER PLANT FEEDER | 11.45 | 92.29 | 89.43 | 11 KV DC Road | 53.85 | 67.59 | 63.6 | 11KV SONPUR | 5.08 | 100 | 94.92
14 | JAGDALPUR TOWN | 23 | 11KV AGHANPUR FEEDER | 7.17 | 100 | 92.83 | 11KV JDP RURAL FEEDER | 6.72 | 90.12 | 93.94 | 11KV SUNCITY FEEDER | 28.37 | 98.61 | 72.02
15 | KORBA TOWN | 58 | 11KV PUMP HOUSE FEEDER | 38.01 | 81.56 | 69 | 11KV PARSABADA FEEDER | 33.47 | 57.89 | 80.62 | 11KV SARMANGLA FEEDER | 33.92 | 55.19 | 81.28 | 11KV BANKIMONGRA TOWN-1 FEEDER | 18.03 | 77.4 | 86.04 | 11KV SARASWATI SHISHU MANDIR | 98.22 | 87.29 | 14.26
16 | NAILA JANJGIR TOWN | 14 | 11KV COLONY (HOUSING BOARD) FEEDER | 52.27 | 100 | 47.73
17 | DURG BHILAI CHARODA TOWN | 150 | 11KV ITI FEEDER | 25.98 | 98.94 | 74.3 | 11KV MORID FEEDER | 27.53 | 92.64 | 74.5 | 11KV VAISHALI NAGAR FEEDER | 45.85 | 93.38 | 57.19 | 11KV DREAM CITY FEEDER | 5.17 | 100 | 94.83 | 11KV HOSPITAL FEEDER | 56.72 | 94.29 | 46.52
18 | BILASPUR TOWN | 100 | 11KV DOMUHANI FEEDER | 33.92 | 76.62 | 74.01 | 11KV TUNKI-1 FEEDER | 32.76 | 100 | 67.24 | 11KV Lingyadih Feeder | 59.36 | 86.43 | 48.7 | 11KV Abhishek Vihar Feeder | 52.62 | 100 | 47.38 | 11KV Housing Board Feeder | 14.57 | 97.21 | 85.84
19 | RAIGARH TOWN | 50 | 11KV CITY-4 FEEDER | 35.79 | 95.28 | 65.9 | 11KV Savitri Nagar Feeder | 34.6 | 100 | 65.4 | 11KV Baba Dham Feeder | 26.04 | 88.6 | 76.93 | 11 KV GULMOHAR FEEDER | 27.93 | 100 | 72.07 | 11 KV STADIUM FEEDER | 56.21 | 100 | 43.79
20 | RAIPUR TOWN | 308 | 11KV FILTER PLANT FEEDER | 16.42 | 16.49 | 97.29 | 11KV MANAVADHIKAR FEEDER | 2.31 | 54.91 | 98.73 | 11KV TOWN FEEDER | 40.29 | 100 | 59.71 | 11KV Wholesale Market Feeder | 61.02 | 100 | 38.98 | 11KV Sent Xavier School Feeder | 41.08 | 100 | 58.92