## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….May'21
Input Energy Period: ……..Mar'20 to Feb'21
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 12 | 11KV TOWN FEEDER | 76.3 | 68.5 | 47.73 | 11KV MAYUR SCHOOL 11KV FEEDER | 73.91 | 75.39 | 44.28
2 | KAWARDHA TOWN | 10 | 11KV RAM MANDIR FEEDER | 94.72 | 86.48 | 18.09
3 | MAHASAMUND TOWN | 11 | 11KV NAYAPARA FEEDER | 64.75 | 56.98 | 63.11
4 | KANKER TOWN | 5 | 11KV COLLECTORATE FEEDER | 90.38 | 68.05 | 38.5
5 | RAJNANDGAON TOWN | 34 | 11KV KANCHAN BAG FEEDER | 65.5 | 69.46 | 54.5 | 11KV DHABA(RURAL)FEEDER | 36.79 | 80.14 | 70.52 | 11KV PANEKA FEEDER | 26.18 | 100 | 73.82
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 67.1 | 50.53 | 66.09
7 | MUNGELI TOWN | 8 | 11KV COLECTER FEEDER | 64.6 | 63.84 | 58.76
8 | CHAMPA TOWN | 11 | 11KV BRIGHANI FEEDER | 76.68 | 54.85 | 57.94
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 48.95 | 63.91 | 68.72 | 11KV BHATGAON FEEDER | 37.63 | 75.25 | 71.68
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 23.07 | 31.93 | 92.63
11 | MANENDRAGARH TOWN | 6 | 11KV KAILARI FEEDER | 37.39 | 48.8 | 81.75
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN2 FEEDER | 78.81 | 61.74 | 51.34
13 | AMBIKAPUR TOWN | 30 | 11KV SONPUR | 81.3 | 54.52 | 55.68 | 11KV MG ROAD FEEDER | 100 | 54.16 | 45.84 | 11KV INDUSTRIAL AREA FEEDER | 86.36 | 74.99 | 35.24
14 | JAGDALPUR TOWN | 27 | 11KV AGHANPUR FEEDER | 26.12 | 83.48 | 78.2 | 11KV SUNCITY FEEDER | 48.81 | 82.42 | 59.77 | 11KV TOWN-1 FEEDER | 34.54 | 87.73 | 69.7
15 | KORBA TOWN | 68 | 11KV BULGI FEEDER | 26.92 | 89.48 | 75.91 | 11KV DADAR FEEDER | 24.1 | 27.28 | 93.43 | 11KV PARSABADA FEEDER | 28.56 | 19.02 | 94.57 | 11KV SARMANGLA FEEDER | 63.44 | 41.73 | 73.53 | 11KV IMLIDUGGU FEEDER | 50.16 | 58.3 | 70.76
16 | NAILA JANJGIR TOWN | 21 | 11KV TOWN-2 FEEDER | 64.59 | 89.33 | 42.3
17 | DURG BHILAI CHARODA TOWN | 163 | 11KV BALAJI NAGAR FEEDER | 56.32 | 59.53 | 66.47 | 11KV SARASWATI KUNJ FEEDER | 12.06 | 57.12 | 93.11 | 11KV ITI FEEDER | 34.11 | 70.76 | 75.86 | 11KV RISALI BASTI FEEDER | 81.18 | 85.02 | 30.98 | 11KV RAJARAM FEEDER | 61.35 | 81.65 | 49.91
18 | BILASPUR TOWN | 108 | 11KV DOMUHANI FEEDER | 39.57 | 23.59 | 90.67 | 11KV PACHARIGHATFEEDER | 69.76 | 52.86 | 63.12 | 11KV USLAPUR OVERBRIDGE FEEDER | 88.02 | 81.35 | 28.4 | 11KV HOUSING BOARD FEEDER | 59.12 | 60.36 | 64.32 | 11KV BHAISA BAZAR FEEDER | 36.94 | 48.83 | 81.96
19 | RAIGARH TOWN | 56 | 11KV PARKCITY FEEDER | 38.93 | 69.54 | 72.93 | 11KV SAVITRI NAGAR FEEDER | 73.08 | 43.53 | 68.19 | 11KV COLLECTRED FEEDER | 48.18 | 28.65 | 86.2 | 11KV RAJIV NAGAR FEEDER | 37.96 | 33.89 | 87.14 | 11KV GOGA MANDIR CHOWK FEEDER | 50.18 | 51.51 | 74.15
20 | RAIPUR TOWN | 324 | 11KV MANAVADHIKAR FEEDER | 16.09 | 69.99 | 88.74 | 11KV SUN CITY FEEDER | 7.7 | 75.2 | 94.21 | 11KV NANAK ENGINEERING FEEDER | 38.51 | 73.7 | 71.62 | 11KV TEACHER COLONY FEEDER | 72.97 | 76.2 | 44.4 | 11KV LOGISTICK FEEDER | 50.32 | 78.4 | 60.55