## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….Oct'20
Input Energy Period: ……..Aug'19 to Jul'20
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 12 | 11KV TOWN FEEDER | 76.14 | 85.17 | 35.15 | 11KV MAYUR SCHOOL 11KV FEEDER | 73.54 | 89.06 | 34.51
2 | KAWARDHA TOWN | 10 | 11KV MAHARAJPUR (RURAL) FEEDE | 100 | 65.39 | 34.61
3 | MAHASAMUND TOWN | 9 | 11KV NAYAPARA FEEDER | 50.49 | 74.99 | 62.14
4 | KANKER TOWN | 5 | 11KV CIVIL LINE FEEDER | 100 | 60.44 | 39.56
5 | RAJNANDGAON TOWN | 34 | 11KV DHABA(RURAL)FEEDER | 61.95 | 80.85 | 49.91 | 11KV INDHAMARA(RURAL)FEEDER | 39.39 | 68.98 | 72.83 | 11KV PANEKA FEEDER | 23.73 | 97.33 | 76.9
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 54.45 | 84.09 | 54.21
7 | MUNGELI TOWN | 8 | 11KV TOWN-4TEMRI FEEDER | 61.74 | 72.2 | 55.42
8 | CHAMPA TOWN | 10 | 11KV BRIGHANI FEEDER | 19.3 | 63.02 | 87.84
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 53.69 | 29.95 | 83.92 | 11KV BHATGAON FEEDER | 36.21 | 82.53 | 70.12
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 16.26 | 58.13 | 90.55
11 | MANENDRAGARH TOWN | 6 | 11KV KAILARI FEEDER | 64.01 | 73.97 | 52.65
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN2 FEEDER | 81.57 | 80.94 | 33.98
13 | AMBIKAPUR TOWN | 27 | 11KV SONPUR | 11.51 | 63.35 | 92.71 | 11KV MG ROAD FEEDER | 3.01 | 100 | 96.99 | 11KV INDUSTRIAL AREA FEEDER | 10.43 | 87.59 | 90.86
14 | JAGDALPUR TOWN | 25 | 11KV AGHANPUR FEEDER | 14.41 | 99.92 | 85.6 | 11KV SUNCITY FEEDER | 36.17 | 89.72 | 67.55 | 11KV TOWN-1 FEEDER | 35 | 96.05 | 66.38
15 | KORBA TOWN | 63 | 11KV BULGI FEEDER | 18.92 | 62.86 | 88.11 | 11KV DADAR FEEDER | 26.87 | 39.19 | 89.47 | 11KV PARSABADA FEEDER | 44.74 | 41.37 | 81.49 | 11KV SARMANGLA FEEDER | 35.7 | 58.42 | 79.14 | 11KV IMLIDUGGU FEEDER | 35.27 | 63.41 | 77.64
16 | NAILA JANJGIR TOWN | 19 | 11KV TOWN-2 FEEDER | 38.04 | 100 | 61.96
17 | DURG BHILAI CHARODA TOWN | 159 | 11KV BALAJI NAGAR FEEDER | 28.84 | 90.3 | 73.96 | 11KV HATHKHOJ RURAL FEEDER | 43.02 | 66.62 | 71.34 | 11KV ITI FEEDER | 32.88 | 91.59 | 69.89 | 11KV RISALI BASTI FEEDER | 29.83 | 86.94 | 74.07 | 11KV RAJARAM FEEDER | 50.3 | 87.21 | 56.13
18 | BILASPUR TOWN | 98 | 11KV DAYALBAND FEEDER | 16.56 | 46.35 | 92.32 | 11KV PACHARIGHATFEEDER | 29.06 | 52.66 | 84.7 | 11KV Uslapur Overbridge Feeder | 69.9 | 90.77 | 36.55 | 11KV HOUSING BOARD FEEDER | 23.17 | 67.71 | 84.31 | 11KV BHAISA BAZAR FEEDER | 20.55 | 64.83 | 86.68
19 | RAIGARH TOWN | 52 | 11KV PARKCITY FEEDER | 36.05 | 88.39 | 68.14 | 11KV SAVITRI NAGAR FEEDER | 46.6 | 74.56 | 65.26 | 11KV COLLECTRED FEEDER | 25.43 | 76.16 | 80.63 | 11KV RAJIV NAGAR FEEDER | 15.66 | 25.84 | 95.95 | 11KV GOGA MANDIR CHOWK FEEDER | 37.44 | 45.6 | 82.93
20 | RAIPUR TOWN | 317 | 11KV MANAVADHIKAR FEEDER | 10.04 | 66.04 | 93.37 | 11KV SUN CITY FEEDER | 2.12 | 100 | 97.88 | 11KV NANAK ENGINEERING FEEDER | 16.54 | 66.47 | 89.01 | 11KV TEACHER COLONY FEEDER | 32.97 | 63.48 | 79.07 | 11KV LOGISTICK FEEDER | 33.27 | 82.63 | 72.51