## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: |  | D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jul'21
Period: |  | 1st Jun'21 to 30th Jun'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 749
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | BP NUMBER | Number of Outages (Nos.) | Duration of Outages (Sec.)
1 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1640 | 2000003843 | 17 | 31560
2 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 22 | 2000014957 | 30 | 33840
3 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 565 | 2000014959 | 55 | 64380
4 | AMBIKAPUR TOWN | 11KV TV FEEDER | 3316 | 2000014963 | 26 | 30960
5 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2301 | 2000003852 | 36 | 43680
6 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1638 | 2000003853 | 40 | 64380
7 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1188 | 2000071572 | 59 | 97200
8 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1824 | 2000071573 | 39 | 49440
9 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 48 | 2000071574 | 47 | 60660
10 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2031 | 2000003854 | 46 | 80220
11 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 3155 | 2000003855 | 25 | 30540
12 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 632 | 2000076478 | 32 | 1184640
13 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1303 | 2000076479 | 41 | 58200
14 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 652 | 2000076563 | 30 | 35220
15 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 500 | 2000003844 | 36 | 42300
16 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1292 | 2000003845 | 56 | 120180
17 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2082 | 2000003846 | 31 | 35700
18 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 583 | 2000003847 | 49 | 68160
19 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 975 | 2000003848 | 54 | 98280
20 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2062 | 2000003849 | 75 | 131040
21 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1120 | 2000003850 | 68 | 104340
22 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1780 | 2000003851 | 41 | 54840
23 | AMBIKAPUR TOWN | 11KV DCROAD | 2222 | 2000014951 | 28 | 30240
24 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 314 | 2000014952 | 26 | 27900
25 | AMBIKAPUR TOWN | 11KV SONPUR | 916 | 2000014954 | 26 | 27900
26 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1514 | 2000003842 | 18 | 27240
27 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 308 | 2000003841 | 43 | 77160
28 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1040 | 2000003840 | 51 | 75660
29 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 330 | 2000001005 | 16 | 51360
30 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 307 | 2000001007 | 19 | 56520
31 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1081 | 2000001008 | 7 | 24300
32 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1492 | 2000001010 | 27 | 76320
33 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 658 | 2000001013 | 18 | 48660
34 | BHATAPARA TOWN | 11KV REST HOUSE FEDEER | 1248 | 2000075846 | 26 | 112560
35 | BHATAPARA TOWN | 11KV HATARI BAZAR 11KV FEEDER | 1901 | 2000006376 | 10 | 45240
36 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 783 | 2000006347 | 28 | 65340
37 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 551 | 2000004867 | 13 | 36780
38 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2152 | 2000004868 | 25 | 54840
39 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2410 | 2000004869 | 22 | 21900
40 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 746 | 2000004870 | 4 | 17820
41 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1649 | 2000004871 | 16 | 50820
42 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 1308 | 2000004873 | 11 | 21900
43 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1440 | 2000004874 | 7 | 23520
44 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 695 | 2000004876 | 12 | 37260
45 | BILASPUR TOWN | 11KV DHEKA FEEDER | 436 | 2000004877 | 40 | 84720
46 | BILASPUR TOWN | 11KV DHUMA FEEDER | 897 | 2000004878 | 8 | 29520
47 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 609 | 2000004879 | 35 | 88320
48 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1166 | 2000004881 | 7 | 22080
49 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2339 | 2000004882 | 25 | 21900
50 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1310 | 2000004883 | 19 | 51900
51 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1955 | 2000004884 | 19 | 32640
52 | BILASPUR TOWN | 11KV HARDIFEEDER | 1236 | 2000004885 | 7 | 25740
53 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1138 | 2000004886 | 12 | 31980
54 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1455 | 2000004888 | 12 | 34500
55 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2708 | 2000004889 | 25 | 53880
56 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 2000004890 | 21 | 20400
57 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1211 | 2000004891 | 24 | 53100
58 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 1114 | 2000004892 | 10 | 8640
59 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 1284 | 2000004893 | 25 | 47340
60 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 1313 | 2000004894 | 27 | 30840
61 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1420 | 2000004896 | 16 | 51120
62 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 619 | 2000004897 | 26 | 30720
63 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1315 | 2000004898 | 7 | 10980
64 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1200 | 2000004899 | 4 | 17820
65 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1420 | 2000004900 | 20 | 33360
66 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2854 | 2000004901 | 22 | 36300
67 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1789 | 2000004902 | 32 | 58980
68 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2125 | 2000004904 | 19 | 34980
69 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2975 | 2000004905 | 7 | 23460
70 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 2292 | 2000004906 | 22 | 21900
71 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2305 | 2000004907 | 17 | 41100
72 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 1105 | 2000004908 | 20 | 24120
73 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4955 | 2000004909 | 21 | 36600
74 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2377 | 2000004910 | 18 | 44220
75 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1400 | 2000004911 | 20 | 45960
76 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2329 | 2000004912 | 20 | 22980
77 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1860 | 2000004913 | 17 | 53100
78 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2716 | 2000004914 | 12 | 32040
79 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 81 | 2000004915 | 27 | 31080
80 | BILASPUR TOWN | 11KV RULER FEEDER | 2255 | 2000004916 | 27 | 31320
81 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2384 | 2000004917 | 11 | 21840
82 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2266 | 2000004919 | 12 | 31980
83 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3424 | 2000004920 | 10 | 8460
84 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 985 | 2000004921 | 12 | 32100
85 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1697 | 2000004922 | 2 | 4860
86 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 859 | 2000004923 | 32 | 58980
87 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 333 | 2000004924 | 32 | 58920
88 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1543 | 2000004925 | 13 | 36720
89 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1623 | 2000004926 | 21 | 21780
90 | BILASPUR TOWN | 11KV KONI FEEDER | 988 | 2000006494 | 32 | 47100
91 | BILASPUR TOWN | 11KV UNIVERSITY FEEDER | 1 | 2000006495 | 25 | 30720
92 | BILASPUR TOWN | 11KV TV FEEDER | 3347 | 2000016309 | 11 | 22080
93 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 999 | 2000016310 | 42 | 68040
94 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 303 | 2000016311 | 25 | 32400
95 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 578 | 2000016312 | 24 | 29220
96 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1758 | 2000016314 | 26 | 31560
97 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 232 | 2000016315 | 22 | 29220
98 | BILASPUR TOWN | 11KV NEW MOPKA | 1527 | 2000017224 | 30 | 58800
99 | BILASPUR TOWN | 11KV SHIVAM CITY | 2340 | 2000017225 | 23 | 44760
100 | BILASPUR TOWN | 11KV MAHAVEER CITY | 448 | 2000017226 | 20 | 30000
101 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 2 | 2000017502 | 27 | 42420
102 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 497 | 2000017504 | 32 | 60420
103 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2278 | 2000017505 | 30 | 55080
104 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1307 | 2000017776 | 36 | 46620
105 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 128 | 2000017777 | 36 | 46500
106 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 323 | 2000017778 | 36 | 46560
107 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 445 | 2000017780 | 63 | 115020
108 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 683 | 2000017781 | 53 | 72960
109 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 13 | 2000017782 | 54 | 75960
110 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1493 | 2000018403 | 25 | 27600
111 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1030 | 2000018404 | 16 | 13500
112 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1678 | 2000018405 | 23 | 17640
113 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 1143 | 2000018761 | 16 | 50580
114 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 2058 | 2000018762 | 25 | 67440
115 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 692 | 2000018763 | 15 | 47760
116 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 83 | 2000020488 | 6 | 20100
117 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 627 | 2000020489 | 9 | 24300
118 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1699 | 2000020490 | 12 | 32700
119 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1580 | 2000020582 | 11 | 46140
120 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1031 | 2000020583 | 16 | 42240
121 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 275 | 2000020584 | 11 | 43740
122 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 400 | 2000022056 | 13 | 36540
123 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1790 | 2000022059 | 7 | 25800
124 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1712 | 2000022060 | 18 | 46440
125 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 2214 | 2000022061 | 17 | 42900
126 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 213 | 2000022075 | 11 | 22020
127 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1873 | 2000023801 | 30 | 59340
128 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1168 | 2000023802 | 35 | 85020
129 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1027 | 2000023803 | 37 | 76260
130 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 336 | 2000024037 | 16 | 28380
131 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 652 | 2000024038 | 16 | 32460
132 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2464 | 2000024039 | 16 | 32460
133 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1173 | 2000027413 | 13 | 38700
134 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 62 | 2000076558 | 31 | 66120
135 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 30 | 2000076559 | 28 | 57180
136 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 111 | 2000076560 | 46 | 97620
137 | BILASPUR TOWN | 11KV JABDAPARA FEEDER | 1039 | 2000076885 | 13 | 32040
138 | BILASPUR TOWN | 11KV AUDITORIUM FEEDER | 1 | 2000076886 | 13 | 60540
139 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 305 | 2000076887 | 19 | 52320
140 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 16 | 2000077336 | 7 | 25740
141 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1186 | 2000077337 | 27 | 31200
142 | BILASPUR TOWN | 11KV MAA HARSHIDDHI FEEDER | 213 | 2000077612 | 17 | 15480
143 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 877 | 2000001814 | 34 | 60300
144 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1330 | 2000001813 | 57 | 101220
145 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2983 | 2000001812 | 18 | 29040
146 | CHAMPA TOWN | 11KV SEONI(RURAL)FEEDER | 1 | 2000001811 | 40 | 86880
147 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2285 | 2000001809 | 29 | 65880
148 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2391 | 2000001808 | 84 | 152580
149 | CHAMPA TOWN | 11KV KURDAFEEDER | 1665 | 2000001807 | 73 | 127680
150 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 415 | 2000001804 | 66 | 148740
151 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 112 | 2000015492 | 54 | 147900
152 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4553 | 2000003144 | 58 | 108660
153 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1085 | 2000015251 | 40 | 183780
154 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 554 | 2000015252 | 66 | 188160
155 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 423 | 2000003193 | 81 | 931800
156 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 292 | 2000006348 | 30 | 64620
157 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2069 | 2000003196 | 21 | 53820
158 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1688 | 2000003194 | 37 | 70260
159 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5703 | 2000003197 | 23 | 67680
160 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1301 | 2000003195 | 14 | 49320
161 | DHAMTARI TOWN | 11KV SHANTI COLONY FEEDER | 3846 | 2000002578 | 30 | 650820
162 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2962 | 2000002579 | 27 | 39660
163 | DHAMTARI TOWN | 11KV MAHALAKSHMI FEEDER | 30 | 2000002577 | 38 | 45300
164 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1326 | 2000002576 | 38 | 59040
165 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 984 | 2000002575 | 60 | 65460
166 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1401 | 2000002574 | 40 | 35580
167 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 106 | 2000002573 | 14 | 9660
168 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 993 | 2000002572 | 48 | 93420
169 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2120 | 2000002571 | 29 | 24480
170 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4485 | 2000002570 | 15 | 9300
171 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1678 | 2000002569 | 17 | 10980
172 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 2000002567 | 42 | 34020
173 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 49 | 2000002566 | 57 | 350400
174 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 553 | 2000015505 | 17 | 11760
175 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 406 | 2000004308 | 27 | 71460
176 | DHAMTARI TOWN | 11KV CHITOD1 | 4976 | 2000004307 | 18 | 64860
177 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2973 | 2000018723 | 30 | 51480
178 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2297 | 2000007759 | 24 | 139020
179 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 943 | 2000007744 | 12 | 16140
180 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 743 | 2000007733 | 18 | 24180
181 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 364 | 2000075949 | 17 | 43140
182 | DURG BHILAI CHARODA TOWN | 11KV BAGHERA BASTI FEEDER | 791 | 2000076270 | 20 | 58380
183 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1781 | 2000007687 | 15 | 42540
184 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 118 | 2000007688 | 43 | 664020
185 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4187 | 2000007696 | 13 | 15240
186 | DURG BHILAI CHARODA TOWN | 11KV BORSI BHATA FEEDER | 1699 | 2000007753 | 5 | 8580
187 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1957 | 2000007686 | 19 | 31320
188 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 634 | 2000007689 | 5 | 3180
189 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1104 | 2000007702 | 12 | 26220
190 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1149 | 2000007703 | 15 | 70200
191 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2476 | 2000007705 | 13 | 13920
192 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1660 | 2000007707 | 19 | 54780
193 | DURG BHILAI CHARODA TOWN | 11KV MAHARAJA CHOWK FEEDER | 2060 | 2000007711 | 3 | 3840
194 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1395 | 2000007715 | 19 | 41280
195 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1577 | 2000007718 | 12 | 15600
196 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1436 | 2000007721 | 8 | 19680
197 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2246 | 2000007723 | 9 | 11520
198 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1511 | 2000007724 | 27 | 48660
199 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1750 | 2000007725 | 14 | 33240
200 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2645 | 2000007726 | 24 | 52680
201 | DURG BHILAI CHARODA TOWN | 11KV KAILASHNAGAR FEEDER | 1546 | 2000007727 | 7 | 30600
202 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 756 | 2000007729 | 10 | 36780
203 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 980 | 2000007731 | 12 | 30420
204 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1134 | 2000007735 | 10 | 33600
205 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1650 | 2000007737 | 23 | 53460
206 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3230 | 2000007742 | 28 | 52020
207 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 732 | 2000007747 | 10 | 42540
208 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1998 | 2000007754 | 13 | 54600
209 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1379 | 2000007756 | 10 | 20220
210 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2086 | 2000007757 | 14 | 46680
211 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2328 | 2000007758 | 33 | 37800
212 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1045 | 2000007761 | 19 | 28560
213 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1120 | 2000007762 | 11 | 40140
214 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 717 | 2000007769 | 14 | 20580
215 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 1889 | 2000007772 | 7 | 13680
216 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1580 | 2000007773 | 26 | 92880
217 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1575 | 2000007774 | 8 | 16020
218 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1263 | 2000007775 | 10 | 14880
219 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1240 | 2000007776 | 7 | 19200
220 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1283 | 2000007779 | 11 | 14340
221 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7752 | 2000016889 | 49 | 94140
222 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2975 | 2000017000 | 16 | 37980
223 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2605 | 2000017052 | 22 | 39900
224 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1331 | 2000017054 | 23 | 39180
225 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1217 | 2000017055 | 12 | 13920
226 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 981 | 2000017056 | 15 | 22920
227 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 896 | 2000017058 | 13 | 14160
228 | DURG BHILAI CHARODA TOWN | 11KV KATUL BOAD | 1682 | 2000017059 | 17 | 26940
229 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 454 | 2000017060 | 23 | 113580
230 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1838 | 2000017061 | 18 | 32640
231 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1215 | 2000075971 | 4 | 4380
232 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1196 | 2000021357 | 11 | 19380
233 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 753 | 2000017063 | 15 | 33840
234 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1544 | 2000017064 | 4 | 6000
235 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1517 | 2000017065 | 23 | 30420
236 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1179 | 2000017066 | 22 | 28800
237 | DURG BHILAI CHARODA TOWN | 11KV HANODA RURAL FEEDER | 580 | 2000017067 | 11 | 8880
238 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1355 | 2000017068 | 13 | 9300
239 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 975 | 2000017069 | 22 | 30300
240 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2202 | 2000017071 | 23 | 30540
241 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 270 | 2000017072 | 16 | 30660
242 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 532 | 2000017080 | 8 | 20160
243 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2631 | 2000018574 | 20 | 45180
244 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 310 | 2000018704 | 20 | 52080
245 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1411 | 2000018705 | 19 | 53280
246 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1860 | 2000018706 | 24 | 53820
247 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 919 | 2000018707 | 23 | 35520
248 | DURG BHILAI CHARODA TOWN | 11 KV BHIM NAGAR FEEDER | 1450 | 2000078040 | 22 | 117180
249 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 665 | 2000019819 | 10 | 32160
250 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2808 | 2000019876 | 61 | 107460
251 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1116 | 2000020519 | 11 | 39960
252 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1679 | 2000021263 | 24 | 44460
253 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1334 | 2000021264 | 28 | 52200
254 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1323 | 2000007750 | 13 | 38940
255 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 545 | 2000017062 | 18 | 42000
256 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3191 | 2000023773 | 13 | 18480
257 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 2000025794 | 18 | 15060
258 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 2000027337 | 10 | 13320
259 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1939 | 2000029190 | 17 | 27660
260 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1422 | 2000029191 | 20 | 29520
261 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 881 | 2000029192 | 19 | 28680
262 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1959 | 2000049757 | 14 | 38640
263 | DURG BHILAI CHARODA TOWN | 11KV GOL MARKET FEEDER | 1072 | 2000077904 | 18 | 43200
264 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 60 | 2000049820 | 13 | 50880
265 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 2062 | 2000067876 | 4 | 4500
266 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2409 | 2000067877 | 4 | 4560
267 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2201 | 2000067878 | 4 | 4320
268 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 16 | 2000068108 | 6 | 13860
269 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 48 | 2000068109 | 6 | 13860
270 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 18 | 2000068110 | 6 | 13860
271 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1406 | 2000075513 | 11 | 34380
272 | DURG BHILAI CHARODA TOWN | 11KV SARASWATI KUNJ FEEDER | 137 | 2000075565 | 4 | 6000
273 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 822 | 2000075566 | 10 | 13320
274 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1847 | 2000075806 | 18 | 27300
275 | DURG BHILAI CHARODA TOWN | 11KV LIMTARA FEEDER | 1041 | 2000075812 | 39 | 51600
276 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2322 | 2000075970 | 19 | 176820
277 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 343 | 2000004329 | 11 | 27840
278 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2238 | 2000004330 | 12 | 37020
279 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1549 | 2000004331 | 2 | 15660
280 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1253 | 2000004332 | 17 | 43980
281 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 295 | 2000004333 | 17 | 33420
282 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 945 | 2000004334 | 24 | 61200
283 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1537 | 2000004335 | 25 | 52920
284 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2678 | 2000004336 | 11 | 28080
285 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1790 | 2000004337 | 12 | 35700
286 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3633 | 2000004338 | 39 | 82380
287 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2478 | 2000004339 | 43 | 81840
288 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2089 | 2000004340 | 13 | 23940
289 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 68 | 2000078041 | 14 | 20520
290 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 387 | 2000075799 | 29 | 28080
291 | JAGDALPUR TOWN | 11KV ANUPAMA CHOWK FEEDER | 2587 | 2000075216 | 9 | 50520
292 | JAGDALPUR TOWN | 11KV GREEN CITY FEEDER | 535 | 2000075215 | 14 | 66240
293 | JAGDALPUR TOWN | 11KV VARGISH FEEDER | 867 | 2000023847 | 8 | 12600
294 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1220 | 2000004349 | 7 | 8700
295 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3769 | 2000004348 | 7 | 25620
296 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 181 | 2000004347 | 22 | 37260
297 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 4281 | 2000004346 | 13 | 14760
298 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 2978 | 2000004345 | 1 | 1440
299 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2016 | 2000004344 | 34 | 80040
300 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2519 | 2000004343 | 13 | 12120
301 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1846 | 2000004342 | 22 | 72300
302 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1938 | 2000004341 | 22 | 62640
303 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1496 | 2000001045 | 11 | 21480
304 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 2325 | 2000001047 | 18 | 36600
305 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1714 | 2000001048 | 22 | 242280
306 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 2800 | 2000001051 | 21 | 54600
307 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 495 | 2000075551 | 9 | 19140
308 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2066 | 2000075552 | 9 | 18960
309 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1878 | 2000075553 | 9 | 19020
310 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3549 | 2000001054 | 23 | 45480
311 | KAWARDHA TOWN | 11KV VIP FEEDER | 488 | 2000001052 | 15 | 56640
312 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1741 | 2000001055 | 24 | 65340
313 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1152 | 2000016912 | 19 | 80940
314 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 2242 | 2000016201 | 22 | 78240
315 | KORBA TOWN | 11KV ITI FEEDER | 1520 | 2000075851 | 49 | 122280
316 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2789 | 2000075850 | 57 | 177900
317 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 932 | 2000006762 | 24 | 39660
318 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1086 | 2000006763 | 38 | 125220
319 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 116 | 2000075849 | 76 | 120420
320 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1002 | 2000075848 | 39 | 134400
321 | KORBA TOWN | 11KV DADAR FEEDER | 1058 | 2000006768 | 25 | 92940
322 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 431 | 2000075847 | 55 | 153840
323 | KORBA TOWN | 11KV DUMARDIHFEEDER | 9 | 2000006770 | 36 | 58740
324 | KORBA TOWN | 11KV DINDAYAL AWAS | 483 | 2000017789 | 37 | 135660
325 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 100 | 2000017790 | 41 | 116760
326 | KORBA TOWN | 11KV OM SAI APPARTMENT | 464 | 2000017791 | 37 | 122640
327 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 532 | 2000006776 | 71 | 152340
328 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 176 | 2000006797 | 24 | 35760
329 | KORBA TOWN | 11KV KOSABADI FEEDER | 1172 | 2000006780 | 24 | 35940
330 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1602 | 2000006783 | 18 | 133860
331 | KORBA TOWN | 11KV NIHARIKA FEEDER | 864 | 2000006784 | 21 | 88140
332 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 993 | 2000018988 | 41 | 162000
333 | KORBA TOWN | 11KV PARSABADA FEEDER | 939 | 2000006789 | 76 | 167340
334 | KORBA TOWN | 11KV RAMPUR FEEDER | 215 | 2000006791 | 24 | 35760
335 | KORBA TOWN | 11KV DARRI FEEDER | 1326 | 2000006767 | 18 | 16260
336 | KORBA TOWN | 11KV DEFR FEEDER | 1635 | 2000006769 | 9 | 11220
337 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 734 | 2000006771 | 53 | 95040
338 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 873 | 2000006773 | 60 | 99420
339 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 1145 | 2000006775 | 70 | 134580
340 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 364 | 2000006778 | 47 | 129720
341 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1205 | 2000006782 | 54 | 134400
342 | KORBA TOWN | 11KV P.HROAD FEEDER | 1316 | 2000006785 | 47 | 115260
343 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1356 | 2000006787 | 52 | 140340
344 | KORBA TOWN | 11KV POWERCITY FEEDER | 660 | 2000006788 | 15 | 14580
345 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 630 | 2000006790 | 37 | 88800
346 | KORBA TOWN | 11KV RURAL FEEDER | 1619 | 2000006792 | 24 | 83340
347 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1124 | 2000006794 | 62 | 336360
348 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2400 | 2000006795 | 42 | 62400
349 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 942 | 2000006796 | 66 | 130440
350 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1403 | 2000006798 | 30 | 53160
351 | KORBA TOWN | 11KV BUDHWARI FEEDER | 869 | 2000015220 | 36 | 77940
352 | KORBA TOWN | 11KV SEMIPALI | 475 | 2000015240 | 42 | 77220
353 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2669 | 2000016255 | 18 | 16260
354 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1009 | 2000006764 | 87 | 180180
355 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3669 | 2000006761 | 64 | 1155600
356 | KORBA TOWN | 11KV AB TYPE COLONY FEEDER | 295 | 2000006760 | 52 | 140340
357 | KORBA TOWN | 11KV ABC FEEDER | 1326 | 2000006759 | 9 | 11040
358 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 19 | 2000006490 | 54 | 91020
359 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1781 | 2000077495 | 19 | 51480
360 | KORBA TOWN | 11KV SUMEDHA FEEDER | 416 | 2000077493 | 3 | 18420
361 | KORBA TOWN | 11KV TINADAFAI FEEDER | 825 | 2000075797 | 30 | 53220
362 | KORBA TOWN | 11KV KOHADIYA | 1948 | 2000071856 | 31 | 43080
363 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 2000071855 | 32 | 43560
364 | KORBA TOWN | 11KV SANJAY NAGAR | 2167 | 2000071532 | 45 | 162000
365 | KORBA TOWN | 11KV KOTWALI | 1890 | 2000071531 | 1 | 4980
366 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1415 | 2000021425 | 37 | 70800
367 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 229 | 2000021289 | 45 | 90120
368 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 950 | 2000021288 | 45 | 90120
369 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 130 | 2000020121 | 25 | 69600
370 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1883 | 2000020065 | 46 | 116280
371 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 660 | 2000017805 | 38 | 141600
372 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2361 | 2000017804 | 40 | 161820
373 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1825 | 2000069911 | 32 | 52500
374 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 54 | 2000069912 | 27 | 39540
375 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1811 | 2000069913 | 30 | 61080
376 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 769 | 2000001425 | 32 | 77340
377 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 840 | 2000001426 | 23 | 99540
378 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 686 | 2000069914 | 22 | 43260
379 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1815 | 2000001427 | 41 | 91200
380 | MAHASAMUND TOWN | 11KV NEHRU CHOWK FEEDER | 1610 | 2000077410 | 21 | 31260
381 | MAHASAMUND TOWN | 11KV TRIMURTI FEEDER | 189 | 2000077409 | 24 | 34440
382 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6267 | 2000003057 | 36 | 106920
383 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1295 | 2000003055 | 42 | 89280
384 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 643 | 2000002464 | 41 | 50880
385 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2091 | 2000006458 | 17 | 12120
386 | MUNGELI TOWN | 11KV COLECTER FEEDER | 825 | 2000006460 | 17 | 15120
387 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1395 | 2000002463 | 13 | 15300
388 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2797 | 2000002462 | 17 | 13680
389 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 105 | 2000002458 | 56 | 72360
390 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 1045 | 2000068276 | 36 | 34440
391 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 180 | 2000015467 | 41 | 50820
392 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1936 | 2000055675 | 21 | 82920
393 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 291 | 2000077488 | 32 | 25620
394 | NAILA JANJGIR TOWN | 11KV VIP-2 FEEDER | 412 | 2000077487 | 17 | 26520
395 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 167 | 2000076054 | 21 | 27600
396 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 424 | 2000076053 | 20 | 23400
397 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 451 | 2000001637 | 15 | 14280
398 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1170 | 2000001636 | 22 | 76740
399 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2933 | 2000001635 | 25 | 28080
400 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 650 | 2000001634 | 15 | 23640
401 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 38 | 2000001633 | 42 | 57900
402 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1166 | 2000001628 | 24 | 18480
403 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6188 | 2000001626 | 47 | 87240
404 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 501 | 2000076052 | 33 | 41340
405 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 799 | 2000076051 | 29 | 34920
406 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1576 | 2000076050 | 35 | 42000
407 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1753 | 2000001622 | 18 | 13200
408 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER2 | 381 | 2000017311 | 18 | 13680
409 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 280 | 2000001625 | 23 | 56400
410 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 145 | 2000001623 | 3 | 6600
411 | RAIGARH TOWN | 11KV GANDHI PUTLA FEEDER | 783 | 2000067368 | 30 | 34800
412 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1596 | 2000016053 | 59 | 131580
413 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 2000016054 | 26 | 46320
414 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1384 | 2000016055 | 29 | 46800
415 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 141 | 2000016056 | 27 | 38940
416 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 854 | 2000016057 | 36 | 49200
417 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 632 | 2000016184 | 21 | 24420
418 | RAIGARH TOWN | 11KV GERWANI FEEDER | 706 | 2000016185 | 11 | 16560
419 | RAIGARH TOWN | 11 KV CHATAMUDA FEEDER | 915 | 2000017712 | 27 | 44820
420 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1557 | 2000021639 | 37 | 70740
421 | RAIGARH TOWN | 11KV STADIUM FEEDER | 965 | 2000022941 | 46 | 86280
422 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 617 | 2000029091 | 36 | 47040
423 | RAIGARH TOWN | 11KV ISHA NAGAR FEEDER | 263 | 2000067397 | 23 | 51900
424 | RAIGARH TOWN | 11KV PATRAPALI | 447 | 2000073192 | 25 | 53760
425 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1514 | 2000016052 | 42 | 65160
426 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1651 | 2000003303 | 4 | 21960
427 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 2265 | 2000003304 | 4 | 21180
428 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1287 | 2000003305 | 4 | 22500
429 | RAIGARH TOWN | 11KV GAJANANDPURAM FEEDER | 131 | 2000003310 | 4 | 21180
430 | RAIGARH TOWN | 11KV FRIENDS COLONY FEEDER | 2387 | 2000003313 | 21 | 38940
431 | RAIGARH TOWN | 11KV MEDICAL COLLEGE FEEDER | 764 | 2000003320 | 31 | 47460
432 | RAIGARH TOWN | 11KV CENTRAL SCHOOL FEEDER | 318 | 2000003323 | 17 | 23760
433 | RAIGARH TOWN | 11KV STATION FEEDER | 801 | 2000003324 | 35 | 38640
434 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3333 | 2000003325 | 80 | 186840
435 | RAIGARH TOWN | 11KV KHAIRPUR | 942 | 2000073193 | 23 | 53280
436 | RAIGARH TOWN | 11KV PARK AVENUE | 170 | 2000073194 | 44 | 48300
437 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1190 | 2000073195 | 47 | 316920
438 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1154 | 2000073196 | 48 | 67800
439 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 754 | 2000017590 | 6 | 9720
440 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1790 | 2000010696 | 6 | 3960
441 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 929 | 2000017768 | 8 | 7200
442 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 578 | 2000017757 | 6 | 19980
443 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 858 | 2000010666 | 9 | 30780
444 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1185 | 2000010725 | 16 | 17340
445 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 823 | 2000017615 | 8 | 20700
446 | RAIPUR TOWN | 11KV MOTHER TERESA | 725 | 2000017756 | 7 | 9300
447 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 964 | 2000017628 | 7 | 14460
448 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1381 | 2000017755 | 8 | 19500
449 | RAIPUR TOWN | 11KV LIC FEEDER | 2170 | 2000010663 | 15 | 34620
450 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2447 | 2000010700 | 4 | 1800
451 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 782 | 2000010583 | 8 | 14100
452 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2074 | 2000010664 | 1 | 480
453 | RAIPUR TOWN | 11KV SBI FEEDER | 1002 | 2000023790 | 15 | 18720
454 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 680 | 2000023848 | 7 | 28380
455 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1519 | 2000017611 | 15 | 25320
456 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1665 | 2000023680 | 5 | 11160
457 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 11 | 2000017607 | 8 | 12060
458 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 702 | 2000010606 | 4 | 17580
459 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1331 | 2000019485 | 9 | 7200
460 | RAIPUR TOWN | 11KV SECTOR -5 | 272 | 2000010721 | 5 | 4140
461 | RAIPUR TOWN | 11KV BASTAL FEEDER | 938 | 2000010610 | 11 | 15840
462 | RAIPUR TOWN | 11KV MOTIBAGH | 827 | 2000021115 | 18 | 33900
463 | RAIPUR TOWN | 11KV MAHALAXMI | 402 | 2000010655 | 12 | 14640
464 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 913 | 2000017576 | 11 | 24240
465 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 782 | 2000017569 | 10 | 20880
466 | RAIPUR TOWN | 11KV WHITE HOUSE | 559 | 2000017568 | 12 | 21060
467 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1957 | 2000017567 | 8 | 12360
468 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1643 | 2000010621 | 4 | 8760
469 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 512 | 2000017514 | 4 | 18780
470 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 826 | 2000010685 | 6 | 20640
471 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1199 | 2000010681 | 10 | 24120
472 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1292 | 2000010653 | 12 | 14460
473 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 1000 | 2000010671 | 1 | 540
474 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 547 | 2000010677 | 9 | 24420
475 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 14 | 2000010676 | 18 | 34980
476 | RAIPUR TOWN | 11KV MANDI | 581 | 2000018020 | 4 | 3600
477 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 545 | 2000010732 | 4 | 1800
478 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 705 | 2000010647 | 5 | 3480
479 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 380 | 2000018398 | 14 | 10140
480 | RAIPUR TOWN | 11KV IGVP | 436 | 2000018397 | 14 | 53520
481 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 910 | 2000010642 | 4 | 4800
482 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 122 | 2000010641 | 6 | 4020
483 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 903 | 2000010651 | 15 | 11220
484 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1668 | 2000010650 | 17 | 28440
485 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 132 | 2000018378 | 15 | 11460
486 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 597 | 2000018396 | 13 | 12780
487 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 268 | 2000029196 | 8 | 5280
488 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1360 | 2000021615 | 6 | 15120
489 | RAIPUR TOWN | 11KV ATARI FEEDER | 820 | 2000010604 | 24 | 57300
490 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 263 | 2000010605 | 18 | 44040
491 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 652 | 2000010603 | 7 | 22380
492 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1873 | 2000010602 | 12 | 11940
493 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 267 | 2000010607 | 7 | 17160
494 | RAIPUR TOWN | 11KV BANJARI FEEDER | 936 | 2000010608 | 6 | 5760
495 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 678 | 2000010611 | 12 | 8160
496 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 733 | 2000010613 | 7 | 23400
497 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1309 | 2000010601 | 2 | 900
498 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1596 | 2000010600 | 12 | 29700
499 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 569 | 2000010599 | 3 | 5100
500 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 1280 | 2000010598 | 3 | 3780
501 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 153 | 2000010596 | 15 | 14640
502 | RAIPUR TOWN | 11KV MLA FEEDER | 1435 | 2000010595 | 6 | 22800
503 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1209 | 2000010592 | 14 | 37080
504 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 400 | 2000010591 | 4 | 6840
505 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1042 | 2000010614 | 12 | 8280
506 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 249 | 2000010615 | 16 | 42900
507 | RAIPUR TOWN | 11KV COLONY FEEDER | 53 | 2000010616 | 6 | 6840
508 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 237 | 2000010617 | 7 | 21840
509 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1924 | 2000010618 | 5 | 3000
510 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 2920 | 2000010622 | 6 | 6300
511 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 823 | 2000010624 | 21 | 36480
512 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 79 | 2000010625 | 6 | 6660
513 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 404 | 2000010626 | 10 | 16500
514 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2561 | 2000010628 | 6 | 5880
515 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1001 | 2000010630 | 17 | 44760
516 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2465 | 2000010631 | 6 | 4260
517 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1372 | 2000010731 | 3 | 3540
518 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 32 | 2000010733 | 12 | 7980
519 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 3045 | 2000010735 | 5 | 7860
520 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2373 | 2000010736 | 14 | 28500
521 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1413 | 2000010643 | 8 | 22740
522 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 488 | 2000010645 | 12 | 12960
523 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1299 | 2000010649 | 16 | 18120
524 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2290 | 2000010652 | 17 | 31020
525 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1466 | 2000010654 | 5 | 18600
526 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2241 | 2000010656 | 8 | 8940
527 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 370 | 2000010657 | 11 | 7620
528 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 415 | 2000010658 | 10 | 6000
529 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 1009 | 2000010659 | 18 | 47460
530 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 71 | 2000010660 | 6 | 10440
531 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1595 | 2000010661 | 6 | 3300
532 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 1887 | 2000010662 | 16 | 25440
533 | RAIPUR TOWN | 11KV LALBAG FEEDER | 959 | 2000010665 | 7 | 27300
534 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1788 | 2000010667 | 5 | 3060
535 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1973 | 2000010668 | 5 | 12120
536 | RAIPUR TOWN | 11KV MINING FEEDER | 525 | 2000010669 | 5 | 12060
537 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 942 | 2000010670 | 7 | 10500
538 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 616 | 2000010672 | 7 | 27360
539 | RAIPUR TOWN | 11KV MARUTI FEEDER | 2958 | 2000010674 | 11 | 22200
540 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1696 | 2000010675 | 8 | 9300
541 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 185 | 2000010679 | 3 | 1200
542 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1498 | 2000010680 | 6 | 7200
543 | RAIPUR TOWN | 11KV KBT FEEDER | 778 | 2000010682 | 9 | 37380
544 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 425 | 2000010686 | 13 | 9000
545 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 938 | 2000010687 | 12 | 30540
546 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 399 | 2000010688 | 8 | 9420
547 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2314 | 2000010582 | 3 | 14640
548 | RAIPUR TOWN | 11KV KARBALA TALAB | 1447 | 2000010585 | 5 | 15840
549 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 3035 | 2000010587 | 3 | 7500
550 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 499 | 2000010588 | 5 | 6720
551 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 879 | 2000010589 | 8 | 13320
552 | RAIPUR TOWN | 11KV GAD FEEDER | 871 | 2000010590 | 2 | 1380
553 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1306 | 2000010691 | 2 | 16440
554 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3916 | 2000010692 | 3 | 57720
555 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2404 | 2000010693 | 3 | 1740
556 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 23 | 2000010694 | 11 | 6480
557 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1567 | 2000010695 | 4 | 4680
558 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1382 | 2000010699 | 6 | 9540
559 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1929 | 2000010701 | 21 | 102120
560 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 91 | 2000010702 | 8 | 9180
561 | RAIPUR TOWN | 11KV RULAR FEEDER | 599 | 2000010703 | 12 | 18660
562 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 679 | 2000010704 | 7 | 11100
563 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2218 | 2000010705 | 13 | 8400
564 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1228 | 2000010706 | 10 | 14700
565 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 360 | 2000010707 | 9 | 7320
566 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 1024 | 2000010708 | 7 | 3780
567 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2661 | 2000010709 | 5 | 15960
568 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1632 | 2000010711 | 18 | 25020
569 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1074 | 2000010712 | 16 | 14280
570 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 888 | 2000010713 | 8 | 19680
571 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 2058 | 2000010714 | 12 | 7740
572 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2187 | 2000010715 | 4 | 6780
573 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1872 | 2000010716 | 7 | 9900
574 | RAIPUR TOWN | 11KV RDA FEEDER | 2197 | 2000010717 | 16 | 13680
575 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1925 | 2000010718 | 16 | 14340
576 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 388 | 2000010719 | 2 | 1260
577 | RAIPUR TOWN | 11KV SARORA FEEDER | 707 | 2000010720 | 10 | 18480
578 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 3032 | 2000010722 | 11 | 25260
579 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2493 | 2000010723 | 15 | 10020
580 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3331 | 2000010724 | 8 | 24060
581 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 995 | 2000010726 | 6 | 12600
582 | RAIPUR TOWN | 11KV TV FEEDER | 1867 | 2000010728 | 19 | 20820
583 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1142 | 2000010729 | 18 | 17760
584 | RAIPUR TOWN | 11KV TOWN FEEDER | 1462 | 2000010730 | 2 | 1020
585 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 485 | 2000010737 | 8 | 25200
586 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 795 | 2000010738 | 10 | 12360
587 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 382 | 2000010739 | 15 | 27360
588 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 3073 | 2000010740 | 10 | 26220
589 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1579 | 2000010741 | 9 | 27660
590 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 111 | 2000010742 | 10 | 6120
591 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 79 | 2000010743 | 10 | 6060
592 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 346 | 2000010744 | 12 | 8760
593 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1714 | 2000017238 | 9 | 25740
594 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1189 | 2000017256 | 14 | 23160
595 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2348 | 2000017261 | 5 | 2700
596 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1596 | 2000017508 | 23 | 44040
597 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1696 | 2000017597 | 10 | 6060
598 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 913 | 2000017599 | 9 | 10320
599 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1932 | 2000017600 | 12 | 18660
600 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1533 | 2000017602 | 7 | 14820
601 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2144 | 2000017608 | 12 | 17640
602 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 760 | 2000017609 | 4 | 11520
603 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 416 | 2000017612 | 13 | 9960
604 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 24 | 2000017613 | 5 | 3300
605 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 428 | 2000017617 | 18 | 34980
606 | RAIPUR TOWN | 11KV COLONY FEEDER | 14 | 2000017619 | 5 | 14760
607 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1991 | 2000017621 | 14 | 37860
608 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 87 | 2000017623 | 23 | 48900
609 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 889 | 2000017624 | 11 | 13800
610 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 431 | 2000017626 | 8 | 14040
611 | RAIPUR TOWN | 11KV MIG FEEDER | 346 | 2000017671 | 10 | 11040
612 | RAIPUR TOWN | 11KV G+10 FEEDER | 465 | 2000017673 | 10 | 10980
613 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 279 | 2000017674 | 6 | 12180
614 | RAIPUR TOWN | 11KV SURAJ NAGAR | 2012 | 2000017690 | 5 | 27780
615 | RAIPUR TOWN | 11KV RDA FEEDER | 765 | 2000010689 | 4 | 2160
616 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 508 | 2000010690 | 7 | 4620
617 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2656 | 2000010640 | 5 | 15720
618 | RAIPUR TOWN | 11KV NAVEEN MARKET | 897 | 2000017953 | 7 | 4920
619 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2666 | 2000017954 | 12 | 9960
620 | RAIPUR TOWN | 11KV MG ROAD | 1645 | 2000017955 | 9 | 7920
621 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 2159 | 2000017962 | 20 | 41940
622 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 256 | 2000018004 | 11 | 27960
623 | RAIPUR TOWN | 11KV SADDU FEEDER | 608 | 2000018005 | 27 | 35940
624 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1384 | 2000018006 | 12 | 12240
625 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 414 | 2000018359 | 6 | 15360
626 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1428 | 2000018361 | 4 | 20340
627 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 853 | 2000018394 | 15 | 29100
628 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 727 | 2000018406 | 25 | 27480
629 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 405 | 2000018416 | 9 | 23820
630 | RAIPUR TOWN | 11KV DHANLAXMI NAGAR FEEDER | 3581 | 2000018417 | 4 | 4260
631 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2361 | 2000018595 | 45 | 62520
632 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 835 | 2000018783 | 13 | 20940
633 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2444 | 2000018949 | 5 | 6480
634 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1934 | 2000020119 | 7 | 19380
635 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1065 | 2000034762 | 6 | 3900
636 | RAIPUR TOWN | 11KV PRIDE FEEDER | 417 | 2000039215 | 3 | 1500
637 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 693 | 2000046448 | 5 | 3000
638 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 1049 | 2000046477 | 16 | 15360
639 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 2000064021 | 17 | 22080
640 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1511 | 2000068159 | 5 | 22200
641 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 592 | 2000069376 | 15 | 27300
642 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 243 | 2000070080 | 13 | 28860
643 | RAIPUR TOWN | 11KV C&F FEEDER | 59 | 2000070702 | 8 | 21900
644 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 2000070703 | 8 | 21780
645 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1140 | 2000070747 | 6 | 71220
646 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 564 | 2000070748 | 6 | 21060
647 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1092 | 2000070749 | 7 | 23880
648 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 13 | 2000071570 | 11 | 12780
649 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 401 | 2000071639 | 8 | 14640
650 | RAIPUR TOWN | 11KV HEERA FEEDER | 3412 | 2000019180 | 22 | 45600
651 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 478 | 2000019181 | 17 | 39900
652 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 758 | 2000019184 | 10 | 18240
653 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 583 | 2000019185 | 9 | 10440
654 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1250 | 2000019186 | 11 | 10320
655 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1390 | 2000019334 | 18 | 23520
656 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1924 | 2000019340 | 21 | 20100
657 | RAIPUR TOWN | 11KV BSUP FEEDER | 187 | 2000019341 | 10 | 388500
658 | RAIPUR TOWN | 11KV CTI FEEDER | 338 | 2000019342 | 7 | 5040
659 | RAIPUR TOWN | 11KV PS CITY | 1606 | 2000019530 | 4 | 4920
660 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 944 | 2000019697 | 15 | 27240
661 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 313 | 2000019850 | 7 | 8700
662 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 159 | 2000019851 | 8 | 12060
663 | RAIPUR TOWN | 11KV BLOCK NO 1 2 3 4 FEEDER | 200 | 2000019853 | 5 | 4560
664 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1902 | 2000019857 | 25 | 49380
665 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1573 | 2000019858 | 8 | 16440
666 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2135 | 2000020009 | 6 | 21660
667 | RAIPUR TOWN | 11KV VARUN FEEDER | 1453 | 2000019179 | 3 | 16140
668 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 168 | 2000017692 | 2 | 900
669 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 1024 | 2000017721 | 11 | 25740
670 | RAIPUR TOWN | 11KV MOVA ESTATE FEEDER | 149 | 2000017722 | 6 | 5880
671 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1750 | 2000017771 | 11 | 15120
672 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1704 | 2000017772 | 13 | 20760
673 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 644 | 2000017773 | 16 | 20460
674 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3201 | 2000017808 | 4 | 4920
675 | RAIPUR TOWN | 11KV PURANI BASTI | 717 | 2000017817 | 5 | 6540
676 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1263 | 2000017819 | 9 | 9900
677 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1133 | 2000017867 | 4 | 6120
678 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1786 | 2000017868 | 4 | 17580
679 | RAIPUR TOWN | 11KV GANESH MANDIR | 331 | 2000017869 | 2 | 2160
680 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1495 | 2000017870 | 7 | 13800
681 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 183 | 2000017871 | 2 | 960
682 | RAIPUR TOWN | 11KV TARUN NAGAR | 1866 | 2000021221 | 4 | 6120
683 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1311 | 2000021286 | 15 | 29520
684 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1865 | 2000021287 | 13 | 26880
685 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 72 | 2000021421 | 17 | 17640
686 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1296 | 2000021424 | 24 | 36240
687 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1242 | 2000022077 | 12 | 9600
688 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 703 | 2000022078 | 12 | 12900
689 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1578 | 2000022079 | 17 | 13260
690 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2042 | 2000023735 | 13 | 8280
691 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 215 | 2000023736 | 6 | 16080
692 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1825 | 2000023772 | 6 | 4680
693 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1393 | 2000024395 | 6 | 22860
694 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 237 | 2000026462 | 1 | 420
695 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 1827 | 2000026575 | 13 | 33180
696 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1417 | 2000026582 | 10 | 33780
697 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1012 | 2000026583 | 2 | 3420
698 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 996 | 2000026584 | 1 | 720
699 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1384 | 2000026586 | 3 | 3660
700 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 228 | 2000029194 | 9 | 602580
701 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 127 | 2000029195 | 10 | 53220
702 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1423 | 2000034421 | 27 | 276120
703 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 899 | 2000034422 | 17 | 72060
704 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 955 | 2000034423 | 17 | 49800
705 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2779 | 2000034760 | 8 | 5100
706 | RAIPUR TOWN | 11KV ROMAN SQUARE | 357 | 2000017691 | 1 | 360
707 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2526 | 2000010632 | 4 | 2220
708 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 3 | 2000010633 | 7 | 8160
709 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 788 | 2000010635 | 11 | 33480
710 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 1070 | 2000010636 | 7 | 20700
711 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1814 | 2000010637 | 9 | 4020
712 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1002 | 2000010638 | 15 | 272220
713 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3361 | 2000010639 | 2 | 10020
714 | RAIPUR TOWN | 11KV SHAPHIRE GREEN FEEDER | 15 | 2000071754 | 8 | 10620
715 | RAIPUR TOWN | 11KV FEEDER I FEEDER | 49 | 2000071756 | 6 | 6240
716 | RAIPUR TOWN | 11KV OM FEEDER | 15 | 2000071757 | 8 | 9840
717 | RAIPUR TOWN | 11KV FEEDER II FEEDER | 98 | 2000071758 | 6 | 6420
718 | RAIPUR TOWN | 11KV FEEDER SWARNABHOOMI III FEEDER | 176 | 2000071760 | 6 | 6300
719 | RAIPUR TOWN | 11KV OAK VILLA FEEDER | 263 | 2000071761 | 8 | 8580
720 | RAIPUR TOWN | 11KV GOKUL NAGAR FEEDER | 2918 | 2000072091 | 22 | 17220
721 | RAIPUR TOWN | 11KV SIMRAN CITY FEEDER | 1365 | 2000074141 | 17 | 23520
722 | RAIPUR TOWN | 11KV PARK SIDE FEEDER | 157 | 2000075451 | 7 | 4620
723 | RAIPUR TOWN | 11KV SUMET FEEDER | 102 | 2000075452 | 7 | 4800
724 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1206 | 2000075643 | 26 | 32760
725 | RAIPUR TOWN | 11KV SHRADDHA VIHAR FEEDER | 1044 | 2000075796 | 24 | 27060
726 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3547 | 2000075800 | 8 | 9360
727 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 67 | 2000075801 | 9 | 10500
728 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 350 | 2000075802 | 2 | 5700
729 | RAIPUR TOWN | 11KV VILLA (MARUTI LIFESTYLE)​ FEEDER | 32 | 2000075947 | 5 | 6180
730 | RAIPUR TOWN | 11KV CM HOUSE FEEDER | 4 | 2000076123 | 11 | 7500
731 | RAIPUR TOWN | 11KV JAGRITI SCHOOL FEEDER | 78 | 2000077965 | 13 | 16380
732 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 60 | 2000078241 | 7 | 4500
733 | RAIPUR TOWN | 11KV BARDIYA VIHAR FEEDER | 1671 | 2000081696 | 12 | 13620
734 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1243 | 2000034761 | 6 | 3840
735 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1936 | 2000020120 | 12 | 16320
736 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 68 | 2000020123 | 26 | 33000
737 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 343 | 2000020130 | 8 | 18960
738 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 531 | 2000020131 | 5 | 2760
739 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 2000020132 | 5 | 2700
740 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1547 | 2000020153 | 12 | 12780
741 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 497 | 2000020193 | 6 | 7500
742 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1112 | 2000020194 | 9 | 13320
743 | RAIPUR TOWN | 11KV PADAW FEEDER | 2131 | 2000020227 | 12 | 9360
744 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2730 | 2000020581 | 3 | 1440
745 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1738 | 2000021219 | 4 | 6540
746 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 286 | 2000076011 | 12 | 28200
747 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1709 | 2000006488 | 27 | 75960
748 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 372 | 2000076217 | 5 | 14340
749 | RAJNANDGAON TOWN | 11 KV MAHAMAYA FEEDER | 2118 | 2000073902 | 5 | 3120