## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Oct'18
Period: |  | 1st Sep'18 to 30th Sep'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 439
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1224 | 59 | 91260 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 217 | 15 | 15420 | 2000003841
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 58 | 127680 | 2000003845
4 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2486 | 19 | 29040 | 2000003848
5 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1217 | 60 | 85920 | 2000003854
6 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 133 | 80 | 124560 | 2000015334
7 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 718 | 75 | 50880 | 2000006627
8 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1487 | 88 | 76680 | 2000014951
9 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 57 | 125580 | 2000014959
10 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1199 | 66 | 40140 | 2000014960
11 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 333 | 58 | 44040 | 2000014961
12 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3146 | 25 | 33120 | 2000001004
13 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 41 | 16680 | 2000001005
14 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 57 | 133680 | 2000001006
15 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 295 | 57 | 75780 | 2000001008
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 383 | 17 | 9420 | 2000001011
17 | BHATAPARA TOWN | 11KV COLONY FEEDER | 33 | 16 | 9720 | 2000004255
18 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 636 | 25 | 22560 | 2000006347
19 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1425 | 20 | 31140 | 2000006376
20 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 399 | 20 | 22260 | 2000006377
21 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 259 | 21 | 13620 | 2000001013
22 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 55 | 626220 | 2000014962
23 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1477 | 57 | 69660 | 2000004868
24 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1579 | 35 | 25740 | 2000004871
25 | BILASPUR TOWN | 11KV DHEKA FEEDER | 277 | 23 | 45720 | 2000004877
26 | BILASPUR TOWN | 11KV DHUMA FEEDER | 679 | 60 | 117120 | 2000004878
27 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 441 | 15 | 26400 | 2000004879
28 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2801 | 43 | 85260 | 2000004882
29 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1253 | 29 | 33960 | 2000004883
30 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1681 | 27 | 32820 | 2000004884
31 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1958 | 27 | 57300 | 2000004888
32 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2527 | 33 | 36120 | 2000004889
33 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 31 | 16800 | 2000004891
34 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 589 | 17 | 14700 | 2000004892
35 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2705 | 25 | 29220 | 2000004893
36 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2073 | 35 | 22680 | 2000004896
37 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 58 | 44640 | 2000004897
38 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 849 | 85 | 375420 | 2000004898
39 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1117 | 24 | 65940 | 2000004900
40 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 32 | 22980 | 2000004901
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 20 | 15960 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2311 | 36 | 45240 | 2000004904
43 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 739 | 20 | 30900 | 2000004908
44 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3199 | 5 | 5460 | 2000004909
45 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1074 | 26 | 28320 | 2000004911
46 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1560 | 32 | 24960 | 2000004912
47 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1800 | 30 | 70080 | 2000004913
48 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2360 | 22 | 28920 | 2000004914
49 | BILASPUR TOWN | 11KV RULER FEEDER | 1557 | 10 | 15780 | 2000004916
50 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2020 | 38 | 21720 | 2000004917
51 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1338 | 16 | 22020 | 2000004919
52 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 84 | 45900 | 2000004923
53 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3833 | 33 | 33360 | 2000004926
54 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 718 | 41 | 32520 | 2000016310
55 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 762 | 50 | 77760 | 2000016311
56 | BILASPUR TOWN | 11 KV NEW MOPKA | 834 | 18 | 11700 | 2000017224
57 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1252 | 23 | 29160 | 2000017225
58 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 211 | 21 | 20100 | 2000017226
59 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 168 | 38 | 62160 | 2000017505
60 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 314 | 61 | 67920 | 2000017780
61 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 53 | 61380 | 2000017781
62 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1005 | 25 | 24000 | 2000018403
63 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 773 | 33 | 48480 | 2000018761
64 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1672 | 5 | 18540 | 2000018762
65 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 429 | 30 | 22980 | 2000018763
66 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 380 | 34 | 23160 | 2000020488
67 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1114 | 47 | 31260 | 2000020490
68 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 919 | 31 | 29580 | 2000020582
69 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 970 | 1 | 78900 | 2000020583
70 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 338 | 41 | 45480 | 2000023801
71 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 274 | 3 | 1980 | 2000023802
72 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 26 | 11340 | 2000003195
73 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2000 | 1 | 840 | 2000003196
74 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5563 | 40 | 24480 | 2000003197
75 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 24 | 7200 | 2000002566
76 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1516 | 36 | 13440 | 2000002569
77 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3761 | 28 | 11880 | 2000002570
78 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 1 | 840 | 2000002573
79 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 997 | 23 | 7740 | 2000002574
80 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3811 | 18 | 36720 | 2000002576
81 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3184 | 34 | 21120 | 2000002578
82 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2545 | 31 | 15840 | 2000002579
83 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3460 | 23 | 23820 | 2000001303
84 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2428 | 40 | 69060 | 2000001302
85 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 947 | 18 | 787980 | 2000001301
86 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 33 | 24720 | 2000001299
87 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 734 | 31 | 38880 | 2000001298
88 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1674 | 22 | 38640 | 2000001295
89 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 707 | 7 | 13200 | 2000007685
90 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2193 | 35 | 17340 | 2000007686
91 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 661 | 38 | 26160 | 2000007687
92 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 30 | 13680 | 2000007688
93 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1037 | 20 | 202500 | 2000007689
94 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1761 | 18 | 17220 | 2000007694
95 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3320 | 26 | 8940 | 2000007696
96 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 857 | 13 | 13380 | 2000007697
97 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2867 | 27 | 34440 | 2000007701
98 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 986 | 11 | 9960 | 2000007702
99 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1007 | 23 | 142500 | 2000007703
100 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3932 | 32 | 123600 | 2000007705
101 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 955 | 28 | 28320 | 2000007708
102 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1539 | 35 | 34740 | 2000007709
103 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 811 | 14 | 29580 | 2000007711
104 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 23 | 14640 | 2000007712
105 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 614 | 25 | 35760 | 2000007713
106 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1326 | 21 | 58980 | 2000007714
107 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 976 | 18 | 1150920 | 2000007715
108 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 19 | 59280 | 2000007716
109 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 623 | 12 | 13680 | 2000007717
110 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1446 | 20 | 4140 | 2000007718
111 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1840 | 20 | 21540 | 2000007719
112 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 827 | 13 | 36780 | 2000007720
113 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3219 | 15 | 53820 | 2000007721
114 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1863 | 36 | 51300 | 2000007723
115 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1188 | 11 | 928680 | 2000007724
116 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1149 | 66 | 38520 | 2000007728
117 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 607 | 38 | 58440 | 2000007729
118 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 497 | 29 | 21300 | 2000007731
119 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 529 | 15 | 8340 | 2000007733
120 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 455 | 44 | 146940 | 2000007735
121 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1241 | 10 | 18060 | 2000007738
122 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 740 | 49 | 28980 | 2000007739
123 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 854 | 25 | 18060 | 2000007740
124 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1482 | 14 | 135000 | 2000007741
125 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1147 | 35 | 29640 | 2000007743
126 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1083 | 30 | 102780 | 2000007744
127 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 465 | 37 | 115440 | 2000007747
128 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1080 | 31 | 28560 | 2000007748
129 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 507 | 28 | 20940 | 2000007749
130 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 18 | 21600 | 2000007751
131 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3162 | 29 | 40020 | 2000007752
132 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1787 | 25 | 31680 | 2000007754
133 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 244 | 35 | 38940 | 2000007755
134 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2850 | 21 | 18960 | 2000007756
135 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1478 | 35 | 49440 | 2000007757
136 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1089 | 30 | 15060 | 2000007758
137 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3019 | 18 | 7140 | 2000007759
138 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2516 | 29 | 18180 | 2000007760
139 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1279 | 45 | 27480 | 2000007762
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 20 | 12780 | 2000007763
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 18 | 6780 | 2000007764
142 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 177 | 18 | 6540 | 2000007765
143 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 9 | 5220 | 2000007766
144 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 603 | 8 | 3900 | 2000007767
145 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1245 | 8 | 4260 | 2000007768
146 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2186 | 20 | 27240 | 2000007769
147 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1792 | 20 | 11160 | 2000007770
148 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1180 | 33 | 22740 | 2000007771
149 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1220 | 46 | 25260 | 2000007773
150 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1296 | 23 | 536040 | 2000007776
151 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1229 | 27 | 42600 | 2000007777
152 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 367 | 45 | 155160 | 2000007778
153 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 783 | 44 | 44880 | 2000007779
154 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1272 | 19 | 26700 | 2000007780
155 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1786 | 7 | 12480 | 2000007781
156 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1483 | 29 | 18120 | 2000007782
157 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2600 | 58 | 50160 | 2000016998
158 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1528 | 19 | 41760 | 2000017001
159 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 25 | 24960 | 2000017044
160 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 60 | 18 | 16260 | 2000017045
161 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2043 | 49 | 47940 | 2000017052
162 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1202 | 36 | 35220 | 2000017054
163 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 949 | 53 | 61740 | 2000017055
164 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 935 | 5 | 2880 | 2000017056
165 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 383 | 38 | 41100 | 2000017057
166 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 1000 | 36 | 48300 | 2000017058
167 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1719 | 39 | 26040 | 2000017059
168 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 542 | 26 | 30360 | 2000017060
169 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 903 | 22 | 32940 | 2000017061
170 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 573 | 13 | 31020 | 2000017062
171 | DURG BHILAI CHARODA TOWN | 11KV BORSI FEEDER | 1646 | 5 | 23820 | 2000017064
172 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1044 | 67 | 15960 | 2000017065
173 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1072 | 18 | 24660 | 2000017066
174 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 400 | 68 | 17400 | 2000017069
175 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1059 | 67 | 16080 | 2000017071
176 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 332 | 32 | 20460 | 2000017076
177 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 699 | 22 | 24540 | 2000018574
178 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 283 | 22 | 16020 | 2000018704
179 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1305 | 1 | 960 | 2000018705
180 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1722 | 2 | 3360 | 2000018706
181 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 2334 | 24 | 18240 | 2000018707
182 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1392 | 2 | 1140 | 2000018723
183 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 30 | 33 | 28560 | 2000018987
184 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 222 | 15 | 5460 | 2000019819
185 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 948 | 28 | 31020 | 2000020519
186 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1180 | 21 | 127380 | 2000021264
187 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2201 | 32 | 22200 | 2000023773
188 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 336 | 15 | 10800 | 2000025794
189 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1661 | 45 | 59640 | 2000029193
190 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1948 | 10 | 13020 | 2000017872
191 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1206 | 19 | 14100 | 2000004349
192 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 7 | 7200 | 2000004347
193 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1570 | 45 | 49440 | 2000004344
194 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1546 | 23 | 33480 | 2000004330
195 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1762 | 16 | 12120 | 2000004332
196 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 301 | 8 | 14940 | 2000004333
197 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 848 | 8 | 6240 | 2000004334
198 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1265 | 26 | 44400 | 2000004335
199 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1370 | 13 | 19740 | 2000004336
200 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1542 | 17 | 13260 | 2000004337
201 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2190 | 38 | 256560 | 2000004338
202 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1044 | 45 | 66780 | 2000004339
203 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1111 | 17 | 9300 | 2000015850
204 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 32 | 95580 | 2000002907
205 | KANKER TOWN | 11KV PATOD FEEDER | 555 | 20 | 15300 | 2000002909
206 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2926 | 25 | 13560 | 2000002910
207 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2969 | 33 | 20280 | 2000001055
208 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1029 | 28 | 17580 | 2000001051
209 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 417 | 96 | 129300 | 2000001047
210 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 8 | 30 | 363540 | 2000006490
211 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 44 | 51660 | 2000006759
212 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 768 | 100 | 943380 | 2000006762
213 | KORBA TOWN | 11KV BULGI FEEDER | 942 | 85 | 100080 | 2000006764
214 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 100 | 266700 | 2000006770
215 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2809 | 25 | 66180 | 2000006778
216 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 768 | 37 | 82140 | 2000006782
217 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1299 | 13 | 7800 | 2000006783
218 | KORBA TOWN | 11KV NIHARIKA FEEDER | 710 | 13 | 116160 | 2000006784
219 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 705 | 55 | 129120 | 2000006787
220 | KORBA TOWN | 11KV PARSABADA FEEDER | 1398 | 88 | 80100 | 2000006789
221 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 294 | 8 | 40080 | 2000006790
222 | KORBA TOWN | 11KV RAMPUR FEEDER | 812 | 21 | 25260 | 2000006791
223 | KORBA TOWN | 11KV SARMANGLA FEEDER | 723 | 69 | 129540 | 2000006794
224 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1174 | 15 | 32580 | 2000006798
225 | KORBA TOWN | 11KV TOWN-1 FEEDER | 709 | 18 | 25140 | 2000015220
226 | KORBA TOWN | 11KV RP NAGAR FEEDER | 812 | 19 | 17460 | 2000016912
227 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 69 | 18 | 66840 | 2000017790
228 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 375 | 40 | 76140 | 2000017805
229 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1048 | 13 | 22200 | 2000020065
230 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1143 | 29 | 25980 | 2000020122
231 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 14 | 5880 | 2000001424
232 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2102 | 24 | 45180 | 2000001430
233 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 32 | 22500 | 2000001423
234 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2124 | 126 | 66300 | 2000002462
235 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1405 | 69 | 47460 | 2000006458
236 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 428 | 42 | 48900 | 2000006460
237 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1050 | 119 | 55620 | 2000002463
238 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1290 | 41 | 70800 | 2000003301
239 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 788 | 38 | 56220 | 2000003302
240 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1031 | 52 | 87540 | 2000003306
241 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1055 | 48 | 74100 | 2000003307
242 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 717 | 65 | 102480 | 2000003309
243 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1245 | 41 | 28380 | 2000003311
244 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 40 | 48780 | 2000003312
245 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 84 | 81120 | 2000003314
246 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1028 | 43 | 26940 | 2000003322
247 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 376 | 39 | 39180 | 2000017956
248 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1588 | 47 | 37620 | 2000017958
249 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 27 | 26040 | 2000020754
250 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 592 | 74 | 88260 | 2000022941
251 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 677 | 66 | 62520 | 2000021639
252 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 620 | 30 | 33720 | 2000020756
253 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 900 | 38 | 31740 | 2000020755
254 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 586 | 52 | 147420 | 2000016050
255 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1019 | 73 | 88680 | 2000016051
256 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 836 | 66 | 83640 | 2000016052
257 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 793 | 64 | 88380 | 2000016053
258 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 61 | 87420 | 2000016054
259 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 973 | 49 | 72180 | 2000016055
260 | RAIGARH TOWN | 11 KV GOWARDHANPUR FEEDER | 387 | 10 | 19320 | 2000016184
261 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1656 | 50 | 110160 | 2000016185
262 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 353 | 35 | 38520 | 2000010583
263 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1216 | 21 | 16920 | 2000010585
264 | RAIPUR TOWN | 11KV CITY FEEDER | 2452 | 25 | 21060 | 2000010587
265 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1381 | 14 | 30780 | 2000010588
266 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 944 | 8 | 17220 | 2000010589
267 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 777 | 5 | 16020 | 2000010591
268 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 335 | 11 | 26880 | 2000010592
269 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 24 | 8520 | 2000010595
270 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 10 | 1195200 | 2000010596
271 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 791 | 11 | 17340 | 2000010598
272 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 859 | 24 | 9000 | 2000010601
273 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1045 | 14 | 28200 | 2000010603
274 | RAIPUR TOWN | 11KV ATARI FEEDER | 827 | 14 | 12840 | 2000010604
275 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 278 | 33 | 22800 | 2000010605
276 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 746 | 19 | 21060 | 2000010606
277 | RAIPUR TOWN | 11KV BANJARI FEEDER | 950 | 22 | 18720 | 2000010608
278 | RAIPUR TOWN | 11KV BASTAL FEEDER | 601 | 23 | 7680 | 2000010610
279 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1571 | 18 | 7560 | 2000010611
280 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 779 | 15 | 20340 | 2000010613
281 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 708 | 3 | 1800 | 2000010614
282 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 12 | 7080 | 2000010615
283 | RAIPUR TOWN | 11KV COLONY FEEDER | 80 | 13 | 48120 | 2000010616
284 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2485 | 16 | 29700 | 2000010618
285 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1636 | 26 | 23460 | 2000010622
286 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 866 | 23 | 16980 | 2000010624
287 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 88 | 21 | 35220 | 2000010625
288 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1682 | 26 | 30480 | 2000010628
289 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2358 | 30 | 83760 | 2000010631
290 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1967 | 24 | 24720 | 2000010632
291 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1678 | 19 | 31020 | 2000010634
292 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 749 | 45 | 29400 | 2000010638
293 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 8 | 2340 | 2000010641
294 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 733 | 30 | 30300 | 2000010642
295 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 498 | 25 | 28260 | 2000010647
296 | RAIPUR TOWN | 11KV KHARUN FEEDER | 989 | 41 | 85500 | 2000010649
297 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1474 | 20 | 27600 | 2000010650
298 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1208 | 19 | 14340 | 2000010653
299 | RAIPUR TOWN | 11KV MAHALAXMI | 560 | 23 | 15720 | 2000010655
300 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2001 | 18 | 12120 | 2000010656
301 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 448 | 17 | 7020 | 2000010657
302 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 533 | 18 | 11640 | 2000010658
303 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 48 | 23 | 15000 | 2000010660
304 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2318 | 24 | 8760 | 2000010662
305 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 774 | 18 | 11940 | 2000010666
306 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1746 | 25 | 13320 | 2000010668
307 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 533 | 36 | 38940 | 2000010670
308 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 916 | 8 | 3300 | 2000010671
309 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1275 | 17 | 30240 | 2000010672
310 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5168 | 17 | 11400 | 2000010674
311 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4183 | 22 | 12300 | 2000010675
312 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 9 | 3780 | 2000010676
313 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 541 | 13 | 6780 | 2000010677
314 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2103 | 33 | 18180 | 2000010680
315 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 408 | 49 | 32820 | 2000010686
316 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 208 | 15 | 43200 | 2000010688
317 | RAIPUR TOWN | 11KV RDA FEEDER | 844 | 5 | 2160 | 2000010689
318 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 374 | 13 | 4440 | 2000010690
319 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 16 | 6960 | 2000010694
320 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1827 | 15 | 27540 | 2000010696
321 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1290 | 26 | 32100 | 2000010699
322 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2568 | 18 | 8220 | 2000010700
323 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 805 | 28 | 17580 | 2000010701
324 | RAIPUR TOWN | 11KV SAMTA FEEDER | 552 | 6 | 19020 | 2000010704
325 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 390 | 13 | 25140 | 2000010706
326 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 493 | 18 | 27300 | 2000010707
327 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 892 | 13 | 29280 | 2000010708
328 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2493 | 47 | 27060 | 2000010709
329 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2348 | 26 | 15000 | 2000010711
330 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 921 | 3 | 2460 | 2000010712
331 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 296 | 16 | 9420 | 2000010713
332 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 995 | 30 | 44100 | 2000010714
333 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1420 | 15 | 30120 | 2000010717
334 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2663 | 29 | 23160 | 2000010722
335 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 713 | 18 | 10920 | 2000010725
336 | RAIPUR TOWN | 11KV TV FEEDER | 2922 | 35 | 10620 | 2000010728
337 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1173 | 33 | 10440 | 2000010729
338 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 433 | 18 | 8220 | 2000010732
339 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 18 | 17040 | 2000010733
340 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 508 | 30 | 30360 | 2000010739
341 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2148 | 32 | 18600 | 2000010741
342 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 19 | 19980 | 2000010742
343 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 19 | 19800 | 2000010743
344 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2113 | 29 | 24240 | 2000017238
345 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 897 | 1 | 360 | 2000017256
346 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2221 | 27 | 8520 | 2000017261
347 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1063 | 20 | 157620 | 2000017508
348 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2423 | 15 | 4440 | 2000017567
349 | RAIPUR TOWN | 11KV WHITE HOUSE | 569 | 1 | 300 | 2000017568
350 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 591 | 2 | 660 | 2000017569
351 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 983 | 20 | 31140 | 2000017576
352 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1988 | 19 | 24060 | 2000017600
353 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 14 | 27 | 12540 | 2000017607
354 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1733 | 37 | 48480 | 2000017608
355 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1554 | 20 | 20940 | 2000017611
356 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 324 | 27 | 7920 | 2000017617
357 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1856 | 26 | 18480 | 2000017621
358 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 635 | 19 | 12780 | 2000017623
359 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 617 | 27 | 14640 | 2000017624
360 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 869 | 1 | 1560 | 2000017628
361 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 669 | 37 | 32340 | 2000017671
362 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 206 | 4 | 2700 | 2000017673
363 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1138 | 19 | 15000 | 2000017690
364 | RAIPUR TOWN | 11KV ROMAN SQUARE | 517 | 26 | 27300 | 2000017691
365 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 178 | 19 | 15060 | 2000017692
366 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1017 | 2 | 10980 | 2000017771
367 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1323 | 2 | 9480 | 2000017772
368 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 620 | 2 | 9480 | 2000017773
369 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2842 | 27 | 35820 | 2000017808
370 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 686 | 3 | 3600 | 2000017817
371 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 1114 | 13 | 21900 | 2000017867
372 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 194 | 1 | 720 | 2000017869
373 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1381 | 12 | 8400 | 2000017870
374 | RAIPUR TOWN | 11KV NAVEEN MARKET | 862 | 12 | 5760 | 2000017953
375 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2624 | 8 | 8880 | 2000017954
376 | RAIPUR TOWN | 11KV MG ROAD | 1597 | 14 | 12540 | 2000017955
377 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 933 | 31 | 48600 | 2000017962
378 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 304 | 17 | 6660 | 2000018004
379 | RAIPUR TOWN | 11KV SADDU FEEDER | 299 | 21 | 13380 | 2000018005
380 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1274 | 32 | 9960 | 2000018006
381 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 23 | 8460 | 2000018359
382 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 18 | 117420 | 2000018378
383 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 969 | 32 | 19500 | 2000018394
384 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 602 | 24 | 16560 | 2000018396
385 | RAIPUR TOWN | 11KV IGVP | 363 | 24 | 24480 | 2000018397
386 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 346 | 22 | 104820 | 2000018398
387 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 336 | 18 | 7380 | 2000018416
388 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2501 | 18 | 27360 | 2000018949
389 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 508 | 81 | 58740 | 2000019179
390 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3138 | 3 | 4080 | 2000019180
391 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 497 | 23 | 30480 | 2000019185
392 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1919 | 24 | 29520 | 2000019186
393 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2124 | 31 | 105420 | 2000019334
394 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 416 | 49 | 22380 | 2000019340
395 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 900 | 18 | 28500 | 2000019485
396 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1160 | 24 | 33900 | 2000019530
397 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 655 | 3 | 5160 | 2000019697
398 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 7 | 3300 | 2000019852
399 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1710 | 9 | 3900 | 2000019857
400 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1946 | 15 | 9540 | 2000020009
401 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2686 | 18 | 18120 | 2000020119
402 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 321 | 11 | 14160 | 2000020130
403 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 100 | 9 | 7980 | 2000020131
404 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 984 | 16 | 41460 | 2000020194
405 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2543 | 24 | 26280 | 2000020581
406 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1678 | 20 | 13800 | 2000021219
407 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1339 | 19 | 18060 | 2000021220
408 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1582 | 20 | 30600 | 2000021221
409 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 675 | 22 | 26460 | 2000021286
410 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1173 | 28 | 32100 | 2000021287
411 | RAIPUR TOWN | 11KV BORIYA FEEDER | 877 | 19 | 18840 | 2000021424
412 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1314 | 14 | 24600 | 2000022077
413 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 791 | 8 | 26640 | 2000022078
414 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1321 | 14 | 23160 | 2000022079
415 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1401 | 14 | 27480 | 2000023680
416 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1431 | 1 | 660 | 2000023735
417 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 128 | 15 | 5160 | 2000023736
418 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1571 | 1 | 300 | 2000023772
419 | RAIPUR TOWN | 11KV SBI FEEDER | 1233 | 2 | 1320 | 2000023790
420 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 438 | 23 | 39720 | 2000023848
421 | RAIPUR TOWN | 11KV FEEDER-1 | 1054 | 21 | 28440 | 2000024395
422 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1438 | 17 | 36120 | 2000026582
423 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 955 | 1 | 17040 | 2000026583
424 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 1036 | 7 | 6660 | 2000026584
425 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 253 | 30 | 105840 | 2000026586
426 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1258 | 1 | 360 | 2000034421
427 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 699 | 23 | 23940 | 2000034423
428 | RAIPUR TOWN | 11KV PRIDE FEEDER | 83 | 5 | 2160 | 2000039215
429 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 66 | 303960 | 2000014955
430 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3419 | 28 | 54540 | 2000006488
431 | RAJNANDGAON TOWN | 11 KV KAMLA COLLEGE | 1505 | 11 | 98700 | 2000015449
432 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2284 | 28 | 25200 | 2000001979
433 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 937 | 18 | 5100 | 2000001978
434 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1003 | 7 | 4620 | 2000001968
435 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2625 | 17 | 6600 | 2000001967
436 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 83 | 148860 | 2000001965
437 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 805 | 27 | 24120 | 2000001962
438 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 31 | 19020 | 2000001960
439 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4336 | 35 | 26400 | 2000001956