## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….May'20
Input Energy Period: ……..Mar'19 to Feb'20
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 11 | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 97.28 | 100 | 2.72 | 11KV PATPAR FEEDER | 77.78 | 83.51 | 35.05
2 | KAWARDHA TOWN | 10 | 11KV MAHARAJPUR (RURAL) FEEDER | 7.2 | 100 | 92.8
3 | MAHASAMUND TOWN | 9 | 11KV NAYAPARA FEEDER | 49.13 | 78.23 | 61.57
4 | KANKER TOWN | 5 | 11KV BARDEBHATA FEEDER | 80.73 | 99.34 | 19.8
5 | RAJNANDGAON TOWN | 32 | 11KV LALBAG FEEDER | 41.11 | 100 | 58.89 | 11KV KANCHAN BAG FEEDER | 54.4 | 97.42 | 47 | 11KV R K Nagar | 82.74 | 100 | 17.26
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 51.5 | 88.99 | 54.17
7 | MUNGELI TOWN | 8 | 11KV COLECTER FEEDER | 70.51 | 78.78 | 44.45
8 | CHAMPA TOWN | 10 | 11 KV Brighani Feeder | 17.29 | 74.53 | 87.11
9 | DHAMTARI TOWN | 15 | 11KV AAMDHI FEEDER | 28.37 | 32.19 | 90.87 | 11KV NEW COURT FEEDER | 90.52 | 98.01 | 11.28
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 18.92 | 69.53 | 86.84
11 | MANENDRAGARH TOWN | 6 | 11KV KAILARI FEEDER | 43.87 | 86.67 | 61.98
12 | DALLI RAJHARA TOWN | 4 | 11KV TOWN 2 FEEDER | 75.7 | 95.71 | 27.55
13 | AMBIKAPUR TOWN | 27 | 11KV FILTER PLANT FEEDER | 14.51 | 100 | 85.49 | 11 KV DC Road | 68.55 | 62.78 | 56.96 | 11KV SONPUR | 9.42 | 85.62 | 91.93
14 | JAGDALPUR TOWN | 25 | 11KV AGHANPUR FEEDER | 9.9 | 100 | 90.1 | 11KV KANGOLI FEEDER | 27.19 | 100 | 72.81 | 11KV SUNCITY FEEDER | 38.69 | 97.69 | 62.2
15 | KORBA TOWN | 61 | 11KV PUMP HOUSE FEEDER | 42.08 | 89.48 | 62.35 | 11KV PARSABADA FEEDER | 33.1 | 57.91 | 80.83 | 11KV SARMANGLA FEEDER | 30.4 | 69 | 79.02 | 11KV BANKIMONGRA TOWN-1 FEEDER | 18.37 | 85.08 | 84.37 | 11KV SARASWATI SHISHU MANDIR | 24.88 | 72.94 | 81.85
16 | NAILA JANJGIR TOWN | 14 | 11KV COLONY (HOUSING BOARD) FEEDER | 61.18 | 100 | 38.82
17 | DURG BHILAI CHARODA TOWN | 154 | 11KV ITI FEEDER | 34.37 | 100 | 65.63 | 11KV MORID FEEDER | 43.04 | 89.88 | 61.32 | 11KV VAISHALI NAGAR FEEDER | 58.12 | 94.62 | 45.01 | 11KV DREAM CITY FEEDER | 75.29 | 92.67 | 30.23 | 11KV HOSPITAL FEEDER | 76.35 | 91.1 | 30.45
18 | BILASPUR TOWN | 97 | 11KV DOMUHANI FEEDER | 38.08 | 80.82 | 69.22 | 11KV TUNKI-1 FEEDER | 38.01 | 100 | 61.99 | 11KV Lingyadih Feeder | 100 | 92.81 | 7.19 | 11KV Abhishek Vihar Feeder | 52.33 | 100 | 47.67 | 11KV Housing Board Feeder | 14.89 | 100 | 85.11
19 | RAIGARH TOWN | 52 | 11KV CITY-4 FEEDER | 21.53 | 90.89 | 80.43 | 11KV Savitri Nagar Feeder | 36.5 | 100 | 63.5 | 11KV Baba Dham Feeder | 22.25 | 85.93 | 80.88 | 11 KV GULMOHAR FEEDER | 33.06 | 100 | 66.94 | 11 KV STADIUM FEEDER | 56.71 | 100 | 43.29
20 | RAIPUR TOWN | 315 | 11KV FILTER PLANT FEEDER | 22.7 | 10.52 | 97.61 | 11KV MANAVADHIKAR FEEDER | 8.3 | 100 | 91.7 | 11KV TOWN FEEDER | 57.58 | 100 | 42.42 | 11KV Wholesale Market Feeder | 71.3 | 100 | 28.7 | 11KV Sent Xavier School Feeder | 51.99 | 100 | 48.01