## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Apr'20
Period: |  | 1st Mar'20 to 31st Mar'20
Number of Towns: |  | 20
Total nos. of Feeders: |  | 359
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 67 | 137520 | 2000015334
2 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2942 | 22 | 28080 | 2000014963
3 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 27 | 92940 | 2000014959
4 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 32 | 23400 | 2000014957
5 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 295 | 16 | 15840 | 2000003841
6 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 512 | 22 | 46260 | 2000003844
7 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 741 | 17 | 19320 | 2000003848
8 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2598 | 51 | 66840 | 2000003849
9 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2547 | 27 | 72540 | 2000003850
10 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1186 | 22 | 57300 | 2000003852
11 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1668 | 23 | 34500 | 2000003853
12 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2494 | 33 | 49800 | 2000071573
13 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 23 | 30720 | 2000071574
14 | AMBIKAPUR TOWN | 11KV SONPUR | 179 | 46 | 66660 | 2000014954
15 | AMBIKAPUR TOWN | 11KV DCROAD | 2113 | 41 | 56880 | 2000014951
16 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 273 | 4 | 1020 | 2000001007
17 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1389 | 38 | 46200 | 2000001009
18 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 765 | 18 | 39540 | 2000006347
19 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1931 | 1 | 1020 | 2000004868
20 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1981 | 13 | 12240 | 2000004869
21 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1705 | 11 | 15720 | 2000004871
22 | BILASPUR TOWN | 11KV DHEKA FEEDER | 352 | 24 | 37980 | 2000004877
23 | BILASPUR TOWN | 11KV DHUMA FEEDER | 994 | 2 | 10800 | 2000004878
24 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 564 | 22 | 32220 | 2000004879
25 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1257 | 10 | 36540 | 2000004881
26 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3523 | 22 | 38880 | 2000004882
27 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1351 | 12 | 17820 | 2000004883
28 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2645 | 12 | 20700 | 2000004889
29 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 13 | 12420 | 2000004890
30 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 602 | 12 | 50760 | 2000004892
31 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 2 | 27 | 37980 | 2000004894
32 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2159 | 11 | 15960 | 2000004896
33 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 827 | 29 | 50460 | 2000004897
34 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1249 | 19 | 28560 | 2000004900
35 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3067 | 12 | 12060 | 2000004906
36 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4564 | 14 | 14400 | 2000004909
37 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3858 | 7 | 10800 | 2000004910
38 | BILASPUR TOWN | 11KV RULER FEEDER | 1898 | 18 | 37980 | 2000004916
39 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 795 | 14 | 18960 | 2000004924
40 | BILASPUR TOWN | 11KV TV FEEDER | 2637 | 2 | 3060 | 2000016309
41 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1206 | 17 | 18900 | 2000016310
42 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1112 | 19 | 28200 | 2000016311
43 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1197 | 23 | 20880 | 2000016314
44 | BILASPUR TOWN | 11KV NEW MOPKA | 1457 | 22 | 35820 | 2000017224
45 | BILASPUR TOWN | 11KV SHIVAM CITY | 1783 | 15 | 30060 | 2000017225
46 | BILASPUR TOWN | 11KV MAHAVEER CITY | 313 | 17 | 20280 | 2000017226
47 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 10 | 19140 | 2000017502
48 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2503 | 10 | 19440 | 2000017505
49 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1029 | 22 | 34560 | 2000017776
50 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 20 | 25440 | 2000017777
51 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 244 | 21 | 26640 | 2000017778
52 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 406 | 25 | 30600 | 2000017780
53 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 362 | 25 | 30480 | 2000017781
54 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1121 | 19 | 46620 | 2000018403
55 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2181 | 12 | 19680 | 2000018405
56 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 814 | 19 | 27900 | 2000018761
57 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1857 | 22 | 43380 | 2000018762
58 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 476 | 17 | 26520 | 2000018763
59 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 13 | 18120 | 2000020488
60 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1305 | 14 | 19200 | 2000020489
61 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1280 | 13 | 13320 | 2000020490
62 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 13 | 17520 | 2000020582
63 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1029 | 14 | 29880 | 2000020583
64 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1775 | 15 | 42300 | 2000022060
65 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 425 | 19 | 42660 | 2000022061
66 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 458 | 24 | 26640 | 2000023801
67 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 329 | 25 | 27060 | 2000023802
68 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1019 | 21 | 18540 | 2000023803
69 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 122 | 8 | 13980 | 2000027413
70 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 730 | 56 | 111060 | 2000015251
71 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 218 | 34 | 97020 | 2000015252
72 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2062 | 16 | 20040 | 2000003196
73 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 361 | 26 | 36300 | 2000004308
74 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 503 | 7 | 8220 | 2000015505
75 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 23 | 21840 | 2000002577
76 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 13 | 17640 | 2000002573
77 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 1016 | 20 | 23460 | 2000002572
78 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2218 | 9 | 9060 | 2000002571
79 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 25 | 29760 | 2000002567
80 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1600 | 8 | 8280 | 2000007687
81 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1370 | 5 | 3000 | 2000007691
82 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2512 | 9 | 25500 | 2000007698
83 | DURG BHILAI CHARODA TOWN | 11KV DHACHABHAVAN FEEDER | 2403 | 17 | 18840 | 2000007704
84 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 2012 | 11 | 11700 | 2000007712
85 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1483 | 17 | 25500 | 2000007715
86 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3427 | 22 | 20640 | 2000007728
87 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 648 | 15 | 9300 | 2000007731
88 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1054 | 14 | 11700 | 2000007732
89 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 729 | 8 | 9120 | 2000007733
90 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 728 | 7 | 2940 | 2000007735
91 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2432 | 13 | 18240 | 2000007742
92 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1947 | 4 | 2160 | 2000007754
93 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 1619 | 14 | 13980 | 2000007761
94 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1039 | 4 | 2220 | 2000007762
95 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1221 | 7 | 11160 | 2000007776
96 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7504 | 22 | 36180 | 2000016889
97 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2456 | 12 | 10140 | 2000017052
98 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1297 | 14 | 42780 | 2000017054
99 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1173 | 13 | 10620 | 2000017055
100 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 932 | 17 | 16440 | 2000017056
101 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 774 | 12 | 17400 | 2000017057
102 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 921 | 15 | 24120 | 2000017058
103 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2109 | 13 | 13800 | 2000017059
104 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 521 | 17 | 39840 | 2000017060
105 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1061 | 19 | 53640 | 2000017061
106 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 10 | 16800 | 2000017062
107 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1759 | 8 | 9240 | 2000017063
108 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1531 | 12 | 12900 | 2000017064
109 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1357 | 18 | 12660 | 2000017065
110 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1201 | 5 | 4020 | 2000017066
111 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 569 | 4 | 2280 | 2000017067
112 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2203 | 9 | 8580 | 2000017068
113 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 892 | 16 | 12060 | 2000017069
114 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2019 | 17 | 12660 | 2000017071
115 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR | 267 | 11 | 9240 | 2000017072
116 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 484 | 10 | 4440 | 2000017080
117 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2423 | 9 | 17460 | 2000018574
118 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 300 | 7 | 6480 | 2000018704
119 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1388 | 9 | 10020 | 2000018705
120 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1832 | 11 | 13860 | 2000018706
121 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 645 | 10 | 14340 | 2000018707
122 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1735 | 14 | 12900 | 2000018723
123 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 733 | 4 | 6000 | 2000019819
124 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 495 | 23 | 575820 | 2000019876
125 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1074 | 9 | 6600 | 2000020519
126 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3120 | 17 | 47100 | 2000021263
127 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1332 | 13 | 43680 | 2000021264
128 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1132 | 8 | 10860 | 2000021357
129 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3199 | 14 | 12420 | 2000023773
130 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 5 | 3480 | 2000025794
131 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 6 | 5940 | 2000027337
132 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1177 | 9 | 5820 | 2000029191
133 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 676 | 7 | 4380 | 2000029192
134 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1640 | 11 | 26520 | 2000029193
135 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1663 | 8 | 4380 | 2000049757
136 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 60 | 8 | 11160 | 2000049820
137 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1421 | 2 | 2580 | 2000067876
138 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 3526 | 2 | 2520 | 2000067877
139 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1703 | 2 | 2520 | 2000067878
140 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 14 | 4 | 4320 | 2000068108
141 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 39 | 4 | 4320 | 2000068109
142 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 4 | 4320 | 2000068110
143 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1606 | 24 | 58560 | 2000075513
144 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 150 | 12 | 12540 | 2000075565
145 | DURG BHILAI CHARODA TOWN | 11KV Mauhari Feeder | 768 | 17 | 17400 | 2000075566
146 | DURG BHILAI CHARODA TOWN | 11KV MITAN CHOWK FEEDER | 1197 | 5 | 3060 | 2000075971
147 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 367 | 5 | 3360 | 2000075799
148 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2042 | 16 | 11820 | 2000075216
149 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3841 | 9 | 5220 | 2000004348
150 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3649 | 8 | 50820 | 2000004346
151 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3428 | 1 | 840 | 2000004345
152 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2475 | 10 | 6660 | 2000004343
153 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1402 | 2 | 3180 | 2000004331
154 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2380 | 9 | 6300 | 2000004336
155 | KANKER TOWN | 11KV CIVIL LINE FEEDER | 2379 | 4 | 5100 | 2000002905
156 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 3128 | 9 | 14220 | 2000002906
157 | KANKER TOWN | 11KV KESHKAL FEEDER | 203 | 11 | 26400 | 2000002907
158 | KANKER TOWN | 11KV BARDEBHATA FEEDER | 1761 | 12 | 18720 | 2000002908
159 | KANKER TOWN | 11KV PATOD FEEDER | 1271 | 10 | 15900 | 2000002909
160 | KANKER TOWN | 11KV RAJAPARA FEEDER | 3284 | 12 | 16620 | 2000002910
161 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1693 | 12 | 16320 | 2000015850
162 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 3287 | 1 | 1080 | 2000015241
163 | KAWARDHA TOWN | 11KV TRANSPORT NAGAR FEEDER | 964 | 1 | 4500 | 2000015242
164 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 65 | 20 | 23820 | 2000017790
165 | KORBA TOWN | 11KV BULGI FEEDER | 2472 | 6 | 21240 | 2000016255
166 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1916 | 22 | 26880 | 2000016201
167 | KORBA TOWN | 11KV SEMIPALI | 446 | 21 | 52140 | 2000015240
168 | KORBA TOWN | 11KV DONDROFEEDER | 31 | 88 | 198900 | 2000016028
169 | KORBA TOWN | 11KV P.HROAD FEEDER | 1369 | 13 | 34860 | 2000006785
170 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 224 | 10 | 41760 | 2000006778
171 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 255 | 23 | 31920 | 2000006776
172 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 915 | 15 | 34560 | 2000006775
173 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 790 | 35 | 95040 | 2000006773
174 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 20 | 47640 | 2000006770
175 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 28 | 58920 | 2000006768
176 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1895 | 42 | 83640 | 2000006763
177 | KORBA TOWN | 11KV AJGARBAHARFEEDER | 3668 | 9 | 33420 | 2000006761
178 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2125 | 13 | 40860 | 2000017804
179 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 399 | 14 | 32340 | 2000017805
180 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 20 | 54360 | 2000018988
181 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1968 | 23 | 34620 | 2000020065
182 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 26 | 37020 | 2000020121
183 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1451 | 31 | 46500 | 2000020122
184 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 221 | 28 | 59460 | 2000021289
185 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 8 | 32100 | 2000021425
186 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1881 | 13 | 45960 | 2000006786
187 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1205 | 40 | 124200 | 2000006787
188 | KORBA TOWN | 11KV PARSABADA FEEDER | 1376 | 62 | 127920 | 2000006789
189 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1039 | 17 | 44520 | 2000006794
190 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 22 | 25920 | 2000006796
191 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 6 | 15240 | 2000075797
192 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1500 | 6 | 14460 | 2000006798
193 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1761 | 13 | 73860 | 2000001427
194 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 774 | 27 | 207600 | 2000001426
195 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 37 | 218940 | 2000001425
196 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6056 | 46 | 61200 | 2000003057
197 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 103 | 26 | 40020 | 2000002458
198 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 905 | 17 | 49860 | 2000068276
199 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 3961 | 6 | 24180 | 2000001636
200 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 1494 | 25 | 36480 | 2000001631
201 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 16 | 39720 | 2000001629
202 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 197 | 7 | 4860 | 2000001625
203 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1250 | 1 | 8700 | 2000003305
204 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 950 | 19 | 40260 | 2000003308
205 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1183 | 1 | 8640 | 2000003310
206 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2322 | 26 | 204240 | 2000003313
207 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2270 | 1 | 8640 | 2000003315
208 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 613 | 41 | 86220 | 2000003320
209 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 18 | 54720 | 2000003323
210 | RAIGARH TOWN | 11KV STATION FEEDER | 1577 | 34 | 56700 | 2000003324
211 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3178 | 17 | 33480 | 2000003325
212 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1462 | 1 | 8700 | 2000003304
213 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1656 | 1 | 8700 | 2000003303
214 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1121 | 34 | 76140 | 2000016052
215 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1067 | 23 | 75240 | 2000016053
216 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 15 | 436560 | 2000016054
217 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1149 | 19 | 38580 | 2000016055
218 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 16 | 40200 | 2000016056
219 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 620 | 19 | 48180 | 2000016057
220 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 547 | 18 | 38460 | 2000016184
221 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1861 | 24 | 51300 | 2000016185
222 | RAIGARH TOWN | 11KV STADIUM FEEDER | 669 | 25 | 47280 | 2000022941
223 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 797 | 34 | 52920 | 2000021639
224 | RAIPUR TOWN | 11KV ITI FEEDER | 297 | 7 | 8880 | 2000010581
225 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 146 | 6 | 27840 | 2000010615
226 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2658 | 7 | 4860 | 2000010631
227 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2323 | 7 | 4860 | 2000010632
228 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2414 | 2 | 960 | 2000010640
229 | RAIPUR TOWN | 11KV KACHNA FEEDER | 250 | 9 | 7500 | 2000010646
230 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 778 | 7 | 15480 | 2000010651
231 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 8 | 13920 | 2000010660
232 | RAIPUR TOWN | 11KV LALBAG FEEDER | 937 | 4 | 16080 | 2000010665
233 | RAIPUR TOWN | 11KV SWARN BHOOMI FEEDER | 754 | 11 | 11040 | 2000010673
234 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3972 | 1 | 13620 | 2000010674
235 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 3415 | 5 | 5760 | 2000010698
236 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 100 | 8 | 34020 | 2000010702
237 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 969 | 10 | 10020 | 2000010712
238 | RAIPUR TOWN | 11KV SECTOR -5 | 760 | 3 | 1260 | 2000010721
239 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2965 | 1 | 600 | 2000010740
240 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 986 | 1 | 960 | 2000017256
241 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2495 | 8 | 7860 | 2000017567
242 | RAIPUR TOWN | 11KV WHITE HOUSE | 794 | 8 | 7860 | 2000017568
243 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 607 | 11 | 9540 | 2000017569
244 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 705 | 7 | 9960 | 2000017590
245 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1582 | 5 | 6600 | 2000017597
246 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2294 | 6 | 9780 | 2000017600
247 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1797 | 11 | 17640 | 2000017608
248 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 805 | 4 | 14040 | 2000017609
249 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 5 | 2820 | 2000017613
250 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 852 | 8 | 12180 | 2000017615
251 | RAIPUR TOWN | 11KV COLONY FEEDER | 29 | 1 | 1740 | 2000017619
252 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2047 | 10 | 26400 | 2000017621
253 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 857 | 6 | 7020 | 2000017628
254 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1716 | 3 | 1920 | 2000017690
255 | RAIPUR TOWN | 11KV ROMAN SQUARE | 652 | 2 | 1320 | 2000017691
256 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 216 | 1 | 600 | 2000017692
257 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 793 | 10 | 14760 | 2000017721
258 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1072 | 2 | 5280 | 2000017755
259 | RAIPUR TOWN | 11KV MOTHER TERESA | 821 | 2 | 5160 | 2000017756
260 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 512 | 2 | 5760 | 2000017757
261 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1177 | 6 | 3960 | 2000017768
262 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1195 | 13 | 13440 | 2000017771
263 | RAIPUR TOWN | 11KV PURANI BASTI | 712 | 6 | 17580 | 2000017817
264 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1153 | 11 | 21180 | 2000017867
265 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1952 | 4 | 3300 | 2000017868
266 | RAIPUR TOWN | 11KV GANESH MANDIR | 238 | 3 | 3000 | 2000017869
267 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1404 | 5 | 11220 | 2000017870
268 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 4 | 5040 | 2000017871
269 | RAIPUR TOWN | 11KV NAVEEN MARKET | 891 | 4 | 5220 | 2000017953
270 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2707 | 4 | 2160 | 2000017954
271 | RAIPUR TOWN | 11KV MG ROAD | 1622 | 4 | 4560 | 2000017955
272 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 331 | 6 | 14100 | 2000018004
273 | RAIPUR TOWN | 11KV SADDU FEEDER | 305 | 11 | 23880 | 2000018005
274 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1587 | 10 | 20400 | 2000018006
275 | RAIPUR TOWN | 11KV MANDI | 666 | 3 | 1080 | 2000018020
276 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 370 | 4 | 3720 | 2000018359
277 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 11 | 17880 | 2000018378
278 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 990 | 11 | 16380 | 2000018394
279 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 7 | 31080 | 2000018416
280 | RAIPUR TOWN | 11KV Dhanlaxmi Nagar Feeder | 4042 | 2 | 780 | 2000018417
281 | RAIPUR TOWN | 11KV VARUN FEEDER | 1133 | 17 | 41280 | 2000019179
282 | RAIPUR TOWN | 11KV HEERA FEEDER | 3042 | 12 | 36960 | 2000019180
283 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1640 | 7 | 15600 | 2000019184
284 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1337 | 8 | 8640 | 2000019186
285 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1208 | 8 | 12240 | 2000019334
286 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1249 | 4 | 11940 | 2000019340
287 | RAIPUR TOWN | 11KV PS CITY | 1343 | 9 | 7320 | 2000019530
288 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 718 | 6 | 4860 | 2000019697
289 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 191 | 2 | 1080 | 2000019850
290 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 151 | 2 | 1140 | 2000019851
291 | RAIPUR TOWN | 11KV BLOCK NO 5,6,7,8 FEEDER | 176 | 11 | 74280 | 2000019853
292 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1825 | 6 | 10560 | 2000019857
293 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1685 | 2 | 1920 | 2000019858
294 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2116 | 6 | 4080 | 2000020009
295 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1212 | 2 | 8820 | 2000020120
296 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 11 | 9720 | 2000020123
297 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 4 | 5640 | 2000020130
298 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 175 | 3 | 3360 | 2000020131
299 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 4 | 4380 | 2000020132
300 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3937 | 3 | 2100 | 2000020153
301 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 355 | 5 | 6840 | 2000020193
302 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1034 | 3 | 4080 | 2000020194
303 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1711 | 6 | 5640 | 2000021219
304 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1400 | 6 | 21300 | 2000021220
305 | RAIPUR TOWN | 11KV TARUN NAGAR | 1827 | 8 | 7200 | 2000021221
306 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 746 | 2 | 1200 | 2000021286
307 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1393 | 8 | 4020 | 2000021287
308 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 62 | 20 | 16980 | 2000021421
309 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 8 | 57540 | 2000021615
310 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1364 | 1 | 360 | 2000022077
311 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 805 | 1 | 360 | 2000022078
312 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1347 | 1 | 420 | 2000022079
313 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1410 | 4 | 1560 | 2000023680
314 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1581 | 11 | 7020 | 2000023735
315 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 134 | 5 | 6240 | 2000023736
316 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1652 | 3 | 1080 | 2000023772
317 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1117 | 5 | 29580 | 2000024395
318 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 3 | 1500 | 2000026462
319 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2321 | 4 | 2760 | 2000026575
320 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1535 | 1 | 960 | 2000026582
321 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 999 | 2 | 1620 | 2000026583
322 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1067 | 1 | 900 | 2000026584
323 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 629 | 5 | 3240 | 2000026585
324 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1265 | 4 | 2760 | 2000026586
325 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 330 | 6 | 31860 | 2000029194
326 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 139 | 13 | 44040 | 2000029195
327 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1319 | 7 | 27240 | 2000034421
328 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 761 | 3 | 29820 | 2000034422
329 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 741 | 5 | 24120 | 2000034423
330 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2695 | 3 | 17760 | 2000034760
331 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 418 | 2 | 1500 | 2000034761
332 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1685 | 2 | 1560 | 2000034762
333 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 902 | 1 | 360 | 2000046477
334 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 1713 | 1 | 1680 | 2000068159
335 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 4 | 2940 | 2000069376
336 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 18 | 17760 | 2000070080
337 | RAIPUR TOWN | 11KV C&F FEEDER | 28 | 7 | 10680 | 2000070702
338 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 27 | 7 | 10860 | 2000070703
339 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1029 | 7 | 12780 | 2000070747
340 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2512 | 6 | 6420 | 2000071570
341 | RAIPUR TOWN | 11KV KARA FEEDER | 406 | 11 | 17700 | 2000071634
342 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 126 | 5 | 29280 | 2000071639
343 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2591 | 8 | 29580 | 2000072091
344 | RAIPUR TOWN | 11KV Simran City Feeder | 1058 | 11 | 36180 | 2000074141
345 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 939 | 9 | 32040 | 2000075796
346 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3369 | 12 | 31680 | 2000075800
347 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 40 | 10 | 9840 | 2000075801
348 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 257 | 10 | 9960 | 2000075802
349 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2025 | 2 | 1860 | 2000069535
350 | RAJNANDGAON TOWN | 11KV MAHESHWARI | 908 | 8 | 8100 | 2000015448
351 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 872 | 12 | 9960 | 2000001955
352 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3277 | 12 | 7740 | 2000001956
353 | RAJNANDGAON TOWN | 11KV FARHAD(RURAL)FEEDER | 588 | 12 | 916020 | 2000001960
354 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2323 | 14 | 20160 | 2000001962
355 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3422 | 7 | 12720 | 2000001969
356 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1748 | 19 | 16440 | 2000001972
357 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 229 | 23 | 11580 | 2000001973
358 | RAJNANDGAON TOWN | 11KV PST FEEDER | 2035 | 11 | 529260 | 2000001975
359 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2129 | 4 | 5040 | 2000015449