## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | May'18
Period: |  | 1st Apr'18 to 30th Apr'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 117
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 4 | 54660 | 2000014959
2 | AMBIKAPUR TOWN | 11 KV DC Road | 1497 | 16 | 28860 | 2000014951
3 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 8 | 6300 | 2000003841
4 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 417 | 6 | 7020 | 2000003844
5 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2285 | 7 | 5040 | 2000003848
6 | AMBIKAPUR TOWN | 11KV MAHAVIRPUR FEEDER | 285 | 18 | 19500 | 2000003852
7 | BILASPUR TOWN | 11KV DHEKA FEEDER | 287 | 5 | 31680 | 2000004877
8 | BILASPUR TOWN | 11KV DHUMA FEEDER | 684 | 10 | 73560 | 2000004878
9 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 437 | 6 | 48600 | 2000004879
10 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2527 | 2 | 5280 | 2000004889
11 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 6 | 17 | 28980 | 2000004897
12 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1111 | 4 | 40320 | 2000004900
13 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3216 | 6 | 41160 | 2000004909
14 | BILASPUR TOWN | 11KV RULER FEEDER | 1556 | 10 | 28680 | 2000004916
15 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 274 | 6 | 7980 | 2000023802
16 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 338 | 6 | 8040 | 2000023801
17 | BILASPUR TOWN | 11 KV New Mopka | 838 | 3 | 4560 | 2000017224
18 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1652 | 7 | 23100 | 2000018762
19 | BILASPUR TOWN | 11 KV Mahaveer City | 222 | 2 | 15900 | 2000017226
20 | BILASPUR TOWN | 11KV Lingyadih Feeder | 171 | 1 | 7320 | 2000017505
21 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 11 | 24060 | 2000017776
22 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 14 | 27840 | 2000017781
23 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1979 | 2 | 4860 | 2000003196
24 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 5 | 3780 | 2000002573
25 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 16 | 308340 | 2000002567
26 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1787 | 4 | 11220 | 2000007754
27 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1262 | 6 | 14520 | 2000007762
28 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 2496 | 1 | 9060 | 2000007772
29 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1304 | 1 | 360 | 2000007776
30 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1999 | 14 | 216420 | 2000017052
31 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 949 | 8 | 12360 | 2000017055
32 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 936 | 5 | 10140 | 2000017056
33 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 986 | 1 | 960 | 2000017058
34 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 1689 | 3 | 5520 | 2000017059
35 | DURG BHILAI CHARODA TOWN | 11 KV Green Chowk | 544 | 1 | 300 | 2000017060
36 | DURG BHILAI CHARODA TOWN | 11 KV Titurdih | 890 | 1 | 300 | 2000017061
37 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 569 | 4 | 19320 | 2000017062
38 | DURG BHILAI CHARODA TOWN | 11KV Sunder Nagar Feeder | 1860 | 3 | 12120 | 2000017063
39 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1641 | 4 | 9600 | 2000017064
40 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 654 | 3 | 3120 | 2000007687
41 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1066 | 5 | 19800 | 2000017066
42 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 392 | 2 | 900 | 2000017069
43 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 7 | 2 | 28080 | 2000017071
44 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1029 | 2 | 900 | 2000017065
45 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 696 | 9 | 23940 | 2000018574
46 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 276 | 7 | 12600 | 2000018704
47 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1292 | 6 | 12420 | 2000018705
48 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1703 | 3 | 9360 | 2000018706
49 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2317 | 6 | 15000 | 2000018707
50 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 229 | 1 | 300 | 2000019819
51 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 2978 | 4 | 1560 | 2000021263
52 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1993 | 7 | 14760 | 2000023773
53 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 6 | 26880 | 2000025794
54 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1656 | 10 | 27720 | 2000029193
55 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 372 | 4 | 11040 | 2000017805
56 | KORBA TOWN | 11KV Mudapar Feeder | 1032 | 3 | 2100 | 2000020065
57 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1096 | 14 | 19140 | 2000020122
58 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1158 | 7 | 93900 | 2000006798
59 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 804 | 5 | 14040 | 2000006796
60 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 777 | 64 | 316380 | 2000006773
61 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 7 | 24060 | 2000006770
62 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2379 | 9 | 63780 | 2000006761
63 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1321 | 5 | 39660 | 2000001427
64 | RAIGARH TOWN | 11kv Collectred Feeder | 81 | 5 | 15300 | 2000016056
65 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 680 | 9 | 24420 | 2000021639
66 | RAIGARH TOWN | 11 KV Stadium feeder | 593 | 8 | 19020 | 2000022941
67 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 48 | 8 | 13740 | 2000010660
68 | RAIPUR TOWN | 11KV RULAR FEEDER | 368 | 1 | 22140 | 2000010703
69 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 485 | 9 | 8820 | 2000010707
70 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 905 | 2 | 3840 | 2000010712
71 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 898 | 6 | 6180 | 2000017256
72 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2407 | 10 | 24540 | 2000017567
73 | RAIPUR TOWN | 11KV WHITE HOUSE | 557 | 11 | 24480 | 2000017568
74 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 588 | 8 | 14700 | 2000017569
75 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1712 | 9 | 16020 | 2000017608
76 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 4 | 16740 | 2000017613
77 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 867 | 4 | 11220 | 2000017628
78 | RAIPUR TOWN | 11KV Roman Square | 478 | 8 | 11100 | 2000017691
79 | RAIPUR TOWN | 11KV Krishak Nagar | 179 | 6 | 14220 | 2000017692
80 | RAIPUR TOWN | 11KV Marling Complex Feeder | 949 | 5 | 19500 | 2000017768
81 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 968 | 11 | 22680 | 2000017771
82 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1277 | 10 | 21300 | 2000017772
83 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 610 | 15 | 31860 | 2000017773
84 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 399 | 2 | 16380 | 2000017817
85 | RAIPUR TOWN | 11 KV Station Road Feeder | 838 | 11 | 27360 | 2000017867
86 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 7 | 9060 | 2000017869
87 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1368 | 13 | 24000 | 2000017870
88 | RAIPUR TOWN | 11KV NAVEEN MARKET | 859 | 5 | 6480 | 2000017953
89 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 293 | 7 | 10380 | 2000018004
90 | RAIPUR TOWN | 11KV Saddu Feeder | 301 | 2 | 16020 | 2000018005
91 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1208 | 12 | 34380 | 2000018006
92 | RAIPUR TOWN | 11KV Gondwara Feeder | 422 | 8 | 12540 | 2000019179
93 | RAIPUR TOWN | 11KV Gogaon Feeder | 3001 | 6 | 15300 | 2000019180
94 | RAIPUR TOWN | 11KV Lakdi Mill Feeder | 592 | 5 | 7500 | 2000019181
95 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1979 | 13 | 19140 | 2000019334
96 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1073 | 2 | 5640 | 2000019530
97 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1915 | 10 | 17400 | 2000020009
98 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2653 | 1 | 6900 | 2000020119
99 | RAIPUR TOWN | 11KV Station Road Feeder | 322 | 6 | 11100 | 2000020130
100 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 99 | 8 | 67500 | 2000020131
101 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 5 | 8640 | 2000020132
102 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 347 | 15 | 29340 | 2000020193
103 | RAIPUR TOWN | 11KV Medishine Feeder | 977 | 7 | 17100 | 2000020194
104 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1573 | 12 | 19620 | 2000021219
105 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1228 | 7 | 10800 | 2000021220
106 | RAIPUR TOWN | 11KV Parsuram Feeder | 1354 | 8 | 11040 | 2000021221
107 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 632 | 12 | 27120 | 2000021286
108 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1129 | 6 | 10380 | 2000021287
109 | RAIPUR TOWN | 11KV OM Complex Feeder | 1319 | 11 | 26280 | 2000021615
110 | RAIPUR TOWN | 11KV Pankaj Garden Feeder | 1343 | 2 | 8640 | 2000022077
111 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 813 | 6 | 15780 | 2000022078
112 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1393 | 8 | 15900 | 2000023735
113 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1544 | 5 | 14100 | 2000023772
114 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1401 | 5 | 8100 | 2000026582
115 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 930 | 6 | 8640 | 2000026583
116 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 986 | 7 | 9180 | 2000026584
117 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 671 | 11 | 32820 | 2000034423