## Standard Stock Materials2026-27
RATE OF STOCK MATERIALS FOR SoR 2026-27
Sl. No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | Bin Code | Schedule of Rate for 2026-27 (rates including GST)
1 | 2 |  | 3 | 4 | 5
1 | A | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (Without Box):-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 77310.58
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 65016.7
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 125345.25
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 164821.1
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 352684.76
| vi | 315 kVA Copper Wound | Each | 7132220081 | 1071277.58
| vii | 500 kVA Copper Wound | Each | 7132220082 | 1521670.31
| B | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With Secondary Terminal Box) :-
| i | 25 kVA Aluminium Wound | Each | 7132210022 | 78621.18
| ii | 63 kVA Aluminium Wound | Each | 7132210023 | 135219.73
| iii | 100 kVA Aluminium Wound | Each | 7132210024 | 165773.86
| iv | 200 kVA Aluminium Wound | Each | 7132210025 | 354119.68
| v | 315 kVA Copper Wound | Each | 7132210027 | 965414.75
| C | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With Secondary Terminal Box - extended LT bushing) :-
| i | 25 kVA Aluminium Wound | Each | 7132210028 | 82528.82
| ii | 63 kVA Aluminium Wound | Each | 7132210029 | 148218.56
| iii | 100 kVA Aluminium Wound | Each | 7132210030 | 192133.46
| D | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With HV & LV side Box) :-
| i | 315 kVA Copper Wound | Each | 7132220085 | 1087040.36
| ii | 500 kVA Copper Wound | Each | 7132220086 | 1547700.56
| E | ENERGY EFFICIENCY LEVEL-2 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (Without Box) :-
| i | 25 kVA Aluminium Wound | Each | 7132210139 | 77273.06
| ii | 63 kVA Aluminium Wound | Each | 7132210140 | 132231.28
| iii | 100 kVA Aluminium Wound | Each | 7132210141 | 166519.1
| iv | 200 kVA Aluminium Wound | Each | 7132210142 | 323107.43
| v | 315 kVA Copper Wound | Each | 7132210143 | 1002435.61
| vi | 500 kVA Copper Wound | Each | 7132210144 | 1471771.91
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 251830.58
3 |  | POWER TRANSFORMERS 33/11 kV :-
| i | 1600 kVA | Each | 7132220091 | 1500128.26
| ii | 3150 kVA | Each | 7132220095 | 4456033.02
| iii | 5000 kVA | Each | 7132220097 | 6078909.05
| iv | 8000 kVA | Each | 7132220092 | 8585074.33
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 327.8
| ii | 33 kV Porcelain | Each | 7130840021 | 4289.09
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 1237.27
| ii | 33 kV | Each | 7131930415 | 3310.46
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930110 | 1506.92
| ii | 33 kV | Each | 7131930111 | 2156.64
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457795 | 89113.6
| ii | In Tanker | KL | 7132457800 | 83343.4
| iii | Fabricated Transformer Oil Storage Tank (10 Kl Capacity) | No. | 7132494004 | 438497.86
LINE SUPPORTS :-
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 70349.02
| b | 60 kgs per mtr | MT | 7130601072 | 70349.02
8 | A | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 53077.58
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 52664.58
| B | WIDE PARALLEL FLANGE BEAM (W.P.B.)
| a | WPB 13 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600012 | 65688.24
| b | WPB 11 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600011 | 65452.24
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 56727.95
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 2371.18 | Rate are inclusive of all T&P and labour charges
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800032 | 2673.36 | Rate are inclusive of all T&P and labour charges
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 3195.95 | Rate are inclusive of all T&P and labour charges
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 4613.69 | Rate are inclusive of all T&P and labour charges
| v | 365 Kg; 11 Mtr long | Each | 7130800002 | 7887.84 | Rate are inclusive of all T&P and labour charges
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 45520.46
| b | 75x40 mm | MT | 7130600166 | 45520.46
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 51075.41
| b | 50x6 mm | MT | 7130600173 | 51075.41
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 45520.46
| b | 50 x 50 x 6 mm | MT | 7130600023 | 45520.46
| c | 75 x 75 x 6 mm | MT | 7130600051 | 45520.46
| d | 35 x 35 x 5 mm | MT | 7130640040 | 38600.4
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 4073 | Rate are inclusive of all T&P and labour charges
| ii | 1:2:4 Ratio | Cmt | 7130200001 | 3552 | Rate are inclusive of all T&P and labour charges
| iii | 1:3:6 Ratio | Cmt | 7130200202 | 2970 | Rate are inclusive of all T&P and labour charges
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 23770.24
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 36110.28
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 60086.82
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 89510.94
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 120401.41
| vi | 0.2 Sq inch (200 Sqmm Al.Eq.) (Panther) | Km | 7130830070 | 266865.51
17 |  | COVERED CONDUCTOR
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 354.22
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 394.13
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310002 | 437.83
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 532.63
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 582.21
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 719.53
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 856.83
18 |  | ACCESSORIES FOR 11 KV COVERED CONDUCTOR :-
| i | Tension / anchoring Clamp with tracking protection IPC | No | 7130320050 | 1218.98
| ii | Alignment tie (non-metallic) | No | 7130320051 | 488.82
| iii | Mechanical conductor with heat shrunk sleeve for bare to covered | No | 7130320052 | 1194.48
| iv | IPC for Networking / Branching / Looping CC to CC | No | 7130320054 | 1071.97
| v | IPC with Aluminium Bail for earthing | No | 7130320055 | 1255.74
| vi | Mid span joint | No | 7130320056 | 673.81
| vii | IPC with Aluminium Bail & Transformer Tap (Line this) | No | 7130320057 | 1255.74
| viii | Heat Shrinkable End Cap | No | 7130320058 | 24.5
| ix | Termination kit / Lug for Transformer Connection | No | 7130320059 | 673.81
LINE INSULATORS :-
19 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 314.39
| ii | 11 kV Pin insulator | Each | 7130820071 | 60.51
| iii | 33 kV Pin insulator | Each | 7130820075 | 310.47
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 599.74
| v | 33 kV Post Insulator | Nos. | 7130820027 | 2452.66
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 16.99
| b | 65 x 50 mm. | Each | 7130820101 | 14.36
| vii | Stay insulator | Each | 7130820117 | 13.68
| viii | Split insulator | Pair | 7130820018 | 5.13
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 187.29
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820013 | 187.29
| iii | 11 kV Disc Insulator | Each | 7130820010 | 111.39
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 378.54
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 139.71
| C | POLYMER POST INSULATOR :-
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 252.87
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 963.99
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820020 | 111.39
20 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 160.75
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 333.97
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 2861.66
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 1315.11
21 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 54.62
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 47.98
22 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 95.84
23 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 318.93
24 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 10471.34
| ii | 33 kV | Each | 7131930321 | 23249.28
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930220 | 7998.21
| ii | 33 kV | Each | 7131930320 | 18927.97
25 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 592.97
| ii | 20 mm (Painted) | Each | 7130860033 | 1080.47
26 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 87273.82
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 88128.62
27 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 143.69
28 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 69823.35
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 69823.35
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 69873.22
29 |  | Barbed wire | MT | 7130610206 | 84314.55
30 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 86.95
| ii | 12x100 mm | Kg | 7130620573 | 86.95
| iii | 12x120 mm | Kg | 7130620575 | 88.4
| iv | 12x140 mm | Kg | 7130620577 | 88.4
| v | 16x40 mm | Kg | 7130620609 | 86.95
| vi | 16x65 mm | Kg | 7130620614 | 85.5
| vii | 16x90 mm | Kg | 7130620619 | 85.5
| viii | 16x100 mm | Kg | 7130620621 | 84.05
| ix | 16x140 mm | Kg | 7130620625 | 84.05
| x | 16x160 mm | Kg | 7130620627 | 84.05
| xi | 16x200 mm | Kg | 7130620631 | 84.05
| xii | 16x250 mm | Kg | 7130620637 | 84.05
| xiii | 16x300 mm | Kg | 7130620636 | 84.05
| xiv | 20x75 mm | Kg | 7130620713 | 84.05
| xv | 20x90 mm | Kg | 7130620716 | 84.05
| xvi | 20x110 mm | Kg | 7130620719 | 84.05
| xvii | 24x120 mm | Kg | 7130620829 | 84.05
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 120.28
| ii | 16x65 mm | Kg | 7130620140 | 120.28
31 |  | G.I. Spring Washer | Kg | 7130622922 | 152.82
32 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 220.62
33 |  | G.I.Strip 25x3 mm | Kg | 7130870040 | 88.08
34 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 101.61
35 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 2238.1
36 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 960.3
| ii | 63 Amps. | Each | 7131920254 | 2305.88
| iii | 100 Amps. | Each | 7131920256 | 4460.3
| iv | 200 Amps. | Each | 7131920258 | 6261.77
| v | 300 Amps. | Each | 7131920259 | 8495.6
| vi | 400 Amps. | Each | 7131920260 | 12832.35
37 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 7131910655 | 33.11
| ii | 32 Amps. | Each | 7131910653 | 57.94
| iii | 63 Amps. | Each | 7131910654 | 114.49
| iv | 100 Amps. | Each | 7131910656 | 306.25
| v | 200 Amps. | Each | 7131910657 | 673.19
| vi | 300 Amps. | Each | 7131910658 | 1235.82
38 |  | Red Oxide Paint | Ltr. | 7130211158 | 183.37
39 |  | Aluminium Paint | Ltr. | 7130210809 | 409.72
40 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 72362.33
| ii | 4 Core | Km. | 7130310654 | 132305.02
| iii | 8 Core | Km. | 7130310658 | 253252.8
| iv | 10 Core | Km. | 7130310681 | 319624.96
| v | 12 Core | Km. | 7130310662 | 329371.81
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 10 Core | Km. | 7130310660 | 365803.19
41 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 29483.67
| ii | 50 Sq.mm. | KM | 7130311009 | 70493.34
| iii | 70 Sq.mm | KM | 7130311010 | 95818.1
| iv | 150 Sq.mm | KM | 7130311011 | 189275.23
| v | 300 Sq.mm | KM | 7130311012 | 374426.47
| vi | 400 Sq.mm | KM | 7130311013 | 469301.42
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 10.26
| ii | 4.0 Sqmm. | Per Mtr. | 7130310082 | 20.16
| iii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 43.31
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 33.24
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 39.88
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 58.16
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 89.74
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 69.79
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 84.75
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 101.37
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 132.96
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 169.51
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 24159.44
| ii | 25 Sqmm. | Km. | 7130310026 | 37310.86
| iii | 35 Sqmm. | Km. | 7130310021 | 48196.36
| iv | 50 Sqmm. | Km. | 7130310022 | 61736.86
| v | 70 Sqmm. | Km. | 7130310007 | 84041.77
| vi | 120 Sqmm. | Km. | 7130310008 | 153470.73
| vii | 150 Sqmm. | Km. | 7130310041 | 174398.3
| viii | 185 Sqmm. | Km. | 7130310034 | 233847.1
| ix | 240 Sqmm. | Km. | 7130311085 | 258498.93
| x | 300 Sqmm. | Km. | 7130310035 | 336819.47
| xi | 400 Sqmm. | Km. | 7130310108 | 431043.65 | NEW ITEM INTRODUCED
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 58588.78
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 85098.78
| ii | 16 Sqmm. | km | 7130311084 | 89546.69
| iii | 25 Sq.mm. | km | 7130310005 | 135241.73
| iv | 70 Sq.mm. | km | 7130310083 | 501251.82
| v | 95 Sq.mm. | km | 7130310084 | 611203.83
| vi | 150 Sq.mm. | km | 7130310085 | 922734.53
| vii | 300 Sq.mm. | km | 7130310086 | 1762466.07
| viii | 400 Sq.mm. | km | 7130310087 | 2240002.75
42 |  | A.B. XLPE CABLE :-
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 1371512.34
| b | 3x150 Sq.mm. | km | 7130310052 | 1683609.64
| c | 3x185 Sq.mm. | km | 7130310053 | 1924298.52
| d | 3x240 Sq.mm. | km | 7130310054 | 2446944.41
43 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 23957.22
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 34224.59
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set | 7130310088 | 45506.95
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 13689.84
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 17112.3
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 20534.75
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 23957.22
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 25668.45
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 30802.14
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 1077.45
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 1163.86
| xii | Cable tie for AB Cable | Each | 7130320045 | 34.57
44 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 538738.83
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 763567.97
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 926693.2
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 1082726.04
45 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 5228.76
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 5502.44
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 5192.06
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 3311.54
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 3488.72
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 2788.67
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 3137.26
| viii | Cable tie for AB Cable | Each | 7130820029 | 43.21
| ix | Surge Arrestor | No | 7130840003 | 1109.72
| x | Ground connection for Messenger Wire | No | 7131950396 | 168.6
46 |  | L.T. A.B. XLPE CABLE :-
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1x25+1x16+1x25 | km | 7130310063 | 80025.06
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x16+1x16+1x25 | km | 7130310031 | 117441.13
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x25+1x16+1x25 | km | 7130310032 | 151505.38
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x35+1x16+1x25 | km | 7130310033 | 181440.54
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x50+1x16+1x35 | km | 7130310065 | 237497.47
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x50+1x25+1x35 | km | 7130310066 | 237497.47
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x70+1x16+1x50 | km | 7130300025 | 345952.9
| viii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x95+1x16+1x70 | km | 7130310068 | 441600.55
| ix | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x120+1x16+1x95 | km | 7130310092 | 551312.67
| x | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3x16+1x25 | km | 7130310070 | 85297.43
| xi | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3x25+1x25 | km | 7130310073 | 86469.51
47 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 1331.11
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 1603.46
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 98.54
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 128.38
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 178.94
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 888.45
| 7 | Straight through joints | Nos. | 7130390007 | 227.52
| 8 | Service Ring | Nos. | 7130810102 | 463.41
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 249.92
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 43.21
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 605.45
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 794.21
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 576.46
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 38.88
| 15 | Universal distribution connector | Each | 7130390006 | 161
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 7.24
| 17 | Pole Clamp | No. | 7130810077 | 583.15
| 18 | Eye Hook | No. | 7130893004 | 237.57
48 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 1110.58
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 1110.58
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 1192.67
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1676.66
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 2499.15
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 4038.97
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 5161.06
49 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x150 Sq.mm. | km | 7130640032 | 1943588.25
| ii | 3x240 Sq.mm. | km | 7130310075 | 2930919.12
| iii | 3x400 Sq.mm. | km | 7130310020 | 3202949.27
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 782172.46
| ii | 95 Sq.mm | km | 7130310077 | 791365.28
| iii | 120 Sq.mm | km | 7130310078 | 1180085.11
| iv | 240 Sq.mm | km | 7130310079 | 1429802.53
| v | 400 Sq.mm | km | 7130310080 | 2202958.24
50 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 30922.07
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 45866.77
| iii | Straight through heat shrinkable cable jointing kit with lugs for 3 core 120-240 sq mm UG XLPE cable | Set | 7130310089 | 76738.73
| iv | Straight through heat shrinkable cable jointing kit with lugs for 3 core 300-400 sq mm UG XLPE cable | No | 7130310090 | 85933.91
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x50 Sq.mm | Set | 7130352038 | 18483.6
| ii | 3x95 Sq.mm | Set | 7130352039 | 18483.6
| iii | 3x150 Sq.mm | Set | 7130352040 | 24472.89
| iv | 3x240 Sq. mm | Set | 7130352041 | 26765.34
| v | 3x400 Sq. mm | Set | 7130352042 | 26765.34
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 9608.12
| ii | 3x240 Sq. mm | Set | 7130352044 | 11598.63
| iii | 3x400 Sq. mm | Set | 7130352045 | 11932.29
51 | i | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 17700
| B | Battery | No. | 7132404366 | 67787.02
| ii | 32 Volts 100 AH Lithium Ferro Battery | No. | 7132504016 | 96760 | NEW ITEM INTRODUCED
52 |  | Marshelling Box (with 10 No. connectors) | No. | 7130352046 | 4080.55
57 | A | LED LAMPS
| i | LED 9 Watt lamp (without holder) | Each | 7131210011 | 77
| ii | LED Tube Light, 20 Watt | Set | 7131210009 | 242.01
| B | LED LAMPS WITH COMPLETE FITTING
| i | 18 W LED Street Light complete set | Set | 7131210030 | 2491.08
| ii | 35 W LED Street Light complete set | Set | 7131210031 | 3217.96
| iii | 70 W LED Street Light complete set | Set | 7131210032 | 4552.2
| iv | 110 W LED Street Light complete set | Set | 7131210033 | 6186.43
| v | 190 W LED Street Light complete set | Set | 7131210034 | 10910.5
| vi | 190 W LED Flood Light complete set | Set | 7131210035 | 10585.25
| vii | 110 W LED Flood Light complete set | Set | 7131210036 | 7069.16
58 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 41.54
| ii | Raccoon Conductor. | Each | 7130830050 | 51.51
| iii | Dog Conductor. | Each | 7130830051 | 201.06
| iv | Panther Conductor. | Each | 7130830971 | 310.74
59 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 304.09
| ii | Dog Conductor. | Each | 7130830585 | 380.53
| iii | Panther Conductor. | Each | 7130830002 | 445.33
60 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 1055.83
| ii | VCB | Each | 7130830054 | 616.6
| iii | CT-PT Unit | Each | 7130830056 | 616.6
| iv | Distribution Transformer (HT) | Each | 7130830058 | 313.46
| v | Distribution Transformer (LT) | Each | 7130830603 | 459.86
61 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 221.56
62 |  | Aluminium bobbin. | Each | 7130820201 | 50.75
63 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 361.12
| ii | 250 Amps. | Each | 7131900880 | 907.36
| iii | 400 Amps. | Each | 7131900881 | 1003.84
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900807 | 140.8
| ii | 250 Amps. | Each | 7131900071 | 366.33
| iii | 400 Amps. | Each | 7131900072 | 563.19
64 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 858.9
65 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 1975.28
| ii | CT operated electronic static bidirectional meters with DLMS Protocol. | Each | 7131310997 | 2075.36
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 3089.55
| iv | CT operated electronic static bidirectional meters with DLMS protocol for net metering | Each | 7131310005 | 3433.69
| v | CT operated electronic static bidirectional meter with DLMS for net metering | Each | 7131310002 | 3537.38
| vi | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 15351.14
| vii | Bidirectional Meter 1 phase for Solar Roof Top | Each | 7131310045 | 1216.2
| viii | Bidirectional Meter 3 phase for Solar Roof Top | Each | 7131310040 | 2533.76
66 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category A | Each | 7131310033 | 4787.15
| ii | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category B | Each | 7131310034 | 4787.15
| iii | 3 Ø 3 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310036 | 22450.99
| iv | 3 Ø 4 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310035 | 27140
| v | 3 Ø 4 Wire 0.5S, 5 Amp. Bulk consumer meter | Each | 7131310013 | 5411.58
| vi | 3 Ø 4 Wire 0.2S 5 Amp. bulk consumer meter | Each | 7131310042 | 29182.22
| vii | Test terminal Box (TTB) | Each | 7131397678 | 2223.5
| viii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 28091.6
| ix | Spot Billing Machine | Each | 7131310168 | 13938.4
67 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 1575300
69 | i | Universal Meter Box for HT meters. | Each | 7132406425 | ITEM DELETED | ITEM DELETED NOT TO BE USED
| ii | Sheet Metal deep Drawn HT Meter Box | Each | 7132404529 | 4765.89
| iii | Sheet Metal deep Drawn Meter Box for LTCT operated meter | Each | 7132406791 | 6875.8
70 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 3297.37
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 7132406793 | 4124.76
| iii | Pilfer proof Single Compartment SMC meter box for LTCT meters 150/5A with CT | Each | 7132406795 | 4896.43
| iv | Pilfer proof Single Compartment SMC meter box for LTCT meters 300/5A with CT | Each | 7132406794 | 4470.9
71 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 9186.23
| ii | Set of 3 O.C. relays + 1 E/F instantaneous high set feature numerical type | Nos. | 7131334001 | 8466.5
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 8608.43
| iv | Master trip relays | Nos. | 7131399007 | 1339.85
| v | Auxiliary Relay | Nos. | 7131300008 | 3486.52
| vi | SCADA Compatible Relay (As per IEC 107/IEC61850 protocol) | Nos. | 7131300010 | 40195.64
| vii | Electrically Reset type Master Trip relay | Nos. | 7131300009 | 3891.96
72 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 527.46
| ii | 200/5 Amps. | Each | 7132230019 | 313.29
| iii | 300/5 Amps. | Each | 7132230021 | 306.8
| iv | 500/5 Amps. | Each | 7132230024 | 306.8
73 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 18154.3
| ii | 300-150/5 Amps. | Each | 7132230188 | 15178.97
| iii | 500-250/5-5 Amps. | Each | 7132200005 | 20686.37
74 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 20221.34
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 24806.55
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 25114.47
75 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 730790.17
| ii | 150-75/1-1A | No. | 7132230075 | 578052.83
| iii | 200-100/1-1A | No. | 7132230332 | 541345.24
| iv | 300-150/1-1A | No. | 7132230336 | 347506.34
| v | 600-300/1-1A | No. | 7132230065 | 379690.42
| vi | 100/1 Amp | No. | 7132230543 | 612282.8
| vii | 200/1 Amp | No. | 7132230544 | 531661.4
76 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 966723.73
| ii | 300-150/1-1A | No. | 7132230077 | 695772.88
| iii | 600-300/1-1A | No. | 7132230078 | 779566.92
| iv | 800-400/1-1A | No. | 7132230039 | 765668.4
| v | 800/1 Amp. | No. | 7132230545 | 641365.19
78 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 14164.44
79 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 22774.85
80 |  | 132 kV P.T. | No. | 7132230501 | 466237.64
81 |  | 220 kV P.T. | No. | 7132230511 | 843207.67
82 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230395 | 46126.52
| ii | 25/5 A | Each | 7132230401 | 42464.01
| iii | 50/5 A | Each | 7132230538 | 42223.13
| iv | 300-150/5 A | Each | 7132230399 | 47126.62
| v | 200-100/5 A | Each | 7132230412 | 46601.35
| vi | 400-200/5 A | Each | 7132230088 | 47130.87
| xi | 100/5 A | Each | 7132230403 | 40501.33
| xii | 200/5A | Each | 7132230410 | 44511.97
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230448 | 86517.16
| ii | 20/5 A | Each | 7132230418 | 79231.77
| iii | 50/5 A | Each | 7132230450 | 78269.35
| iv | 100/5A | Each | 7132230453 | 79399.73
| v | 200/5A | Each | 7132230455 | 79399.73
| vi | 400/5A | Each | 7132230458 | 75595.51
| vii | 200-100/5 A | Each | 7132230427 | 103432.83
| viii | 300-150/5 A | Each | 7132230089 | 107545.2
| ix | 400-200/5 A | Each | 7132230457 | 105928
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230028 | 247011.43
| ii | 25/5 A | Each | 7132230029 | 247011.43
| iii | 50/5 A | Each | 7132230017 | 247011.43
| iv | 100/5 A | Each | 7132230015 | 267615.99
| v | 200/5 A | Each | 7132230030 | 247011.43
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230031 | 117805.45
| ii | 15/5 A | Each | 7132230020 | 117805.45
| ii | 25/5 A | Each | 7132230010 | 117805.45
| iv | 50/5 A | Each | 7132230027 | 117807.48
83 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 131.01
| ii | 6 to 16 Amps. | Each | 7131820032 | 131.01
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 555.21
| ii | 32 Amps. | Each | 7131820034 | 555.21
84 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 3698.38
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 4007.12
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 4007.12
85 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 2927.84
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 3082.2
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 6704.05
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 29280.91
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 29280.91
86 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 18891.13
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 23614.9
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 47227.82
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 40524.33
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 50551.61
| vi | SMC LT Distribution Box for 100 kVA Distribution Transformer | Each | 7131950208 | 15533.64
| vii | SMC LT Distribution Box for 200 kVA Distribution Transformer | Each | 7131950210 | 22892.01
| viii | SMC LT Distribution Box for 315 kVA Distribution Transformer | Each | 7131950209 | 22892.01
87 |  | Locally fabricated - 3 Phase fuse units 150 Amps. (Robust fuse for circuit base). | Each | 7131900005 | 988.84
88 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 420462.61
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 154192.41
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 28124.69
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 29632.55
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 42122.51
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 42392.8
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each | 7131960010 | 91055.26
89 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 280899.21
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 43018.74
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 31900.75
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 28893.09
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 42819.58
| v | C&R Panel with 3 O/C + 1 E/F relay and Master Trip | Each | 7131900012 | 50976
| vi | Transformer Auxiliary panel with auxiliary protection relay | Each | 7131900014 | 12797.78
90 |  | 11 kV Sectionalizer. | Each | 7131950016 | 446178.57
91 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 26094.57
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 45159.49
92 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 2117.99
| ii | 10 kVAR | Each | 7132200813 | 4234.66
| iii | 12 kVAR | Each | 7132200814 | 5088.22
| iv | 20 kVAR | Each | 7132200815 | 8444.12
93 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin/Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 174623.28
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 230907.67
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 7132230471 | 41166.48
94 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set | 7132210106 | 8479.9
| ii | 0.2% Reactor suitable for 726 kVAR step | Set | 7132210108 | 10352.43
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. | 7131980001 | 83678.8
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set | 7131931091 | 34350.79
| v | Mounting GI structure for above isolator | Set | 7131931095 | 14583.18
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. | 7131940871 | 57681.32
| vii | GI Structure for complete Equipment | Kgs. | 7130850198 | 84.31
96 |  | Poly Carbonate seals for meter | Each | 7132444005 | 5.84
97 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 7
98 |  | Numerical Poly Carbonate seals | No | 7132444008 | 10.76
99 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 5709.28
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 7203.73
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 16338.04
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 17116.04
100 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 60.21
101 | i | Modem (4G) | Nos. | 7131961526 | 4665.77
| ii | Modem(NBIoT) | Nos. | 7131961530 | 5780.82 | NEW ITEM INTRODUCED
102 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 3.09
| 2 | 16 Sq mm | Nos. | 7130354275 | 3.09
| 3 | 25 Sq mm | Nos. | 7130354276 | 6.18
| 4 | 32 Sq mm | Nos. | 7130354277 | 7.73
| 5 | 50 Sq mm | Nos. | 7130354278 | 12.39
| 6 | 70 Sq mm | Nos. | 7130354279 | 18.57
| 7 | 95 Sq mm | Nos. | 7130354280 | 23.21
| 8 | 120 Sq mm | Nos. | 7130354281 | 32.51
| 9 | 150 Sq mm | Nos. | 7130354282 | 37.14
| 10 | 185 Sq mm | Nos. | 7130354283 | 58.81
| 11 | 225 Sq mm | Nos. | 7130354284 | 66.54
| 12 | 240 Sq mm | Nos. | 7130354285 | 95.95
| 13 | 300 Sq mm | Nos. | 7130354286 | 112.98
| 14 | 400 Sq mm | Nos. | 7130354287 | 145.48
103 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 310.89
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 3748.4
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 1675.6
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 615.08
| 5 | Portable drilling machine | Nos. | 7132014014 | 3698.44
| 6 | Megger 500 V | Nos. | 7131324780 | 4498.07
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 6779.28
| 8 | Silica gel | Kg | 7132438002 | 206.57
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 1028.41
| 10 | Panel lndication lamps | Nos. | 7131210001 | 135.12
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1740.05
| 12 | Tube Spanners | Set. | 7132074033 | 719.1
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1321.44
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 725.21
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 823.1
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 143.91
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 786.36
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 515.55
| 19 | Rechargeable LED Hand Torch | Nos. | 7132478005 | 865.13
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 247.05
| 21 | Discharge Rod | Nos. | 7132013331 | 539.91
| 22 | Neon tester | Nos. | 7131338025 | 72.35
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 79.9
| 25 | Screw driver 200 mm | Nos. | 7132072004 | 74.83
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 69.76
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 1436.34
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 444.41
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 224.48
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 533.93
| 31 | Box spanners (of size 32 A/F, 27 A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1585.32
| 32 | Transformer Oil Dielectric Breakdown testkit | Nos. | 7131338004 | 76047.97 | Rate excluding GST
| 33 | Tong tester Digital (1000 A, 500 V) with associated accessories | Nos. | 7132478004 | 1913.64
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 917.98
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 191.63 | Rate excluding GST
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 151.17
| 37 | Earth resistance tester (20/200/2000 Ω) Digital | Nos. | 7131321603 | 4730.03 | Rate excluding GST
| 38 | Rain Coat with Hoods | Nos. | 7132427634 | 892.42 | Rate excluding GST
| 39 | Gum Boots | Nos. | 7132427635 | 594.9 | Rate excluding GST
| 40 | Files of sizes | Set. | 7132475019 | 393.26
| 41 | Safety belts | Nos. | 7132404015 | 697.82
| 42 | Safety helmets | Nos. | 7132404016 | 162.57
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 5868.51
| 44 | Fire fighting equipments (CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 6562.35
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 6133.6
104 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | ITEM DELETED | ITEM DELETED NOT TO BE USED
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 560.41
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 1106.27
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 958.52
| 5 | G.I. bend 40 mm | Each | 7130640171 | 106.78
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 4090.22
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt | 7130640030 | 4090.64
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No | 7132089020 | 735.03
| 9 | RCC Pipe Type NP-3 (2.5 mtr long) on first class bedding
|  | (i) 450 mm | RM | 7130300496 | 1769 | Rate are inclusive of all T&P and labour charges
|  | (ii) 600 mm | RM | 7130640031 | 2459 | Rate are inclusive of all T&P and labour charges
|  | (iii) 900 mm | RM | 7130640036 | 4874 | Rate are inclusive of all T&P and labour charges
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640038 | 1175.3
| (ii) | M.S.Pipe 200 mm dia with collars | RM (medium) | 7130640037 | 1504.96
| 11 | River sand | Cmt | 7132498006 | 737.1
| 12 | Cement (in 50 kg bags) | Bags | 7130200401 | 354
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 207.78
| 14 | Cable covering tiles 250x250x40 mm | Each | 7130201343 | 34.5 | Rate are inclusive of all T&P and labour charges
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132479016 | 153.92 | Rate excluding GST
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 17.63 | Rate excluding GST
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 313.68
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 83.43 | Rate excluding GST
| 19 | Cotton Waste | Kg | 7132470004 | 84.11 | Rate excluding GST
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 15.1
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 7132455002 | 413.82
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 197.85
| 23 | Monoplast | Kg | 7132490052 | 75.51 | Rate excluding GST
| 24 | Bitumen compound | Kg | 7132490053 | 135.92
| 25 (i) | Providing, Fabricating and fixing 8 SWG Chain link fencing 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. 04-01/ST/62 R2 Date 05.06.2007 | RM | 7130650001 | JOB REPLACED | Job of S.No.104 [25 (i)] has been raplaced by job of 104 [25(ii)] for Hard Soil; & by Job of 104 [25(iii)] for Black Cotton Soil
| 25 (ii) | Const. of 2.40 M high chain link wire mesh fencing on Hard Soil or Hard Moorum (Non Expansive Soil), as per Drg. No. 04-01/ST/62R, including all labour, T&P, curing, materials, transportation, loading, unloading, royalty etc. complete | Mtr. |  | 2756 | RATE EXCLUDING G.S.T.
| 25 (iii) | Const. of 2.40 M high chain link wire mesh fencing on Black Cotton Soil (Expansive Soil), as per Drg. No. 04-01/ST/62R, including all labour, T&P, curing, materials, transportation, loading, unloading, royalty etc. complete | Mtr. |  | 3176 | RATE EXCLUDING G.S.T.
| 26 | Cable marker for U/G cable | No. | 7130880006 | 143.01
105 |  | Earth spike | No. | 7130870010 | 997.81
106 |  | Pad Connector (for Panther conductor) | No. | 7130880007 | 181.84
107 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 9.12
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 15.63
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 16.94
108 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 1248.1
| ii | 20 SWG | Kg | 7131900971 | 1248.1
| iii | 18 SWG | Kg | 7131900973 | 1209.5
| iv | 16 SWG | Kg | 7131900975 | 1209.5
| v | 14 SWG | Kg | 7131900977 | 1209.5
| vi | 12 SWG | Kg | 7131900979 | 1209.5
| vii | 10 SWG | Kg | 7131900981 | 1209.5
| viii | 8 SWG | Kg | 7131900974 | 1209.5
109 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 101.05
110 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 76.37
111 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 4423.96
112 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end. | No | 7130642039 | 870.41
113 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 7130890973 | 63.44
114 |  | Cable Cutter | No. | 7132011171 | 530.56
115 |  | Load Break Switches
| i | Load break switches only without panel | Unit | 7131920001 | 53857.26
| ii | Load break switches with panel | Unit | 7131920002 | 117398.63
| iii | 3 Way Load break switch | Unit | 7131920003 | 379797.6
116 |  | Meter Sealing Wire | Kg | 7131397216 | 244.83
117 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7132010551 | 9846.82
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set | 7132010552 | 12561.71
118 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 939353.2
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 1334322.01
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1722255.71
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 2110189.41
| v | 1OD for RMU | Unit | 7131941767 | 337998.09
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 394968.81
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 285484.83
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 527899.18
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 640487.09
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 1020610.69
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1614068.62
119 |  | Feeder Remote Terminal Unit (FRTU) with accessories Multifunction Transducer (MFT), Contact Multiplication Relay (CMR), Heavy Duty Relay & software. | No. | 7131941001 | 105881.18
120 |  | Compact arrangement of RMU+FRTU+LT Distribution Box in a closed chamber for 11/0.433 kV Distribution sub-station (excluding Distribution Transformer) with Transformer in top & RMU+FRTU+ LT Distribution Box in bottom, compatible upto 650 kVA. | No. | 7131941002 | 1553775.07
121 |  | Compact arrangement of RMU+FRTU+LT Distribution Box in a closed chamber for 11/0.433 kV Distribution sub-station (excluding Distribution Transformer) with Transformer in top & RMU+LT Distribution Box in bottom, compatible upto 650 kVA. | No. | 7131941003 | 1265446.31
122 |  | 11 kV Fault Passage Indicator for Overhead Line | No. | 7131210840 | 17780.12 | Rate excluding GST
123 |  | AC Distribution Board for AC/DC Supply | No | 7131920028 | 12330.35
124 |  | 33/11 kV S/S (Name Plate) Board | Job | 7132406800 | 10253.32
125 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job | 7132486843 | 9170.44 | Rate excluding GST
126 | (i) | Round Shape RCC Base Plate(with 6mm MS Bar) | Each | 7130300055 | 173 | Rate are inclusive of all T&P and labour charges
| (ii) | Square Shape RCC Base Plate(with 6mm MS Bar) | Each | 7130300056 | 293 | Rate are inclusive of all T&P and labour charges
127 |  | M.S.Strip 25x3 mm (0.6 kg/Mtr.) | Kg | 7130640039 | 42.63
128 |  | SMC Meter Board 350x200x40 mm (minimum) thickness 2.5 mm | No. | 7132455003 | 162.74
129 |  | SMC Board 200x150x40 mm (minimum) thickness 2.5 mm | No. | 7132455004 | 127.87
130 |  | Piano type ISI mark 250V/5A switch. | No. | 7131920004 | 13.82
131 |  | 250V/5A ISI mark 3 pin Socket | No. | 7131920005 | 34.55
132 |  | 250V/5A ISI mark holder. | No. | 7131920006 | 20.73
133 |  | Earthing terminal (having suitable size of 10 mm Dia GI bolt with 3 nos. nuts & washers) along with Staples / Nut-Bolts/ Nails | No. | 7131390482 | 58.12
134 |  | Internal wiring using 1.5 sqmm copper multistrands PVC insulated ISI marked cable (Average cable length 6 Mtr.) | Mtr. | 7130310081 | 10.54
135 |  | 25 mm Dia PVC pipe or equivalent for internal house wiring (3 Mtr) | Feet | 7132461006 | 6.57
136 |  | Bhatta brick | No. | 7132498054 | 6.57
137 |  | 11 kV Capacitor Unit with Expulsion Tube | Each | 7132200004 | 139.58 | (cost per kVAR)
138 |  | A.B.T. Meter, Accuracy Class : 0.2S, CT Ratio : _/1A, P.T.Ratio : _/110 V | Each | 7131310032 | 313249.88
139 | 3150 kVA, 33/11 kV INDOOR TYPE POWER TRANSFORMER Oil Cooled with Off Circuit Tap Changer with Primary and secondary terminal Box type |  | Each | 7132220002 | 4244979.57 | Rates excluding GST
140 | 5000 kVA, 33/11 kV INDOOR TYPE POWER TRANSFORMER Oil Cooled with Off Circuit Tap Changer with Primary and secondary terminal Box type |  | Each | 7132220006 | 5791627.21 | Rates excluding GST
33 kV Compact Ring Main Unit (RMU) [VCB/SF6 Type] with Aluminium Bus-bar
141 | 33 kV, 3 Way RMU, 2LBS + 1VCB, One Incomer + One Breaker + One Outgoing, SF6 gas, 630 Amps, without FRTU |  | Unit | 7131941004 | 3093346.28 | Rate excluding GST
142 | 33 kV, 4 Way RMU, 2LBS + 2VCB, One Incomer + Two Breakers + One Outgoing, SF6 gas, 630 Amps., without FRTU |  | Unit | 7131941005 | 4460868.09 | Rate excluding GST
143 | 33 kV, 3 Way RMU, 3LBS, One Incomer + Two Outgoing, SF6 gas, 630 Amps., without FRTU |  | Unit | 7131941006 | 2878364.68 | Rate excluding GST
144 | 33 kV, 4 Way RMU, 4LBS One Incomer + Three Outgoing, SF6 gas, 630 Amps., without FRTU |  | Unit | 7131941007 | 3855336.6 | Rate excluding GST
33 kV JOINTING KIT :-
145 | 33 kV End terminating jointing kit TOUCH PROOF upto 240 sqmm XLPE cable |  | No. | 7130352011 | 53784.99 | Rate excluding GST
146 | 33 kV End terminating jointing kit TOUCH PROOF upto 300 sqmm XLPE cable |  | No. | 7130352012 | 57370.66 | Rate excluding GST
147 | 33 kV End terminating jointing kit TOUCH PROOF upto 400 sqmm XLPE cable |  | No. | 7130352013 | 58685.4 | Rate excluding GST
148 | LT End termination jointing kit for 4-core 300 sq.mm. XLPE underground cable |  | Set | 7130352014 | 860.97 | Rate excluding GST
3.5 Core, 1.1 kV LT PVC Armoured Cable :-
149 | 16 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311015 | 150 | Rate excluding GST
150 | 25 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311016 | 191.86 | Rate excluding GST
151 | 50 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311017 | 280.23 | Rate excluding GST
152 | 70 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311018 | 367.43 | Rate excluding GST
153 | 95 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311019 | 448.83 | Rate excluding GST
154 | 120 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130310093 | 553.48 | Rate excluding GST
155 | 150 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311020 | 656.96 | Rate excluding GST
156 | 185 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311021 | 808.12 | Rate excluding GST
157 | 240 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311031 | 1017.42 | Rate excluding GST
158 | 300 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130311032 | 1236.02 | Rate excluding GST
159 | 400 Sq.mm., 3.5 Core, 1.1 kV LT PVC Armoured Cable |  | Per Mtr. | 7130310094 | 1558.11 | Rate excluding GST
160 | Copper Bonded Ground Rod 25 mm, 3 Mtr long (For transformer body and neutral earthing) |  | No. | 7130870011 | 14206.7463 | Rate excluding GST
161 | Copper Bonded Ground Rod 17.2 mm, 3 Mtr long (For earthing of rest of the body) |  | No. | 7130870012 | 11471.81 | Rate excluding GST
162 | Chemical earthing Compound (1 packet of 25 kg) 2 packet per earth pit |  | Packet | 7132490002 | 1353.38 | Rate excluding GST
163 | Copper bonded strip 25x3 mm. (0.65 kg/Mtr) |  | Mtr. | 7130870014 | 333.44 | Rate excluding GST
164 | HDPE Pipe OD 250mm, PN10 PE100, SDR 13.6 made of virgin material |  | Mtr. | 7132461002 | ITEM DELETED | ITEM DELETED NOT TO BE USED
11/0.4 kV Compact Sub-station
165 | Compact arrangement of 3 Way RMU consist of 2 LBS+1VCB (without FRTU)+LT indoor Panel with Aluminium bus bar fixed with ACB rating 1600 Amp. +Transformer of 1000 kVA, 11/0.4 kV, Copper Wound Cast ONAN, losses as per latest amendment of IS :1180, LT Outgoing - 6 nos., MCCB rating - 400 Amp. |  | No. | 7131941008 | 4368664.87 | Rate excluding GST
166 | Compact arrangement of 3 Way RMU consist of 2 LBS+1VCB (without FRTU)+LT indoor Panel with Aluminium bus bar fixed with ACB rating 800 Amp. +Transformer of 500 kVA, 11/0.4 kV, Copper Wound Cast ONAN, losses as per latest amendment of IS :1180, LT Outgoing - 4 nos., MCCB rating - 400 Amp. |  | No. | 7131941009 | 3320749.03 | Rate excluding GST
167 | Compact arrangement of 3 Way RMU consist of 2 LBS+1VCB (without FRTU)+LT indoor Panel with Aluminium bus bar fixed with ACB rating 630 Amp. +Transformer of 315 kVA, 11/0.4 kV, Copper Wound Cast ONAN, losses as per latest amendment of IS :1180, LT Outgoing - 4 nos., MCCB rating - 200 Amp. |  | No. | 7131941010 | 2701840.91 | Rate excluding GST
168 | Compact arrangement of 3 Way RMU consist of 2 LBS+1VCB (without FRTU)+LT indoor Panel with Aluminium bus bar fixed with ACB rating 400 Amp. +Transformer of 200 kVA, 11/0.4 kV, Copper Wound Cast ONAN, losses as per latest amendment of IS :1180, LT Outgoing - 2 nos., MCCB rating - 200 Amp. |  | No. | 7131941011 | 2385698.53 | Rate excluding GST
169 | XLPE insulated PVC sheathed 4 core 300 Sq.mm. Armoured LT underground cable |  | Mtr. | 7130310091 | 1239.51 | Rate excluding GST
170 | Indoor, floor mounted 33 KV Transformer control switchboard comprising of 1 vertical panels which horizontal top bus bars of Al, rated for 800 A VCBs , in draw out executions. The VCB shall be rated for 36KV, 1600 A, 26kA. The panels shall be complete with all accessories, hardwares, heater etc. as required for completeness. Panel for controlling 5MVA power transformer with VCB, CTs, PTs,digital meters, Trivector Energy Meters, transformer protection relays, auxiliary relays etc. |  | Each | 7131960012 | 1721033.26 | Rate excluding GST
171 | Indoor, floor mounted 33 KV feeder control switchboard comprising of 1 vertical panels which horizontal top bus bars of Al, rated for 800 A VCBs , in draw out executions. The VCB shall be rated for 36KV, 1600 A, 26kA. The panels shall be complete with all accessories, hardwares, heater etc. as required for completeness. Panel for controlling outgoing/ Bus coupler with VCB, CTs, digital Ammeter/voltmeter/ Trivector Energy meter, O/C and E/F relay etc. The cable chamber shall have 3 nos., 20kV, 10 kA distribution class valve type lightning arresters. |  | Each | 7131960013 | 1721033.26 | Rate excluding GST
172 | Indoor, floor mounted 11KV Transformer control switchboard of 01vertical panel with horizontal top bus bars of Al rated for 800 A, VCBs and LBS, in draw out executions. The VCB shall be rated for 12KV, 18.4kA. The panels shall be complete with all accessories, hard wares, heater etc. as required for completeness. Panel for controlling incomer with VCB of 800 A ratings, CTs, PTs, digital Ammeter/ voltmeter/ Trivector Energy meter, O/C and E/F relay etc. |  | Each | 7131960014 | 1182257.4025 | Rate excluding GST
173 | Indoor, floor mounted 11KV feeder control switchboard of 01vertical panel with horizontal top bus bars of Al rated for 800 A, VCBs and LBS, in draw out executions. The VCB shall be rated for 12KV, 18.4kA. The panels shall be complete with all accessories, hard wares, heater etc. as required for completeness. Panel for controlling outgoing feeders with VCB of 400 A rating, CTs, digital meter, Trivector Energy Meters, O/C and E/F relay, auxiliary relays etc. |  | Each | 7131960015 | 1182257.4 | Rate excluding GST
174 | 11 kV Current Transformer Resin type, Ratio 200-100/5 Indoor Type |  | Each | 7132230001 | 67006.48 | Rate excluding GST
175 | 11 kV Current Transformer Resin type, Ratio 300-150/5 Indoor Type |  | Each | 7132230003 | 55527.95 | Rate excluding GST
176 | 11KV Potential Transformer Resin type, [Indoor Type] |  | Each | 7132230004 | 125922.46 | Rate excluding GST
177 |  | ABT Meter
| i | 3 Ø 4 Wire ABT meter | Each | 7131310048 | 286843.81
| ii | 3 Ø 3 Wire ABT meter | Each | 7131310049 | 286843.81
178 |  | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 300/5 A | Each | 7132230411 | 79399.73
179 |  | 33 kV + 11 kV Transformer Protection Panel (including Transformer auxiliary panel) | Each | 7131900015 | 55814
180 |  | Holographic Sticker Seal | Each | 7132444006 | 2.78
181 |  | G.l. Pipe 150 mm OD (Class B as per railway) | Per Mtr | 7130641035 | 1487.06
182 |  | HDPE pipe of size 160 mm OD/140 mm ID PN 10 PE 100 HDR | Per Mtr | 7132461804 | 1294.34
183 | Microprocessor based single phase fully automatic oil BDV Test Kit |  | No | 7131382840 | 250750 | NEW ITEM INTRODUCED
184 | Digital weighing Machine (Range 50 g to 500 kg) |  | No | 7131300014 | 20532 | NEW ITEM INTRODUCED
185 | Digital vernier calipers(0-200 mm Range,Accuracy 0.01 mm) |  | No | 7131300015 | 3315.8 | NEW ITEM INTRODUCED
186 | Digital Screw Gauge (0-25 mm Range,Accuracy 0.01 mm) |  | No | 7131300016 | 4576.04 | NEW ITEM INTRODUCED
187 | Measuring Tape (30 meter length) |  | No | 7131300017 | 290.28 | NEW ITEM INTRODUCED
188 | Laser Gun( Measure distance upto 125 meter and should be operational during day time also) |  | No | 7131300018 | 20414 | NEW ITEM INTRODUCED
189 | MCR panel for 33 KV O/D VCB Feeder protection |  | EA | 7131960101 | 205202 | NEW ITEM INTRODUCED
190 | MCR panel for feeder & Capacitor Bank protection 11 KV |  | EA | 7131960102 | 205202 | NEW ITEM INTRODUCED
191 | MCR panel for LV |  | EA | 7131960103 | 211574 | NEW ITEM INTRODUCED
192 | RTU base equipment comprising panels,racks, sub-racks, CPU, interfacing equipment, required converters & all other required items/accessories including complete wiring for all modules(with WAN router MPLS connection port & with dual SIM ports and HMI of Min 10 '' Size) |  | EA | 7131961532 | 430700 | NEW ITEM INTRODUCED
193 | LAN cable armoured CAT6 (SFTP) |  | Mtr | 7130310101 | 159.3 | NEW ITEM INTRODUCED
194 | GI Conduit flexible with PVC coating |  | Mtr | 7130640033 | 88.5 | NEW ITEM INTRODUCED
195 | 24 V DCPS with 8 Hrs back up (24 V DCPS to be provided for RTU and MCRP solutions with 3 years battery warranty) |  | EA | 7132468020 | 142190 | NEW ITEM INTRODUCED
196 | Cable 1.1 Kv 4C x 4 Sqmm Cu Unarmoured PVC |  | Mtr | 7130310105 | 312.7 | NEW ITEM INTRODUCED
197 | Control cable 1.1 KV Cu 4C x 2.5 Sqmm Armoured |  | Mtr | 7130310106 | 247.8 | NEW ITEM INTRODUCED
198 | Control cable 1.1 KV Cu 10C x 1.5 Sqmm Armoured PVC |  | Mtr | 7130310109 | 348.1 | NEW ITEM INTRODUCED
199 | 11 KV DO Fuse Element:-
| i | 1.5 Amp | No | 7131900501 | 25.96 | NEW ITEM INTRODUCED
| ii | 3 Amp | No | 7131900504 | 27.14 | NEW ITEM INTRODUCED
| iii | 5 Amp | No | 7131900505 | 28.32 | NEW ITEM INTRODUCED
| iv | 25 Amp | No | 7131900525 | 25.96 | NEW ITEM INTRODUCED
Note on F627: Barun Chakraborty: GST applicable separately.
Note on F630: Barun Chakraborty: GST applicable separately.
Note on F632: Barun Chakraborty: GST applicable separately.
Note on F633: Barun Chakraborty: GST applicable separately.
Note on F634: Barun Chakraborty: GST applicable separately.
Note on F660: Barun Chakraborty: GST applicable separately.
Note on F661: Barun Chakraborty: GST applicable separately.
Note on F663: Barun Chakraborty: GST applicable separately.
Note on F664: Barun Chakraborty: GST applicable separately.
Note on F668: Barun Chakraborty: GST applicable separately.
Note on F671: Barun Chakraborty: GST applicable separately.
Note on F672: Barun Chakraborty: GST applicable separately.
Note on F719: Barun Chakraborty: GST applicable separately.
Note on F722: Barun Chakraborty: GST applicable separately.