## D5_Final 19.01.17 (2)
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jan'16
Period: |  | 1st Dec'16 to 31th Dec'16
Number of Towns: |  | 20
Total nos. of Feeders: |  | 270
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1241 | 1 | 4560 | 2000003840
2 | BHATAPARA TOWN | 11KV Colony Feeder | 41 | 7 | 1680 | 2000004255
3 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 649 | 3 | 3000 | 2000006347
4 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1449 | 3 | 1140 | 2000006376
5 | BHATAPARA TOWN | Mayur School 11KV Feeder | 401 | 3 | 1140 | 2000006377
6 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 33 | 4 | 3120 | 2000006378
7 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 259 | 4 | 1860 | 2000001013
8 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3205 | 9 | 21060 | 2000001004
9 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 244 | 9 | 9300 | 2000001005
10 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 5 | 9 | 18600 | 2000001006
11 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1891 | 4 | 1800 | 2000001012
12 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1214 | 4 | 7140 | 2000001009
13 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 113 | 6 | 8220 | 2000001007
14 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 119 | 1 | 300 | 2000004903
15 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 601 | 1 | 300 | 2000004892
16 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 709 | 1 | 300 | 2000004908
17 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 354 | 14 | 20220 | 2000004923
18 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 167 | 18 | 86580 | 2000006348
19 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1857 | 22 | 53640 | 2000003196
20 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 6001 | 18 | 52740 | 2000003197
21 | DALLI RAJHARA TOWN | 11KV TOWN 2 FEEDER | 2206 | 21 | 44820 | 2000003198
22 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1081 | 1 | 540 | 2000001299
23 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 878 | 8 | 2580 | 2000017055
24 | DURG BHILAI CHARODA TOWN | 11KV Industrial-2 Feeder | 2 | 2 | 1200 | 2000017045
25 | DURG BHILAI CHARODA TOWN | 11KV Indurstrial-1 Feeder | 322 | 1 | 180 | 2000017044
26 | DURG BHILAI CHARODA TOWN | 11KV Smriti Nagar Feeder | 35 | 7 | 2280 | 2000017001
27 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 2636 | 11 | 13980 | 2000016998
28 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 225 | 8 | 4440 | 2000007783
29 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1838 | 1 | 300 | 2000007781
30 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 363 | 3 | 14340 | 2000007778
31 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1135 | 5 | 3180 | 2000007777
32 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 3425 | 4 | 4680 | 2000007772
33 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 916 | 9 | 6540 | 2000007771
34 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 2030 | 2 | 3180 | 2000007770
35 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2839 | 1 | 2940 | 2000007769
36 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 3253 | 2 | 660 | 2000007686
37 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1040 | 3 | 22140 | 2000007689
38 | DURG BHILAI CHARODA TOWN | 11KV BAJRANG PARA FEEDER | 2258 | 1 | 1020 | 2000007692
39 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 3479 | 4 | 1680 | 2000007694
40 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2607 | 8 | 1740 | 2000007698
41 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-2 FEEDER | 1949 | 2 | 420 | 2000007699
42 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2079 | 2 | 16560 | 2000007705
43 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 930 | 10 | 13320 | 2000007708
44 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1500 | 5 | 8880 | 2000007709
45 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2497 | 2 | 1500 | 2000007711
46 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 443 | 2 | 600 | 2000007712
47 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 791 | 8 | 8460 | 2000007713
48 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-1 FEEDER | 1508 | 1 | 840 | 2000007714
49 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-3 FEEDER | 696 | 3 | 1620 | 2000007716
50 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL-4 FEEDER | 656 | 1 | 900 | 2000007717
51 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1435 | 8 | 21360 | 2000007718
52 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1799 | 4 | 12960 | 2000007719
53 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 871 | 2 | 22320 | 2000007720
54 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1097 | 1 | 3420 | 2000007768
55 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 532 | 1 | 3540 | 2000007767
56 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 188 | 1 | 8640 | 2000007766
57 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 150 | 1 | 3120 | 2000007765
58 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 276 | 1 | 4440 | 2000007764
59 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 167 | 10 | 2520 | 2000007763
60 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1431 | 1 | 360 | 2000007762
61 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 3660 | 3 | 7800 | 2000007761
62 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2137 | 2 | 3720 | 2000007757
63 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2532 | 12 | 44760 | 2000007756
64 | DURG BHILAI CHARODA TOWN | 11KV SAF FEEDER | 57 | 9 | 7980 | 2000007755
65 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 2989 | 1 | 2940 | 2000007752
66 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 389 | 1 | 240 | 2000007749
67 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1024 | 6 | 6180 | 2000007748
68 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1152 | 15 | 24360 | 2000007743
69 | DURG BHILAI CHARODA TOWN | 11KV KALI BADI FEEDER | 2620 | 2 | 3180 | 2000007726
70 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 1829 | 2 | 180 | 2000007729
71 | DURG BHILAI CHARODA TOWN | 11KV AYYAPPA NAGAR FEEDER | 302 | 4 | 10320 | 2000007730
72 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 604 | 3 | 1980 | 2000007734
73 | DURG BHILAI CHARODA TOWN | 11KV MANSAROVAR FEEDER | 489 | 5 | 14580 | 2000007735
74 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1250 | 4 | 1860 | 2000007738
75 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 4371 | 9 | 9600 | 2000007742
76 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1303 | 1 | 360 | 2000023773
77 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 268 | 1 | 1020 | 2000018704
78 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 3 | 1 | 180 | 2000017071
79 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 321 | 2 | 420 | 2000017069
80 | DURG BHILAI CHARODA TOWN | 11KV Potiya Feeder | 2959 | 1 | 180 | 2000017068
81 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1000 | 6 | 22200 | 2000017066
82 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 326 | 1 | 180 | 2000017065
83 | DURG BHILAI CHARODA TOWN | 11KV Sunder Nagar Feeder | 1658 | 4 | 1680 | 2000017063
84 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 646 | 3 | 1080 | 2000017062
85 | KANKER TOWN | 11KV GOVINDPUR FEEDER | 1840 | 3 | 720 | 2000002906
86 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 46 | 59400 | 2000002907
87 | KANKER TOWN | 11KV PATOD FEEDER | 29 | 122 | 73560 | 2000002909
88 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2728 | 11 | 5820 | 2000002910
89 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 689 | 5 | 2280 | 2000015850
90 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1153 | 14 | 24180 | 2000006798
91 | KORBA TOWN | 11KV RAMPUR FEEDER | 899 | 15 | 29220 | 2000006791
92 | KORBA TOWN | 11KV PATRAKAR FEEDER | 539 | 14 | 13320 | 2000006790
93 | KORBA TOWN | 11KV PARSABADA FEEDER | 1399 | 19 | 86100 | 2000006789
94 | KORBA TOWN | 11KV P.H ROADFEEDER | 931 | 15 | 8520 | 2000006785
95 | KORBA TOWN | 11KV NIHARIKA FEEDER | 679 | 15 | 13020 | 2000006784
96 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1344 | 19 | 13740 | 2000006783
97 | KORBA TOWN | 11KV KOSABADI FEEDER | 1026 | 16 | 24600 | 2000006780
98 | KORBA TOWN | 11KV POWER CITY FEEDER | 1527 | 14 | 40020 | 2000006788
99 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1249 | 3 | 9060 | 2000006786
100 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2845 | 21 | 32580 | 2000006778
101 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 249 | 21 | 34080 | 2000006776
102 | KORBA TOWN | 11KV Town-1 Feeder | 725 | 4 | 6840 | 2000015220
103 | KORBA TOWN | 11 KV Rss Nagar Feeder | 1892 | 20 | 23220 | 2000016201
104 | KORBA TOWN | 11KV RP Nagar Feeder | 816 | 12 | 8100 | 2000016912
105 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 815 | 3 | 9060 | 2000006773
106 | KORBA TOWN | 11KV DUMARDIH FEEDER | 17 | 26 | 69540 | 2000006770
107 | KORBA TOWN | 11KV DEFR FEEDER | 1706 | 14 | 195120 | 2000006769
108 | KORBA TOWN | 11KV DADAR FEEDER | 543 | 24 | 78720 | 2000006768
109 | KORBA TOWN | 11KV DARRI FEEDER | 707 | 15 | 56280 | 2000006767
110 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 188 | 22 | 79380 | 2000006762
111 | KORBA TOWN | 11KV ABC FEEDER | 1507 | 6 | 10140 | 2000006759
112 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 268 | 5 | 6900 | 2000010605
113 | RAIPUR TOWN | 11KV ATARI FEEDER | 103 | 7 | 3420 | 2000010604
114 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 934 | 10 | 87420 | 2000010603
115 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 746 | 17 | 14340 | 2000010601
116 | RAIPUR TOWN | 11KV AAMAPARA FEEDER | 583 | 1 | 180 | 2000010599
117 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 112 | 1 | 60 | 2000010598
118 | RAIPUR TOWN | 11KV A.G.AUDIT(RURAL) FEEDER | 1 | 7 | 4440 | 2000010597
119 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 27 | 6 | 2640 | 2000010596
120 | RAIPUR TOWN | 11KV MLA FEEDER | 1027 | 2 | 720 | 2000010595
121 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 256 | 18 | 23460 | 2000010592
122 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 252 | 8 | 21480 | 2000010591
123 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 613 | 6 | 14040 | 2000010589
124 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 851 | 8 | 14760 | 2000010588
125 | RAIPUR TOWN | 11KV CITY FEEDER | 1610 | 10 | 42600 | 2000010587
126 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 319 | 25 | 16020 | 2000010585
127 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 548 | 13 | 51660 | 2000010583
128 | RAIPUR TOWN | 11KV KAPDA MARKET FEEDER | 1151 | 5 | 1860 | 2000010655
129 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3005 | 8 | 4020 | 2000010724
130 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2390 | 4 | 2160 | 2000010723
131 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 719 | 9 | 18000 | 2000010606
132 | RAIPUR TOWN | 11KV BANJARI FEEDER | 904 | 1 | 1200 | 2000010608
133 | RAIPUR TOWN | 11KV BASTAL FEEDER | 928 | 15 | 187020 | 2000010610
134 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1893 | 3 | 840 | 2000010611
135 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 804 | 5 | 5700 | 2000010613
136 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1122 | 2 | 840 | 2000010614
137 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 59 | 5 | 840 | 2000010615
138 | RAIPUR TOWN | 11KV COLONY FEEDER | 109 | 1 | 0 | 2000010616
139 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1687 | 1 | 1200 | 2000010618
140 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 FEEDER | 1861 | 2 | 360 | 2000010621
141 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1717 | 4 | 3240 | 2000010622
142 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 662 | 5 | 3120 | 2000010624
143 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 110 | 2 | 2520 | 2000010625
144 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2097 | 6 | 1920 | 2000010628
145 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1460 | 5 | 7020 | 2000010630
146 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2001 | 4 | 1380 | 2000010631
147 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1441 | 4 | 1380 | 2000010632
148 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1283 | 7 | 2220 | 2000010634
149 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 560 | 7 | 2580 | 2000010638
150 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 302 | 11 | 102180 | 2000010641
151 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2770 | 5 | 2820 | 2000010722
152 | RAIPUR TOWN | 11KV RDA FEEDER | 21 | 2 | 240 | 2000010689
153 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 256 | 2 | 31800 | 2000010688
154 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 306 | 6 | 4500 | 2000010686
155 | RAIPUR TOWN | 11KV PHASE -4 FEEDER | 362 | 7 | 5460 | 2000010682
156 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1979 | 3 | 540 | 2000010680
157 | RAIPUR TOWN | 11KV NAGORA FEEDER | 1036 | 1 | 3300 | 2000010678
158 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 4 | 10 | 195840 | 2000010676
159 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 3977 | 6 | 1920 | 2000010675
160 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3570 | 18 | 7860 | 2000010674
161 | RAIPUR TOWN | 11KV MOVA FEEDER | 671 | 1 | 4320 | 2000010673
162 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1115 | 5 | 3360 | 2000010672
163 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 870 | 4 | 3480 | 2000010671
164 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 474 | 5 | 3060 | 2000010670
165 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 1425 | 6 | 4080 | 2000010666
166 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1546 | 2 | 1200 | 2000010661
167 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 535 | 6 | 1380 | 2000010660
168 | RAIPUR TOWN | 11KV CITY KOTWALI FEEDER | 428 | 3 | 780 | 2000010658
169 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 444 | 3 | 780 | 2000010657
170 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1645 | 4 | 1440 | 2000010656
171 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 312 | 2 | 2100 | 2000010690
172 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 12 | 4 | 14220 | 2000010694
173 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1561 | 11 | 8940 | 2000010695
174 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1787 | 11 | 104520 | 2000010696
175 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1196 | 5 | 4080 | 2000010699
176 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2509 | 6 | 2460 | 2000010700
177 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 649 | 3 | 1860 | 2000010701
178 | RAIPUR TOWN | 11KV RULAR FEEDER | 164 | 6 | 5520 | 2000010703
179 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2095 | 18 | 20940 | 2000010705
180 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 332 | 2 | 360 | 2000010706
181 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 460 | 2 | 23100 | 2000010707
182 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2443 | 6 | 8220 | 2000010709
183 | RAIPUR TOWN | 11KV SAKRI(RURAL)FEEDER | 18 | 15 | 6660 | 2000010710
184 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 3626 | 4 | 2340 | 2000010711
185 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 213 | 13 | 14460 | 2000010713
186 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 772 | 6 | 24480 | 2000010714
187 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 2182 | 15 | 9660 | 2000010716
188 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1046 | 5 | 1320 | 2000010717
189 | RAIPUR TOWN | 11KV SARORA FEEDER | 2187 | 9 | 3000 | 2000010720
190 | RAIPUR TOWN | 11Kv Professor Colony feeder | 867 | 5 | 1680 | 2000019530
191 | RAIPUR TOWN | 11KV Ashiyana Feeder | 595 | 5 | 6960 | 2000019697
192 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 11 | 10 | 8160 | 2000019852
193 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1812 | 4 | 7020 | 2000020009
194 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2364 | 6 | 6660 | 2000020119
195 | RAIPUR TOWN | 11KV Station Road Feeder | 301 | 6 | 23700 | 2000020130
196 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 96 | 5 | 2340 | 2000020131
197 | RAIPUR TOWN | 11KV Medishine Feeder | 907 | 2 | 720 | 2000020194
198 | RAIPUR TOWN | 11KV Vrindavan Gardan Feeder | 354 | 7 | 2400 | 2000021286
199 | RAIPUR TOWN | 11KV Sciene Center Feeder | 948 | 7 | 2460 | 2000021287
200 | RAIPUR TOWN | 11KV SBI FEEDER | 553 | 10 | 89160 | 2000023790
201 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 10 | 5 | 3120 | 2000010738
202 | RAIPUR TOWN | 11KV VISHAL NAGAR FEEDER | 462 | 5 | 6960 | 2000010739
203 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 1412 | 1 | 60 | 2000010740
204 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1778 | 14 | 1800 | 2000010741
205 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 49 | 8 | 5160 | 2000010742
206 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 35 | 8 | 3660 | 2000010743
207 | RAIPUR TOWN | 11KV WALLFORT III FEEDER | 1365 | 5 | 1020 | 2000010744
208 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2050 | 1 | 300 | 2000010735
209 | RAIPUR TOWN | 11KV UPAJ MANDI FOKATPARA FEEDER | 225 | 6 | 2460 | 2000010732
210 | RAIPUR TOWN | 11KV TV FEEDER | 2797 | 21 | 6600 | 2000010728
211 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 1377 | 12 | 7680 | 2000017238
212 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 1266 | 4 | 14220 | 2000017256
213 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 1858 | 8 | 4320 | 2000017261
214 | RAIPUR TOWN | 11KV Dindayal New Feeder | 284 | 6 | 9300 | 2000017508
215 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 502 | 6 | 5760 | 2000017671
216 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 269 | 6 | 1860 | 2000017624
217 | RAIPUR TOWN | 11KV Chandadih Feeder | 94 | 2 | 900 | 2000017623
218 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1539 | 13 | 2520 | 2000017621
219 | RAIPUR TOWN | 11KV Rajiv Nagar Feeder | 3 | 16 | 3780 | 2000017617
220 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 55 | 2 | 960 | 2000017613
221 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1423 | 8 | 185280 | 2000017611
222 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 797 | 7 | 4920 | 2000017608
223 | RAIPUR TOWN | 11KV Medical College Feeder | 4 | 13 | 9840 | 2000017607
224 | RAIPUR TOWN | 11 KV Jainam Vihar Feeder | 2379 | 14 | 5640 | 2000017602
225 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2166 | 4 | 3720 | 2000017567
226 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 876 | 5 | 1380 | 2000017576
227 | RAIPUR TOWN | 11 KV Arjun Nagar Feeder | 1256 | 4 | 23040 | 2000017597
228 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1780 | 4 | 1140 | 2000017600
229 | RAIPUR TOWN | 11KV SapreSala Feeder | 906 | 4 | 22680 | 2000019485
230 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 700 | 16 | 14040 | 2000010642
231 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1065 | 8 | 1440 | 2000010643
232 | RAIPUR TOWN | 11KV KACHNA FEEDER | 170 | 1 | 2880 | 2000010646
233 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 8 | 8 | 2820 | 2000010647
234 | RAIPUR TOWN | 11KV KHARUN FEEDER | 467 | 7 | 2400 | 2000010649
235 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 2270 | 5 | 1380 | 2000010650
236 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 1361 | 1 | 240 | 2000010651
237 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 912 | 5 | 1860 | 2000010725
238 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 46 | 6 | 5760 | 2000017673
239 | RAIPUR TOWN | 11KV Suraj Nagar | 645 | 3 | 1380 | 2000017690
240 | RAIPUR TOWN | 11KV Roman Square | 113 | 10 | 3480 | 2000017691
241 | RAIPUR TOWN | 11KV Krishak Nagar | 116 | 3 | 1380 | 2000017692
242 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 824 | 16 | 20280 | 2000017771
243 | RAIPUR TOWN | 11Kv KaranNagar feeder | 1238 | 6 | 1920 | 2000017808
244 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 28 | 6 | 5040 | 2000017817
245 | RAIPUR TOWN | 11KV Jaistamb Feeder | 825 | 4 | 600 | 2000017819
246 | RAIPUR TOWN | 11 KV Station Road Feeder | 372 | 5 | 93660 | 2000017867
247 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 181 | 1 | 360 | 2000017869
248 | RAIPUR TOWN | 11 KV Sharda Chowk Feeder | 2197 | 10 | 25260 | 2000017953
249 | RAIPUR TOWN | 11KV CTI FEEDER | 7 | 8 | 21180 | 2000019342
250 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 240 | 18 | 2220 | 2000019340
251 | RAIPUR TOWN | 11KV Spare 1 Feeder | 241 | 1 | 1560 | 2000019333
252 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1728 | 5 | 1380 | 2000019186
253 | RAIPUR TOWN | 11KV Jivnani Feeder | 329 | 3 | 1140 | 2000019185
254 | RAIPUR TOWN | 11KV Lakdi Mill Feeder | 197 | 12 | 10560 | 2000019181
255 | RAIPUR TOWN | 11KV Gondwara Feeder | 328 | 21 | 78180 | 2000019179
256 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 1912 | 5 | 1860 | 2000018949
257 | RAIPUR TOWN | 11KV HOSPITAL FEEDER | 335 | 1 | 600 | 2000018416
258 | RAIPUR TOWN | 11KV EAC COLONY FEEDER | 109 | 12 | 89520 | 2000018398
259 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 505 | 9 | 34200 | 2000018396
260 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 620 | 13 | 2460 | 2000018394
261 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 8 | 1 | 600 | 2000018359
262 | RAIPUR TOWN | 11KV Krishi Upaj Mandi Feeder | 560 | 8 | 1080 | 2000018020
263 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 637 | 2 | 360 | 2000018006
264 | RAIPUR TOWN | 11KV Mathpara Feeder | 261 | 2 | 360 | 2000018005
265 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 255 | 2 | 360 | 2000018004
266 | RAIPUR TOWN | 11KV Son Dongari Feeder | 779 | 8 | 5820 | 2000017962
267 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 1745 | 8 | 39660 | 2000017954
268 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 1882 | 1 | 1680 | 2000001979
269 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 192 | 2 | 1200 | 2000001973
270 | RAJNANDGAON TOWN | 11 KV KANHARPURI FEEDER | 126 | 6 | 53460 | 2000001969