## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jan'21
Period: |  | 1st Dec'20 to 31st Dec'20
Number of Towns: |  | 632
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1347 | 44 | 31080 | 2000071572
2 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2542 | 41 | 27720 | 2000071573
3 | AMBIKAPUR TOWN | 11KV DCROAD | 2048 | 11 | 8280 | 2000014951
4 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 343 | 9 | 7620 | 2000014952
5 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 2951 | 20 | 35820 | 2000003855
6 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 2331 | 15 | 18480 | 2000003854
7 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1692 | 11 | 28740 | 2000003853
8 | AMBIKAPUR TOWN | 11KV SONPUR | 1354 | 9 | 7620 | 2000014954
9 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2264 | 5 | 6060 | 2000003852
10 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 676 | 6 | 9120 | 2000076563
11 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1053 | 16 | 23640 | 2000076479
12 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 1265 | 12 | 11460 | 2000076478
13 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1604 | 10 | 7620 | 2000003851
14 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1010 | 24 | 25260 | 2000003850
15 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2733 | 22 | 31920 | 2000003849
16 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 805 | 6 | 6240 | 2000003848
17 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 454 | 15 | 12540 | 2000003847
18 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 2045 | 8 | 10020 | 2000003846
19 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1282 | 12 | 9660 | 2000003845
20 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 21 | 17 | 25500 | 2000014957
21 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 660 | 12 | 13860 | 2000014959
22 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2916 | 19 | 35400 | 2000014963
23 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 2010 | 15 | 16680 | 2000003840
24 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 300 | 8 | 11640 | 2000003841
25 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 45 | 41 | 30420 | 2000071574
26 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1480 | 12 | 221820 | 2000003842
27 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 514 | 5 | 6060 | 2000003844
28 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1718 | 9 | 24420 | 2000003843
29 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 356 | 9 | 36420 | 2000001005
30 | BHATAPARA TOWN | 11KV BHANDHA (RURAL) FEEDER | 1489 | 68 | 69480 | 2000001010
31 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 753 | 10 | 41220 | 2000006347
32 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 602 | 9 | 12600 | 2000004867
33 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2151 | 5 | 21840 | 2000004868
34 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2101 | 3 | 1560 | 2000004869
35 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 657 | 3 | 20340 | 2000004870
36 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1730 | 6 | 10140 | 2000004871
37 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2679 | 3 | 2280 | 2000004873
38 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1385 | 4 | 6360 | 2000004874
39 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 878 | 3 | 6720 | 2000004876
40 | BILASPUR TOWN | 11KV DHEKA FEEDER | 356 | 18 | 42240 | 2000004877
41 | BILASPUR TOWN | 11KV DHUMA FEEDER | 983 | 7 | 15540 | 2000004878
42 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 604 | 24 | 52680 | 2000004879
43 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1253 | 11 | 19620 | 2000004881
44 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2468 | 2 | 1920 | 2000004882
45 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1209 | 7 | 14820 | 2000004883
46 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1835 | 10 | 8220 | 2000004884
47 | BILASPUR TOWN | 11KV HARDIFEEDER | 1250 | 8 | 15900 | 2000004885
48 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1077 | 13 | 10440 | 2000004886
49 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1970 | 4 | 3000 | 2000004888
50 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2412 | 9 | 15720 | 2000004889
51 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 143 | 3 | 1620 | 2000004890
52 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1248 | 16 | 21540 | 2000004891
53 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 713 | 3 | 4560 | 2000004892
54 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 735 | 10 | 6780 | 2000004893
55 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1653 | 6 | 10080 | 2000004896
56 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 574 | 18 | 16020 | 2000004897
57 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1314 | 8 | 15960 | 2000004898
58 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1498 | 21 | 22980 | 2000004899
59 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1276 | 14 | 40140 | 2000004900
60 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2821 | 4 | 10200 | 2000004901
61 | BILASPUR TOWN | 11KV MANGLA FEEDER | 2486 | 8 | 13920 | 2000004902
62 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 174 | 3 | 7320 | 2000004903
63 | BILASPUR TOWN | 11KV MOPKA FEEDER | 1835 | 1 | 360 | 2000004904
64 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 3015 | 4 | 6360 | 2000004905
65 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3076 | 3 | 1560 | 2000004906
66 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2092 | 17 | 22560 | 2000004907
67 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 840 | 4 | 4560 | 2000004908
68 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4877 | 10 | 18960 | 2000004909
69 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2708 | 2 | 1920 | 2000004910
70 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1467 | 16 | 22380 | 2000004911
71 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2015 | 6 | 19620 | 2000004912
72 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1915 | 24 | 18240 | 2000004913
73 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2566 | 13 | 10500 | 2000004914
74 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 271 | 2 | 1920 | 2000004915
75 | BILASPUR TOWN | 11KV RULER FEEDER | 1998 | 2 | 1920 | 2000004916
76 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2589 | 2 | 1320 | 2000004917
77 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2489 | 13 | 10500 | 2000004919
78 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3060 | 4 | 7020 | 2000004920
79 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 580 | 13 | 10680 | 2000004921
80 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1976 | 4 | 3060 | 2000004922
81 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 798 | 8 | 13920 | 2000004923
82 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 430 | 8 | 13800 | 2000004924
83 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1863 | 9 | 12780 | 2000004925
84 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1208 | 6 | 13980 | 2000004926
85 | BILASPUR TOWN | 11KV KONI FEEDER | 884 | 24 | 32280 | 2000006494
86 | BILASPUR TOWN | 11KV TV FEEDER | 2418 | 7 | 6660 | 2000016309
87 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1209 | 2 | 144720 | 2000016310
88 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 107 | 8 | 8400 | 2000016311
89 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 734 | 5 | 3000 | 2000016312
90 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1425 | 5 | 3000 | 2000016314
91 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 233 | 15 | 14700 | 2000016315
92 | BILASPUR TOWN | 11KV NEW MOPKA | 1411 | 4 | 5220 | 2000017224
93 | BILASPUR TOWN | 11KV SHIVAM CITY | 1989 | 4 | 11940 | 2000017225
94 | BILASPUR TOWN | 11KV MAHAVEER CITY | 392 | 2 | 4020 | 2000017226
95 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 7 | 5760 | 2000017502
96 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 266 | 11 | 15720 | 2000017504
97 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2329 | 13 | 17880 | 2000017505
98 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1055 | 12 | 16080 | 2000017776
99 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 129 | 14 | 17400 | 2000017777
100 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 258 | 12 | 10380 | 2000017778
101 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 5 | 3000 | 2000017780
102 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 387 | 4 | 1620 | 2000017781
103 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1596 | 10 | 9420 | 2000018403
104 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1352 | 9 | 14700 | 2000018404
105 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1541 | 14 | 256860 | 2000018405
106 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 871 | 10 | 10680 | 2000018761
107 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1921 | 12 | 19140 | 2000018762
108 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 496 | 10 | 16140 | 2000018763
109 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 392 | 3 | 3180 | 2000020488
110 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1116 | 3 | 3120 | 2000020489
111 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1290 | 5 | 4800 | 2000020490
112 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1718 | 12 | 8820 | 2000020582
113 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1205 | 6 | 7020 | 2000020583
114 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 252 | 7 | 6840 | 2000020584
115 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 305 | 9 | 12660 | 2000022056
116 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1522 | 8 | 15960 | 2000022059
117 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 2117 | 9 | 12960 | 2000022060
118 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1492 | 7 | 12660 | 2000022061
119 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 230 | 1 | 300 | 2000022075
120 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 2004 | 5 | 2520 | 2000023801
121 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1286 | 9 | 14520 | 2000023802
122 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1046 | 5 | 2580 | 2000023803
123 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 352 | 6 | 13200 | 2000024037
124 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 546 | 4 | 4260 | 2000024038
125 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2478 | 5 | 5880 | 2000024039
126 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1206 | 3 | 6720 | 2000027413
127 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 41 | 5 | 11400 | 2000076558
128 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 28 | 5 | 11340 | 2000076559
129 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 87 | 5 | 11460 | 2000076560
130 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 628 | 7 | 6780 | 2000076887
131 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 2 | 8 | 15840 | 2000077336
132 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1238 | 2 | 1920 | 2000077337
133 | BILASPUR TOWN | 11KV Maa Harshiddhi Feeder | 64 | 9 | 12840 | 2000077612
134 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 724 | 39 | 16260 | 2000001814
135 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 3415 | 23 | 21060 | 2000001812
136 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2322 | 13 | 9180 | 2000001809
137 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2387 | 44 | 49320 | 2000001808
138 | CHAMPA TOWN | 11KV KURDAFEEDER | 1649 | 37 | 42720 | 2000001807
139 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 541 | 21 | 15720 | 2000001806
140 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 393 | 56 | 68940 | 2000001804
141 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 132 | 19 | 48720 | 2000015492
142 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 1054 | 14 | 12000 | 2000015251
143 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 543 | 7 | 7140 | 2000015252
144 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4454 | 26 | 40320 | 2000003144
145 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 380 | 9 | 4320 | 2000003193
146 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1682 | 9 | 4380 | 2000003194
147 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1305 | 8 | 4020 | 2000003195
148 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2432 | 3 | 3420 | 2000003196
149 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 6783 | 18 | 14760 | 2000003197
150 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 288 | 25 | 15480 | 2000006348
151 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 402 | 6 | 19200 | 2000004308
152 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 544 | 2 | 2580 | 2000015505
153 | DHAMTARI TOWN | 11KV CHITOD1 | 4828 | 11 | 15540 | 2000004307
154 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 41 | 7 | 23220 | 2000002566
155 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 14 | 10680 | 2000002567
156 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1607 | 2 | 2580 | 2000002569
157 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4415 | 1 | 480 | 2000002570
158 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2093 | 2 | 660 | 2000002571
159 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 979 | 7 | 5640 | 2000002572
160 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 107 | 1 | 480 | 2000002573
161 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1375 | 4 | 2040 | 2000002574
162 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 990 | 17 | 11880 | 2000002575
163 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1307 | 5 | 4380 | 2000002576
164 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 7 | 4320 | 2000002577
165 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3846 | 9 | 7800 | 2000002578
166 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2928 | 4 | 2100 | 2000002579
167 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 4122 | 7 | 6480 | 2000001301
168 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1935 | 10 | 14040 | 2000007686
169 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1729 | 9 | 10500 | 2000007687
170 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 121 | 36 | 707400 | 2000007688
171 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4399 | 3 | 13800 | 2000007696
172 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1104 | 14 | 20520 | 2000007702
173 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1164 | 11 | 19920 | 2000007703
174 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 3077 | 1 | 120 | 2000007705
175 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1711 | 1 | 180 | 2000007707
176 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1405 | 18 | 13500 | 2000007715
177 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 2420 | 6 | 1560 | 2000007718
178 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1461 | 3 | 2460 | 2000007721
179 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2211 | 5 | 7500 | 2000007723
180 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1561 | 21 | 8220 | 2000007724
181 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1746 | 2 | 2460 | 2000007725
182 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2339 | 3 | 180 | 2000007726
183 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 750 | 2 | 1740 | 2000007729
184 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 742 | 5 | 14520 | 2000007733
185 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 771 | 3 | 1260 | 2000007735
186 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1632 | 8 | 13980 | 2000007737
187 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2479 | 6 | 4800 | 2000007742
188 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 1389 | 16 | 16380 | 2000007744
189 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 727 | 2 | 240 | 2000007747
190 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1318 | 7 | 2220 | 2000007750
191 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1982 | 1 | 1380 | 2000007754
192 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1359 | 10 | 1920 | 2000007756
193 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2257 | 1 | 540 | 2000007757
194 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2264 | 18 | 7020 | 2000007758
195 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1024 | 3 | 4560 | 2000007761
196 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1054 | 2 | 1140 | 2000007762
197 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 574 | 2 | 1140 | 2000007769
198 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 4140 | 18 | 14400 | 2000007772
199 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1968 | 12 | 7260 | 2000007773
200 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 2317 | 8 | 1740 | 2000007774
201 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1253 | 8 | 2340 | 2000007775
202 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1232 | 1 | 480 | 2000007776
203 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1164 | 16 | 7080 | 2000007779
204 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7611 | 10 | 5160 | 2000016889
205 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2380 | 6 | 2940 | 2000017000
206 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2551 | 6 | 685860 | 2000017052
207 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1319 | 3 | 2160 | 2000017054
208 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1186 | 6 | 12540 | 2000017055
209 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 958 | 4 | 7080 | 2000017056
210 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 855 | 5 | 7440 | 2000017057
211 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 933 | 4 | 3720 | 2000017058
212 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2193 | 1 | 360 | 2000017059
213 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 447 | 1 | 480 | 2000017060
214 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1897 | 2 | 2280 | 2000017061
215 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 592 | 1 | 5460 | 2000017062
216 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 752 | 1 | 1440 | 2000017063
217 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1538 | 2 | 1560 | 2000017064
218 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1474 | 3 | 1500 | 2000017065
219 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1184 | 1 | 1260 | 2000017066
220 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 572 | 1 | 480 | 2000017067
221 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1257 | 2 | 9600 | 2000017068
222 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 960 | 3 | 1440 | 2000017069
223 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2107 | 3 | 1440 | 2000017071
224 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 268 | 3 | 4980 | 2000017072
225 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 511 | 8 | 2040 | 2000017080
226 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 6 | 4920 | 2000018704
227 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1403 | 6 | 6120 | 2000018705
228 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1887 | 3 | 6360 | 2000018706
229 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2964 | 9 | 7320 | 2000018723
230 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 669 | 1 | 480 | 2000019819
231 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 528 | 43 | 49500 | 2000019876
232 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1099 | 8 | 13560 | 2000020519
233 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3184 | 9 | 6000 | 2000021263
234 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1330 | 10 | 6600 | 2000021264
235 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1165 | 2 | 840 | 2000021357
236 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3107 | 3 | 1320 | 2000023773
237 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 362 | 4 | 1320 | 2000025794
238 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1998 | 5 | 6600 | 2000029190
239 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1426 | 5 | 6660 | 2000029191
240 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 874 | 5 | 6660 | 2000029192
241 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1680 | 5 | 2700 | 2000029193
242 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1727 | 3 | 1380 | 2000049757
243 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 2042 | 1 | 20040 | 2000067876
244 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2370 | 1 | 20040 | 2000067877
245 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2176 | 1 | 20040 | 2000067878
246 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 16 | 1 | 840 | 2000068108
247 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 53 | 1 | 900 | 2000068109
248 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 18 | 1 | 840 | 2000068110
249 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1673 | 5 | 1800 | 2000075513
250 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 130 | 2 | 1560 | 2000075565
251 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 794 | 9 | 12480 | 2000075566
252 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1486 | 6 | 2520 | 2000075806
253 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1275 | 11 | 8700 | 2000075812
254 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 361 | 7 | 1500 | 2000075949
255 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2568 | 18 | 7260 | 2000075970
256 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1200 | 1 | 20040 | 2000075971
257 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 551 | 17 | 29040 | 2000076270
258 | DURG BHILAI CHARODA TOWN | 11 KV Bhim Nagar Feeder | 1437 | 6 | 14040 | 2000078040
259 | JAGDALPUR TOWN | 11KV Vargish Feeder | 842 | 4 | 14100 | 2000023847
260 | JAGDALPUR TOWN | 11KV Green City Feeder | 515 | 5 | 4860 | 2000075215
261 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2091 | 5 | 4740 | 2000075216
262 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1947 | 14 | 17940 | 2000004341
263 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2127 | 11 | 20160 | 2000004340
264 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2440 | 17 | 45540 | 2000004339
265 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 380 | 6 | 8820 | 2000075799
266 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3629 | 13 | 16860 | 2000004338
267 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1813 | 10 | 19620 | 2000004337
268 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1421 | 7 | 16200 | 2000004349
269 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 185 | 11 | 12000 | 2000004347
270 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1553 | 13 | 12240 | 2000004335
271 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 951 | 11 | 11760 | 2000004334
272 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 290 | 6 | 5340 | 2000004333
273 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1249 | 5 | 4920 | 2000004332
274 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2098 | 8 | 12000 | 2000004330
275 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 333 | 6 | 6000 | 2000004329
276 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1868 | 13 | 22980 | 2000004342
277 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 2026 | 14 | 18420 | 2000004344
278 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1802 | 5 | 23280 | 2000015850
279 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 398 | 2 | 1020 | 2000075551
280 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2088 | 2 | 1020 | 2000075552
281 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1921 | 2 | 1020 | 2000075553
282 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1970 | 6 | 4440 | 2000001055
283 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3334 | 6 | 8700 | 2000001054
284 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 1696 | 3 | 2280 | 2000001047
285 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1855 | 2 | 1800 | 2000001048
286 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 3416 | 3 | 2700 | 2000001051
287 | KAWARDHA TOWN | 11KV VIP FEEDER | 361 | 6 | 91800 | 2000001052
288 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1756 | 4 | 5460 | 2000077495
289 | KORBA TOWN | 11KV RURAL FEEDER | 1607 | 3 | 6780 | 2000006792
290 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 8 | 15840 | 2000006490
291 | KORBA TOWN | 11KV ABC FEEDER | 1366 | 3 | 4980 | 2000006759
292 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3669 | 30 | 42300 | 2000006761
293 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1109 | 9 | 44820 | 2000006763
294 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 999 | 19 | 24540 | 2000006764
295 | KORBA TOWN | 11KV DARRI FEEDER | 1312 | 3 | 4980 | 2000006767
296 | KORBA TOWN | 11KV DADAR FEEDER | 745 | 7 | 45300 | 2000006768
297 | KORBA TOWN | 11KV DEFR FEEDER | 1674 | 3 | 4980 | 2000006769
298 | KORBA TOWN | 11KV DUMARDIHFEEDER | 24 | 18 | 67440 | 2000006770
299 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 718 | 12 | 13680 | 2000006771
300 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 831 | 16 | 18900 | 2000006773
301 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 920 | 20 | 217800 | 2000006775
302 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 266 | 22 | 35640 | 2000006776
303 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 225 | 14 | 16920 | 2000006778
304 | KORBA TOWN | 11KV KOSABADI FEEDER | 1343 | 8 | 27420 | 2000006780
305 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1254 | 12 | 18420 | 2000006782
306 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1520 | 3 | 4680 | 2000006783
307 | KORBA TOWN | 11KV NIHARIKA FEEDER | 703 | 11 | 14160 | 2000006784
308 | KORBA TOWN | 11KV P.HROAD FEEDER | 1387 | 16 | 16980 | 2000006785
309 | KORBA TOWN | 11KV RAMPUR FEEDER | 813 | 8 | 27540 | 2000006791
310 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 647 | 20 | 23700 | 2000006790
311 | KORBA TOWN | 11KV PARSABADA FEEDER | 938 | 12 | 22080 | 2000006789
312 | KORBA TOWN | 11KV POWERCITY FEEDER | 630 | 3 | 4920 | 2000006788
313 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1215 | 12 | 18120 | 2000006787
314 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 87 | 19 | 68640 | 2000075849
315 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1053 | 53 | 68940 | 2000006794
316 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2362 | 5 | 5760 | 2000006795
317 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 941 | 5 | 5880 | 2000006796
318 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 66 | 8 | 27480 | 2000006797
319 | KORBA TOWN | 11KV SEMIPALI | 447 | 9 | 8820 | 2000015240
320 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1497 | 21 | 22380 | 2000006798
321 | KORBA TOWN | 11KV BUDHWARI FEEDER | 933 | 10 | 8640 | 2000015220
322 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 20 | 52140 | 2000016028
323 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 1919 | 2 | 3420 | 2000016201
324 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2481 | 3 | 4980 | 2000016255
325 | KORBA TOWN | 11KV RPNAGAR FEEDER | 877 | 5 | 7080 | 2000016912
326 | KORBA TOWN | 11KV DINDAYAL AWAS | 426 | 2 | 5040 | 2000017789
327 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 65 | 2 | 7380 | 2000017790
328 | KORBA TOWN | 11KV OM SAI APPARTMENT | 364 | 2 | 6660 | 2000017791
329 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2114 | 12 | 13920 | 2000017804
330 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 398 | 8 | 10620 | 2000017805
331 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 622 | 4 | 29880 | 2000018988
332 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1977 | 9 | 13200 | 2000020065
333 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 192 | 9 | 16920 | 2000020121
334 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1461 | 7 | 6720 | 2000020122
335 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 948 | 13 | 9240 | 2000021288
336 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 225 | 13 | 9540 | 2000021289
337 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1360 | 17 | 229860 | 2000021425
338 | KORBA TOWN | 11KV TINADAFAI FEEDER | 738 | 11 | 12360 | 2000075797
339 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 437 | 31 | 66480 | 2000075847
340 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 817 | 25 | 64020 | 2000075848
341 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 759 | 14 | 27780 | 2000001425
342 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 831 | 9 | 23280 | 2000001426
343 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1799 | 8 | 13620 | 2000001427
344 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA | 1151 | 4 | 2580 | 2000001430
345 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 685 | 12 | 8880 | 2000069914
346 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1799 | 11 | 8760 | 2000069913
347 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 52 | 15 | 10080 | 2000069912
348 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1813 | 20 | 18660 | 2000069911
349 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6167 | 10 | 11580 | 2000003057
350 | MANENDRAGARH TOWN | 11KV KAILARI FEEDER | 1244 | 6 | 6000 | 2000003055
351 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 11 | 9540 | 2000002458
352 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2639 | 14 | 11940 | 2000002462
353 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1492 | 6 | 7620 | 2000002463
354 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1871 | 12 | 8820 | 2000055675
355 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 927 | 17 | 30180 | 2000068276
356 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2119 | 1 | 900 | 2000006458
357 | MUNGELI TOWN | 11KV COLECTER FEEDER | 777 | 4 | 2760 | 2000006460
358 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 167 | 6 | 4800 | 2000015467
359 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 621 | 6 | 4620 | 2000002464
360 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 113 | 16 | 9900 | 2000001623
361 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 33 | 15 | 13440 | 2000076054
362 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 443 | 15 | 14160 | 2000076053
363 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 387 | 32 | 18780 | 2000076052
364 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER2 | 481 | 24 | 12420 | 2000017311
365 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 752 | 28 | 21900 | 2000076051
366 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1499 | 29 | 22200 | 2000076050
367 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER | 90 | 34 | 15780 | 2000001624
368 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 327 | 27 | 30720 | 2000001625
369 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1504 | 39 | 38340 | 2000001628
370 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 3 | 27 | 17700 | 2000001629
371 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 7 | 25 | 43800 | 2000001630
372 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 3010 | 21 | 25380 | 2000001635
373 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 481 | 13 | 5880 | 2000001637
374 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 351 | 12 | 7440 | 2000029091
375 | RAIGARH TOWN | 11KV BOYIR-DADAR CHOWK FEEDER | 1658 | 12 | 29460 | 2000003300
376 | RAIGARH TOWN | 11KV STADIUM FEEDER | 795 | 11 | 31740 | 2000022941
377 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1545 | 10 | 28260 | 2000021639
378 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 836 | 1 | 1020 | 2000003301
379 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 240 | 1 | 840 | 2000003312
380 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 631 | 12 | 11580 | 2000003320
381 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 672 | 3 | 2100 | 2000020756
382 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 874 | 1 | 840 | 2000003321
383 | RAIGARH TOWN | 11KV STADIUM FEEDER | 341 | 10 | 15780 | 2000003323
384 | RAIGARH TOWN | 11KV STATION FEEDER | 744 | 18 | 13500 | 2000003324
385 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3295 | 38 | 69120 | 2000003325
386 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 2278 | 17 | 16380 | 2000017958
387 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 795 | 26 | 59100 | 2000017712
388 | RAIGARH TOWN | 11KV GERWANI FEEDER | 481 | 9 | 10200 | 2000016185
389 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 560 | 10 | 11700 | 2000016184
390 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 624 | 8 | 9420 | 2000016057
391 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 102 | 8 | 9660 | 2000016056
392 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1139 | 11 | 14160 | 2000016055
393 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 122 | 6 | 45240 | 2000016054
394 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1677 | 7 | 48300 | 2000016053
395 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1073 | 26 | 35400 | 2000016052
396 | RAIGARH TOWN | 11KV PATRAPALI | 413 | 5 | 39180 | 2000073192
397 | RAIGARH TOWN | 11KV KHAIRPUR | 1108 | 5 | 39180 | 2000073193
398 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1221 | 13 | 34500 | 2000073195
399 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1147 | 7 | 5400 | 2000073196
400 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2260 | 2 | 1860 | 2000010582
401 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 413 | 1 | 1260 | 2000010583
402 | RAIPUR TOWN | 11KV KARBALA TALAB | 1306 | 3 | 5580 | 2000010585
403 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2789 | 5 | 50880 | 2000010587
404 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 613 | 2 | 1080 | 2000010588
405 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 914 | 3 | 8100 | 2000010589
406 | RAIPUR TOWN | 11KV GAD FEEDER | 778 | 1 | 300 | 2000010590
407 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 812 | 1 | 300 | 2000010591
408 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 555 | 11 | 88020 | 2000010592
409 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 66 | 3 | 1680 | 2000010596
410 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 842 | 2 | 49980 | 2000010598
411 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 617 | 1 | 780 | 2000010599
412 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1681 | 4 | 2820 | 2000010600
413 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1353 | 4 | 2160 | 2000010601
414 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1553 | 1 | 660 | 2000010602
415 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1542 | 3 | 3840 | 2000010603
416 | RAIPUR TOWN | 11KV ATARI FEEDER | 887 | 5 | 4200 | 2000010604
417 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 245 | 4 | 3000 | 2000010607
418 | RAIPUR TOWN | 11KV BANJARI FEEDER | 952 | 2 | 3720 | 2000010608
419 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 559 | 2 | 5460 | 2000010611
420 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 798 | 3 | 4080 | 2000010613
421 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1038 | 6 | 6720 | 2000010614
422 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 168 | 3 | 1440 | 2000010615
423 | RAIPUR TOWN | 11KV AGRASEN CHAOK | 474 | 1 | 480 | 2000010619
424 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1548 | 1 | 660 | 2000010621
425 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3140 | 2 | 3060 | 2000010622
426 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 942 | 1 | 480 | 2000010624
427 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 79 | 1 | 106500 | 2000010625
428 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 431 | 1 | 960 | 2000010626
429 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 3084 | 2 | 720 | 2000010631
430 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1978 | 1 | 300 | 2000010632
431 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1565 | 1 | 840 | 2000010634
432 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 872 | 3 | 7440 | 2000010635
433 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1920 | 4 | 2160 | 2000010637
434 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 1056 | 6 | 44100 | 2000010638
435 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3207 | 6 | 11880 | 2000010639
436 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1235 | 1 | 360 | 2000010643
437 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 473 | 4 | 3060 | 2000010645
438 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 618 | 1 | 1260 | 2000010647
439 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1427 | 6 | 30960 | 2000010649
440 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 803 | 3 | 1200 | 2000010651
441 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2272 | 2 | 1440 | 2000010652
442 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 491 | 6 | 3300 | 2000010654
443 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2101 | 2 | 600 | 2000010656
444 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 356 | 1 | 360 | 2000010657
445 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 405 | 1 | 420 | 2000010658
446 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 919 | 4 | 3120 | 2000010659
447 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 70 | 1 | 7680 | 2000010660
448 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2136 | 2 | 5220 | 2000010662
449 | RAIPUR TOWN | 11KV LIC FEEDER | 2218 | 1 | 1260 | 2000010663
450 | RAIPUR TOWN | 11KV LALBAG FEEDER | 965 | 2 | 840 | 2000010665
451 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1839 | 1 | 360 | 2000010668
452 | RAIPUR TOWN | 11KV MINING FEEDER | 645 | 2 | 2040 | 2000010669
453 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 928 | 1 | 480 | 2000010670
454 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1302 | 1 | 480 | 2000010672
455 | RAIPUR TOWN | 11KV MARUTI FEEDER | 3130 | 2 | 780 | 2000010674
456 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1525 | 5 | 2520 | 2000010675
457 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 15 | 2 | 1080 | 2000010676
458 | RAIPUR TOWN | 11KV SHYAM KHATU FEEDER | 477 | 2 | 7140 | 2000010678
459 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 171 | 1 | 47820 | 2000010679
460 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1512 | 2 | 2220 | 2000010680
461 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1169 | 3 | 3360 | 2000010681
462 | RAIPUR TOWN | 11KV KBT FEEDER | 1242 | 1 | 360 | 2000010682
463 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 719 | 2 | 960 | 2000010685
464 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 444 | 4 | 3300 | 2000010686
465 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 1093 | 1 | 25200 | 2000010687
466 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 424 | 4 | 3000 | 2000010690
467 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1325 | 1 | 2520 | 2000010691
468 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3573 | 2 | 3480 | 2000010692
469 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 4 | 1 | 420 | 2000010694
470 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1334 | 1 | 300 | 2000010699
471 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2279 | 1 | 420 | 2000010700
472 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1672 | 5 | 29940 | 2000010701
473 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 109 | 6 | 14160 | 2000010702
474 | RAIPUR TOWN | 11KV RULAR FEEDER | 611 | 5 | 343320 | 2000010703
475 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 597 | 2 | 10860 | 2000010704
476 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 1948 | 6 | 3840 | 2000010705
477 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 519 | 5 | 8760 | 2000010707
478 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 951 | 1 | 11820 | 2000010708
479 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2612 | 2 | 1440 | 2000010709
480 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1654 | 2 | 1800 | 2000010711
481 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1326 | 4 | 3540 | 2000010712
482 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 1010 | 5 | 6660 | 2000010713
483 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1721 | 7 | 48600 | 2000010714
484 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2012 | 3 | 3780 | 2000010715
485 | RAIPUR TOWN | 11KV RDA FEEDER | 2159 | 5 | 5580 | 2000010717
486 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1490 | 1 | 300 | 2000010718
487 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 411 | 1 | 780 | 2000010719
488 | RAIPUR TOWN | 11KV SARORA FEEDER | 568 | 2 | 1620 | 2000010720
489 | RAIPUR TOWN | 11KV SECTOR -5 | 313 | 3 | 960 | 2000010721
490 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2800 | 2 | 112740 | 2000010722
491 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2290 | 1 | 300 | 2000010723
492 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1410 | 1 | 420 | 2000010725
493 | RAIPUR TOWN | 11KV TV FEEDER | 1805 | 3 | 1080 | 2000010728
494 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1066 | 3 | 1080 | 2000010729
495 | RAIPUR TOWN | 11KV TOWN FEEDER | 1920 | 1 | 900 | 2000010730
496 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1486 | 1 | 2940 | 2000010731
497 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 552 | 1 | 420 | 2000010732
498 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 3 | 1620 | 2000010733
499 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2419 | 2 | 6600 | 2000010736
500 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 417 | 3 | 4020 | 2000010737
501 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 65 | 5 | 3600 | 2000010738
502 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2769 | 3 | 10500 | 2000010740
503 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1730 | 3 | 6540 | 2000010741
504 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 73 | 4 | 2820 | 2000010742
505 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 27 | 4 | 2820 | 2000010743
506 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 373 | 4 | 2820 | 2000010744
507 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1785 | 1 | 111240 | 2000017238
508 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1024 | 1 | 420 | 2000017256
509 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2256 | 1 | 300 | 2000017261
510 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1382 | 6 | 8400 | 2000017508
511 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 617 | 1 | 600 | 2000017514
512 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 975 | 1 | 300 | 2000017569
513 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 1005 | 3 | 3600 | 2000017576
514 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 922 | 3 | 11520 | 2000017590
515 | RAIPUR TOWN | 11KV ARIHANT NAGAR FEEDER | 1641 | 4 | 2820 | 2000017597
516 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 897 | 5 | 4080 | 2000017599
517 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2410 | 3 | 1320 | 2000017600
518 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 729 | 5 | 22740 | 2000017609
519 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1589 | 2 | 1080 | 2000017611
520 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 457 | 3 | 2580 | 2000017612
521 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 20 | 1 | 300 | 2000017613
522 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 1064 | 3 | 900 | 2000017615
523 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 361 | 3 | 1140 | 2000017617
524 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1706 | 1 | 660 | 2000017621
525 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 641 | 6 | 5100 | 2000017623
526 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 824 | 5 | 2460 | 2000017624
527 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 450 | 6 | 4320 | 2000017626
528 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 890 | 4 | 10020 | 2000017628
529 | RAIPUR TOWN | 11KV MIG FEEDER | 322 | 2 | 2040 | 2000017671
530 | RAIPUR TOWN | 11KV G+10 FEEDER | 476 | 1 | 1080 | 2000017673
531 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 250 | 4 | 2880 | 2000017674
532 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 909 | 8 | 9960 | 2000017721
533 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1063 | 1 | 360 | 2000017755
534 | RAIPUR TOWN | 11KV MOTHER TERESA | 824 | 3 | 3960 | 2000017756
535 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 645 | 1 | 360 | 2000017757
536 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1176 | 4 | 1860 | 2000017768
537 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1373 | 4 | 2400 | 2000017771
538 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1528 | 5 | 3300 | 2000017772
539 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 688 | 4 | 2280 | 2000017773
540 | RAIPUR TOWN | 11KV PURANI BASTI | 713 | 1 | 300 | 2000017817
541 | RAIPUR TOWN | 11KV GHASIDAS PLAZA | 1196 | 2 | 660 | 2000017819
542 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1142 | 2 | 1440 | 2000017867
543 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1976 | 5 | 5760 | 2000017868
544 | RAIPUR TOWN | 11KV GANESH MANDIR | 236 | 4 | 4140 | 2000017869
545 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1397 | 2 | 1080 | 2000017870
546 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 260 | 2 | 1080 | 2000017871
547 | RAIPUR TOWN | 11KV NAVEEN MARKET | 894 | 2 | 1680 | 2000017953
548 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2759 | 2 | 1260 | 2000017954
549 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1163 | 6 | 4920 | 2000017962
550 | RAIPUR TOWN | 11KV MANDI | 668 | 3 | 1020 | 2000018020
551 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 357 | 2 | 26520 | 2000018359
552 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1420 | 2 | 25620 | 2000018361
553 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 139 | 3 | 85140 | 2000018378
554 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1098 | 1 | 660 | 2000018394
555 | RAIPUR TOWN | 11KV IGVP | 365 | 3 | 10320 | 2000018397
556 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 429 | 2 | 780 | 2000018398
557 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 195 | 4 | 6840 | 2000018406
558 | RAIPUR TOWN | 11KV Dhanlaxmi Nagar Feeder | 4042 | 1 | 540 | 2000018417
559 | RAIPUR TOWN | 11KV Umiya Market Feeder | 580 | 9 | 9660 | 2000018421
560 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2051 | 3 | 3540 | 2000018595
561 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 711 | 5 | 16200 | 2000018783
562 | RAIPUR TOWN | 11KV VARUN FEEDER | 2255 | 5 | 5520 | 2000019179
563 | RAIPUR TOWN | 11KV HEERA FEEDER | 3120 | 8 | 17160 | 2000019180
564 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 774 | 5 | 15660 | 2000019181
565 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1734 | 8 | 14160 | 2000019184
566 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 731 | 7 | 4080 | 2000019185
567 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1380 | 6 | 3660 | 2000019186
568 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1202 | 6 | 2220 | 2000019334
569 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1547 | 2 | 2460 | 2000019340
570 | RAIPUR TOWN | 11KV BSUP FEEDER | 148 | 2 | 720 | 2000019341
571 | RAIPUR TOWN | 11KV CTI FEEDER | 259 | 2 | 720 | 2000019342
572 | RAIPUR TOWN | 11KV PS CITY | 1399 | 1 | 1440 | 2000019530
573 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 289 | 1 | 540 | 2000019850
574 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 132 | 1 | 480 | 2000019851
575 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1878 | 7 | 3120 | 2000019857
576 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 173 | 1 | 480 | 2000019858
577 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2180 | 9 | 22260 | 2000020009
578 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1750 | 3 | 2040 | 2000020119
579 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1899 | 3 | 6660 | 2000020120
580 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 3 | 1320 | 2000020123
581 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 244 | 2 | 660 | 2000020130
582 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 334 | 3 | 5640 | 2000020131
583 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 1 | 300 | 2000020132
584 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1439 | 2 | 660 | 2000020153
585 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 504 | 3 | 67320 | 2000020193
586 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 594 | 1 | 360 | 2000021286
587 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1688 | 2 | 840 | 2000021287
588 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 67 | 4 | 2280 | 2000021421
589 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1183 | 14 | 15360 | 2000021424
590 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1383 | 5 | 7200 | 2000022077
591 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 809 | 2 | 660 | 2000022078
592 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1355 | 2 | 780 | 2000022079
593 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 2548 | 2 | 780 | 2000023735
594 | RAIPUR TOWN | 11KV SBI FEEDER | 1233 | 3 | 10440 | 2000023790
595 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 534 | 3 | 960 | 2000023848
596 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1299 | 5 | 3900 | 2000024395
597 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 12 | 1 | 840 | 2000026462
598 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2118 | 1 | 360 | 2000026575
599 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1551 | 2 | 660 | 2000026582
600 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1013 | 2 | 660 | 2000026583
601 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1079 | 2 | 660 | 2000026584
602 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 630 | 3 | 1080 | 2000026585
603 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1214 | 1 | 360 | 2000026586
604 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 302 | 1 | 1800 | 2000029194
605 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 158 | 1 | 1740 | 2000029195
606 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 982 | 1 | 720 | 2000034422
607 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2543 | 3 | 1800 | 2000034760
608 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1085 | 3 | 1740 | 2000034761
609 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1070 | 4 | 4140 | 2000034762
610 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 1184 | 3 | 4200 | 2000046448
611 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 901 | 3 | 22200 | 2000046477
612 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 4 | 2280 | 2000064021
613 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 215 | 6 | 98760 | 2000070080
614 | RAIPUR TOWN | 11KV C&F FEEDER | 56 | 4 | 2760 | 2000070702
615 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 4 | 2760 | 2000070703
616 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1043 | 1 | 1140 | 2000070747
617 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 800 | 1 | 780 | 2000070749
618 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 132 | 4 | 1920 | 2000071570
619 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2687 | 6 | 2280 | 2000072091
620 | RAIPUR TOWN | 11KV Simran City Feeder | 1209 | 5 | 1980 | 2000074141
621 | RAIPUR TOWN | 11KV Park Side Feeder | 111 | 1 | 720 | 2000075451
622 | RAIPUR TOWN | 11KV Sumet Feeder | 142 | 1 | 720 | 2000075452
623 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1234 | 5 | 5640 | 2000075643
624 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 972 | 4 | 1620 | 2000075796
625 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3489 | 5 | 2820 | 2000075800
626 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 63 | 1 | 1080 | 2000075801
627 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 366 | 1 | 1080 | 2000075802
628 | RAIPUR TOWN | 11KV CM House Feeder | 3 | 1 | 420 | 2000076123
629 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 735 | 3 | 6840 | 2000076011
630 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1510 | 4 | 2040 | 2000006488
631 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 369 | 4 | 3120 | 2000076217
632 | RAJNANDGAON TOWN | 11 KV Mahamaya Feeder | 2284 | 3 | 1800 | 2000073902