## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Feb'19
Period: |  | 1st Jan'19 to 31st Jan'19
Number of Towns: |  | 20
Total nos. of Feeders: |  | 427
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1216 | 15 | 8820 | 2000003840
2 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 220 | 12 | 3960 | 2000003841
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 199 | 17 | 18240 | 2000003845
4 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2520 | 18 | 223560 | 2000003848
5 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1216 | 17 | 22080 | 2000003854
6 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 731 | 10 | 9180 | 2000006627
7 | AMBIKAPUR TOWN | 11 KV DC Road | 1476 | 25 | 43920 | 2000014951
8 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 29 | 17220 | 2000014959
9 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1198 | 18 | 34620 | 2000014960
10 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 332 | 8 | 7620 | 2000014961
11 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 133 | 44 | 59040 | 2000015334
12 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3134 | 15 | 57720 | 2000001004
13 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 10 | 49440 | 2000001005
14 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 929 | 21 | 70260 | 2000001006
15 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 1226 | 22 | 97560 | 2000001008
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 557 | 25 | 68280 | 2000001011
17 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1851 | 10 | 7260 | 2000001012
18 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 255 | 18 | 10440 | 2000001013
19 | BHATAPARA TOWN | 11KV Colony Feeder | 32 | 18 | 9000 | 2000004255
20 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 636 | 6 | 3600 | 2000006347
21 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1419 | 27 | 17700 | 2000006376
22 | BHATAPARA TOWN | Mayur School 11KV Feeder | 399 | 27 | 17520 | 2000006377
23 | BHATAPARA TOWN | 11KV ATAL JYOTI | 612 | 47 | 670440 | 2000014962
24 | BHATAPARA TOWN | 11KV INDUSTRIAL FEEDER | 185 | 12 | 4020 | 2000022031
25 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1195 | 39 | 50100 | 2000004868
26 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1591 | 18 | 5820 | 2000004871
27 | BILASPUR TOWN | 11KV DHEKA FEEDER | 269 | 15 | 80460 | 2000004877
28 | BILASPUR TOWN | 11KV DHUMA FEEDER | 663 | 45 | 79620 | 2000004878
29 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 377 | 44 | 142980 | 2000004879
30 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2783 | 21 | 49680 | 2000004882
31 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1274 | 11 | 2820 | 2000004883
32 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1672 | 13 | 14280 | 2000004884
33 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1967 | 2 | 4260 | 2000004888
34 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2540 | 16 | 9000 | 2000004889
35 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 580 | 10 | 17220 | 2000004892
36 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2687 | 11 | 12720 | 2000004893
37 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2066 | 19 | 11520 | 2000004896
38 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1011 | 14 | 27960 | 2000004898
39 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1075 | 28 | 132600 | 2000004900
40 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2296 | 9 | 7980 | 2000004901
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 11 | 21180 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2302 | 10 | 9720 | 2000004904
43 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 743 | 6 | 9240 | 2000004908
44 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1067 | 35 | 41220 | 2000004911
45 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1794 | 13 | 15900 | 2000004913
46 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2352 | 14 | 16080 | 2000004914
47 | BILASPUR TOWN | 11KV RULER FEEDER | 1520 | 16 | 40920 | 2000004916
48 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2022 | 9 | 10200 | 2000004917
49 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1336 | 11 | 4800 | 2000004919
50 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 40 | 19260 | 2000004923
51 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3809 | 15 | 27180 | 2000004926
52 | BILASPUR TOWN | 11KV Imlibhata Feeder | 709 | 16 | 8160 | 2000016310
53 | BILASPUR TOWN | 11KV Birkona Feeder | 756 | 14 | 10140 | 2000016311
54 | BILASPUR TOWN | 11KV Lodhipara Feeder | 842 | 17 | 19980 | 2000016314
55 | BILASPUR TOWN | 11 KV New Mopka | 819 | 29 | 55080 | 2000017224
56 | BILASPUR TOWN | 11 KV Shivam City | 1237 | 15 | 45840 | 2000017225
57 | BILASPUR TOWN | 11 KV Mahaveer City | 209 | 12 | 28260 | 2000017226
58 | BILASPUR TOWN | 11KV Lingyadih Feeder | 168 | 16 | 58260 | 2000017505
59 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 14 | 20820 | 2000017776
60 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 312 | 26 | 33360 | 2000017780
61 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 29 | 27000 | 2000017781
62 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 1002 | 9 | 13980 | 2000018403
63 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 774 | 22 | 12720 | 2000018761
64 | BILASPUR TOWN | 11KV Katiyapara Feeder | 433 | 22 | 12420 | 2000018763
65 | BILASPUR TOWN | 11KV Jail Road Feeder | 379 | 14 | 3540 | 2000020488
66 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1202 | 22 | 25740 | 2000020489
67 | BILASPUR TOWN | 11KV CMD College Feeder | 921 | 12 | 10200 | 2000020582
68 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 337 | 17 | 27900 | 2000023801
69 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 273 | 16 | 25320 | 2000023802
70 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 967 | 19 | 26520 | 2000003195
71 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1987 | 14 | 243900 | 2000003196
72 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5539 | 23 | 51600 | 2000003197
73 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 2 | 16 | 63720 | 2000002566
74 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1339 | 14 | 3840 | 2000002569
75 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3931 | 4 | 2400 | 2000002570
76 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 3 | 1440 | 2000002573
77 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 999 | 17 | 10020 | 2000002574
78 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1026 | 13 | 12360 | 2000002576
79 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 3182 | 10 | 3600 | 2000002578
80 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2543 | 15 | 6600 | 2000002579
81 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1670 | 16 | 26040 | 2000001295
82 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 732 | 20 | 13500 | 2000001298
83 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1077 | 4 | 960 | 2000001299
84 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 944 | 7 | 2580 | 2000001301
85 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2427 | 5 | 5100 | 2000001302
86 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 3457 | 5 | 1620 | 2000001303
87 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 705 | 8 | 2220 | 2000007685
88 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2185 | 18 | 5040 | 2000007686
89 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 664 | 42 | 21060 | 2000007687
90 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 111 | 7 | 1560 | 2000007688
91 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1037 | 27 | 51120 | 2000007689
92 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1759 | 19 | 25020 | 2000007694
93 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3316 | 7 | 1560 | 2000007696
94 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 852 | 3 | 7260 | 2000007697
95 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2883 | 27 | 19740 | 2000007701
96 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 977 | 6 | 7620 | 2000007702
97 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1005 | 9 | 2820 | 2000007703
98 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 3931 | 22 | 32040 | 2000007705
99 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 957 | 7 | 8520 | 2000007708
100 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1545 | 18 | 33600 | 2000007709
101 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 819 | 12 | 4980 | 2000007711
102 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 454 | 7 | 4140 | 2000007712
103 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 617 | 13 | 22140 | 2000007713
104 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1319 | 11 | 23640 | 2000007714
105 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 973 | 11 | 26340 | 2000007715
106 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 664 | 19 | 39600 | 2000007716
107 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 620 | 20 | 35040 | 2000007717
108 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1431 | 15 | 30240 | 2000007718
109 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1835 | 12 | 7920 | 2000007719
110 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 821 | 18 | 15000 | 2000007720
111 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3240 | 9 | 5040 | 2000007721
112 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1879 | 23 | 11280 | 2000007723
113 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1144 | 55 | 72420 | 2000007728
114 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 609 | 23 | 16080 | 2000007729
115 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 498 | 8 | 6720 | 2000007731
116 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 526 | 17 | 19560 | 2000007733
117 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 454 | 22 | 25500 | 2000007735
118 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1240 | 17 | 27120 | 2000007738
119 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 738 | 20 | 9480 | 2000007739
120 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 855 | 11 | 28380 | 2000007740
121 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1485 | 6 | 3300 | 2000007741
122 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1085 | 11 | 55560 | 2000007744
123 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 465 | 7 | 11520 | 2000007747
124 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 1078 | 15 | 46560 | 2000007748
125 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 507 | 4 | 1260 | 2000007749
126 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1109 | 7 | 3060 | 2000007751
127 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3176 | 11 | 8820 | 2000007752
128 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1786 | 16 | 19560 | 2000007754
129 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 245 | 17 | 45960 | 2000007755
130 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2871 | 13 | 8880 | 2000007756
131 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1489 | 30 | 12360 | 2000007757
132 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1112 | 25 | 17220 | 2000007758
133 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 3031 | 18 | 33060 | 2000007759
134 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2524 | 17 | 16500 | 2000007760
135 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1277 | 36 | 15000 | 2000007762
136 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 4 | 1620 | 2000007763
137 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 308 | 3 | 1260 | 2000007764
138 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 3 | 1260 | 2000007765
139 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 2 | 1020 | 2000007766
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 603 | 2 | 1080 | 2000007767
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1245 | 3 | 1680 | 2000007768
142 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2199 | 20 | 17940 | 2000007769
143 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1790 | 16 | 12000 | 2000007770
144 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1186 | 23 | 10740 | 2000007771
145 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1220 | 51 | 44040 | 2000007773
146 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1292 | 24 | 84000 | 2000007776
147 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1234 | 14 | 24000 | 2000007777
148 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 365 | 22 | 17040 | 2000007778
149 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 798 | 19 | 17100 | 2000007779
150 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1302 | 10 | 5280 | 2000007780
151 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1789 | 29 | 43200 | 2000007781
152 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1490 | 17 | 9240 | 2000007782
153 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 2592 | 12 | 58320 | 2000016998
154 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1522 | 21 | 29160 | 2000017001
155 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 458 | 14 | 11520 | 2000017044
156 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 59 | 13 | 7680 | 2000017045
157 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1200 | 45 | 366240 | 2000017054
158 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 948 | 26 | 45960 | 2000017055
159 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 934 | 7 | 8940 | 2000017056
160 | DURG BHILAI CHARODA TOWN | 11 KV SAF Batalian | 454 | 23 | 173820 | 2000017057
161 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 1016 | 22 | 172740 | 2000017058
162 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 1753 | 15 | 95580 | 2000017059
163 | DURG BHILAI CHARODA TOWN | 11 KV Green Chowk | 541 | 5 | 27900 | 2000017060
164 | DURG BHILAI CHARODA TOWN | 11 KV Titurdih | 908 | 13 | 32040 | 2000017061
165 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 571 | 4 | 4260 | 2000017062
166 | DURG BHILAI CHARODA TOWN | 11KV Mauhari Feeder | 1644 | 1 | 1020 | 2000017064
167 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1054 | 51 | 26220 | 2000017065
168 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1074 | 4 | 4200 | 2000017066
169 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 415 | 11 | 9240 | 2000017069
170 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 1067 | 40 | 16020 | 2000017071
171 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 334 | 22 | 29340 | 2000017076
172 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 2435 | 22 | 20580 | 2000018574
173 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 281 | 21 | 26700 | 2000018704
174 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1307 | 7 | 6240 | 2000018705
175 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1724 | 8 | 8160 | 2000018706
176 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 607 | 21 | 16020 | 2000018707
177 | DURG BHILAI CHARODA TOWN | 11KV Rajiv Nagar Feeder | 1393 | 9 | 21360 | 2000018723
178 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 30 | 16 | 12840 | 2000018987
179 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 219 | 17 | 9060 | 2000019819
180 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 948 | 11 | 3840 | 2000020519
181 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 3023 | 5 | 14700 | 2000021263
182 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 1179 | 13 | 13080 | 2000021264
183 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 334 | 7 | 2880 | 2000025794
184 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1660 | 37 | 86880 | 2000029193
185 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1963 | 7 | 23760 | 2000017872
186 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 5 | 23520 | 2000004347
187 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1581 | 12 | 26580 | 2000004344
188 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1037 | 8 | 64620 | 2000004339
189 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2198 | 8 | 27840 | 2000004338
190 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1367 | 9 | 30480 | 2000004336
191 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1272 | 9 | 25140 | 2000004335
192 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 854 | 5 | 23400 | 2000004334
193 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 301 | 1 | 1140 | 2000004333
194 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1767 | 7 | 52260 | 2000004332
195 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 785 | 2 | 4800 | 2000004331
196 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1545 | 16 | 61980 | 2000004330
197 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 162 | 3 | 4500 | 2000004329
198 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2815 | 2 | 300 | 2000002910
199 | KANKER TOWN | 11KV PATOD FEEDER | 556 | 12 | 20700 | 2000002909
200 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 27 | 23640 | 2000002907
201 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1527 | 2 | 1200 | 2000015850
202 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1025 | 39 | 135480 | 2000001051
203 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2954 | 32 | 135840 | 2000001055
204 | KORBA TOWN | 11 KV Russian Hostel | 8 | 17 | 50640 | 2000006490
205 | KORBA TOWN | 11KV ABC FEEDER | 1532 | 9 | 12840 | 2000006759
206 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 765 | 55 | 211080 | 2000006762
207 | KORBA TOWN | 11KV BULGI FEEDER | 941 | 70 | 86340 | 2000006764
208 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 74 | 299280 | 2000006770
209 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2808 | 19 | 46380 | 2000006778
210 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 770 | 18 | 55740 | 2000006782
211 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1299 | 17 | 20220 | 2000006783
212 | KORBA TOWN | 11KV NIHARIKA FEEDER | 710 | 5 | 188040 | 2000006784
213 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 707 | 33 | 115920 | 2000006787
214 | KORBA TOWN | 11KV PARSABADA FEEDER | 1386 | 22 | 16620 | 2000006789
215 | KORBA TOWN | 11KV SARMANGLA FEEDER | 713 | 31 | 139920 | 2000006794
216 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1180 | 40 | 164700 | 2000006798
217 | KORBA TOWN | 11KV Town-1 Feeder | 710 | 10 | 28800 | 2000015220
218 | KORBA TOWN | 11KV RP Nagar Feeder | 811 | 13 | 28140 | 2000016912
219 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 68 | 9 | 9360 | 2000017790
220 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 374 | 39 | 71400 | 2000017805
221 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1154 | 35 | 58260 | 2000020122
222 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 1412 | 18 | 7080 | 2000001423
223 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2347 | 5 | 7080 | 2000001424
224 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1315 | 1 | 1620 | 2000001427
225 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2102 | 23 | 18180 | 2000001430
226 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 1008 | 27 | 17280 | 2000002464
227 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1417 | 26 | 18780 | 2000006458
228 | MUNGELI TOWN | 11 KV Colecter Feeder | 431 | 16 | 8640 | 2000006460
229 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2144 | 40 | 20820 | 2000002462
230 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1064 | 25 | 16680 | 2000002463
231 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 716 | 20 | 33840 | 2000003309
232 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1242 | 16 | 20400 | 2000003311
233 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 11 | 12420 | 2000003312
234 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 20 | 14760 | 2000003314
235 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1022 | 12 | 14700 | 2000003322
236 | RAIGARH TOWN | 11 KV Stadium feeder | 592 | 14 | 8940 | 2000022941
237 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 676 | 9 | 11040 | 2000021639
238 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 620 | 9 | 5100 | 2000020756
239 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 899 | 7 | 2040 | 2000020755
240 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 338 | 4 | 5520 | 2000020754
241 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1585 | 25 | 43380 | 2000017958
242 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 372 | 28 | 27060 | 2000017956
243 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 96 | 16 | 13440 | 2000016054
244 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 791 | 11 | 8520 | 2000016053
245 | RAIGARH TOWN | 11KV Baba Dham Feeder | 835 | 10 | 24900 | 2000016052
246 | RAIGARH TOWN | 11KV Savitri Nagar Feeder | 1017 | 12 | 9060 | 2000016051
247 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 585 | 11 | 10320 | 2000016050
248 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 969 | 8 | 3060 | 2000016055
249 | RAIGARH TOWN | 11kv Collectred Feeder | 80 | 9 | 20940 | 2000016056
250 | RAIGARH TOWN | 11 KV Gerwani feeder | 1652 | 15 | 23820 | 2000016185
251 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1288 | 17 | 7500 | 2000003301
252 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 787 | 13 | 5460 | 2000003302
253 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1031 | 9 | 18900 | 2000003306
254 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1054 | 9 | 6420 | 2000003307
255 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 354 | 9 | 3420 | 2000010583
256 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1214 | 5 | 2940 | 2000010585
257 | RAIPUR TOWN | 11KV CITY FEEDER | 2494 | 19 | 15780 | 2000010587
258 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1379 | 6 | 4680 | 2000010588
259 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 927 | 5 | 15960 | 2000010589
260 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 776 | 4 | 24120 | 2000010591
261 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 332 | 6 | 30840 | 2000010592
262 | RAIPUR TOWN | 11KV MLA FEEDER | 1096 | 7 | 9360 | 2000010595
263 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 12 | 5580 | 2000010596
264 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 788 | 4 | 6840 | 2000010598
265 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1035 | 7 | 21540 | 2000010603
266 | RAIPUR TOWN | 11KV ATARI FEEDER | 821 | 15 | 32340 | 2000010604
267 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 280 | 17 | 25320 | 2000010605
268 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 743 | 7 | 23820 | 2000010606
269 | RAIPUR TOWN | 11KV BANJARI FEEDER | 958 | 10 | 10500 | 2000010608
270 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1570 | 6 | 7200 | 2000010611
271 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 780 | 8 | 5880 | 2000010613
272 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 712 | 2 | 1020 | 2000010614
273 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 138 | 11 | 22800 | 2000010615
274 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 2487 | 10 | 5160 | 2000010618
275 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1642 | 32 | 55980 | 2000010622
276 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 871 | 31 | 31800 | 2000010624
277 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 93 | 8 | 50940 | 2000010625
278 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1670 | 29 | 12180 | 2000010628
279 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2355 | 46 | 41880 | 2000010631
280 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1974 | 26 | 12600 | 2000010632
281 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1684 | 12 | 7020 | 2000010634
282 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 745 | 23 | 13200 | 2000010638
283 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 87 | 10 | 3780 | 2000010641
284 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 737 | 20 | 19620 | 2000010642
285 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 499 | 15 | 9780 | 2000010647
286 | RAIPUR TOWN | 11KV KHARUN FEEDER | 982 | 25 | 37200 | 2000010649
287 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1473 | 1 | 960 | 2000010650
288 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1213 | 9 | 2280 | 2000010653
289 | RAIPUR TOWN | 11KV MAHALAXMI | 562 | 9 | 2280 | 2000010655
290 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2010 | 9 | 6480 | 2000010656
291 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 449 | 9 | 34680 | 2000010657
292 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 530 | 10 | 12360 | 2000010658
293 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 51 | 3 | 720 | 2000010660
294 | RAIPUR TOWN | 11KV Sale Tax Coloney Feeder | 2371 | 16 | 10020 | 2000010662
295 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 776 | 19 | 11100 | 2000010666
296 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1744 | 8 | 6660 | 2000010668
297 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 530 | 29 | 30000 | 2000010670
298 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 916 | 11 | 3720 | 2000010671
299 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1271 | 23 | 20700 | 2000010672
300 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5171 | 8 | 24000 | 2000010674
301 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4204 | 8 | 3900 | 2000010675
302 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 543 | 18 | 14820 | 2000010677
303 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2110 | 15 | 9840 | 2000010680
304 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 406 | 13 | 11280 | 2000010686
305 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 206 | 2 | 1980 | 2000010688
306 | RAIPUR TOWN | 11KV RDA FEEDER | 837 | 2 | 12540 | 2000010689
307 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 381 | 7 | 2280 | 2000010690
308 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 9 | 14520 | 2000010694
309 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1833 | 16 | 11580 | 2000010696
310 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1289 | 9 | 10020 | 2000010699
311 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2577 | 7 | 1320 | 2000010700
312 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 797 | 17 | 5700 | 2000010701
313 | RAIPUR TOWN | 11KV SAMTA FEEDER | 552 | 5 | 4080 | 2000010704
314 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 2655 | 22 | 11280 | 2000010705
315 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 395 | 3 | 4320 | 2000010706
316 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 493 | 19 | 6660 | 2000010707
317 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 897 | 4 | 6540 | 2000010708
318 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2494 | 12 | 9600 | 2000010709
319 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2349 | 15 | 11040 | 2000010711
320 | RAIPUR TOWN | 11 kV Ganesh Mandir Feeder | 928 | 7 | 25680 | 2000010712
321 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 299 | 7 | 23760 | 2000010713
322 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 986 | 26 | 48060 | 2000010714
323 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1381 | 18 | 22680 | 2000010717
324 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2671 | 2 | 420 | 2000010722
325 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 715 | 9 | 2640 | 2000010725
326 | RAIPUR TOWN | 11KV TV FEEDER | 2926 | 15 | 46980 | 2000010728
327 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1173 | 15 | 44460 | 2000010729
328 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 436 | 8 | 1620 | 2000010732
329 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 22 | 9 | 5100 | 2000010733
330 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 508 | 16 | 36480 | 2000010739
331 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2154 | 13 | 2700 | 2000010741
332 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 15 | 5880 | 2000010742
333 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 15 | 7380 | 2000010743
334 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 897 | 10 | 296340 | 2000017256
335 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2215 | 14 | 13200 | 2000017261
336 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1066 | 17 | 35220 | 2000017508
337 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2428 | 15 | 59100 | 2000017567
338 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 590 | 2 | 19560 | 2000017569
339 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 978 | 3 | 1500 | 2000017576
340 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 2001 | 20 | 21480 | 2000017600
341 | RAIPUR TOWN | 11KV Medical College Feeder | 14 | 11 | 114840 | 2000017607
342 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1739 | 11 | 6900 | 2000017608
343 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1546 | 12 | 22560 | 2000017611
344 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 66 | 6 | 9120 | 2000017613
345 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 323 | 18 | 35460 | 2000017617
346 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1872 | 16 | 15360 | 2000017621
347 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 661 | 11 | 5520 | 2000017624
348 | RAIPUR TOWN | 11KV Mahila Polytechnic Feeder | 870 | 5 | 261540 | 2000017628
349 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 692 | 9 | 3900 | 2000017671
350 | RAIPUR TOWN | 11KV Suraj Nagar | 1144 | 19 | 20040 | 2000017690
351 | RAIPUR TOWN | 11KV Roman Square | 520 | 15 | 16200 | 2000017691
352 | RAIPUR TOWN | 11KV Krishak Nagar | 179 | 11 | 12720 | 2000017692
353 | RAIPUR TOWN | 11 KV Godhliwala Feeder | 1021 | 3 | 2280 | 2000017771
354 | RAIPUR TOWN | 11 KV Harsh Vihar Feeder | 1340 | 7 | 30120 | 2000017772
355 | RAIPUR TOWN | 11 KV Gautam Vihar Feeder | 630 | 10 | 37500 | 2000017773
356 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2832 | 29 | 46500 | 2000017808
357 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 685 | 9 | 5280 | 2000017817
358 | RAIPUR TOWN | 11 KV Station Road Feeder | 1110 | 6 | 4500 | 2000017867
359 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1935 | 2 | 1740 | 2000017868
360 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 2 | 1680 | 2000017869
361 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1381 | 6 | 5040 | 2000017870
362 | RAIPUR TOWN | 11 KV Acre PlotFeeder | 251 | 2 | 1740 | 2000017871
363 | RAIPUR TOWN | 11KV NAVEEN MARKET | 860 | 5 | 2940 | 2000017953
364 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2612 | 6 | 4620 | 2000017954
365 | RAIPUR TOWN | 11KV MG ROAD | 1589 | 7 | 3420 | 2000017955
366 | RAIPUR TOWN | 11KV Son Dongari Feeder | 930 | 11 | 9720 | 2000017962
367 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 305 | 10 | 2220 | 2000018004
368 | RAIPUR TOWN | 11KV Saddu Feeder | 292 | 17 | 11820 | 2000018005
369 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1285 | 34 | 18000 | 2000018006
370 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 379 | 11 | 52740 | 2000018359
371 | RAIPUR TOWN | 11KV Dental College Feeder | 34 | 18 | 10740 | 2000018378
372 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 970 | 10 | 6060 | 2000018394
373 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 604 | 8 | 114600 | 2000018396
374 | RAIPUR TOWN | 11KV IGVP | 369 | 19 | 9780 | 2000018397
375 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 347 | 20 | 10680 | 2000018398
376 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 336 | 14 | 54600 | 2000018416
377 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2492 | 8 | 3720 | 2000018949
378 | RAIPUR TOWN | 11KV Gondwara Feeder | 559 | 22 | 26040 | 2000019179
379 | RAIPUR TOWN | 11KV Gogaon Feeder | 3174 | 9 | 37620 | 2000019180
380 | RAIPUR TOWN | 11KV Jivnani Feeder | 494 | 7 | 17880 | 2000019185
381 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1928 | 19 | 29880 | 2000019186
382 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2380 | 11 | 37440 | 2000019334
383 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 421 | 18 | 35520 | 2000019340
384 | RAIPUR TOWN | 11KV SapreSala Feeder | 899 | 17 | 7380 | 2000019485
385 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1174 | 34 | 36960 | 2000019530
386 | RAIPUR TOWN | 11KV Ashiyana Feeder | 658 | 3 | 21540 | 2000019697
387 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 131 | 2 | 660 | 2000019852
388 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1675 | 8 | 3960 | 2000019857
389 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1946 | 9 | 6720 | 2000020009
390 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2678 | 27 | 15960 | 2000020119
391 | RAIPUR TOWN | 11KV Station Road Feeder | 310 | 12 | 16500 | 2000020130
392 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 98 | 11 | 15960 | 2000020131
393 | RAIPUR TOWN | 11KV Scada Feeder | 1 | 4 | 10800 | 2000020132
394 | RAIPUR TOWN | 11KV Medishine Feeder | 976 | 13 | 38280 | 2000020194
395 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2547 | 10 | 19080 | 2000020581
396 | RAIPUR TOWN | 11KV Danteshwari Feeder | 1672 | 23 | 25980 | 2000021219
397 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1348 | 5 | 3540 | 2000021220
398 | RAIPUR TOWN | 11KV Parsuram Feeder | 1592 | 8 | 5580 | 2000021221
399 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 679 | 24 | 28920 | 2000021286
400 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1175 | 21 | 11100 | 2000021287
401 | RAIPUR TOWN | 11KV BORIYA Feeder | 881 | 15 | 21900 | 2000021424
402 | RAIPUR TOWN | 11KV OM Complex Feeder | 1335 | 3 | 2400 | 2000021615
403 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 789 | 1 | 180 | 2000022078
404 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1327 | 2 | 540 | 2000022079
405 | RAIPUR TOWN | 11KV Naharpara Feeder | 1401 | 18 | 11520 | 2000023680
406 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1453 | 8 | 7740 | 2000023735
407 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 129 | 12 | 43440 | 2000023736
408 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1575 | 6 | 6300 | 2000023772
409 | RAIPUR TOWN | 11KV Amar Palace Feeder | 445 | 19 | 5280 | 2000023848
410 | RAIPUR TOWN | 11KV FEEDER-1 | 1051 | 9 | 15480 | 2000024395
411 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1442 | 14 | 9780 | 2000026582
412 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 960 | 7 | 4140 | 2000026583
413 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 1028 | 8 | 5520 | 2000026584
414 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 252 | 17 | 6300 | 2000026586
415 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 710 | 15 | 22980 | 2000034423
416 | RAIPUR TOWN | 11KV Pride Feeder | 82 | 2 | 13020 | 2000039215
417 | RAJNANDGAON TOWN | 11KV R K Nagar | 428 | 11 | 8400 | 2000015478
418 | RAJNANDGAON TOWN | 11 KV MAHESHWARI | 727 | 16 | 15000 | 2000015448
419 | RAJNANDGAON TOWN | 11 KV Litiya Feeder | 547 | 13 | 6540 | 2000014955
420 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 3401 | 23 | 133260 | 2000006488
421 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4325 | 13 | 3600 | 2000001956
422 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 25 | 18060 | 2000001960
423 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 810 | 19 | 16380 | 2000001962
424 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 26 | 17820 | 2000001965
425 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2624 | 7 | 1380 | 2000001967
426 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 933 | 8 | 4740 | 2000001978
427 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2286 | 11 | 5040 | 2000001979