## Final D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Feb'18
Period: |  | 1st Jan'18 to 31st Jan'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 439
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV SARGAVA (Town-II) | 127 | 54 | 235080 | 2000015334
2 | AMBIKAPUR TOWN | 11 KV Darripara Subsation Feeder | 332 | 16 | 36840 | 2000014961
3 | AMBIKAPUR TOWN | 11 KV Babupara Substaion Feeder | 1219 | 20 | 40020 | 2000014960
4 | AMBIKAPUR TOWN | 11 KV Transport Nagar | 1 | 7 | 85980 | 2000014959
5 | AMBIKAPUR TOWN | 11 KV DC Road | 1498 | 36 | 61860 | 2000014951
6 | AMBIKAPUR TOWN | 11 KV Gangapara Substation Feeder | 459 | 13 | 38220 | 2000006627
7 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1224 | 11 | 21660 | 2000003854
8 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1388 | 26 | 31740 | 2000003846
9 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 29 | 38520 | 2000003845
10 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1902 | 6 | 14340 | 2000003843
11 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1000 | 7 | 20760 | 2000003842
12 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 157 | 7 | 25260 | 2000003841
13 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1226 | 11 | 24540 | 2000003840
14 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 8 | 31560 | 2000001013
15 | BHATAPARA TOWN | 11KV MATADEVALAYA FEEDER | 1859 | 8 | 31560 | 2000001012
16 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3161 | 13 | 24300 | 2000001004
17 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 33 | 291360 | 2000014962
18 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 242 | 10 | 16380 | 2000001005
19 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 29 | 77040 | 2000001006
20 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 112 | 9 | 16080 | 2000001007
21 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 299 | 21 | 30840 | 2000001008
22 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1203 | 5 | 12480 | 2000001009
23 | BHATAPARA TOWN | 11KV KHOKHLI Feeder | 44 | 7 | 18420 | 2000006378
24 | BHATAPARA TOWN | Mayur School 11KV Feeder | 399 | 10 | 48120 | 2000006377
25 | BHATAPARA TOWN | Hatari Bazar 11KV Feeder | 1435 | 8 | 46980 | 2000006376
26 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 638 | 5 | 12420 | 2000006347
27 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 384 | 18 | 32280 | 2000001011
28 | BHATAPARA TOWN | 11KV Colony Feeder | 34 | 18 | 32340 | 2000004255
29 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1530 | 14 | 23820 | 2000004868
30 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1549 | 9 | 17760 | 2000004871
31 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1815 | 11 | 30240 | 2000004874
32 | BILASPUR TOWN | 11KV DHEKA FEEDER | 284 | 20 | 46560 | 2000004877
33 | BILASPUR TOWN | 11KV DHUMA FEEDER | 693 | 12 | 19920 | 2000004878
34 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 436 | 19 | 43200 | 2000004879
35 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2807 | 4 | 3240 | 2000004882
36 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1250 | 7 | 5880 | 2000004883
37 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1696 | 6 | 15420 | 2000004884
38 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1957 | 9 | 18120 | 2000004888
39 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2540 | 15 | 11640 | 2000004889
40 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1226 | 10 | 5820 | 2000004891
41 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 596 | 4 | 3120 | 2000004892
42 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2719 | 3 | 1500 | 2000004893
43 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2051 | 9 | 5880 | 2000004896
44 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 6 | 41 | 101820 | 2000004897
45 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 872 | 18 | 8940 | 2000004898
46 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1122 | 16 | 9180 | 2000004900
47 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2299 | 10 | 19260 | 2000004901
48 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 3 | 1680 | 2000004903
49 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2325 | 7 | 3780 | 2000004904
50 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2344 | 15 | 44460 | 2000004905
51 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 741 | 3 | 1920 | 2000004908
52 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3397 | 7 | 11880 | 2000004909
53 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1075 | 16 | 20700 | 2000004911
54 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1597 | 3 | 1440 | 2000004912
55 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1816 | 4 | 3060 | 2000004913
56 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2384 | 9 | 15480 | 2000004914
57 | BILASPUR TOWN | 11KV RULER FEEDER | 1570 | 2 | 1380 | 2000004916
58 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2012 | 8 | 11340 | 2000004917
59 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1341 | 10 | 4620 | 2000004919
60 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1830 | 8 | 16620 | 2000004922
61 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 8 | 6480 | 2000004923
62 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3864 | 5 | 12360 | 2000004926
63 | BILASPUR TOWN | 11KV Imlibhata Feeder | 739 | 17 | 21180 | 2000016310
64 | BILASPUR TOWN | 11KV Birkona Feeder | 759 | 23 | 36960 | 2000016311
65 | BILASPUR TOWN | 11 KV New Mopka | 851 | 16 | 16980 | 2000017224
66 | BILASPUR TOWN | 11 KV Shivam City | 1301 | 22 | 14880 | 2000017225
67 | BILASPUR TOWN | 11 KV Mahaveer City | 232 | 9 | 9960 | 2000017226
68 | BILASPUR TOWN | 11KV Lingyadih Feeder | 173 | 12 | 266040 | 2000017505
69 | BILASPUR TOWN | 11KV Alka Avenue Colony Feeder | 1 | 6 | 7260 | 2000017776
70 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY 2 | 1 | 15 | 10260 | 2000017777
71 | BILASPUR TOWN | 11KV Uslapur Overbridge Feeder | 300 | 8 | 4800 | 2000017780
72 | BILASPUR TOWN | 11KV Abhishek Vihar Feeder | 271 | 7 | 6420 | 2000017781
73 | BILASPUR TOWN | 11KV Saluja Vihar Feeder | 1008 | 6 | 9120 | 2000018403
74 | BILASPUR TOWN | 11KV Narial Kothi Feeder | 759 | 15 | 152760 | 2000018761
75 | BILASPUR TOWN | 11KV Gandhi Chowk Feeder | 1667 | 5 | 40740 | 2000018762
76 | BILASPUR TOWN | 11KV Katiyapara Feeder | 427 | 6 | 6120 | 2000018763
77 | BILASPUR TOWN | 11KV Jail Road Feeder | 382 | 6 | 12360 | 2000020488
78 | BILASPUR TOWN | 11KV Nehru Chowk Feeder | 1227 | 8 | 12480 | 2000020489
79 | BILASPUR TOWN | 11KV CMD College Feeder | 924 | 5 | 5760 | 2000020582
80 | BILASPUR TOWN | 11KV Housing Board Feeder | 310 | 7 | 7920 | 2000022061
81 | BILASPUR TOWN | 11 KV Bhaisa Bazar Feeder | 338 | 4 | 1500 | 2000023801
82 | BILASPUR TOWN | 11 KV Chingraaz Para Feeder | 276 | 2 | 1800 | 2000023802
83 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 178 | 6 | 26820 | 2000006348
84 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5479 | 9 | 17940 | 2000003197
85 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 1959 | 10 | 52980 | 2000003196
86 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 971 | 7 | 6480 | 2000003195
87 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 14 | 3960 | 2000002566
88 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 53 | 694680 | 2000002567
89 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 2241 | 4 | 3540 | 2000002568
90 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1522 | 19 | 13320 | 2000002569
91 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3768 | 12 | 6840 | 2000002570
92 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 5 | 5280 | 2000002573
93 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 979 | 9 | 4560 | 2000002574
94 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3825 | 12 | 3780 | 2000002576
95 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 403 | 8 | 7140 | 2000002578
96 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2581 | 7 | 2940 | 2000002579
97 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2443 | 13 | 52740 | 2000001302
98 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 736 | 9 | 7860 | 2000001298
99 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 951 | 4 | 1920 | 2000001301
100 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 709 | 2 | 420 | 2000007685
101 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2840 | 12 | 14880 | 2000007686
102 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 655 | 10 | 5100 | 2000007687
103 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 112 | 3 | 4740 | 2000007688
104 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1035 | 36 | 144600 | 2000007689
105 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1765 | 6 | 19680 | 2000007694
106 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3308 | 2 | 480 | 2000007696
107 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 860 | 4 | 2280 | 2000007697
108 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2448 | 3 | 1860 | 2000007698
109 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2944 | 4 | 2760 | 2000007701
110 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1539 | 2 | 540 | 2000007702
111 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1017 | 10 | 17400 | 2000007703
112 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2057 | 33 | 71040 | 2000007705
113 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 951 | 14 | 23700 | 2000007708
114 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1522 | 8 | 3720 | 2000007709
115 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1852 | 9 | 28920 | 2000007711
116 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 4048 | 15 | 48900 | 2000007712
117 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 607 | 1 | 240 | 2000007713
118 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1333 | 13 | 4800 | 2000007714
119 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 979 | 5 | 6840 | 2000007715
120 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 663 | 2 | 420 | 2000007716
121 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 630 | 6 | 8760 | 2000007717
122 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1445 | 9 | 191700 | 2000007718
123 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1849 | 4 | 2100 | 2000007719
124 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 833 | 2 | 67200 | 2000007720
125 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3164 | 10 | 32640 | 2000007721
126 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1832 | 17 | 75060 | 2000007723
127 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1153 | 26 | 13860 | 2000007728
128 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 1882 | 16 | 58680 | 2000007729
129 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 496 | 9 | 8460 | 2000007731
130 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 532 | 2 | 480 | 2000007733
131 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 450 | 5 | 1800 | 2000007735
132 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1247 | 37 | 77520 | 2000007738
133 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 1219 | 13 | 6840 | 2000007739
134 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 846 | 4 | 1320 | 2000007740
135 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1488 | 3 | 1380 | 2000007741
136 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2411 | 1 | 3540 | 2000007742
137 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1151 | 13 | 25080 | 2000007743
138 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2324 | 21 | 70800 | 2000007747
139 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1070 | 6 | 3720 | 2000007748
140 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 510 | 13 | 28920 | 2000007749
141 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 9 | 18660 | 2000007751
142 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3074 | 7 | 6060 | 2000007752
143 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1788 | 5 | 1980 | 2000007754
144 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2674 | 8 | 191760 | 2000007756
145 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2317 | 10 | 52200 | 2000007757
146 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1026 | 24 | 23400 | 2000007758
147 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4384 | 4 | 1920 | 2000007759
148 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2488 | 10 | 16800 | 2000007760
149 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1266 | 5 | 3660 | 2000007762
150 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 179 | 3 | 840 | 2000007763
151 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 2 | 1020 | 2000007764
152 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 177 | 3 | 840 | 2000007765
153 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 3 | 840 | 2000007766
154 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 606 | 3 | 840 | 2000007767
155 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1252 | 3 | 840 | 2000007768
156 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2171 | 9 | 29220 | 2000007769
157 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1793 | 6 | 4320 | 2000007770
158 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1166 | 2 | 1320 | 2000007771
159 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 924 | 33 | 22980 | 2000007773
160 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1420 | 6 | 60960 | 2000007776
161 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1238 | 4 | 720 | 2000007777
162 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 364 | 16 | 5940 | 2000007778
163 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 746 | 19 | 81180 | 2000007779
164 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1190 | 8 | 26160 | 2000007780
165 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1777 | 18 | 11580 | 2000007781
166 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1580 | 5 | 4320 | 2000007782
167 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 240 | 1 | 180 | 2000007783
168 | DURG BHILAI CHARODA TOWN | 11KV Housing Board Feeder | 3426 | 3 | 3480 | 2000016998
169 | DURG BHILAI CHARODA TOWN | 11KV Somni Feeder | 1512 | 8 | 7680 | 2000017001
170 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 10 | 6960 | 2000017044
171 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 7 | 2700 | 2000017045
172 | DURG BHILAI CHARODA TOWN | 11 KV Houshing Board | 1998 | 7 | 3900 | 2000017052
173 | DURG BHILAI CHARODA TOWN | 11 KV Vande Mataram | 1191 | 5 | 1380 | 2000017054
174 | DURG BHILAI CHARODA TOWN | 11KV Church Feeder | 951 | 15 | 19080 | 2000017055
175 | DURG BHILAI CHARODA TOWN | 11KV Risali Basti Feeder | 937 | 3 | 6600 | 2000017056
176 | DURG BHILAI CHARODA TOWN | 11 KV Steel Colony | 981 | 13 | 74760 | 2000017058
177 | DURG BHILAI CHARODA TOWN | 11 KV Katun Boad | 348 | 25 | 67980 | 2000017059
178 | DURG BHILAI CHARODA TOWN | 11KV Gurunanak Feeder | 567 | 3 | 4380 | 2000017062
179 | DURG BHILAI CHARODA TOWN | 11KV Borsi Feeder | 1642 | 10 | 14040 | 2000017064
180 | DURG BHILAI CHARODA TOWN | 11KV Adarsh Nagar | 1021 | 9 | 3660 | 2000017065
181 | DURG BHILAI CHARODA TOWN | 11KV Shanti Nagar Feeder | 1061 | 3 | 1320 | 2000017066
182 | DURG BHILAI CHARODA TOWN | 11KV Ganapati Vihar Feeder | 389 | 17 | 23220 | 2000017069
183 | DURG BHILAI CHARODA TOWN | 11KV Borsi Chowk | 8 | 13 | 22800 | 2000017071
184 | DURG BHILAI CHARODA TOWN | 11KV Karhidih Feeder | 343 | 13 | 19320 | 2000017076
185 | DURG BHILAI CHARODA TOWN | 11KV Sanjay Nagar Feeder | 692 | 14 | 26520 | 2000018574
186 | DURG BHILAI CHARODA TOWN | 11KV Priyadarshani Parisar Feeder | 276 | 4 | 2700 | 2000018704
187 | DURG BHILAI CHARODA TOWN | 11KV Kosa Nagar Feeder | 1292 | 4 | 9480 | 2000018705
188 | DURG BHILAI CHARODA TOWN | 11KV Supela Thana Feeder | 1703 | 2 | 1020 | 2000018706
189 | DURG BHILAI CHARODA TOWN | 11KV Dakshin Gangotri Feeder | 2311 | 14 | 48300 | 2000018707
190 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 28 | 8 | 3180 | 2000018987
191 | DURG BHILAI CHARODA TOWN | 11KV Hospital Feeder | 230 | 2 | 49800 | 2000019819
192 | DURG BHILAI CHARODA TOWN | 11KV Guru Nanak Nagar Feeder | 1033 | 10 | 159540 | 2000020519
193 | DURG BHILAI CHARODA TOWN | 11KV Arya Ngar Feeder | 2891 | 2 | 19020 | 2000021263
194 | DURG BHILAI CHARODA TOWN | 11KV Santa Badi Feeder | 542 | 5 | 16680 | 2000021264
195 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 1922 | 2 | 3360 | 2000023773
196 | DURG BHILAI CHARODA TOWN | 11KV Milan Chowk Feeder | 336 | 8 | 2640 | 2000025794
197 | DURG BHILAI CHARODA TOWN | 11KV Shastri Nagar Feeder | 1656 | 12 | 6360 | 2000029193
198 | JAGDALPUR TOWN | 11KV New Bus Stand Feeder | 1947 | 5 | 8880 | 2000017872
199 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1199 | 1 | 480 | 2000004349
200 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 6 | 7080 | 2000004347
201 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 845 | 7 | 7380 | 2000004334
202 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1261 | 8 | 7980 | 2000004335
203 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1544 | 4 | 1920 | 2000004344
204 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1046 | 5 | 7260 | 2000004339
205 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 4 | 960 | 2000004336
206 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1531 | 1 | 480 | 2000004337
207 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2158 | 4 | 1680 | 2000004338
208 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 3 | 2040 | 2000002907
209 | KANKER TOWN | 11KV PATOD FEEDER | 686 | 5 | 6840 | 2000002909
210 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2915 | 10 | 4020 | 2000002910
211 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 420 | 30 | 52980 | 2000001047
212 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1041 | 4 | 2340 | 2000001051
213 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2942 | 4 | 2340 | 2000001055
214 | KORBA TOWN | 11KV Hundred Bed Hospital Feeder | 71 | 16 | 10560 | 2000017790
215 | KORBA TOWN | 11KV RP Nagar Feeder | 812 | 3 | 4140 | 2000016912
216 | KORBA TOWN | 11KV Town-1 Feeder | 709 | 5 | 10740 | 2000015220
217 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1165 | 23 | 1161120 | 2000006798
218 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 806 | 84 | 141120 | 2000006796
219 | KORBA TOWN | 11KV SARMANGLA FEEDER | 753 | 9 | 14460 | 2000006794
220 | KORBA TOWN | 11KV RURAL FEEDER | 2342 | 19 | 19560 | 2000006792
221 | KORBA TOWN | 11KV BAIKUND NAGAR FEEDER | 377 | 25 | 36720 | 2000017805
222 | KORBA TOWN | 11KV Mudapar Feeder | 1038 | 18 | 21600 | 2000020065
223 | KORBA TOWN | 11KV Sharda Vihar Feeder | 1099 | 43 | 40980 | 2000020122
224 | KORBA TOWN | 11KV PATRAKAR FEEDER | 301 | 5 | 6600 | 2000006790
225 | KORBA TOWN | 11KV PARSABADA FEEDER | 1416 | 28 | 32940 | 2000006789
226 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 695 | 17 | 36540 | 2000006787
227 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1257 | 18 | 61200 | 2000006786
228 | KORBA TOWN | 11KV NIHARIKA FEEDER | 712 | 6 | 363120 | 2000006784
229 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1301 | 9 | 295440 | 2000006783
230 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 772 | 6 | 7560 | 2000006782
231 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2810 | 6 | 10680 | 2000006778
232 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 53 | 66840 | 2000006770
233 | KORBA TOWN | 11KV BULGI FEEDER | 948 | 28 | 30180 | 2000006764
234 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 770 | 41 | 39000 | 2000006762
235 | KORBA TOWN | 11KV AJGAR BAHAR FEEDER | 2379 | 45 | 295500 | 2000006761
236 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 17 | 18780 | 2000006759
237 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 4 | 420 | 2000001423
238 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2339 | 8 | 10020 | 2000001424
239 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1323 | 4 | 8940 | 2000001427
240 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( Baghbera Fdr ) | 2086 | 3 | 3600 | 2000001430
241 | MUNGELI TOWN | 11 KV Kharaghat Feeder | 1394 | 26 | 10680 | 2000006458
242 | MUNGELI TOWN | 11 KV Colecter Feeder | 265 | 14 | 17340 | 2000006460
243 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 958 | 29 | 18720 | 2000002464
244 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1027 | 19 | 14280 | 2000002463
245 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2080 | 25 | 14940 | 2000002462
246 | RAIGARH TOWN | 11 KV Stadium feeder | 592 | 8 | 6420 | 2000022941
247 | RAIGARH TOWN | 11 KV Shriram feeder | 820 | 5 | 4020 | 2000022940
248 | RAIGARH TOWN | 11 KV Gulmohar Feeder | 682 | 13 | 11520 | 2000021639
249 | RAIGARH TOWN | 11KV Goga Mandir Chowk Feeder | 622 | 7 | 14160 | 2000020756
250 | RAIGARH TOWN | 11KV Durga Chowk Feeder | 902 | 6 | 8760 | 2000020755
251 | RAIGARH TOWN | 11KV Rajiv Nagar Feeder | 338 | 7 | 8940 | 2000020754
252 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1276 | 6 | 4140 | 2000003301
253 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 792 | 4 | 1800 | 2000003302
254 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1036 | 9 | 15000 | 2000003306
255 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1058 | 7 | 8640 | 2000003307
256 | RAIGARH TOWN | 11KV KOTWALI FEEDER | 1143 | 13 | 13260 | 2000003317
257 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1032 | 10 | 16260 | 2000003322
258 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1649 | 3 | 2280 | 2000017958
259 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1558 | 7 | 9300 | 2000003314
260 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 222 | 10 | 12480 | 2000003312
261 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1253 | 9 | 12060 | 2000003311
262 | RAIGARH TOWN | 11 KV Gerwani feeder | 1663 | 16 | 34080 | 2000016185
263 | RAIGARH TOWN | 11kv Collectred Feeder | 82 | 9 | 18000 | 2000016056
264 | RAIGARH TOWN | 11kv Panjari Plant Feeder | 980 | 6 | 8340 | 2000016055
265 | RAIGARH TOWN | 11 KV Vrindavan Colony Feeder | 96 | 8 | 5640 | 2000016054
266 | RAIGARH TOWN | 11KV Bhagwanpur Feeder | 801 | 12 | 13200 | 2000016053
267 | RAIGARH TOWN | 11KV Baba Dham Feeder | 843 | 8 | 11880 | 2000016052
268 | RAIGARH TOWN | 11KV Transport Nagar Feeder | 586 | 8 | 13020 | 2000016050
269 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 719 | 7 | 17520 | 2000003309
270 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 378 | 10 | 40860 | 2000017956
271 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 341 | 12 | 27000 | 2000010583
272 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 919 | 6 | 1920 | 2000010585
273 | RAIPUR TOWN | 11KV CITY FEEDER | 2266 | 7 | 9840 | 2000010587
274 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1352 | 7 | 19500 | 2000010588
275 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 948 | 5 | 10140 | 2000010589
276 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 765 | 6 | 9600 | 2000010591
277 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 268 | 21 | 37860 | 2000010592
278 | RAIPUR TOWN | 11KV MLA FEEDER | 1055 | 11 | 3420 | 2000010595
279 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 38 | 8 | 18660 | 2000010596
280 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 755 | 5 | 9600 | 2000010598
281 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 823 | 12 | 5400 | 2000010601
282 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1042 | 12 | 9000 | 2000010603
283 | RAIPUR TOWN | 11KV ATARI FEEDER | 740 | 15 | 16020 | 2000010604
284 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 278 | 1 | 240 | 2000010605
285 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 730 | 14 | 21840 | 2000010606
286 | RAIPUR TOWN | 11KV BASTAL FEEDER | 603 | 15 | 8160 | 2000010610
287 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1534 | 8 | 3840 | 2000010611
288 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 964 | 4 | 1620 | 2000010613
289 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 134 | 4 | 25680 | 2000010615
290 | RAIPUR TOWN | 11KV COLONY FEEDER | 83 | 5 | 50940 | 2000010616
291 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1588 | 9 | 3420 | 2000010622
292 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 831 | 12 | 10440 | 2000010624
293 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 88 | 11 | 11400 | 2000010625
294 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1680 | 7 | 3000 | 2000010628
295 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2286 | 6 | 2220 | 2000010631
296 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1847 | 6 | 5520 | 2000010632
297 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1623 | 10 | 3600 | 2000010634
298 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 744 | 2 | 1800 | 2000010638
299 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 2 | 17700 | 2000010641
300 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 726 | 8 | 23400 | 2000010642
301 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 481 | 7 | 25680 | 2000010647
302 | RAIPUR TOWN | 11KV KHARUN FEEDER | 991 | 3 | 4260 | 2000010649
303 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1461 | 11 | 37860 | 2000010650
304 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1113 | 7 | 2280 | 2000010653
305 | RAIPUR TOWN | 11KV MAHALAXMI | 591 | 11 | 21300 | 2000010655
306 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 1978 | 2 | 780 | 2000010656
307 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 444 | 4 | 14160 | 2000010657
308 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 525 | 3 | 1080 | 2000010658
309 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 48 | 13 | 5040 | 2000010660
310 | RAIPUR TOWN | 11KV LAKHE NAGAR FEEDER | 1571 | 7 | 34440 | 2000010661
311 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 1442 | 9 | 8820 | 2000010666
312 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1736 | 5 | 1200 | 2000010668
313 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 531 | 11 | 3300 | 2000010670
314 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 902 | 10 | 5040 | 2000010671
315 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1248 | 7 | 27060 | 2000010672
316 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5386 | 8 | 9960 | 2000010674
317 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4037 | 6 | 3060 | 2000010675
318 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 13 | 17040 | 2000010676
319 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 526 | 19 | 16260 | 2000010677
320 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2071 | 9 | 3660 | 2000010680
321 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 376 | 13 | 41580 | 2000010686
322 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 253 | 3 | 28440 | 2000010688
323 | RAIPUR TOWN | 11KV RDA FEEDER | 847 | 9 | 8220 | 2000010689
324 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 347 | 4 | 2160 | 2000010690
325 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 2 | 7 | 3360 | 2000010694
326 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1558 | 9 | 10260 | 2000010695
327 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1794 | 9 | 11820 | 2000010696
328 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1266 | 5 | 960 | 2000010699
329 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 1847 | 9 | 5880 | 2000010700
330 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 809 | 1 | 1560 | 2000010701
331 | RAIPUR TOWN | 11KV SAMTA FEEDER | 541 | 1 | 180 | 2000010704
332 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 379 | 6 | 35520 | 2000010706
333 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 483 | 3 | 19860 | 2000010707
334 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 885 | 13 | 47040 | 2000010708
335 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2372 | 6 | 13200 | 2000010709
336 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 296 | 10 | 5040 | 2000010713
337 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 976 | 7 | 8100 | 2000010714
338 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1419 | 3 | 7560 | 2000010717
339 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2631 | 8 | 18540 | 2000010722
340 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 702 | 10 | 4020 | 2000010725
341 | RAIPUR TOWN | 11KV TV FEEDER | 2876 | 12 | 3240 | 2000010728
342 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1164 | 10 | 5640 | 2000010729
343 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 419 | 9 | 5880 | 2000010732
344 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 21 | 6 | 16920 | 2000010733
345 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 506 | 5 | 1020 | 2000010739
346 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2087 | 6 | 1080 | 2000010741
347 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 4 | 3480 | 2000010742
348 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 4 | 3480 | 2000010743
349 | RAIPUR TOWN | 11KV Dawada Colony Feeder | 2060 | 10 | 10920 | 2000017238
350 | RAIPUR TOWN | 11KV Panjabi Colony Feeder | 899 | 11 | 6900 | 2000017256
351 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2182 | 22 | 3420 | 2000017261
352 | RAIPUR TOWN | 11KV Dindayal New Feeder | 1032 | 2 | 6240 | 2000017508
353 | RAIPUR TOWN | 11KV Chikni Mandir Feeder | 2413 | 14 | 6960 | 2000017567
354 | RAIPUR TOWN | 11KV WHITE HOUSE | 553 | 2 | 19800 | 2000017568
355 | RAIPUR TOWN | 11KV Kali Mandir Kalimai Feeder | 590 | 3 | 9000 | 2000017569
356 | RAIPUR TOWN | 11KV Sadar Bazar Feeder | 975 | 4 | 1560 | 2000017576
357 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 637 | 18 | 55620 | 2000017590
358 | RAIPUR TOWN | 11KV Bhatagaon Feeder | 1892 | 4 | 2340 | 2000017600
359 | RAIPUR TOWN | 11KV Medical College Feeder | 15 | 5 | 19800 | 2000017607
360 | RAIPUR TOWN | 11 KV MMI Krishna Nagar Feeder | 1684 | 21 | 14700 | 2000017608
361 | RAIPUR TOWN | 11KV Shastri Bazar Feeder | 1509 | 12 | 5280 | 2000017611
362 | RAIPUR TOWN | 11 KV Vidya Bhawan Feeder | 56 | 5 | 10260 | 2000017613
363 | RAIPUR TOWN | 11KV Shakti Nagar Feeder | 322 | 11 | 2820 | 2000017617
364 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1776 | 10 | 3300 | 2000017621
365 | RAIPUR TOWN | 11KV Chandadih Feeder | 631 | 3 | 2700 | 2000017623
366 | RAIPUR TOWN | 11KV Daber City Feeder (Disconneted) | 604 | 8 | 3420 | 2000017624
367 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 644 | 13 | 8100 | 2000017671
368 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 171 | 13 | 8220 | 2000017673
369 | RAIPUR TOWN | 11KV Suraj Nagar | 1089 | 3 | 780 | 2000017690
370 | RAIPUR TOWN | 11KV Roman Square | 453 | 3 | 840 | 2000017691
371 | RAIPUR TOWN | 11KV Krishak Nagar | 173 | 3 | 660 | 2000017692
372 | RAIPUR TOWN | 11Kv KaranNagar feeder | 2843 | 6 | 1860 | 2000017808
373 | RAIPUR TOWN | 11KV Sarathi ChowkFeeder | 396 | 7 | 2100 | 2000017817
374 | RAIPUR TOWN | 11 KV Station Road Feeder | 840 | 14 | 51600 | 2000017867
375 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 6 | 22620 | 2000017869
376 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1364 | 13 | 32460 | 2000017870
377 | RAIPUR TOWN | 11 KV Acre PlotFeeder | 253 | 5 | 4800 | 2000017871
378 | RAIPUR TOWN | 11KV NAVEEN MARKET | 858 | 6 | 20820 | 2000017953
379 | RAIPUR TOWN | 11 KV AZAD Chowk Feeder | 2675 | 2 | 1200 | 2000017954
380 | RAIPUR TOWN | 11KV MG ROAD | 1575 | 4 | 3480 | 2000017955
381 | RAIPUR TOWN | 11KV Son Dongari Feeder | 957 | 8 | 4200 | 2000017962
382 | RAIPUR TOWN | 11KV Rajdhani Vihar Feeder | 291 | 20 | 16380 | 2000018004
383 | RAIPUR TOWN | 11KV Saddu Feeder | 291 | 29 | 77220 | 2000018005
384 | RAIPUR TOWN | 11KV Shanti Sarovar Feeder | 1172 | 27 | 32160 | 2000018006
385 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 380 | 15 | 13860 | 2000018359
386 | RAIPUR TOWN | 11KV Dental College Feeder | 34 | 9 | 2820 | 2000018378
387 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 945 | 7 | 4260 | 2000018394
388 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 587 | 11 | 42420 | 2000018396
389 | RAIPUR TOWN | 11KV IGVP | 356 | 6 | 13200 | 2000018397
390 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 336 | 23 | 37560 | 2000018416
391 | RAIPUR TOWN | 11KV Satyam Vihar Feeder | 2520 | 3 | 420 | 2000018949
392 | RAIPUR TOWN | 11KV Gondwara Feeder | 418 | 11 | 3480 | 2000019179
393 | RAIPUR TOWN | 11KV Gogaon Feeder | 2948 | 4 | 3180 | 2000019180
394 | RAIPUR TOWN | 11KV Jivnani Feeder | 459 | 10 | 4980 | 2000019185
395 | RAIPUR TOWN | 11KV Mahatma Gandhi Nagar Feeder | 1825 | 11 | 2760 | 2000019186
396 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1918 | 25 | 56340 | 2000019334
397 | RAIPUR TOWN | 11KV Sent Xavier School Feeder | 289 | 6 | 840 | 2000019340
398 | RAIPUR TOWN | 11KV SapreSala Feeder | 892 | 7 | 2340 | 2000019485
399 | RAIPUR TOWN | 11Kv Professor Colony feeder | 1074 | 18 | 40980 | 2000019530
400 | RAIPUR TOWN | 11KV Block No 1,2,3,4 Feeder | 61 | 10 | 5040 | 2000019852
401 | RAIPUR TOWN | 11KV RDA Colony Feeder | 1688 | 8 | 2820 | 2000019857
402 | RAIPUR TOWN | 11KV Mahaveer Nagar Feeder | 1897 | 8 | 2700 | 2000020009
403 | RAIPUR TOWN | 11KV Parshuram Nagar Feeder | 2620 | 9 | 8040 | 2000020119
404 | RAIPUR TOWN | 11KV Station Road Feeder | 329 | 7 | 25440 | 2000020130
405 | RAIPUR TOWN | 11KV Kaling Nagar Feeder | 104 | 3 | 2820 | 2000020131
406 | RAIPUR TOWN | 11KV Vijeta Complex Feeder | 351 | 1 | 2520 | 2000020193
407 | RAIPUR TOWN | 11KV Medishine Feeder | 969 | 15 | 24420 | 2000020194
408 | RAIPUR TOWN | 11 KV Tikapara Feeder | 2416 | 13 | 15360 | 2000020581
409 | RAIPUR TOWN | 11KV Danteshwari Feeder | 845 | 12 | 16320 | 2000021219
410 | RAIPUR TOWN | 11KV Dudadhari Feeder | 1226 | 8 | 24660 | 2000021220
411 | RAIPUR TOWN | 11KV Parsuram Feeder | 1343 | 7 | 3720 | 2000021221
412 | RAIPUR TOWN | 11KV Shivaji Nagar Feeder | 619 | 20 | 17880 | 2000021286
413 | RAIPUR TOWN | 11KV Sciene Center Feeder | 1099 | 19 | 18900 | 2000021287
414 | RAIPUR TOWN | 11KV BORIYA Feeder | 768 | 8 | 1680 | 2000021424
415 | RAIPUR TOWN | 11KV Lohar Chowk Feeder | 814 | 1 | 360 | 2000022078
416 | RAIPUR TOWN | 11KV Brahman Para Feeder | 1310 | 1 | 300 | 2000022079
417 | RAIPUR TOWN | 11KV Naharpara Feeder | 1383 | 18 | 11640 | 2000023680
418 | RAIPUR TOWN | 11KV Dubey Colony Feeder | 1359 | 8 | 356940 | 2000023735
419 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 125 | 12 | 9360 | 2000023736
420 | RAIPUR TOWN | 11KV Amar Palace Feeder | 432 | 6 | 7380 | 2000023848
421 | RAIPUR TOWN | 11 KV Adiwasi Colony Feeder | 1393 | 9 | 34440 | 2000026582
422 | RAIPUR TOWN | 11 KV Bheem Nagar Feeder | 926 | 5 | 30600 | 2000026583
423 | RAIPUR TOWN | 11 KV Giriraj Tower Feeder | 978 | 10 | 41040 | 2000026584
424 | RAIPUR TOWN | 11 Kv Panitanki Zone No.3 Feeder | 255 | 3 | 1140 | 2000026586
425 | RAIPUR TOWN | 11KV Bazar Chowk Feeder | 1237 | 2 | 1080 | 2000034421
426 | RAIPUR TOWN | 11KV Sanyasipara Feeder | 657 | 18 | 18060 | 2000034423
427 | RAIPUR TOWN | 11KV Pride Feeder | 43 | 9 | 9720 | 2000039215
428 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 782 | 3 | 3600 | 2000001962
429 | RAJNANDGAON TOWN | 11 KV Ganjmandi Town Feeder | 3375 | 7 | 1200 | 2000006488
430 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 798 | 13 | 6240 | 2000001955
431 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4268 | 6 | 2100 | 2000001956
432 | RAJNANDGAON TOWN | 11 KV Litiya Feeder | 1 | 14 | 9720 | 2000014955
433 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 23 | 8 | 14400 | 2000001960
434 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2255 | 6 | 4740 | 2000001979
435 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 936 | 4 | 1320 | 2000001978
436 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 955 | 2 | 960 | 2000001968
437 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2626 | 4 | 8820 | 2000001967
438 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 220 | 25 | 21720 | 2000001965
439 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2698 | 6 | 4080 | 2000001963