## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Aug'18
Period: |  | 1st Jul'18 to 31st Jul'18
Number of Towns: |  | 20
Total nos. of Feeders: |  | 456
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1223 | 49 | 76920 | 2000003854
2 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 2321 | 139 | 619380 | 2000003848
3 | AMBIKAPUR TOWN | 11KV FILTER PLANT FEEDER | 202 | 64 | 123180 | 2000003845
4 | AMBIKAPUR TOWN | 11KV BUS STAND FEEDER | 1223 | 60 | 89640 | 2000003840
5 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 208 | 74 | 105600 | 2000003841
6 | AMBIKAPUR TOWN | 11KV SARGAVA (TOWN-II) | 125 | 100 | 191220 | 2000015334
7 | AMBIKAPUR TOWN | 11 KV GANGAPARA SUBSTATION FEEDER | 467 | 63 | 123300 | 2000006627
8 | AMBIKAPUR TOWN | 11 KV DC ROAD | 1494 | 91 | 125760 | 2000014951
9 | AMBIKAPUR TOWN | 11 KV DARRIPARA SUBSATION FEEDER | 333 | 52 | 79140 | 2000014961
10 | AMBIKAPUR TOWN | 11 KV BABUPARA SUBSTAION FEEDER | 1199 | 62 | 94980 | 2000014960
11 | AMBIKAPUR TOWN | 11 KV TRANSPORT NAGAR | 1 | 77 | 409380 | 2000014959
12 | BHATAPARA TOWN | 11KV RAILWAY FEEDER | 3149 | 42 | 55500 | 2000001004
13 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) FEEDER | 241 | 21 | 30180 | 2000001005
14 | BHATAPARA TOWN | 11KV TIKULIYA (RURAL) FEEDER | 105 | 47 | 140700 | 2000001006
15 | BHATAPARA TOWN | 11KV TUMAR FEEDER | 295 | 123 | 439740 | 2000001008
16 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 383 | 40 | 114960 | 2000001011
17 | BHATAPARA TOWN | 11KV PATPAR FEEDER | 260 | 51 | 99300 | 2000001013
18 | BHATAPARA TOWN | 11KV ATAL JYOTI | 4 | 72 | 769140 | 2000014962
19 | BHATAPARA TOWN | MAYUR SCHOOL 11KV FEEDER | 399 | 35 | 41880 | 2000006377
20 | BHATAPARA TOWN | HATARI BAZAR 11KV FEEDER | 1426 | 32 | 46260 | 2000006376
21 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 636 | 43 | 42780 | 2000006347
22 | BHATAPARA TOWN | 11KV COLONY FEEDER | 33 | 41 | 116040 | 2000004255
23 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1481 | 68 | 84600 | 2000004868
24 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1580 | 28 | 70800 | 2000004871
25 | BILASPUR TOWN | 11KV DHEKA FEEDER | 279 | 69 | 120720 | 2000004877
26 | BILASPUR TOWN | 11KV DHUMA FEEDER | 681 | 15 | 29220 | 2000004878
27 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 441 | 46 | 95520 | 2000004879
28 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 2815 | 60 | 70080 | 2000004882
29 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1253 | 33 | 29100 | 2000004883
30 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1681 | 52 | 62460 | 2000004884
31 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1958 | 24 | 33120 | 2000004888
32 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2524 | 61 | 58980 | 2000004889
33 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1225 | 43 | 65100 | 2000004891
34 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 591 | 29 | 26940 | 2000004892
35 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 2709 | 54 | 75780 | 2000004893
36 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2060 | 27 | 66120 | 2000004896
37 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 5 | 10 | 9180 | 2000004897
38 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 857 | 76 | 180900 | 2000004898
39 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1119 | 55 | 116280 | 2000004900
40 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2298 | 48 | 68940 | 2000004901
41 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 136 | 30 | 27300 | 2000004903
42 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2312 | 46 | 66480 | 2000004904
43 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2042 | 3 | 1020 | 2000004907
44 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 737 | 30 | 30840 | 2000004908
45 | BILASPUR TOWN | 11KV RAMA GREEN FEEDER | 3191 | 49 | 84060 | 2000004909
46 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1074 | 32 | 26880 | 2000004911
47 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1563 | 64 | 55560 | 2000004912
48 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1801 | 38 | 49620 | 2000004913
49 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2368 | 33 | 35340 | 2000004914
50 | BILASPUR TOWN | 11KV RULER FEEDER | 1575 | 23 | 33480 | 2000004916
51 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2020 | 69 | 62220 | 2000004917
52 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1342 | 33 | 22800 | 2000004919
53 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 343 | 87 | 59820 | 2000004923
54 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 3839 | 63 | 52980 | 2000004926
55 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 718 | 71 | 53160 | 2000016310
56 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 762 | 49 | 45000 | 2000016311
57 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 853 | 83 | 70920 | 2000016314
58 | BILASPUR TOWN | 11 KV NEW MOPKA | 835 | 40 | 69720 | 2000017224
59 | BILASPUR TOWN | 11 KV SHIVAM CITY | 1264 | 27 | 32580 | 2000017225
60 | BILASPUR TOWN | 11 KV MAHAVEER CITY | 215 | 27 | 41220 | 2000017226
61 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 169 | 41 | 289500 | 2000017505
62 | BILASPUR TOWN | 11KV ALKA AVENUE COLONY FEEDER | 1 | 47 | 56160 | 2000017776
63 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 314 | 113 | 104580 | 2000017780
64 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 271 | 99 | 148740 | 2000017781
65 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1005 | 50 | 48000 | 2000018403
66 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 774 | 21 | 26940 | 2000018761
67 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1669 | 14 | 33060 | 2000018762
68 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 427 | 21 | 25020 | 2000018763
69 | BILASPUR TOWN | 11KV JAIL ROAD FEEDER | 381 | 44 | 52020 | 2000020488
70 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1211 | 50 | 39240 | 2000020489
71 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 920 | 25 | 22320 | 2000020582
72 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 965 | 7 | 8400 | 2000020583
73 | BILASPUR TOWN | 11 KV BHAISA BAZAR FEEDER | 338 | 48 | 63960 | 2000023801
74 | BILASPUR TOWN | 11 KV CHINGRAAZ PARA FEEDER | 274 | 18 | 27420 | 2000023802
75 | DALLI RAJHARA TOWN | 11KV MOHALA FEEDER | 968 | 57 | 33960 | 2000003195
76 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2003 | 39 | 128400 | 2000003196
77 | DALLI RAJHARA TOWN | 11KV TOWN 1 FEEDER | 5564 | 69 | 60000 | 2000003197
78 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 22 | 41 | 119640 | 2000002566
79 | DHAMTARI TOWN | 11KV COLLEGE ROAD FEEDER | 2232 | 10 | 1065180 | 2000002568
80 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1516 | 37 | 14460 | 2000002569
81 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 3761 | 45 | 28320 | 2000002570
82 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 23 | 22620 | 2000002573
83 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 976 | 46 | 29880 | 2000002574
84 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 3806 | 35 | 28800 | 2000002576
85 | DHAMTARI TOWN | 11KV SHANTI COLONY-2 FEEDER | 402 | 29 | 32580 | 2000002578
86 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2546 | 41 | 19500 | 2000002579
87 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1078 | 9 | 5520 | 2000001299
88 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 2433 | 16 | 14100 | 2000001302
89 | DURG BHILAI CHARODA TOWN | 11KV ANAND NAGAR FEEDER | 712 | 12 | 6960 | 2000007685
90 | DURG BHILAI CHARODA TOWN | 11KV AGRSEN CHOWK FEEDER | 2195 | 20 | 8400 | 2000007686
91 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 656 | 65 | 161880 | 2000007687
92 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 112 | 26 | 28200 | 2000007688
93 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 1037 | 45 | 103380 | 2000007689
94 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 1760 | 15 | 27120 | 2000007694
95 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 3316 | 14 | 10260 | 2000007696
96 | DURG BHILAI CHARODA TOWN | 11KV CSEB COLONY FEEDER | 857 | 11 | 14820 | 2000007697
97 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 2862 | 32 | 42360 | 2000007701
98 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 987 | 9 | 3840 | 2000007702
99 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1008 | 15 | 29520 | 2000007703
100 | DURG BHILAI CHARODA TOWN | 11KV DINDAYAL PURAMFEEDER | 2029 | 58 | 137700 | 2000007705
101 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-1 FEEDER | 957 | 20 | 43800 | 2000007708
102 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1532 | 29 | 19680 | 2000007709
103 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 1861 | 10 | 24900 | 2000007711
104 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 455 | 56 | 53580 | 2000007712
105 | DURG BHILAI CHARODA TOWN | 11KV HANUMAN NAGAR FEEDER | 612 | 29 | 28320 | 2000007713
106 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-1 FEEDER | 1326 | 24 | 46620 | 2000007714
107 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 978 | 32 | 47100 | 2000007715
108 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-3 FEEDER | 662 | 50 | 46440 | 2000007716
109 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-4 FEEDER | 625 | 26 | 32880 | 2000007717
110 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1467 | 11 | 16020 | 2000007718
111 | DURG BHILAI CHARODA TOWN | 11KV ISPAT NAGAR FEEDER | 1842 | 17 | 33600 | 2000007719
112 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 825 | 19 | 26340 | 2000007720
113 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 3198 | 6 | 20160 | 2000007721
114 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 1855 | 52 | 48840 | 2000007723
115 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1178 | 6 | 67200 | 2000007724
116 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 1149 | 71 | 103200 | 2000007728
117 | DURG BHILAI CHARODA TOWN | 11KV KARMCHARI NAGAR FEEDER | 605 | 34 | 12780 | 2000007729
118 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 496 | 77 | 111960 | 2000007731
119 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 529 | 17 | 32820 | 2000007733
120 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 453 | 35 | 33300 | 2000007735
121 | DURG BHILAI CHARODA TOWN | 11KV NANDINI ROAD FEEDER | 1240 | 21 | 213240 | 2000007738
122 | DURG BHILAI CHARODA TOWN | 11KV LIMATARA FEEDER | 738 | 41 | 34620 | 2000007739
123 | DURG BHILAI CHARODA TOWN | 11KV NEHRU NAGAR FEEDER | 851 | 28 | 30060 | 2000007740
124 | DURG BHILAI CHARODA TOWN | 11KV PADMANABHPUR FEEDER | 1475 | 11 | 29700 | 2000007741
125 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1148 | 23 | 42900 | 2000007743
126 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1081 | 39 | 22680 | 2000007744
127 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 2322 | 41 | 116340 | 2000007747
128 | DURG BHILAI CHARODA TOWN | 11KV RADHIKA NAGAR FEEDER | 1076 | 36 | 58440 | 2000007748
129 | DURG BHILAI CHARODA TOWN | 11KV RAJENDRA PARK FEEDER | 508 | 17 | 5100 | 2000007749
130 | DURG BHILAI CHARODA TOWN | 11KV RAILWAY FEEDER | 1112 | 30 | 43260 | 2000007751
131 | DURG BHILAI CHARODA TOWN | 11KV RAM NAGAR FEEDER | 3161 | 32 | 47460 | 2000007752
132 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1787 | 32 | 49020 | 2000007754
133 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUM PARK FEEDER | 246 | 42 | 36960 | 2000007755
134 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2758 | 23 | 33840 | 2000007756
135 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 1470 | 34 | 29460 | 2000007757
136 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 1067 | 41 | 19020 | 2000007758
137 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 4389 | 23 | 81540 | 2000007759
138 | DURG BHILAI CHARODA TOWN | 11KV SHIRSHA ROAD FEEDER | 2506 | 42 | 59700 | 2000007760
139 | DURG BHILAI CHARODA TOWN | 11KV SMRITI NAGAR FEEDER | 1271 | 45 | 43440 | 2000007762
140 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 1 FEEDER | 178 | 14 | 6360 | 2000007763
141 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 2 FEEDER | 309 | 14 | 6420 | 2000007764
142 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 3 FEEDER | 176 | 14 | 6180 | 2000007765
143 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 4 FEEDER | 205 | 7 | 6540 | 2000007766
144 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 5 FEEDER | 603 | 7 | 5460 | 2000007767
145 | DURG BHILAI CHARODA TOWN | 11 KV TALPURI 6 FEEDER | 1245 | 7 | 5940 | 2000007768
146 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 2181 | 35 | 45900 | 2000007769
147 | DURG BHILAI CHARODA TOWN | 11KV SHARDA PARA FEEDER | 1791 | 29 | 34080 | 2000007770
148 | DURG BHILAI CHARODA TOWN | 11KV SURYA VIHAR FEEDER | 1173 | 34 | 36660 | 2000007771
149 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1216 | 48 | 29340 | 2000007773
150 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1298 | 25 | 4320 | 2000007776
151 | DURG BHILAI CHARODA TOWN | 11KV TRIVENI NAGAR FEEDER | 1225 | 46 | 34320 | 2000007777
152 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 367 | 38 | 62820 | 2000007778
153 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 773 | 49 | 140280 | 2000007779
154 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 1242 | 11 | 54960 | 2000007780
155 | DURG BHILAI CHARODA TOWN | 11KV VIVEKANAND FEEDER | 1784 | 24 | 60960 | 2000007781
156 | DURG BHILAI CHARODA TOWN | 11KV GAUTAM NAGAR FEEDER | 1479 | 35 | 22800 | 2000007782
157 | DURG BHILAI CHARODA TOWN | 11KV VAISHALI NAGAR FEEDER | 240 | 56 | 61200 | 2000007783
158 | DURG BHILAI CHARODA TOWN | 11KV HOUSING BOARD FEEDER | 2595 | 53 | 63420 | 2000016998
159 | DURG BHILAI CHARODA TOWN | 11KV SOMNI FEEDER | 1531 | 24 | 30240 | 2000017001
160 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -1 FEEDER | 462 | 31 | 23160 | 2000017044
161 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -2 FEEDER | 61 | 16 | 10920 | 2000017045
162 | DURG BHILAI CHARODA TOWN | 11 KV HOUSHING BOARD | 2027 | 103 | 493920 | 2000017052
163 | DURG BHILAI CHARODA TOWN | 11 KV VANDE MATARAM | 1198 | 73 | 324240 | 2000017054
164 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 949 | 57 | 116160 | 2000017055
165 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 936 | 19 | 55500 | 2000017056
166 | DURG BHILAI CHARODA TOWN | 11 KV SAF BATALIAN | 384 | 11 | 3840 | 2000017057
167 | DURG BHILAI CHARODA TOWN | 11 KV STEEL COLONY | 995 | 16 | 9960 | 2000017058
168 | DURG BHILAI CHARODA TOWN | 11 KV KATUN BOAD | 1704 | 20 | 23760 | 2000017059
169 | DURG BHILAI CHARODA TOWN | 11 KV GREEN CHOWK | 542 | 10 | 28680 | 2000017060
170 | DURG BHILAI CHARODA TOWN | 11 KV TITURDIH | 893 | 12 | 43980 | 2000017061
171 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 571 | 50 | 86520 | 2000017062
172 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1721 | 15 | 36420 | 2000017063
173 | DURG BHILAI CHARODA TOWN | 11KV BORSI FEEDER | 1647 | 24 | 53400 | 2000017064
174 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1034 | 120 | 61740 | 2000017065
175 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1069 | 68 | 93120 | 2000017066
176 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 399 | 112 | 45840 | 2000017069
177 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 1056 | 129 | 57180 | 2000017071
178 | DURG BHILAI CHARODA TOWN | 11KV KARHIDIH FEEDER | 331 | 43 | 38400 | 2000017076
179 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 700 | 51 | 73500 | 2000018574
180 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDER | 282 | 41 | 65700 | 2000018704
181 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1305 | 20 | 41820 | 2000018705
182 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1710 | 19 | 34020 | 2000018706
183 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 2333 | 50 | 76440 | 2000018707
184 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1387 | 18 | 205140 | 2000018723
185 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 29 | 29 | 28320 | 2000018987
186 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 222 | 48 | 37680 | 2000019819
187 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 953 | 21 | 8280 | 2000020519
188 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 2994 | 7 | 20760 | 2000021263
189 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1174 | 43 | 65940 | 2000021264
190 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 2082 | 66 | 69360 | 2000023773
191 | DURG BHILAI CHARODA TOWN | 11KV MILAN CHOWK FEEDER | 336 | 26 | 38640 | 2000025794
192 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1660 | 62 | 77400 | 2000029193
193 | JAGDALPUR TOWN | 11KV VARGISH FEEDER | 1436 | 1 | 15900 | 2000023847
194 | JAGDALPUR TOWN | 11KV NEW BUS STAND FEEDER | 1955 | 10 | 21060 | 2000017872
195 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1205 | 7 | 3300 | 2000004349
196 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 258 | 4 | 1620 | 2000004347
197 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1562 | 21 | 27180 | 2000004344
198 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 1043 | 55 | 104220 | 2000004339
199 | JAGDALPUR TOWN | 11KV KUMHARPARA FEEDER | 2184 | 17 | 15120 | 2000004338
200 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1541 | 5 | 4080 | 2000004337
201 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 1371 | 12 | 7800 | 2000004336
202 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1268 | 12 | 23940 | 2000004335
203 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 847 | 13 | 22440 | 2000004334
204 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 1545 | 20 | 17040 | 2000004330
205 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1763 | 12 | 22020 | 2000004332
206 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1116 | 51 | 43800 | 2000015850
207 | KANKER TOWN | 11KV RAJAPARA FEEDER | 2906 | 41 | 24900 | 2000002910
208 | KANKER TOWN | 11KV PATOD FEEDER | 555 | 44 | 72840 | 2000002909
209 | KANKER TOWN | 11KV KESHKAL FEEDER | 18 | 54 | 61380 | 2000002907
210 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDER | 2976 | 39 | 30180 | 2000001055
211 | KAWARDHA TOWN | 11KV MAHARAJPUR (RURAL) FEEDER | 1032 | 26 | 36720 | 2000001051
212 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDER | 417 | 100 | 304860 | 2000001047
213 | KORBA TOWN | 11 KV RUSSIAN HOSTEL | 9 | 43 | 85440 | 2000006490
214 | KORBA TOWN | 11KV ABC FEEDER | 1533 | 41 | 58500 | 2000006759
215 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 768 | 81 | 68760 | 2000006762
216 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1054 | 66 | 1882380 | 2000021425
217 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1123 | 140 | 291660 | 2000020122
218 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1042 | 80 | 803880 | 2000020065
219 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEEDER | 374 | 126 | 346920 | 2000017805
220 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 70 | 41 | 55620 | 2000017790
221 | KORBA TOWN | 11KV RP NAGAR FEEDER | 812 | 19 | 29820 | 2000016912
222 | KORBA TOWN | 11KV T.P NAGAR FEEDER | 1198 | 69 | 457680 | 2000006798
223 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 802 | 282 | 498360 | 2000006796
224 | KORBA TOWN | 11KV SARMANGLA FEEDER | 746 | 37 | 61080 | 2000006794
225 | KORBA TOWN | 11KV RURAL FEEDER | 2296 | 101 | 305700 | 2000006792
226 | KORBA TOWN | 11KV RAMPUR FEEDER | 812 | 16 | 630840 | 2000006791
227 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 293 | 38 | 54240 | 2000006790
228 | KORBA TOWN | 11KV PARSABADA FEEDER | 1398 | 132 | 162960 | 2000006789
229 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 702 | 156 | 267300 | 2000006787
230 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1248 | 13 | 61380 | 2000006786
231 | KORBA TOWN | 11KV NIHARIKA FEEDER | 711 | 22 | 69000 | 2000006784
232 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1300 | 46 | 29280 | 2000006783
233 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 767 | 75 | 113760 | 2000006782
234 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 2807 | 44 | 139320 | 2000006778
235 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 775 | 161 | 1069380 | 2000006773
236 | KORBA TOWN | 11KV DUMARDIH FEEDER | 18 | 45 | 631620 | 2000006770
237 | KORBA TOWN | 11KV BULGI FEEDER | 942 | 171 | 244080 | 2000006764
238 | MAHASAMUND TOWN | 11KV BAMHANI (RURAL) FEEDER | 26 | 47 | 48480 | 2000001423
239 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 2350 | 20 | 67980 | 2000001424
240 | MAHASAMUND TOWN | 11KV TOWN-3 FEEDER ( BAGHBERA FDR ) | 2102 | 18 | 13800 | 2000001430
241 | MUNGELI TOWN | 11 KV COLECTER FEEDER | 412 | 52 | 46920 | 2000006460
242 | MUNGELI TOWN | 11 KV KHARAGHAT FEEDER | 1399 | 38 | 42720 | 2000006458
243 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2118 | 71 | 39720 | 2000002462
244 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1044 | 74 | 74700 | 2000002463
245 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 975 | 87 | 49500 | 2000002464
246 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1291 | 75 | 79440 | 2000003301
247 | RAIGARH TOWN | 11KV CHANDNI CHOWK FEEDER | 788 | 75 | 72300 | 2000003302
248 | RAIGARH TOWN | 11KV TRANSPORT NAGAR FEEDER | 587 | 74 | 78240 | 2000016050
249 | RAIGARH TOWN | 11KV SAVITRI NAGAR FEEDER | 1019 | 80 | 90720 | 2000016051
250 | RAIGARH TOWN | 11KV BABA DHAM FEEDER | 835 | 74 | 68100 | 2000016052
251 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 795 | 57 | 120600 | 2000016053
252 | RAIGARH TOWN | 11 KV VRINDAVAN COLONY FEEDER | 96 | 103 | 229980 | 2000016054
253 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 976 | 66 | 72360 | 2000016055
254 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 80 | 96 | 101640 | 2000016056
255 | RAIGARH TOWN | 11 KV GOWARDHANPUR FEEDER | 388 | 27 | 36960 | 2000016184
256 | RAIGARH TOWN | 11 KV GERWANI FEEDER | 1657 | 81 | 104400 | 2000016185
257 | RAIGARH TOWN | 11KV CITY-4 FEEDER | 1031 | 72 | 95880 | 2000003306
258 | RAIGARH TOWN | 11KV CITY-5 FEEDER | 1056 | 58 | 83460 | 2000003307
259 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 620 | 48 | 45540 | 2000020756
260 | RAIGARH TOWN | 11KV DURGA CHOWK FEEDER | 900 | 54 | 59520 | 2000020755
261 | RAIGARH TOWN | 11KV RAJIV NAGAR FEEDER | 338 | 40 | 35280 | 2000020754
262 | RAIGARH TOWN | 11KV KABIR CHOWK FEEDER | 1556 | 113 | 79020 | 2000003314
263 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1030 | 31 | 35160 | 2000003322
264 | RAIGARH TOWN | 11 KV GULMOHAR FEEDER | 677 | 40 | 32700 | 2000021639
265 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 220 | 27 | 25860 | 2000003312
266 | RAIGARH TOWN | 11KV INDIRA NAGAR FEEDER | 1588 | 56 | 50520 | 2000017958
267 | RAIGARH TOWN | 11KV LAKSHMIPUR FEEDER | 376 | 55 | 33720 | 2000017956
268 | RAIGARH TOWN | 11 KV STADIUM FEEDER | 592 | 52 | 46860 | 2000022941
269 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2049 | 33 | 101040 | 2000003315
270 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1246 | 30 | 32340 | 2000003311
271 | RAIGARH TOWN | 11KV GADMORIYA FEEDER | 717 | 91 | 159420 | 2000003309
272 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 351 | 21 | 6420 | 2000010583
273 | RAIPUR TOWN | 11KV GITA NAGAR FEEDER | 1210 | 26 | 9420 | 2000010585
274 | RAIPUR TOWN | 11KV CITY FEEDER | 2449 | 35 | 19020 | 2000010587
275 | RAIPUR TOWN | 11KV KABIR NAGAR 1 FEEDER | 1380 | 45 | 58260 | 2000010588
276 | RAIPUR TOWN | 11KV KABIR NAGAR 2 FEEDER | 944 | 31 | 18120 | 2000010589
277 | RAIPUR TOWN | 11KV KABIR NAGAR 4 FEEDER | 777 | 28 | 31440 | 2000010591
278 | RAIPUR TOWN | 11KV KBT AWAS FEEDER | 327 | 18 | 12540 | 2000010592
279 | RAIPUR TOWN | 11KV MLA FEEDER | 1058 | 10 | 3000 | 2000010595
280 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 39 | 21 | 23220 | 2000010596
281 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 774 | 13 | 22260 | 2000010598
282 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 852 | 29 | 16380 | 2000010601
283 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 1043 | 18 | 18840 | 2000010603
284 | RAIPUR TOWN | 11KV ATARI FEEDER | 813 | 78 | 76380 | 2000010604
285 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 277 | 21 | 12600 | 2000010605
286 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 742 | 23 | 13260 | 2000010606
287 | RAIPUR TOWN | 11KV BANJARI FEEDER | 944 | 23 | 71100 | 2000010608
288 | RAIPUR TOWN | 11KV BASTAL FEEDER | 604 | 37 | 34260 | 2000010610
289 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 1570 | 13 | 7020 | 2000010611
290 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 835 | 10 | 11700 | 2000010613
291 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 135 | 18 | 46860 | 2000010615
292 | RAIPUR TOWN | 11KV COLONY FEEDER | 84 | 10 | 7620 | 2000010616
293 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1848 | 24 | 30720 | 2000010618
294 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 1623 | 21 | 10560 | 2000010622
295 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 862 | 49 | 56940 | 2000010624
296 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 88 | 24 | 45240 | 2000010625
297 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 1686 | 34 | 48840 | 2000010628
298 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2343 | 62 | 30300 | 2000010631
299 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1943 | 60 | 61680 | 2000010632
300 | RAIPUR TOWN | 11KV HOUSING BOARD COLONY FEEDER | 1665 | 28 | 34140 | 2000010634
301 | RAIPUR TOWN | 11KV INDRAPRAST FEEDER | 753 | 35 | 13740 | 2000010638
302 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 89 | 15 | 4140 | 2000010641
303 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 734 | 31 | 24240 | 2000010642
304 | RAIPUR TOWN | 11KV KAPDA MARKET IGKVP FEEDER | 489 | 13 | 5280 | 2000010647
305 | RAIPUR TOWN | 11KV KHARUN FEEDER | 989 | 45 | 29220 | 2000010649
306 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1472 | 22 | 27540 | 2000010650
307 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1211 | 16 | 5040 | 2000010653
308 | RAIPUR TOWN | 11KV MAHALAXMI | 559 | 26 | 19080 | 2000010655
309 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2004 | 23 | 34020 | 2000010656
310 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 449 | 14 | 12960 | 2000010657
311 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 533 | 13 | 7620 | 2000010658
312 | RAIPUR TOWN | 11 KV LORD CITY FEEDER | 47 | 60 | 46440 | 2000010660
313 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2245 | 37 | 51720 | 2000010662
314 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 776 | 21 | 14160 | 2000010666
315 | RAIPUR TOWN | 11KV MAHAMAYA FEEDER | 1751 | 13 | 10500 | 2000010668
316 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 534 | 26 | 19560 | 2000010670
317 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 908 | 15 | 5940 | 2000010671
318 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1250 | 26 | 28320 | 2000010672
319 | RAIPUR TOWN | 11KV MARUTI FEEDER | 5175 | 17 | 15720 | 2000010674
320 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 4160 | 19 | 9000 | 2000010675
321 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 5 | 14 | 12420 | 2000010676
322 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 539 | 28 | 12420 | 2000010677
323 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 2098 | 20 | 27300 | 2000010680
324 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 403 | 45 | 46260 | 2000010686
325 | RAIPUR TOWN | 11KV RAJBANDHA FEEDER | 206 | 15 | 10020 | 2000010688
326 | RAIPUR TOWN | 11KV RDA FEEDER | 843 | 9 | 5760 | 2000010689
327 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 366 | 15 | 10680 | 2000010690
328 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 5 | 13 | 6600 | 2000010694
329 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1822 | 26 | 7320 | 2000010696
330 | RAIPUR TOWN | 11KV RAMKUND FEEDER | 1394 | 14 | 11460 | 2000010699
331 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2561 | 18 | 17340 | 2000010700
332 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 807 | 36 | 14760 | 2000010701
333 | RAIPUR TOWN | 11KV RULAR FEEDER | 377 | 1 | 3660 | 2000010703
334 | RAIPUR TOWN | 11KV SAMTA FEEDER | 551 | 9 | 21480 | 2000010704
335 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 389 | 13 | 124080 | 2000010706
336 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 488 | 36 | 20460 | 2000010707
337 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 901 | 19 | 15120 | 2000010708
338 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2493 | 28 | 25440 | 2000010709
339 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 2334 | 21 | 25560 | 2000010711
340 | RAIPUR TOWN | 11 KV GANESH MANDIR FEEDER | 912 | 18 | 24000 | 2000010712
341 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 295 | 26 | 19740 | 2000010713
342 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 997 | 61 | 57720 | 2000010714
343 | RAIPUR TOWN | 11KV SYAMA PRASAD MUKHARJI FEEDER | 1421 | 38 | 38400 | 2000010717
344 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2652 | 13 | 8280 | 2000010722
345 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 709 | 24 | 19140 | 2000010725
346 | RAIPUR TOWN | 11KV TV FEEDER | 2912 | 25 | 41880 | 2000010728
347 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1219 | 31 | 40200 | 2000010729
348 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 430 | 18 | 17340 | 2000010732
349 | RAIPUR TOWN | 11KV URJA PARK(RURAL)FEEDER | 20 | 18 | 12480 | 2000010733
350 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 507 | 25 | 27660 | 2000010739
351 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 2135 | 26 | 19380 | 2000010741
352 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 55 | 12 | 19140 | 2000010742
353 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 36 | 12 | 19020 | 2000010743
354 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 2106 | 14 | 11880 | 2000017238
355 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 899 | 17 | 82500 | 2000017256
356 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2216 | 30 | 9540 | 2000017261
357 | RAIPUR TOWN | 11KV DINDAYAL NEW FEEDER | 1057 | 32 | 50640 | 2000017508
358 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2422 | 18 | 10320 | 2000017567
359 | RAIPUR TOWN | 11KV WHITE HOUSE | 562 | 5 | 6480 | 2000017568
360 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDER | 590 | 5 | 3180 | 2000017569
361 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 982 | 24 | 17100 | 2000017576
362 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1970 | 32 | 27840 | 2000017600
363 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 13 | 19 | 28200 | 2000017607
364 | RAIPUR TOWN | 11 KV MMI KRISHNA NAGAR FEEDER | 1728 | 48 | 57000 | 2000017608
365 | RAIPUR TOWN | 11KV M.P.DHABA (NEW FEEDER) | 1092 | 14 | 11880 | 2000017609
366 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1543 | 19 | 12720 | 2000017611
367 | RAIPUR TOWN | 11 KV VIDYA BHAWAN FEEDER | 56 | 2 | 1440 | 2000017613
368 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 324 | 7 | 4320 | 2000017617
369 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1838 | 22 | 12360 | 2000017621
370 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 635 | 12 | 96240 | 2000017623
371 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCONNETED) | 612 | 31 | 38700 | 2000017624
372 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 867 | 4 | 3660 | 2000017628
373 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 673 | 27 | 47520 | 2000017671
374 | RAIPUR TOWN | 11KV VARDHMAN NAGAR | 197 | 26 | 27600 | 2000017673
375 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1130 | 34 | 21300 | 2000017690
376 | RAIPUR TOWN | 11KV ROMAN SQUARE | 506 | 43 | 32100 | 2000017691
377 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 176 | 22 | 10740 | 2000017692
378 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 954 | 4 | 3600 | 2000017768
379 | RAIPUR TOWN | 11 KV GODHLIWALA FEEDER | 1002 | 16 | 49920 | 2000017771
380 | RAIPUR TOWN | 11 KV HARSH VIHAR FEEDER | 1308 | 11 | 23640 | 2000017772
381 | RAIPUR TOWN | 11 KV GAUTAM VIHAR FEEDER | 616 | 10 | 41700 | 2000017773
382 | RAIPUR TOWN | 11KV KARANNAGAR FEEDER | 2849 | 33 | 30360 | 2000017808
383 | RAIPUR TOWN | 11KV SARATHI CHOWKFEEDER | 682 | 15 | 16620 | 2000017817
384 | RAIPUR TOWN | 11 KV STATION ROAD FEEDER | 841 | 49 | 101880 | 2000017867
385 | RAIPUR TOWN | 11KV JAWHAR NAGAR FEEDER | 195 | 17 | 36120 | 2000017869
386 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1380 | 38 | 116520 | 2000017870
387 | RAIPUR TOWN | 11KV NAVEEN MARKET | 862 | 21 | 55680 | 2000017953
388 | RAIPUR TOWN | 11 KV AZAD CHOWK FEEDER | 2650 | 31 | 59760 | 2000017954
389 | RAIPUR TOWN | 11KV MG ROAD | 1595 | 23 | 82440 | 2000017955
390 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 934 | 47 | 48360 | 2000017962
391 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 297 | 24 | 14520 | 2000018004
392 | RAIPUR TOWN | 11KV SADDU FEEDER | 299 | 36 | 43920 | 2000018005
393 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1251 | 38 | 21900 | 2000018006
394 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 381 | 25 | 43440 | 2000018359
395 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 34 | 21 | 79440 | 2000018378
396 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 963 | 31 | 16560 | 2000018394
397 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 601 | 21 | 27060 | 2000018396
398 | RAIPUR TOWN | 11KV IGVP | 363 | 16 | 19380 | 2000018397
399 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 345 | 2 | 420 | 2000018398
400 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 334 | 15 | 4860 | 2000018416
401 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2506 | 29 | 47700 | 2000018949
402 | RAIPUR TOWN | 11KV GONDWARA FEEDER | 440 | 103 | 90180 | 2000019179
403 | RAIPUR TOWN | 11KV GOGAON FEEDER | 3092 | 27 | 61560 | 2000019180
404 | RAIPUR TOWN | 11KV LAKDI MILL FEEDER | 594 | 1 | 600 | 2000019181
405 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 487 | 27 | 13680 | 2000019185
406 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEEDER | 1903 | 29 | 18120 | 2000019186
407 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 2077 | 16 | 501600 | 2000019334
408 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 415 | 56 | 87660 | 2000019340
409 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 901 | 19 | 8340 | 2000019485
410 | RAIPUR TOWN | 11KV PROFESSOR COLONY FEEDER | 1156 | 50 | 47940 | 2000019530
411 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 653 | 10 | 17400 | 2000019697
412 | RAIPUR TOWN | 11KV BLOCK NO 1,2,3,4 FEEDER | 131 | 25 | 19500 | 2000019852
413 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1705 | 9 | 8880 | 2000019857
414 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 1943 | 29 | 15480 | 2000020009
415 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 2677 | 45 | 76500 | 2000020119
416 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 322 | 23 | 15000 | 2000020130
417 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 99 | 40 | 99120 | 2000020131
418 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 24 | 17040 | 2000020132
419 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 342 | 5 | 12240 | 2000020193
420 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 982 | 24 | 21360 | 2000020194
421 | RAIPUR TOWN | 11 KV TIKAPARA FEEDER | 2545 | 14 | 15840 | 2000020581
422 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1675 | 24 | 22140 | 2000021219
423 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1333 | 17 | 13320 | 2000021220
424 | RAIPUR TOWN | 11KV PARSURAM FEEDER | 1597 | 28 | 34560 | 2000021221
425 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 666 | 52 | 61320 | 2000021286
426 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1162 | 65 | 191040 | 2000021287
427 | RAIPUR TOWN | 11KV BORIYA FEEDER | 859 | 14 | 7320 | 2000021424
428 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1325 | 11 | 10680 | 2000021615
429 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1358 | 9 | 7860 | 2000022077
430 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 791 | 10 | 9360 | 2000022078
431 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1318 | 11 | 10620 | 2000022079
432 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1404 | 24 | 12120 | 2000023680
433 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1415 | 9 | 13140 | 2000023735
434 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 126 | 16 | 4020 | 2000023736
435 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1563 | 10 | 8340 | 2000023772
436 | RAIPUR TOWN | 11KV SBI FEEDER | 1232 | 10 | 79920 | 2000023790
437 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 437 | 6 | 2160 | 2000023848
438 | RAIPUR TOWN | 11KV FEEDER-1 | 1046 | 14 | 14820 | 2000024395
439 | RAIPUR TOWN | 11 KV ADIWASI COLONY FEEDER | 1534 | 17 | 19740 | 2000026582
440 | RAIPUR TOWN | 11 KV BHEEM NAGAR FEEDER | 936 | 6 | 7440 | 2000026583
441 | RAIPUR TOWN | 11 KV GIRIRAJ TOWER FEEDER | 998 | 22 | 27300 | 2000026584
442 | RAIPUR TOWN | 11 KV PANITANKI ZONE NO.3 FEEDER | 253 | 17 | 7680 | 2000026586
443 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1249 | 21 | 126120 | 2000034421
444 | RAIPUR TOWN | 11KV SANYASIPARA FEEDER | 688 | 30 | 39120 | 2000034423
445 | RAIPUR TOWN | 11KV PRIDE FEEDER | 76 | 9 | 5760 | 2000039215
446 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 4325 | 48 | 20340 | 2000001956
447 | RAJNANDGAON TOWN | 11 KV LITIYA FEEDER | 547 | 69 | 52500 | 2000014955
448 | RAJNANDGAON TOWN | 11 KV FARHAD (RURAL) FEEDER | 235 | 37 | 23400 | 2000001960
449 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2279 | 31 | 22080 | 2000001979
450 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 934 | 24 | 5820 | 2000001978
451 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 999 | 5 | 3540 | 2000001968
452 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2629 | 26 | 33900 | 2000001967
453 | RAJNANDGAON TOWN | 11 KV INDHAMARA (RURAL) FEEDER | 1 | 79 | 87660 | 2000001965
454 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2724 | 46 | 38160 | 2000001963
455 | RAJNANDGAON TOWN | 11 KV GANJMANDI TOWN FEEDER | 3409 | 49 | 25380 | 2000006488
456 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 808 | 20 | 17760 | 2000001962