## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | May'20
Period: |  | 1st Apr'20 to 30th Apr'20
Number of Towns: |  | 444
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 295 | 24 | 34560 | 2000003841
2 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 20 | 23160 | 2000071574
3 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2491 | 30 | 34440 | 2000071573
4 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 451 | 22 | 31500 | 2000071572
5 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 56 | 149040 | 2000015334
6 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2942 | 32 | 39060 | 2000014963
7 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 32 | 58740 | 2000014959
8 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 45 | 35160 | 2000014957
9 | AMBIKAPUR TOWN | 11KV SONPUR | 180 | 41 | 78840 | 2000014954
10 | AMBIKAPUR TOWN | 11KV DCROAD | 2118 | 33 | 56640 | 2000014951
11 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 513 | 24 | 46860 | 2000003844
12 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 971 | 24 | 55080 | 2000003847
13 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 741 | 24 | 24600 | 2000003848
14 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1667 | 26 | 38760 | 2000003853
15 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1186 | 30 | 63060 | 2000003852
16 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2614 | 17 | 24300 | 2000003850
17 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2600 | 46 | 72780 | 2000003849
18 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 762 | 18 | 24480 | 2000006347
19 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 556 | 13 | 34560 | 2000001011
20 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1392 | 50 | 28980 | 2000001009
21 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 273 | 17 | 20580 | 2000001007
22 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 358 | 10 | 9840 | 2000001005
23 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 608 | 8 | 21240 | 2000004867
24 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1929 | 6 | 6960 | 2000004868
25 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 1980 | 9 | 9720 | 2000004869
26 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1914 | 10 | 7560 | 2000004870
27 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1705 | 9 | 8700 | 2000004871
28 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1944 | 11 | 9180 | 2000004874
29 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 187 | 12 | 11820 | 2000004875
30 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 1944 | 7 | 4860 | 2000004876
31 | BILASPUR TOWN | 11KV DHEKA FEEDER | 351 | 12 | 22260 | 2000004877
32 | BILASPUR TOWN | 11KV DHUMA FEEDER | 994 | 8 | 9900 | 2000004878
33 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 562 | 17 | 32940 | 2000004879
34 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1257 | 3 | 1800 | 2000004881
35 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3502 | 25 | 28740 | 2000004882
36 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1351 | 13 | 17820 | 2000004883
37 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1937 | 5 | 7440 | 2000004884
38 | BILASPUR TOWN | 11KV HARDIFEEDER | 1244 | 27 | 24000 | 2000004885
39 | BILASPUR TOWN | 11KV HEMUN FEEDER | 2998 | 15 | 14940 | 2000004886
40 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2035 | 13 | 29400 | 2000004888
41 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2646 | 13 | 22560 | 2000004889
42 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 9 | 10020 | 2000004890
43 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1246 | 5 | 3660 | 2000004891
44 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 602 | 8 | 10020 | 2000004892
45 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3024 | 7 | 17640 | 2000004893
46 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 2 | 18 | 38880 | 2000004894
47 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2159 | 9 | 8700 | 2000004896
48 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 827 | 18 | 30120 | 2000004897
49 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1283 | 36 | 35400 | 2000004898
50 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1178 | 10 | 8820 | 2000004899
51 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1249 | 15 | 25860 | 2000004900
52 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2745 | 9 | 6480 | 2000004901
53 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 158 | 5 | 5880 | 2000004903
54 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2970 | 16 | 29460 | 2000004904
55 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2786 | 11 | 9120 | 2000004905
56 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3067 | 9 | 9960 | 2000004906
57 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2086 | 12 | 10260 | 2000004907
58 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 821 | 6 | 11160 | 2000004908
59 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4587 | 12 | 15660 | 2000004909
60 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3845 | 7 | 11460 | 2000004910
61 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1250 | 11 | 9840 | 2000004911
62 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1761 | 21 | 33720 | 2000004912
63 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1960 | 10 | 18960 | 2000004913
64 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2537 | 15 | 17760 | 2000004914
65 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 650 | 10 | 7080 | 2000004915
66 | BILASPUR TOWN | 11KV RULER FEEDER | 1898 | 24 | 37260 | 2000004916
67 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2629 | 9 | 10680 | 2000004917
68 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1684 | 15 | 11820 | 2000004919
69 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3414 | 11 | 26760 | 2000004920
70 | BILASPUR TOWN | 11KV TORWA FEEDER | 2407 | 17 | 19200 | 2000004921
71 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1860 | 8 | 23160 | 2000004922
72 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 795 | 13 | 17640 | 2000004924
73 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2409 | 14 | 40620 | 2000004925
74 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2749 | 15 | 19740 | 2000004926
75 | BILASPUR TOWN | 11KV TV FEEDER | 2637 | 14 | 16080 | 2000016309
76 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1206 | 12 | 30060 | 2000016310
77 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1111 | 9 | 11640 | 2000016311
78 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 634 | 17 | 13320 | 2000016312
79 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1196 | 16 | 13020 | 2000016314
80 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 197 | 15 | 10680 | 2000016315
81 | BILASPUR TOWN | 11KV NEW MOPKA | 1441 | 9 | 18060 | 2000017224
82 | BILASPUR TOWN | 11KV SHIVAM CITY | 1766 | 9 | 11880 | 2000017225
83 | BILASPUR TOWN | 11KV MAHAVEER CITY | 313 | 7 | 9780 | 2000017226
84 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 7 | 17280 | 2000017502
85 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2467 | 12 | 25500 | 2000017505
86 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1030 | 13 | 18360 | 2000017776
87 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 13 | 17580 | 2000017777
88 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 244 | 14 | 18120 | 2000017778
89 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 19 | 24060 | 2000017780
90 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 362 | 15 | 17040 | 2000017781
91 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1131 | 6 | 4560 | 2000018403
92 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2181 | 8 | 13140 | 2000018405
93 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 814 | 11 | 17160 | 2000018761
94 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1852 | 7 | 7620 | 2000018762
95 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 477 | 9 | 9600 | 2000018763
96 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 8 | 5880 | 2000020488
97 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1304 | 6 | 5040 | 2000020489
98 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1280 | 8 | 6120 | 2000020490
99 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 942 | 8 | 12600 | 2000020582
100 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1029 | 10 | 14160 | 2000020583
101 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1748 | 8 | 10020 | 2000022059
102 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1768 | 13 | 26580 | 2000022060
103 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 422 | 13 | 23880 | 2000022061
104 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 457 | 32 | 43440 | 2000023801
105 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 328 | 28 | 38220 | 2000023802
106 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1017 | 18 | 18240 | 2000023803
107 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 120 | 7 | 4860 | 2000027413
108 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 730 | 26 | 45000 | 2000015251
109 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 218 | 21 | 52080 | 2000015252
110 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 193 | 24 | 37320 | 2000006348
111 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1247 | 1 | 840 | 2000003195
112 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2061 | 7 | 5820 | 2000003196
113 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 357 | 14 | 35580 | 2000004308
114 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 24 | 19680 | 2000002567
115 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2114 | 9 | 84240 | 2000002571
116 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 9 | 9360 | 2000002573
117 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 14 | 13980 | 2000002577
118 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 501 | 4 | 3240 | 2000015505
119 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1247 | 4 | 2640 | 2000007687
120 | DURG BHILAI CHARODA TOWN | 11KV AWADHAPURI FEEDER | 1370 | 3 | 7320 | 2000007691
121 | DURG BHILAI CHARODA TOWN | 11KV BAJRANGPARA FEEDER | 3317 | 16 | 44940 | 2000007692
122 | DURG BHILAI CHARODA TOWN | 11KV CHARODA-1 FEEDER | 2523 | 6 | 4620 | 2000007698
123 | DURG BHILAI CHARODA TOWN | 11KV DHACHABHAVAN FEEDER | 2404 | 7 | 6000 | 2000007704
124 | DURG BHILAI CHARODA TOWN | 11KV MODEL TOWN FEEDER | 2544 | 18 | 55260 | 2000007706
125 | DURG BHILAI CHARODA TOWN | 11KV AKASH GANGA-2 FEEDER | 1625 | 7 | 8580 | 2000007709
126 | DURG BHILAI CHARODA TOWN | 11KV HATHKHOJ RURAL FEEDER | 2012 | 7 | 9060 | 2000007712
127 | DURG BHILAI CHARODA TOWN | 11KV HANUMANNAGAR FEEDER | 1084 | 14 | 40380 | 2000007713
128 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1483 | 20 | 52800 | 2000007715
129 | DURG BHILAI CHARODA TOWN | 11KV JAIL FEEDER | 1624 | 7 | 17760 | 2000007721
130 | DURG BHILAI CHARODA TOWN | 11KV KAILASHNAGAR FEEDER | 1431 | 19 | 57360 | 2000007727
131 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3425 | 16 | 9360 | 2000007728
132 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 649 | 17 | 18180 | 2000007731
133 | DURG BHILAI CHARODA TOWN | 11KV KOTANI FEEDER | 1054 | 4 | 1560 | 2000007732
134 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 730 | 2 | 2100 | 2000007733
135 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 740 | 7 | 4380 | 2000007735
136 | DURG BHILAI CHARODA TOWN | 11KV NEHRUNAGAR FEEDER | 891 | 18 | 71160 | 2000007740
137 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2432 | 22 | 61800 | 2000007742
138 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-2 FEEDER | 1160 | 15 | 41580 | 2000007743
139 | DURG BHILAI CHARODA TOWN | 11KV BHILAI SCAN FEEDER | 866 | 17 | 57060 | 2000007748
140 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1945 | 12 | 13020 | 2000007754
141 | DURG BHILAI CHARODA TOWN | 11KV MILLENIUMPARK FEEDER | 537 | 15 | 46800 | 2000007755
142 | DURG BHILAI CHARODA TOWN | 11KV SIKOLA BHATA FEEDER | 1616 | 5 | 4560 | 2000007761
143 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1036 | 20 | 64500 | 2000007762
144 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1221 | 3 | 1380 | 2000007776
145 | DURG BHILAI CHARODA TOWN | 11KV TRIVENINAGAR FEEDER | 1316 | 12 | 39960 | 2000007777
146 | DURG BHILAI CHARODA TOWN | 11KV UTAI FEEDER | 2144 | 6 | 13080 | 2000007780
147 | DURG BHILAI CHARODA TOWN | 11KV VAISHALINAGAR FEEDER | 1773 | 17 | 48900 | 2000007783
148 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7502 | 23 | 15000 | 2000016889
149 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2455 | 22 | 66240 | 2000017052
150 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1293 | 26 | 163440 | 2000017054
151 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1172 | 6 | 19560 | 2000017055
152 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 932 | 6 | 20700 | 2000017056
153 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 774 | 5 | 11220 | 2000017057
154 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 919 | 4 | 17520 | 2000017058
155 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2108 | 5 | 10680 | 2000017059
156 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 522 | 2 | 1920 | 2000017060
157 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1062 | 4 | 10980 | 2000017061
158 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 14 | 38520 | 2000017062
159 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1759 | 14 | 38760 | 2000017063
160 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1529 | 7 | 7980 | 2000017064
161 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1357 | 18 | 10140 | 2000017065
162 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1201 | 10 | 18780 | 2000017066
163 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2202 | 5 | 4320 | 2000017068
164 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 894 | 17 | 9300 | 2000017069
165 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2013 | 18 | 9960 | 2000017071
166 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 24 | 116280 | 2000017072
167 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 486 | 3 | 1680 | 2000017080
168 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2425 | 27 | 72180 | 2000018574
169 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 300 | 25 | 69240 | 2000018704
170 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1389 | 26 | 68340 | 2000018705
171 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1827 | 23 | 64200 | 2000018706
172 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 645 | 9 | 10500 | 2000018707
173 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1731 | 6 | 4560 | 2000018723
174 | DURG BHILAI CHARODA TOWN | 11KV SABJI MANDI FEEDER | 73 | 12 | 16560 | 2000018987
175 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 728 | 4 | 1740 | 2000019819
176 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1075 | 6 | 4020 | 2000020519
177 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3117 | 26 | 118500 | 2000021263
178 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1332 | 16 | 58920 | 2000021264
179 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1134 | 4 | 3840 | 2000021357
180 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3197 | 24 | 70320 | 2000023773
181 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 7 | 4260 | 2000025794
182 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 3 | 2340 | 2000027337
183 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1177 | 35 | 77400 | 2000029191
184 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 676 | 14 | 21120 | 2000029192
185 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1643 | 24 | 76800 | 2000029193
186 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1673 | 10 | 14580 | 2000049757
187 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 14 | 25680 | 2000049820
188 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 14 | 3 | 3240 | 2000068108
189 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 35 | 3 | 3240 | 2000068109
190 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 3 | 3180 | 2000068110
191 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1614 | 22 | 30900 | 2000075513
192 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 149 | 7 | 8160 | 2000075565
193 | DURG BHILAI CHARODA TOWN | 11KV Mauhari Feeder | 768 | 7 | 23700 | 2000075566
194 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1192 | 3 | 360 | 2000075971
195 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1398 | 2 | 13560 | 2000004331
196 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2381 | 6 | 11940 | 2000004336
197 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3533 | 22 | 32160 | 2000004338
198 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2088 | 24 | 24780 | 2000004341
199 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2475 | 8 | 6060 | 2000004343
200 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1736 | 22 | 26280 | 2000004344
201 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3642 | 7 | 9240 | 2000004346
202 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3842 | 8 | 12240 | 2000004348
203 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2040 | 16 | 15180 | 2000075216
204 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 367 | 7 | 14640 | 2000075799
205 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1702 | 8 | 6060 | 2000015850
206 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2348 | 34 | 52860 | 2000006795
207 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 28 | 37740 | 2000006796
208 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1500 | 8 | 19260 | 2000006798
209 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1457 | 25 | 30720 | 2000020122
210 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 24 | 29940 | 2000020121
211 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1968 | 22 | 28560 | 2000020065
212 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 12 | 19740 | 2000018988
213 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 399 | 18 | 32580 | 2000017805
214 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2125 | 18 | 33600 | 2000017804
215 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 65 | 5 | 8820 | 2000017790
216 | KORBA TOWN | 11KV SEMIPALI | 445 | 32 | 40980 | 2000015240
217 | KORBA TOWN | 11KV BULGI FEEDER | 2464 | 2 | 3660 | 2000016255
218 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1916 | 22 | 33840 | 2000016201
219 | KORBA TOWN | 11KV DONDROFEEDER | 31 | 68 | 106860 | 2000016028
220 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 5 | 6420 | 2000075797
221 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1355 | 22 | 31680 | 2000021425
222 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 220 | 15 | 21300 | 2000021289
223 | KORBA TOWN | 11KV AJGARBAHARFEEDER | 3668 | 3 | 2100 | 2000006761
224 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1897 | 24 | 42180 | 2000006763
225 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 23 | 40440 | 2000006768
226 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 17 | 38040 | 2000006770
227 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 793 | 39 | 84300 | 2000006773
228 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 915 | 14 | 35220 | 2000006775
229 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 255 | 24 | 42960 | 2000006776
230 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 224 | 5 | 7080 | 2000006778
231 | KORBA TOWN | 11KV P.HROAD FEEDER | 1369 | 8 | 8940 | 2000006785
232 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1880 | 16 | 28380 | 2000006786
233 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1206 | 27 | 37140 | 2000006787
234 | KORBA TOWN | 11KV PARSABADA FEEDER | 1376 | 51 | 104280 | 2000006789
235 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1039 | 8 | 22620 | 2000006794
236 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1762 | 8 | 11460 | 2000001427
237 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 773 | 41 | 122700 | 2000001426
238 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 645 | 11 | 19920 | 2000001425
239 | MAHASAMUND TOWN | 11KV IMALI BHATA FEEDER | 3143 | 5 | 12900 | 2000001424
240 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6054 | 32 | 41400 | 2000003057
241 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 159 | 15 | 38700 | 2000015467
242 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 103 | 19 | 45360 | 2000002458
243 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 905 | 16 | 36840 | 2000068276
244 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1834 | 32 | 31260 | 2000055675
245 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2099 | 1 | 420 | 2000006458
246 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 581 | 106 | 95580 | 2000001632
247 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 1492 | 23 | 42780 | 2000001631
248 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 53 | 23 | 23820 | 2000001626
249 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 798 | 28 | 54900 | 2000021639
250 | RAIGARH TOWN | 11KV STADIUM FEEDER | 669 | 22 | 47400 | 2000022941
251 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 665 | 16 | 33660 | 2000020756
252 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 350 | 49 | 78360 | 2000029091
253 | RAIGARH TOWN | 11KV CHAKRADHAR NAGAR FEEDER | 1384 | 13 | 26880 | 2000003301
254 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3178 | 23 | 35280 | 2000003325
255 | RAIGARH TOWN | 11KV STATION FEEDER | 1577 | 44 | 52020 | 2000003324
256 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 38 | 49980 | 2000003323
257 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 1082 | 17 | 22800 | 2000003322
258 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 841 | 7 | 33300 | 2000003321
259 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 613 | 45 | 86220 | 2000003320
260 | RAIGARH TOWN | 11KV KOTWALI FEEDER | 1204 | 2 | 1380 | 2000003317
261 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2267 | 8 | 20520 | 2000003315
262 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2321 | 18 | 51780 | 2000003313
263 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1066 | 33 | 69360 | 2000016053
264 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1121 | 33 | 93300 | 2000016052
265 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1656 | 9 | 20700 | 2000003303
266 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1460 | 9 | 20580 | 2000003304
267 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 18 | 49440 | 2000016054
268 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1149 | 48 | 76260 | 2000016055
269 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 39 | 68940 | 2000016056
270 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 620 | 43 | 86400 | 2000016057
271 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 547 | 35 | 41220 | 2000016184
272 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1860 | 34 | 51960 | 2000016185
273 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1248 | 8 | 20460 | 2000003305
274 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 950 | 21 | 37860 | 2000003308
275 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1183 | 7 | 20640 | 2000003310
276 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 906 | 4 | 7920 | 2000010589
277 | RAIPUR TOWN | 11KV GAD FEEDER | 768 | 6 | 11520 | 2000010590
278 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 809 | 3 | 2400 | 2000010591
279 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 320 | 4 | 3300 | 2000010605
280 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 146 | 10 | 10380 | 2000010615
281 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2628 | 7 | 4680 | 2000010631
282 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2336 | 7 | 4560 | 2000010632
283 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2298 | 11 | 35220 | 2000010640
284 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 778 | 4 | 4320 | 2000010651
285 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 3 | 4860 | 2000010660
286 | RAIPUR TOWN | 11KV LALBAG FEEDER | 937 | 5 | 3720 | 2000010665
287 | RAIPUR TOWN | 11KV MINING FEEDER | 608 | 1 | 13320 | 2000010669
288 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1488 | 11 | 9540 | 2000010675
289 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 437 | 10 | 9960 | 2000010686
290 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1322 | 4 | 5340 | 2000010691
291 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3378 | 3 | 3960 | 2000010692
292 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2604 | 10 | 31740 | 2000010693
293 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1623 | 9 | 12720 | 2000010695
294 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2886 | 5 | 17460 | 2000010698
295 | RAIPUR TOWN | 11KV RULAR FEEDER | 582 | 11 | 13680 | 2000010703
296 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 513 | 5 | 5460 | 2000010707
297 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 972 | 28 | 70260 | 2000010712
298 | RAIPUR TOWN | 11KV SECTOR -5 | 758 | 4 | 2940 | 2000010721
299 | RAIPUR TOWN | 11KV TOWN FEEDER | 2486 | 1 | 660 | 2000010730
300 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 29 | 8 | 6180 | 2000010733
301 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2488 | 4 | 9900 | 2000017567
302 | RAIPUR TOWN | 11KV WHITE HOUSE | 796 | 6 | 19620 | 2000017568
303 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 606 | 4 | 20100 | 2000017569
304 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 704 | 5 | 2580 | 2000017590
305 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1582 | 8 | 6420 | 2000017597
306 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 2292 | 9 | 8400 | 2000017600
307 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1797 | 5 | 6420 | 2000017608
308 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 805 | 3 | 4380 | 2000017609
309 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 8 | 7080 | 2000017613
310 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 852 | 6 | 9000 | 2000017615
311 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2044 | 1 | 4380 | 2000017621
312 | RAIPUR TOWN | 11KV DABER CITY FEEDER (DISCON | 784 | 9 | 8940 | 2000017624
313 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 854 | 7 | 4920 | 2000017628
314 | RAIPUR TOWN | 11KV HIMALAYA HEIGHTS | 339 | 9 | 12900 | 2000017671
315 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1715 | 5 | 4560 | 2000017690
316 | RAIPUR TOWN | 11KV ROMAN SQUARE | 651 | 7 | 6420 | 2000017691
317 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 216 | 6 | 5040 | 2000017692
318 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 799 | 7 | 7680 | 2000017721
319 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1071 | 8 | 5700 | 2000017755
320 | RAIPUR TOWN | 11KV MOTHER TERESA | 821 | 8 | 9840 | 2000017756
321 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 511 | 5 | 3540 | 2000017757
322 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1178 | 23 | 67380 | 2000017768
323 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1196 | 11 | 29460 | 2000017771
324 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1454 | 12 | 34920 | 2000017772
325 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 669 | 9 | 27480 | 2000017773
326 | RAIPUR TOWN | 11KV PURANI BASTI | 711 | 9 | 6360 | 2000017817
327 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1153 | 7 | 22800 | 2000017867
328 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1951 | 6 | 13320 | 2000017868
329 | RAIPUR TOWN | 11KV GANESH MANDIR | 235 | 4 | 9240 | 2000017869
330 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1405 | 6 | 10020 | 2000017870
331 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 258 | 24 | 75480 | 2000017871
332 | RAIPUR TOWN | 11KV NAVEEN MARKET | 891 | 21 | 70800 | 2000017953
333 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2709 | 6 | 10980 | 2000017954
334 | RAIPUR TOWN | 11KV MG ROAD | 1621 | 23 | 70380 | 2000017955
335 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 333 | 5 | 3900 | 2000018004
336 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 5 | 3840 | 2000018005
337 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1604 | 21 | 64380 | 2000018006
338 | RAIPUR TOWN | 11KV MANDI | 666 | 4 | 3000 | 2000018020
339 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 369 | 4 | 3480 | 2000018359
340 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1458 | 6 | 4800 | 2000018361
341 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 5 | 6180 | 2000018378
342 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 990 | 5 | 9840 | 2000018394
343 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 226 | 21 | 21660 | 2000018406
344 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 7 | 9420 | 2000018416
345 | RAIPUR TOWN | 11KV Umiya Market Feeder | 473 | 24 | 20700 | 2000018421
346 | RAIPUR TOWN | 11KV VARUN FEEDER | 1137 | 9 | 8280 | 2000019179
347 | RAIPUR TOWN | 11KV HEERA FEEDER | 3042 | 7 | 5280 | 2000019180
348 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 486 | 7 | 6720 | 2000019181
349 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1641 | 6 | 10140 | 2000019184
350 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1210 | 8 | 6480 | 2000019334
351 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1249 | 2 | 6600 | 2000019340
352 | RAIPUR TOWN | 11KV PS CITY | 1345 | 8 | 7440 | 2000019530
353 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 191 | 5 | 7200 | 2000019850
354 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 129 | 4 | 6840 | 2000019851
355 | RAIPUR TOWN | 11KV BLOCK NO 5,6,7,8 FEEDER | 176 | 3 | 2400 | 2000019853
356 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1823 | 9 | 8280 | 2000019857
357 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1553 | 7 | 11700 | 2000019858
358 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1694 | 7 | 22080 | 2000020119
359 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1211 | 4 | 7680 | 2000020120
360 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 3 | 2880 | 2000020123
361 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 8 | 6480 | 2000020130
362 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 175 | 7 | 6240 | 2000020131
363 | RAIPUR TOWN | 11KV KHALWADA FEEDER | 3308 | 31 | 79380 | 2000020153
364 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 355 | 6 | 7440 | 2000020193
365 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 1034 | 8 | 9420 | 2000020194
366 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1711 | 4 | 6840 | 2000021219
367 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1400 | 21 | 70980 | 2000021220
368 | RAIPUR TOWN | 11KV TARUN NAGAR | 1828 | 3 | 6360 | 2000021221
369 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 746 | 19 | 65760 | 2000021286
370 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1400 | 6 | 5280 | 2000021287
371 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 62 | 11 | 15600 | 2000021421
372 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1461 | 1 | 660 | 2000021615
373 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1365 | 25 | 70380 | 2000022077
374 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 805 | 8 | 410640 | 2000022078
375 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1348 | 25 | 70560 | 2000022079
376 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1408 | 2 | 3180 | 2000023680
377 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1581 | 7 | 13800 | 2000023735
378 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 134 | 4 | 2940 | 2000023736
379 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1652 | 5 | 17160 | 2000023772
380 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1117 | 9 | 13860 | 2000024395
381 | RAIPUR TOWN | 11KV KACHNA FEEDER | 145 | 3 | 2160 | 2000026462
382 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2321 | 8 | 8700 | 2000026575
383 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1538 | 2 | 1620 | 2000026582
384 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 999 | 3 | 2040 | 2000026583
385 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1067 | 2 | 1500 | 2000026584
386 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 629 | 7 | 18180 | 2000026585
387 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1264 | 6 | 7920 | 2000026586
388 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 329 | 9 | 16920 | 2000029194
389 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 139 | 7 | 8160 | 2000029195
390 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1319 | 22 | 65700 | 2000034421
391 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 761 | 7 | 9120 | 2000034422
392 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 741 | 5 | 7860 | 2000034423
393 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2601 | 4 | 2520 | 2000034760
394 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 397 | 3 | 1980 | 2000034761
395 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1657 | 3 | 1980 | 2000034762
396 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 7 | 6180 | 2000046448
397 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 902 | 9 | 20400 | 2000046477
398 | RAIPUR TOWN | 11KV SCADARAIPUR-2 FEEDER | 1603 | 3 | 5460 | 2000068159
399 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 3 | 1800 | 2000069376
400 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 14 | 10560 | 2000070080
401 | RAIPUR TOWN | 11KV C&F FEEDER | 28 | 9 | 11580 | 2000070702
402 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 27 | 9 | 11580 | 2000070703
403 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1028 | 5 | 5220 | 2000070747
404 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2514 | 5 | 7500 | 2000071570
405 | RAIPUR TOWN | 11KV KARA FEEDER | 407 | 6 | 4680 | 2000071634
406 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 126 | 6 | 13800 | 2000071639
407 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2592 | 21 | 52500 | 2000072091
408 | RAIPUR TOWN | 11KV Simran City Feeder | 1060 | 10 | 12420 | 2000074141
409 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 940 | 9 | 11820 | 2000075796
410 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3367 | 11 | 15180 | 2000075800
411 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 40 | 8 | 11700 | 2000075801
412 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 257 | 8 | 11640 | 2000075802
413 | RAJNANDGAON TOWN | 11KV HALDIFEEDER | 1996 | 5 | 5160 | 2000001964
414 | RAJNANDGAON TOWN | 11KV GOVT. PRESS FEEDER | 2917 | 11 | 20280 | 2000001963
415 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2304 | 16 | 22980 | 2000001962
416 | RAJNANDGAON TOWN | 11KV FARHAD(RURAL)FEEDER | 589 | 19 | 36420 | 2000001960
417 | RAJNANDGAON TOWN | 11KV LITIYAFEEDER | 2502 | 16 | 29340 | 2000014955
418 | RAJNANDGAON TOWN | 11KV MOTHIPUR FEEDER | 2749 | 3 | 2820 | 2000014956
419 | RAJNANDGAON TOWN | 11KV DHABA(RURAL)FEEDER | 841 | 17 | 23340 | 2000001959
420 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2142 | 5 | 2220 | 2000001958
421 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1696 | 10 | 11340 | 2000001957
422 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3261 | 17 | 48000 | 2000001956
423 | RAJNANDGAON TOWN | 11KV BASANTPUR FEEDER | 871 | 6 | 6480 | 2000001955
424 | RAJNANDGAON TOWN | 11KV RAM DARBAR FEEDER | 330 | 4 | 2760 | 2000015445
425 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 147 | 5 | 12420 | 2000015446
426 | RAJNANDGAON TOWN | 11KV MAHESHWARI | 897 | 5 | 1860 | 2000015448
427 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2133 | 6 | 13320 | 2000015449
428 | RAJNANDGAON TOWN | 11KV R K NAGAR | 584 | 7 | 2820 | 2000015478
429 | RAJNANDGAON TOWN | 11KV INDHAMARA(RURAL)FEEDER | 1079 | 22 | 26520 | 2000001965
430 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2108 | 3 | 5880 | 2000001967
431 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1316 | 4 | 9840 | 2000001968
432 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3421 | 4 | 9960 | 2000001969
433 | RAJNANDGAON TOWN | 11KV COLLECTOR FEEDER | 2509 | 8 | 7080 | 2000001970
434 | RAJNANDGAON TOWN | 11KV MOHARAFEEDER | 987 | 5 | 5160 | 2000001971
435 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1756 | 18 | 29220 | 2000001972
436 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 229 | 9 | 9360 | 2000001973
437 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 1051 | 5 | 10320 | 2000001974
438 | RAJNANDGAON TOWN | 11KV PST FEEDER | 1938 | 19 | 23760 | 2000001975
439 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 621 | 4 | 10920 | 2000001976
440 | RAJNANDGAON TOWN | 11KV TOWN II FEEDER | 649 | 5 | 6000 | 2000001977
441 | RAJNANDGAON TOWN | 11KV TOWN III FEEDER | 932 | 5 | 15480 | 2000001978
442 | RAJNANDGAON TOWN | 11KV VIKAS NAGAR FEEDER | 2873 | 11 | 16620 | 2000001979
443 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2023 | 18 | 15480 | 2000069535
444 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1767 | 11 | 20280 | 2000069844