## (D5)
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Jul'20
Period: |  | 1st June'20 to 30th June'20
Number of Towns: |  | 418
Total nos. of Feeders: |  | 20
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV DCROAD | 2121 | 24 | 34920 | 2000014951
2 | AMBIKAPUR TOWN | 11KV SONPUR | 180 | 29 | 44760 | 2000014954
3 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1667 | 27 | 63840 | 2000003853
4 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 1209 | 20 | 31020 | 2000003852
5 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 2623 | 34 | 61080 | 2000003850
6 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 740 | 26 | 35880 | 2000003848
7 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 43 | 37 | 40920 | 2000071574
8 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 2490 | 41 | 50580 | 2000071573
9 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 449 | 31 | 30840 | 2000071572
10 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 510 | 21 | 31920 | 2000003844
11 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 292 | 39 | 59880 | 2000003841
12 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 5 | 46 | 76920 | 2000014957
13 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 34 | 33 | 372720 | 2000014959
14 | AMBIKAPUR TOWN | 11KV TV FEEDER | 2946 | 24 | 49500 | 2000014963
15 | AMBIKAPUR TOWN | 11KV Sargava (Town-II) from Sargawa S/s | 176 | 55 | 108960 | 2000015334
16 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 762 | 37 | 67260 | 2000006347
17 | BHATAPARA TOWN | 11KV MAYUR SCHOOL 11KV FEEDER | 722 | 6 | 4680 | 2000006377
18 | BHATAPARA TOWN | 11KV KHAIRI (RURAL) FEEDER | 556 | 4 | 2460 | 2000001011
19 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1391 | 42 | 49380 | 2000001009
20 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 273 | 33 | 19920 | 2000001007
21 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 358 | 14 | 8640 | 2000001005
22 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 612 | 11 | 29040 | 2000004867
23 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 1961 | 22 | 67920 | 2000004868
24 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2004 | 10 | 8820 | 2000004869
25 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 1913 | 14 | 23100 | 2000004870
26 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1718 | 14 | 22440 | 2000004871
27 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1945 | 17 | 25020 | 2000004874
28 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 188 | 16 | 31740 | 2000004875
29 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 869 | 8 | 7740 | 2000004876
30 | BILASPUR TOWN | 11KV DHEKA FEEDER | 356 | 21 | 36300 | 2000004877
31 | BILASPUR TOWN | 11KV DHUMA FEEDER | 993 | 13 | 14280 | 2000004878
32 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 568 | 21 | 28680 | 2000004879
33 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1255 | 23 | 44220 | 2000004881
34 | BILASPUR TOWN | 11KV GANESH NAGAR FEEDER | 3500 | 20 | 36360 | 2000004882
35 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 1356 | 15 | 20820 | 2000004883
36 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1938 | 26 | 35520 | 2000004884
37 | BILASPUR TOWN | 11KV HARDIFEEDER | 1243 | 25 | 28680 | 2000004885
38 | BILASPUR TOWN | 11KV HEMUN FEEDER | 3078 | 20 | 18300 | 2000004886
39 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 2038 | 22 | 33900 | 2000004888
40 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2645 | 22 | 34260 | 2000004889
41 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 71 | 10 | 8820 | 2000004890
42 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1248 | 25 | 50460 | 2000004891
43 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 602 | 20 | 25260 | 2000004892
44 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 3023 | 26 | 50520 | 2000004893
45 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 2 | 24 | 61080 | 2000004894
46 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 2161 | 14 | 22440 | 2000004896
47 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 830 | 32 | 52440 | 2000004897
48 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1286 | 24 | 29160 | 2000004898
49 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1180 | 18 | 37140 | 2000004899
50 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1258 | 17 | 23160 | 2000004900
51 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 159 | 17 | 11280 | 2000004903
52 | BILASPUR TOWN | 11KV MOPKA FEEDER | 2967 | 25 | 38820 | 2000004904
53 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2800 | 17 | 25080 | 2000004905
54 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 3080 | 10 | 8700 | 2000004906
55 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2087 | 24 | 27960 | 2000004907
56 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 826 | 22 | 9900 | 2000004908
57 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4691 | 21 | 20760 | 2000004909
58 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 3844 | 7 | 7620 | 2000004910
59 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1253 | 24 | 28020 | 2000004911
60 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1761 | 22 | 50580 | 2000004912
61 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1957 | 22 | 28380 | 2000004913
62 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2543 | 17 | 17280 | 2000004914
63 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 652 | 25 | 47220 | 2000004915
64 | BILASPUR TOWN | 11KV RULER FEEDER | 1912 | 25 | 37140 | 2000004916
65 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2641 | 20 | 16020 | 2000004917
66 | BILASPUR TOWN | 11KV TIKRAPARA FEEDER | 1684 | 10 | 7800 | 2000004919
67 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3415 | 13 | 11280 | 2000004920
68 | BILASPUR TOWN | 11KV TORWA FEEDER | 2416 | 22 | 33240 | 2000004921
69 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 797 | 15 | 22860 | 2000004924
70 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 2407 | 15 | 21720 | 2000004925
71 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 2756 | 17 | 33060 | 2000004926
72 | BILASPUR TOWN | 11KV TV FEEDER | 2637 | 17 | 14100 | 2000016309
73 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 1204 | 26 | 52740 | 2000016310
74 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 1107 | 15 | 15540 | 2000016311
75 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 630 | 25 | 23700 | 2000016312
76 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1200 | 25 | 22860 | 2000016314
77 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 202 | 25 | 28080 | 2000016315
78 | BILASPUR TOWN | 11KV NEW MOPKA | 1442 | 22 | 33480 | 2000017224
79 | BILASPUR TOWN | 11KV SHIVAM CITY | 1858 | 16 | 40740 | 2000017225
80 | BILASPUR TOWN | 11KV MAHAVEER CITY | 314 | 15 | 28620 | 2000017226
81 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 11 | 13920 | 2000017502
82 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2465 | 22 | 27420 | 2000017505
83 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1032 | 30 | 48420 | 2000017776
84 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 27 | 22 | 106620 | 2000017777
85 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 245 | 23 | 195120 | 2000017778
86 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 408 | 26 | 40140 | 2000017780
87 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 367 | 25 | 27120 | 2000017781
88 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1129 | 17 | 20940 | 2000018403
89 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 2181 | 30 | 41580 | 2000018405
90 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 812 | 18 | 31980 | 2000018761
91 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1864 | 19 | 59220 | 2000018762
92 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 478 | 12 | 16200 | 2000018763
93 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 405 | 16 | 116100 | 2000020488
94 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 1304 | 9 | 8280 | 2000020489
95 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1280 | 15 | 20100 | 2000020490
96 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 943 | 13 | 14520 | 2000020582
97 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1026 | 13 | 37920 | 2000020583
98 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 134 | 15 | 21720 | 2000022056
99 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1753 | 13 | 14100 | 2000022059
100 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 1765 | 14 | 42360 | 2000022060
101 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1496 | 18 | 31980 | 2000022061
102 | BILASPUR TOWN | 11KV INDUSTRIAL SECTOR B | 941 | 33 | 44220 | 2000022135
103 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 458 | 24 | 20940 | 2000023801
104 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 327 | 24 | 21180 | 2000023802
105 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1026 | 26 | 32940 | 2000023803
106 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 120 | 8 | 9480 | 2000027413
107 | CHIRMIRI TOWN | 11KV NAGAR NIGAM FEEDER | 732 | 57 | 91800 | 2000015251
108 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 218 | 71 | 153840 | 2000015252
109 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 193 | 29 | 143100 | 2000006348
110 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2071 | 26 | 52140 | 2000003196
111 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 356 | 12 | 12000 | 2000004308
112 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 500 | 11 | 8880 | 2000015505
113 | DHAMTARI TOWN | 11KV Mahalakshmi Feeder | 31 | 44 | 40380 | 2000002577
114 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 49 | 13 | 10380 | 2000002573
115 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 955 | 28 | 25320 | 2000002572
116 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2110 | 32 | 38280 | 2000002571
117 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 43 | 37500 | 2000002567
118 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1345 | 15 | 31620 | 2000001299
119 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 1396 | 24 | 89280 | 2000001298
120 | DURG BHILAI CHARODA TOWN | 11KV ANJORA DAIRY FEEDER | 1244 | 16 | 19020 | 2000007687
121 | DURG BHILAI CHARODA TOWN | 11KV BHILAI-3 FEEDER | 2294 | 19 | 22920 | 2000007694
122 | DURG BHILAI CHARODA TOWN | 11KV INDUSTRIAL FEEDER | 1678 | 12 | 10680 | 2000007718
123 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2323 | 22 | 57660 | 2000007726
124 | DURG BHILAI CHARODA TOWN | 11KV KOLHAPURI FEEDER | 3422 | 12 | 11100 | 2000007728
125 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 923 | 80 | 102360 | 2000007731
126 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 737 | 19 | 43620 | 2000007733
127 | DURG BHILAI CHARODA TOWN | 11KV MORID FEEDER | 1873 | 5 | 11040 | 2000007734
128 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 754 | 14 | 17460 | 2000007735
129 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 2436 | 21 | 61440 | 2000007742
130 | DURG BHILAI CHARODA TOWN | 11KV PULGAON FEEDER | 1430 | 19 | 39240 | 2000007744
131 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1950 | 39 | 84120 | 2000007754
132 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1040 | 13 | 15240 | 2000007762
133 | DURG BHILAI CHARODA TOWN | 11KV TOWN-B FEEDER | 1219 | 15 | 15480 | 2000007776
134 | DURG BHILAI CHARODA TOWN | 11KV UMDA FEEDER | 652 | 1 | 60 | 2000007778
135 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7522 | 55 | 614280 | 2000016889
136 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2475 | 18 | 26100 | 2000017052
137 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1303 | 26 | 17940 | 2000017054
138 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1172 | 26 | 85080 | 2000017055
139 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 934 | 24 | 87600 | 2000017056
140 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 779 | 8 | 5640 | 2000017057
141 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 926 | 16 | 21300 | 2000017058
142 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 2118 | 12 | 15060 | 2000017059
143 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 523 | 7 | 6360 | 2000017060
144 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1068 | 8 | 13980 | 2000017061
145 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 591 | 15 | 56580 | 2000017062
146 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 1768 | 15 | 41040 | 2000017063
147 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1532 | 5 | 3120 | 2000017064
148 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1368 | 17 | 11520 | 2000017065
149 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1208 | 19 | 57060 | 2000017066
150 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 564 | 3 | 2160 | 2000017067
151 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 2204 | 7 | 27360 | 2000017068
152 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 900 | 17 | 11640 | 2000017069
153 | DURG BHILAI CHARODA TOWN | 11KV BORSI CHOWK | 2025 | 17 | 11460 | 2000017071
154 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 267 | 22 | 14400 | 2000017072
155 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 485 | 4 | 3120 | 2000017080
156 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2431 | 28 | 30900 | 2000018574
157 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 304 | 30 | 33960 | 2000018704
158 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1391 | 23 | 24540 | 2000018705
159 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1830 | 25 | 28680 | 2000018706
160 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 645 | 26 | 31980 | 2000018707
161 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 1740 | 32 | 86700 | 2000018723
162 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 719 | 14 | 21480 | 2000019819
163 | DURG BHILAI CHARODA TOWN | 11KV GURU NANAK NAGAR FEEDER | 1084 | 15 | 22860 | 2000020519
164 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 3129 | 20 | 10920 | 2000021263
165 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1339 | 19 | 15660 | 2000021264
166 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1143 | 8 | 13560 | 2000021357
167 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3237 | 14 | 14220 | 2000023773
168 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 357 | 16 | 10740 | 2000025794
169 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 6 | 6960 | 2000027337
170 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1181 | 29 | 23100 | 2000029191
171 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 676 | 25 | 18900 | 2000029192
172 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 1648 | 42 | 106320 | 2000029193
173 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1685 | 24 | 53820 | 2000049757
174 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 20 | 47160 | 2000049820
175 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 1442 | 4 | 4080 | 2000067876
176 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2366 | 4 | 4080 | 2000067877
177 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 1706 | 7 | 19920 | 2000067878
178 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 15 | 7 | 11700 | 2000068108
179 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 34 | 7 | 11820 | 2000068109
180 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 15 | 7 | 11760 | 2000068110
181 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 151 | 5 | 3060 | 2000075565
182 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 774 | 22 | 55080 | 2000075566
183 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1468 | 61 | 147720 | 2000075806
184 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1247 | 40 | 147480 | 2000075812
185 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1206 | 10 | 20580 | 2000075971
186 | JAGDALPUR TOWN | 11KV TOWN-3 FEEDER | 3847 | 9 | 12720 | 2000004348
187 | JAGDALPUR TOWN | 11KV TOWN-2 FEEDER | 3650 | 10 | 49620 | 2000004346
188 | JAGDALPUR TOWN | 11KV TOWN-1 FEEDER | 3437 | 2 | 1980 | 2000004345
189 | JAGDALPUR TOWN | 11KV SARGIPAL FEEDER | 2471 | 9 | 10320 | 2000004343
190 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 2101 | 21 | 30840 | 2000004341
191 | JAGDALPUR TOWN | 11KV INDUSTRIAL FEEDER | 2398 | 10 | 10200 | 2000004336
192 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 287 | 13 | 45060 | 2000004333
193 | JAGDALPUR TOWN | 11KV BASTAR FEEDER | 1420 | 5 | 3960 | 2000004331
194 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 367 | 21 | 26580 | 2000075799
195 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2044 | 13 | 51180 | 2000075216
196 | KANKER TOWN | 11KV PATOD FEEDER | 1281 | 1 | 1020 | 2000002909
197 | KANKER TOWN | 11KV KESHKAL FEEDER | 203 | 2 | 960 | 2000002907
198 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1700 | 20 | 20520 | 2000015850
199 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1450 | 45 | 94980 | 2000020122
200 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 220 | 31 | 28920 | 2000021289
201 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1354 | 22 | 71520 | 2000021425
202 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 934 | 31 | 92460 | 2000006796
203 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2342 | 31 | 92220 | 2000006795
204 | KORBA TOWN | 11KV SEMIPALI | 444 | 37 | 49560 | 2000015240
205 | KORBA TOWN | 11KV TINADAFAI FEEDER | 734 | 19 | 59460 | 2000075797
206 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 193 | 36 | 94320 | 2000020121
207 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 642 | 2 | 1320 | 2000006790
208 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1962 | 26 | 52380 | 2000020065
209 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 18 | 46 | 125160 | 2000018988
210 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1499 | 31 | 75360 | 2000006798
211 | KORBA TOWN | 11KV DONDRO FEEDER | 31 | 125 | 356880 | 2000016028
212 | KORBA TOWN | 11KV RSSNAGAR FEEDER | 1915 | 52 | 98640 | 2000016201
213 | KORBA TOWN | 11KV BULGI FEEDER | 2441 | 4 | 5340 | 2000016255
214 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2124 | 41 | 144540 | 2000017804
215 | KORBA TOWN | 11KV PARSABADA FEEDER | 1376 | 25 | 51780 | 2000006789
216 | KORBA TOWN | 11KV POWERCITY FEEDER | 1922 | 1 | 2220 | 2000006788
217 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 397 | 34 | 123840 | 2000017805
218 | KORBA TOWN | 11KV ABC FEEDER | 1532 | 1 | 2220 | 2000006759
219 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3667 | 39 | 53040 | 2000006761
220 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1887 | 56 | 151380 | 2000006763
221 | KORBA TOWN | 11KV DADAR FEEDER | 707 | 58 | 150780 | 2000006768
222 | KORBA TOWN | 11KV DUMARDIHFEEDER | 18 | 63 | 156060 | 2000006770
223 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 793 | 55 | 131100 | 2000006773
224 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 911 | 26 | 88080 | 2000006775
225 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 255 | 74 | 107760 | 2000006776
226 | KORBA TOWN | 11KV POLYTECHNIC FEEDER | 1877 | 21 | 30960 | 2000006786
227 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1204 | 52 | 105960 | 2000006787
228 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 650 | 44 | 107460 | 2000001425
229 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 768 | 50 | 190980 | 2000001426
230 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1770 | 27 | 88920 | 2000001427
231 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6088 | 40 | 78660 | 2000003057
232 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 102 | 38 | 70260 | 2000002458
233 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2101 | 24 | 25260 | 2000006458
234 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 160 | 23 | 34260 | 2000015467
235 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1836 | 79 | 124140 | 2000055675
236 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 910 | 16 | 50640 | 2000068276
237 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 380 | 40 | 57300 | 2000076052
238 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 731 | 40 | 43560 | 2000076051
239 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1497 | 40 | 23520 | 2000076050
240 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 112 | 1 | 20580 | 2000001623
241 | NAILA JANJGIR TOWN | 11KV PANDERIFEEDER | 2187 | 3 | 3960 | 2000001630
242 | NAILA JANJGIR TOWN | 11KV SEONIFEEDER | 1515 | 1 | 4500 | 2000001631
243 | NAILA JANJGIR TOWN | 11KV SARKHONFEEDER | 584 | 107 | 114540 | 2000001632
244 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1066 | 32 | 52260 | 2000016053
245 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1116 | 34 | 61800 | 2000016052
246 | RAIGARH TOWN | 11KV DHIMRAPUR FEEDER | 949 | 32 | 73260 | 2000003308
247 | RAIGARH TOWN | 11KV GARGHORA FEEDER | 1183 | 7 | 6000 | 2000003310
248 | RAIGARH TOWN | 11KV GOURISHANKAR MANDIR FEEDER | 1326 | 1 | 1620 | 2000003311
249 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3182 | 31 | 68880 | 2000003325
250 | RAIGARH TOWN | 11KV STATION FEEDER | 1575 | 25 | 25020 | 2000003324
251 | RAIGARH TOWN | 11KV STADIUM FEEDER | 302 | 32 | 62820 | 2000003323
252 | RAIGARH TOWN | 11KV SHAHID CHOWK FEEDER | 315 | 1 | 1620 | 2000003322
253 | RAIGARH TOWN | 11KV HOSPITAL FEEDER | 241 | 13 | 17040 | 2000003312
254 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 612 | 53 | 55920 | 2000003320
255 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 2267 | 5 | 5040 | 2000003315
256 | RAIGARH TOWN | 11KV JHANGADIPA FEEDER | 2320 | 34 | 560520 | 2000003313
257 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 123 | 32 | 48720 | 2000016054
258 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1148 | 46 | 52860 | 2000016055
259 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 105 | 24 | 26940 | 2000016056
260 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 620 | 31 | 36600 | 2000016057
261 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 547 | 33 | 61500 | 2000016184
262 | RAIGARH TOWN | 11KV GERWANI FEEDER | 1858 | 36 | 60300 | 2000016185
263 | RAIGARH TOWN | 11KV CITY-3 FEEDER | 1245 | 6 | 5640 | 2000003305
264 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 1461 | 7 | 5700 | 2000003304
265 | RAIGARH TOWN | 11KV CITY-1 FEEDER | 1654 | 9 | 6240 | 2000003303
266 | RAIGARH TOWN | 11KV GOGA MANDIR CHOWK FEEDER | 664 | 25 | 35400 | 2000020756
267 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1566 | 17 | 138000 | 2000021639
268 | RAIGARH TOWN | 11KV STADIUM FEEDER | 667 | 10 | 28500 | 2000022941
269 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 350 | 40 | 58800 | 2000029091
270 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 1472 | 6 | 3660 | 2000010588
271 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 906 | 4 | 2820 | 2000010589
272 | RAIPUR TOWN | 11KV GAD FEEDER | 767 | 7 | 9480 | 2000010590
273 | RAIPUR TOWN | 11KV BHUIYA TALAB FEEDER | 808 | 4 | 2700 | 2000010591
274 | RAIPUR TOWN | 11KV ATARI FEEDER | 916 | 31 | 33240 | 2000010604
275 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 320 | 7 | 7680 | 2000010605
276 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 2638 | 7 | 8760 | 2000010631
277 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 2356 | 7 | 8640 | 2000010632
278 | RAIPUR TOWN | 11KV INDUSTRIAL FEEDER | 2303 | 9 | 14520 | 2000010640
279 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 781 | 7 | 5280 | 2000010651
280 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 63 | 6 | 4800 | 2000010660
281 | RAIPUR TOWN | 11KV LALBAG FEEDER | 940 | 15 | 43260 | 2000010665
282 | RAIPUR TOWN | 11KV MINING FEEDER | 618 | 8 | 23160 | 2000010669
283 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 439 | 14 | 861420 | 2000010686
284 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1322 | 8 | 26520 | 2000010691
285 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3500 | 12 | 27900 | 2000010692
286 | RAIPUR TOWN | 11KV RING 2 FEEDER | 2592 | 7 | 26340 | 2000010693
287 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 6 | 7 | 4860 | 2000010694
288 | RAIPUR TOWN | 11KV RAILWAY FEEDER | 2896 | 12 | 38820 | 2000010698
289 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 106 | 12 | 10020 | 2000010702
290 | RAIPUR TOWN | 11KV SISHU MANDIR FEEDER | 512 | 16 | 9000 | 2000010707
291 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 973 | 13 | 22920 | 2000010712
292 | RAIPUR TOWN | 11KV SARORA FEEDER | 980 | 3 | 1560 | 2000010720
293 | RAIPUR TOWN | 11KV SECTOR -5 | 758 | 3 | 3060 | 2000010721
294 | RAIPUR TOWN | 11KV TOWN FEEDER | 2502 | 3 | 24000 | 2000010730
295 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1245 | 2 | 5220 | 2000017508
296 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 2486 | 3 | 2220 | 2000017567
297 | RAIPUR TOWN | 11KV WHITE HOUSE | 797 | 5 | 4380 | 2000017568
298 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 610 | 4 | 3480 | 2000017569
299 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 704 | 12 | 8400 | 2000017590
300 | RAIPUR TOWN | 11KV ARJUNNAGAR FEEDER | 1596 | 25 | 23820 | 2000017597
301 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 1809 | 12 | 16620 | 2000017608
302 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 804 | 6 | 20820 | 2000017609
303 | RAIPUR TOWN | 11KV VIDYABHAWAN FEEDER | 70 | 1 | 300 | 2000017613
304 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 854 | 7 | 7740 | 2000017615
305 | RAIPUR TOWN | 11KV COLONY FEEDER | 28 | 3 | 20220 | 2000017619
306 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 2051 | 3 | 9480 | 2000017621
307 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 860 | 13 | 11580 | 2000017628
308 | RAIPUR TOWN | 11KV SURAJ NAGAR | 1759 | 13 | 19980 | 2000017690
309 | RAIPUR TOWN | 11KV ROMAN SQUARE | 661 | 15 | 19860 | 2000017691
310 | RAIPUR TOWN | 11KV KRISHAK NAGAR | 212 | 11 | 12060 | 2000017692
311 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 812 | 11 | 20160 | 2000017721
312 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1077 | 7 | 4680 | 2000017755
313 | RAIPUR TOWN | 11KV MOTHER TERESA | 818 | 7 | 4560 | 2000017756
314 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 512 | 8 | 5580 | 2000017757
315 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 1180 | 10 | 12480 | 2000017768
316 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1201 | 18 | 23400 | 2000017771
317 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 1467 | 14 | 14640 | 2000017772
318 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 671 | 13 | 9960 | 2000017773
319 | RAIPUR TOWN | 11KV PURANI BASTI | 716 | 4 | 3240 | 2000017817
320 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1151 | 11 | 16740 | 2000017867
321 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1952 | 3 | 2040 | 2000017868
322 | RAIPUR TOWN | 11KV GANESH MANDIR | 233 | 6 | 4260 | 2000017869
323 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1403 | 9 | 5040 | 2000017870
324 | RAIPUR TOWN | 11KV ACREPLOT FEEDER | 259 | 6 | 2700 | 2000017871
325 | RAIPUR TOWN | 11KV NAVEEN MARKET | 890 | 8 | 11520 | 2000017953
326 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2732 | 8 | 10740 | 2000017954
327 | RAIPUR TOWN | 11KV MG ROAD | 1621 | 4 | 1920 | 2000017955
328 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1152 | 25 | 27960 | 2000017962
329 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 332 | 7 | 9840 | 2000018004
330 | RAIPUR TOWN | 11KV SADDU FEEDER | 304 | 10 | 11220 | 2000018005
331 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1632 | 16 | 17040 | 2000018006
332 | RAIPUR TOWN | 11KV MANDI | 664 | 5 | 4920 | 2000018020
333 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 366 | 2 | 16680 | 2000018359
334 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 37 | 10 | 11760 | 2000018378
335 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 993 | 10 | 22800 | 2000018394
336 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 227 | 24 | 23820 | 2000018406
337 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 460 | 3 | 5040 | 2000018416
338 | RAIPUR TOWN | 11KV VARUN FEEDER | 1146 | 17 | 22260 | 2000019179
339 | RAIPUR TOWN | 11KV HEERA FEEDER | 3052 | 4 | 6420 | 2000019180
340 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 485 | 7 | 7200 | 2000019181
341 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1646 | 16 | 15060 | 2000019184
342 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1226 | 9 | 5700 | 2000019334
343 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1249 | 4 | 5580 | 2000019340
344 | RAIPUR TOWN | 11KV PS CITY | 1360 | 11 | 19080 | 2000019530
345 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 191 | 10 | 12840 | 2000019850
346 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 129 | 10 | 12900 | 2000019851
347 | RAIPUR TOWN | 11KV BLOCK NO 5 6 7 8 FEEDER | 176 | 4 | 2700 | 2000019853
348 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1833 | 8 | 4440 | 2000019857
349 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 3 FEEDER | 1562 | 9 | 4380 | 2000019858
350 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2141 | 3 | 2340 | 2000020009
351 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1712 | 9 | 9600 | 2000020119
352 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1210 | 6 | 3480 | 2000020120
353 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 12 | 9 | 12180 | 2000020123
354 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 18 | 11 | 5820 | 2000020130
355 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 175 | 12 | 7080 | 2000020131
356 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 3315 | 15 | 29700 | 2000020153
357 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 353 | 4 | 8820 | 2000020193
358 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1712 | 15 | 29760 | 2000021219
359 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1403 | 18 | 40380 | 2000021220
360 | RAIPUR TOWN | 11KV TARUN NAGAR | 1832 | 14 | 10680 | 2000021221
361 | RAIPUR TOWN | 11KV SHIVAJI NAGAR FEEDER | 753 | 17 | 20700 | 2000021286
362 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1393 | 10 | 11160 | 2000021287
363 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1464 | 7 | 5040 | 2000021615
364 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1368 | 11 | 10980 | 2000022077
365 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 805 | 2 | 2820 | 2000022078
366 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1352 | 4 | 7380 | 2000022079
367 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1404 | 13 | 9300 | 2000023680
368 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 1586 | 7 | 9720 | 2000023735
369 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 135 | 4 | 3900 | 2000023736
370 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1653 | 7 | 6060 | 2000023772
371 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1122 | 8 | 5040 | 2000024395
372 | RAIPUR TOWN | 11KV KACHNA FEEDER | 144 | 9 | 12960 | 2000026462
373 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2320 | 10 | 9720 | 2000026575
374 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1541 | 8 | 13920 | 2000026582
375 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1003 | 8 | 20520 | 2000026583
376 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 1069 | 10 | 24720 | 2000026584
377 | RAIPUR TOWN | 11KV JIVAN PARISAR FEEDER | 628 | 3 | 3900 | 2000026585
378 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1263 | 4 | 16080 | 2000026586
379 | RAIPUR TOWN | 11KV NANAK ENGINEERING FEEDER | 328 | 7 | 6000 | 2000029194
380 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 140 | 7 | 7740 | 2000029195
381 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1321 | 14 | 36540 | 2000034421
382 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 762 | 11 | 10800 | 2000034422
383 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 747 | 13 | 13260 | 2000034423
384 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2626 | 11 | 10620 | 2000034760
385 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 403 | 11 | 19320 | 2000034761
386 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1698 | 11 | 23520 | 2000034762
387 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 24 | 8 | 9180 | 2000046448
388 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 900 | 11 | 15960 | 2000046477
389 | RAIPUR TOWN | 11KV KACHNA FEEDER | 102 | 25 | 46740 | 2000063983
390 | RAIPUR TOWN | 11KV ITI FEEDER | 293 | 16 | 19200 | 2000063985
391 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1669 | 3 | 20220 | 2000068159
392 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 395 | 2 | 1800 | 2000069376
393 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 200 | 31 | 32520 | 2000070080
394 | RAIPUR TOWN | 11KV C&F FEEDER | 31 | 10 | 9540 | 2000070702
395 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 30 | 10 | 9540 | 2000070703
396 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1031 | 8 | 36300 | 2000070747
397 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 2536 | 6 | 4080 | 2000071570
398 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 124 | 7 | 4500 | 2000071639
399 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2598 | 28 | 74580 | 2000072091
400 | RAIPUR TOWN | 11KV Simran City Feeder | 1077 | 9 | 9300 | 2000074141
401 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 943 | 10 | 22500 | 2000075796
402 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3384 | 11 | 8940 | 2000075800
403 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS NO. 2 | 42 | 10 | 13020 | 2000075801
404 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 263 | 10 | 13320 | 2000075802
405 | RAJNANDGAON TOWN | 11KV PST FEEDER | 1949 | 26 | 55800 | 2000001975
406 | RAJNANDGAON TOWN | 11KV PARHI(RURAL)FEEDER | 1066 | 17 | 18300 | 2000001974
407 | RAJNANDGAON TOWN | 11KV PANEKA FEEDER | 227 | 23 | 15000 | 2000001973
408 | RAJNANDGAON TOWN | 11KV MAMTA NAGAR FEEDER | 1783 | 24 | 72600 | 2000001972
409 | RAJNANDGAON TOWN | 11KV KANHARPURIFEEDER | 3556 | 17 | 18300 | 2000001969
410 | RAJNANDGAON TOWN | 11KV KAILASH NAGAR FEEDER | 2110 | 11 | 10440 | 2000001967
411 | RAJNANDGAON TOWN | 11KV KAMLA COLLEGE | 2149 | 14 | 10920 | 2000015449
412 | RAJNANDGAON TOWN | 11KV NEHRU NAGAR FEEDER | 147 | 14 | 17700 | 2000015446
413 | RAJNANDGAON TOWN | 11KV RAM DARBAR FEEDER | 331 | 14 | 20100 | 2000015445
414 | RAJNANDGAON TOWN | 11KV INDUSTRIAL FEEDER | 2236 | 9 | 14880 | 2000001966
415 | RAJNANDGAON TOWN | 11KV GOKUL NAGAR FEEDER | 2384 | 26 | 14220 | 2000001962
416 | RAJNANDGAON TOWN | 11KV HOSPITAL FEEDER | 2028 | 32 | 147960 | 2000069535
417 | RAJNANDGAON TOWN | 11KV LALBAG FEEDER | 1695 | 1 | 3540 | 2000001957
418 | RAJNANDGAON TOWN | 11KV CHIKALI TOWN FEEDER | 3283 | 30 | 58920 | 2000001956