## D5
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: |  | Mar'21
Period: |  | 1st Feb'21 to 28th Feb'21
Number of Towns: |  | 20
Total nos. of Feeders: |  | 732
Sr. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec.) | BP NUMBER
1 | AMBIKAPUR TOWN | 11KV TOWN-1 FEEDER | 3168 | 6 | 11460 | 2000003855
2 | AMBIKAPUR TOWN | 11KV TAKIYA FEEDER | 1997 | 16 | 24480 | 2000003854
3 | AMBIKAPUR TOWN | 11KV MANIPUR FEEDER | 1654 | 6 | 14520 | 2000003853
4 | AMBIKAPUR TOWN | 11KV MAHAVIRPURFEEDER | 2284 | 8 | 39180 | 2000003852
5 | AMBIKAPUR TOWN | 11KV MAHAMAYA FEEDER | 1722 | 11 | 17880 | 2000003851
6 | AMBIKAPUR TOWN | 11KV LAXMIPUR FEEDER | 1073 | 21 | 49260 | 2000003850
7 | AMBIKAPUR TOWN | 11KV AJIRMA FEEDER | 2061 | 20 | 37800 | 2000003849
8 | AMBIKAPUR TOWN | 11KV GANDHI NAGAR FEEDER | 1379 | 10 | 23280 | 2000003848
9 | AMBIKAPUR TOWN | 11KV GEHRAGURU FEEDER | 547 | 19 | 44220 | 2000003847
10 | AMBIKAPUR TOWN | 11KV GODANPUR FEEDER | 1989 | 19 | 43260 | 2000003846
11 | AMBIKAPUR TOWN | 11KV FILTERPLANT FEEDER | 1288 | 31 | 61620 | 2000003845
12 | AMBIKAPUR TOWN | 11KV DUDHADEHRI FEEDER | 504 | 8 | 39120 | 2000003844
13 | AMBIKAPUR TOWN | 11KV DEVIGANG FEEDER | 1644 | 17 | 27180 | 2000003843
14 | AMBIKAPUR TOWN | 11KV COLLECTORE FEEDER | 1559 | 6 | 11760 | 2000003842
15 | AMBIKAPUR TOWN | 11KV INDUSTRIAL AREA FEEDER | 48 | 21 | 20520 | 2000071574
16 | AMBIKAPUR TOWN | 11KV RAJENDRA NAGAR FEEDER | 1831 | 21 | 17280 | 2000071573
17 | AMBIKAPUR TOWN | 11KV TRANSPORTNAGAR | 567 | 17 | 35580 | 2000014959
18 | AMBIKAPUR TOWN | 11KV AKASHWANI FEEDER | 20 | 35 | 27060 | 2000014957
19 | AMBIKAPUR TOWN | 11KV MG ROAD FEEDER | 1187 | 24 | 26760 | 2000071572
20 | AMBIKAPUR TOWN | 11KV TV FEEDER | 3000 | 6 | 11580 | 2000014963
21 | AMBIKAPUR TOWN | 11KV SONPUR | 916 | 8 | 14460 | 2000014954
22 | AMBIKAPUR TOWN | 11KV KHAIRBAR | 314 | 8 | 14520 | 2000014952
23 | AMBIKAPUR TOWN | 11KV DCROAD | 2288 | 7 | 13980 | 2000014951
24 | AMBIKAPUR TOWN | 11KV BUSSTAND FEEDER | 1039 | 26 | 54540 | 2000003840
25 | AMBIKAPUR TOWN | 11KV COLONY FEEDER | 293 | 10 | 22020 | 2000003841
26 | AMBIKAPUR TOWN | 11KV BHATUPARA FEEDER | 631 | 18 | 23520 | 2000076478
27 | AMBIKAPUR TOWN | 11KV KUNDLA CITY FEEDER | 1223 | 6 | 5700 | 2000076479
28 | AMBIKAPUR TOWN | 11KV PATELPARA FEEDER | 675 | 19 | 43080 | 2000076563
29 | BHATAPARA TOWN | 11KV TOHADI GHAT (MAIN TOWN) F | 330 | 6 | 26820 | 2000001005
30 | BHATAPARA TOWN | 11KV DEORI (RURAL) FEEDER | 315 | 8 | 22320 | 2000001007 | 94 | 5640
31 | BHATAPARA TOWN | 11KV Rest House Fedeer | 1211 | 23 | 44760 | 2000075846
32 | BHATAPARA TOWN | 11KV TOWN FEEDER | 1408 | 1 | 480 | 2000001009
33 | BHATAPARA TOWN | 11KV TOWN II FEEDER | 752 | 10 | 20940 | 2000006347
34 | BILASPUR TOWN | 11KV AGYE NAGAR FEEDER | 601 | 11 | 30660 | 2000004867
35 | BILASPUR TOWN | 11KV BAHATARAI FEEDER | 2165 | 7 | 15960 | 2000004868
36 | BILASPUR TOWN | 11KV BANDVAPARA FEEDER | 2027 | 10 | 11340 | 2000004869
37 | BILASPUR TOWN | 11KV BHARTIYA NAGAR FEEDER | 655 | 5 | 791100 | 2000004870
38 | BILASPUR TOWN | 11KV BUS STAND FEEDER | 1662 | 12 | 12540 | 2000004871
39 | BILASPUR TOWN | 11KV CHANTIDLH FEEDER | 2630 | 9 | 6840 | 2000004873
40 | BILASPUR TOWN | 11KV CIRCUIT HOUSE FEEDER | 1390 | 4 | 5520 | 2000004874
41 | BILASPUR TOWN | 11KV DEORI KHURD FEEDER | 1205 | 9 | 12540 | 2000004876
42 | BILASPUR TOWN | 11KV DHEKA FEEDER | 382 | 13 | 16260 | 2000004877
43 | BILASPUR TOWN | 11KV DHUMA FEEDER | 851 | 5 | 7140 | 2000004878
44 | BILASPUR TOWN | 11KV DOMUHANI FEEDER | 556 | 21 | 64380 | 2000004879
45 | BILASPUR TOWN | 11KV EMERGENCY FEEDER | 1239 | 6 | 12540 | 2000004881
46 | BILASPUR TOWN | 11KV SIRGITTI TOWN FEEDER | 2231 | 4 | 4140 | 2000004882
47 | BILASPUR TOWN | 11KV GOAL BAZAR FEEDER | 880 | 14 | 14340 | 2000004883
48 | BILASPUR TOWN | 11KV GONDPARA FEEDER | 1816 | 19 | 16740 | 2000004884
49 | BILASPUR TOWN | 11KV HARDIFEEDER | 1242 | 5 | 7080 | 2000004885
50 | BILASPUR TOWN | 11KV HEMUN FEEDER | 1074 | 13 | 24720 | 2000004886
51 | BILASPUR TOWN | 11KV HIGH COURT FEEDER | 1937 | 9 | 11340 | 2000004888
52 | BILASPUR TOWN | 11KV INDIRA CHOWK FEEDER | 2350 | 14 | 27840 | 2000004889
53 | BILASPUR TOWN | 11KV INDIRA VIHAR FEEDER | 110 | 10 | 11280 | 2000004890
54 | BILASPUR TOWN | 11KV JATIYA TALAB FEEDER | 1246 | 26 | 31620 | 2000004891
55 | BILASPUR TOWN | 11KV JUNA BILASPUR FEEDER | 775 | 5 | 4980 | 2000004892
56 | BILASPUR TOWN | 11KV KUDUDAND FEEDER | 698 | 13 | 10440 | 2000004893
57 | BILASPUR TOWN | 11KV LINK ROAD FEEDER | 1590 | 12 | 12540 | 2000004896
58 | BILASPUR TOWN | 11KV LOKHANDI FEEDER | 551 | 21 | 34620 | 2000004897
59 | BILASPUR TOWN | 11KV MANIKPUR FEEDER | 1307 | 5 | 7020 | 2000004898
60 | BILASPUR TOWN | 11KV MAGARPARA FEEDER | 1480 | 11 | 793680 | 2000004899
61 | BILASPUR TOWN | 11KV MAHMAND LALKHADAN FEEDER | 1348 | 7 | 5040 | 2000004900
62 | BILASPUR TOWN | 11KV MAHARSHI FEEDER | 2827 | 17 | 38400 | 2000004901
63 | BILASPUR TOWN | 11KV MANGLA FEEDER | 1601 | 14 | 40980 | 2000004902
64 | BILASPUR TOWN | 11KV MANOHAR HOTEL FEEDER | 172 | 8 | 12960 | 2000004903
65 | BILASPUR TOWN | 11KV MOPKA FEEDER | 1820 | 11 | 12180 | 2000004904
66 | BILASPUR TOWN | 11KV MUNGELI ROAD FEEDER | 2912 | 4 | 5520 | 2000004905
67 | BILASPUR TOWN | 11KV NUTAN CHOWK FEEDER | 2830 | 10 | 11280 | 2000004906
68 | BILASPUR TOWN | 11KV OM NAGAR FEEDER | 2096 | 18 | 47880 | 2000004907
69 | BILASPUR TOWN | 11KV PACHARI GHAT FEEDER | 816 | 8 | 13320 | 2000004908
70 | BILASPUR TOWN | 11KV RAMAGREENFEEDER | 4904 | 11 | 13860 | 2000004909
71 | BILASPUR TOWN | 11KV RK NAGAR FEEDER | 2701 | 5 | 11940 | 2000004910
72 | BILASPUR TOWN | 11KV RING ROAD-2 FEEDER | 1466 | 17 | 47760 | 2000004911
73 | BILASPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 2408 | 14 | 25020 | 2000004912
74 | BILASPUR TOWN | 11KV SADAR BAZAR FEEDER | 1856 | 14 | 48900 | 2000004913
75 | BILASPUR TOWN | 11KV SHANKAR NAGAR FEEDER | 2552 | 13 | 24600 | 2000004914
76 | BILASPUR TOWN | 11KV INDUSTRIAL FEEDER | 83 | 6 | 8100 | 2000004915
77 | BILASPUR TOWN | 11KV RULER FEEDER | 1788 | 5 | 7560 | 2000004916
78 | BILASPUR TOWN | 11KV SARKANDA FEEDER | 2633 | 16 | 16200 | 2000004917
79 | BILASPUR TOWN | 11KV DAYALBAND FEEDER | 2153 | 13 | 24600 | 2000004919
80 | BILASPUR TOWN | 11KV TELIPARA FEEDER | 3034 | 5 | 5040 | 2000004920
81 | BILASPUR TOWN | 11KV RAMARESIDENCY FEEDER | 576 | 13 | 24780 | 2000004921
82 | BILASPUR TOWN | 11KV TARBAHAR FEEDER | 1960 | 9 | 11340 | 2000004922
83 | BILASPUR TOWN | 11KV TUNKI-1 FEEDER | 761 | 14 | 41160 | 2000004923
84 | BILASPUR TOWN | 11KV TUNKI-2(KUSHABHAU THAKRE) | 416 | 14 | 40920 | 2000004924
85 | BILASPUR TOWN | 11KV VIDYA NAGAR FEEDER | 1861 | 11 | 30660 | 2000004925
86 | BILASPUR TOWN | 11KV VASANT VIHAR FEEDER | 1206 | 15 | 26640 | 2000004926
87 | BILASPUR TOWN | 11KV KONI FEEDER | 802 | 18 | 21180 | 2000006494
88 | BILASPUR TOWN | 11KV TV FEEDER | 2257 | 9 | 6900 | 2000016309
89 | BILASPUR TOWN | 11KV IMLIBHATA FEEDER | 857 | 8 | 8100 | 2000016310
90 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 247 | 9 | 10680 | 2000016311
91 | BILASPUR TOWN | 11KV ENGINEERING COLLEGE FEEDER | 413 | 6 | 7080 | 2000016312
92 | BILASPUR TOWN | 11KV LODHIPARA FEEDER | 1373 | 7 | 7500 | 2000016314
93 | BILASPUR TOWN | 11KV BIRKONA FEEDER | 169 | 13 | 10020 | 2000016315
94 | BILASPUR TOWN | 11KV NEW MOPKA | 1402 | 3 | 12240 | 2000017224
95 | BILASPUR TOWN | 11KV SHIVAM CITY | 1999 | 5 | 14820 | 2000017225
96 | BILASPUR TOWN | 11KV MAHAVEER CITY | 391 | 7 | 15960 | 2000017226
97 | BILASPUR TOWN | 11KV DOOR DARSHAN FEEDER | 1 | 7 | 13320 | 2000017502
98 | BILASPUR TOWN | 11KV RAJIV VIHAR FEEDER | 265 | 8 | 19140 | 2000017504
99 | BILASPUR TOWN | 11KV LINGYADIH FEEDER | 2339 | 11 | 23760 | 2000017505
100 | BILASPUR TOWN | 11KV ADARSH CHOWK FEEDER | 1021 | 22 | 30720 | 2000017776
101 | BILASPUR TOWN | 11KV USHA UPVAN FEEDER | 145 | 23 | 31200 | 2000017777
102 | BILASPUR TOWN | 11KV ALKA AVENUE FEEDER | 278 | 22 | 30720 | 2000017778
103 | BILASPUR TOWN | 11KV USLAPUR OVERBRIDGE FEEDER | 366 | 24 | 45300 | 2000017780
104 | BILASPUR TOWN | 11KV ABHISHEK VIHAR FEEDER | 548 | 18 | 29280 | 2000017781
105 | BILASPUR TOWN | 11KV WATTSONIA(ABHISHEK NAGAR) FEEDER | 181 | 18 | 29280 | 2000017782
106 | BILASPUR TOWN | 11KV SALUJA VIHAR FEEDER | 1585 | 9 | 12960 | 2000018403
107 | BILASPUR TOWN | 11KV PRIYADARSHNI NAGAR FEEDER | 1350 | 6 | 7380 | 2000018404
108 | BILASPUR TOWN | 11KV TALAPARA FEEDER | 1536 | 9 | 10620 | 2000018405
109 | BILASPUR TOWN | 11KV NARIAL KOTHI FEEDER | 871 | 17 | 31680 | 2000018761
110 | BILASPUR TOWN | 11KV GANDHI CHOWK FEEDER | 1879 | 14 | 34740 | 2000018762
111 | BILASPUR TOWN | 11KV KATIYAPARA FEEDER | 506 | 13 | 27000 | 2000018763
112 | BILASPUR TOWN | 11KV JAILROAD FEEDER | 67 | 12 | 30780 | 2000020488
113 | BILASPUR TOWN | 11KV NEHRU CHOWK FEEDER | 486 | 15 | 50280 | 2000020489
114 | BILASPUR TOWN | 11KV TELEPHONE EXCHANGE FEEDER | 1281 | 15 | 24540 | 2000020490
115 | BILASPUR TOWN | 11KV CMD COLLEGE FEEDER | 1707 | 15 | 19020 | 2000020582
116 | BILASPUR TOWN | 11KV AGRASEN CHOWK FEEDER | 1201 | 13 | 11760 | 2000020583
117 | BILASPUR TOWN | 11KV SHRIRAM MARKET FEEDER | 246 | 9 | 10020 | 2000020584
118 | BILASPUR TOWN | 11KV HARSH VIHAR FEEDER | 309 | 11 | 30600 | 2000022056
119 | BILASPUR TOWN | 11KV KORMI BASIYA FEEDER | 1713 | 5 | 7080 | 2000022059
120 | BILASPUR TOWN | 11KV VIJAY NAGAR FEEDER | 2114 | 10 | 19080 | 2000022060
121 | BILASPUR TOWN | 11KV HOUSING BOARD FEEDER | 1476 | 10 | 17460 | 2000022061
122 | BILASPUR TOWN | 11KV HARSH KINGDOM FEEDER | 205 | 2 | 720 | 2000022075
123 | BILASPUR TOWN | 11KV BHAISA BAZAR FEEDER | 1599 | 12 | 40800 | 2000023801
124 | BILASPUR TOWN | 11KV CHINGRAAZ PARA FEEDER | 1282 | 10 | 28860 | 2000023802
125 | BILASPUR TOWN | 11KV GEETANJALI FEEDER | 1048 | 18 | 56580 | 2000023803
126 | BILASPUR TOWN | 11KV WAREHOUSE FEEDER | 353 | 8 | 16980 | 2000024037
127 | BILASPUR TOWN | 11KV SAFER SCHOOL FEEDER | 533 | 17 | 28020 | 2000024038
128 | BILASPUR TOWN | 11KV INDRA SETU FEEDER | 2447 | 16 | 27960 | 2000024039
129 | BILASPUR TOWN | 11KV GARDEN CITY FEEDER | 1202 | 9 | 12600 | 2000027413
130 | BILASPUR TOWN | 11KV OVER BRIDGE FEEDER | 51 | 7 | 12780 | 2000076558
131 | BILASPUR TOWN | 11KV RAIL NEER FEEDER | 27 | 7 | 12840 | 2000076559
132 | BILASPUR TOWN | 11KV PATRIKA FEEDER | 55 | 7 | 12840 | 2000076560
133 | BILASPUR TOWN | 11KV CG BHAWAN FEEDER | 350 | 5 | 19860 | 2000076887
134 | BILASPUR TOWN | 11KV SILPAHARI INDUSTRIAL FEEDER | 6 | 5 | 7080 | 2000077336
135 | BILASPUR TOWN | 11KV BHAWANI NAGAR FEEDER | 1113 | 5 | 7560 | 2000077337
136 | BILASPUR TOWN | 11KV Maa Harshiddhi Feeder | 51 | 7 | 6540 | 2000077612
137 | CHAMPA TOWN | 11KV OM City Feeder | 811 | 10 | 5760 | 2000077502
138 | CHAMPA TOWN | 11KV RAILWAY FEEDER | 110 | 6 | 10320 | 2000015492
139 | CHAMPA TOWN | 11KV GHATOLI ROAD FEEDER | 409 | 37 | 54540 | 2000001804
140 | CHAMPA TOWN | 11KV KORBA ROAD FEEDER | 788 | 19 | 30360 | 2000001806
141 | CHAMPA TOWN | 11KV KURDAFEEDER | 1648 | 24 | 35400 | 2000001807
142 | CHAMPA TOWN | 11KV KOTADABARI FEEDER | 2365 | 48 | 62760 | 2000001808
143 | CHAMPA TOWN | 11KV R.K.MANDIR FEEDER | 2262 | 14 | 16020 | 2000001809
144 | CHAMPA TOWN | 11KV SEONI(RURAL)FEEDER | 1 | 10 | 11580 | 2000001811
145 | CHAMPA TOWN | 11KV TOWN-1 FEEDER | 2953 | 22 | 34440 | 2000001812
146 | CHAMPA TOWN | 11KV TAHSIL ROAD FEEDER | 1312 | 19 | 29580 | 2000001813
147 | CHAMPA TOWN | 11KV WATERWORKFEEDER | 872 | 21 | 26700 | 2000001814
148 | CHIRMIRI TOWN | 11KV PONDI FEEDER | 548 | 22 | 102120 | 2000015252
149 | CHIRMIRI TOWN | 11KV BADABAZAAR FEEDER | 4476 | 26 | 64020 | 2000003144
150 | DALLI RAJHARA TOWN | 11KV TOWN1 FEEDER | 5667 | 38 | 30240 | 2000003197
151 | DALLI RAJHARA TOWN | 11KV RAJHARA BABA FEEDER | 2051 | 8 | 15660 | 2000003196
152 | DALLI RAJHARA TOWN | 11KV MOHALLA FEEDER | 289 | 42 | 102360 | 2000006348
153 | DALLI RAJHARA TOWN | 11KV MOHALAFEEDER | 1293 | 25 | 20040 | 2000003195
154 | DALLI RAJHARA TOWN | 11KV KUSUMKASAFEEDER | 1674 | 10 | 15960 | 2000003194
155 | DALLI RAJHARA TOWN | 11KV ATALJYOTIFEEDER | 351 | 10 | 15840 | 2000003193
156 | DHAMTARI TOWN | 11KV AAMDHI FEEDER | 41 | 5 | 9600 | 2000002566
157 | DHAMTARI TOWN | 11KV ATAL JYOTI FEEDER | 1 | 23 | 45360 | 2000002567
158 | DHAMTARI TOWN | 11KV DANI TOLA FEEDER | 1616 | 4 | 8580 | 2000002569
159 | DHAMTARI TOWN | 11KV GOKULPUR FEEDER | 4429 | 4 | 8700 | 2000002570
160 | DHAMTARI TOWN | 11KV HOUSING BOARD COLONY FEED | 2097 | 5 | 9000 | 2000002571
161 | DHAMTARI TOWN | 11KV INDUSTRIAL FEEDER | 986 | 4 | 7980 | 2000002572
162 | DHAMTARI TOWN | 11KV NEW COURT FEEDER | 107 | 4 | 8700 | 2000002573
163 | DHAMTARI TOWN | 11KV RAIPUR ROAD FEEDER | 1382 | 8 | 17040 | 2000002574
164 | DHAMTARI TOWN | 11KV SHANKAR DA FEEDER | 988 | 30 | 55200 | 2000002575
165 | DHAMTARI TOWN | 11KV SIHAWA ROAD FEEDER | 1310 | 5 | 8460 | 2000002576
166 | DHAMTARI TOWN | 11KV Shanti Colony Feeder | 3815 | 18 | 25680 | 2000002578
167 | DHAMTARI TOWN | 11KV TOWN FEEDER | 2945 | 9 | 13140 | 2000002579
168 | DHAMTARI TOWN | 11KV BHATGAON FEEDER | 548 | 4 | 8640 | 2000015505
169 | DHAMTARI TOWN | 11KV CHITOD 2 FEEDER | 404 | 7 | 18540 | 2000004308
170 | DONGARGARH TOWN | 11KV TOWN-2 FEEDER | 4642 | 5 | 4560 | 2000001303
171 | DONGARGARH TOWN | 11KV DONGARGARH TOWN FEEDER | 3394 | 7 | 27600 | 2000001302
172 | DONGARGARH TOWN | 11KV MUSRA (RURAL) FEEDER | 4151 | 22 | 15720 | 2000001301
173 | DONGARGARH TOWN | 11KV MANDIR FEEDER | 1431 | 3 | 10200 | 2000001299
174 | DONGARGARH TOWN | 11KV L.B.NAGAR (RURAL) FEEDER | 2226 | 9 | 28320 | 2000001298
175 | DONGARGARH TOWN | 11KV GRAMIN (RURAL) FEEDER | 713 | 11 | 13800 | 2000001296
176 | DONGARGARH TOWN | 11KV BUDHWARI FEEDER | 1941 | 13 | 37200 | 2000001295
177 | DURG BHILAI CHARODA TOWN | 11KV POLSAY PARA FEEDER | 1945 | 32 | 55560 | 2000007686
178 | DURG BHILAI CHARODA TOWN | 11KV MAHESH COLONY FEEDER | 1746 | 7 | 11580 | 2000007687
179 | DURG BHILAI CHARODA TOWN | 11KV AJY PUMP FEEDER | 118 | 36 | 199380 | 2000007688
180 | DURG BHILAI CHARODA TOWN | 11KV ASHISH NAGAR FEEDER | 630 | 2 | 540 | 2000007689
181 | DURG BHILAI CHARODA TOWN | 11KV CHANDI MANDIR FEEDER | 4129 | 7 | 32160 | 2000007696
182 | DURG BHILAI CHARODA TOWN | 11KV CAMP-1 FEEDER | 3027 | 1 | 300 | 2000007701
183 | DURG BHILAI CHARODA TOWN | 11KV CIRCUIT HOUSE FEEDER | 1105 | 15 | 14100 | 2000007702
184 | DURG BHILAI CHARODA TOWN | 11KV CIVIL LINE FEEDER | 1139 | 18 | 24300 | 2000007703
185 | DURG BHILAI CHARODA TOWN | 11KV KHURSIPAR FEEDER | 2470 | 7 | 2280 | 2000007705
186 | DURG BHILAI CHARODA TOWN | 11KV GANDHI NAGAR FEEDER | 1665 | 7 | 4860 | 2000007707
187 | DURG BHILAI CHARODA TOWN | 11KV CHN INDUSTRIAL-2 FEEDER | 1404 | 10 | 6300 | 2000007715
188 | DURG BHILAI CHARODA TOWN | 11KV MILL PARA FEEDER | 1552 | 15 | 8040 | 2000007718
189 | DURG BHILAI CHARODA TOWN | 11KV ITI FEEDER | 1142 | 2 | 540 | 2000007720
190 | DURG BHILAI CHARODA TOWN | 11KV VIDYUT NAGAR FEEDER | 1412 | 5 | 50760 | 2000007721
191 | DURG BHILAI CHARODA TOWN | 11KV JAWAHAR NAGAR FEEDER | 2227 | 3 | 4020 | 2000007723
192 | DURG BHILAI CHARODA TOWN | 11KV JAYANTI NAGAR FEEDER | 1496 | 14 | 10440 | 2000007724
193 | DURG BHILAI CHARODA TOWN | 11KV MATRIVIHAR FEEDER | 1735 | 8 | 2640 | 2000007725
194 | DURG BHILAI CHARODA TOWN | 11KV KALIBADI FEEDER | 2556 | 16 | 13740 | 2000007726
195 | DURG BHILAI CHARODA TOWN | 11KV KAILASH NAGAR FEEDER | 754 | 4 | 4920 | 2000007729
196 | DURG BHILAI CHARODA TOWN | 11KV KURSIPAR FEEDER | 987 | 4 | 8040 | 2000007731
197 | DURG BHILAI CHARODA TOWN | 11KV MOHLAI FEEDER | 745 | 11 | 37800 | 2000007733
198 | DURG BHILAI CHARODA TOWN | 11KV VITTALPURAM FEEDER | 1124 | 5 | 3660 | 2000007735
199 | DURG BHILAI CHARODA TOWN | 11KV MALVIYA NAGAR FEEDER | 1642 | 15 | 18480 | 2000007737
200 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE-1 FEEDER | 3213 | 9 | 16200 | 2000007742
201 | DURG BHILAI CHARODA TOWN | 11KV PUSHP VATIKA FEEDER | 924 | 17 | 34920 | 2000007744
202 | DURG BHILAI CHARODA TOWN | 11KV POWER HOUSE FEEDER | 728 | 5 | 13320 | 2000007747
203 | DURG BHILAI CHARODA TOWN | 11KV SHIKSHAK NAGAR FEEDER | 1318 | 18 | 16920 | 2000007750
204 | DURG BHILAI CHARODA TOWN | 11KV RUWABANDHA FEEDER | 1976 | 9 | 5940 | 2000007754
205 | DURG BHILAI CHARODA TOWN | 11KV TAKIYA PARA FEEDER | 1373 | 11 | 7080 | 2000007756
206 | DURG BHILAI CHARODA TOWN | 11KV SINDHIYA NAGAR FEEDER | 2079 | 10 | 16860 | 2000007757
207 | DURG BHILAI CHARODA TOWN | 11KV IHSDP FEEDER | 2277 | 13 | 13140 | 2000007758
208 | DURG BHILAI CHARODA TOWN | 11KV SHANKAR NAGAR FEEDER | 2233 | 9 | 15660 | 2000007759
209 | DURG BHILAI CHARODA TOWN | 11KV SURYA HOTEL FEEDER | 1042 | 4 | 4920 | 2000007761
210 | DURG BHILAI CHARODA TOWN | 11KV SMRITINAGAR FEEDER | 1066 | 6 | 27480 | 2000007762
211 | DURG BHILAI CHARODA TOWN | 11KV SUPELA FEEDER | 717 | 21 | 43800 | 2000007769
212 | DURG BHILAI CHARODA TOWN | 11KV SIRSA KALA FEEDER | 1878 | 2 | 1920 | 2000007772
213 | DURG BHILAI CHARODA TOWN | 11KV STF FEEDER | 1544 | 8 | 8100 | 2000007773
214 | DURG BHILAI CHARODA TOWN | 11KV COLLECTORATE FEEDER | 1567 | 14 | 8580 | 2000007774
215 | DURG BHILAI CHARODA TOWN | 11KV TAHASIL FEEDER | 1259 | 16 | 13800 | 2000007775
216 | DURG BHILAI CHARODA TOWN | 11KV FARISHTA COMPLEX FEEDER | 1233 | 3 | 3300 | 2000007776
217 | DURG BHILAI CHARODA TOWN | 11KV KADAMBARI NAGAR FEEDER | 1222 | 12 | 9480 | 2000007779
218 | DURG BHILAI CHARODA TOWN | 11KV NUWAIFEEDER | 7619 | 8 | 26820 | 2000016889
219 | DURG BHILAI CHARODA TOWN | 11KV SUBHASH NAGAR FEEDER | 2972 | 18 | 30420 | 2000017000
220 | DURG BHILAI CHARODA TOWN | 11KV HOUSHING BOARD | 2575 | 5 | 45540 | 2000017052
221 | DURG BHILAI CHARODA TOWN | 11KV VANDE MATARAM | 1328 | 6 | 145140 | 2000017054
222 | DURG BHILAI CHARODA TOWN | 11KV CHURCH FEEDER | 1194 | 3 | 25560 | 2000017055
223 | DURG BHILAI CHARODA TOWN | 11KV RISALI BASTI FEEDER | 960 | 3 | 23520 | 2000017056
224 | DURG BHILAI CHARODA TOWN | 11KV SAF BATALIAN | 836 | 8 | 16680 | 2000017057
225 | DURG BHILAI CHARODA TOWN | 11KV STEEL COLONY | 880 | 5 | 6660 | 2000017058
226 | DURG BHILAI CHARODA TOWN | 11KV KATUN BOAD | 1667 | 7 | 16620 | 2000017059
227 | DURG BHILAI CHARODA TOWN | 11KV GREEN CHOWK | 452 | 7 | 8460 | 2000017060
228 | DURG BHILAI CHARODA TOWN | 11KV TITURDIH | 1829 | 11 | 20160 | 2000017061
229 | DURG BHILAI CHARODA TOWN | 11KV GURUNANAK FEEDER | 588 | 1 | 1140 | 2000017062
230 | DURG BHILAI CHARODA TOWN | 11KV SUNDER NAGAR FEEDER | 752 | 2 | 1860 | 2000017063
231 | DURG BHILAI CHARODA TOWN | 11KV MAUHARI FEEDER | 1540 | 2 | 11700 | 2000017064
232 | DURG BHILAI CHARODA TOWN | 11KV ADARSH NAGAR | 1492 | 12 | 12360 | 2000017065
233 | DURG BHILAI CHARODA TOWN | 11KV SHANTI NAGAR FEEDER | 1184 | 1 | 1080 | 2000017066
234 | DURG BHILAI CHARODA TOWN | 11KV HANODARURALFEEDER | 576 | 2 | 840 | 2000017067
235 | DURG BHILAI CHARODA TOWN | 11KV POTIYA FEEDER | 1305 | 6 | 7980 | 2000017068
236 | DURG BHILAI CHARODA TOWN | 11KV GANAPATI VIHAR FEEDER | 969 | 10 | 11580 | 2000017069
237 | DURG BHILAI CHARODA TOWN | 11KV KANHAIYAPURI FEEDER | 2134 | 11 | 11820 | 2000017071
238 | DURG BHILAI CHARODA TOWN | 11KV SURYA RESIDENCY FEEDER | 269 | 6 | 3300 | 2000017072
239 | DURG BHILAI CHARODA TOWN | 11KV DREAM CITY FEEDER | 518 | 12 | 10200 | 2000017080
240 | DURG BHILAI CHARODA TOWN | 11KV SANJAY NAGAR FEEDER | 2613 | 4 | 4260 | 2000018574
241 | DURG BHILAI CHARODA TOWN | 11KV PRIYADARSHANI PARISAR FEEDE | 305 | 9 | 8820 | 2000018704
242 | DURG BHILAI CHARODA TOWN | 11KV KOSA NAGAR FEEDER | 1402 | 12 | 10620 | 2000018705
243 | DURG BHILAI CHARODA TOWN | 11KV SUPELA THANA FEEDER | 1854 | 10 | 10260 | 2000018706
244 | DURG BHILAI CHARODA TOWN | 11KV DAKSHIN GANGOTRI FEEDER | 910 | 8 | 10320 | 2000018707
245 | DURG BHILAI CHARODA TOWN | 11KV RAJIV NAGAR FEEDER | 2964 | 11 | 21240 | 2000018723
246 | DURG BHILAI CHARODA TOWN | 11KV HOSPITAL FEEDER | 668 | 9 | 7560 | 2000019819
247 | DURG BHILAI CHARODA TOWN | 11KV URLA FEEDER | 2787 | 18 | 16860 | 2000019876
248 | DURG BHILAI CHARODA TOWN | 11KV POLYTECHNIC FEEDER | 1104 | 12 | 22560 | 2000020519
249 | DURG BHILAI CHARODA TOWN | 11KV ARYA NGAR FEEDER | 1669 | 12 | 68160 | 2000021263
250 | DURG BHILAI CHARODA TOWN | 11KV SANTA BADI FEEDER | 1329 | 9 | 56700 | 2000021264
251 | DURG BHILAI CHARODA TOWN | 11KV KHANDELWAL FEEDER | 1170 | 3 | 3240 | 2000021357
252 | DURG BHILAI CHARODA TOWN | 11KV KHAMARIYA FEEDER | 3154 | 6 | 24180 | 2000023773
253 | DURG BHILAI CHARODA TOWN | 11KV MILANCHOWK FEEDER | 356 | 3 | 1980 | 2000025794
254 | DURG BHILAI CHARODA TOWN | 11KV SCADA FEEDER | 3 | 4 | 4560 | 2000027337
255 | DURG BHILAI CHARODA TOWN | 11KV KRISHNA NAGAR FEEDER | 1924 | 12 | 7800 | 2000029190
256 | DURG BHILAI CHARODA TOWN | 11KV NIZAM CHOWK FEEDER | 1415 | 14 | 11520 | 2000029191
257 | DURG BHILAI CHARODA TOWN | 11KV AVANTI BAI CHOWK FEEDER | 874 | 12 | 7740 | 2000029192
258 | DURG BHILAI CHARODA TOWN | 11KV SHASTRI NAGAR FEEDER | 2148 | 4 | 4800 | 2000029193
259 | DURG BHILAI CHARODA TOWN | 11KV WORLD BANK FEEDER | 1948 | 6 | 4620 | 2000049757
260 | DURG BHILAI CHARODA TOWN | 11KV HATJKHOJ INDUSTRIAL -3 FE | 59 | 2 | 1560 | 2000049820
261 | DURG BHILAI CHARODA TOWN | 11KV KUNDRA PARA FEEDER | 2061 | 3 | 3240 | 2000067876
262 | DURG BHILAI CHARODA TOWN | 11KV SAI MANDIR FEEDER | 2405 | 3 | 3120 | 2000067877
263 | DURG BHILAI CHARODA TOWN | 11KV KASARIDIH FEEDER | 2186 | 2 | 1860 | 2000067878
264 | DURG BHILAI CHARODA TOWN | 11KV MAWLE FEEDER | 16 | 4 | 4680 | 2000068108
265 | DURG BHILAI CHARODA TOWN | 11KV UMDA ROAD FEEDER | 53 | 4 | 4680 | 2000068109
266 | DURG BHILAI CHARODA TOWN | 11KV RAJARAM FEEDER | 18 | 4 | 4680 | 2000068110
267 | DURG BHILAI CHARODA TOWN | 11KV PADUMNAGAR FEEDER | 1399 | 7 | 4140 | 2000075513
268 | DURG BHILAI CHARODA TOWN | 11KV Saraswati Kunj Feeder | 134 | 2 | 11640 | 2000075565
269 | DURG BHILAI CHARODA TOWN | 11KV TANKI MARODA FEEDER | 791 | 3 | 23700 | 2000075566
270 | DURG BHILAI CHARODA TOWN | 11KV DD PURAM FEEDER | 1836 | 5 | 1620 | 2000075806
271 | DURG BHILAI CHARODA TOWN | 11KV Limtara Feeder | 1028 | 28 | 81240 | 2000075812
272 | DURG BHILAI CHARODA TOWN | 11KV VRINDAVAN FEEDER | 359 | 9 | 9360 | 2000075949
273 | DURG BHILAI CHARODA TOWN | 11KV PREM NAGAR FEEDER | 2302 | 15 | 9960 | 2000075970
274 | DURG BHILAI CHARODA TOWN | 11KV KELABADI FEEDER | 1208 | 5 | 4140 | 2000075971
275 | DURG BHILAI CHARODA TOWN | 11KV Baghera Basti Feeder | 765 | 14 | 40560 | 2000076270
276 | DURG BHILAI CHARODA TOWN | 11KV Gol Market Feeder | 1060 | 1 | 1140 | 2000077904
277 | DURG BHILAI CHARODA TOWN | 11 KV Bhim Nagar Feeder | 1446 | 26 | 59520 | 2000078040
278 | JAGDALPUR TOWN | 11KV Housing Board Feeder | 380 | 8 | 6060 | 2000075799
279 | JAGDALPUR TOWN | 11 KV KALIPUR FEEDER | 68 | 5 | 9060 | 2000078041
280 | JAGDALPUR TOWN | 11KV Vargish Feeder | 858 | 4 | 8820 | 2000023847
281 | JAGDALPUR TOWN | 11KV Anupama Chowk Feeder | 2561 | 9 | 19560 | 2000075216
282 | JAGDALPUR TOWN | 11KV Green City Feeder | 533 | 5 | 12600 | 2000075215
283 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 344 | 6 | 14220 | 2000004329
284 | JAGDALPUR TOWN | 11KV AGHANPUR FEEDER | 2204 | 6 | 13920 | 2000004330
285 | JAGDALPUR TOWN | 11KV DALPAT SAGAR FEEDER | 1252 | 9 | 13860 | 2000004332
286 | JAGDALPUR TOWN | 11KV HOUSING BOARD FEEDER | 293 | 5 | 13020 | 2000004333
287 | JAGDALPUR TOWN | 11KV HATKACHORA FEEDER | 933 | 9 | 6000 | 2000004334
288 | JAGDALPUR TOWN | 11KV VRINDAVAN FEEDER | 1523 | 11 | 14940 | 2000004335
289 | JAGDALPUR TOWN | 11KV JAIPUR FEEDER | 1774 | 8 | 11160 | 2000004337
290 | JAGDALPUR TOWN | 11KV KUMHAR PARA FEEDER | 3621 | 10 | 14820 | 2000004338
291 | JAGDALPUR TOWN | 11KV KARANJI FEEDER | 2455 | 16 | 21300 | 2000004339
292 | JAGDALPUR TOWN | 11KV KUMHRA WAND FEEDER | 2105 | 5 | 5940 | 2000004340
293 | JAGDALPUR TOWN | 11KV LALBAG FEEDER | 1919 | 8 | 18300 | 2000004341
294 | JAGDALPUR TOWN | 11KV JDP RURAL FEEDER | 1830 | 7 | 17820 | 2000004342
295 | JAGDALPUR TOWN | 11KV SUNCITY FEEDER | 1992 | 5 | 10200 | 2000004344
296 | JAGDALPUR TOWN | 11KV AERODRUM FEEDER | 176 | 10 | 6900 | 2000004347
297 | JAGDALPUR TOWN | 11KV TOWN FEEDER | 1219 | 7 | 10680 | 2000004349
298 | KANKER TOWN | 11KV COLLECTORATE FEEDER | 1782 | 16 | 21540 | 2000015850
299 | KAWARDHA TOWN | 11KV DASHRANGPUR (RURAL) FEEDE | 2311 | 7 | 8700 | 2000001047
300 | KAWARDHA TOWN | 11 KV HOUSING BOARD FEEDER | 1883 | 1 | 2760 | 2000075553
301 | KAWARDHA TOWN | 11KV RAM MANDIR FEEDER | 1468 | 1 | 62160 | 2000001045
302 | KAWARDHA TOWN | 11 KV KACHAHARI PARA FEEDER | 2065 | 1 | 2760 | 2000075552
303 | KAWARDHA TOWN | 11 KV SAMNAPUR FEEDER | 498 | 1 | 2760 | 2000075551
304 | KAWARDHA TOWN | 11KV G.E.D. FEEDER | 1710 | 6 | 116940 | 2000001048
305 | KAWARDHA TOWN | 11KV RAM NAGAR FEEDER | 2770 | 7 | 12480 | 2000001051
306 | KAWARDHA TOWN | 11KV VIP FEEDER | 489 | 4 | 63300 | 2000001052
307 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 1 FEEDE | 3511 | 5 | 12300 | 2000001054
308 | KAWARDHA TOWN | 11KV TOWN (KAWARDHA) - 2 FEEDE | 1743 | 7 | 11700 | 2000001055
309 | KORBA TOWN | 11KV RAMPUR IRRIGATION1 | 931 | 11 | 23100 | 2000018988
310 | KORBA TOWN | 11KV SARASWATI SHISHU MANDIR FEED | 406 | 6 | 10560 | 2000017805
311 | KORBA TOWN | 11KV IMLIDUGGU FEEDER | 2464 | 9 | 22020 | 2000017804
312 | KORBA TOWN | 11KV OM SAI APPARTMENT | 460 | 9 | 11340 | 2000017791
313 | KORBA TOWN | 11KV BHANDRA PARA FEEDER | 1044 | 7 | 7920 | 2000006763
314 | KORBA TOWN | 11KV BALCO(JAIL) FEEDER | 911 | 9 | 16020 | 2000006762
315 | KORBA TOWN | 11KV AJGARBAHAR FEEDER | 3668 | 41 | 1114260 | 2000006761
316 | KORBA TOWN | 11KV ABC FEEDER | 1353 | 3 | 6900 | 2000006759
317 | KORBA TOWN | 11KV RUSSIAN HOSTEL | 8 | 7 | 21600 | 2000006490
318 | KORBA TOWN | 11KV DADAR FEEDER | 1042 | 17 | 92340 | 2000006768
319 | KORBA TOWN | 11KV DARRI FEEDER | 1319 | 2 | 7620 | 2000006767
320 | KORBA TOWN | 11KV DEFR FEEDER | 1652 | 3 | 6960 | 2000006769
321 | KORBA TOWN | 11KV DUMARDIHFEEDER | 6 | 10 | 15240 | 2000006770
322 | KORBA TOWN | 11KV INDIRA NAGAR FEEDER | 725 | 19 | 71460 | 2000006771
323 | KORBA TOWN | 11KV DARRI TOWN FEEDER | 848 | 9 | 12540 | 2000006773
324 | KORBA TOWN | 11KV BALGI(INDIRA) FEEDER | 1011 | 23 | 69900 | 2000006764
325 | KORBA TOWN | 11KV GAYATRI MANDIR FEEDER | 922 | 8 | 21720 | 2000006775
326 | KORBA TOWN | 11KV INDUSTRIAL FEEDER | 521 | 20 | 24360 | 2000006776
327 | KORBA TOWN | 11KV KORBA SHAHAR FEEDER | 223 | 6 | 13680 | 2000006778
328 | KORBA TOWN | 11KV KOSABADI FEEDER | 1164 | 5 | 6720 | 2000006780
329 | KORBA TOWN | 11KV MANAS NAGAR FEEDER | 1267 | 15 | 34200 | 2000006782
330 | KORBA TOWN | 11KV MAHARANA PRATAP NAGAR FEEDER | 1609 | 8 | 11940 | 2000006783
331 | KORBA TOWN | 11KV NIHARIKA FEEDER | 867 | 13 | 15360 | 2000006784
332 | KORBA TOWN | 11KV P.HROAD FEEDER | 1383 | 11 | 16080 | 2000006785
333 | KORBA TOWN | 11KV PUMP HOUSE FEEDER | 1223 | 15 | 34080 | 2000006787
334 | KORBA TOWN | 11KV POWERCITY FEEDER | 641 | 2 | 7680 | 2000006788
335 | KORBA TOWN | 11KV PARSABADA FEEDER | 907 | 26 | 31140 | 2000006789
336 | KORBA TOWN | 11KV DARRI ROAD FEEDER | 658 | 10 | 18000 | 2000006790
337 | KORBA TOWN | 11KV RAMPUR FEEDER | 261 | 5 | 6480 | 2000006791
338 | KORBA TOWN | 11KV RURAL FEEDER | 1609 | 2 | 13920 | 2000006792
339 | KORBA TOWN | 11KV MUDAPAR FEEDER | 1975 | 20 | 43980 | 2000020065
340 | KORBA TOWN | 11KV DINDAYAL AWAS | 483 | 3 | 3540 | 2000017789
341 | KORBA TOWN | 11KV RPNAGAR FEEDER | 1122 | 11 | 13800 | 2000016912
342 | KORBA TOWN | 11KV BALGI (HTPP) FEEDER | 2609 | 2 | 7620 | 2000016255
343 | KORBA TOWN | 11KV RSS NAGAR FEEDER | 2167 | 12 | 16680 | 2000016201
344 | KORBA TOWN | 11KV DONDRO FEEDER | 35 | 17 | 15600 | 2000016028
345 | KORBA TOWN | 11KV T.P. NAGAR FEEDER | 1493 | 11 | 14700 | 2000006798
346 | KORBA TOWN | 11KV TOP AND TOWN FEEDER | 128 | 5 | 6540 | 2000006797
347 | KORBA TOWN | 11KV BANKIMONGRA TOWN-2 FEEDER | 948 | 23 | 27960 | 2000006796
348 | KORBA TOWN | 11KV BANKIMONGRATOWN-1FEEDER | 2384 | 23 | 27840 | 2000006795
349 | KORBA TOWN | 11KV SARMANGLA FEEDER | 1092 | 34 | 47160 | 2000006794
350 | KORBA TOWN | 11KV SEMIPALI | 463 | 13 | 60780 | 2000015240
351 | KORBA TOWN | 11KV BUDHWARI FEEDER | 867 | 9 | 14400 | 2000015220
352 | KORBA TOWN | 11KV HUNDRED BED HOSPITAL FEEDER | 97 | 4 | 8100 | 2000017790
353 | KORBA TOWN | 11KV IMLICHAPER FEEDER | 1764 | 12 | 54900 | 2000077495
354 | KORBA TOWN | 11KV SUMEDHA FEEDER | 414 | 12 | 55020 | 2000077493
355 | KORBA TOWN | 11KV ITI FEEDER | 1515 | 12 | 21180 | 2000075851
356 | KORBA TOWN | 11KV SHISHUMANDIR FEEDER | 2795 | 13 | 28680 | 2000075850
357 | KORBA TOWN | 11KV GOKUL NAGAR FEEEDER | 86 | 15 | 22560 | 2000075849
358 | KORBA TOWN | 11KV AMBEDKAR FEEDER | 1001 | 19 | 25260 | 2000075848
359 | KORBA TOWN | 11KV SHANTI NAGAR(GAYTRI MANDIR) FEEDER | 433 | 28 | 25920 | 2000075847
360 | KORBA TOWN | 11KV TINADAFAI FEEDER | 739 | 4 | 5700 | 2000075797
361 | KORBA TOWN | 11KV KOHADIYA | 1930 | 21 | 34260 | 2000071856
362 | KORBA TOWN | 11KV POLYTECHNIC | 4 | 29 | 48840 | 2000071855
363 | KORBA TOWN | 11KV SANJAY NAGAR | 2267 | 11 | 26100 | 2000071532
364 | KORBA TOWN | 11KV KOTWALI | 1779 | 6 | 9780 | 2000071531
365 | KORBA TOWN | 11KV RATAKHAR MISSION ROAD FEEDER | 1369 | 4 | 5640 | 2000021425
366 | KORBA TOWN | 11KV IRRIGATION COLONY1 | 225 | 8 | 19800 | 2000021289
367 | KORBA TOWN | 11KV IRRIGATION COLONY2 | 951 | 8 | 19800 | 2000021288
368 | KORBA TOWN | 11KV SHARDA VIHAR FEEDER | 1461 | 17 | 22680 | 2000020122
369 | KORBA TOWN | 11KV CHIMNIBHATTA FEEDER | 192 | 8 | 11400 | 2000020121
370 | MAHASAMUND TOWN | 11KV JAIL (RURAL) FEEDER | 764 | 17 | 47640 | 2000001425
371 | MAHASAMUND TOWN | 11KV KONDKAIRA (RURAL) FEEDER | 836 | 1 | 22560 | 2000001426
372 | MAHASAMUND TOWN | 11KV NAYAPARA FEEDER | 1887 | 11 | 41400 | 2000001427
373 | MAHASAMUND TOWN | 11KV Nehru Chowk Feeder | 1605 | 22 | 41160 | 2000077410
374 | MAHASAMUND TOWN | 11KV STATION ROAD FEEDER | 1820 | 25 | 85980 | 2000069911
375 | MAHASAMUND TOWN | 11KV HOSPITAL FEEDER | 53 | 18 | 39240 | 2000069912
376 | MAHASAMUND TOWN | 11KV SUBHASH NAGAR FEEDER | 1803 | 14 | 102360 | 2000069913
377 | MAHASAMUND TOWN | 11KV PITIYAJHAAR FEEDER | 685 | 10 | 100860 | 2000069914
378 | MANENDRAGARH TOWN | 11KV TOWN FEEDER | 6222 | 20 | 23940 | 2000003057
379 | MANENDRAGARH TOWN | 11KV KELHARI FEEDER | 1261 | 13 | 9480 | 2000003055
380 | MUNGELI TOWN | 11KV COLECTER FEEDER | 811 | 12 | 25800 | 2000006460
381 | MUNGELI TOWN | 11KV KHARAGHAT FEEDER | 2086 | 10 | 16860 | 2000006458
382 | MUNGELI TOWN | 11KV TOWN-4TEMRI FEEDER | 168 | 10 | 19380 | 2000015467
383 | MUNGELI TOWN | 11KV RAMGARH FEEDER | 1952 | 20 | 27480 | 2000055675
384 | MUNGELI TOWN | 11KV TOWN-5 FEEDER | 981 | 21 | 56700 | 2000068276
385 | MUNGELI TOWN | 11KV FASTERPURFEEDER | 107 | 12 | 20700 | 2000002458
386 | MUNGELI TOWN | 11KV TOWN-1 FEEDER | 2564 | 38 | 52620 | 2000002462
387 | MUNGELI TOWN | 11KV TOWN-2 FEEDER | 1424 | 28 | 44400 | 2000002463
388 | MUNGELI TOWN | 11KV TOWN-3 FEEDER | 670 | 10 | 19320 | 2000002464
389 | NAILA JANJGIR TOWN | 11KV AKALTARA CHOWK(JANJGIR)FEE | 1642 | 13 | 13200 | 2000001622
390 | NAILA JANJGIR TOWN | 11KV VIP(SHARDA CHOWK) FEEDER | 64 | 23 | 27120 | 2000077488
391 | NAILA JANJGIR TOWN | 11KV VIP-2 Feeder | 56 | 12 | 23880 | 2000077487
392 | NAILA JANJGIR TOWN | 11KV BANARI FEEDER | 146 | 14 | 14040 | 2000001623
393 | NAILA JANJGIR TOWN | 11KV COLONY(HOUSING BOARD)FEEDE | 280 | 10 | 4860 | 2000001625
394 | NAILA JANJGIR TOWN | 11KV KHOKHASAFEEDER | 6181 | 12 | 12060 | 2000001626
395 | NAILA JANJGIR TOWN | 11KV RANI PARA FEEDER | 160 | 11 | 11040 | 2000076054
396 | NAILA JANJGIR TOWN | 11KV VISHNU MANDIR FEEDER | 535 | 10 | 10920 | 2000076053
397 | NAILA JANJGIR TOWN | 11KV NAHARIYA BABA FEEDER | 506 | 15 | 11460 | 2000076052
398 | NAILA JANJGIR TOWN | 11KV RAMAN NAGAR FEEDER | 788 | 17 | 8640 | 2000076051
399 | NAILA JANJGIR TOWN | 11KV COLLECTORATE FEEDER2 | 384 | 10 | 4860 | 2000017311
400 | NAILA JANJGIR TOWN | 11KV LINK ROAD FEEDER | 1571 | 22 | 26580 | 2000076050
401 | NAILA JANJGIR TOWN | 11KV NAILA FEEDER | 1359 | 17 | 17160 | 2000001628
402 | NAILA JANJGIR TOWN | 11KV NAWARGARH FEEDER | 36 | 1 | 1080 | 2000001629
403 | NAILA JANJGIR TOWN | 11KV TOWN-1 FEEDER | 35 | 33 | 23760 | 2000001633
404 | NAILA JANJGIR TOWN | 11KV TOWN-2 FEEDER | 642 | 20 | 20160 | 2000001634
405 | NAILA JANJGIR TOWN | 11KV TOWN FEEDER | 2936 | 24 | 54300 | 2000001635
406 | NAILA JANJGIR TOWN | 11KV VIP FEEDER | 1395 | 9 | 10500 | 2000001636
407 | NAILA JANJGIR TOWN | 11KV WAREHOUSE FEEDER | 432 | 21 | 11280 | 2000001637
408 | RAIGARH TOWN | 11KV BOYIR-DADAR CHOWK FEEDER | 1552 | 2 | 660 | 2000003300
409 | RAIGARH TOWN | 11KV CITY-2 FEEDER | 2002 | 2 | 6960 | 2000003304
410 | RAIGARH TOWN | 11KV DHANGARDIPA FEEDER | 2449 | 5 | 4800 | 2000003313
411 | RAIGARH TOWN | 11KV KIRODIMAL FEEDER | 360 | 2 | 6900 | 2000003315
412 | RAIGARH TOWN | 11KV SAHADEV PALI FEEDER | 575 | 21 | 28980 | 2000003320
413 | RAIGARH TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1090 | 20 | 27780 | 2000003321
414 | RAIGARH TOWN | 11KV STADIUM FEEDER | 325 | 11 | 36900 | 2000003323
415 | RAIGARH TOWN | 11KV STATION FEEDER | 695 | 22 | 25200 | 2000003324
416 | RAIGARH TOWN | 11KV TELAGAFEEDER | 3319 | 39 | 103920 | 2000003325
417 | RAIGARH TOWN | 11KV BABADHAM FEEDER | 1180 | 26 | 42180 | 2000016052
418 | RAIGARH TOWN | 11KV BHAGWANPUR FEEDER | 1622 | 8 | 27540 | 2000016053
419 | RAIGARH TOWN | 11KV VRINDAVAN COLONY FEEDER | 125 | 7 | 26160 | 2000016054
420 | RAIGARH TOWN | 11KV PANJARI PLANT FEEDER | 1246 | 13 | 18300 | 2000016055
421 | RAIGARH TOWN | 11KV COLLECTRED FEEDER | 149 | 12 | 17820 | 2000016056
422 | RAIGARH TOWN | 11KV KELO VIHAR COLONY FEEDER | 770 | 15 | 19800 | 2000016057
423 | RAIGARH TOWN | 11KV GOWARDHAN PUR FEEDER | 561 | 11 | 37920 | 2000016184
424 | RAIGARH TOWN | 11KV GERWANI FEEDER | 705 | 17 | 61440 | 2000016185
425 | RAIGARH TOWN | 11 KV Chatamuda Feeder | 865 | 18 | 25500 | 2000017712
426 | RAIGARH TOWN | 11KV GULMOHAR FEEDER | 1399 | 11 | 24360 | 2000021639
427 | RAIGARH TOWN | 11KV STADIUM FEEDER | 891 | 9 | 20700 | 2000022941
428 | RAIGARH TOWN | 11KV KRISHNA NAGAR FEEDER | 502 | 24 | 25620 | 2000029091
429 | RAIGARH TOWN | 11KV PATRAPALI | 449 | 5 | 19200 | 2000073192
430 | RAIGARH TOWN | 11KV KHAIRPUR | 942 | 5 | 18960 | 2000073193
431 | RAIGARH TOWN | 11KV PARK AVENUE | 192 | 9 | 145920 | 2000073194
432 | RAIGARH TOWN | 11KV SAI HERITAGE FEEDER | 1062 | 11 | 19740 | 2000073195
433 | RAIGARH TOWN | 11KV DINDAYAL FEEDER | 1191 | 14 | 32100 | 2000073196
434 | RAIPUR TOWN | 11KV VIPRA BHAWAN | 588 | 5 | 16740 | 2000010599
435 | RAIPUR TOWN | 11KV MOULI PARA FEEDER | 1650 | 5 | 2100 | 2000010600
436 | RAIPUR TOWN | 11KV AAMANAKA FEEDER | 988 | 3 | 26160 | 2000010598
437 | RAIPUR TOWN | 11KV AGRICULTURE FEEDER | 64 | 7 | 4500 | 2000010596
438 | RAIPUR TOWN | 11KV AWANI VIHAR FEEDER | 1954 | 2 | 7980 | 2000010601
439 | RAIPUR TOWN | 11KV ASHOKA RATAN-2 FEEDER | 1598 | 3 | 282780 | 2000010602
440 | RAIPUR TOWN | 11KV ATAL AWAS FEEDER | 448 | 3 | 2700 | 2000010603
441 | RAIPUR TOWN | 11KV ATARI FEEDER | 727 | 3 | 3120 | 2000010604
442 | RAIPUR TOWN | 11KV AVANTI VIHAR FEEDER | 303 | 9 | 21660 | 2000010605
443 | RAIPUR TOWN | 11KV MLA FEEDER | 1637 | 1 | 1440 | 2000010595
444 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1156 | 7 | 6300 | 2000010592
445 | RAIPUR TOWN | 11KV GAD FEEDER | 494 | 1 | 22020 | 2000010590
446 | RAIPUR TOWN | 11KV VALMIKI AWAS FEEDER | 876 | 3 | 17040 | 2000010589
447 | RAIPUR TOWN | 11KV MEDIA CITY FEEDER | 490 | 7 | 26520 | 2000010588
448 | RAIPUR TOWN | 11KV RADHASWAMI NAGAR | 2882 | 5 | 2940 | 2000010587
449 | RAIPUR TOWN | 11KV KARBALA TALAB | 1452 | 6 | 32640 | 2000010585
450 | RAIPUR TOWN | 11KV SADDANI DARBAR FEEDER | 810 | 3 | 9540 | 2000010583
451 | RAIPUR TOWN | 11KV PWD COLONY FEEDER | 2064 | 3 | 1320 | 2000010582
452 | RAIPUR TOWN | 11KV BUDHAPARA FEEDER | 715 | 5 | 3420 | 2000010606
453 | RAIPUR TOWN | 11KV BAJAJ FEEDER | 300 | 5 | 3480 | 2000010607
454 | RAIPUR TOWN | 11KV BANJARI FEEDER | 922 | 2 | 6960 | 2000010608
455 | RAIPUR TOWN | 11KV BASTAL FEEDER | 817 | 5 | 12060 | 2000010610
456 | RAIPUR TOWN | 11KV BHATTACHARYA FEEDER | 847 | 5 | 7620 | 2000010611
457 | RAIPUR TOWN | 11KV CHOWBE COLONY FEEDER | 776 | 5 | 32220 | 2000010613
458 | RAIPUR TOWN | 11KV CHOKRA NALA FEEDER | 1046 | 8 | 5160 | 2000010614
459 | RAIPUR TOWN | 11KV CHANGORABHATA FEEDER | 112 | 7 | 4080 | 2000010615
460 | RAIPUR TOWN | 11KV COLONY FEEDER | 80 | 3 | 1560 | 2000010616
461 | RAIPUR TOWN | 11KV PAHUNA FEEDER | 139 | 3 | 2580 | 2000010617
462 | RAIPUR TOWN | 11KV DD NAGAR FEEDER | 1918 | 4 | 8520 | 2000010618
463 | RAIPUR TOWN | 11KV DEVENDRA NAGAR SECTOR 5 F | 1636 | 1 | 300 | 2000010621
464 | RAIPUR TOWN | 11KV SAMRADHHI SAGAR | 3102 | 1 | 1320 | 2000010622
465 | RAIPUR TOWN | 11KV FUNDHAR FEEDER | 928 | 4 | 2400 | 2000010624
466 | RAIPUR TOWN | 11KV FILTER PLANT FEEDER | 82 | 3 | 5760 | 2000010625
467 | RAIPUR TOWN | 11KV HARISHANKAR COLLAGE FEEDER | 643 | 1 | 660 | 2000010626
468 | RAIPUR TOWN | 11KV GANPATI NAGAR FEEDER | 2453 | 6 | 4200 | 2000010628
469 | RAIPUR TOWN | 11KV GEETANJALI FEEDER | 1317 | 13 | 28740 | 2000010630
470 | RAIPUR TOWN | 11KV HOUSING BOARD I FEEDER | 3083 | 1 | 720 | 2000010631
471 | RAIPUR TOWN | 11KV HOUSING BOARD II FEEDER | 1979 | 1 | 720 | 2000010632
472 | RAIPUR TOWN | 11KV HOUSING BOARD III FEEDER | 3 | 2 | 195960 | 2000010633
473 | RAIPUR TOWN | 11KV HOUSING BOARD KHAMARDIH FEEDER | 1519 | 2 | 900 | 2000010634
474 | RAIPUR TOWN | 11KV BHAGAT SINGH CHOWK FEEDER | 924 | 6 | 13620 | 2000010635
475 | RAIPUR TOWN | 11KV HIRAPUR FEEDER | 976 | 1 | 420 | 2000010636
476 | RAIPUR TOWN | 11KV HARSH VIHAR FEEDER | 2731 | 2 | 8100 | 2000010637
477 | RAIPUR TOWN | 11KV AGROHA SOCIETY | 948 | 3 | 57900 | 2000010638
478 | RAIPUR TOWN | 11KV NEHRU NAGAR(POLICE LINE) | 3677 | 1 | 300 | 2000010639
479 | RAIPUR TOWN | 11KV IAS COLONY FEEDER | 121 | 1 | 540 | 2000010641
480 | RAIPUR TOWN | 11KV JAIL ROAD INCOMER FEEDER | 902 | 3 | 1500 | 2000010642
481 | RAIPUR TOWN | 11KV JAL VIHAR FEEDER | 1249 | 3 | 5280 | 2000010643
482 | RAIPUR TOWN | 11KV JIVAN VIHAR FEEDER | 466 | 6 | 13200 | 2000010645
483 | RAIPUR TOWN | 11KV SHYAM MARKET FEEDER | 707 | 3 | 4980 | 2000010647
484 | RAIPUR TOWN | 11KV KHARUN FEEDER | 1270 | 4 | 58680 | 2000010649
485 | RAIPUR TOWN | 11KV KANKALIPARA FEEDER | 1659 | 10 | 25500 | 2000010650
486 | RAIPUR TOWN | 11KV KK ROAD FEEDER | 895 | 2 | 780 | 2000010651
487 | RAIPUR TOWN | 11KV SAILANI NAGAR | 2351 | 2 | 960 | 2000010652
488 | RAIPUR TOWN | 11KV KAILASHPURI FEEDER | 1353 | 5 | 17520 | 2000010653
489 | RAIPUR TOWN | 11KV KANCHAN JHANGHA FEEDER | 1438 | 9 | 8400 | 2000010654
490 | RAIPUR TOWN | 11KV MAHALAXMI | 399 | 2 | 3120 | 2000010655
491 | RAIPUR TOWN | 11KV KUSALIPUR FEEDER | 2212 | 1 | 300 | 2000010656
492 | RAIPUR TOWN | 11KV KATORA TALAB FEEDER | 543 | 1 | 420 | 2000010657
493 | RAIPUR TOWN | 11KV AKASHWANI FEEDER | 684 | 1 | 420 | 2000010658
494 | RAIPUR TOWN | 11KV KAVITA NAGAR FEEDER | 894 | 6 | 56280 | 2000010659
495 | RAIPUR TOWN | 11KV LORD CITY FEEDER | 70 | 4 | 2880 | 2000010660
496 | RAIPUR TOWN | 11KV SHIV VATIKA(ASHWANI NAGAR) | 1590 | 2 | 840 | 2000010661
497 | RAIPUR TOWN | 11KV SALE TAX COLONEY FEEDER | 2120 | 4 | 19920 | 2000010662
498 | RAIPUR TOWN | 11KV LIC FEEDER | 2127 | 4 | 6180 | 2000010663
499 | RAIPUR TOWN | 11KV LILI CHOWK FEEDER | 2079 | 6 | 38400 | 2000010664
500 | RAIPUR TOWN | 11KV LALBAG FEEDER | 1014 | 4 | 1620 | 2000010665
501 | RAIPUR TOWN | 11KV MOUDHAPARA FEEDER | 848 | 4 | 16020 | 2000010666
502 | RAIPUR TOWN | 11KV TRIMURTI CHAOK | 1797 | 4 | 8520 | 2000010667
503 | RAIPUR TOWN | 11KV ADARSH NAGAR | 1953 | 4 | 3960 | 2000010668
504 | RAIPUR TOWN | 11KV MINING FEEDER | 755 | 6 | 4380 | 2000010669
505 | RAIPUR TOWN | 11KV MLA COLONY FEEDER | 924 | 2 | 1140 | 2000010670
506 | RAIPUR TOWN | 11KV MALVIYA ROAD FEEDER | 979 | 3 | 6720 | 2000010671
507 | RAIPUR TOWN | 11KV MAULSHREE VIHAR FEEDER | 1298 | 3 | 2640 | 2000010672
508 | RAIPUR TOWN | 11KV MARUTI FEEDER | 2929 | 3 | 4560 | 2000010674
509 | RAIPUR TOWN | 11KV MOTI NAGAR FEEDER | 1686 | 7 | 4560 | 2000010675
510 | RAIPUR TOWN | 11KV MANAVADHIKAR FEEDER | 12 | 4 | 7620 | 2000010676
511 | RAIPUR TOWN | 11KV NEW BUS STAND FEEDER | 542 | 6 | 34560 | 2000010677
512 | RAIPUR TOWN | 11KV BOARD BUILDING(AYURVEDIC COLLEGE) | 163 | 5 | 25980 | 2000010679
513 | RAIPUR TOWN | 11KV PRIYADARSHANI FEEDER | 1438 | 2 | 3900 | 2000010680
514 | RAIPUR TOWN | 11KV POLICE GROUND FEEDER | 1181 | 4 | 1920 | 2000010681
515 | RAIPUR TOWN | 11KV CRYSTAL ARCHADE FEEDER | 1097 | 3 | 20100 | 2000010683
516 | RAIPUR TOWN | 11KV PENSION BADA FEEDER | 837 | 3 | 1320 | 2000010685
517 | RAIPUR TOWN | 11KV PIRDA (RURAL)FEEDER | 441 | 9 | 16860 | 2000010686
518 | RAIPUR TOWN | 11KV PARTHIVI NAGAR FEEDER | 925 | 1 | 360 | 2000010687
519 | RAIPUR TOWN | 11KV MARUTI BUSINESS PARK | 361 | 4 | 1980 | 2000010688
520 | RAIPUR TOWN | 11KV RDA FEEDER | 577 | 1 | 600 | 2000010689
521 | RAIPUR TOWN | 11KV RIDHI SIDHI FEEDER | 425 | 5 | 11640 | 2000010690
522 | RAIPUR TOWN | 11KV RING 1 FEEDER | 1311 | 8 | 3420 | 2000010691
523 | RAIPUR TOWN | 11KV RING 3 FEEDER | 3798 | 3 | 3000 | 2000010692
524 | RAIPUR TOWN | 11KV RAJBHAWAN FEEDER | 21 | 1 | 360 | 2000010694
525 | RAIPUR TOWN | 11KV NEW RAJENDRA NAGAR FEEDER | 1472 | 5 | 22740 | 2000010695
526 | RAIPUR TOWN | 11KV RAJA TALAB FEEDER | 1781 | 1 | 480 | 2000010696
527 | RAIPUR TOWN | 11KV RAMAN MANDIR FEEDER | 2534 | 1 | 1020 | 2000010700
528 | RAIPUR TOWN | 11KV RAIPURA FEEDER | 1902 | 3 | 57900 | 2000010701
529 | RAIPUR TOWN | 11KV DHEBAR CITY FEEDER | 100 | 7 | 4740 | 2000010702
530 | RAIPUR TOWN | 11KV RULAR FEEDER | 631 | 8 | 4740 | 2000010703
531 | RAIPUR TOWN | 11KV GODAWARI PARISAR | 702 | 9 | 83340 | 2000010704
532 | RAIPUR TOWN | 11KV SAI VIHAR FEEDER | 3180 | 3 | 12420 | 2000010705
533 | RAIPUR TOWN | 11KV SCIENCE COLLEGE FEEDER | 1232 | 3 | 1560 | 2000010706
534 | RAIPUR TOWN | 11KV SHANTI VIHAR FEEDER | 894 | 2 | 900 | 2000010708
535 | RAIPUR TOWN | 11KV SANJAY NAGAR FEEDER | 2685 | 2 | 840 | 2000010709
536 | RAIPUR TOWN | 11KV SHIV MANDIR CKT 1 FEEDER | 1620 | 4 | 2400 | 2000010711
537 | RAIPUR TOWN | 11KV GANESH MANDIR FEEDER | 1059 | 6 | 5640 | 2000010712
538 | RAIPUR TOWN | 11KV SAMTA NAGAR FEEDER | 862 | 3 | 4800 | 2000010713
539 | RAIPUR TOWN | 11KV SHITALA MATA FEEDER | 1903 | 6 | 15960 | 2000010714
540 | RAIPUR TOWN | 11KV SUNDAR NAGAR FEEDER | 2063 | 1 | 360 | 2000010715
541 | RAIPUR TOWN | 11KV SHANTI NAGAR FEEDER | 1851 | 3 | 19620 | 2000010716
542 | RAIPUR TOWN | 11KV RDA FEEDER | 2174 | 9 | 21360 | 2000010717
543 | RAIPUR TOWN | 11KV SHRI NAGAR FEEDER | 1830 | 3 | 3360 | 2000010718
544 | RAIPUR TOWN | 11KV DIDWANIYA FEEDER | 386 | 1 | 660 | 2000010719
545 | RAIPUR TOWN | 11KV SARORA FEEDER | 636 | 3 | 1440 | 2000010720
546 | RAIPUR TOWN | 11KV SECTOR -5 | 271 | 3 | 14040 | 2000010721
547 | RAIPUR TOWN | 11KV SANTOSHI NAGAR FEEDER | 2746 | 8 | 103620 | 2000010722
548 | RAIPUR TOWN | 11KV SHIVANAND NAGAR FEEDER | 2470 | 4 | 2220 | 2000010723
549 | RAIPUR TOWN | 11KV SHYAM NAGAR FEEDER | 3340 | 6 | 4740 | 2000010724
550 | RAIPUR TOWN | 11KV TIMBAR MARKET FEEDER | 1174 | 2 | 3180 | 2000010725
551 | RAIPUR TOWN | 11KV GAYATRI NAGAR FEEDER | 1144 | 2 | 26760 | 2000010726
552 | RAIPUR TOWN | 11KV TV FEEDER | 1764 | 7 | 32220 | 2000010728
553 | RAIPUR TOWN | 11KV ANUPAM NAGAR FEEDER | 1508 | 7 | 33120 | 2000010729
554 | RAIPUR TOWN | 11KV TOWN FEEDER | 1588 | 4 | 6180 | 2000010730
555 | RAIPUR TOWN | 11KV ALAKHNANDA TOWER | 1325 | 2 | 780 | 2000010731
556 | RAIPUR TOWN | 11KV GUJRATI SCHOOL | 543 | 3 | 693420 | 2000010732
557 | RAIPUR TOWN | 11KV URJA PARK(RURAL) FEEDER | 31 | 7 | 2640 | 2000010733
558 | RAIPUR TOWN | 11KV VIJAY CHOWK FEEDER | 2965 | 3 | 1860 | 2000010735
559 | RAIPUR TOWN | 11KV GOVERDHAN CHOWK FEEDER | 2409 | 2 | 960 | 2000010736
560 | RAIPUR TOWN | 11KV VIP KARISHMA FEEDER | 487 | 1 | 3180 | 2000010737
561 | RAIPUR TOWN | 11KV VIP ROAD FEEDER | 66 | 3 | 8520 | 2000010738
562 | RAIPUR TOWN | 11KV BEEJ NIGAM FEEDER | 492 | 8 | 20880 | 2000010739
563 | RAIPUR TOWN | 11KV VEER SAVARKAR FEEDER | 2855 | 6 | 9240 | 2000010740
564 | RAIPUR TOWN | 11KV VV VIHAR FEEDER | 1668 | 2 | 4020 | 2000010741
565 | RAIPUR TOWN | 11KV WALLFORT I FEEDER | 114 | 4 | 4380 | 2000010742
566 | RAIPUR TOWN | 11KV WALLFORT II FEEDER | 63 | 4 | 4380 | 2000010743
567 | RAIPUR TOWN | 11KV JAGRITI SCHOOL | 286 | 6 | 22860 | 2000010744
568 | RAIPUR TOWN | 11KV DAWADA COLONY FEEDER | 1762 | 2 | 21540 | 2000017238
569 | RAIPUR TOWN | 11KV PANJABI COLONY FEEDER | 1169 | 1 | 360 | 2000017256
570 | RAIPUR TOWN | 11KV NURANI CHOWK FEEDER | 2716 | 3 | 2520 | 2000017261
571 | RAIPUR TOWN | 11KV DINDAYAL FEEDER | 1557 | 6 | 26100 | 2000017508
572 | RAIPUR TOWN | 11KV SIDDHARTH CHAWK FEEDER | 444 | 7 | 3960 | 2000017514
573 | RAIPUR TOWN | 11KV CHIKNI MANDIR FEEDER | 1958 | 2 | 9000 | 2000017567
574 | RAIPUR TOWN | 11KV WHITE HOUSE | 554 | 6 | 26400 | 2000017568
575 | RAIPUR TOWN | 11KV KALI MANDIR KALIMAI FEEDE | 777 | 4 | 16440 | 2000017569
576 | RAIPUR TOWN | 11KV SADAR BAZAR FEEDER | 914 | 9 | 29040 | 2000017576
577 | RAIPUR TOWN | 11KV PACHPEDI NAKA FEEDER | 743 | 3 | 2100 | 2000017590
578 | RAIPUR TOWN | 11KV VIJAY NAGAR CHOWK FEEDER | 803 | 5 | 206520 | 2000017599
579 | RAIPUR TOWN | 11KV BHATAGAON FEEDER | 1907 | 8 | 4740 | 2000017600
580 | RAIPUR TOWN | 11KV JAINAMVIHAR FEEDER | 1592 | 5 | 3660 | 2000017602
581 | RAIPUR TOWN | 11KV MEDICAL COLLEGE FEEDER | 12 | 3 | 35100 | 2000017607
582 | RAIPUR TOWN | 11KV MMI KRISHNA NAGAR FEEDER | 2192 | 7 | 8400 | 2000017608
583 | RAIPUR TOWN | 11KV LAXMI BHAWAN FEEDER | 443 | 3 | 4500 | 2000017609
584 | RAIPUR TOWN | 11KV SHASTRI BAZAR FEEDER | 1532 | 4 | 4380 | 2000017611
585 | RAIPUR TOWN | 11KV PREKSHA GRIH FEEDER | 415 | 3 | 4740 | 2000017612
586 | RAIPUR TOWN | 11KV KAPA LODHI PARA FEEDER | 817 | 1 | 540 | 2000017615
587 | RAIPUR TOWN | 11KV SHAKTI NAGAR FEEDER | 338 | 6 | 12540 | 2000017617
588 | RAIPUR TOWN | 11KV ASHOKA RATAN-3 FEEDER | 1656 | 8 | 291900 | 2000017621
589 | RAIPUR TOWN | 11KV CHANDADIH FEEDER | 511 | 3 | 3180 | 2000017623
590 | RAIPUR TOWN | 11KV LOTUS TOWER FEEDER | 815 | 8 | 5700 | 2000017624
591 | RAIPUR TOWN | 11KV GUDAKHU FACTORT FEEDER | 431 | 2 | 960 | 2000017626
592 | RAIPUR TOWN | 11KV MAHILA POLYTECHNIC FEEDER | 999 | 2 | 1020 | 2000017628
593 | RAIPUR TOWN | 11KV MIG FEEDER | 346 | 4 | 2880 | 2000017671
594 | RAIPUR TOWN | 11KV G+10 FEEDER | 467 | 4 | 2880 | 2000017673
595 | RAIPUR TOWN | 11KV WHOLESALE MARKET FEEDER | 264 | 4 | 2700 | 2000017674
596 | RAIPUR TOWN | 11KV ROMAN SQUARE | 421 | 1 | 420 | 2000017691
597 | RAIPUR TOWN | 11KV GOLDEN HOME 1 FEEDER | 735 | 2 | 2940 | 2000017721
598 | RAIPUR TOWN | 11KV SHAILENDRA NAGAR FEEDER | 1219 | 6 | 4920 | 2000017755
599 | RAIPUR TOWN | 11KV MOTHER TERESA | 719 | 6 | 4860 | 2000017756
600 | RAIPUR TOWN | 11KV SANGWARI FEEDER | 568 | 7 | 7860 | 2000017757
601 | RAIPUR TOWN | 11KV MARLING COMPLEX FEEDER | 930 | 1 | 420 | 2000017768
602 | RAIPUR TOWN | 11KV GODHLI WALA FEEDER | 1494 | 7 | 6720 | 2000017771
603 | RAIPUR TOWN | 11KV HARSH TOWER FEEDER | 1528 | 8 | 13620 | 2000017772
604 | RAIPUR TOWN | 11KV GAUTAM VIHAR FEEDER | 716 | 6 | 27660 | 2000017773
605 | RAIPUR TOWN | 11KV KARAN NAGAR FEEDER | 3130 | 3 | 10020 | 2000017808
606 | RAIPUR TOWN | 11KV PURANI BASTI | 711 | 1 | 2640 | 2000017817
607 | RAIPUR TOWN | 11KV STATIONROAD FEEDER | 1187 | 5 | 6660 | 2000017867
608 | RAIPUR TOWN | 11KV BAJRANG NAGAR | 1934 | 4 | 4800 | 2000017868
609 | RAIPUR TOWN | 11KV GANESH MANDIR | 180 | 4 | 4860 | 2000017869
610 | RAIPUR TOWN | 11KV MEGHDOOT COMPLEX | 1485 | 6 | 5520 | 2000017870
611 | RAIPUR TOWN | 11KV NAVEEN MARKET | 825 | 6 | 11880 | 2000017953
612 | RAIPUR TOWN | 11KV AZADCHOWK FEEDER | 2669 | 6 | 7860 | 2000017954
613 | RAIPUR TOWN | 11KV MG ROAD | 1681 | 5 | 6000 | 2000017955
614 | RAIPUR TOWN | 11KV SON DONGARI FEEDER | 1364 | 12 | 16080 | 2000017962
615 | RAIPUR TOWN | 11KV SARDAR PATEL FEEDER | 584 | 9 | 8040 | 2000018406
616 | RAIPUR TOWN | 11KV PRESS CLUB FEEDER | 409 | 3 | 2460 | 2000018416
617 | RAIPUR TOWN | 11KV KACHAERY CHOWK | 388 | 4 | 6600 | 2000018398
618 | RAIPUR TOWN | 11KV IGVP | 435 | 6 | 9480 | 2000018397
619 | RAIPUR TOWN | 11KV TIMBER MARKET FEEDER | 2516 | 20 | 25020 | 2000018595
620 | RAIPUR TOWN | 11KV DUMARTARAI FEEDER | 741 | 5 | 5580 | 2000018783
621 | RAIPUR TOWN | 11KV SATYAM VIHAR FEEDER | 2357 | 4 | 1860 | 2000018949
622 | RAIPUR TOWN | 11KV VARUN FEEDER | 1368 | 8 | 10080 | 2000019179
623 | RAIPUR TOWN | 11KV HEERA FEEDER | 3293 | 7 | 9840 | 2000019180
624 | RAIPUR TOWN | 11KV SAI NAGAR FEEDER | 580 | 3 | 8580 | 2000018396
625 | RAIPUR TOWN | 11KV ASHOKA RATAN-1 FEEDER | 1014 | 2 | 282720 | 2000018394
626 | RAIPUR TOWN | 11KV DENTAL COLLEGE FEEDER | 131 | 6 | 10740 | 2000018378
627 | RAIPUR TOWN | 11KV TATIBANDH FEEDER | 1342 | 3 | 1320 | 2000018361
628 | RAIPUR TOWN | 11KV EKTA HOSPITAL FEEDER | 352 | 3 | 2580 | 2000018359
629 | RAIPUR TOWN | 11KV MANDI | 576 | 1 | 420 | 2000018020
630 | RAIPUR TOWN | 11KV SHANTI SAROVAR FEEDER | 1029 | 5 | 8340 | 2000018006
631 | RAIPUR TOWN | 11KV SADDU FEEDER | 952 | 9 | 33600 | 2000018005
632 | RAIPUR TOWN | 11KV RAJDHANI VIHAR FEEDER | 319 | 2 | 3360 | 2000018004
633 | RAIPUR TOWN | 11KV VIJAY LAXMI FEEDER | 456 | 6 | 11760 | 2000019181
634 | RAIPUR TOWN | 11KV SENT JOSEPH FEEDER | 1755 | 4 | 3660 | 2000019184
635 | RAIPUR TOWN | 11KV JIVNANI FEEDER | 749 | 4 | 4800 | 2000019185
636 | RAIPUR TOWN | 11KV MAHATMA GANDHI NAGAR FEED | 1372 | 4 | 5220 | 2000019186
637 | RAIPUR TOWN | 11KV BORIYA KHURD FEEDER | 1361 | 8 | 4800 | 2000019334
638 | RAIPUR TOWN | 11KV SENT XAVIER SCHOOL FEEDER | 1543 | 2 | 4920 | 2000019340
639 | RAIPUR TOWN | 11KV BSUP FEEDER | 179 | 3 | 4560 | 2000019341
640 | RAIPUR TOWN | 11KV CTI FEEDER | 336 | 3 | 4560 | 2000019342
641 | RAIPUR TOWN | 11KV SAPRESALA FEEDER | 1343 | 5 | 27660 | 2000019485
642 | RAIPUR TOWN | 11KV PS CITY | 1603 | 6 | 3240 | 2000019530
643 | RAIPUR TOWN | 11KV ASHIYANA FEEDER | 1111 | 7 | 14160 | 2000019697
644 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 1 FEEDER | 303 | 2 | 7680 | 2000019850
645 | RAIPUR TOWN | 11KV MARUTI LIFESTYLE 2 FEEDER | 159 | 2 | 7860 | 2000019851
646 | RAIPUR TOWN | 11KV RDA COLONY FEEDER | 1842 | 9 | 15120 | 2000019857
647 | RAIPUR TOWN | 11KV MAHOBA BA FEEDER | 1562 | 4 | 24000 | 2000019858
648 | RAIPUR TOWN | 11KV MAHAVEER NAGAR FEEDER | 2159 | 9 | 8820 | 2000020009
649 | RAIPUR TOWN | 11KV PARSHURAM NAGAR FEEDER | 1746 | 6 | 4620 | 2000020119
650 | RAIPUR TOWN | 11KV SHRISHTHI GARDEN FEEDER | 1858 | 6 | 4680 | 2000020120
651 | RAIPUR TOWN | 11KV SUN CITY FEEDER | 61 | 5 | 3960 | 2000020123
652 | RAIPUR TOWN | 11KV STATION ROAD FEEDER | 347 | 4 | 5160 | 2000020130
653 | RAIPUR TOWN | 11KV KALING NAGAR FEEDER | 526 | 4 | 5100 | 2000020131
654 | RAIPUR TOWN | 11KV SCADA FEEDER | 1 | 4 | 5100 | 2000020132
655 | RAIPUR TOWN | 11KV MANGAL BAZAR FEEDER | 1497 | 4 | 5040 | 2000020153
656 | RAIPUR TOWN | 11KV VIJETA COMPLEX FEEDER | 502 | 4 | 2460 | 2000020193
657 | RAIPUR TOWN | 11KV MEDISHINE FEEDER | 969 | 5 | 23400 | 2000020194
658 | RAIPUR TOWN | 11KV PADAW FEEDER | 2169 | 5 | 5520 | 2000020227
659 | RAIPUR TOWN | 11KV TIKAPARA FEEDER | 2842 | 9 | 99480 | 2000020581
660 | RAIPUR TOWN | 11KV MOTIBAGH | 685 | 5 | 3480 | 2000021115
661 | RAIPUR TOWN | 11KV DANTESHWARI FEEDER | 1695 | 8 | 13500 | 2000021219
662 | RAIPUR TOWN | 11KV DUDADHARI FEEDER | 1441 | 5 | 20820 | 2000021220
663 | RAIPUR TOWN | 11KV TARUN NAGAR | 1797 | 6 | 12420 | 2000021221
664 | RAIPUR TOWN | 11KV VRINDAVAN GARDEN FEEDER | 1401 | 6 | 7980 | 2000021286
665 | RAIPUR TOWN | 11KV SCIENE CENTER FEEDER | 1676 | 5 | 7800 | 2000021287
666 | RAIPUR TOWN | 11KV SWAGAT VIHAR FEEDER | 70 | 5 | 3540 | 2000021421
667 | RAIPUR TOWN | 11KV DUNDA FEEDER | 1220 | 11 | 56400 | 2000021424
668 | RAIPUR TOWN | 11KV OM COMPLEX FEEDER | 1362 | 2 | 2580 | 2000021615
669 | RAIPUR TOWN | 11KV PANKAJ GARDEN FEEDER | 1249 | 4 | 20760 | 2000022077
670 | RAIPUR TOWN | 11KV LOHAR CHOWK FEEDER | 702 | 4 | 3840 | 2000022078
671 | RAIPUR TOWN | 11KV BRAHMAN PARA FEEDER | 1569 | 3 | 3420 | 2000022079
672 | RAIPUR TOWN | 11KV NAHARPARA FEEDER | 1649 | 3 | 22560 | 2000023680
673 | RAIPUR TOWN | 11KV DUBEY COLONY FEEDER | 3134 | 1 | 10440 | 2000023735
674 | RAIPUR TOWN | 11KV CIVIL LINE FEEDER | 271 | 3 | 2820 | 2000023736
675 | RAIPUR TOWN | 11KV JAIN MANDIR FEEDER | 1822 | 2 | 2520 | 2000023772
676 | RAIPUR TOWN | 11KV SBI FEEDER | 979 | 3 | 1140 | 2000023790
677 | RAIPUR TOWN | 11KV AMAR PALACE FEEDER | 678 | 5 | 2820 | 2000023848
678 | RAIPUR TOWN | 11KV SHRI RAM LOTUS VALLEY | 1352 | 3 | 21840 | 2000024395
679 | RAIPUR TOWN | 11KV ASHWARIYA KINGDOM FEEDER | 237 | 2 | 900 | 2000026462
680 | RAIPUR TOWN | 11KV NIRKAMALFURNITURE FEEDER | 2103 | 5 | 12660 | 2000026575
681 | RAIPUR TOWN | 11KV ADIWASI COLONY FEEDER | 1511 | 1 | 540 | 2000026582
682 | RAIPUR TOWN | 11KV BHEEM NAGAR FEEDER | 1000 | 1 | 540 | 2000026583
683 | RAIPUR TOWN | 11KV GIRIRAJ TOWER FEEDER | 988 | 1 | 540 | 2000026584
684 | RAIPUR TOWN | 11KV PANITANKI ZONE NO.3 FEEDER | 1496 | 6 | 17520 | 2000026586
685 | RAIPUR TOWN | 11KV MP DHABA FEEDER | 122 | 3 | 24180 | 2000029195
686 | RAIPUR TOWN | 11KV TOWN HALL FEEDER | 247 | 4 | 2700 | 2000029196
687 | RAIPUR TOWN | 11KV BAZAR CHOWK FEEDER | 1406 | 2 | 960 | 2000034421
688 | RAIPUR TOWN | 11KV OVER BRIDGE FEEDER | 881 | 2 | 960 | 2000034422
689 | RAIPUR TOWN | 11KV SANYASI PARA FEEDER | 934 | 3 | 3900 | 2000034423
690 | RAIPUR TOWN | 11KV VIKAS NAGAR FEEDER | 2787 | 4 | 8580 | 2000034760
691 | RAIPUR TOWN | 11KV TEACHER COLONY FEEDER | 1226 | 4 | 8340 | 2000034761
692 | RAIPUR TOWN | 11KV SAINATH FEEDER | 1044 | 4 | 22200 | 2000034762
693 | RAIPUR TOWN | 11KV PRIDE FEEDER | 299 | 1 | 600 | 2000039215
694 | RAIPUR TOWN | 11KV CELEBRATY HOMES FEEDER | 736 | 9 | 53520 | 2000046448
695 | RAIPUR TOWN | 11KV GOAL BAZAR FEEDER | 963 | 6 | 6360 | 2000046477
696 | RAIPUR TOWN | 11KV SIB COLONY FEEDER | 53 | 5 | 3780 | 2000064021
697 | RAIPUR TOWN | 11KV JANTA COLONY (LIG) FEEDER | 1470 | 4 | 83460 | 2000068159
698 | RAIPUR TOWN | 11KV BHOLA NAGAR FEEDER | 682 | 7 | 14160 | 2000069376
699 | RAIPUR TOWN | 11KV HAPPY DABA FEEDER | 235 | 6 | 185880 | 2000070080
700 | RAIPUR TOWN | 11KV C&F FEEDER | 59 | 2 | 1560 | 2000070702
701 | RAIPUR TOWN | 11KV LOGISTICK FEEDER | 92 | 2 | 1560 | 2000070703
702 | RAIPUR TOWN | 11KV NAVJEEVAN SOCIETY FEEDER | 1020 | 3 | 4800 | 2000070747
703 | RAIPUR TOWN | 11KV AMRAPALI SOCIETY FEEDER | 581 | 2 | 2160 | 2000070748
704 | RAIPUR TOWN | 11KV GURUMUKH SINGH NAGAR FEED | 1145 | 2 | 9000 | 2000070749
705 | RAIPUR TOWN | 11KV UNI HOME FEEDER | 11 | 5 | 5040 | 2000071570
706 | RAIPUR TOWN | 11 KV ISCON TEMPLE FEEDER | 257 | 8 | 28920 | 2000071639
707 | RAIPUR TOWN | 11KV Shaphire Green Feeder | 15 | 4 | 2760 | 2000071754
708 | RAIPUR TOWN | 11KV Feeder I Feeder | 51 | 3 | 1200 | 2000071756
709 | RAIPUR TOWN | 11KV Om Feeder | 18 | 4 | 2760 | 2000071757
710 | RAIPUR TOWN | 11KV Feeder II Feeder | 109 | 3 | 1140 | 2000071758
711 | RAIPUR TOWN | 11KV Feeder SWARNABHOOMI III Feeder | 163 | 3 | 1200 | 2000071760
712 | RAIPUR TOWN | 11KV Gokul Nagar Feeder | 2875 | 9 | 5220 | 2000072091
713 | RAIPUR TOWN | 11KV Simran City Feeder | 1334 | 11 | 8220 | 2000074141
714 | RAIPUR TOWN | 11KV Park Side Feeder | 157 | 3 | 6660 | 2000075451
715 | RAIPUR TOWN | 11KV Sumet Feeder | 103 | 3 | 6660 | 2000075452
716 | RAIPUR TOWN | 11KV GOVARDHAN NAGAR FEEDER | 1114 | 25 | 43620 | 2000075643
717 | RAIPUR TOWN | 11KV Shraddha Vihar Feeder | 927 | 10 | 5700 | 2000075796
718 | RAIPUR TOWN | 11KV RAWATPURA FEEDER | 3333 | 7 | 4620 | 2000075800
719 | RAIPUR TOWN | 11KV HIMALAYAN HEIGHTS | 67 | 4 | 2880 | 2000075801
720 | RAIPUR TOWN | 11KV VARDHMAN NAGAR FEEDER | 348 | 4 | 2820 | 2000075802
721 | RAIPUR TOWN | 11KV CM House Feeder | 3 | 1 | 360 | 2000076123
722 | RAIPUR TOWN | 11kV Jagriti School Feeder | 36 | 6 | 6660 | 2000077965
723 | RAIPUR TOWN | 11KV OAK WOOD FEEDER | 62 | 6 | 11280 | 2000078241
724 | RAJNANDGAON TOWN | 11KV SUNCITY 1 FEEDER | 284 | 10 | 10800 | 2000076011
725 | RAJNANDGAON TOWN | 11KV GREEN CITY FEEDER | 375 | 2 | 1140 | 2000076217
726 | RAJNANDGAON TOWN | 11KV GANJ MANDI TOWN FEEDER | 1708 | 6 | 4320 | 2000006488
727 | RAJNANDGAON TOWN | 11KV SHANTINAGARFEEDER | 1862 | 2 | 1500 | 2000069844
728 | RAJNANDGAON TOWN | 11KV CITY FEEDER | 2135 | 1 | 600 | 2000001958
729 | RAJNANDGAON TOWN | 11KV HALDIFEEDER | 818 | 3 | 660 | 2000001964
730 | RAJNANDGAON TOWN | 11KV KANCHAN BAG FEEDER | 1202 | 12 | 5640 | 2000001968
731 | RAJNANDGAON TOWN | 11KV TOWN I FEEDER | 639 | 9 | 53700 | 2000001976
732 | RAJNANDGAON TOWN | 11 KV Mahamaya Feeder | 2115 | 2 | 2100 | 2000073902