## Standard Stock Materials2023-24
RATE OF STOCK MATERIALS FOR SoR 2023-24
Sl. No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | Bin Code | Schedule of Rate for 2023-24 (rates including GST)
Rate
1 | 2 |  | 3 | 4 | 5
1 | A | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (Without Box):- |  |  |  | Name Changed
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 75035.138
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 62449.9896
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 120435.3902
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 158302.133
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 291828.7854
| vi | 315 kVA Copper Wound | Each | 7132220081 | 802876.838
| vii | 500 kVA Copper Wound | Each | 7132220082 | 1367612.6604
| B | ENERGY EFFICIENCY LEVEL-1 (As per IS:1180 amendment 4), I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With Secondary Terminal Box) :- |  |  |  | Name Changed
| i | 25 kVA Aluminium Wound | Each | 7132210022 | 63311.7436
| ii | 63 kVA Aluminium Wound | Each | 7132210023 | 112071.4912
| iii | 100 kVA Aluminium Wound | Each | 7132210024 | 159217.3056
| iv | 200 kVA Aluminium Wound | Each | 7132210025 | 292905.9838
| v | 315 kVA Copper Wound | Each | 7132210027 | 807894.8234 | NEW ADDED
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 188732.2521
3 |  | POWER TRANSFORMERS 33/11 kV :-
| i | 1600 kVA | Each | 7132220091 | 1287998.3771
| ii | 3150 kVA | Each | 7132220095 | 3825804.5668
| iii | 5000 kVA | Each | 7132220097 | 5211755.7606
| iv | 8000 kVA | Each | 7132220092 | 6150995.853
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 368.5203
| ii | 33 kV Porcelain | Each | 7130840021 | 4094.6 | Name Changed
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 1123.1539
| ii | 33 kV | Each | 7131930415 | 3005.118
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930110 | 1609.4358
| ii | 33 kV | Each | 7131930111 | 2303.3503
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457798 | 113370.624
| ii | In Tanker | KL | 7132457798 | 104733.024
| iii | Fabricated Transformer Oil Storage Tank (10 Kl Capacity) | No. | 7132494004 | 469999.9944 | NEW ADDED
LINE SUPPORTS :-
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 85255.9585
| b | 60 kgs per mtr | MT | 7130601072 | 85255.9585
8 | A | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 64326.52
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 63913.52
| B | WIDE PARALLEL FLANGE BEAM (W.P.B.)
| a | WPB 13 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600012 | 70449.9627
| b | WPB 11 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600011 | 69671.1717
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 68748.5869
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 2298.46
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800033 | 2596.21
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 3096.2
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 4451.53
| v | 365 Kg; 11 Mtr long | Each | 7130800002 | 7656.89
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 54512.9742
| b | 75x40 mm | MT | 7130600166 | 54512.9742
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 57763.9121
| b | 50x6 mm | MT | 7130600173 | 57763.9121
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 54512.9742
| b | 50 x 50 x 6 mm | MT | 7130600023 | 54512.9742
| c | 75 x 75 x 6 mm | MT | 7130600051 | 54512.9742
| d | 35 x 35 x 5 mm | MT | 7130640040 | 46225.8595
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 4073
| ii | 1:2:4 Ratio | Cmt |  | 3552 | NEW ADDED
| iii | 1:3:6 Ratio | Cmt | 7130200202 | 2970
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 19941.98
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 28020.7638
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 46676.0918
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 70920.655
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 92285.6878
| vi | 0.2 Sq inch (130 Sqmm Al.Eq.) (Panther) | Km | 7130830070 | 208407.5644
17 |  | COVERED CONDUCTOR (FOR LAST SPAN OF HT CONSUMERS)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 315.2488
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 350.7668
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310002 | 389.6596 | Bin code changed. Old Bin code was - 7130310043
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 474.0296
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 518.1498
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 640.3633
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 762.5528
18 |  | ACCESSORIES FOR COVERED CONDUCTOR :-
| i | Tension / anchoring Clamp with tracking protection IPC | No |  | 1475 | NEW ADDED
| ii | Alignment tie (non-metallic) | No |  | 826 | NEW ADDED
| iii | Mechanical conductor with heat shrunk sleeve for bare to covered | No |  | 1604.8 | NEW ADDED
| iv | IPC for Networking / Branching / Looping CC to CC | No |  | 1593 | NEW ADDED
| v | IPC with Aluminium Bail for earthing | No |  | 3304 | NEW ADDED
| vi | Mid span joint | No |  | 3540 | NEW ADDED
| vii | IPC with Aluminium Bail & Transformer Tap (Line this) | No |  | 4010.82 | NEW ADDED
| viii | Heat Shrinkable End Cap | No |  | 96.76 | NEW ADDED
| ix | Termination kit / Lug for Transformer Connection | No |  | 1144.6 | NEW ADDED
LINE INSULATORS :-
19 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 285.3948
| ii | 11 kV Pin insulator | Each | 7130820071 | 54.929
| iii | 33 kV Pin insulator | Each | 7130820075 | 281.8312
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 544.4253
| v | 33 kV Post Insulator | Nos. | 7130820027 | 2226.4422
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 15.4226
| b | 65 x 50 mm. | Each | 7130820101 | 13.0323
| vii | Stay insulator | Each | 7130820117 | 12.4197
| viii | Split insulator | Pair | 7130820018 | 4.6609
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 216.4002
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820013 | 216.4002
| iii | 11 kV Disc Insulator | Each | 7130820010 | 118.9676
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 288.2268
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 157.0816
| C | Post Insulator
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 284.2813
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 733.9551
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820010 | 118.9676
20 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 153.4938
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 318.8868
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 2732.4022
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 1255.7053
21 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 52.1523
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 45.8114
22 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 91.5132
23 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 304.5221
24 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 9934.1876
| ii | 33 kV | Each | 7131930321 | 22056.6559
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930220 | 8991.8938
| ii | 33 kV | Each | 7131930320 | 14411.1807
25 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 566.191
| ii | 20 mm (Painted) | Each | 7130860033 | 1031.6644
26 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 92856.9416
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 93766.4272
27 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 152.8868
28 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 80521.8444
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 80521.8444
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 80579.3534
29 |  | Barbed wire | MT | 7130610206 | 97233.425
30 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 87.2265
| ii | 12x100 mm | Kg | 7130620573 | 87.2265
| iii | 12x120 mm | Kg | 7130620575 | 88.681
| iv | 12x140 mm | Kg | 7130620577 | 88.681
| v | 16x40 mm | Kg | 7130620609 | 87.2265
| vi | 16x65 mm | Kg | 7130620614 | 85.7719
| vii | 16x90 mm | Kg | 7130620619 | 85.7719
| viii | 16x100 mm | Kg | 7130620621 | 84.3174
| ix | 16x140 mm | Kg | 7130620625 | 84.3174
| x | 16x160 mm | Kg | 7130620627 | 84.3174
| xi | 16x200 mm | Kg | 7130620631 | 84.3174
| xii | 16x250 mm | Kg | 7130620637 | 84.3174
| xiii | 16x300 mm | Kg | 7130620636 | 84.3174
| xiv | 20x75 mm | Kg | 7130620713 | 84.3174
| xv | 20x90 mm | Kg | 7130620716 | 84.3174
| xvi | 20x110 mm | Kg | 7130620719 | 84.3174
| xvii | 24x120 mm | Kg | 7130620829 | 84.3174
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 120.6656
| ii | 16x65 mm | Kg | 7130620140 | 120.6656
31 |  | G.I. Spring Washer | Kg | 7130622922 | 175.3198
32 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 253.1074
33 |  | G.I.Strip 25x3 mm | Kg | 7130870040 | 101.0478
34 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 113.767
35 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 2567.6365
36 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 885.4295
| ii | 63 Amps. | Each | 7131920254 | 2126.0991
| iii | 100 Amps. | Each | 7131920256 | 4112.5503
| iv | 200 Amps. | Each | 7131920258 | 5773.5708
| v | 300 Amps. | Each | 7131920259 | 7833.2341
| vi | 400 Amps. | Each | 7131920260 | 11831.8748
37 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 7131910655 | 31.6106
| ii | 32 Amps. | Each | 7131910653 | 55.3185
| iii | 63 Amps. | Each | 7131910654 | 109.3178
| iv | 100 Amps. | Each | 7131910656 | 328.1993
| v | 200 Amps. | Each | 7131910657 | 636.02
| vi | 300 Amps. | Each | 7131910658 | 1189.3338
38 |  | Red Oxide Paint | Ltr. | 7130211158 | 193.6218
39 |  | Aluminium Paint | Ltr. | 7130210809 | 432.6262
40 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 55294.8118
| ii | 4 Core | Km. | 7130310654 | 98983.887
| iii | 8 Core | Km. | 7130310658 | 188917.7876
| iv | 10 Core | Km. | 7130310681 | 237232.0498
| v | 12 Core | Km. | 7130310662 | 244446.4873
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 10 Core | Km. | 7130310660 | 258713.4778
41 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 24908.1952
| ii | 50 Sq.mm. | KM | 7130311009 | 58804.3324
| iii | 70 Sq.mm | KM | 7130311010 | 79580.5452
| iv | 150 Sq.mm | KM | 7130311011 | 155451.4182
| v | 300 Sq.mm | KM | 7130311012 | 305837.8162
| vi | 400 Sq.mm | KM | 7130311013 | 382047.361
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 8.9661
| ii | 4.0 Sqmm. | Per Mtr. | 7130310082 | 17.6067
| iii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 37.8287
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 29.0333
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 34.8366
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 50.8
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 78.3865
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 60.96
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 74.0299
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 88.5465
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 116.133
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 148.0597
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 19913.857
| ii | 25 Sqmm. | Km. | 7130310026 | 30607.2176
| iii | 35 Sqmm. | Km. | 7130310021 | 42882.3918
| iv | 50 Sqmm. | Km. | 7130310022 | 46467.8808
| v | 70 Sqmm. | Km. | 7130310007 | 62827.979
| vi | 120 Sqmm. | Km. | 7130310008 | 126632.8564
| vii | 150 Sqmm. | Km. | 7130310041 | 121602.1152
| viii | 185 Sqmm. | Km. | 7130310034 | 192781.3082
| ix | 240 Sqmm. | Km. | 7130311085 | 202413.896
| x | 300 Sqmm. | Km. | 7130310035 | 248989.2748
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 51175.5443
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 74331.2276
| ii | 16 Sqmm. | km | 7130311084 | 78216.344
| iii | 25 Sq.mm. | km | 7130310048 | 118129.5882
| iv | 70 Sq.mm. | km | 7130310083 | 437828.4178
| v | 95 Sq.mm. | km | 7130310084 | 533868.1998
| vi | 150 Sq.mm. | km | 7130310085 | 805980.9154
| vii | 300 Sq.mm. | km | 7130310086 | 1539461.2111
| viii | 400 Sq.mm. | km | 7130310087 | 1956575.1661
42 |  | A.B. XLPE CABLE :-
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 1197974.8628
| b | 3x150 Sq.mm. | km | 7130310052 | 1470582.488
| c | 3x185 Sq.mm. | km | 7130310053 | 1680817.0037
| d | 3x240 Sq.mm. | km | 7130310054 | 2137332.4948
43 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 22875.1111
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 32678.7258
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set | 7130310088 | 43451.4789
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 13071.4964
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 16339.3629
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 19607.2294
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 22875.1111
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 24509.052
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 29410.8593
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 1028.782
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 1111.2899
| xii | Cable tie for AB Cable | Each | 7130320045 | 33.0092
44 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 470572.2
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 666953.7
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 809438.7
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 945728.7
45 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 4992.5827
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 5253.9006
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 4957.5445
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 3161.9645
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 3331.1443
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 2662.7077
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 2995.5557
| viii | Cable tie for AB Cable | Each | 7130820029 | 41.2615
| ix | Surge Arrestor | No | 7130840003 | 1059.5957
| x | Ground connection for Messenger Wire | No | 7131950396 | 160.988
46 |  | L.T. A.B. XLPE CABLE :-
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1x25+1x16+1x25 | km | 7130310063 | 62281.0962
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x16+1x16+1x25 | km | 7130310031 | 101047.2308
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x25+1x16+1x25 | km | 7130310032 | 111811.8086
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x35+1x16+1x25 | km | 7130310033 | 136780.2664
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x50+1x16+1x35 | km | 7130310065 | 126066.7278
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x50+1x25+1x35 | km | 7130310066 | 123287.1912
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x70+1x16+1x50 | km | 7130300025 | 242282.9336
| viii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x95+1x16+1x70 | km |  | 309287.4518 | NEW ADDED
| ix | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3x120+1x16+1x95 | km |  | 386127.447 | NEW ADDED
| x | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3x16+1x25 | km | 7130310070 | 73683.4952
| xi | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3x25+1x25 | km | 7130310073 | 79044.0738
47 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 1270.9817
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 1531.0354
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 96.2775
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 125.4242
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 174.8224
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 848.3238
| 7 | Straight through joints | Nos. | 7130390007 | 217.24
| 8 | Service Ring | Nos. | 7130810102 | 442.4749
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 238.6318
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 41.2615
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 578.1005
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 758.3336
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 550.421
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 37.1278
| 15 | Universal distribution connector | Each | 7130390006 | 153.7261
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 6.9088
| 17 | Pole Clamp | No. | 7130810077 | 556.8076
| 18 | Eye Hook | No. | 7130893004 | 226.8421
48 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 1060.4134
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 1060.4134
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 1138.8027
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1600.9316
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 2386.2632
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 3856.5358
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 4927.9422
49 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x150 Sq.mm. | km |  | 1697666 | NEW ADDED
| ii | 3x240 Sq.mm. | km | 7130310075 | 2560069.8849
| iii | 3x400 Sq.mm. | km | 7130310020 | 2797680.0488
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 683204.1668
| ii | 95 Sq.mm | km | 7130310077 | 691233.8224
| iii | 120 Sq.mm | km | 7130310078 | 1030768.9252
| iv | 240 Sq.mm | km | 7130310079 | 1248889.5951
| v | 400 Sq.mm | km | 7130310080 | 1924217.9004
50 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 29525.3771
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 43795.0473
| iii | Straight through heat shrinkable cable jointing kit with lugs for 3 core 120-240 sq mm UG XLPE cable | Set | 7130310089 | 73272.5761
| iv | Straight through heat shrinkable cable jointing kit with lugs for 3 core 300-400 sq mm UG XLPE cable | No | 7130310090 | 82052.4207
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x50 Sq.mm | Set | 7130352038 | 17648.7233
| ii | 3x95 Sq.mm | Set | 7130352039 | 17648.7233
| iii | 3x150 Sq.mm | Set | 7130352040 | 23367.4935
| iv | 3x240 Sq. mm | Set | 7130352041 | 25556.3979
| v | 3x400 Sq. mm | Set | 7130352042 | 25556.3979
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 9174.1381
| ii | 3x240 Sq. mm | Set | 7130352044 | 11074.7419
| iii | 3x400 Sq. mm | Set | 7130352045 | 11393.3262
51 |  | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 13992.9828
| B | Battery | No. | 7132404366 | 70801.2288
52 |  | Marshelling Box (with 10 No. connectors) | No. | 7130352046 | 3896.2378
57 | A | LED LAMPS
| i | LED 9 Watt lamp (without holder) | Each | 7131210011 | 75.8952
| ii | LED Tube Light, 20 Watt | Set | 7131210009 | 238.5417
| B | LED LAMPS WITH COMPLETE FITTING
| i | 18 W LED Street Light complete set | Set | 7131210030 | 2455.3617
| ii | 35 W LED Street Light complete set | Set | 7131210031 | 3171.8124
| iii | 70 W LED Street Light complete set | Set | 7131210032 | 4486.9245
| iv | 110 W LED Street Light complete set | Set | 7131210033 | 6097.7244
| v | 190 W LED Street Light complete set | Set | 7131210034 | 10754.047
| vi | 190 W LED Flood Light complete set | Set | 7131210035 | 10433.4657
| vii | 110 W LED Flood Light complete set | Set | 7131210036 | 6967.787
58 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 37.7787
| ii | Raccoon Conductor. | Each | 7130830050 | 46.8481
| iii | Dog Conductor. | Each | 7130830051 | 182.8577
| iv | Panther Conductor. | Each | 7130830971 | 282.6054
59 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 276.5539
| ii | Dog Conductor. | Each | 7130830585 | 346.0755
| iii | Panther Conductor. | Each | 7130830586 | 405.0109
60 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 887.1423
| ii | VCB | Each | 7130830054 | 518.0847
| iii | CT-PT Unit | Each | 7130830056 | 518.0847
| iv | Distribution Transformer (HT) | Each | 7130830058 | 263.3789
| v | Distribution Transformer (LT) | Each | 7130830603 | 386.3867
61 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 201.5021
62 |  | Aluminium bobbin. | Each | 7130820201 | 46.1529
63 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 311.9474
| ii | 250 Amps. | Each | 7131900880 | 783.8015
| iii | 400 Amps. | Each | 7131900881 | 867.1427
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900876 | 121.6301
| ii | 250 Amps. | Each | 7131900071 | 316.444
| iii | 400 Amps. | Each | 7131900072 | 486.4958
64 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 744.934
65 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 1592.0047
| ii | CT operated electronic static bidirectional meters with DLMS Protocol. | Each | 7131310997 | 1799.9956
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 2679.6169
| iv | CT operated electronic static bidirectional meters with DLMS protocol for net metering | Each | 7131310005 | 2978.0905
| v | CT operated electronic static bidirectional meter with DLMS for net metering | Each | 7131310002 | 3068.0289
| vi | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 13314.2909
| vii | Bidirectional Meter 1 phase for Solar Roof Top | Each | 7131310045 | 1129.0809 | Bin code changed. Old Bin code was - 7131310043
| viii | Bidirectional Meter 3 phase for Solar Roof Top | Each | 7131310040 | 2352.2566 | Bin code changed. Old Bin code was - 7131310044
66 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category A | Each | 7131310033 | 4151.9699
| ii | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category B | Each | 7131310034 | 4151.9699
| iii | 3 Ø 3 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310036 | 19472.1004
| iv | 3 Ø 4 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310035 | 19471.5153
| v | 3 Ø 4 Wire 0.5S, 5 Amp. Bulk consumer meter | Each | 7131310013 | 5016.3782
| vi | 3 Ø 4 Wire 0.2S 5 Amp. bulk consumer meter | Each | 7131310042 | 19952.5964
| vii | Test terminal Box (TTB) | Each | 7131397678 | 1982.4 | Bin code changed. Old Bin code was - 7131310037
| viii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 25045.5
| ix | Spot Billing Machine | Each | 7131310168 | 12426.9973
67 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 1177339.4495
69 | i | Universal Meter Box for HT meters. | Each | 7132406425 | ITEM DELETED | ITEM DELETED NOT TO BE USED
| ii | Sheet Metal deep Drawn HT Meter Box | Each | 7132404529 | 4194.3717
| iii | Sheet Metal deep Drawn Meter Box for LTCT operated meter | Each | 7132406791 | 6051.04 | NEW ADDED
70 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 3292.504
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box | Each | 7132406793 | 4118.6814 | Name Changed
| iii | Pilfer proof Single Compartment SMC meter box for LTCT meters 150/5A with CT | Each | 7132406795 | 4889.2112
| iv | Pilfer proof Single Compartment SMC meter box for LTCT meters 300/5A with CT | Each | 7132406794 | 4464.3088
71 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 5972.3936
| ii | Set of 3 O.C. relays + 1 E/F instantaneous high set feature numerical type | Nos. | 7131334001 | 5504.7
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 5596.74
| iv | Master trip relays | Nos. | 7131399007 | 1098.58
| v | Auxiliary Relay | Nos. | 7131300008 | 2266.7455
| vi | SCADA Compatible Relay (As per IEC 107/IEC61850 protocol) | Nos. | 7131300010 | 37170
| vii | Electrically Reset type Master Trip relay | Nos. | 7131300009 | 3599
72 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 527.46
| ii | 200/5 Amps. | Each | 7132230019 | 313.29
| iii | 300/5 Amps. | Each | 7132230021 | 306.8
| iv | 500/5 Amps. | Each | 7132230024 | 306.7979
73 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 13575.31
| ii | 300-150/5 Amps. | Each | 7132230188 | 13696.0948
| iii | 500-250/5-5 Amps. | Each | 7132200005 | 18648.0946 | NEW ADDED
74 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 14361.9115
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 17617.2938
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 17496.509
75 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 641883.8393
| ii | 150-75/1-1A | No. | 7132230075 | 595454.1649
| iii | 200-100/1-1A | No. | 7132230332 | 557622.0411
| iv | 300-150/1-1A | No. | 7132230336 | 339900.3366
| v | 600-300/1-1A | No. | 7132230065 | 371379.9926
| vi | 100/1 Amp | No. | 7132230543 | 537789.5312
| vii | 200/1 Amp | No. | 7132230544 | 467268.9198
76 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 849302.1444
| ii | 300-150/1-1A | No. | 7132230077 | 611297.8469
| iii | 600-300/1-1A | No. | 7132230078 | 685593.57
| iv | 800-400/1-1A | No. | 7132230039 | 676167.2543
| v | 800/1 Amp. | No. | 7132230545 | 566406.9738
78 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 10892.108
79 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 20431.1454
80 |  | 132 kV P.T. | No. | 7132230501 | 401271.4962
81 |  | 220 kV P.T. | No. | 7132230511 | 737533.1344
82 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230395 | 37882.4722
| ii | 25/5 A | Each | 7132230401 | 39210.1138
| iii | 50/5 A | Each | 7132230538 | 37910.0252
| iv | 300-150/5 A | Each | 7132230399 | 43516.0891
| v | 200-100/5 A | Each | 7132230412 | 43031.0604
| vi | 400-200/5 A | Each | 7132230088 | 43520.0091
| xi | 100/5 A | Each | 7132230403 | 36369.1694
| xii | 200/5A | Each | 7132230410 | 33682.7342 | ITEM REINTRODUCED AFTER 2017-18
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230448 | 75162.6134
| ii | 20/5 A | Each | 7132230418 | 71726.5832
| iii | 50/5 A | Each | 7132230450 | 70267.466
| iv | 100/5A | Each | 7132230453 | 67159.4404
| v | 200/5A | Each | 7132230455 | 66812.0366
| vi | 400/5A | Each | 7132230458 | 65431.4484 | NEW ADDED
| vii | 200-100/5 A | Each | 7132230427 | 87035.7091
| viii | 300-150/5 A | Each | 7132230089 | 90496.1451
| ix | 400-200/5 A | Each | 7132230457 | 89135.3151
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230028 | 241605
| ii | 25/5 A | Each | 7132230029 | 241605
| iii | 50/5 A | Each | 7132230017 | 241605
| iv | 100/5 A | Each | 7132230015 | 261758.574
| v | 200/5 A | Each | 7132230030 | 241605
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230031 | 115227
| ii | 15/5 A | Each | 7132230020 | 115227
| ii | 25/5 A | Each | 7132230010 | 115227
| iv | 50/5 A | Each | 7132230027 | 115228.9791
83 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 120.795
| ii | 6 to 16 Amps. | Each | 7131820032 | 120.795
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 511.9239
| ii | 32 Amps. | Each | 7131820034 | 511.9239
84 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 3410.0347
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 3694.6995
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 3694.6995
85 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 2699.5681
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 2841.8937
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 6181.3668
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 26998.0176
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 26998.0176
86 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 18477.6545
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 23098.0284
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 46194.1286
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 39637.3573
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 49445.1688
| vi | SMC LT Distribution Box for 100 kVA Distribution Transformer | Each | 7131950208 | 22383.9794
| vii | SMC LT Distribution Box for 315 kVA Distribution Transformer | Each | 7131950209 | 38412.0141
87 |  | Locally fabricated - 3 Phase fuse units 150 Amps. (Robust fuse for circuit base). | Each | 7131900005 | 845.4653
88 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 370161.7979
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 135748.262
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 25931.9403
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 27322.2366
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 38838.4178
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 39087.6343
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each | 7131960010 | 83956.1084
89 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 250684.0262
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 39664.7671
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 29413.5939
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 26640.4349
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 39481.134
| v | C&R Panel with 3 O/C + 1 E/F relay and Master Trip | Each | 7131900012 | 40194.34
| vi | Transformer Auxiliary panel with auxiliary protection relay | Each | 7131900014 | 11800
90 |  | 11 kV Sectionalizer. | Each | 7131950016 | 411392.114
91 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 25408.1024
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 43971.4863
92 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 1972.0369
| ii | 10 kVAR | Each | 7132200813 | 3942.8431
| iii | 12 kVAR | Each | 7132200814 | 4737.5787
| iv | 20 kVAR | Each | 7132200815 | 7862.2209
93 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin/Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 170801.2344
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 225853.7059
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 7132230471 | 40265.4526
94 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set | 7132210106 | 8294.2978
| ii | 0.2% Reactor suitable for 726 kVAR step | Set | 7132210108 | 10125.841
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. | 7131980001 | 81847.2924
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set | 7131931091 | 33598.9423
| v | Mounting GI structure for above isolator | Set | 7131931095 | 16730.3606
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. | 7131940871 | 56418.8313
| vii | GI Structure for complete Equipment | Kgs. | 7130850198 | 96.7287
96 |  | Poly Carbonate seals for meter | Each | 7132444005 | 5.7466
97 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 7.0424
98 |  | Numerical Poly Carbonate seals | No | 7132444005 | 10.8191
99 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 6584.0697
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 8307.4984
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 18841.3948
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 19738.6049
100 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 58.1707
101 |  | Modem (4G) | Nos. | 7131961526 | 4631.5 | Name Changed
102 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 2.8125
| 2 | 16 Sq mm | Nos. | 7130354275 | 2.8125
| 3 | 25 Sq mm | Nos. | 7130354276 | 5.6249
| 4 | 32 Sq mm | Nos. | 7130354277 | 7.0312
| 5 | 50 Sq mm | Nos. | 7130354278 | 11.2657
| 6 | 70 Sq mm | Nos. | 7130354279 | 16.8906
| 7 | 95 Sq mm | Nos. | 7130354280 | 21.1093
| 8 | 120 Sq mm | Nos. | 7130354281 | 29.5625
| 9 | 150 Sq mm | Nos. | 7130354282 | 33.7812
| 10 | 185 Sq mm | Nos. | 7130354283 | 53.4842
| 11 | 225 Sq mm | Nos. | 7130354284 | 60.5154
| 12 | 240 Sq mm | Nos. | 7130354285 | 87.2654
| 13 | 300 Sq mm | Nos. | 7130354286 | 102.7498
| 14 | 400 Sq mm | Nos. | 7130354287 | 132.3123
103 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 318.2147
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 3666.3557
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 531
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 629.5766
| 5 | Portable drilling machine | Nos. | 7132014014 | 3690.429
| 6 | Megger 500 V | Nos. | 7131324780 | 4399.6183
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 6630.9021
| 8 | Silica gel | Kg | 7132438002 | 197.238
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 1179.8351
| 10 | Panel lndication lamps | Nos. | 7131210001 | 129.0211
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1981.8386
| 12 | Tube Spanners | Set. | 7132074033 | 819.0214
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1505.0559
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 825.9771
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 937.4713
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 162.897
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 702.6295
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 460.6575
| 19 | Rechargeable LED Hand Torch | Nos. | 7132478005 | 826.0535
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 279.6544
| 21 | Discharge Rod | Nos. | 7132013331 | 515.524
| 22 | Neon tester | Nos. | 7131338025 | 64.5057
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 91.0056
| 25 | Screw driver 200 mm | Nos. | 7132072004 | 85.2286 | Bin code changed. Old Bin code was - 7132072007
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 79.4517
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 1450.4987
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 448.7938
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 255.6713
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 608.1253
| 31 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1805.6043
| 32 | Transformer Oil Dielectric Breakdown testkit | Nos. | 7131338004 | 74383.4812 | Rate excluding GST
| 33 | Tong tester Digital (1000 A, 500 V) with associated accessories | Nos. | 7132478004 | 1706.1378
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 818.4422
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 182.9744 | Rate excluding GST
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 144.3432
| 37 | Earth resistance tester (20/200/2000 Ω) Digital | Nos. | 7131321603 | 4217.1355 | Rate excluding GST
| 38 | Rain Coats with Hoods | Nos. | 7132427634 | 830.8036 | Rate excluding GST
| 39 | Gum Boots | Nos. | 7132427635 | 594.402 | Rate excluding GST
| 40 | Files of sizes | Set. | 7132475019 | 375.4985
| 41 | Safety belts | Nos. | 7132404015 | 666.2991
| 42 | Safety helmets | Nos. | 7132404016 | 155.2235
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 5603.4387
| 44 | Fire fighting equipments CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 6265.9423
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 5352.2793
104 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | 1449.1825
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 535.0975
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 1269.1533
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 1099.6449
| 5 | G.I. bend 40 mm | Each | 7130640171 | 122.5
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 3905.4675
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt | 7130640030 | 3905.8751
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No | 7132089020 | 880.2386
| 9 | RCC Pipe Type NP-3 (2.5 mtr long) on first class bedding
|  | (i) 450 mm | RM |  | 1769 | NEW ADDED
|  | (ii) 600 mm | RM | 7130640031 | 2459.002
|  | (iii) 900 mm | RM | 7130640036 | 4874.0018
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640038 | 1271.7581
| (ii) | M.S.Pipe 200 mm dia with collars | RM (medium) | 7130640037 | 1628.4746
| 11 | River sand | Cmt | 7132498006 | 714
| 12 | Cement (in 50 kg bags) | Bags | 7130200401 | 320
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 200.4582
| 14 | Cable covering tiles 250x250x40 mm | Each | 7130201343 | 33.0046
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132475019 | 153.5964 | Rate excluding GST
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 17.5929 | Rate excluding GST
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 331.2131
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 83.2493 | Rate excluding GST
| 19 | Cotton Waste | Kg | 7132478012 | 100.2964 | Rate excluding GST
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 14.415
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 7132455002 | 395.1263
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 188.9096
| 23 | Monoplast | Kg | 7132490052 | 72.1034 | Rate excluding GST
| 24 | Bitumen compound | Kg | 7132490053 | 129.7807
| 25 (i) | Providing, Fabricating and fixing 8 SWG Chain link fencing 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. 04-01/ST/62 R2 Date 05.06.2007 | RM | 7130650001 | JOB REPLACED | Job of S.No.104 [25 (i)] has been raplaced by job of 104 [25(ii)] for Hard Soil; & by Job of 104 [25(iii)] for Black Cotton Soil
| 25 (ii) | Const. of 2.40 M high chain link wire mesh fencing on Hard Soil or Hard Moorum (Non Expansive Soil), as per Drg. No. 04-01/ST/62R, including all labour, T&P, curing, materials, transportation, loading, unloading, royalty etc. complete | Mtr. |  | 2494 | NEW ADDED. Rate excluding GST
| 25 (iii) | Const. of 2.40 M high chain link wire mesh fencing on Black Cotton Soil (Expansive Soil), as per Drg. No. 04-01/ST/62R, including all labour, T&P, curing, materials, transportation, loading, unloading, royalty etc. complete | Mtr. |  | 2860 | NEW ADDED. Rate excluding GST
| 26 | Cable marker for U/G cable | No. | 7130880006 | 136.5484
105 |  | Earth spike | No. | 7130870010 | 952.7366
106 |  | Pad Connector (for Panther conductor) | No. | 7130880006 | 173.627
107 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 7.8783
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 13.5021
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 14.6293
108 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 1108.0498
| ii | 20 SWG | Kg | 7131900971 | 1108.0498
| iii | 18 SWG | Kg | 7131900973 | 1073.8
| iv | 16 SWG | Kg | 7131900975 | 1073.8
| v | 14 SWG | Kg | 7131900977 | 1073.8
| vi | 12 SWG | Kg | 7131900979 | 1073.8
| vii | 10 SWG | Kg | 7131900981 | 1073.8
| viii | 8 SWG | Kg | 7131900974 | 1073.8
109 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 114.3811
110 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 86.443
111 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 5075.336
112 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end. | No | 7130642039 | 998.5684
113 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 7130890973 | 71.8109
114 |  | Cable Cutter | No. | 7132011171 | 600.5756
115 |  | Load Break Switches
| i | Load break switches only without panel | Unit | 7131920001 | 49658.2591
| ii | Load break switches with panel | Unit | 7131920002 | 108245.6119
| iii | 3 Way Load break switch | Unit | 7131920003 | 350186.5614
116 |  | Meter Sealing Wire | Kg | 7131397216 | 233.7711
117 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7132010551 | 9846.8208
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set | 7132010552 | 12000.6912
118 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 918793.2159
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 1305117.1935
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1684560.0404
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 2064002.8873
| v | 1OD for RMU | Unit | 7131941767 | 330600.1981
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 386323.9777
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 279236.3139
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 516344.8468
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 626468.504
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 998272.1912
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1578740.8862
119 |  | Feeder Remote Terminal Unit (FRTU) with accessories Multifunction Transducer (MFT), Contact Multiplication Relay (CMR), Heavy Duty Relay & software. | No. |  | 94400 | NEW ADDED
120 |  | Compact arrangement of RMU+FRTU+LT Distribution Box in a closed chamber for 11/0.433 kV Distribution sub-station (excluding Distribution Transformer) with Transformer in top & RMU+FRTU+ LT Distribution Box in bottom, compatible upto 650 kVA. | No. |  | 1519767 | NEW ADDED
121 |  | Compact arrangement of RMU+FRTU+LT Distribution Box in a closed chamber for 11/0.433 kV Distribution sub-station (excluding Distribution Transformer) with Transformer in top & RMU+LT Distribution Box in bottom, compatible upto 650 kVA. | No. |  | 1237749 | NEW ADDED
122 |  | 11 kV Fault Passage Indicator for Overhead Line | No. | 7131210840 | 15852.1443 | Rate excluding GST
123 |  | AC Distribution Board for AC/DC Supply | No | 7131920028 | 11773.4113
124 |  | 33/11 kV S/S (Name Plate) Board | Job | 7132406800 | 12278.8465
125 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job | 7132486843 | 10520.666 | Rate excluding GST
126 |  | RCC Block (with 6 mm MS Bar) | Each | 7130640008 | 158.002
127 |  | M.S.Strip 25x3 mm (0.6 kg/Mtr.) | Kg | 7130640039 | 48.2175
128 |  | SMC Meter Board 350x200x40 mm (minimum) thickness 2.5 mm | No. | 7132455003 | 155.3913
129 |  | SMC Board 200x150x40 mm (minimum) thickness 2.5 mm | No. | 7132455004 | 122.0931
130 |  | Piano type ISI mark 250V/5A switch. | No. | 7131920004 | 13.1955
131 |  | 250V/5A ISI mark 3 pin Socket | No. | 7131920005 | 32.9888
132 |  | 250V/5A ISI mark holder. | No. | 7131920006 | 19.7933
133 |  | Earthing terminal (having suitable size of 10 mm Dia GI bolt with 3 nos. nuts & washers) along with Staples / Nut-Bolts/ Nails | No. | 7131390482 | 55.4969
134 |  | Internal wiring using 1.5 sqmm copper multistrands PVC insulated ISI marked cable (Average cable length 6 Mtr.) | Mtr. | 7130310081 | 9.1532
135 |  | 25 mm Dia PVC pipe or equivalent for internal house wiring (3 Mtr) | Feet | 7132461006 | 6.3488
136 |  | Bhatta brick | No. | 7132498054 | 6.0045
137 |  | 11 kV Capacitor Unit with Expulsion Tube | Each | 7132200004 | 129.9573
138 |  | A.B.T. Meter, Accuracy Class : 0.2S, CT Ratio : _/1A, P.T.Ratio : _/110 V | Each |  | 270267.2
Note on C6: Barun Chakraborty: Name changed. Earlier name was - ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
Note on C14: Barun Chakraborty: Name changed. Earlier name was - ENERGY EFFICIENCY LEVEL-2, I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With Secondary Terminal Box) :-
Note on C29: Barun Chakraborty: Name changed. Earlier name was - 33 kV Polymer L.A.
Note on C416: Barun Chakraborty: Name changed. Earlier name was - Pilfer proof SMC/FRPP/PPO LTCT meter box (DOUBLE COMPARTMENT)
Note on C563: Barun Chakraborty: Name changed. Earlier name - GSM Modem
Note on E84: Barun Chakraborty: Bin code changed. Old Bin code was - 7130310043
Note on E398: Barun Chakraborty: Bin code changed. Old Bin code was - 7131310043
Note on E399: Barun Chakraborty: Bin code changed. Old Bin code was - 7131310044
Note on E407: Barun Chakraborty: Bin code changed. Old bin code was - 7131310037
Note on E603: Barun Chakraborty: Bin code changed. Earlier bin code was- 7132072007
Note on F610: Barun Chakraborty: GST applicable separately.
Note on F613: Barun Chakraborty: GST applicable separately.
Note on F615: Barun Chakraborty: GST applicable separately.
Note on F616: Barun Chakraborty: GST applicable separately.
Note on F617: Barun Chakraborty: GST applicable separately.
Note on F643: Barun Chakraborty: GST applicable separately.
Note on F644: Barun Chakraborty: GST applicable separately.
Note on F646: Barun Chakraborty: GST applicable separately.
Note on F647: Barun Chakraborty: GST applicable separately.
Note on F651: Barun Chakraborty: GST applicable separately.
Note on F654: Barun Chakraborty: GST applicable separately.
Note on F655: Barun Chakraborty: GST applicable separately.
Note on F702: Barun Chakraborty: GST applicable separately.
Note on F705: Barun Chakraborty: GST applicable separately.
(cost per kVAR)