## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 30/11/2019
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 31 | 27 | 8
2 | BHATAPARA TOWN | 20 | 20 | 8
3 | BILASPUR TOWN | 104 | 98 | 63
4 | CHAMPA TOWN | 13 | 13 | 9
5 | CHIRMIRI TOWN | 3 | 3 | 1
6 | DALLI RAJHARA TOWN | 7 | 7 | 5
7 | DHAMTARI TOWN | 18 | 18 | 8
8 | DONGARGARH TOWN | 9 | 9 | 6
9 | DURG BHILAI CHARODA TOWN | 156 | 153 | 134
10 | JAGDALPUR TOWN | 25 | 24 | 21
11 | KANKER TOWN | 7 | 7 | 5
12 | KAWARDHA TOWN | 9 | 9 | 7
13 | KORBA TOWN | 62 | 62 | 29
14 | MAHASAMUND TOWN | 12 | 8 | 6
15 | MANENDRAGARH TOWN | 4 | 4 | 0
16 | MUNGELI TOWN | 10 | 10 | 9
17 | NAILA JANJGIR TOWN | 18 | 18 | 7
18 | RAIGARH TOWN | 52 | 45 | 9
19 | RAIPUR TOWN | 321 | 314 | 235
20 | RAJNANDGAON TOWN | 36 | 34 | 32
Total |  | 917 | 883 | 602