## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 30/11/2021
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 33 | 33 | 33
2 | BHATAPARA TOWN | 19 | 19 | 19
3 | BILASPUR TOWN | 113 | 113 | 113
4 | CHAMPA TOWN | 14 | 14 | 9
5 | CHIRMIRI TOWN | 3 | 3 | 3
6 | DALLI RAJHARA TOWN | 7 | 7 | 7
7 | DHAMTARI TOWN | 17 | 17 | 17
8 | DONGARGARH TOWN | 9 | 9 | 9
9 | DURG BHILAI CHARODA TOWN | 169 | 169 | 169
10 | JAGDALPUR TOWN | 30 | 30 | 30
11 | KANKER TOWN | 7 | 7 | 7
12 | KAWARDHA TOWN | 12 | 12 | 12
13 | KORBA TOWN | 71 | 71 | 69
14 | MAHASAMUND TOWN | 14 | 14 | 14
15 | MANENDRAGARH TOWN | 5 | 5 | 4
16 | MUNGELI TOWN | 8 | 8 | 8
17 | NAILA JANJGIR TOWN | 25 | 25 | 23
18 | RAIGARH TOWN | 57 | 57 | 55
19 | RAIPUR TOWN | 337 | 337 | 337
20 | RAJNANDGAON TOWN | 42 | 42 | 42
Total |  | 992 | 992 | 980