## D6
Feeder Meter Commnuication Status Report
D6 FORMAT
NAME OF DISCOM : CSPDCL
Date : 28/02/2019
S.No | Name of Town | Total Feeders (Nos) | Nos. of Feeders Metered (Nos) | Feeder Meters Communicating with Data Center (Nos)
1 | AMBIKAPUR TOWN | 22 | 22 | 11
2 | BHATAPARA TOWN | 17 | 17 | 15
3 | BILASPUR TOWN | 107 | 107 | 50
4 | CHAMPA TOWN | 16 | 16 | 2
5 | CHIRMIRI TOWN | 1 | 1 | 0
6 | DALLI RAJHARA TOWN | 6 | 6 | 3
7 | DHAMTARI TOWN | 16 | 16 | 8
8 | DONGARGARH TOWN | 9 | 9 | 6
9 | DURG BHILAI CHARODA TOWN | 144 | 144 | 103
10 | JAGDALPUR TOWN | 26 | 26 | 13
11 | KANKER TOWN | 7 | 7 | 4
12 | KAWARDHA TOWN | 12 | 12 | 2
13 | KORBA TOWN | 59 | 59 | 19
14 | MAHASAMUND TOWN | 8 | 8 | 6
15 | MANENDRAGARH TOWN | 4 | 4 | 0
16 | MUNGELI TOWN | 7 | 7 | 5
17 | NAILA JANJGIR TOWN | 18 | 18 | 0
18 | RAIGARH TOWN | 49 | 49 | 24
19 | RAIPUR TOWN | 299 | 299 | 181
20 | RAJNANDGAON TOWN | 34 | 34 | 10
Total |  | 861 | 861 | 462