## D4_High Loss Fdr
Feeder wise AT&C loss report (10% worst Feeders)
Level of Monitoring: PFC/MoP
Format: D4
Name of State: |  | Chhattisgarh
Name of Discom: |  | CSPDCL
Report Month: …….Feb'22
Input Energy Period: ……..Dec'20 to Nov'21
Sl. No. | Name of Town | Total Feeder | Name of Feeder1 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder2 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder3 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder4 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in % |  |  | Name of Feeder5 | Cumulative Billing Efficiency, Collection Efficiency & AT&C Losses in %
|  |  |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%) |  | Billing Efficiency (%) | Collection Efficiency (%) | AT&C Loss(%)
1 | BHATAPARA TOWN | 12 | 11KV HATARI BAZAR 11KV FEEDER | 80.91 | 63.67 | 48.48 | 11KV REST HOUSE FEDEER | 34.63 | 64.82 | 77.55
2 | KAWARDHA TOWN | 10 | 11KV VIP FEEDER | 47.87 | 36.13 | 82.7
3 | MAHASAMUND TOWN | 11 | 11KV TRIMURTI FEEDER | 53.57 | 54.92 | 70.58
4 | KANKER TOWN | 5 | 11KV COLLECTORATE FEEDER | 93.95 | 57.31 | 46.16
5 | RAJNANDGAON TOWN | 37 | 11KV BASANTPUR FEEDER | 45.3 | 67.94 | 69.22 | 11KV DHABA(RURAL)FEEDER | 20.11 | 60.21 | 87.89 | 11KV MOHARAFEEDER | 76.7 | 76.67 | 41.19
6 | DONGARGARH TOWN | 5 | 11KV MANDIR FEEDER | 65.84 | 50.86 | 66.51
7 | MUNGELI TOWN | 8 | 11KV COLECTER FEEDER | 76.81 | 62.86 | 51.72
8 | CHAMPA TOWN | 11 | 11KV TOWN-1 FEEDER | 70.54 | 59.77 | 57.84
9 | DHAMTARI TOWN | 15 | 11KV CHITOD 2 FEEDER | 36.13 | 58.64 | 78.81 | 11KV BHATGAON FEEDER | 39.54 | 72.58 | 71.3
10 | CHIRMIRI TOWN | 3 | 11KV NAGAR NIGAM FEEDER | 28.09 | 26.76 | 92.48
11 | MANENDRAGARH TOWN | 4 | 11KV KELHARI FEEDER | 21.78 | 47.02 | 89.76
12 | DALLI RAJHARA TOWN | 4 | 11KV MOHALLA FEEDER | 94.48 | 47.95 | 54.7
13 | AMBIKAPUR TOWN | 30 | 11KV FILTERPLANT FEEDER | 95.65 | 52.66 | 49.63 | 11KV KHAIRBAR | 74.06 | 2.49 | 98.16 | 11KV SHIKARIROAD | 68.59 | 56.25 | 61.42
14 | JAGDALPUR TOWN | 24 | 11KV TOWN-1 FEEDER | 41.46 | 73.45 | 69.55 | 11KV KANGOLI FEEDER | 47.54 | 64.85 | 69.17 | 11KV HOUSING BOARD FEEDER | 28.35 | 85.35 | 75.8
15 | KORBA TOWN | 67 | 11KV DADAR FEEDER | 69.11 | 22.81 | 84.24 | 11KV PARSABADA FEEDER | 29.02 | 24.52 | 92.88 | 11KV BUDHWARI FEEDER | 24.86 | 41.11 | 89.78 | 11KV IRRIGATION COLONY1 | 19.73 | 18.17 | 96.42 | 11KV KOTWALI | 52.09 | 29.06 | 84.86
16 | NAILA JANJGIR TOWN | 20 | 11KV TOWN-2 FEEDER | 62.17 | 84.98 | 47.17 | 11KV NAHARIYA BABA FEEDER | 35.73 | 58.23 | 79.19
17 | DURG BHILAI CHARODA TOWN | 165 | 11KV BALAJI NAGAR FEEDER | 66.2 | 50.44 | 66.61 | 11KV RUWABANDHA FEEDER | 70.78 | 78.47 | 44.46 | 11KV ITI FEEDER | 52.46 | 60.96 | 68.02 | 11KV SARASWATI KUNJ FEEDER | 11.06 | 69.61 | 92.3 | 11KV DD PURAM FEEDER | 48.38 | 54.74 | 73.52
18 | BILASPUR TOWN | 108 | 11KV DHEKA FEEDER | 61.16 | 49.85 | 69.51 | 11KV DOMUHANI FEEDER | 47.84 | 13.47 | 93.56 | 11KV IMLIBHATA FEEDER | 76.48 | 22.34 | 82.91 | 11KV NEW MOPKA | 79.74 | 49.26 | 60.72 | 11KV BHAWANI NAGAR FEEDER | 32.53 | 50.36 | 83.62
19 | RAIGARH TOWN | 55 | 11KV GADMORIYA FEEDER | 43.78 | 29.11 | 87.26 | 11KV COLLECTRED FEEDER | 77.26 | 46 | 64.46 | 11KV RAJIV NAGAR FEEDER | 41.01 | 29.71 | 87.82 | 11KV KRISHNA NAGAR FEEDER | 34.21 | 84.85 | 70.97 | 11KV PARK AVENUE | 28.46 | 59.25 | 83.14
20 | RAIPUR TOWN | 327 | 11KV KK ROAD FEEDER | 57.16 | 74.47 | 57.43 | 11KV MANAVADHIKAR FEEDER | 32.7 | 100 | 67.3 | 11KV VIJAY LAXMI FEEDER | 52.99 | 83.74 | 55.63 | 11KV VRINDAVAN GARDEN FEEDER | 55.01 | 73.13 | 59.77 | 11KV GOAL BAZAR FEEDER | 63.28 | 72.19 | 54.32