## Standard Stock Materials2022-23
RATE OF STOCK MATERIALS FOR SoR 2022-23
Sl. No. | PARTICULARS OF MATERIALS / ITEMS |  | Unit | Bin Code | Schedule of Rate for 2022-23 (rates including GST)
Rate
1 | 2 |  | 3 | 4 | 5
1 | A | ENERGY EFFICIENCY LEVEL-2, I.S.I.MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER :-
| i | 16 kVA Aluminium Wound | Each | 7132210017 | 65861.57
| ii | 25 kVA Aluminium Wound | Each | 7132210018 | 57762.22
| iii | 63 kVA Aluminium Wound | Each | 7132210019 | 100904.89
| iv | 100 kVA Aluminium Wound | Each | 7132210020 | 131034.24
| v | 200 kVA Aluminium Wound | Each | 7132210021 | 253626.11
| vi | 315 kVA Copper Wound | Each | 7132220081 | 594118.11
| vii | 500 kVA Copper Wound | Each | 7132220082 | 1257007.57
| B | ENERGY EFFICIENCY LEVEL-2, I.S.I. MARKED 11/0.4 kV DISTRIBUTION TRANSFORMER (With Secondary Terminal Box) :-
| i | 25 kVA Aluminium Wound | Each | 7132210022 | 58803.86 | NEW ADDED
| ii | 63 kVA Aluminium Wound | Each | 7132210023 | 101146 | NEW ADDED
| iii | 100 kVA Aluminium Wound | Each | 7132210024 | 131357.33 | NEW ADDED
| iv | 200 kVA Aluminium Wound | Each | 7132210025 | 264986.25 | NEW ADDED
2 |  | 33/0.4 kV STATION TRANSFORMER :-
| i | 50 kVA (Copper winding) | Each | 7132210215 | 139656.84
3 |  | POWER TRANSFORMERS 33/11 kV :-
| i | 1600 kVA | Each | 7132220091 | 1065077.63
| ii | 3150 kVA | Each | 7132220095 | 3163634.22
| iii | 5000 kVA | Each | 7132220097 | 4283437.71
| iv | 8000 kVA | Each | 7132220092 | 5642145.61 | NEW ADDED
4 |  | LIGHTNING ARRESTORS :-
| i | 11 kV Polymer | Each | 7130840029 | 348.68
| ii | 33 kV Polymer | Each | 7130840021 | 3233.2
5 |  | D.O. FUSE UNITS :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930412 | 1020.31
| ii | 33 kV | Each | 7131930415 | 2729.94
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930110 | 1715.82
| ii | 33 kV | Each | 7131930111 | 2455.6
6 |  | EHV Gr-1 TRANSFORMER OIL :-
| i | In Barrel | KL | 7132457798 | 83594.98
| ii | In Tanker | KL | 7132457798 | 72974.98
LINE SUPPORTS :-
7 |  | RAIL POLE :-
| a | 52 kgs per mtr/105 lbs yard | MT | 7130601070 | 83249.64
| b | 60 kgs per mtr | MT | 7130601072 | 83249.64
8 | A | "H" BEAMS 152x152 mm;
| a | 37.1 Kg/Mtr.; 13 Mtr. Length | MT | 7130601958 | 62813.76
| b | 37.1 Kg/Mtr.; 11 Mtr. Length | MT | 7130601965 | 62400.76
| B | WIDE PARALLEL FLANGE BEAM (W.P.B.)
| a | WPB 13 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600012 | 68792.07
| b | WPB 11 Meter long (160x160 mm) ; 30.44 Kg/Mtr. | MT | 7130600011 | 68024.97
9 |  | R.S. JOIST.
| a | 175 x 85 mm | MT | 7130600675 | 67130.74
10 |  | PCC POLES
| i | 140 Kg; 8.0 Mtr long | Each | 7130800012 | 2298.46
| ii | 200 Kg; 8.0 Mtr long | Each | 7130800033 | 2596.21
| iii | 200 Kg; 9.0 Mtr long | Each | 7130800001 | 3096.2
| iv | 280 Kg; 9.1 Mtr long | Each | 7130800033 | 4451.53
| v | 365 Kg; 11 Mtr long | Each | 7130800002 | 7656.89
11 |  | M.S. CHANNEL
| a | 100x50 mm | MT | 7130600230 | 51475.9
| b | 75x40 mm | MT | 7130600166 | 51475.9
12 |  | M.S. FLAT
| a | 65x8 mm | MT | 7130600495 | 63061.04
| b | 50x6 mm | MT | 7130600173 | 63061.04
13 |  | M.S. ANGLE
| a | 65 x 65 x 6 mm | MT | 7130600032 | 51475.9
| b | 50 x 50 x 6 mm | MT | 7130600023 | 51475.9
| c | 75 x 75 x 6 mm | MT | 7130600051 | 51475.9
| d | 35 x 35 x 5 mm | MT | 7130640040 | 43650.48
14 |  | CONCRETE : -
| i | 1:1.5:3 Ratio | Cmt | 7130200201 | 4073
| ii | 1:3:6 Ratio | Cmt | 7130200202 | 2970
15 |  | A.C.S.R. CONDUCTORS :-
| i | 0.02 Sq.inch (20 Sqmm Al. Eq.) (Squirrel) | Km | 7130830053 | 21365.76
| ii | 0.03 Sq.inch (30 Sqmm Al. Eq.) (Weasel) | Km | 7130830055 | 28975.22
| iii | 0.05 Sq.inch (50 Sqmm Al. Eq.) (Rabbit) | Km | 7130830057 | 48334.48
| iv | 0.075 Sq.inch (80 Sqmm Al. Eq.) (Raccoon) | Km | 7130830060 | 76323.32
| v | 0.10 Sq.inch (100 Sqmm Al. Eq.) (Dog) | Km | 7130830063 | 95458.44
| vi | 0.2 Sq inch (130 Sqmm Al.Eq.) (Panther) | Km | 7130830070 | 223123.58
17 |  | COVERED CONDUCTOR (FOR LAST SPAN OF HT CONSUMERS)
| i | 50 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310027 | 359.9
| ii | 70 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310029 | 402.38
| iii | 99 sq.mm. XLPE insulation for 11 kV | Mtr. | 7130310043 | 444.86
| iv | 70 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310045 | 494.42
| v | 99 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310046 | 540.44
| vi | 157 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310047 | 667.88
| vii | 241 sq.mm. XLPE insulation for 33 kV | Mtr. | 7130310048 | 795.32
LINE INSULATORS :-
18 | A | PORCELAIN INSULATOR :-
| i | Disc insulator | Each | 7130820030 | 259.26
| ii | 11 kV Pin insulator | Each | 7130820071 | 50.87
| iii | 33 kV Pin insulator | Each | 7130820075 | 256.01
| iv | 11 kV Post Insulator | Nos. | 7130820026 | 504.19
| v | 33 kV Post Insulator | Nos. | 7130820027 | 2061.9
| vi | SHACKLE INSULATORS : -
| a | 90 x 75 mm. | Each | 7130820106 | 14.27
| b | 65 x 50 mm. | Each | 7130820101 | 12.94
| vii | Stay insulator | Each | 7130820117 | 12.33
| viii | Split insulator | Pair | 7130820018 | 4.63
| B | POLYMER INSULATOR :-
| i | 33 kV Composite Disc insulator | Each | 7130820011 | 204.36
| ii | 33 kV Polymer Disc Insulator (45 kN) | Each | 7130820013 | 204.36
| iii | 11 kV Disc Insulator | Each | 7130820010 | 126.83
| iv | 33 kV Pin insulator with Pin | Each | 7130820009 | 333.95
| v | 11 kV Pin insulator with Pin | Each | 7130820008 | 148.62
| C | Post Insulator
| i | 11 kV Polymer Post Insulator | Nos. | 7130820001 | 268.98
| ii | 33 kV Polymer Post Insulator | Nos. | 7130820002 | 850.37
| D | Silicon rubber composite insulator / 11 kV 45 kN Polymeric Insulator | Nos. | 7130820010 | 126.83
19 |  | LINE HARDWARES :-
| i | Strain H/W up to Rabbit. | Each | 7130820241 | 146.74
| ii | Strain H/W for Raccoon & Dog. | Each | 7130820248 | 304.86
| iii | Suspension H/W suitable for Panther Conductor. | Set | 7130820312 | 2612.24
| iv | Tension hardware suitable for Panther Conductor. | Set | 7130870318 | 1200.48
20 |  | HARDWARES FOR SHACKLE INSULATORS : -
| i | For 90 x 75 mm insulators | Each | 7130820216 | 49.86
| ii | For 65 x 50 mm insulators | Each | 7130820206 | 43.8
21 |  | GI Pin for 11 kV Pin insulator. | Each | 7130820155 | 87.49
22 |  | GI Pin for 33 kV Pin insulator. | Each | 7130820158 | 291.13
23 |  | A.B. SWITCH WITH COMPLETE FITTING :-
| A | PORCELAIN TYPE -
| i | 11 kV | Each | 7131930221 | 10230.88
| ii | 33 kV | Each | 7131930321 | 22715.4
| B | POLYMER TYPE -
| i | 11 kV | Each | 7131930220 | 8507.8
| ii | 33 kV | Each | 7131930320 | 16697
24 |  | STAY SET WITHOUT STAY WIRE : -
| i | 16 mm (Painted) LT & 11 KV | Each | 7130860032 | 541.29
| ii | 20 mm (Painted) | Each | 7130860033 | 986.29
25 |  | STAY WIRES : -
| i | 7/4.00 mm (7/8 SWG) | MT | 7130860076 | 90680.61
| ii | 7/3.15 mm (7/10 SWG) | MT | 7130860077 | 91568.78
26 |  | Earthing coil (Coil of 115 turns of 50 mm dia. & 2.5 Mtrs lead of 4.0 mm GI wire) | Each | 7130870013 | 149.3
27 |  | G.I. WIRES : -
| i | 5.0 mm (6 SWG) | MT | 7130870045 | 87810.08
| ii | 4.0 mm (8 SWG) | MT | 7130870043 | 87810.08
| iii | 3.15 mm (10 SWG) | MT | 7130870041 | 87872.8
28 |  | Barbed wire | MT | 7130610206 | 106034.27
29 | A | M.S. NUTS & BOLTS :-
| i | 12x65 mm | Kg | 7130620049 | 81.75
| ii | 12x100 mm | Kg | 7130620573 | 81.75
| iii | 12x120 mm | Kg | 7130620575 | 83.11
| iv | 12x140 mm | Kg | 7130620577 | 83.11
| v | 16x40 mm | Kg | 7130620609 | 81.75
| vi | 16x65 mm | Kg | 7130620614 | 80.39
| vii | 16x90 mm | Kg | 7130620619 | 80.39
| viii | 16x100 mm | Kg | 7130620621 | 79.02
| ix | 16x140 mm | Kg | 7130620625 | 79.02
| x | 16x160 mm | Kg | 7130620627 | 79.02
| xi | 16x200 mm | Kg | 7130620631 | 79.02
| xii | 16x250 mm | Kg | 7130620637 | 79.02
| xiii | 16x300 mm | Kg | 7130620636 | 79.02
| xiv | 20x75 mm | Kg | 7130620713 | 79.02
| xv | 20x90 mm | Kg | 7130620716 | 79.02
| xvi | 20x110 mm | Kg | 7130620719 | 79.02
| xvii | 24x120 mm | Kg | 7130620829 | 79.02
| B | G.I. NUTS & BOLTS :-
| i | 16x40 mm | Kg | 7130620133 | 113.09
| ii | 16x65 mm | Kg | 7130620140 | 113.09
30 |  | G.I. Spring Washer | Kg | 7130622922 | 185.92
31 |  | G.l. Pipe 40 mm | Per Mtr | 7130641396 | 268.41
32 |  | G.I.Strip 25x3 mm | Kg | 7130870040 | 107.16
33 |  | Danger board 33 kV & 11 kV | Each | 7130880041 | 123.66
34 |  | Earthing set (Pipe earth as per DRG No.-G/008) | Each | 7130870088 | 2722.84
35 |  | TPN SWITCHES, 415 Volts : -
| i | 32 Amps. | Each | 7131920253 | 870.63
| ii | 63 Amps. | Each | 7131920254 | 2090.56
| iii | 100 Amps. | Each | 7131920256 | 4043.81
| iv | 200 Amps. | Each | 7131920258 | 5677.06
| v | 300 Amps. | Each | 7131920259 | 7702.3
| vi | 400 Amps. | Each | 7131920260 | 11634.1
36 |  | PORCELAIN KIT-KAT FUSE UNITS : -
| i | 16 Amps. | Each | 7131910655 | 30.22
| ii | 32 Amps. | Each | 7131910653 | 52.89
| iii | 63 Amps. | Each | 7131910654 | 104.51
| iv | 100 Amps. | Each | 7131910656 | 281.69
| v | 200 Amps. | Each | 7131910657 | 545.91
| vi | 300 Amps. | Each | 7131910658 | 1209.93
37 |  | Red Oxide Paint | Ltr. | 7130211158 | 181.98
38 |  | Aluminium Paint | Ltr. | 7130210809 | 406.6
39 |  | COPPER CONTROL CABLES : -
| A | 2.5 Sq.mm. UNARMOURED CABLE :-
| i | 2 Core | Km. | 7130310652 | 61247.99
| ii | 4 Core | Km. | 7130310654 | 107398.33
| iii | 8 Core | Km. | 7130310658 | 204435.73
| iv | 10 Core | Km. | 7130310681 | 254364.27
| v | 12 Core | Km. | 7130310662 | 262112.9
| B | 2.5 Sq.mm. ARMOURED CABLE :-
| i | 10 Core | Km. | 7130310660 | 297172.51
40 |  | PVC INSULATED 1100 Volts GRADE ALUMINIUM : -
| A1 | SINGLE CORE CABLE :-
| i | 16 Sq.mm. | KM | 7130311008 | 31178.96
| ii | 50 Sq.mm. | KM | 7130311009 | 69165.9
| iii | 70 Sq.mm | KM | 7130311010 | 92031.42
| iv | 150 Sq.mm | KM | 7130311011 | 177136.43
| v | 300 Sq.mm | KM | 7130311012 | 344822.85
| vi | 400 Sq.mm | KM | 7130311013 | 429378.35
| A2 | TWIN CORE SINGLE PHASE UNARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130310038 | 9.46
| ii | 4.0 Sqmm. | Per Mtr. | 7130310082 | 20.15
| iii | 6.0 Sqmm. | Per Mtr. | 7130310039 | 39.9
| A3 | TWIN CORE SINGLE PHASE ARMOURED SERVICE CABLE :-
| i | 2.5 Sqmm. | Per Mtr. | 7130311023 | 30.63
| ii | 4.0 Sqmm. | Per Mtr. | 7130311024 | 36.75
| iii | 6.0 Sqmm. | Per Mtr. | 7130311025 | 53.59
| A4 | FOUR CORE THREE PHASE UNARMOURED SERVICE CABLE :-
| i | 10 Sq.mm. | Per Mtr. | 7130310040 | 82.69
| A5 | FOUR CORE THREE PHASE ARMOURED SERVICE CABLE :-
| i | 6 Sq.mm. | Per Mtr. | 7130311026 | 64.3
| ii | 8 Sq.mm. | Per Mtr. | 7130311027 | 78.09
| iii | 10 Sq.mm. | Per Mtr. | 7130311028 | 93.4
| iv | 16 Sq.mm. | Per Mtr. | 7130311029 | 122.5
| v | 25 Sq.mm. | Per Mtr. | 7130311030 | 156.18
| B1 | SINGLE CORE XLPE INSULATED, PVC SHEATHED UNARMOURED CABLES: -
| i | 16 Sqmm. | Km. | 7130310025 | 24198.68
| ii | 25 Sqmm. | Km. | 7130310026 | 35802.6
| iii | 35 Sqmm. | Km. | 7130310021 | 51979.55
| iv | 50 Sqmm. | Km. | 7130310022 | 53608.88
| v | 70 Sqmm. | Km. | 7130310007 | 84124.71
| vi | 120 Sqmm. | Km. | 7130310008 | 139149.58
| vii | 150 Sqmm. | Km. | 7130310041 | 162971.25
| viii | 185 Sqmm. | Km. | 7130310034 | 210711.59
| ix | 240 Sqmm. | Km. | 7130311085 | 267091.3
| x | 300 Sqmm. | Km. | 7130310035 | 329322.18
MULTICORE CABLE
| B2 | 2 - CORE ARMOURED CABLE :-
| i | 16.0 Sqmm. | km | 7130310042 | 53982.64
| B3 | 4 - CORE ARMOURED CABLE :-
| i | 10 Sq.mm. | km | 7130310044 | 72873.75
| ii | 16 Sqmm. | km | 7130311084 | 76682.69
| iii | 25 Sq.mm. | km | 7130310048 | 115813.32
| iv | 70 Sq.mm. | km | 7130310083 | 429243.55
| v | 95 Sq.mm. | km | 7130310084 | 523400.2
| vi | 150 Sq.mm. | km | 7130310085 | 790177.37
| vii | 300 Sq.mm. | km | 7130310086 | 1509275.7
| viii | 400 Sq.mm. | km | 7130310087 | 1918210.95
41 |  | A.B. XLPE CABLE :-
33 kV A.B. XLPE CABLE :-
| a | 3x95 Sq.mm. | km | 7130310051 | 1263686.56
| b | 3x150 Sq.mm. | km | 7130310052 | 1551247.35
| c | 3x185 Sq.mm. | km | 7130310053 | 1773013.72
| d | 3x240 Sq.mm. | km | 7130310054 | 2254570.14
42 |  | ACCESSORIES FOR 33 kV A.B. XLPE CABLES :-
| i | 33 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310055 | 21869.13
| ii | 33 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310056 | 31241.61
| iii | 33 kV AB Cable Straight thru' joint kit suitable for 185 sqmm | Set | 7130310088 | 41540.61
| iv | 33 kV ABC Termination kit 35-70 sqmm | Set | 7130320037 | 12496.65
| v | 33 kV ABC Termination kit 95-120 sqmm | Set | 7130320038 | 15620.81
| vi | 33 kV ABC Termination kit 185 sqmm | Set | 7130320039 | 18744.96
| vii | 33 kV ABC Termination kit 240 sqmm | Set | 7130320040 | 21869.13
| viii | 33 kV ABC Termination kit 300 sqmm | Set | 7130320041 | 23431.22
| ix | 33 kV ABC Termination kit 400 sqmm | Set | 7130320042 | 28117.46
| x | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130320043 | 983.54
| xi | Dead-end Assembly (Suitable for all size cable) | Each | 7130320044 | 1062.42
| xii | Cable tie for AB Cable | Each | 7130320045 | 31.56
43 |  | 11 kV A.B. XLPE CABLE :-
| i | 11 kV 3 phase Aerial Bunched Cable 3x35 + 35 Sq mm | km | 7130310057 | 440140
| ii | 11 kV 3 phase Aerial Bunched Cable 3x70 + 70 Sq mm | km | 7130310058 | 545160
| iii | 11 kV 3 phase Aerial Bunched Cable 3x95 + 95 Sq mm | km | 7130310059 | 623040
| iv | 11 kV 3 phase Aerial Bunched Cable 3x120 + 120 Sq mm | km | 7130310060 | 763460
44 |  | ACCESSORIES FOR 11 kV AB XLPE CABLES :-
| i | 11 kV AB Cable Straight thru' joint kit suitable for 35-70 sqmm | Set | 7130310061 | 4773.02
| ii | 11 kV AB Cable Straight thru' joint kit suitable for 95-120 sqmm | Set | 7130310062 | 5022.85
| iii | 11 kV ABC - T Jointing kit 95 - 120 Sqmm | No | 7130320047 | 4739.53
| iv | 11 kV ABC Termination kit 35-70 sqmm | Set | 7130320048 | 3022.91
| v | 11 kV ABC Termination kit 95-120 sqmm | Set | 7130320049 | 3184.65
| vi | Straight line Suspension Assembly (Suitable for all size cable) | Each | 7130877683 | 2545.61
| vii | Dead-end Assembly (Suitable for all size cable) | Each | 7130877681 | 2863.82
| viii | Cable tie for AB Cable | Each | 7130820029 | 39.45
| ix | Surge Arrestor | No | 7130840003 | 1013
| x | Ground connection for Messenger Wire | No | 7131950396 | 153.91
45 |  | L.T. A.B. XLPE CABLE :-
| i | LT 1 phase 3 Wire Aerial Bunched Cable of Size 1X25+1X16+1x25 | km | 7130310063 | 65697.11
| ii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X16+1X16+1x25 | km | 7130310031 | 106443.94
| iii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X25+1X16+1x25 | km | 7130310032 | 117786.63
| iv | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X35+1x16+1x25 | km | 7130310033 | 145836.34
| v | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1x16+1x35 | km | 7130310065 | 186419.14
| vi | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X50+1X25+1x35 | km | 7130310066 | 182296.6
| vii | LT 3 phase 5 Wire Aerial Bunched Cable of Size 3X70+1x16+1x50 | km | 7130300025 | 254174.68
| viii | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X16+1x25 | km | 7130310070 | 81338.91
| ix | LT 3 phase 4 Wire Aerial Bunched Cable of Size 3X25+1x25 | km | 7130310073 | 87254.75
46 |  | ACCESSORIES FOR L.T. AB XLPE CABLE :-
| 1 | Distribution box 1 ph. 9 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950010 | 1215.09
| 2 | Distribution box 3 phase 5 connectors along with 2 Nos. Steel Strap & Buckles. | Each | 7131950012 | 1463.7
| 3 | Piercing connector suitable for 95- 16 sqmm to 10-2.5 sqmm. for street light and service connection. | Nos. | 7130390003 | 95.32
| 4 | Piercing connector suitable for 95- 16 sqmm to 50-16 sqmm. cable for Distribution Box. | Nos. | 7130390004 | 124.18
| 5 | Piercing connector suitable for 95- 16 sqmm to 95-16 sqmm. for Tee connection. | Nos. | 7130390005 | 173.09
| 6 | Pre-Insulated Bimetallic crimping lugs for Transformer connector | Nos. | 7130354442 | 811.02
| 7 | Straight through joints | Nos. | 7130390007 | 207.69
| 8 | Service Ring | Nos. | 7130810102 | 423.02
| 9 | Earthing Coil for messenger wire | Nos. | 7131390014 | 228.14
| 10 | Anchor sleeve for messenger wire | Nos. | 7131390015 | 39.45
| 11 | Universal hook & Bolts & nuts | Nos. | 7131390016 | 552.68
| 12 | Anchor clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797532 | 724.98
| 13 | Suspension clamp assembly (consisting of GI Pole Clamp, GI Flat type I-hook & Nylon Cable tie). | Nos. | 7130797533 | 526.22
| 14 | End cap for 50/70 Sq.mm | Nos. | 7130390019 | 35.5
| 15 | Universal distribution connector | Each | 7130390006 | 146.97
| 16 | Cable tie (UV protected black colour) for AB Cable | No | 7130320053 | 6.6
| 17 | Pole Clamp | No. | 7130810077 | 532.32
| 18 | Eye Hook | No. | 7130893004 | 216.87
47 |  | STRAIGHT THROUGH JOINTING KITS SUITABLE FOR 1.1 kV CLASS LT UG CABLES SIZE IN SQ. MM :-
| i | 10 Sq.mm, 4 Core | Set | 7130352030 | 1013.78
| ii | 16 Sq.mm, 4 Core | Set | 7130352031 | 1013.78
| iii | 25 Sq.mm, 4 Core | Set | 7130352032 | 1088.72
| iv | 70 Sq.mm, 3.5 Core | Set | 7130352033 | 1530.53
| v | 150 Sq.mm, 3.5 Core | Set | 7130352034 | 2281.32
| vi | 300 Sq.mm, 3.5 Core | Set | 7130352035 | 3686.94
| vii | 400 Sq.mm, 3.5 Core | Set | 7130352036 | 4711.23
48 |  | 3 CORE XLPE UG CABLE :-
| A | 33 kV 3 CORE XLPE UG CABLE :-
| i | 3x240 Sq.mm. | km | 7130310075 | 2700495.66
| ii | 3x400 Sq.mm. | km | 7130310020 | 2951139.29
| B | 11 kV 3 CORE XLPE UG CABLE :-
| i | 70 Sq.mm | km | 7130310076 | 720679.5
| ii | 95 Sq.mm | km | 7130310077 | 729149.6
| iii | 120 Sq.mm | km | 7130310078 | 1087308.99
| iv | 240 Sq.mm | km | 7130310079 | 1317394.09
| v | 400 Sq.mm | km | 7130310080 | 2029765.72
49 | A | 33 kV JOINTING KIT :-
| i | End terminating jointing kit upto 240 sqmm XLPE cable | Set | 7130352037 | 28226.94
| ii | End terminating jointing kit for 400 sqmm XLPE cable | Set | 7130352010 | 41869.07
| iii | Straight through heat shrinkable cable jointing kit with lugs for 3 core 120-240 sq mm UG XLPE cable | Set | 7130310089 | 70050.26
| iv | Straight through heat shrinkable cable jointing kit with lugs for 3 core 300-400 sq mm UG XLPE cable | No | 7130310090 | 78444
| B | 11 kV JOINTING AND CABLE TERMINATION KITS :-
| B1 | Heat Shrinkable type transition jointing kit for XLPE cable --
| i | 3x50 Sq.mm | Set | 7130352038 | 16872.58
| ii | 3x95 Sq.mm | Set | 7130352039 | 16872.58
| iii | 3x150 Sq.mm | Set | 7130352040 | 22339.86
| iv | 3x240 Sq. mm | Set | 7130352041 | 24432.5
| v | 3x400 Sq. mm | Set | 7130352042 | 24432.5
| B2 | Heat Shrinkable indoor type cable termination kit for XLPE cable --
| i | 3x95 Sq.mm | Set | 7130352043 | 8770.69
| ii | 3x240 Sq. mm | Set | 7130352044 | 10587.71
| iii | 3x400 Sq. mm | Set | 7130352045 | 10892.28
50 |  | 30 VOLTS 100 AH LEAD ACID BATTERY WITH BATTERY-CHARGER AND STAND :-
| A | Battery charger | Each | 7132468558 | 12808.19
| B | Battery | No. | 7132404366 | 58920.28
51 |  | Marshelling Box (with 10 No. connectors) | No. | 7130352046 | 3724.89
56 | A | LED LAMPS
| i | LED 9 Watt lamp (without holder) | Each | 7131210011 | 73.54
| ii | LED Tube Light, 20 Watt | Set | 7131210009 | 231.15
| B | LED LAMPS WITH COMPLETE FITTING
| i | 18 W LED Street Light complete set | Set | 7131210030 | 2379.23
| ii | 35 W LED Street Light complete set | Set | 7131210031 | 3073.46
| iii | 70 W LED Street Light complete set | Set | 7131210032 | 4347.8
| iv | 110 W LED Street Light complete set | Set | 7131210033 | 5908.65
| v | 190 W LED Street Light complete set | Set | 7131210034 | 10420.59
| vi | 190 W LED Flood Light complete set | Set | 7131210035 | 10109.95
| vii | 110 W LED Flood Light complete set | Set | 7131210036 | 6751.73
57 |  | JOINTING SLEEVES : -
| i | Weasel, Squirrel & Rabbit Conductor. | Each | 7130830854 | 38.28
| ii | Raccoon Conductor. | Each | 7130830050 | 47.47
| iii | Dog Conductor. | Each | 7130830051 | 185.27
| iv | Panther Conductor. | Each | 7130830971 | 286.33
58 |  | T-CLAMPS FOR ACSR CONDUCTOR :-
| i | Raccoon Conductor. | Each | 7130830586 | 280.2
| ii | Dog Conductor. | Each | 7130830585 | 350.63
| iii | Panther Conductor. | Each | 7130830586 | 410.35
59 |  | BIMETALLIC CLAMP FOR
| i | Power Transformer | Each | 7130830052 | 915.52
| ii | VCB | Each | 7130830054 | 534.66
| iii | CT-PT Unit | Each | 7130830056 | 534.66
| iv | Distribution Transformer (HT) | Each | 7130830058 | 271.8
| v | Distribution Transformer (LT) | Each | 7130830603 | 398.75
60 |  | Aluminium binding wire and tape. | Kg | 7130830006 | 204.16
61 |  | Aluminium bobbin. | Each | 7130820201 | 46.76
62 | A | H.R.C. FUSE UNITS : -
| i | 100 Amps. | Each | 7131900876 | 296.25
| ii | 250 Amps. | Each | 7131900880 | 744.35
| iii | 400 Amps. | Each | 7131900881 | 823.5
| B | H.R.C. FUSE : -
| i | 100 Amps. | Each | 7131900876 | 115.51
| ii | 250 Amps. | Each | 7131900071 | 300.52
| iii | 400 Amps. | Each | 7131900072 | 462.01
63 |  | SINGLE PHASE, 230 Volts ENERGY METERS : -
| i | Static 5.0-30 Amps Pilfer proof with transparent poly carbonate meter box. | Each | 7131300500 | 745
64 |  | POLY PHASE STATIC ENERGY METERS : -
| i | Three Phase, 10-60 Amps. with poly carbonate Meter Box | Each | 7131300046 | 1692
| ii | CT operated electronic static bidirectional meters with DLMS Protocol. | Each | 7131310997 | 1913.09 | Name Changed
| iii | CT operated electronic static meters with DLMS. | Each | 7132406721 | 2847.93
| iv | CT operated electronic static bidirectional meters with DLMS protocol for net metering | Each | 7131310005 | 3165.15 | Name Changed
| v | CT operated electronic static bidirectional meter with DLMS for net metering | Each | 7131310002 | 3260.74
| vi | CT operated electronic static meters with AMR (Composite Unit) with LTCTs / Modem / Meter / Meter Box. | Each | 7131310015 | 13078.87
| vii | Bidirectional Meter 1 phase for Solar Roof Top | Each | 7131310043 | 1200 | NEW ADDED
| viii | Bidirectional Meter 3 phase for Solar Roof Top | Each | 7131310044 | 2500 | NEW ADDED
65 |  | H.T. STATIC TRIVECTOR METERS :-
| i | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category A | Each | 7131310033 | 4078.56
| ii | 3 Ø 4 Wire 0.5S, 5 Amp. with DLMS Protocol category B | Each | 7131310034 | 4078.56
| iii | 3 Ø 3 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310036 | 19127.8 | Name Changed
| iv | 3 Ø 4 Wire 0.2S, 1 Amp. bulk consumer meter | Each | 7131310035 | 19127.23 | Name Changed
| v | 3 Ø 4 Wire 0.5S, 5 Amp. Bulk consumer meter | Each | 7131310013 | 4927.68
| vi | 3 Ø 4 Wire 0.2S 5A bulk consumer meter | Each | 7131310042 | 19599.8
| vii | Test terminal Box (TTB) | Each | 7131310037 | 1097.93
| viii | CMRI (Common Meter Reading Instrument) | Each | 7131300881 | 27342.74
| ix | Spot Billing Machine | Each | 7131310168 | 12065.05
66 |  | H.T. SUMMATION METER FOR :-
| i | 3 Ø 4 Wire 0.2S accuracy class CT operated meter (for __ /110 Volts ; __/1 Amps ; or __/ 5 Amps) | Each | 7131300065 | 1156522.05
68 | i | Universal Meter Box for HT meters. | Each | 7132406425 | ITEM DELETED | ITEM DELETED NOT TO BE USED
| ii | Sheet Metal deep Drawn HT Meter Box | Each | 7132404529 | 4052.53 | NEW ADDED
69 | i | Meter Box (GI Plain Sheet) for 3 Phase LT CT operated meter | Each | 7132406420 | 3181.16
| ii | Pilfer proof SMC/FRPP/PPO LTCT meter box (DOUBLE COMPARTMENT) | Each | 7132406793 | 3979.4
| iii | Pilfer proof Single Compartment SMC meter box for LTCT meters 150/5A with CT | Each | 7132406795 | 4723.88 | Name Changed
| iv | Pilfer proof Single Compartment SMC meter box for LTCT meters 300/5A with CT | Each | 7132406794 | 4313.34 | Name Changed
70 |  | RELAYS :-
| i | Non Directional, 30-V, 5-Amps IDMT relay. | Each | 7131329275 | 5972.39
| ii | Set of 3 O.C. relays + 1 E/F instantaneous high set feature numerical type | Nos. | 7131334001 | 5504.7
| iii | Set of 2 O.C.+ 1 earth fault relay without numerical instantaneous high set feature | Nos. | 7131334002 | 5596.74
| iv | Master trip relays | Nos. | 7131399007 | 1098.58
| v | Auxiliary Relay | Nos. | 7131300008 | 2266.75
| vi | SCADA Compatible Relay (As per IEC 107/IEC61850 protocol) | Nos. | 7131300010 | 37170 | NEW ADDED
| vii | Electrically Reset type Master Trip relay | Nos. | 7131300009 | 3599 | NEW ADDED
71 |  | L.T. C.T.
| i | 100/5 Amps. | Each | 7132230016 | 527.46
| ii | 200/5 Amps. | Each | 7132230019 | 313.29
| iii | 300/5 Amps. | Each | 7132230021 | 306.8
| iv | 500/5 Amps. | Each | 7132230024 | 306.8
72 |  | 11 kV C.T's (OUT DOOR TYPE) :-
| i | 200-100/5 Amps. | Each | 7132230185 | 14485.99
| ii | 300-150/5 Amps. | Each | 7132230188 | 14485.99
73 |  | 33 kV OIL FILLED CT's :-
| a | 33 kV CT's (400-200/5) Amps. Oil filled | Each | 7132230043 | 15672.1
| b | 33 kV CT's (300-150/5) Amps oil filled | Each | 7132230263 | 19225.08
| c | 33 kV CT's (200-100/5-5) Amps oil filled | Each | 7132230265 | 23365.52
74 |  | 132 kV C.T.
| i | 100-50/1-1A | No. | 7132230330 | 406307.03
| ii | 150-75/1-1A | No. | 7132230075 | 403779.86
| iii | 200-100/1-1A | No. | 7132230332 | 378125.75
| iv | 300-150/1-1A | No. | 7132230336 | 323714.61
| v | 600-300/1-1A | No. | 7132230065 | 353695.23
| vi | 100/1 Amp | No. | 7132230543 | 340422.04 | NEW ADDED
| vii | 200/1 Amp | No. | 7132230544 | 316865.32 | NEW ADDED
75 |  | 220 kV C.T.
| i | 150-75/1-1A | No. | 7132230076 | 889545.26
| ii | 300-150/1-1A | No. | 7132230077 | 582188.43
| iii | 600-300/1-1A | No. | 7132230078 | 538574.84
| iv | 800-400/1-1A | No. | 7132230039 | 527555.01
| v | 800/1 Amp. | No. | 7132230545 | 441931.19 | NEW ADDED
77 |  | 11 kV Single Phase PT's (Oil filled) | Each | 7132230056 | 12242.87
78 |  | 33 kV Single Phase PT's (Oil filled) | Each | 7132230057 | 19641.7
79 |  | 132 kV P.T. | No. | 7132230501 | 234475.42
80 |  | 220 kV P.T. | No. | 7132230511 | 477090.47
81 | A | 11 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230395 | 38558.54
| ii | 25/5 A | Each | 7132230401 | 37663.69
| iii | 50/5 A | Each | 7132230538 | 36430.25 | Old Bin code was 7132230414
| iv | 300-150/5 A | Each | 7132230399 | 41798.18
| v | 200-100/5 A | Each | 7132230412 | 41332.3
| vi | 400-200/5 A | Each | 7132230088 | 41801.95
| xi | 100/5 A | Each | 7132230403 | 34951.47
| B | 33 kV OIL IMMERSED 3 PHASE CT-PT UNITS : -
| i | 10/5 A | Each | 7132230448 | 72220.04
| ii | 20/5 A | Each | 7132230418 | 69908.34
| iii | 50/5 A | Each | 7132230450 | 67522.1
| iv | 100/5A | Each | 7132230453 | 64539.29
| v | 200/5A | Each | 7132230455 | 64215.39
| vi | 200-100/5 A | Each | 7132230427 | 83656.01
| vii | 300-150/5 A | Each | 7132230089 | 86982.07
| viii | 400-200/5 A | Each | 7132230457 | 85674.08
| C | INDOOR TYPE 33 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230028 | 230100 | Old Bin code was 7132230009
| ii | 25/5 A | Each | 7132230029 | 230100 | Old Bin code was 7132230011
| iii | 50/5 A | Each | 7132230017 | 230100
| iv | 100/5 A | Each | 7132230015 | 249293.88
| v | 200/5 A | Each | 7132230030 | 230100 | Old Bin code was 7132230012
| D | INDOOR TYPE 11 kV METERING CUBICAL CT-PT UNITS : -
| i | 10/5 A | Each | 7132230031 | 109740 | Old Bin code was 7132230008
| ii | 15/5 A | Each | 7132230020 | 109740 | Old Bin code was 7132230026
| ii | 25/5 A | Each | 7132230010 | 109740
| iv | 50/5 A | Each | 7132230027 | 109741.88
82 | A | LT SINGLE PHASE MCB : -
| i | 5 Amps. | Each | 7131820031 | 118.78
| ii | 6 to 16 Amps. | Each | 7131820032 | 118.78
| B | LT THREE PHASE MCB : -
| i | 16 Amps. | Each | 7131820033 | 503.37
| ii | 32 Amps. | Each | 7131820034 | 503.37
83 |  | ELCB - MCB COMPOSITE UNIT : -
| i | 10 Amps. (100 mA DP) | Each | 7131820035 | 3353.03
| ii | 16 Amps. (100 mA DP) | Each | 7131820036 | 3632.94
| iii | 20 Amps. (100 mA DP) | Each | 7131820037 | 3632.94
84 |  | MOULDED CASE CIRCUIT BREAKERS : -
| i | 32 Amps. (10 kA TP) | Each | 7131820038 | 2654.44
| ii | 100 Amps. (10 kA TP) | Each | 7131940602 | 2794.39
| iii | 160 Amps. (10 kA TP) | Each | 7131820039 | 6078.04
| iv | 300 Amps. (35 kA TP) | Each | 7131940610 | 26546.72
| v | 450 TO 500 Amps. (35 kA TP) | Each | 7131940612 | 26546.72
85 |  | LT DISTRIBUTION BOX WITH ISOLATOR ON INCOMING & SPMCCB's ON OUTGOING SIDE : -
| i | For 63 kVA X'mer (200 A, isolator & 6 SP MCCB of 100 A) | Each | 7131950065 | 17597.77
| ii | For 100 kVA X'mer (200 A, isolator & 6 SP MCCB of 200 A) | Each | 7131950105 | 21998.12
| iii | For 200 kVA X'mer (400 A, isolator & 6 SP MCCB of 120A) | Each | 7131950200 | 43994.41
| iv | For 315 kVA X'mer (600 A, isolator & 9 SP MCCB of 160A) | Each | 7131950207 | 37749.86
| v | For 500 kVA X'mer (800 A, isolator & 12 SP MCCB of 150 A) | Each | 7131950015 | 47090.64
| vi | SMC LT Distribution Box for 100 kVA Distribution Transformer | Each | 7131950208 | 21318.08
| vii | SMC LT Distribution Box for 315 kVA Distribution Transformer | Each | 7131950209 | 36582.87
86 |  | Locally fabricated - 3 Phase fuse units 150 Amps. (Robust fuse for circuit base). | Each | 7131900005 | 835.44 | Old Bin code was 7131900004
87 |  | 11 kV VCB & CONTROL PANEL : -
| A | 11 kV Kiosk VCB | Each | 7131920112 | 408116.65
| B | 11 kV VCB without control panel & CT's. | Each | 7131941762 | 149663.06
| C | 11 kV CONTROL PANEL : -
| i | Feeder Control (Static Relays) | Each | 7131960008 | 25498.47
| ii | Transformer Control (Static Relays) | Each | 7131960009 | 26865.52
| iii | 2 Feeder Control (Static Relays) | Each | 7131960520 | 38189.2
| iv | 1 Transformer+1 Feeder (Static Relays) | Each | 7131960522 | 38434.25
| v | 11 kV Control & Relay Panel for Capacitor Bank | Each | 7131960010 | 82552.71
88 |  | 33 kV VCB & CONTROL PANEL : -
| A | 33 kV VCB without control panel & CT's. | Each | 7131943380 | 303153.58
| B | 33 kV CONTROL PANEL : -
| i | 1 Feeder + 1 Transformer (Static Relays) | Each | 7131960524 | 39001.74
| ii | 33 kV Transformer Control Panel (Static Relays) | Each | 7131960007 | 28921.92
| iii | 33 kV feeder control panel (Static Relays). | Each | 7131960006 | 26195.12
| iv | 33 kV 2 feeder control panel (Static Relays). | Each | 7131960919 | 38821.17
| v | C&R Panel with 3 O/C + 1 E/F relay and Master Trip | Each | 7131900012 | 40194.34 | NEW ADDED
| vi | Transformer Auxiliary panel with auxiliary protection relay | Each | 7131900014 | 11800 | NEW ADDED
89 |  | 11 kV Sectionalizer. | Each | 7131950016 | 404515.35
90 |  | ISOLATORS COMPLETE SET :-
| i | 11 kV ; 600 Amps. | Each | 7131930663 | 24983.38
| iii | 33 kV ; 600 Amps without earth switch. | Each | 7131930752 | 43236.47
91 |  | POLE MOUNTED GAS FILLED LT SHUNT CAPACITORS :-
| i | 5 kVAR | Each | 7132200812 | 1770.23
| ii | 10 kVAR | Each | 7132200813 | 3539.36
| iii | 12 kVAR | Each | 7132200814 | 4252.76
| iv | 20 kVAR | Each | 7132200815 | 7057.65
92 |  | 11 kV CAPACITORS : -
| i | 1089 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR + 726 kVAR 12.1 KV. Bank shall be complete with Capacitor units of 121 kVAR at 6.98 KV, including allied material such as suitable size of Aluminium busbars, Pin/Post insulators, Expulsion fuses, Cable Jointing Kit, Nuts & Bolts etc. | Each | 7132200014 | 162667.84
| ii | 1815 kVAR 12.1 kV 3-phase 50 Hz Outdoor type Capacitor bank having step as 363 kVAR+726 kVAR+726 kVAR 12.1 kV Bank shall be complete with capacitor units of 121 kVAR at 6.98 kV including allied materials such as suitable size of aluminium busbars, pin/post insulators, expulsion fuses, cable jointing kit, nuts & bolts etc. | Each | 7132200826 | 215098.77
| iii | 11 kV 3 PH Residual Voltage Transformer | Each | 7132230471 | 38348.05
93 |  | ACCESSORIES FOR 11 kV CAPACITOR BANK :-
11 kV, Aluminium Wound, Dry type Series reactors
| i | 0.2% Reactor suitable for 363 kVAR step | Set | 7132210106 | 7899.33
| ii | 0.2% Reactor suitable for 726 kVAR step | Set | 7132210108 | 9643.66
| iii | 12 kV, Outdoor type Vacuum Capacitor switches | Nos. | 7131980001 | 77949.8
| iv | 11 kV, 400 Amp, Off Load Isolator with earth switch and mounting GI structure | Set | 7131931091 | 31998.99
| v | Mounting GI structure for above isolator | Set | 7131931095 | 17741.63
| vi | Indoor Type Automatic Control Unit along with APFC Relay | No. | 7131940871 | 53732.22
| vii | GI Structure for complete Equipment | Kgs. | 7130850198 | 102.58
95 |  | Poly Carbonate seals for meter | Each | 7132444005 | 5.72
96 |  | Poly Carbonate seal double anker type | Each | 7132459005 | 6.98
97 |  | Numerical Poly Carbonate seals | No | 7132444005 | 10.72
98 |  | L.T. FEEDER PILLER BOX :-
| i | LT Feeder Piller box for 1 phase 8 connection made of M.S.Sheet. | Nos. | 7130890004 | 7180.01
| ii | LT Feeder Piller box for 1 phase 12 connection made of M.S.Sheet. | Nos. | 7130890005 | 9059.43
| iii | LT Feeder Piller box for 3 phase 4 connection made of M.S.Sheet. | Nos. | 7130890006 | 20546.78
| iv | LT Feeder Piller box for 3 phase 8 connection made of M.S.Sheet. | Nos. | 7130890007 | 21525.2
99 |  | L.T. SPACERS :-
|  | L.T.Line Spacers | Nos. | 7130890008 | 57.59
100 |  | GSM Modem | Nos. | 7131961526 | 4366
101 |  | ALUMINIUM END TERMINALS (LUGS) :-
| 1 | 10 Sq mm | Nos. | 7130354274 | 2.85
| 2 | 16 Sq mm | Nos. | 7130354275 | 2.85
| 3 | 25 Sq mm | Nos. | 7130354276 | 5.7
| 4 | 32 Sq mm | Nos. | 7130354277 | 7.12
| 5 | 50 Sq mm | Nos. | 7130354278 | 11.41
| 6 | 70 Sq mm | Nos. | 7130354279 | 17.11
| 7 | 95 Sq mm | Nos. | 7130354280 | 21.39
| 8 | 120 Sq mm | Nos. | 7130354281 | 29.95
| 9 | 150 Sq mm | Nos. | 7130354282 | 34.23
| 10 | 185 Sq mm | Nos. | 7130354283 | 54.19
| 11 | 225 Sq mm | Nos. | 7130354284 | 61.31
| 12 | 240 Sq mm | Nos. | 7130354285 | 88.41
| 13 | 300 Sq mm | Nos. | 7130354286 | 104.1
| 14 | 400 Sq mm | Nos. | 7130354287 | 134.06
102 |  | TOOLS AND PLANT :-
| 1 | Battery Hydrometer | Nos. | 7131387501 | 281.86
| 2 | Digital Multimeter Electronic Type | Nos. | 7131320009 | 3491.77
| 3 | Rubber Hand gloves 15 kV (Seamless) | Pair | 7132411894 | 623.77
| 4 | Thermometer (Wall Mounted) | Nos. | 7131387502 | 557.64
| 5 | Portable drilling machine | Nos. | 7132014014 | 3420.23
| 6 | Megger 500 V | Nos. | 7131324780 | 4190.11
| 7 | Megger up to 2.5 kV | Nos. | 7131324806 | 6315.14
| 8 | Silica gel | Kg | 7132438002 | 188.56
| 9 | Grounding Sticks (Galvanised Earthing Rods 25 mm, 3 Mtr. long) | Set. | 7132444007 | 1251.15
| 10 | Panel lndication lamps | Nos. | 7131210001 | 123.35
| 11 | Ring Spanners (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27,25x28,30x32) | Set. | 7132074032 | 1914.82
| 12 | Tube Spanners | Set. | 7132074033 | 791.33
| 13 | Pipe Wrench 24 inches size | Nos. | 7132088614 | 1454.16
| 14 | Pipe Wrench 18 inches size | Nos. | 7132088615 | 798.05
| 15 | Double end spanner (6x7,8x9, 10x11,12x13,14x15, 16x17,18x19, 20x22x,21x23,24x27, 25x28, 30x32) | Set. | 7132074034 | 905.77
| 16 | Hack saw frames + B185 | Nos. | 7132004003 | 168.81
| 17 | Hand Torch 5 cell | Nos. | 7132478011 | 614.19
| 18 | Hand Torch 3 cell | Nos. | 7132478012 | 402.67
| 19 | Rechargeable LED Hand Torch | Nos. | 7132478005 | 789.7261
| 20 | Combination Plier / Cutting Plier | Nos. | 7132061858 | 289.8
| 21 | Discharge Rod | Nos. | 7132013331 | 492.85
| 22 | Neon tester | Nos. | 7131338025 | 62.63
| 24 | Screw driver 250 mm | Nos. | 7132072006 | 87.93
| 25 | Screw driver 200 mm | Nos. | 7132072007 | 82.35
| 26 | Screw driver 150 mm | Nos. | 7132072008 | 76.76
| 27 | Hammer 8 Lbs (3629 gm) | Nos. | 7132028159 | 1363.25
| 28 | Hammer 2 Lbs (907 gm.) | Nos. | 7132028160 | 421.8
| 29 | Allen keys set of 9 Pcs.(1.5 mm; 2 mm; 2.5 mm;3 mm; 4 mm; 5 mm; 6 mm; 8 mm; 10 mm) Black finish, box packing | Nos. | 7132002234 | 247.03
| 30 | Adjustable Screw Spanner 12 inches | Nos. | 7132074035 | 587.56
| 31 | Box spanners (of size 32Af, 27A/F, 30 A/F & tommy Bar) | Set. | 7132074036 | 1744.55
| 32 | Transformer Oil Dielectric Breakdown testkit | Nos. | 7131338004 | 70841.41 | Rate excluding GST
| 33 | Tong tester Digital (1000 A, 500 V) with associated accessories | Nos. | 7132478004 | 1656.44
| 34 | D.C.Volt meter range - 3V to + 5V | Nos. | 7131300082 | 794.6
| 35 | Specific gravity correction chart | Nos. | 7131300067 | 174.9277 | Rate excluding GST
| 36 | Wall mounting type holder for Hydrometer | Nos. | 7130670027 | 137.9954
| 37 | Earth resistance tester (20/200/2000 Ω) Digital | Nos. | 7131321603 | 4094.31 | Rate excluding GST
| 38 | Rain Coats with Hoods | Nos. | 7132427634 | 812.92 | Rate excluding GST
| 39 | Gum Boots | Nos. | 7132427635 | 577.09 | Rate excluding GST
| 40 | Files of sizes | Set. | 7132475019 | 358.9852
| 41 | Safety belts | Nos. | 7132404015 | 636.9972
| 42 | Safety helmets | Nos. | 7132404016 | 148.4
| 43 | Fire fighting equipments (dry chemical powder type 5 Kg capacity) | No | 7132490006 | 5357.016
| 44 | Fire fighting equipments CO2 fire extinguisher of 2 Kg Capacity) | No | 7132421002 | 5990.3846
| 45 | Electrically insulated 11 kV mats infront of electrical control panel | No | 7132448003 | 4928.43
103 |  | MISCELLANEOUS MATERIALS :-
| 1 | HDPE Pipe 200 mm ID; 240 mm OD | Mtr. | 7132461004 | 1444.85
| 2 | Jointing arrangement of HDPE Pipe | Nos. | 7132461005 | 511.57
| 3 | G.I. Pipe 200 mm for 400 sqmm cable of dia 105 mm | RM | 7130640027 | 1345.87
| 4 | G.I. bend 200 mm | Nos. | 7130640028 | 1166.11
| 5 | G.I. bend 40 mm | Each | 7130640171 | 129.9
| 6 | Caping of HDPE Pipe on both end of pipe with concreting and bricks work. | Cmt | 7130640029 | 3733.72
| 7 | Caping of RCC Pipe on both end of pipe with Concreting and Bricks work | Cmt | 7130640030 | 3734.1062
| 8 | Cable separator in RCC Pipe with Angle Cross of 50x50x6 mm Angle @ 2 No. in one pipe | No | 7132089020 | 831.2
| 9 | RCC Pipe Type NP-3 (2.5 mtr long) on first class bedding
|  | 600 mm | RM | 7130640031 | 2459
|  | 900 mm | RM | 7130640036 | 4874
| 10(i) | M.S.Pipe 200 mm dia with collars | RM (light) | 7130640038 | 1213.51
| (ii) | M.S.Pipe 200 mm dia with collars | RM (medium) | 7130640037 | 1553.89
| 11 | River sand | Cmt | 7132498006 | 735
| 12 | Cement (in 50 kg bags) | Bags | 7130200401 | 330
| 13 | Route & joint indicating stone with M.S. anchor rod | Nos. | 7130200204 | 192.93
| 14 | Cable covering tiles 250x250x40 mm | Each | 7130201343 | 33
| 15 | Black Cambric tape 25 mm wide 7 mm thick and in rolls of 50 Mtr. | Roll | 7132475019 | 155.15 | Rate excluding GST
| 16 | PVC lnsulation Tapes 19 mm wide and in rolls of 10 Mtrs | Roll | 7132476007 | 17.77 | Rate excluding GST
| 17 | Grey Enamel Paint smoke/battle ship | Ltr | 7130211121 | 311.29
| 18 | Cotton Tapes 19 mm wide and in rolls of 50 Mtrs | Roll | 7132476008 | 84.09 | Rate excluding GST
| 19 | Cotton Waste | Kg | 7132478012 | 89.07 | Rate excluding GST
| 20 | Hack saw blade 300x12.5 mm | Nos. | 7132004004 | 13.78
| 21 | T.W. plate 300x300x25 mm with 20 mm dia holes at the corners and coated with two coats of varnish on one side/SMC board | Nos. | 7132455002 | 377.75
| 22 | T.W. Meter Board, 300x300x75 mm, coated with varnish/SMC board | Nos. | 7132406022 | 180.6
| 23 | Monoplast | Kg | 7132490052 | 68.93 | Rate excluding GST
| 24 | Bitumen compound | Kg | 7132490053 | 124.07
| 25 | Providing, Fabricating and fixing 8 SWG Chain link fencing 75 x 75 mm Size Gl Chain link Mesh fencing made out of 65 x 65 x 6 mm MS angle as per drawing no. 04-01/ST/62 R2 Date 05.06.2007 | RM | 7130650001 | 2024.88
| 26 | Cable marker for U/G cable | No. | 7130880006 | 130.5434
104 |  | Earth spike | No. | 7130870010 | 910.84
105 |  | Pad Connector (for Panther conductor) | No. | 7130880006 | 165.99
106 |  | D.O.FUSE ELEMENT :-
| i | 11 kV (1.5 Amp. to 10 Amp.) | No. | 7131900033 | 7.48
| ii | 33 kV (25 Amp.) | No. | 7131900625 | 12.82
| iii | 33 kV (50 Amp.) | No. | 7131900650 | 13.89
107 |  | T.C. FUSE WIRE :-
| i | 22 SWG | Kg | 7131900969 | 672.32
| ii | 20 SWG | Kg | 7131900971 | 672.32
| iii | 18 SWG | Kg | 7131900973 | 651.55
| iv | 16 SWG | Kg | 7131900975 | 651.55
| v | 14 SWG | Kg | 7131900977 | 651.55
| vi | 12 SWG | Kg | 7131900979 | 651.55
| vii | 10 SWG | Kg | 7131900981 | 654.36
| viii | 8 SWG | Kg | 7131900974 | 654.36
108 |  | Strain Plate (65x8 mm) for 33 kV | No. | 7130810624 | 118.53
109 |  | Strain Plate (50x6 mm) for 11 kV | No. | 7130810076 | 89.58
110 |  | 25 mm dia 2500 mm long GI rod earth electrodes | No | 7130642041 | 5382.12
111 |  | GI earthing pipe of 40 mm dia 3.04 mtr long with 12 mm hole at 18 places at equal distance trapered casing at lower end. | No | 7130642039 | 1058.93
112 |  | Stainless steel strap with buckle (for installation of Service Distribution Box) | Set | 7130890973 | 74.42
113 |  | Cable Cutter | No. | 7132011171 | 622.36
114 |  | Load Break Switches
| i | Load break switches only without panel | Unit | 7131920001 | 48828.18
| ii | Load break switches with panel | Unit | 7131920002 | 106436.2
| iii | 3 Way Load break switch | Unit | 7131920003 | 344332.9
115 |  | Meter Sealing Wire | Kg | 7131397216 | 223.49
116 |  | Crimping Tool
| i | Hand Operated type 25 sq.mm. to 400 sq.mm. | No | 7132010551 | 9532.26
| ii | Hydraulic type with suitable Dies for crimping Lugs of size up to 400 sq.mm. | Set | 7132010552 | 11753.86
117 | A | 11 kV Compact Ring Main Unit (RMU)[VCB/SF6 Type] with Aluminium Bus-bar
| i | 3 Way RMU, 2OD + 1VL, One Incomer + One Breaker + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941763 | 875041.16
| ii | 4 Way RMU, 2OD + 2VL, (One Incomer + Two Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941764 | 1242968.76
| iii | 5 Way RMU, 2OD + 3VL, (One Incomer + Three Breakers + One Outgoing), 350 MVA, 650 Amps. | Unit | 7131941765 | 1604342.9
| iv | 6 Way RMU, 2OD + 4VL,(One Incomer + Four Breakers + One Outgoing, 350 MVA, 650 Amps. | Unit | 7131941766 | 1965717.04
| v | 1OD for RMU | Unit | 7131941767 | 314857.33
| vi | 1VL for 350 MVA, 650 Amps RMU | Unit | 7131941768 | 367927.6
| B | 11 kV Compact Ring Main Unit (RMU) with only Load Break Switch
| i | (0+1) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH ONE 630 A LOAD BREAK SWITCH. | No. | 7131980004 | 265939.35
| ii | (0+3) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH THREE 630 A LOAD BREAK SWITCHES. | No. | 7131980005 | 491757
| iii | (0+4) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR 630 A LOAD BREAK SWITCHES. | No. | 7131980006 | 596636.67
| iv | (0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH FOUR NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER IN BETWEEN AFTER ISOLATOR. | No. | 7131980007 | 950735.42
| v | (0+2)+BC+(0+2)+BC+(0+2) TYPE - MEANS 11 KV GAS (SF6) INSULATED RMU WITH SIX NOS. 630 A LOAD BREAK SWITCHES AND ONE BUS COUPLER WITH LBS IN BETWEEN AFTER ISOLATOR. | No. | 7131980008 | 1503562.75
118 |  | 11 kV Fault Passage Indicator for Overhead Line | No. | 7131210840 | 15390.43 | Rate excluding GST
119 |  | AC Distribution Board for AC/DC Supply | No | 7131920028 | 11255.65
120 |  | 33/11 kV S/S (Name Plate) Board | Job | 7132406800 | 11594.76
121 |  | Chem Rod Earthing electrode (Chemical Earthing) [As per specification given in Schedule-C-20] | Job | 7132486843 | 11156.59 | Rate excluding GST
122 |  | RCC Block (with 6 mm MS Bar) | Each | 7130640008 | 158
123 |  | M.S.Strip 25x3 mm (0.6 kg/Mtr.) | Kg | 7130640039 | 52.64
124 |  | SMC Meter Board 350x200x40 mm (minimum) thickness 2.5 mm | No. | 7132455003 | 148.5576
125 |  | SMC Board 200x150x40 mm (minimum) thickness 2.5 mm | No. | 7132455004 | 116.7239
126 |  | Piano type ISI mark 250V/5A switch. | No. | 7131920004 | 12.62
127 |  | 250V/5A ISI mark 3 pin Socket | No. | 7131920005 | 31.54
128 |  | 250V/5A ISI mark holder. | No. | 7131920006 | 18.92
129 |  | Earthing terminal (having suitable size of 10 mm Dia GI bolt with 3 nos. nuts & washers) along with Staples / Nut-Bolts/ Nails | No. | 7131390482 | 53.0563
130 |  | Internal wiring using 1.5 sqmm copper multistrands PVC insulated ISI marked cable (Average cable length 6 Mtr.) | Mtr. | 7130310081 | 9.66
131 |  | 25 mm Dia PVC pipe or equivalent for internal house wiring (3 Mtr) | Feet | 7132461006 | 6.66
132 |  | Bhatta brick | No. | 7132498054 | 6.39
133 |  | 11 kV Capacitor Unit with Expulsion Tube | Each | 7132200004 | 116.66
134 |  | A.B.T. Meter, Accuracy Class : 0.2S, CT Ratio : _/1A, P.T.Ratio : _/110 V | Each |  | 270267.2
STOCK MATERIALS OF SoR IN 2020-21, REMOVED FROM SoR 2022-23
1 | B | CONVENTIONAL DISTRIBUTION TRANSFORMER 11/0.4 KV 4-STAR :-
| i | 16 kVA Aluminium Wound | Each | 7132210007 | ITEM DELETED
| ii | 25 kVA Aluminium Wound | Each | 7132210008 | ITEM DELETED
| iii | 63 kVA Aluminium Wound | Each | 7132210009 | ITEM DELETED
| iv | 100 kVA Aluminium Wound | Each | 7132210010 | ITEM DELETED
| v | 200 kVA Aluminium Wound | Each | 7132210011 | ITEM DELETED
9 |  | R.S. JOIST.
| b | 125 x 70 mm | MT | 7130600635 | ITEM DELETED
68 | i | Universal Meter Box for HT meters. | Each | 7132406425 | ITEM DELETED
Note on C377: Barun Chakraborty: Earlier name was - CT operated electronic static meters 100/5 Amp. With data storage.
Note on C379: Barun Chakraborty: Earlier name was - CT operated electronic static bidirectional meter with DLMS
Note on C387: Barun Chakraborty: Name Changed. Earlier name was - 3 Ø 4 Wire 0.2S, 1 Amp. bulk consumer meter
Note on C388: Barun Chakraborty: Name Changed. Earlier name was - 3 Ø 3 Wire 0.2S, 1 Amp. bulk consumer meter
Note on C400: Barun Chakraborty: Name Changed. Earlier name was - Pilfer proof SMC/FRPP/PPO LTCT meter box with LTCT 100/5A.
Note on C401: Barun Chakraborty: Name Changed. Earlier name was - Pilfer proof SMC meter box for LTCT meter box with LTCT 300/5A
Note on C404: Barun Chakraborty: Name changed, earlier it was - Set of 3 O.C. relays instantaneous high set feature numerical
Note on E443: Barun Chakraborty: Bin code changed. Old Bin code was - 7132230414
Note on E458: Barun Chakraborty: Bin Code changed. Old Bin code was --7132230009
Note on E459: Barun Chakraborty: Bin Code changed. Old Bin code was --7132230011
Note on E462: Barun Chakraborty: Bin Code changed. Old Bin code was --7132230012
Note on E464: Barun Chakraborty: Bin Code changed. Old Bin code was --7132230008
Note on E465: Barun Chakraborty: Earlier Bin Code number was - 7132230026
Note on E492: Barun Chakraborty: Bin Code changed. Old Bin code was --7131900004
Note on F590: Barun Chakraborty: GST applicable separately.
Note on F593: Barun Chakraborty: GST applicable separately.
Note on F595: Barun Chakraborty: GST applicable separately.
Note on F596: Barun Chakraborty: GST applicable separately.
Note on F597: Barun Chakraborty: GST applicable separately.
Note on F622: Barun Chakraborty: GST applicable separately.
Note on F623: Barun Chakraborty: GST applicable separately.
Note on F625: Barun Chakraborty: GST applicable separately.
Note on F626: Barun Chakraborty: GST applicable separately.
Note on F630: Barun Chakraborty: GST applicable separately.
Note on F676: Barun Chakraborty: GST applicable separately.
Note on F679: Barun Chakraborty: GST applicable separately.
(cost per kVAR)